## Notes
Cruise 2012-59 La Perouse, September, Marie Robert
Analyst: | Neil Dangerfield
To be included in this section
Variability between replicates was improved over May cruise likely due to a) experienced student samplers, b) less difficulty in sampling 40ml aliquots, and c) delay prior to analysis
A couple of new students were on this cruise, so some errors may have occurred. One sample at LC09 is suspected to be switched, though this can not be confirmed and error for this sample is not beyond statistical error for the entire cruise analyses.
Sampling with the 40ml graduated cylinder was difficult (especially in the wind) and likely contributed to varaible volumes between replicates
LNSW for standard prep was collected on the previous Line P cruise. All samples were analysed within 24 hours of collection, except the final batch which contained samples that were approximately 26 hours in cold cold dark storage.
Several samples required dilution to get values on scale. In all but one case, samples were diluted to 50% using the batch S0 standard and replicates agreed within statistical expectations.
This exception was diluted additionally with DMQ water to achieve enough volume and was found to to significantly differ from it's undiluted replicate. Its value was therefore excluded.
Replicates were statistically compared similar to previous cruises. A coefficient of variation of >30% was flagged. Most flagged samples had relatively low conc. where higher error is expected.
Update: Jul 24, 2014 Nina Nemcek
In revising the spreadsheet to apply the new formats for calculating statistics, a number of errors were found in the originally archived dataset.
Many samples (#96-98, #178-208, and #266-268) had their concentrations inadvertently multiplied by 2 by copying an incorrect formula, these have now been corrected
A few samples also had the wrong values because the station was incorrectly sorted by depth instead of sample ID
Sample #348 has huge variability between replicates and was flagged as an outlier by Chauvenet's criteria. Neil assumed contamination in the high valued rep and originally discarded it
However, at the same 20m depth at the rest of the stations along the LBP line concetrations were in line with this high value
Thus it is unclear which value is correct so the average is kept but a "4" flag is assigned as this value should be used with caution.

## QF 2012-59 NH4 FINAL
Cruise 2012-59 WCVI, Sept, Marie Robert
HEADER: | The ammonium method used at IOS is a simplification of the fluorometric technique of Holmes et al, 1999. This method applies to a wide range of ammonium concentrations, uses the addition of a single working reagent and low nutrient seawater (LNSW) as a blank and standard matrix. Samples are collected and stored up to 48 hours at 4°C. During analysis, the working reagent is added to standards and samples at the same time, and the fluorescence is read approximately 8 hours later using a calibrated TD 700 Fluorometer.
Reference: | Holmes, R.M., Aminot, A., Kerouel, R., Hooker, B.A., and Peterson, B.J. (1999) A simple and precise method for measuring ammonium in marine and freshwater ecosystems. Can. J. Fish. Aquat. Sci., 56 1801-1808.
Cruise_Number | Event_Number | Station | Sample_Number | Ammonium | Flag:Ammonium | Comments
2012-59 | 2 | LB01 | 1 | 1.2249 | 6
2012-59 | 2 | LB01 | 2 | 1.196 | 6
2012-59 | 2 | LB01 | 3 | 0.91776 | 6
2012-59 | 3 | LB02 | 6 | 1.3877 | 6
2012-59 | 3 | LB02 | 7 | 1.0625 | 6
2012-59 | 3 | LB02 | 8 | 0.90283 | 6
2012-59 | 5 | LB04 | 14 | 0.67367 | 6
2012-59 | 5 | LB04 | 15 | 0.49612 | 6
2012-59 | 5 | LB04 | 16 | 0.4689 | 6
2012-59 | 9 | LB06 | 22 | 3.5709 | 6 | NH4:required dilution
2012-59 | 9 | LB06 | 23 | 1.6079 | 6
2012-59 | 9 | LB06 | 24 | 1.4547 | 6
2012-59 | 23 | LB08 | 39 | 2.0137 | 6
2012-59 | 23 | LB08 | 40 | 0.30301 | 6
2012-59 | 23 | LB08 | 41 | 0.26133 | 6
2012-59 | 24 | LB09 | 49 | 3.0587 | 6
2012-59 | 24 | LB09 | 50 | 0.72193 | 6
2012-59 | 24 | LB09 | 51 | 0.2678 | 6
2012-59 | 26 | LB11 | 61 | 0.96119 | 6
2012-59 | 26 | LB11 | 62 | 1.0001 | 6
2012-59 | 26 | LB11 | 63 | 0.95812 | 6
2012-59 | 28 | LB12 | 77 | 0.47023 | 6
2012-59 | 28 | LB12 | 78 | 0.3489 | 6
2012-59 | 28 | LB12 | 79 | 0.57621 | 6
2012-59 | 30 | LB14 | 96 | 0.22773 | 6
2012-59 | 30 | LB14 | 97 | 0.041455 | 6
2012-59 | 30 | LB14 | 98 | 0.1001 | 6
2012-59 | 37 | LC11 | 128 | 0.95215 | 6
2012-59 | 37 | LC11 | 129 | 0.052867 | 6
2012-59 | 37 | LC11 | 130 | 0.03125 | 6
2012-59 | 40 | LC09 | 145 | 0.73332 | 6
2012-59 | 40 | LC09 | 146 | 0.22956 | 6
2012-59 | 40 | LC09 | 147 | 0.18539 | 6
2012-59 | 43 | LC08 | 158 | 0.29394 | 6
2012-59 | 43 | LC08 | 159 | 0.53532 | 6
2012-59 | 43 | LC08 | 160 | 0.15218 | 6
2012-59 | 46 | LC06 | 166 | 1.264 | 6
2012-59 | 46 | LC06 | 167 | 0.94651 | 6
2012-59 | 46 | LC06 | 168 | 0.36881 | 6
2012-59 | 50 | LC04 | 178 | 1.1135 | 6
2012-59 | 50 | LC04 | 179 | 0.99883 | 6
2012-59 | 50 | LC04 | 180 | 0.51966 | 6
2012-59 | 52 | LC02 | 186 | 1.3654 | 6
2012-59 | 52 | LC02 | 187 | 0.56054 | 6
2012-59 | 52 | LC02 | 188 | 0.45418 | 6
2012-59 | 53 | LC01 | 195 | 1.697 | 6
2012-59 | 53 | LC01 | 196 | 0.91408 | 6
2012-59 | 53 | LC01 | 197 | 0.55631 | 6
2012-59 | 54 | LD01 | 206 | 2.337 | 6
2012-59 | 54 | LD01 | 207 | 1.4492 | 6
2012-59 | 54 | LD01 | 208 | 0.50196 | 6
2012-59 | 55 | LD02 | 212 | 0.58384 | 6
2012-59 | 55 | LD02 | 213 | 0.086156 | 6
2012-59 | 58 | LD04 | 218 | 2.4018 | 6
2012-59 | 58 | LD04 | 219 | 0.42672 | 6
2012-59 | 58 | LD04 | 220 | 0.11628 | 6
2012-59 | 60 | LD06 | 227 | 1.8903 | 6
2012-59 | 60 | LD06 | 228 | 2.1758 | 6
2012-59 | 60 | LD06 | 229 | 0.93408 | 6
2012-59 | 62 | LD08 | 245 | 1.4482 | 6
2012-59 | 62 | LD08 | 246 | 0.30844 | 6
2012-59 | 62 | LD08 | 247 | 0.29465 | 6
2012-59 | 67 | LD11 | 266 | 0.29005 | 6
2012-59 | 67 | LD11 | 267 | 0.13879 | 6
2012-59 | 67 | LD11 | 268 | 0.20047 | 6
2012-59 | 72 | LG06 | 291 | 1.5023 | 6
2012-59 | 72 | LG06 | 292 | 0.40994 | 6
2012-59 | 72 | LG06 | 293 | 0.39203 | 6
2012-59 | 74 | LG04 | 301 | 0.22692 | 6
2012-59 | 74 | LG04 | 302 | 1.2508 | 6
2012-59 | 74 | LG04 | 303 | 1.2426 | 6
2012-59 | 77 | LG02 | 309 | 2.7106 | 6
2012-59 | 77 | LG02 | 310 | 3.4477 | 6 | NH4:required dilution
2012-59 | 77 | LG02 | 311 | 2.8936 | 6
2012-59 | 78 | LG01 | 321 | 3.6049 | 6 | NH4:required dilution
2012-59 | 78 | LG01 | 322 | 3.6575 | 6 | NH4:required dilution
2012-59 | 78 | LG01 | 323 | 3.113 | 2 | NH4: outlier reps, dilution problem noted with A, not used
2012-59 | 83/84 | LBP7 | 348 | 1.66 | 46 | NH4: outlier reps, hugely variable, no basis for discarding one over other
2012-59 | 83/84 | LBP7 | 349 | 0.10604 | 6
2012-59 | 83/84 | LBP7 | 350 | 0.15768 | 6
2012-59 | 86 | LBP5 | 368 | 2.7373 | 6
2012-59 | 86 | LBP5 | 369 | 0.75344 | 6
2012-59 | 86 | LBP5 | 370 | 0.77094 | 6
2012-59 | 89 | LBP3 | 379 | 2.3606 | 6
2012-59 | 89 | LBP3 | 380 | 2.1738 | 6
2012-59 | 89 | LBP3 | 381 | 1.8972 | 6
2012-59 | 102 | CS00 | 406 | 0.41066 | 6
2012-59 | 102 | CS00 | 407 | 0.098389 | 6
2012-59 | 102 | CS00 | 408 | 0.15152 | 6
2012-59 | 104 | CS02 | 426 | 0.69238 | 6
2012-59 | 104 | CS02 | 427 | 0.24177 | 6
2012-59 | 104 | CS02 | 428 | 0.2457 | 6
2012-59 | 108 | CS04 | 434 | 0.82222 | 6
2012-59 | 108 | CS04 | 435 | 1.1581 | 6
2012-59 | 108 | CS04 | 436 | 1.1212 | 6
2012-59 | 119 | CS06 | 447 | 0.31415 | 6
2012-59 | 119 | CS06 | 448 | 0.51999 | 6
2012-59 | 119 | CS06 | 449 | 0.52281 | 6
2012-59 | 125 | CS09 | 459 | 1.0326 | 6
2012-59 | 125 | CS09 | 460 | 1.8801 | 6
2012-59 | 125 | CS09 | 461 | 0.62628 | 2 | NH4:organism in 'A' sample, replicate not used

## Sp
Cruise 2012-59 WCVI Ammonia Calculations
-indicates sampled diluted to 50%
Analyst: | Neil Dangerfield
Precision Statement for Duplicate Samples Drawn From a Single Niskin bottle:
Sp for Ammonium for the range 0.03 to 3.66 uM was 0.07, k = 98 with 2 outlier(s) removed
Sp < 0.1 is considered good for NH4 analysis
Precision was determined by analyzing replicate samples drawn from one Niskin
For precision we calculate pooled standard deviation (Sp)
with simplified formula for the case of dups:
where k=# of duplicated samples
Sp = SQRT{sum (d*d)/2k}
Determination of Outliers
Outliers are discarded on the basis of Chauvenet's criteria.
A z-score is calculated for each pair of replicates and compared to Z-critical for the number of replicated samples according to:
For an outlier to be discarded:
Z-critical= ABS(NORM.S.INV(1/(4*n)))
Station | Sample | rep | Depth | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Z-score | Ammonium | Flag:Ammonium | comment
LB01 | 1 | A | Btm-10 | 437.2 | 1.2491 | 1.2249 | 0.048453 | 0.0023477 | 0.069622 | 1.2249 | 6
LB01 | 1 | B | Btm-10 | 422.6 | 1.2007
LB01 | 2 | A | 10 | 432.7 | 1.2342 | 1.196 | 0.076331 | 0.0058264 | 0.18114 | 1.196 | 6
LB01 | 2 | B | 10 | 409.7 | 1.1579
LB01 | 3 | A | 5 | 336.5 | 0.91494 | 0.91776 | -0.0056418 | 3.183e-05 | 0.14678 | 0.91776 | 6
LB01 | 3 | B | 5 | 338.2 | 0.92058
LB02 | 6 | A | 20 | 449.4 | 1.2896 | 1.3877 | -0.19614 | 0.03847 | 0.90885 | 1.3877 | 6
LB02 | 6 | B | 20 | 508.5 | 1.4858
LB02 | 7 | A | 10 | 397.5 | 1.1174 | 1.0625 | 0.10985 | 0.012067 | 0.31524 | 1.0625 | 6
LB02 | 7 | B | 10 | 364.4 | 1.0075
LB02 | 8 | A | 5 | 338.9 | 0.92291 | 0.90283 | 0.040157 | 0.0016126 | 0.036431 | 0.90283 | 6
LB02 | 8 | B | 5 | 326.8 | 0.88275
LB04 | 14 | A | 20 | 274.7 | 0.70984 | 0.67367 | 0.072348 | 0.0052343 | 0.16521 | 0.67367 | 6
LB04 | 14 | B | 20 | 252.9 | 0.6375
LB04 | 15 | A | 10 | 202.3 | 0.46957 | 0.49612 | -0.045467 | 0.0020672 | 0.3061 | 0.49612 | 6
LB04 | 15 | B | 10 | 216 | 0.51503
LB04 | 16 | A | 5 | 212.6 | 0.50375 | 0.4689 | 0.069693 | 0.0048572 | 0.15459 | 0.4689 | 6
LB04 | 16 | B | 5 | 191.6 | 0.43406
LB06 | 22 | A | 20 | 589.8 | 1.7556 | 3.5709 | -0.059737 | 0.0035685 | 0.36319 | 3.5709 | 36 | NH4: sample diluted
LB06 | 22 | B | 20 | 607.8 | 1.8153
LB06 | 23 | A | 10 | 544.9 | 1.6066 | 1.6079 | -0.002655 | 7.0489e-06 | 0.13483 | 1.6079 | 6
LB06 | 23 | B | 10 | 545.7 | 1.6092
LB06 | 24 | A | 5 | 514.3 | 1.505 | 1.4547 | 0.10056 | 0.010112 | 0.27806 | 1.4547 | 6
LB06 | 24 | B | 5 | 484 | 1.4045
LB08 | 39 | A | 20 | 642.3 | 2.0273 | 2.0137 | 0.027141 | 0.00073666 | 0.015635 | 2.0137 | 6
LB08 | 39 | B | 20 | 633.9 | 2.0002
LB08 | 40 | A | 5 | 110.4 | 0.30867 | 0.30301 | 0.011309 | 0.00012789 | 0.078972 | 0.30301 | 6
LB08 | 40 | B | 5 | 106.9 | 0.29736
LB08 | 41 | A | 5 | 88.2 | 0.23694 | 0.26133 | -0.04879 | 0.0023805 | 0.31939 | 0.26133 | 6
LB08 | 41 | B | 5 | 103.3 | 0.28573
LB09 | 49 | A | 20 | 948 | 3.0151 | 3.0587 | -0.08724 | 0.0076109 | 0.47321 | 3.0587 | 6
LB09 | 49 | B | 20 | 975 | 3.1023
LB09 | 50 | A | 10 | 264.7 | 0.80723 | 0.72193 | 0.1706 | 0.029105 | 0.55828 | 0.72193 | 6
LB09 | 50 | B | 10 | 211.9 | 0.63663
LB09 | 51 | A | 5 | 97.8 | 0.26796 | 0.2678 | 0.00032311 | 1.044e-07 | 0.12292 | 0.2678 | 6
LB09 | 51 | B | 5 | 97.7 | 0.26763
LB11 | 61 | A | 20 | 326 | 1.0053 | 0.96119 | 0.08821 | 0.0077809 | 0.22866 | 0.96119 | 6
LB11 | 61 | B | 20 | 298.7 | 0.91709
LB11 | 62 | A | 10 | 324.8 | 1.0014 | 1.0001 | 0.0025849 | 6.6817e-06 | 0.11387 | 1.0001 | 6
LB11 | 62 | B | 10 | 324 | 0.99884
LB11 | 63 | A | 5 | 256.7 | 0.78138 | 0.95812 | -0.35348 | 0.12495 | 1.5383 | 0.95812 | 6
LB11 | 63 | B | 5 | 366.1 | 1.1349
LB12 | 77 | A | 20 | 143.7 | 0.41627 | 0.47023 | -0.10792 | 0.011647 | 0.55594 | 0.47023 | 6
LB12 | 77 | B | 20 | 177.1 | 0.52418
LB12 | 78 | A | 10 | 112.7 | 0.3161 | 0.3489 | -0.065592 | 0.0043023 | 0.38661 | 0.3489 | 6
LB12 | 78 | B | 10 | 133 | 0.38169
LB12 | 79 | A | 5 | 187.5 | 0.55779 | 0.57621 | -0.036835 | 0.0013568 | 0.27157 | 0.57621 | 6
LB12 | 79 | B | 5 | 198.9 | 0.59462
LB14 | 96 | A | 20 | 121.3 | 0.34389 | 0.22773 | 0.23232 | 0.053972 | 0.80516 | 0.22773 | 6
LB14 | 96 | B | 20 | 49.4 | 0.11157
LB14 | 97 | A | 10 | 27.3 | 0.040163 | 0.041455 | -0.0025849 | 6.6817e-06 | 0.13455 | 0.041455 | 6
LB14 | 97 | B | 10 | 28.1 | 0.042748
LB14 | 98 | A | 5 | 48.3 | 0.10802 | 0.1001 | 0.015832 | 0.00025067 | 0.060876 | 0.1001 | 6
LB14 | 98 | B | 5 | 43.4 | 0.092184
LC11 | 128 | A | 20 | 320.8 | 0.93836 | 0.95215 | -0.027569 | 0.00076005 | 0.2345 | 0.95215 | 6
LC11 | 128 | B | 20 | 329.6 | 0.96593
LC11 | 129 | A | 10 | 35.8 | 0.045504 | 0.052867 | -0.014724 | 0.00021681 | 0.18312 | 0.052867 | 6
LC11 | 129 | B | 10 | 40.5 | 0.060229
LC11 | 130 | A | 5 | 29.3 | 0.025141 | 0.03125 | -0.012218 | 0.00014928 | 0.17309 | 0.03125 | 6
LC11 | 130 | B | 5 | 33.2 | 0.037359
LC09 | 145 | A | 20 | 280.1 | 0.81086 | 0.73332 | 0.15508 | 0.024048 | 0.49616 | 0.73332 | 6
LC09 | 145 | B | 20 | 230.6 | 0.65578
LC09 | 146 | A | 10 | 120.8 | 0.3118 | 0.22956 | 0.16447 | 0.027052 | 0.53375 | 0.22956 | 6
LC09 | 146 | B | 10 | 68.3 | 0.14732
LC09 | 147 | A | 5 | 66.7 | 0.14231 | 0.18539 | -0.086153 | 0.0074223 | 0.46886 | 0.18539 | 6
LC09 | 147 | B | 5 | 94.2 | 0.22846
LC08 | 158 | A | 20 | 127.7 | 0.33341 | 0.29394 | 0.078947 | 0.0062327 | 0.19161 | 0.29394 | 6
LC08 | 158 | B | 20 | 102.5 | 0.25446
LC08 | 159 | A | 10 | 170 | 0.46593 | 0.53532 | -0.13878 | 0.019261 | 0.67941 | 0.53532 | 6
LC08 | 159 | B | 10 | 214.3 | 0.60471
LC08 | 160 | A | 5 | 44.2 | 0.07182 | 0.15218 | -0.16071 | 0.025829 | 0.76714 | 0.15218 | 6
LC08 | 160 | B | 5 | 95.5 | 0.23253
LC06 | 166 | A | 20 | 412.2 | 1.2247 | 1.264 | -0.078634 | 0.0061833 | 0.43878 | 1.264 | 6
LC06 | 166 | B | 20 | 437.3 | 1.3033
LC06 | 167 | A | 10 | 265.2 | 0.76418 | 0.94651 | -0.36466 | 0.13298 | 1.583 | 0.94651 | 6
LC06 | 167 | B | 10 | 381.6 | 1.1288
LC06 | 168 | A | 5 | 152.5 | 0.41111 | 0.36881 | 0.084586 | 0.0071549 | 0.21417 | 0.36881 | 6
LC06 | 168 | B | 5 | 125.5 | 0.32652
LC04 | 178 | A | 20 | 373.8 | 1.1044 | 1.1135 | -0.01817 | 0.00033016 | 0.1969 | 1.1135 | 6
LC04 | 178 | B | 20 | 379.6 | 1.1226
LC04 | 179 | A | 10 | 366.8 | 1.0825 | 0.99883 | 0.16729 | 0.027987 | 0.54503 | 0.99883 | 6
LC04 | 179 | B | 10 | 313.4 | 0.91518
LC04 | 180 | A | 5 | 180.4 | 0.49851 | 0.51966 | -0.042293 | 0.0017887 | 0.2934 | 0.51966 | 6
LC04 | 180 | B | 5 | 193.9 | 0.54081
LC02 | 186 | A | 20 | 458.4 | 1.3694 | 1.3654 | 0.0081454 | 6.6347e-05 | 0.091628 | 1.3654 | 6
LC02 | 186 | B | 20 | 455.8 | 1.3613
LC02 | 187 | A | 10 | 216.6 | 0.61192 | 0.56054 | 0.10276 | 0.010559 | 0.28686 | 0.56054 | 6
LC02 | 187 | B | 10 | 183.8 | 0.50916
LC02 | 188 | A | 5 | 186 | 0.51606 | 0.45418 | 0.12375 | 0.015313 | 0.37083 | 0.45418 | 6
LC02 | 188 | B | 5 | 146.5 | 0.39231
LC01 | 195 | A | 20 | 568.2 | 1.7134 | 1.697 | 0.032895 | 0.0010821 | 0.0073805 | 1.697 | 6
LC01 | 195 | B | 20 | 557.7 | 1.6805
LC01 | 196 | A | 10 | 325.6 | 0.9534 | 0.91408 | 0.078634 | 0.0061833 | 0.19036 | 0.91408 | 6
LC01 | 196 | B | 10 | 300.5 | 0.87477
LC01 | 197 | A | 5 | 183.8 | 0.50916 | 0.55631 | -0.094298 | 0.0088922 | 0.50145 | 0.55631 | 6
LC01 | 197 | B | 5 | 213.9 | 0.60346
LD01 | 206 | A | 20 | 788.1 | 2.4023 | 2.337 | 0.13064 | 0.017067 | 0.3984 | 2.337 | 6
LD01 | 206 | B | 20 | 746.4 | 2.2717
LD01 | 207 | A | 10 | 482.1 | 1.4437 | 1.4492 | -0.010965 | 0.00012023 | 0.16808 | 1.4492 | 6
LD01 | 207 | B | 10 | 485.6 | 1.4547
LD01 | 208 | A | 5 | 163.3 | 0.44494 | 0.50196 | -0.11404 | 0.013004 | 0.5804 | 0.50196 | 6
LD01 | 208 | B | 5 | 199.7 | 0.55898
LD02 | 212 | A | 10 | 207.2 | 0.60921 | 0.58384 | 0.050736 | 0.0025741 | 0.078752 | 0.58384 | 6
LD02 | 212 | B | 10 | 191.2 | 0.55847
LD02 | 213 | A | 5 | 53.8 | 0.12278 | 0.086156 | 0.07325 | 0.0053655 | 0.16882 | 0.086156 | 6
LD02 | 213 | B | 5 | 30.7 | 0.049531
LD04 | 218 | A | 20 | 797 | 2.4795 | 2.4018 | 0.15538 | 0.024142 | 0.49737 | 2.4018 | 6
LD04 | 218 | B | 20 | 748 | 2.3241
LD04 | 219 | A | 10 | 122.4 | 0.34031 | 0.42672 | -0.17282 | 0.029866 | 0.81556 | 0.42672 | 6
LD04 | 219 | B | 10 | 176.9 | 0.51313
LD04 | 220 | A | 5 | 44.6 | 0.093607 | 0.11628 | -0.045345 | 0.0020562 | 0.30561 | 0.11628 | 6
LD04 | 220 | B | 5 | 58.9 | 0.13895
LD06 | 227 | A | 20 | 604.2 | 1.8681 | 1.8903 | -0.044394 | 0.0019708 | 0.30181 | 1.8903 | 6
LD06 | 227 | B | 20 | 618.2 | 1.9125
LD06 | 228 | A | 10 | 683.5 | 2.1195 | 2.1758 | -0.11257 | 0.012672 | 0.57454 | 2.1758 | 6
LD06 | 228 | B | 10 | 719 | 2.2321
LD06 | 229 | A | 5 | 309.6 | 0.93392 | 0.93408 | -0.0003171 | 1.0055e-07 | 0.12548 | 0.93408 | 6
LD06 | 229 | B | 5 | 309.7 | 0.93423
LD08 | 245 | A | 20 | 459.1 | 1.408 | 1.4482 | -0.080543 | 0.0064872 | 0.44642 | 1.4482 | 6
LD08 | 245 | B | 20 | 484.5 | 1.4885
LD08 | 246 | A | 10 | 107.9 | 0.29433 | 0.30844 | -0.028222 | 0.00079647 | 0.23711 | 0.30844 | 6
LD08 | 246 | B | 10 | 116.8 | 0.32255
LD08 | 247 | A | 5 | 149.4 | 0.42593 | 0.29465 | 0.26256 | 0.068936 | 0.92613 | 0.29465 | 6
LD08 | 247 | B | 5 | 66.6 | 0.16337
LD11 | 266 | A | 20 | 105.1 | 0.28545 | 0.29005 | -0.0091958 | 8.4563e-05 | 0.161 | 0.29005 | 6
LD11 | 266 | B | 20 | 108 | 0.29465
LD11 | 267 | A | 10 | 49.8 | 0.1101 | 0.13879 | -0.057395 | 0.0032942 | 0.35382 | 0.13879 | 6
LD11 | 267 | B | 10 | 67.9 | 0.16749
LD11 | 268 | A | 5 | 74.3 | 0.18779 | 0.20047 | -0.025368 | 0.00064353 | 0.2257 | 0.20047 | 6
LD11 | 268 | B | 5 | 82.3 | 0.21315
LG06 | 291 | A | 20 | 475.2 | 1.4761 | 1.5023 | -0.052292 | 0.0027344 | 0.3334 | 1.5023 | 6
LG06 | 291 | B | 20 | 491.4 | 1.5284
LG06 | 292 | A | 10 | 132.1 | 0.36862 | 0.40994 | -0.082634 | 0.0068284 | 0.45479 | 0.40994 | 6
LG06 | 292 | B | 10 | 157.7 | 0.45126
LG06 | 293 | A | 5 | 143.2 | 0.40445 | 0.39203 | 0.024855 | 0.00061776 | 0.024783 | 0.39203 | 6
LG06 | 293 | B | 5 | 135.5 | 0.3796
LG04 | 301 | A | 20 | 100.1 | 0.26533 | 0.22692 | 0.076824 | 0.0059019 | 0.18312 | 0.22692 | 6
LG04 | 301 | B | 20 | 76.3 | 0.18851
LG04 | 302 | A | 10 | 389 | 1.1979 | 1.2508 | -0.10587 | 0.011209 | 0.54776 | 1.2508 | 6
LG04 | 302 | B | 10 | 421.8 | 1.3037
LG04 | 303 | A | 5 | 414.7 | 1.2808 | 1.2426 | 0.076501 | 0.0058524 | 0.18182 | 1.2426 | 6
LG04 | 303 | B | 5 | 391 | 1.2043
LG02 | 309 | A | 20 | 846.4 | 2.6743 | 2.7106 | -0.072628 | 0.0052748 | 0.41476 | 2.7106 | 6
LG02 | 309 | B | 20 | 868.9 | 2.7469
LG02 | 310 | A | 10 | 553.5 | 3.4577 | 3.4477 | 0.020013 | 0.00040052 | 0.044153 | 3.4477 | 36 | NH4: sample diluted
LG02 | 310 | B | 10 | 550.4 | 3.4377
LG02 | 311 | A | 5 | 934.5 | 2.9587 | 2.8936 | 0.13008 | 0.016922 | 0.39618 | 2.8936 | 6
LG02 | 311 | B | 5 | 894.2 | 2.8286
LG01 | 321 | A | 20 | 564.6 | 3.5294 | 3.6049 | -0.15107 | 0.022821 | 0.72854 | 3.6049 | 36 | NH4: sample diluted
LG01 | 321 | B | 20 | 588 | 3.6804
LG01 | 322 | A | 10 | 592.7 | 3.7108 | 3.6575 | 0.10652 | 0.011347 | 0.30192 | 3.6575 | 36 | NH4: sample diluted
LG01 | 322 | B | 10 | 576.2 | 3.6043
LG01 | 323 | A | 5 | 627.8 | 3.9374 | 3.5252 | 0.8244 | 0.67964 | 3.1738 | 3.113 |  | NH4: outlier reps, dilution problem noted with A, not used
LG01 | 323 | B | 5 | 982.3 | 3.113
LBP7 | 348 | A | 20 | 862.9 | 2.7276 | 1.6632 | 2.1288 | 4.5318 | 8.3919 | 1.6632 | 6 | NH4: reps highly variable but no basis for choosing one over other
LBP7 | 348 | B | 20 | 203.4 | 0.59877
LBP7 | 349 | A | 10 | 52.9 | 0.11298 | 0.10604 | 0.01388 | 0.00019265 | 0.068687 | 0.10604 | 6
LBP7 | 349 | B | 10 | 48.6 | 0.099096
LBP7 | 350 | A | 5 | 49.1 | 0.10071 | 0.15768 | -0.11394 | 0.012983 | 0.58004 | 0.15768 | 6
LBP7 | 350 | B | 5 | 84.4 | 0.21465
LBP5 | 368 | A | 20 | 924.6 | 2.8064 | 2.7373 | 0.13817 | 0.01909 | 0.42851 | 2.7373 | 6
LBP5 | 368 | B | 20 | 880 | 2.6682
LBP5 | 369 | A | 10 | 261.7 | 0.75282 | 0.75344 | -0.0012392 | 1.5355e-06 | 0.12917 | 0.75344 | 6
LBP5 | 369 | B | 10 | 262.1 | 0.75406
LBP5 | 370 | A | 5 | 258.6 | 0.74322 | 0.77094 | -0.055452 | 0.003075 | 0.34605 | 0.77094 | 6
LBP5 | 370 | B | 5 | 276.5 | 0.79867
LBP3 | 379 | A | 20 | 816.6 | 2.4718 | 2.3606 | 0.22243 | 0.049475 | 0.7656 | 2.3606 | 6
LBP3 | 379 | B | 20 | 744.8 | 2.2494
LBP3 | 380 | A | 10 | 724.4 | 2.1862 | 2.1738 | 0.024783 | 0.0006142 | 0.025069 | 2.1738 | 6
LBP3 | 380 | B | 10 | 716.4 | 2.1614
LBP3 | 381 | A | 5 | 652.1 | 1.9622 | 1.8972 | 0.13011 | 0.016929 | 0.39629 | 1.8972 | 6
LBP3 | 381 | B | 5 | 610.1 | 1.8321
CS00 | 406 | A | 20 | 153.1 | 0.41639 | 0.41066 | 0.011462 | 0.00013138 | 0.078359 | 0.41066 | 6
CS00 | 406 | B | 20 | 149.4 | 0.40493
CS00 | 407 | A | 10 | 36.6 | 0.055483 | 0.098389 | -0.085812 | 0.0073636 | 0.4675 | 0.098389 | 6
CS00 | 407 | B | 10 | 64.3 | 0.14129
CS00 | 408 | A | 5 | 59 | 0.12488 | 0.15152 | -0.053284 | 0.0028392 | 0.33737 | 0.15152 | 6
CS00 | 408 | B | 5 | 76.2 | 0.17816
CS02 | 426 | A | 20 | 242.7 | 0.71609 | 0.69238 | 0.047416 | 0.0022482 | 0.065471 | 0.69238 | 6
CS02 | 426 | B | 20 | 227.6 | 0.66867
CS02 | 427 | A | 10 | 93 | 0.24601 | 0.24177 | 0.0084783 | 7.1882e-05 | 0.090296 | 0.24177 | 6
CS02 | 427 | B | 10 | 90.3 | 0.23753
CS02 | 428 | A | 5 | 81.5 | 0.2099 | 0.2457 | -0.071595 | 0.0051258 | 0.41062 | 0.2457 | 6
CS02 | 428 | B | 5 | 104.3 | 0.2815
CS04 | 434 | A | 20 | 284.1 | 0.84609 | 0.82222 | 0.04773 | 0.0022781 | 0.066727 | 0.82222 | 6
CS04 | 434 | B | 20 | 268.9 | 0.79836
CS04 | 435 | A | 10 | 385.5 | 1.1645 | 1.1581 | 0.012874 | 0.00016575 | 0.072709 | 1.1581 | 6
CS04 | 435 | B | 10 | 381.4 | 1.1516
CS04 | 436 | A | 5 | 369.1 | 1.113 | 1.1212 | -0.016329 | 0.00026662 | 0.18953 | 1.1212 | 6
CS04 | 436 | B | 5 | 374.3 | 1.1293
CS06 | 447 | A | 20 | 108.6 | 0.295 | 0.31415 | -0.038309 | 0.0014676 | 0.27747 | 0.31415 | 6
CS06 | 447 | B | 20 | 120.8 | 0.33331
CS06 | 448 | A | 10 | 174.9 | 0.50319 | 0.51999 | -0.033599 | 0.0011289 | 0.25862 | 0.51999 | 6
CS06 | 448 | B | 10 | 185.6 | 0.53679
CS06 | 449 | A | 5 | 175.7 | 0.5057 | 0.52281 | -0.034227 | 0.0011715 | 0.26114 | 0.52281 | 6
CS06 | 449 | B | 5 | 186.6 | 0.53993
CS09 | 459 | A | 20 | 339.4 | 1.0197 | 1.0326 | -0.025749 | 0.00066301 | 0.22722 | 1.0326 | 6
CS09 | 459 | B | 20 | 347.6 | 1.0455
CS09 | 460 | A | 10 | 624.6 | 1.9153 | 1.8801 | 0.070339 | 0.0049475 | 0.15717 | 1.8801 | 6
CS09 | 460 | B | 10 | 602.2 | 1.845
CS09 | 461 | A | 5 | 349.6 | 1.0518 | 0.62628 | - | - |  | 0.62628 |  | NH4: rep not used, critter in vial
CS09 | 461 | B | 5 | 214.1 | 0.62628
[6 empty] | mean diff | 0.03105
[6 empty] | stdev | 0.24997
[6 empty] | MIN [NH4] | 0.03125
[6 empty] | MAX [NH4] | 3.6575
with 2 outliers removed
[6 empty] | count | 100 | 98
[6 empty] | SUM | 6.2825 | 1.0711
[6 empty] | Sp | 0.17724 | 0.073926
[7 empty] | Z-critical | 2.807
Note on E225: : organism in vial!
Note on F88: : perhaps wrong tube filled, see tube 147B
Note on F90: : perhaps wrong tube filled, see tube 146B
Z-score=|x-μ|/σ
Z-score ≥ Zcritical

## Sept1 , 2012
Cruise 2012-59 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 59.7 | 51,0
Saturday Sep 1, 2012 | [8 empty] | Zero | 0 | 51
Start time of reaction |  |  | 10:05 | [5 empty] | S1 | 0.5 | 220.8
End time of reaction |  |  | 18:50 | [5 empty] | S1 | 0.5 | 214.7
[9 empty] | S2 | 1 | 362.4
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 369.5
S3 mid-range | [8 empty] | S3 | 1.5 | 520.2
[9 empty] | S3 | 1.5 | 496.1
Std water collected at
Using WR prepared by JEB-C Aug 8, 2012
Secondary standard by JBC, May10, 2012
| Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| LB01 | 1 | A | Btm-10 | 437.2 | 1.2491 | 1.2249 | 0.048453 | 0.0023477
| LB01 | 1 | B | Btm-10 | 422.6 | 1.2007
| LB01 | 2 | A | 10 | 432.7 | 1.2342 | 1.196 | 0.076331 | 0.0058264
| LB01 | 2 | B | 10 | 409.7 | 1.1579
| LB01 | 3 | A | 5 | 336.5 | 0.91494 | 0.91776 | -0.0056418 | 3.183e-05
| LB01 | 3 | B | 5 | 338.2 | 0.92058
| LB02 | 6 | A | 20 | 449.4 | 1.2896 | 1.3877 | -0.19614 | 0.03847
| LB02 | 6 | B | 20 | 508.5 | 1.4858
| LB02 | 7 | A | 10 | 397.5 | 1.1174 | 1.0625 | 0.10985 | 0.012067
| LB02 | 7 | B | 10 | 364.4 | 1.0075
| LB02 | 8 | A | 5 | 338.9 | 0.92291 | 0.90283 | 0.040157 | 0.0016126
| LB02 | 8 | B | 5 | 326.8 | 0.88275
| LB04 | 14 | A | 20 | 274.7 | 0.70984 | 0.67367 | 0.072348 | 0.0052343
| LB04 | 14 | B | 20 | 252.9 | 0.6375
| LB04 | 15 | A | 10 | 202.3 | 0.46957 | 0.49612 | -0.045467 | 0.0020672
| LB04 | 15 | B | 10 | 216 | 0.51503
| LB04 | 16 | A | 5 | 212.6 | 0.50375 | 0.4689 | 0.069693 | 0.0048572
| LB04 | 16 | B | 5 | 191.6 | 0.43406
| LB06 | 22 | A | 20 | xx | #VALUE! | NA
| LB06 | 22 | B | 20 | xx | #VALUE!
| LB06 | 23 | A | 10 | 544.9 | 1.6066 | 1.6079 | -0.002655 | 7.0489e-06
| LB06 | 23 | B | 10 | 545.7 | 1.6092
| LB06 | 24 | A | 5 | 514.3 | 1.505 | 1.4547 | 0.10056 | 0.010112
| LB06 | 24 | B | 5 | 484 | 1.4045
| LB06 | 22dil | A | 20 | 589.8 | 1.7556 | 3.5709 | -0.059737 | 0.0035685 | sample diluted, final concentration multiplied by 2
| LB06 | 22dil | B | 20 | 607.8 | 1.8153

## Sept2 , 2012
Cruise 2012-59 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 11.8
Sunday Sept 2, 2012 | [8 empty] | Zero | 0 | 11.6
Start time of reaction |  |  | 9:00 | read start | 18:10 |  |  |  | S1 | 0.5 | 172.7
End time of reaction |  |  | 18:05 | read finish | 18:36 |  |  |  | S1 | 0.5 | 173.3
[9 empty] | S2 | 1 | 326.9
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 327.3
S3 mid-range | [8 empty] | S3 | 1.5 | 479.6
[9 empty] | S3 | 1.5 | 472.7
Std water collected at
Using WR prepared by JEB-C Aug 8, 2012
Secondary standard by JBC, May10, 2012
| Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| LB08 | 39 | A | 20 | 642.3 | 2.0273 | 2.0137 | 0.027141 | 0.00073666
| LB08 | 39 | B | 20 | 633.9 | 2.0002
| LB08 | 40 | A | 5 | 110.4 | 0.30867 | 0.30301 | 0.011309 | 0.00012789
| LB08 | 40 | B | 5 | 106.9 | 0.29736
| LB08 | 41 | A | 5 | 88.2 | 0.23694 | 0.26133 | -0.04879 | 0.0023805
| LB08 | 41 | B | 5 | 103.3 | 0.28573
| LB09 | 49 | A | 20 | 948 | 3.0151 | 3.0587 | -0.08724 | 0.0076109
| LB09 | 49 | B | 20 | 975 | 3.1023
| LB09 | 50 | A | 10 | 264.7 | 0.80723 | 0.72193 | 0.1706 | 0.029105
| LB09 | 50 | B | 10 | 211.9 | 0.63663
| LB09 | 51 | A | 5 | 97.8 | 0.26796 | 0.2678 | 0.00032311 | 1.044e-07
| LB09 | 51 | B | 5 | 97.7 | 0.26763
| LB11 | 61 | A | 20 | 326 | 1.0053 | 0.96119 | 0.08821 | 0.0077809
| LB11 | 61 | B | 20 | 298.7 | 0.91709
| LB11 | 62 | A | 10 | 324.8 | 1.0014 | 0.92721 | 0.0025849 | 6.6817e-06
| LB11 | 62 | B | 10 | 324 | 0.99884
| LB11 | 63 | A | 5 | 256.7 | 0.78138 | 0.95812 | -0.35348 | 0.12495
| LB11 | 63 | B | 5 | 366.1 | 1.1349
| LB12 | 77 | A | 20 | 143.7 | 0.41627 | 0.47023 | -0.10792 | 0.011647
| LB12 | 77 | B | 20 | 177.1 | 0.52418
| LB12 | 78 | A | 10 | 112.7 | 0.3161 | 0.3489 | -0.065592 | 0.0043023
| LB12 | 78 | B | 10 | 133 | 0.38169
| LB12 | 79 | A | 5 | 187.5 | 0.55779 | 0.57621 | -0.036835 | 0.0013568
| LB12 | 79 | B | 5 | 198.9 | 0.59462
| LB14 | 96 | A | 20 | 121.3 | 0.34389 | 0.22773 | 0.23232 | 0.053972
| LB14 | 96 | B | 20 | 49.4 | 0.11157
| LB14 | 97 | A | 10 | 27.3 | 0.040163 | 0.041455 | -0.0025849 | 6.6817e-06
| LB14 | 97 | B | 10 | 28.1 | 0.042748
| LB14 | 98 | A | 5 | 48.3 | 0.10802 | 0.1001 | 0.015832 | 0.00025067
| LB14 | 98 | B | 5 | 43.4 | 0.092184
Note on E34: :
Note on E35: :

## Sept3, 2012
Cruise 2012-59 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 13.6
Monday Sept 3, 2012 | [8 empty] | Zero | 0 | 16.1
Start time of reaction |  |  | 8:55 | read start | 18:22 | load start | 8:55 |  | S1 | 0.5 | 187.6
End time of reaction |  |  | 18:22 | read finish | 19:15 | load finish | 9:15 |  | S1 | 0.5 | 187.8
[9 empty] | S2 | 1 | 344.6
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 347.6
S3 mid-range | [8 empty] | S3 | 1.5 | 498.1
[9 empty] | S3 | 1.5 | 490
Std water collected at
Using WR prepared by JEB-C Aug 8, 2012
Secondary standard by JBC, May10, 2012
| Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| LC11 | 128 | A | 20 | 320.8 | 0.93836 | 0.95215 | -0.027569 | 0.00076005
| LC11 | 128 | B | 20 | 329.6 | 0.96593
| LC11 | 129 | A | 10 | 35.8 | 0.045504 | 0.052867 | -0.014724 | 0.00021681
| LC11 | 129 | B | 10 | 40.5 | 0.060229
| LC11 | 130 | A | 5 | 29.3 | 0.025141 | 0.03125 | -0.012218 | 0.00014928
| LC11 | 130 | B | 5 | 33.2 | 0.037359
| LC09 | 145 | A | 20 | 280.1 | 0.81086 | 0.73332 | 0.15508 | 0.024048
| LC09 | 145 | B | 20 | 230.6 | 0.65578
| LC09 | 146 | A | 10 | 120.8 | 0.3118 | 0.22956 | 0.16447 | 0.027052
| LC09 | 146 | B | 10 | 68.3 | 0.14732
| LC09 | 147 | A | 5 | 66.7 | 0.14231 | 0.18539 | -0.086153 | 0.0074223
| LC09 | 147 | B | 5 | 94.2 | 0.22846
| LC08 | 158 | A | 20 | 127.7 | 0.33341 | 0.29394 | 0.078947 | 0.0062327
| LC08 | 158 | B | 20 | 102.5 | 0.25446
| LC08 | 159 | A | 10 | 170 | 0.46593 | 0.38082 | -0.13878 | 0.019261
| LC08 | 159 | B | 10 | 214.3 | 0.60471
| LC08 | 160 | A | 5 | 44.2 | 0.07182 | 0.15218 | -0.16071 | 0.025829
| LC08 | 160 | B | 5 | 95.5 | 0.23253
| LC06 | 166 | A | 20 | 412.2 | 1.2247 | 1.264 | -0.078634 | 0.0061833
| LC06 | 166 | B | 20 | 437.3 | 1.3033
| LC06 | 167 | A | 10 | 265.2 | 0.76418 | 0.94651 | -0.36466 | 0.13298
| LC06 | 167 | B | 10 | 381.6 | 1.1288
| LC06 | 168 | A | 5 | 152.5 | 0.41111 | 0.36881 | 0.084586 | 0.0071549
| LC06 | 168 | B | 5 | 125.5 | 0.32652
| LC04 | 178 | A | 20 | 373.8 | 1.1044 | 1.1135 | -0.01817 | 0.00033016
| LC04 | 178 | B | 20 | 379.6 | 1.1226
| LC04 | 179 | A | 10 | 366.8 | 1.0825 | 0.99883 | 0.16729 | 0.027987
| LC04 | 179 | B | 10 | 313.4 | 0.91518
| LC04 | 180 | A | 5 | 180.4 | 0.49851 | 0.51966 | -0.042293 | 0.0017887
| LC04 | 180 | B | 5 | 193.9 | 0.54081
| LC02 | 186 | A | 20 | 458.4 | 1.3694 | 1.3654 | 0.0081454 | 6.6347e-05
| LC02 | 186 | B | 20 | 455.8 | 1.3613
| LC02 | 187 | A | 10 | 216.6 | 0.61192 | 0.56054 | 0.10276 | 0.010559
| LC02 | 187 | B | 10 | 183.8 | 0.50916
| LC02 | 188 | A | 5 | 186 | 0.51606 | 0.45418 | 0.12375 | 0.015313
| LC02 | 188 | B | 5 | 146.5 | 0.39231
| LC01 | 195 | A | 20 | 568.2 | 1.7134 | 1.697 | 0.032895 | 0.0010821
| LC01 | 195 | B | 20 | 557.7 | 1.6805
| LC01 | 196 | A | 10 | 325.6 | 0.9534 | 0.91408 | 0.078634 | 0.0061833
| LC01 | 196 | B | 10 | 300.5 | 0.87477
| LC01 | 197 | A | 5 | 183.8 | 0.50916 | 0.55631 | -0.094298 | 0.0088922
| LC01 | 197 | B | 5 | 213.9 | 0.60346
| LD01 | 206 | A | 20 | 788.1 | 2.4023 | 2.337 | 0.13064 | 0.017067
| LD01 | 206 | B | 20 | 746.4 | 2.2717
| LD01 | 207 | A | 10 | 482.1 | 1.4437 | 1.4492 | -0.010965 | 0.00012023
| LD01 | 207 | B | 10 | 485.6 | 1.4547
| LD01 | 208 | A | 5 | 163.3 | 0.44494 | 0.50196 | -0.11404 | 0.013004
| LD01 | 208 | B | 5 | 199.7 | 0.55898
Note on G41: : perhaps wrong tube filled, see tube 147B
Note on G43: : perhaps wrong tube filled, see tube 146B

## Sept3,4 2012
Cruise 2012-59 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 11
Monday Sept 3, 2012 to Tues Sept 4 | [8 empty] | Zero | 0 | 10.1
Start time of reaction |  |  | 21:30 | read start | 8:00 | load start | 21:30 |  | S1 | 0.5 | 179.4
End time of reaction |  |  | 8:30 | read finish | 8:25 | load finish | 21:47 |  | S1 | 0.5 | 178.3
[9 empty] | S2 | 1 | 328.9
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 334.8
S3 mid-range | [8 empty] | S3 | 1.5 | 483.1
[9 empty] | S3 | 1.5 | 487.2
Std water collected at
Using WR prepared by JEB-C Aug 8, 2012
Secondary standard by JBC, May10, 2012
| Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| LD02 | 212 | A | 10 | 207.2 | 0.60921 | 0.58384 | 0.050736 | 0.0025741
| LD02 | 212 | B | 10 | 191.2 | 0.55847
| LD02 | 213 | A | 5 | 53.8 | 0.12278 | 0.086156 | 0.07325 | 0.0053655
| LD02 | 213 | B | 5 | 30.7 | 0.049531
| LD04 | 218 | A | 20 | 797 | 2.4795 | 2.4018 | 0.15538 | 0.024142
| LD04 | 218 | B | 20 | 748 | 2.3241
| LD04 | 219 | A | 10 | 122.4 | 0.34031 | 0.42672 | -0.17282 | 0.029866
| LD04 | 219 | B | 10 | 176.9 | 0.51313
| LD04 | 220 | A | 5 | 44.6 | 0.093607 | 0.11628 | -0.045345 | 0.0020562
| LD04 | 220 | B | 5 | 58.9 | 0.13895
| LD06 | 227 | A | 20 | 604.2 | 1.8681 | 1.8903 | -0.044394 | 0.0019708
| LD06 | 227 | B | 20 | 618.2 | 1.9125
| LD06 | 228 | A | 10 | 683.5 | 2.1195 | 2.1758 | -0.11257 | 0.012672
| LD06 | 228 | B | 10 | 719 | 2.2321
| LD06 | 229 | A | 5 | 309.6 | 0.93392 | 0.93408 | -0.0003171 | 1.0055e-07
| LD06 | 229 | B | 5 | 309.7 | 0.93423
| LD08 | 245 | A | 20 | 459.1 | 1.408 | 1.4482 | -0.080543 | 0.0064872
| LD08 | 245 | B | 20 | 484.5 | 1.4885
| LD08 | 246 | A | 10 | 107.9 | 0.29433 | 0.30844 | -0.028222 | 0.00079647
| LD08 | 246 | B | 10 | 116.8 | 0.32255
| LD08 | 247 | A | 5 | 149.4 | 0.42593 | 0.29465 | 0.26256 | 0.068936
| LD08 | 247 | B | 5 | 66.6 | 0.16337
| LD11 | 266 | A | 20 | 105.1 | 0.28545 | 0.29005 | -0.0091958 | 8.4563e-05
| LD11 | 266 | B | 20 | 108 | 0.29465
| LD11 | 267 | A | 10 | 49.8 | 0.1101 | 0.13879 | -0.057395 | 0.0032942
| LD11 | 267 | B | 10 | 67.9 | 0.16749
| LD11 | 268 | A | 5 | 74.3 | 0.18779 | 0.20047 | -0.025368 | 0.00064353
| LD11 | 268 | B | 5 | 82.3 | 0.21315

## Sept4,5 2012
Cruise 2012-59 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 17.1
Tuesday Sept 4, 2012 to Wed Sept 5 | [8 empty] | Zero | 0 | 11.8
Start time of reaction |  |  | 22:45 | read start | 9:15 | load start | 22:45 |  | S1 | 0.5 | 177.8
End time of reaction |  |  | 9:15 | read finish | 9:45 | load finish | 22:57 |  | S1 | 0.5 | 175.1
[9 empty] | S2 | 1 | 331.8
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 329.7
S3 mid-range | [8 empty] | S3 | 1.5 | 476.4
[9 empty] | S3 | 1.5 | 482.3
Std water collected at
Using WR prepared by JEB-C May 4, 2012
Secondary standard by JBC, May10, 2012
| Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| LG06 | 291 | A | 20 | 475.2 | 1.4761 | 1.5023 | -0.052292 | 0.0027344
| LG06 | 291 | B | 20 | 491.4 | 1.5284
| LG06 | 292 | A | 10 | 132.1 | 0.36862 | 0.40994 | -0.082634 | 0.0068284
| LG06 | 292 | B | 10 | 157.7 | 0.45126
| LG06 | 293 | A | 5 | 143.2 | 0.40445 | 0.39203 | 0.024855 | 0.00061776
| LG06 | 293 | B | 5 | 135.5 | 0.3796
| LG04 | 301 | A | 20 | 100.1 | 0.26533 | 0.22692 | 0.076824 | 0.0059019
| LG04 | 301 | B | 20 | 76.3 | 0.18851
| LG04 | 302 | A | 10 | 389 | 1.1979 | 1.2508 | -0.10587 | 0.011209
| LG04 | 302 | B | 10 | 421.8 | 1.3037
| LG04 | 303 | A | 5 | 414.7 | 1.2808 | 1.2426 | 0.076501 | 0.0058524
| LG04 | 303 | B | 5 | 391 | 1.2043
| LG02 | 309 | A | 20 | 846.4 | 2.6743 | 2.7106 | -0.072628 | 0.0052748
| LG02 | 309 | B | 20 | 868.9 | 2.7469
| LG02 | 310 | A | 10 | over |  |  |  | 0
| LG02 | 310 | B | 10 | over
| LG02 | 311 | A | 5 | 934.5 | 2.9587 | 2.8936 | 0.13008 | 0.016922
| LG02 | 311 | B | 5 | 894.2 | 2.8286
| LG01 | 321 | A | 20 | over
| LG01 | 321 | B | 20 | over
| LG01 | 322 | A | 10 | over
| LG01 | 322 | B | 10 | over
| LG01 | 323 | A | 5 | 982.3 | 3.113 | 3.113
| LG01 | 323 | B | 5 | over
| LBP7 | 348 | A | 20 | 862.9 | 2.7276 | 1.6632 | 2.1288 | 4.5318
| LBP7 | 348 | B | 20 | 203.4 | 0.59877
| LBP7 | 349 | A | 10 | 52.9 | 0.11298 | 0.21207 | 0.01388 | 0.00019265
| LBP7 | 349 | B | 10 | 48.6 | 0.099096
| LBP7 | 350 | A | 5 | 49.1 | 0.10071 | 0.31536 | -0.11394 | 0.012983
| LBP7 | 350 | B | 5 | 84.4 | 0.21465
50% | LG02 | 310dil | A | 10 | 553.5 | 3.4577 | 3.4477 | 0.020013 | 0.00040052 | sample diluted, final concentration mulitplied by 2
50% | LG02 | 310dil | B | 10 | 550.4 | 3.4377
50% | LG01 | 321dil | A | 20 | 564.6 | 3.5294 | 3.6049 | -0.15107 | 0.022821 | sample diluted, final concentration mulitplied by 2
50% | LG01 | 321dil | B | 20 | 588 | 3.6804
50% | LG01 | 322dil | A | 10 | 592.7 | 3.7108 | 3.6575 | 0.10652 | 0.011347 | sample diluted, final concentration mulitplied by 2
50% | LG01 | 322dil | B | 10 | 576.2 | 3.6043
50% | LG01 | 323dil | A | 5 | 627.8 | 3.9374 | 3.5252 | 0.8244 | 0.67964 | sample diluted, final concentration mulitplied by 2
| LG01 | 323 | B | 5 | 982.3 | 3.113
Note on F56: : no visible contam or organism

## Sept5,6 2012
Cruise 2012-59 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 12.3
Wednesday Sept 5, 2012 to Thurs Sept 6 | [8 empty] | Zero | 0 | 14.2
Start time of reaction |  |  | 22:50 | read start | 9:05 | load start | 22:50 |  | S1 | 0.5 | 186.6
End time of reaction |  |  | 9:05 | read finish | 9:20 | load finish | 23:00 |  | S1 | 0.5 | 188.3
[9 empty] | S2 | 1 | 341.9
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 344.6
S3 mid-range | [8 empty] | S3 | 1.5 | 498.9
[9 empty] | S3 | 1.5 | 500
Std water collected at
Using WR prepared by JEB-C May 4, 2012
Secondary standard by JBC, May10, 2012
| Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| LBP5 | 368 | A | 20 | 924.6 | 2.8064 | 2.7373 | 0.13817 | 0.01909
| LBP5 | 368 | B | 20 | 880 | 2.6682
| LBP5 | 369 | A | 10 | 261.7 | 0.75282 | 0.75344 | -0.0012392 | 1.5355e-06
| LBP5 | 369 | B | 10 | 262.1 | 0.75406
| LBP5 | 370 | A | 5 | 258.6 | 0.74322 | 0.77094 | -0.055452 | 0.003075
| LBP5 | 370 | B | 5 | 276.5 | 0.79867
| LBP3 | 379 | A | 20 | 816.6 | 2.4718 | 2.3606 | 0.22243 | 0.049475
| LBP3 | 379 | B | 20 | 744.8 | 2.2494
| LBP3 | 380 | A | 10 | 724.4 | 2.1862 | 2.1738 | 0.024783 | 0.0006142
| LBP3 | 380 | B | 10 | 716.4 | 2.1614
| LBP3 | 381 | A | 5 | 652.1 | 1.9622 | 1.8972 | 0.13011 | 0.016929
| LBP3 | 381 | B | 5 | 610.1 | 1.8321
| CS00 | 406 | A | 20 | 153.1 | 0.41639 | 0.41066 | 0.011462 | 0.00013138
| CS00 | 406 | B | 20 | 149.4 | 0.40493
| CS00 | 407 | A | 10 | 36.6 | 0.055483 | 0.098389 | -0.085812 | 0.0073636
| CS00 | 407 | B | 10 | 64.3 | 0.14129
| CS00 | 408 | A | 5 | 59 | 0.12488 | 0.15152 | -0.053284 | 0.0028392
| CS00 | 408 | B | 5 | 76.2 | 0.17816
Pooled standard deviation of pairs of samples (Sp) was calculated by:
| k=9 |  |  |  | Sp | 0 |  | mean diff | #DIV/0!
[8 empty] | stdev | #DIV/0!
[8 empty] | mean [diff] | #DIV/0!

## Sept6,7 2012
Cruise 2012-59 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 8.8
Wednesday Sept 5, 2012 to Thurs Sept 6 | [8 empty] | Zero | 0 | 9.3
Start time of reaction |  |  | 22:50 | read start | 9:05 | load start | 22:50 |  | S1 | 0.5 | 177.7
End time of reaction |  |  | 9:05 | read finish | 9:20 | load finish | 23:00 |  | S1 | 0.5 | 183.9
[9 empty] | S2 | 1 | 334
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 338.2
S3 mid-range | [8 empty] | S3 | 1.5 | 484.3
[9 empty] | S3 | 1.5 | 491.8
Std water collected at
Using WR prepared by JEB-C May 4, 2012
Secondary standard by JBC, May10, 2012
| Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| CS02 | 426 | A | 20 | 242.7 | 0.71609 | 0.69238 | 0.047416 | 0.0022482
| CS02 | 426 | B | 20 | 227.6 | 0.66867
| CS02 | 427 | A | 10 | 93 | 0.24601 | 0.24177 | 0.0084783 | 7.1882e-05
| CS02 | 427 | B | 10 | 90.3 | 0.23753
| CS02 | 428 | A | 5 | 81.5 | 0.2099 | 0.2457 | -0.071595 | 0.0051258
| CS02 | 428 | B | 5 | 104.3 | 0.2815
| CS04 | 434 | A | 20 | 284.1 | 0.84609 | 0.82222 | 0.04773 | 0.0022781
| CS04 | 434 | B | 20 | 268.9 | 0.79836
| CS04 | 435 | A | 10 | 385.5 | 1.1645 | 1.1581 | 0.012874 | 0.00016575
| CS04 | 435 | B | 10 | 381.4 | 1.1516
| CS04 | 436 | A | 5 | 369.1 | 1.113 | 1.1212 | -0.016329 | 0.00026662
| CS04 | 436 | B | 5 | 374.3 | 1.1293
| CS06 | 447 | A | 20 | 108.6 | 0.295 | 0.31415 | -0.038309 | 0.0014676
| CS06 | 447 | B | 20 | 120.8 | 0.33331
| CS06 | 448 | A | 10 | 174.9 | 0.50319 | 0.51999 | -0.033599 | 0.0011289
| CS06 | 448 | B | 10 | 185.6 | 0.53679
| CS06 | 449 | A | 5 | 175.7 | 0.5057 | 0.52281 | -0.034227 | 0.0011715
| CS06 | 449 | B | 5 | 186.6 | 0.53993
| CS09 | 459 | A | 20 | 339.4 | 1.0197 | 1.0326 | -0.025749 | 0.00066301
| CS09 | 459 | B | 20 | 347.6 | 1.0455
| CS09 | 460 | A | 10 | 624.6 | 1.9153 | 1.8801 | 0.070339 | 0.0049475
| CS09 | 460 | B | 10 | 602.2 | 1.845
| CS09 | 461 | A | 5 | 349.6 | 1.0518 | 0.62628 | - | - | organism in A, not used
| CS09 | 461 | B | 5 | 214.1 | 0.62628
Pooled standard deviation of pairs of samples (Sp) was calculated by:
| k=12 |  |  |  | Sp | 0 |  | mean diff | 0.0017759
[8 empty] | stdev | 0.001779
[8 empty] | mean [diff] | #DIV/0!
Note on F54: : organism in vial!