## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 1 April 2025 | Updated channel names & formats in TOB files. GG |
| Feb. 2019 | Bottle spreadsheet converted to searchable BOT files. |

## PROCESSING NOTES

Cruise: 2012-67

Agency: PBS, Salmon and Freshwater Ecosystems, Nanaimo, B.C.

Project: High Seas Salmon

Chief Scientist: Morris J.

Platform: W.E. Ricker

Date: 9 October 2012 – 4 November 2012

Processed by: Germaine Gatien

Date of Processing: 28 March 2013 – 13 April 2013

Number of original CTD hex files: 111   	Number of CTD files processed: 111

Number of original TSG files: 2		 	Number of TSG files processed: 1

# INSTRUMENT SUMMARY

A Sea Bird Model SBE 911+ CTD (S/N 443) was mounted with an SBE43 oxygen sensor (S/N 0997), a WET Labs ECO fluorometer (S/N 2216) and a pH sensor (S/N 0851).

# SUMMARY OF QUALITY AND CONCERNS

The log books were in good order with full equipment lists and clear comments about work done, although the section for TSG details was not completed.

The file names were not in standard format. There was a period after the cruise # instead of a hyphen, and only 3 digits were used for the event number instead of 4.

Salinity sampling was all from near the surface, so not suitable for recalibration, but there was a post-cruise calibration available that suggests that the secondary salinity is good to ±0.002.

CTD values from 9db of the upcast section were extracted and added to the bottle analysis results but should be considered only a rough estimate of the in situ conditions when the Niskin was stopped for sampling, since the CTD was not stopped at that level. Comparison between CTD and bottles show 9db to be better, on average, than data from 10db. Only 2 decimal places are reported to reflect that this is a rough estimate.

The WetLabs ECO fluorescence from 9db is reasonably close to the extracted CHL, with fluorometer values a little too high at the CHL<0.2ug/L values and too low for CHL>2ug/L.

Oxygen:Dissolved:SBE data were recalibrated based on the most recent cruise with DO calibration sampling, 2012-01. A small offset was applied based on observations of negative values in anoxic waters during 2012-49.

A pH sensor was attached to the CTD, but the data are not included in the files to be placed in the IOS

Data Library because no field calibration information was available at the time of processing, and there are some concerns about how the sensors perform. The data were provided to the chief scientist.

File 2012-67-0001.CTD contains upcast data so is likely to be of lower quality than that of other files due to the effects of wakes from the cable and CTD. Acquisition only began at the bottom of that cast.

There was no loop sampling and little shallow CTD data suitable comparison with the TSG, so the results of 2012-03 were used to recalibrate TSG lab temperature to create a proxy for intake temperature. Salinity was not recalibrated. The calibration of TSG data requires loop salinity samples or CTD casts that start a little shallower, and if it is possible on the Ricker an intake thermistor provides more accurate temperature data.

# PROCESSING SUMMARY

##### SEASAVE

##### This step was completed at sea; the raw data files have extension HEX. The files were delivered with names in non-standard format, with a period used where there should be a hyphen and event numbers having 3 digits instead of 4.

##### There was a note in the folder indicating that there was some confusion about files from the TSG. The file for event #2 is a TSG file. There were 2 files for the event #1 and one is for the CTD and the other for the CTD. There are very few records in the first TSG file.

##### Preliminary Steps

The Daily Science Log Books were obtained.

Salinity, Chlorophyll and Nutrient analysis results were available in spreadsheet format.

The TSG files were found and placed in the correct folder.

The CTD raw files were renamed in standard format.

The only problem noted in the log concerned an error in station name for the first cast. That was fixed in the raw files.

The cruise summary sheet was completed.

The histories of the dissolved oxygen, conductivity and pressure sensors were obtained.

The configuration file did not change through the cruise.

The parameters for all sensors agree with the latest factory calibrations on file. However, the dissolved oxygen sensor parameters needed to be updated. There was no DO sampling for this cruise and the last one from which we do have a comparison with bottles is 2012-01 in February. At that time a different method was used for recalibration than is in current use. The values of Soc and Offset were adjusted rather than applying a correction later in processing as is currently done. Since that is the only information available for this cruise, the configuration file was adjusted by entering the 2012-01 values for Soc and Offset.

- The adjusted configuration file was saved as 2012-67-ctd.xmlcon.

- During 2012-49 which used the same DO sensor, the 2012-01 settings were also used, but based on finding negative DO values in the anoxic layer of Saanich Inlet, a small offset was applied, +0.048mL/L. The same should be done to these data at the CALIBRATE stage.

- NOTE: SeaBird have recently advised that the method used to recalibrate the 2012-12 data is not ideal, but we have no DO sampling from this cruise, so the results using the old method are the best available.

##### Conversion of Raw Data

- All files were converted using file 2012-67-ctd.xmlcon.

- Plots were made for a few casts.

- The temperature and conductivity channels track well on the downcast but the upcasts show larger differences. As noted for cruise 2012-49 and others which used the same configuration, these differences look as though they are due to alignment or plumbing problems because when the gradient reverses sign, so do the differences. Such observations are common and it is tempting to blame local wake effects created by the rosette package, but for this cruise, there was no rosette. There are some spikes in both conductivity channels. Often one sensor pair is cleaner than the other but it varies from cast to cast whether the primary or secondary pair is better.

- The descent rate was kept fairly high and varied from quiet to very noisy.

- Fluorescence is noisy. The vertical offset between downcast and upcast is small, but it is almost impossible to judge what, if any, advance is needed due to noise in both temperature and fluorescence, and generally low fluorescence values.

- Dissolved Oxygen data look ok with the usual vertical offset between downcast and upcast.

- The pH signal looks normal with some hysteresis.

- For cast #1 acquisition did not start until the CTD had almost reached the bottom. Choose the upcast for archiving.

##### WILDEDIT

- Program WILDEDIT was used to remove spikes from the pressure, temperature and conductivity channels.  Parameters used were: Pass 1: Std Dev = 2,  Pass 2: Std Dev = 5, Points per block = 50

##### ALIGNCTD

- For cruise 2012-01 an advance of +3.5s was found appropriate, while for 6 other cruises since then +4s was used. For this cruise a few tests were run that were not conclusive, but +4s looked reasonable.

- ALIGNCTD was used to advance the DO signal relative to temperature by 4s.

##### CELLTM

- Tests were run on a few casts, but the results were not clear due to very noisy upcast temperature traces. Overall the results for cruises 2012-30 and 2012-49 look reasonable for this cruise.

- CELLTM was run using (0.03, 9) for the primary and the secondary conductivity for all casts.

##### DERIVE

- Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration and a second time on 2 casts to calculate differences between channel pairs.

##### Test Plots and Channel Check

- There were no casts deeper than 250m. The same sensors were used for many other 2012 cruises.

- Tests from a few of those cruises are included in the comparison to see if there are significant differences. The test levels differ and the shallow ones are less reliable because of larger local gradients. The following are very rough estimates of differences between sensor pairs:

| - Cast # | - Press | - T1-T0 | - C1-C0 | - S1-S0 | - Descent Rate |
| --- | --- | --- | --- | --- | --- |
| - 2012-01-0050 | - 800 | - +0.0005 | - -0.0001 | - -0.0020 | - Mod, noisy |
| - “ | - 2500 | - +0.0014 | - -0.00014 | - -0.0034 |  |
| - 2012-56-0343 | - 240 | - +0.0002 | - -0.0004 | - -0.0006 | - Mod, F steady |
| - 2012-56-0397 | - 240 | - +0.0003 | - +0.0004 | - +0.0002 | - Mod, F steady |
| - 2012-51-0017 | - 480 | - +0.0003XN | - -0.00003 XN | - -0.0005 XN | - High, V Noisy |
| - 2012-54-0017 | - 175 | - +0.0003 | - +0.00008 | - +0.001 | - High, V Noisy |
| - 2012-30-0007 | - 175 | - ~0 XN | - -0.0001 | - -0.0005 | - High, F Noisy |
| - “ | - 480 | - +0.0002 | - -0.00012 | - -0.0015 | - High,V Noisy |
| - 2012-30-0008 | - 175 | - +0.0001 XN | - -0.0005 XN | - +0.0001 XN | - High, XNoisy |
| - “ | - 480 | - +0.0002 | - -0.00012 | - +0.001 | - High, XNoisy |
| - 2012-67-0124 | - 220 | - -0.0003 | - +0.0001 | - +0.0015 | - Mod, F steady |
| - 2012-67-0261 | - 240 | - +0.0004 | - +0.0001 | - +0.0016 | - High, F steady |

- There is some hint of increasing differences in salinity and from 2012-01, when there was deep sampling, there may be some pressure dependence. But the differences are all reasonably small for this cruise.

##### Conversion to IOS Headers

- The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

- CLEAN was run to add event numbers based on the file names and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

- The header check was run. There are some negative values in fluorescence for a few casts. This will be checked again later to see if the problems disappear in editing or averaging. No other problems were noted.

There are no cases of pressure <1db.

- A cross-reference list was produced and checked against log records. No errors were found.

- The track plots were produced and look reasonable.

- The surface report indicates that the average surface pressure was 4.0db; this is reasonable for Ricker work. There were a few casts with well-mixed waters in the top 10db (as judged by salinity difference being <0.005 between 4db and 10db), but only 3 of these casts were ones with bottle sampling.

##### SHIFT

- Fluorescence

- In recent uses of ECO Fluorometers it has been found necessary to advance the fluorescence relative to pressure by from 6 to 12 records. For this particular sensor a setting of +12 records has been used for 5 other 2012 cruises, but it seems a little high for these data.  The usual test is to compare the offset between upcast and downcast fluorescence traces and attempt to make it look similar to that of temperature. But this is very hard to judge because the fluorescence traces are very noisy, so gradients are only clear if they are large. For most casts there was little vertical variability in fluorescence. For a few casts with higher CHL values the fluorescence data were put through a median filter to enable comparison with temperature. Using those files, tests of shifts indicate that +12 records is too high a setting, while +6 records looks appropriate.

- SHIFT was run on the fluorescence channel to advance by +6 records.

- Conductivity

- In processing 4 other recent cruises using this equipment, the best results were found when both primary and secondary conductivity were shifted by -0.5 records. Tests run on 3 casts showed that -0.5 was best overall for the primary sensors, but the best choice for the secondary varied from feature to feature with settings from -0.3 to -1.1 looking better at times. Overall, the setting of -0.8 looks like a reasonable choice.

- All casts were put through 2 runs of SHIFT with a shift of -0.5 records for the primary conductivity and -0.8 records for the secondary conductivity.

- Dissolved Oxygen

- The SBE DO data have already been aligned, but a few casts were examined to see if further adjustments are required. There are areas where the vertical offsets between upcast and downcast are slightly larger than in the temperature traces, but in other cases they are smaller.

- SHIFT will not be run on this channel.

- pH

- The pH data are the hardest for which to determine the best alignment. Tests were run on a few casts with the aim of finding a setting that makes the vertical offset between distinctive features about the same for temperature and pH. An advance of +48 records looked best overall, but a larger advance suited a few features. The same results were found for 2012-30 and 2012-51 when a different pH sensor was used.

- SHIFT was run using +48 records.

##### REVERSE

- All casts were put through REVERSE to be used for comparison with bottle salinity and for event #1, the reverse file should be the one processed for archiving.

##### DELETE

- The following DELETE parameters were used:

  - Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

    - Surface Pressure Tolerance: 1.0              	Pressure filtered over 15 points

    - Swells deleted. Warning message if pressure difference of 2.00

    - Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

    - Drop rate applies in the range:  10db to 10db less than the maximum pressure

    - Sample interval = 0.042 seconds. (taken from header)

- COMMENTS ON WARNINGS: The only warning concerned an upcast section of cast #340, above the level required for comparison with bottle salinity.

DELETE was run on the reversed files with output DELREV. There were no warnings for any of those files.

The DEL files were copied to EDT.

- File 2012-67-0001.REVDEL was copied to 2012-67-0001.EDT.

##### COMPARISON WITH BOTTLES

- The usual reason to compare bottles and CTD data is to determine calibration drift in the CTD temperature and conductivity sensors. But with all bottles coming from close to the surface at a time of year and region where near surface waters are generally not well mixed, we would not trust the results. There is no recent cruise with a useful bottle calibration to help with this, but there is a post-cruise calibration for the secondary sensors.

We would also like to select CTD data to add to the bottle spreadsheet so that temperature and other useful quantities are available. While these are never considered completely reliable, recent history suggests the problems may be so great for this cruise that entering data is unwise. Errors in selecting data include mismatching the pressure levels from which the 2 data types derive, non-linearity in the salinometer and poor flushing of Niskin bottles, as well as calibration drift and possible evaporation of samples. Moreover we have to choose between lower quality if we select upcast data, and errors due to temporal variations if we choose downcast data.

A few investigations were undertaken to see if there is any hope of simplifying the issue:

  - There were 3 casts with bottle sampling that have CTD salinity differences of <0.005 between 4db and 11db, one of those was well-mixed to 13db. When salinity gradients are low near the bottle stop, the effects of poor flushing are minimized. These 3 casts show the primary CTD values being slightly lower than the bottles, but by too little to be significant. So, there is no evidence of significant drift, but this conclusion would be invalid if there are problems with evaporation of samples or salinometer non-linearity. Evaporation would lead to bottle salinity being too high, and based on recent experience the same would be true of salinometer non-linearity. So if there is significant calibration drift it is likely to be a case of the CTD reading too high. Since the secondary salinity is slightly higher than the primary, it would also be reading too high.

  - Six other casts were examined in detail comparing bottle salinity with CTD salinity from the downcasts and upcasts. (Another was rejected because the bottle value was lower than any measured by the CTD even at the surface.) These casts were selected from near the end of the cruise so that evaporation of samples is unlikely to be significant, but gradients near the bottle stop depths were high enough to be a problem. We expect that the CTD will have salinity that is a little too high on the upcast because the equipment carries deeper water with it and the salinity gradient is significant – there is no CTD stop at the depth at which the bottle was stopped. The upcast CTD salinity was higher than the bottle salinity for 4 of the 6 cases; the two exceptions show the CTD to be low by about 0.001 and 0.002. Downcast data is cleaner but temporal change is significant. For 4 cases the CTD salinity was lower than the bottle and for 2 it was higher with differences of up to 0.09. In 3 cases the upcast salinity was within 0.002 of the bottle and those are the same 3 cases for which the downcast salinity was closest to bottles, being lower by from 0.003 to 0.008.

  - It is not likely that we can find evidence of non-linearity in the salinometer because the salinity range is small with all at the low end. Among the 6 casts examined closely, there was no suggestion that errors varied with salinity, but there are too many variables to consider that significant.

For most casts the local gradients are high and the level of sampling is variable, so the question is whether it is appropriate to provide any CTD data for this purpose.

We could use extracted chlorophyll comparison with fluorometer for this purpose but our experience with the ECO fluorometer suggests that we don’t know how to interpret the comparison.

The post-cruise calibration of the secondary sensors suggests that the primary salinity is likely close to, or slightly lower than the bottles.

Examination of plots shows CTD stops at an average of 14.5db, so the bottle would be at about 9.5db.

The REVDEL files were bin-averaged to 0.5db and clipped to 9db and 10db. The data were extracted from 9db and 10db. Those values were entered in two copies of the spreadsheet. When differences between primary CTD salinity and bottles >0.2 were excluded, the primary salinity was low by a median value of 0.002 using the 9db data and 0.0028 at 10db. The secondary was low by roughly 0.001 for both. The 9db data looks like a reasonable choice, but is very rough and many of the differences were very high.

The 9db were selected to be entered in the spreadsheet. The CTD channels are given with 2 decimal places as a reminder that these are rough matches. The secondary sensors were selected since the salinity post-cruise calibration suggests it would have been within 0.001. There is a little less noise in the secondary sensors, though there is not much difference.

The differences between the two CTD salinity channels and bottles were plotted against event number to see if there was any evidence of bottle values seeming higher from early in the cruise due to evaporation. There is some hint of that being the case. When differences >0.01 are excluded, the earliest casts do correspond to both CTD salinity channels looking lower than bottles. By event 175 the differences look close to what is expected based on the post-cruise calibration of the secondary sensors. Between 178 and 235 there are many cases of CTD being much higher than bottles. These are mostly inlet casts with high vertical salinity gradients, where the CTD is likely dragging deeper water with it. This evidence is weak, but consistent with slight evaporation of the oldest samples.

The WetLabs ECO fluorescence is reasonably close to the extracted CHL with fluorometer values a little too high at the CHL<0.2ug/L values and too low for CHL>2ug/L.

##### DETAILED EDITING

- There are some concerns about the secondary sensors due to potential pressure dependence, but the post-cruise calibration indicated little drift in the range of temperature and conductivity found in this cruise. There is no data from below 300db, so any pressure dependence is unlikely to be a problem. The secondary data are a little less noisy. So the secondary sensors were selected for archiving

- The REVDEL file for event #1 was copied to DEL.

- All DEL files were copied to *.EDT.

- CTDEDIT was used to clean the secondary temperature and salinity data.

- On-screen plots of descent rate and pump status were used to guide editing.

- Note was made of the editing details in the headers of the relevant files.

- All casts needed some editing.

- The edited files were copied to *.EDT files.

T-S plots were examined to see if further editing was required. A few unstable features were seen, but these were small but these were small and in areas where small instabilities are expected.

##### Other Comparisons

- Previous experience with these sensors –

- Both temperature and conductivity sensors have been used on many other cruises since their last factory service, but for many of them the CTD data were accidentally averaged over 24 scans limiting the value of the results. They have also been used for some other cruises with no calibration sampling. They were used for cruise 2012-01 in February with good sampling and quick salinity analysis. The primary salinity was found to be low by 0.0004 while the secondary was low by 0.0028 but there was pressure-dependence in the secondary comparison and in the differences between the 2 temperature sensors.

- The pressure sensor has been used many times since it was last recalibrated and there is no evidence that the pressure offset needs adjustment.

- The dissolved oxygen sensor was used for many other cruises but the most recent with DO sampling was 2012-01 when calibration tests were done to produce updated Soc/Offset values.

- Historic ranges – Data were plotted with the 3-standard deviation plots of temperature and salinity ranges for those casts for which there was local climatology available. The only traces that fell outside the historic ranges were at the northern end of Queen Charlotte Strait where salinity below about 120db was lower than the minimum on the west side of the strait and below about 150db for 2 casts in the centre of the strait. Temperature values were also low for two casts below 120m in the same area.  During cruise 2012-50 in July salinity everywhere in Queen Charlotte Strait was low below 120db, but temperatures were within the climatology. The 3-standard deviation standard is too severe for casts this near to shore and this particular area is not well represented in the data base. There is no reason to think these excursions are due to instrument calibration problems.

- Repeat casts – There were no repeat casts.

Post-cruise calibration - We have a post-cruise calibration for the secondary sensors only. They suggest that the salinity would have been high by approximately 0.001 when conductivity = 3 S/m. The error was much larger and of opposite sign for higher conductivity. For most data from the current cruise the conductivity was slightly >3S/m and the salinity drift might have been lower. The secondary temperature sensor was reading slightly high with errors increasing with decreasing temperature. There was evidence of pressure dependence in the secondary sensors during 2012-01, but there is no report of a pressure problem from the factory, though the pressure test result has not been delivered yet. The complex drift patterns would not appear to be significant enough to account for the slope noted in the bottle comparison.

##### Initial Recalibration

- The salinity is considered to be good to ±0.002. No recalibration of salinity will be applied.

The pressure looks reasonable.

Oxygen:Dissolved:SBE was derived using the corrected parameters, so the initial recalibration has been applied. However, during 2012-49 which used the same DO sensor with the 2012-01 settings, it was found that  there were negative DO values in the anoxic layer of Saanich Inlet, so a small offset was applied, +0.048mL/L. The same offset should be applied to these data.

CALIBRATE was run with file 2012-67-recal1.ccf to correct Oxygen:Dissolved:SBE by applying an offset of +0.048mL/L.

##### Fluorescence Processing

- The recalibrated files were put through a median filter, size 11, applied to the fluorescence channel only. Before and after plots show it worked as expected.

##### BIN AVERAGE of CTD files

- The following Bin Average values were applied to the filtered files (output AVG):

- Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

- Average value will be used. Interpolated values are NOT used for empty bins.

- After averaging, page plots were examined on screen and look fine.

- Profile and T-S plots were made to check all channels. No only problems were noted.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

- The following channels were removed from all casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE,  SBE:pH, Status:Pump, Descent_Rate and Flag. (*.REM)

- A second set of files were prepared with the pH data included. (*.REMph)

- These two sets of files (with and without pH) were both put through the final steps.

- A second CTD dissolved oxygen channel was derived with units umol/kg.

- Dissolved Oxygen saturation was calculated and surface values were plotted. Many of the casts near shore and in inlets had low saturation, ~70-90%. Offshore casts were between 90 and 115% with most close to 100%. This is based on casts starting at 4db to 6db, so the surface values may have been higher. While there is some cause to expect the DO might be reading low due to calibration drift, these results suggest that the values are not too far off. The low values are mostly in areas where active mixing is expected. There is insufficient information to justify recalibration.

- REORDER was run to rearrange channel names to get the 2 DO channels together.

- HEADER EDIT was used to fix formats and channel names and to add the following comments:

Data Processing Notes:

----------------------

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

Dissolved Oxygen data were recalibrated by adjusting the values of SOC and OFFSET

in the configuration file, based on the results of cruise 2012-01, because

there was no calibration sampling during this cruise. Since it is likely

that some drift had occurred since February 2012, these data must be considered

less reliable than usual.

A further correction was based on cruise 2012-49 during which negative DO values

were found in anoxic water.

Salinity is considered +/-0.002 based primarily on a post-cruise calibration.

A pH sensor was attached to the CTD, but the data are not included in the files

to be placed in the IOS Data Library because no field calibration information

was available at the time of processing, and there are some concerns about how

the sensors perform.

For details on the processing see processing report: 2012-67-proc.doc.

- For the CTDpH files the following note was added:

**********************************************************************************

NOTE:

The pH:SBE data are provided for the use of the Chief Scientist.

These data will not be placed in the IOS Data Library because no field calibration

information was available at the time of processing, and there are some concerns

about how the sensors perform.

**********************************************************************************

##### Producing final files

- The Standards Check routine was run and no problems were found. The final files were named CTD and CTDpH.

- A cross-reference listing was produced for CTD files.

- HEADER CHECK was run and no problems were found.

- A cruise track was plotted and no errors found.

- The sensor history was updated for the CTD sensors.

##### Thermosalinograph

Data were provided in 2 hex files. The names were non-standard with a period where there should be a hyphen. That was fixed in all raw files.

There was no mention in the log that the TSG was used and the sensor numbers in the configuration file are contradictory.

a.) Checking calibrations

The calibrations were checked and the only problem concerns the serial number of the conductivity sensor. It should be 2488 to match the temperature sensor. The parameters are correct for 2488. The entry was corrected and the file was then saved as 2012-67-tsg.xmlcon.

b.) The files were converted to CNV files using the configuration files mentioned above.

There were only temperature and conductivity sensors, no flow meter and no intake thermistor.

The files were then converted to IOS HEADER format.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

ADD TIME CHANNEL was used to add Time and Date channels based on the Julian time.

Time-series plots were produced:

- File #1 has only 10 records so will not be processed.

- File #2 looks reasonable. There is a spike at the beginning that should be removed and a few salinity spikes later that should be examined in the editing step.

c.)  Checking Time Channel

The CTD data were thinned to reduce the files to a single point from the downcast at or within 0.5db of 3db and exported to a spreadsheet which was saved as 2012-67-ctd-tsg-comp.xls. There were only 3 casts with data that shallow. A second run used data from 4db but that provided no more data.

The ATC files was opened in EXCEL, median and standard deviations (over 5 records) were calculated for lab temperature and salinity, and the files were reduced to the times of the 3 relevant CTD files. Those data were added to 2012-67-ctd-tsg-comp.xls..

To check for problems in the TSG clock or bad matches of TSG and CTD data, the differences between latitudes and longitudes were found. The differences in latitude and longitude were all ≤0.0001°, so the times and positions appear to be reliable for both systems.

These spreadsheets will be used in step (d) to compare temperature and salinity.

d.) Comparison of T, S and Fl from Loop and Rosette samples and TSG and CTD data

- T1 vs T2 There was no intake thermistor.

- TSG vs CTD The spreadsheets comparing CTD and TSG files were then examined to find the differences between the salinity and temperature channels for the 3 CTD casts and the corresponding TSG data..

|  | Temp:LAB-Temp:CTD | Sal TSG - Sal CTD |
| --- | --- | --- |
| Average | 0.101 | -0.073 |

As expected the lab temperature is higher than that from the CTD due to heating in the loop. We have little experience with TSG data from the W.E. Ricker. For the J.P. Tully in autumn we usually see differences ~0.20 C°, but those are generally from offshore areas where temperatures are likely lower and heating is inversely proportional to intake temperature. We also expect more heating in the loop from the Tully because that ship has a deeper intake. The 3 differences (0.114 C°, 0.103 C°, 0.085 C°) are reasonably close to each other with the differences are inversely proportional to CTD temperature.  The average difference is -0.10C°.

The TSG salinity is lower than the CTD by an average of 0.073 but the variability is much higher than for temperature, with a range of CTD being high by 0.05 to low by 0.14. .

There is shallower CTD data available from the upcast, but that data is not very reliable because the CTD was not stopped at that level and tends to drag water from below. To check whether this is true the upcast CTD from around 3db was found for the same 3 casts, and that was added to the spreadsheet. Comparison those values indicates slightly higher warming in the loop with an average of 0.125C°, but the standard deviation in the differences was much higher. The salinity was found to be low by from 0.02 to 0.17, and had a slightly higher standard deviation among the values. Overall, the upcast does not look reliable enough to justify a more complete study.

(See 2012-67-ctd-tsg-comp.xls.)

- Loop Bottle - TSG Comparisons  There were no loop samples.

- Calibration History

The TSG primary temperature and conductivity were recalibrated in March 2011 and have been used only one other time since then, during 2012-03, when there was no intake temperature sensor and no calibration sampling. A comparison to CTD salinity data suggested there was very little difference with the TSG higher by an average of 0.003, but there was a possibility that the CTD was reading slightly low. So TSG salinity was not recalibrated. During 2012-03 the TSG lab temperature was found to be higher than the CTD by 0.065Cº. This was in February and average temperatures at 3db were about 7ºC to 8ºC.

Conclusions

1. The TSG clock appears to have worked well.

2. The temperature in the loop increases by about 0.10Cº based on comparisons with CTD temperature from only 3 casts. In February the increase was found to be 0.065Cº. The intake temperatures for 2012-67 are much more variable than those of 2012-03, with a range from 6ºC to 10ºC, but the average is not too different from 2012-03. So the value from 2012-03 will be applied to these data.

3. There is insufficient evidence from this cruise to judge the accuracy of the TSG salinity, but based on history it is likely the salinity is reasonably accurate.

f.) Editing

The ATC file was opened in CTDEDIT. Temperature and salinity values were removed from the first record and salinity was cleaned very lightly to remove 1-point spikes..

Plots were examined and no further editing was deemed necessary.

g.) Recalibration  -

ADD CHANNEL was run to add channel Temperature:Lab which was set equal to Temperature:Primary.

We do not have sufficient information to recalibrate salinity.

CALIBRATE was used to subtract 0.07Cº from Temperature:Primary using equation 2012-67-tsg-recal1.ccf.

h.) Preparing Final Files

REMOVE was used to remove the following channels: Scan Number, Conductivity:Primary and Flag.

HEADER EDIT was used to add a comment, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header. Those files were saved as TOB files.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and it looks fine.

The cruise plot was added to the end of this report.

Header Check was run to ensure calibrations were applied correctly and they were.

Particulars

1. Station name wrong in file. Acquisition started near bottom – use upcast for archive.

## CRUISE SUMMARY

Cruise ID#: 2012-67

Dates: Start: 16 June 2012 End: 12 July 2012

Location: WCVI & BC Inlets

Vessel: Leg 1 - F/V Viking Storm Leg 2 – W.E. Ricker

Party Chief: Thiess M.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | SBE911+ | 0443 | No | Yes |

CTD Calibration Information

Make/Model/Serial#: SEABIRD/19 SEACAT / 4076       Cruise ID#:	2012-67

| Calibration Information CTD #0443 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2106 | 1Apr2011 | Factory |  |  |
| Conductivity | 1764 | 29Mar2011 | Factory |  |  |
| Secondary Temp. | 2710 | 1Apr2011 | Factory |  |  |
| Secondary Cond. | 2128 | 29Mar2011 | Factory |  |  |
| SBE 43 DO sensor | 0997 | 23Apr11 | Factory |  |  |
| SBE18 pH sensor | 852 | 21Apr 2011 | Factory |  |  |
| Eco-AFL Fluorometer | 2216 | June2012 | IOS? |  |  |
| Pressure Sensor | 63507 | 12Apr2011 | Factory |  |  |