## Notes
Analysis: | Scott Rose, 22 Nov 2012 to 26 Nov 2012 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Hugh Maclean
Chief Scientist: | John Morris
cruise dates | Oct 9-Nov 4
2012-11-27 |  | HM
No Duplicates were taken
One sample had no sample number printed on the label.
Sample #203 - Analyst wrote "cap goofy." Not sure what this is supposed to mean so flagged as a 2 for the time being
Salinometer Calibration Information
Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments | Flag | Comments
K15 | 2012-11-19 13:56 | 24C | 0.99978 | 2e-06 | -1e-06 | 0.99978
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-67SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 3 weeks after collection. For details including a duplicate analysis, see document QF2012-67SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-67 | 34 | EP01 | 34 | 31.6442
2012-67 | 37 | EP02 | 37 | 31.6956
2012-67 | 40 | EP03 | 40 | 31.8535
2012-67 | 43 | EP04 | 43 | 32.2757
2012-67 | 46 | EO05 | 46 | 32.3474
2012-67 | 49 | EP06 | 49 | 31.7707
2012-67 | 52 | EP07 | 52 | 31.4579
2012-67 | 97 | T08 | 97 | 31.984
2012-67 | 100 | T07 | 100 | 32.1975
2012-67 | 163 | T06 | 163 | 32.1611
2012-67 | 166 | T05 | 166 | 32.2053
2012-67 | 169 | T04 | 169 | 32.267
2012-67 | 172 | T03 | 172 | 32.3215
2012-67 | 175 | T02 | 175 | 32.1939
2012-67 | 178 | T01 | 178 | 32.1105
2012-67 | 181 | DC01 | 181 | 30.0984
2012-67 | 184 | DC02 | 184 | 29.889
2012-67 | 185 | DC03 | 185 | 28.8821
2012-67 |  | DC04 |  | 29.9649 |  | No sample number
2012-67 | 191 | DC05 | 191 | 29.4117
2012-67 | 192 | DC06 | 192 | 29.2238
2012-67 | 195 | DC07 | 195 | 30.632
2012-67 | 196 | DC08 | 196 | 30.2787
2012-67 | 199 | DC09 | 199 | 29.4748
2012-67 | 200 | DC10 | 200 | 29.3764
2012-67 | 203 | DC11 | 203 | 29.3403 | 2 | SAL: Cap Goofy
2012-67 | 204 | DC12 | 204 | 29.8278
2012-67 | 207 | DC13 | 207 | 29.4922
2012-67 | 208 | DC14 | 208 | 29.7895
2012-67 | 211 | DC15 | 211 | 30.3997
2012-67 | 214 | DC16 | 214 | 30.524
2012-67 | 215 | DC17 | 215 | 29.8037
2012-67 | 218 | DC18 | 218 | 29.0937
2012-67 | 219 | DC19 | 219 | 29.0697
2012-67 | 222 | DC20 | 222 | 29.148
2012-67 | 223 | DC21 | 223 | 29.943
2012-67 | 226 | DC22 | 226 | 26.5446
2012-67 | 227 | DC23 | 227 | 29.4484
2012-67 | 230 | DC24 | 230 | 28.0386
2012-67 | 231 | DC25 | 231 | 30.2398
2012-67 | 234 | DC26 | 234 | 30.4095
2012-67 | 235 | DC27 | 235 | 30.1803
2012-67 | 238 | DC28 | 238 | 30.4441
2012-67 | 239 | DC29 | 239 | 30.6077
2012-67 | 242 | DC30 | 242 | 30.7552
2012-67 | 243 | DC31 | 243 | 29.9639
2012-67 | 246 | DC32 | 246 | 29.9157
2012-67 | 247 | DC33 | 247 | 29.9064
2012-67 | 250 | DC34 | 250 | 29.8706
2012-67 | 251 | DC35 | 251 | 29.7745
2012-67 | 254 | DC36 | 254 | 29.8753
2012-67 | 255 | DC37 | 255 | 30.0989
2012-67 | 256 | DC38 | 256 | 29.9909
2012-67 | 257 | DC39 | 257 | 30.7353

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2012-50#139 |  | EP01 | 34 | 2012-11-23 14:51 | 24C | 0.91408 | 2e-06 | -1e-06 | 0.91408 | 31.6442 | 0.0001 | #VALUE!
2012-50#140 |  | EP02 | 37 | 2012-11-23 14:55 | 24C | 0.9154 | 5e-06 | -1e-06 | 0.9154 | 31.6956 | 0.0002 | #VALUE!
2012-50#141 |  | EP03 | 40 | 2012-11-23 14:57 | 24C | 0.91948 | 2e-06 | -1e-06 | 0.91947 | 31.8535 | 0.0001 | #VALUE!
2012-50#142 |  | EP04 | 43 | 2012-11-23 14:59 | 24C | 0.93035 | 4e-06 | -1e-06 | 0.93035 | 32.2757 | 0.0001 | #VALUE!
2012-50#143 |  | EO05 | 46 | 2012-11-23 15:01 | 24C | 0.93219 | 4e-06 | -1e-06 | 0.93219 | 32.3474 | 0.0002 | #VALUE!
2012-50#144 |  | EP06 | 49 | 2012-11-23 15:03 | 24C | 0.91734 | 5e-06 | -1e-06 | 0.91734 | 31.7707 | 0.0002 | #VALUE!
2012-50#145 |  | EP07 | 52 | 2012-11-23 15:05 | 24C | 0.90927 | 3e-06 | -1e-06 | 0.90927 | 31.4579 | 0.0001 | #VALUE!
2012-50#146 |  | T08 | 97 | 2012-11-23 15:07 | 24C | 0.92284 | 3e-06 | -1e-06 | 0.92284 | 31.984 | 0.0001 | #VALUE!
2012-50#147 |  | T07 | 100 | 2012-11-23 15:14 | 24C | 0.92834 | 4e-06 | -1e-06 | 0.92834 | 32.1975 | 0.0002 | #VALUE!
2012-50#148 |  | T06 | 163 | 2012-11-23 15:16 | 24C | 0.9274 | 1e-06 | -1e-06 | 0.9274 | 32.1611 | 0 | #VALUE!
2012-50#149 |  | T05 | 166 | 2012-11-23 15:19 | 24C | 0.92854 | 2e-06 | -1e-06 | 0.92854 | 32.2053 | 0.0001 | #VALUE!
2012-50#150 |  | T04 | 169 | 2012-11-23 15:21 | 24C | 0.93012 | 5e-06 | -1e-06 | 0.93012 | 32.267 | 0.0002 | #VALUE!
2012-50#151 |  | T03 | 172 | 2012-11-23 15:23 | 24C | 0.93153 | 2e-06 | -1e-06 | 0.93153 | 32.3215 | 0.0001 | #VALUE!
2012-50#152 |  | T02 | 175 | 2012-11-23 15:34 | 24C | 0.92824 | 3e-06 | -1e-06 | 0.92824 | 32.1939 | 0.0001 | #VALUE!
2012-50#153 |  | T01 | 178 | 2012-11-23 15:36 | 24C | 0.9261 | 3e-06 | -1e-06 | 0.9261 | 32.1105 | 0.0001 | #VALUE!
2012-50#154 |  | DC01 | 181 | 2012-11-23 15:38 | 24C | 0.87404 | 1e-05 | -1e-06 | 0.87404 | 30.0984 | 0.0004 | #VALUE!
2012-50#155 |  | DC02 | 184 | 2012-11-23 15:41 | 24C | 0.86859 | 3e-06 | -1e-06 | 0.86859 | 29.889 | 0.0001 | #VALUE!
2012-50#156 |  | DC03 | 185 | 2012-11-23 15:43 | 24C | 0.84232 | 1e-06 | -1e-06 | 0.84232 | 28.8821 | 0 | #VALUE!
2012-50#157 |  | DC04 | NO# | 2012-11-23 15:45 | 24C | 0.87057 | 2e-06 | -1e-06 | 0.87056 | 29.9649 | 0.0001 | #VALUE! |  | No sample number
2012-50#158 |  | DC05 | 191 | 2012-11-23 16:12 | 24C | 0.85615 | 3e-06 | -1e-06 | 0.85615 | 29.4117 | 0.0001 | #VALUE!
2012-50#159 |  | DC06 | 192 | 2012-11-23 16:14 | 24C | 0.85125 | 4e-06 | -1e-06 | 0.85125 | 29.2238 | 0.0001 | #VALUE!
2012-50#160 |  | DC07 | 195 | 2012-11-23 16:16 | 24C | 0.88789 | 2e-06 | -1e-06 | 0.88789 | 30.632 | 0.0001 | #VALUE!
2012-50#161 |  | DC08 | 196 | 2012-11-23 16:18 | 24C | 0.87872 | 2e-06 | -1e-06 | 0.87872 | 30.2787 | 0.0001 | #VALUE!
2012-50#162 |  | DC09 | 199 | 2012-11-23 16:20 | 24C | 0.8578 | 4e-06 | -1e-06 | 0.8578 | 29.4748 | 0.0001 | #VALUE!
2012-50#163 |  | DC10 | 200 | 2012-11-23 16:22 | 24C | 0.85523 | 2e-06 | -1e-06 | 0.85523 | 29.3764 | 0.0001 | #VALUE!
2012-50#164 |  | DC11 | 203 | 2012-11-23 16:24 | 24C | 0.85429 | 3e-06 | -1e-06 | 0.85429 | 29.3403 | 0.0001 | #VALUE! | 2 | SAL: Cap Goofy
2012-50#165 |  | DC12 | 204 | 2012-11-23 16:26 | 24C | 0.867 | 1e-06 | -1e-06 | 0.867 | 29.8278 | 0 | #VALUE!
2012-50#166 |  | DC13 | 207 | 2012-11-23 16:28 | 24C | 0.85825 | 2e-06 | -1e-06 | 0.85825 | 29.4922 | 0.0001 | #VALUE!
2012-50#167 |  | DC14 | 208 | 2012-11-23 16:30 | 24C | 0.866 | 4e-06 | -1e-06 | 0.866 | 29.7895 | 0.0002 | #VALUE!
2012-50#168 |  | DC15 | 211 | 2012-11-23 16:32 | 24C | 0.88187 | 3e-06 | -1e-06 | 0.88187 | 30.3997 | 0.0001 | #VALUE!
2012-50#169 |  | DC16 | 214 | 2012-11-23 16:34 | 24C | 0.88509 | 4e-06 | -1e-06 | 0.88509 | 30.524 | 0.0002 | #VALUE!
2012-50#170 |  | DC17 | 215 | 2012-11-23 16:36 | 24C | 0.86637 | 3e-06 | -1e-06 | 0.86637 | 29.8037 | 0.0001 | #VALUE!
2012-50#171 |  | DC18 | 218 | 2012-11-23 16:38 | 24C | 0.84785 | 4e-06 | -1e-06 | 0.84785 | 29.0937 | 0.0001 | #VALUE!
2012-50#172 |  | DC19 | 219 | 2012-11-23 16:40 | 24C | 0.84722 | 3e-06 | -1e-06 | 0.84722 | 29.0697 | 0.0001 | #VALUE!
2012-50#173 |  | DC20 | 222 | 2012-11-23 16:42 | 24C | 0.84927 | 5e-06 | -1e-06 | 0.84927 | 29.148 | 0.0002 | #VALUE!
2012-50#174 |  | DC21 | 223 | 2012-11-23 16:45 | 24C | 0.86999 | 0 | -1e-06 | 0.86999 | 29.943 | 0 | #VALUE!
2012-50#175 |  | DC22 | 226 | 2012-11-23 16:47 | 24C | 0.78083 | 2e-06 | -1e-06 | 0.78083 | 26.5446 | 0.0001 | #VALUE!
2012-50#176 |  | DC23 | 227 | 2012-11-23 16:50 | 24C | 0.85711 | 2e-06 | -1e-06 | 0.85711 | 29.4484 | 0.0001 | #VALUE!
2012-50#177 |  | DC24 | 230 | 2012-11-23 16:52 | 24C | 0.82021 | 3e-06 | -1e-06 | 0.82021 | 28.0386 | 0.0001 | #VALUE!
2012-50#178 |  | DC25 | 231 | 2012-11-23 16:54 | 24C | 0.87771 | 5e-06 | -1e-06 | 0.87771 | 30.2398 | 0.0002 | #VALUE!
2012-50#179 |  | DC26 | 234 | 2012-11-23 16:56 | 24C | 0.88212 | 4e-06 | -1e-06 | 0.88212 | 30.4095 | 0.0002 | #VALUE!
2012-50#180 |  | DC27 | 235 | 2012-11-23 16:58 | 24C | 0.87617 | 3e-06 | -1e-06 | 0.87616 | 30.1803 | 0.0001 | #VALUE!
2012-50#181 |  | DC28 | 238 | 2012-11-23 17:01 | 24C | 0.88302 | 2e-06 | -1e-06 | 0.88302 | 30.4441 | 0.0001 | #VALUE!
2012-50#182 |  | DC29 | 239 | 2012-11-26 16:23 | 24C | 0.88726 | 0 | -1e-06 | 0.88726 | 30.6077 | 0 | #VALUE!
2012-50#183 |  | DC30 | 242 | 2012-11-26 16:27 | 24C | 0.89109 | 8e-06 | -1e-06 | 0.89109 | 30.7552 | 0.0003 | #VALUE!
2012-50#184 |  | DC31 | 243 | 2012-11-26 16:29 | 24C | 0.87054 | 3e-06 | -1e-06 | 0.87054 | 29.9639 | 0.0001 | #VALUE!
2012-50#185 |  | DC32 | 246 | 2012-11-26 16:32 | 24C | 0.86928 | 3e-06 | -1e-06 | 0.86928 | 29.9157 | 0.0001 | #VALUE!
2012-50#186 |  | DC33 | 247 | 2012-11-26 16:35 | 24C | 0.86904 | 1e-06 | -1e-06 | 0.86904 | 29.9064 | 0 | #VALUE!
2012-50#187 |  | DC34 | 250 | 2012-11-26 16:37 | 24C | 0.86811 | 3e-06 | -1e-06 | 0.86811 | 29.8706 | 0.0001 | #VALUE!
2012-50#188 |  | DC35 | 251 | 2012-11-26 16:39 | 24C | 0.86561 | 3e-06 | -1e-06 | 0.86561 | 29.7745 | 0.0001 | #VALUE!
2012-50#189 |  | DC36 | 254 | 2012-11-26 16:41 | 24C | 0.86823 | 1e-06 | -1e-06 | 0.86823 | 29.8753 | 0.0001 | #VALUE!
2012-50#190 |  | DC37 | 255 | 2012-11-26 16:43 | 24C | 0.87405 | 3e-06 | -1e-06 | 0.87405 | 30.0989 | 0.0001 | #VALUE!
2012-50#191 |  | DC38 | 256 | 2012-11-26 16:45 | 24C | 0.87124 | 3e-06 | -1e-06 | 0.87124 | 29.9909 | 0.0001 | #VALUE!
2012-50#192 |  | DC39 | 257 | 2012-11-26 16:48 | 24C | 0.89057 | 2e-06 | -1e-06 | 0.89057 | 30.7353 | 0.0001 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Comments
2012-50#139 | EP01-034 | 2012-11-23 14:51 | 24C | 0.91408 | 2e-06 | -1e-06 | 0.91408 | 31.6442 | 0.0001
2012-50#140 | EP02-037 | 2012-11-23 14:55 | 24C | 0.9154 | 5e-06 | -1e-06 | 0.9154 | 31.6956 | 0.0002
2012-50#141 | EP03-040 | 2012-11-23 14:57 | 24C | 0.91948 | 2e-06 | -1e-06 | 0.91947 | 31.8535 | 0.0001
2012-50#142 | EP04-043 | 2012-11-23 14:59 | 24C | 0.93035 | 4e-06 | -1e-06 | 0.93035 | 32.2757 | 0.0001
2012-50#143 | EO05-046 | 2012-11-23 15:01 | 24C | 0.93219 | 4e-06 | -1e-06 | 0.93219 | 32.3474 | 0.0002
2012-50#144 | EP06-049 | 2012-11-23 15:03 | 24C | 0.91734 | 5e-06 | -1e-06 | 0.91734 | 31.7707 | 0.0002
2012-50#145 | EP07-052 | 2012-11-23 15:05 | 24C | 0.90927 | 3e-06 | -1e-06 | 0.90927 | 31.4579 | 0.0001
2012-50#146 | T08-097 | 2012-11-23 15:07 | 24C | 0.92284 | 3e-06 | -1e-06 | 0.92284 | 31.984 | 0.0001
2012-50#147 | T07-100 | 2012-11-23 15:14 | 24C | 0.92834 | 4e-06 | -1e-06 | 0.92834 | 32.1975 | 0.0002
2012-50#148 | T06-163 | 2012-11-23 15:16 | 24C | 0.9274 | 1e-06 | -1e-06 | 0.9274 | 32.1611 | 0
2012-50#149 | T05-166 | 2012-11-23 15:19 | 24C | 0.92854 | 2e-06 | -1e-06 | 0.92854 | 32.2053 | 0.0001
2012-50#150 | T04-169 | 2012-11-23 15:21 | 24C | 0.93012 | 5e-06 | -1e-06 | 0.93012 | 32.267 | 0.0002
2012-50#151 | T03-172 | 2012-11-23 15:23 | 24C | 0.93153 | 2e-06 | -1e-06 | 0.93153 | 32.3215 | 0.0001
2012-50#152 | T02-175 | 2012-11-23 15:34 | 24C | 0.92824 | 3e-06 | -1e-06 | 0.92824 | 32.1939 | 0.0001
2012-50#153 | T01-178 | 2012-11-23 15:36 | 24C | 0.9261 | 3e-06 | -1e-06 | 0.9261 | 32.1105 | 0.0001
2012-50#154 | DC01-181 | 2012-11-23 15:38 | 24C | 0.87404 | 1e-05 | -1e-06 | 0.87404 | 30.0984 | 0.0004
2012-50#155 | DC02-184 | 2012-11-23 15:41 | 24C | 0.86859 | 3e-06 | -1e-06 | 0.86859 | 29.889 | 0.0001
2012-50#156 | DC03-185 | 2012-11-23 15:43 | 24C | 0.84232 | 1e-06 | -1e-06 | 0.84232 | 28.8821 | 0
2012-50#157 | DC04-NO# | 2012-11-23 15:45 | 24C | 0.87057 | 2e-06 | -1e-06 | 0.87056 | 29.9649 | 0.0001
2012-50#158 | DC05-191 | 2012-11-23 16:12 | 24C | 0.85615 | 3e-06 | -1e-06 | 0.85615 | 29.4117 | 0.0001
2012-50#159 | DC06-192 | 2012-11-23 16:14 | 24C | 0.85125 | 4e-06 | -1e-06 | 0.85125 | 29.2238 | 0.0001
2012-50#160 | DC07-195 | 2012-11-23 16:16 | 24C | 0.88789 | 2e-06 | -1e-06 | 0.88789 | 30.632 | 0.0001
2012-50#161 | DC08-196 | 2012-11-23 16:18 | 24C | 0.87872 | 2e-06 | -1e-06 | 0.87872 | 30.2787 | 0.0001
2012-50#162 | DC09-199 | 2012-11-23 16:20 | 24C | 0.8578 | 4e-06 | -1e-06 | 0.8578 | 29.4748 | 0.0001
2012-50#163 | DC10-200 | 2012-11-23 16:22 | 24C | 0.85523 | 2e-06 | -1e-06 | 0.85523 | 29.3764 | 0.0001
2012-50#164 | DC11-203 | 2012-11-23 16:24 | 24C | 0.85429 | 3e-06 | -1e-06 | 0.85429 | 29.3403 | 0.0001
2012-50#165 | DC12-204 | 2012-11-23 16:26 | 24C | 0.867 | 1e-06 | -1e-06 | 0.867 | 29.8278 | 0
2012-50#166 | DC13-207 | 2012-11-23 16:28 | 24C | 0.85825 | 2e-06 | -1e-06 | 0.85825 | 29.4922 | 0.0001
2012-50#167 | DC14-208 | 2012-11-23 16:30 | 24C | 0.866 | 4e-06 | -1e-06 | 0.866 | 29.7895 | 0.0002
2012-50#168 | DC15-211 | 2012-11-23 16:32 | 24C | 0.88187 | 3e-06 | -1e-06 | 0.88187 | 30.3997 | 0.0001
2012-50#169 | DC16-214 | 2012-11-23 16:34 | 24C | 0.88509 | 4e-06 | -1e-06 | 0.88509 | 30.524 | 0.0002
2012-50#170 | DC17-215 | 2012-11-23 16:36 | 24C | 0.86637 | 3e-06 | -1e-06 | 0.86637 | 29.8037 | 0.0001
2012-50#171 | DC18-218 | 2012-11-23 16:38 | 24C | 0.84785 | 4e-06 | -1e-06 | 0.84785 | 29.0937 | 0.0001
2012-50#172 | DC19-219 | 2012-11-23 16:40 | 24C | 0.84722 | 3e-06 | -1e-06 | 0.84722 | 29.0697 | 0.0001
2012-50#173 | DC20-222 | 2012-11-23 16:42 | 24C | 0.84927 | 5e-06 | -1e-06 | 0.84927 | 29.148 | 0.0002
2012-50#174 | DC21-223 | 2012-11-23 16:45 | 24C | 0.86999 | 0 | -1e-06 | 0.86999 | 29.943 | 0
2012-50#175 | DC22-226 | 2012-11-23 16:47 | 24C | 0.78083 | 2e-06 | -1e-06 | 0.78083 | 26.5446 | 0.0001
2012-50#176 | DC23-227 | 2012-11-23 16:50 | 24C | 0.85711 | 2e-06 | -1e-06 | 0.85711 | 29.4484 | 0.0001
2012-50#177 | DC24-230 | 2012-11-23 16:52 | 24C | 0.82021 | 3e-06 | -1e-06 | 0.82021 | 28.0386 | 0.0001
2012-50#178 | DC25-231 | 2012-11-23 16:54 | 24C | 0.87771 | 5e-06 | -1e-06 | 0.87771 | 30.2398 | 0.0002
2012-50#179 | DC26-234 | 2012-11-23 16:56 | 24C | 0.88212 | 4e-06 | -1e-06 | 0.88212 | 30.4095 | 0.0002
2012-50#180 | DC27-235 | 2012-11-23 16:58 | 24C | 0.87617 | 3e-06 | -1e-06 | 0.87616 | 30.1803 | 0.0001
2012-50#181 | DC28-238 | 2012-11-23 17:01 | 24C | 0.88302 | 2e-06 | -1e-06 | 0.88302 | 30.4441 | 0.0001
2012-50#182 | DC29-239 | 2012-11-26 16:23 | 24C | 0.88726 | 0 | -1e-06 | 0.88726 | 30.6077 | 0
2012-50#183 | DC30-242 | 2012-11-26 16:27 | 24C | 0.89109 | 8e-06 | -1e-06 | 0.89109 | 30.7552 | 0.0003
2012-50#184 | DC31-243 | 2012-11-26 16:29 | 24C | 0.87054 | 3e-06 | -1e-06 | 0.87054 | 29.9639 | 0.0001
2012-50#185 | DC32-246 | 2012-11-26 16:32 | 24C | 0.86928 | 3e-06 | -1e-06 | 0.86928 | 29.9157 | 0.0001
2012-50#186 | DC33-247 | 2012-11-26 16:35 | 24C | 0.86904 | 1e-06 | -1e-06 | 0.86904 | 29.9064 | 0
2012-50#187 | DC34-250 | 2012-11-26 16:37 | 24C | 0.86811 | 3e-06 | -1e-06 | 0.86811 | 29.8706 | 0.0001
2012-50#188 | DC35-251 | 2012-11-26 16:39 | 24C | 0.86561 | 3e-06 | -1e-06 | 0.86561 | 29.7745 | 0.0001
2012-50#189 | DC36-254 | 2012-11-26 16:41 | 24C | 0.86823 | 1e-06 | -1e-06 | 0.86823 | 29.8753 | 0.0001
2012-50#190 | DC37-255 | 2012-11-26 16:43 | 24C | 0.87405 | 3e-06 | -1e-06 | 0.87405 | 30.0989 | 0.0001
2012-50#191 | DC38-256 | 2012-11-26 16:45 | 24C | 0.87124 | 3e-06 | -1e-06 | 0.87124 | 29.9909 | 0.0001
2012-50#192 | DC39-257 | 2012-11-26 16:48 | 24C | 0.89057 | 2e-06 | -1e-06 | 0.89057 | 30.7353 | 0.0001