## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 1-May-2014 | File n12053001.ctd contained wrong data; replaced with corrected file. G.G. |

PROCESSING NOTES

Cruises: CFMETR Nanoose

Agency: Canadian Forces

Project: Canadian Forces Maritime Experimental Test Range

Area: Nanoose

Date: 12 January 2012 – 28 November 2012

Platform: CFAV Stikine (and others)

Processed by: Germaine Gatien

Date of Processing: 29 January 2013 – 2 February 2013

Number of original CTD casts: 88

Number of casts processed: 85

INSTRUMENT SUMMARY

Five Sea Bird Model SBE 19 SEACAT CTDs were used – serial numbers #1452, 1510, 1511, 1512 and 1513. Each CTD had an altimeter listed in the configuration file, but those data will not be archived.

SUMMARY OF QUALITY AND CONCERNS

Five different CTDs were used. The calibration information could not be confirmed.

To assist in analysis event numbers are helpful and the software in use will only allow 4 digits which suits most cruises. However a 7-character system is used for this project. A 4-character format was derived from those IDs based on the month and day of each cast. This means the same event # will appear if there is more than one cast on one day as did sometimes occur.

The soak period for the CTD was typically 1 -1.5 minutes long, but occasionally less than 1 minute. It is recommended that the SBE19+ be soaked for at least 2 minutes to improve salinity quality, though in the absence of large differences between air and water temperatures it is likely that 1 minute is sufficient.

There was no salinity calibration sampling. SeaCat salinity is prone to error due to mismatch of conductivity and temperature response times, especially when the descent rate is non-uniform. These errors are likely to be much larger than calibration errors. SeaCat salinity errors are expected to be as high as 0.05units in areas of high gradients. Away from high gradients errors in salinity are expected to be on the order of 0.005.

The times given in the SeaBird headers do not include a time zone, so it was assumed that they are in PST. All times were converted to UTC by adding 8 hours.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.hex.

2. Preliminary Steps

88 hex files and 86 configuration files were delivered. Five different CTDs were used.

- Conversion of Raw Data

- The raw data were converted by matching the configuration file to the input file name. There were problems with the following files:

- n12032001.hex did not have a CON file to match. The CON file for n12032201 was used and the results look reasonable.

- n12032301.hex did not have a CON file to match. The CON file for n12032201 was used and the results look reasonable.

- One file was named n12041101a.hex but after conversion this was changed to n12041101.cnv since there was only one cast on that date.

- n12051701b.hex was changed to n12051702 since it was the second cast on that day.

- n012062001a.hex was changed to n12062002.cnv after conversions since it was also the second cast on that day, but it did not contain any useful data. It will not be processed further

- n12062102.hex  - no ACT file to match, but information from 2062101 can be used since it occurred shortly before.

- n12100201.hex  - There was no ACT file to match this HEX file. The data look bad in this file, so it will not be processed further.

- n12103101.hex – There was no ACT file to match this HEX file. The data look ok but only goes to about 30m so the crew may have been aware of a problem. Given that and the absence of a position, the file will not be processed further.

- The soak period was less than a minute for some casts. For most casts there was a soak of between 1 and 2 minutes. A 2-minute soak is generally advised for the best salinity data, but in most cases the conductivity seems to have reached equilibrium before the downcasts started.

- For file n12032001 the CTD spent about 8 minutes running at pressure -0.3db with conductivity values ~0, so it was either just above the surface or in water with conductivity so low that the pump did not turn on. The conductivity starts rising when pressure moves from -0.3db to -0.2db. There does not appear to have been any soak time after the pumps came on.

- The pressure sensors are only considered ±1db. The only information available suggests that the surface is well within 1db of 0.

- Temperature and conductivity generally look ok.

- The altimetry looks useful near the bottom of some casts where the CTD got close to the bottom, but most values look unbelievable.

- WILDEDIT

No single-point spikes were noted, so this step was skipped.

- FILTER

The conductivity was low-pass filtered with a time constant of 0.5 seconds to force it to have the same response as the temperature.

The pressure was filtered with a time constant of 1s to increase the pressure resolution.

Plots of a few casts before and after this step show that reversals in pressure were removed without oversmoothing. A setting of 2s is often used for SBE19 CTDs but that looks too high for these data.

- ALIGNCTD

An initial run with no alignment applied to the temperature channel produced poor results with instabilities in T-S plots. Different settings were tried for the filter with no improvement made. Alignctd was applied using a variety of settings and the results were much better when temperature was advance by 0.7s relative to pressure. In previous years alignment of the Nanoose data sets was done using SHIFT later in processing. It can be fine-tuned later if further adjustment appears necessary.

Tests were run on 2 of the 5 CTDs that were used, 1510 and 1513.

- DERIVE

Program DERIVE was run to calculate salinity. The CON files had to be copied into folder ALIGN to make this work.

7.  Conversion to IOS Headers

The IOSSHELL routine for Sea Bird ASCII files was used to convert the Sea-Bird data to IOS Headers.

A spreadsheet of positions calculated from the *.act files was received from Peter Chandler in file NanooseCtdStations2011.xls. The spreadsheet did not contain the initial “n” found in the file names and was missing the final digit which was either a 1 or 2 since on some days there were 2 casts. Those items were added to the file names in the spreadsheet and the file was saved as a csv file.

The format of latitude and longitude needed to be changed to DD MM.MM N and DDD MM.MM W. Concatenate was used to do this. For example for column LOC:Latitude the entries are found using:  =CONCATENATE(INT(C2),"  ",TRUNC(((C2)-INT(C2))*60,2)," N ")

where C2 is latitude. There needs to be a space before the latitude and around the N and W. Do not add “! (deg min)” – that is done by the program.

This is a finicky job and usually takes many attempts before everything is right!

A column LOC:Station was added with every row having “Nanoose” entered.

A column LOC:Event Number was added with a 4-digit id based on month and day of cast. If there are more than 2 casts on a day they will have the same event number; the event number will not be used to rename the files in standard format because of that. (Use the RIGHT and LEFT functions to do this.)

The program MERGE CSV FILES TO HEADERS was then used to add that information to the headers.

8. Checking Headers

Header Check was run and shows some odd altimetry results. The minimum values are mostly too large to be picked up in the header comment which is only created if there are values <15m near the bottom. The maximum values vary from one CTD to another and for many the deep values do not make sense. The scale entered in the configuration files vary with choices of 1, 10 and 15. There is no need for the altimetry data, so given we don’t understand the data, the channel and header entries will not be included in the files to be archived. (A text editor was used to remove the few header entries that were created.)

Surface check was run and the average surface pressure was 0.6db.There were 5 negative values, but 3 of them were between 0 and -0.4 and were associated with salinity that was ~0, and were likely recorded out of the water. One case was clearly due to a spike in pressure. Event 0731 was investigated: the first 3 values are slightly negative with high salinity values, but this looks like an initial spike that quickly settled to reasonable salinity values. These data will be removed by DELETE and/or CTDEDIT.

The warnings in the DELETE log from an initial run led to a return to the MRH files for removal of some records during the soak period where pressures were bad during events #0619 and 0831.

9. SHIFT

These data were aligned earlier in the process, but tests were run to see if a further shift might help. T-S plots show a few unstable features though most plots look excellent. Adjusting the temperature shift did not help, so this step was skipped.

11. CLIP

CLIP was used to remove records with pressure <0.5.

12. DELETE

Then DELETE was run on the SHF files using the following parameters:

Surface Record Removal: Last Press Min    Maximum Surface Pressure (relative): 10.00

Surface Swell Pressure Tolerance: 1.0	     Pressure not filtered

Swells deleted. Warning message if pressure difference of 2.00

Minimum Drop Rate 0.2m/s over 5 records between 10db and 10db above maximum pressure

There were warnings for events #0619 and 0831 during the first run. The MRH files for those casts were edited and then CLIP and DELETE were rerun. There were no warnings on the final run of DELETE.

12. CTDEDIT

The DEL files were copied to EDT.

Plots were examined and casts identified that require some editing. Those files were then opened in CTDEDIT. About half of the casts required light editing. Surface records were removed from many files and bottom records were removed from a few casts where there was clearly some corruption. Salinity needed editing in many files to smooth unstable features that appear to be due to minor misalignments of T and C in the presence of sharp temperature gradients.

The edited files were copied to EDT.

13. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure      	Averaging interval = 1.000

Minimum bin value = .000	Average value will be used.

Interpolated values are NOT used for empty bins

Profile plots were examined on-screen and no problems were found.

Page plots were examined and look ok with only a few very slightly unstable features.

14. Intercomparisons

Historic ranges – There were some excursions from the local climatology. Salinity was low in small sections near the bottom in January through March and a few low values in the top 50db in late summer and autumn. These are seen in casts from several CTDs so do not look like problems with sensor calibration. Temperatures are occasionally below the minima in the historic ranges at various seasons and depths. Again these occur with several CTDs. The 3-standard deviation limits are too severe for this area and the excursions are slight, so there is no indication of calibration problems.

Repeat casts – There were some casts within a few hours of each other, but not at exactly the same place. The temperature and salinity are reasonably close, but the data are not suitable for assessment of CTD performance.

15. CALIBRATION

No recalibration was applied.

16. REMOVE and HEADEDIT

The time zone for the times in the headers is unknown. The times suggest either PST or PDT, since they are mostly between 8 and 10am, so it will be assumed it is PST for all. We often find that computer times are not updated to mark the change from PST to PDT and vice versa. Program ADD TIME CHANNEL was used to add 8 hours to get UTC times. These times may well have an error of 1 hour during the time when PDT is in use locally.

The following channels were removed from all casts: Scan_Number, Conductivity, Descent_Rate Altimetry and Flag.

The HEADEDIT routine was used to fix formats and to add the following comment to the headers:

SeaCat salinity is prone to error due to a mismatch of conductivity and

temperature response times, especially when the descent rate is non-uniform.

Such errors are likely to be larger than calibration errors. SeaCat salinity

errors are expected to be as high as 0.05 units in areas of high gradients,

but on the order of 0.005 where gradients are low and descent rate steady.

There were no salinity calibration data available for this cruise.

The standards check routine was run and no problems were found.

17. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced. No errors were found.

Particulars

- n12032001.hex - no CON file available. CON file for n12032201 was used.

- n12032301.hex – no CON file available. CON file for n12032201 was used.

- n12041101a.hex – name changed to n12041101.cnv since there was only one cast on that date.

- n12051701b.hex – name changed to n12051702 since it was the second cast on that day.

- n012062001a.hex  - name changed to n12062002.cnv after conversions since it was the second cast that day, but it did not contain any useful data. Not processed.

- n12062102.hex  - no ACT file to match, but information from 2062101 can be used since it occurred shortly before.

- n12100201.hex  - no ACT file to provide position – no useful data, not processed.

- n12103101.hex – no ACT file to provide position and only 30m of data, not processed.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	Nanoose Test Range

Dates: 	Start:	12 January 2012	    End:	28 November 2011

Location: Nanoose Test Range 	Vessel:    Stikine (and possibly others)

NOTE: Several SEACATs were used for this cruise and not all were identified. The calibration information used in conversion can be found in the headers of the CTD files.