## Notes
Analysis: | Hugh MacLean, Line P onboard CCGS JP Tully, 05 Feb 2013 to 19 Feb 2013 using IOS Kit #1. Data processing by Kenny Scozzafava
Chief Scientist: | Marie Robert
2013-04-24 |  | KS
The system was standardized only twice throughout the two week cruise period, with the first standardization occurring on February 9. Standards were not re-analyzed again
to confirm that the initial Thio normality (0.13989) calculated on February 9 was is fact real. The proceeding standardization was analyzed 7 days later on February 16.
Thio normality was 0.14009. The difference in the two standardizations (0.0002) was within the acceptable variation of ±0.0005 N. A third standardization would have been
ideal for increased confidence in Thio normality accuracy after the first standardization. There is no way of knowing whether either or both are in fact, proper standardizations.
The only evidence to support that standardizations were maybe ok is that in 7 days Thio N did not change dramatically and the standardizations themselves were relatively precise.
Sample 57 - Comment states "Extra Iodide reagent." I am unsure what this means but am currently attempting to track down analyst to see if he remembers what this comment meant.
Sample 311 - Was marked as an outlier according to the Chauvenet criteria. There are no notes to identify a problem with the samples or analysis. The large difference between duplicates
may be attributed to poor sampling technique but this is only speculation.
2013-05-01 |  | KS
Changes to event numbers from 75 and 77 to event numbers 74 and 78, respectively in all worksheets

## QF 2013-01 OXY FINAL
HEADER: | Oxygen samples were analyzed at sea using an automated Winkler titration system (Brinkmann Dosimat model 665) for titrations,
Dosimat model 865 for dispensing standards and a PC 950 Colorimeter controlled by AutoOxy software V3.4) with modifications based on
Carpenter (1965) and adhering to WOCE protocols (Culberson 1991). For details including a duplicate analysis, see document QF2013-01OXY.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Oxygen:Dissolved | Flag:Oxygen:Dissolved | Temperature:Draw | Comment
2013-01 | 7 | P2 | 25 | 3.8469 | 6 | 7.9
2013-01 | 7 | P2 | 26 | 3.9396 |  | 7.9
2013-01 | 7 | P2 | 27 | 4.9025 |  | 8.1
2013-01 | 7 | P2 | 28 | 4.8036 |  | 8.7
2013-01 | 7 | P2 | 29 | 4.9749 |  | 7.9
2013-01 | 7 | P2 | 30 | 6.1296 |  | 7.7
2013-01 | 7 | P2 | 31 | 6.2416 | 2 | 7.7 | OXY: Very slow leak from spigot
2013-01 | 7 | P2 | 32 | 6.2214 |  | 7.7
2013-01 | 13 | P8 | 41 | 1.4123 | 6 | 2.65
2013-01 | 13 | P8 | 42 | 0.71288 |  | 2.8
2013-01 | 13 | P8 | 43 | 0.38897 |  | 3.3
2013-01 | 13 | P8 | 44 | 0.23553 |  | 3.8
2013-01 | 13 | P8 | 45 | 0.27235 |  | 4.2
2013-01 | 13 | P8 | 46 | 0.45406 |  | 4.7
2013-01 | 13 | P8 | 47 | 1.4068 | 2 | 5.3 | OXY: Slow leak from spigot
2013-01 | 13 | P8 | 48 | 2.114 |  | 5.9
2013-01 | 13 | P8 | 49 | 2.5107 | 6 | 6.3
2013-01 | 13 | P8 | 50 | 3.0002 |  | 6.7
2013-01 | 13 | P8 | 51 | 2.9675 |  | 6.9
2013-01 | 13 | P8 | 52 | 3.0708 |  | 7.1
2013-01 | 13 | P8 | 53 | -99 | 9 | -99 | OXY: Niskin did not close
2013-01 | 13 | P8 | 54 | 3.5154 |  | 7.3
2013-01 | 13 | P8 | 55 | 4.6126 |  | 7.3
2013-01 | 13 | P8 | 56 | 6.7146 |  | 7.4
2013-01 | 13 | P8 | 57 | 6.7757 | 26 | 7.4 | OXY-2: Extra Iodide reagent. See notes
2013-01 | 13 | P8 | 58 | 6.7803 |  | 7.5
2013-01 | 13 | P8 | 59 | 6.7736 |  | 7.5
2013-01 | 22 | P12 | 94 | 2.3192 |  | 2.4
2013-01 | 22 | P12 | 95 | 2.2788 |  | 2.3
2013-01 | 22 | P12 | 96 | 2.2779 | 6 | 2.35
2013-01 | 22 | P12 | 97 | 1.9086 |  | 2.4
2013-01 | 22 | P12 | 98 | 1.3809 |  | 2.6
2013-01 | 22 | P12 | 99 | 0.66618 |  | 3.2
2013-01 | 22 | P12 | 100 | 0.39131 |  | 3.7
2013-01 | 22 | P12 | 101 | 0.25068 | 6 | 4.25
2013-01 | 22 | P12 | 102 | 0.31538 |  | 4.5
2013-01 | 22 | P12 | 103 | 0.63345 |  | 4.9
2013-01 | 22 | P12 | 104 | 1.5928 |  | 5.6
2013-01 | 22 | P12 | 105 | 1.7931 |  | 6.3
2013-01 | 22 | P12 | 106 | 2.3994 |  | 6.4
2013-01 | 22 | P12 | 107 | 3.0479 |  | 6.8
2013-01 | 22 | P12 | 108 | 3.4106 |  | 7.1
2013-01 | 22 | P12 | 109 | 3.8226 | 6 | 7.2
2013-01 | 22 | P12 | 110 | 5.4802 |  | 7
2013-01 | 22 | P12 | 111 | 6.3517 |  | 7
2013-01 | 22 | P12 | 112 | 6.7903 |  | 7.6
2013-01 | 22 | P12 | 113 | 6.7955 |  | 7.6
2013-01 | 22 | P12 | 114 | 6.8019 |  | 7.5
2013-01 | 22 | P12 | 115 | 6.8454 |  | 7.5
2013-01 | 22 | P12 | 116 | 6.807 |  | 7.5
2013-01 | 30 | P16 | 161 | 2.7336 | 3 | 1.9 | OXY: Titration noisy rendering endpoint slightly ambiguous.
2013-01 | 30 | P16 | 162 | 2.6975 |  | 1.9
2013-01 | 30 | P16 | 163 | 2.6933 |  | 1.9
2013-01 | 30 | P16 | 164 | 2.4274 | 3 | 2 | OXY: Titration noisy rendering endpoint slightly ambiguous. Adjusted endpoint with aid of regression analysis
2013-01 | 30 | P16 | 165 | 1.9082 | 2 | 2.2 | OXY: Titration was not flat at end. Regression analysis pointed to an early endpoint. Adjusted endpoint.
2013-01 | 30 | P16 | 166 | 1.3893 | 6 | 2.45
2013-01 | 30 | P16 | 167 | 0.61294 | 3 | 2.8 | OXY: An odd step feature near end of titration. Endpoint difficult to determine accurately. No adjustment to the endpoint
2013-01 | 30 | P16 | 168 | 0.31289 |  | 3.1
2013-01 | 30 | P16 | 169 | 0.28105 |  | 3.5
2013-01 | 30 | P16 | 170 | 0.3686 |  | 4
2013-01 | 30 | P16 | 171 | 0.59267 |  | 4.5
2013-01 | 30 | P16 | 172 | 1.4467 |  | 4.9
2013-01 | 30 | P16 | 173 | 2.2203 | 6 | 5.55
2013-01 | 30 | P16 | 174 | 2.7703 |  | 5.7
2013-01 | 30 | P16 | 175 | 3.7073 |  | 6.2
2013-01 | 30 | P16 | 176 | 4.0679 | 6 | 6.3
2013-01 | 30 | P16 | 177 | 4.8946 |  | 6.3
2013-01 | 30 | P16 | 178 | 6.0105 |  | 6.1
2013-01 | 30 | P16 | 179 | 6.7621 |  | 6.9
2013-01 | 30 | P16 | 180 | 6.8831 | 6 | 7.1
2013-01 | 30 | P16 | 181 | 6.8703 | 2 | 7.1 | OXY: Titration was not flat at end. Regression analysis pointed to an early endpoint. Adjusted endpoint.
2013-01 | 30 | P16 | 182 | 6.904 |  | 7.1
2013-01 | 30 | P16 | 183 | 6.8939 |  | 7.1
2013-01 | 30 | P16 | 184 | 6.8938 |  | 7.1
2013-01 | 42 | P26 | 244 | 3.356 |  | 1.7
2013-01 | 42 | P26 | 245 | 3.1659 | 6 | 1.6
2013-01 | 42 | P26 | 246 | 2.9618 |  | 1.6
2013-01 | 42 | P26 | 247 | 2.5686 |  | 1.7
2013-01 | 42 | P26 | 248 | 1.984 |  | 1.8
2013-01 | 42 | P26 | 249 | 1.3248 |  | 2
2013-01 | 42 | P26 | 250 | 0.63775 |  | 2.4
2013-01 | 42 | P26 | 251 | 0.48314 | 6 | 2.55
2013-01 | 42 | P26 | 252 | 0.51645 |  | 2.9
2013-01 | 42 | P26 | 253 | 0.5151 |  | 3.2
2013-01 | 42 | P26 | 254 | 0.57828 |  | 3.6
2013-01 | 42 | P26 | 255 | 0.89291 |  | 3.9
2013-01 | 42 | P26 | 256 | 1.2369 |  | 3.9
2013-01 | 42 | P26 | 257 | 1.711 | 6 | 3.85
2013-01 | 42 | P26 | 258 | 2.3903 |  | 4
2013-01 | 42 | P26 | 259 | 2.7254 |  | 4
2013-01 | 42 | P26 | 260 | 3.3331 |  | 4.1
2013-01 | 42 | P26 | 261 | 5.0074 | 6 | 4.35
2013-01 | 42 | P26 | 262 | 7.0543 |  | 5.7
2013-01 | 42 | P26 | 263 | 7.14 |  | 5.7
2013-01 | 42 | P26 | 264 | 7.1449 |  | 5.7
2013-01 | 42 | P26 | 265 | 7.1589 |  | 5.8
2013-01 | 42 | P26 | 266 | 7.153 |  | 5.8
2013-01 | 42 | P26 | 267 | 7.1566 |  | 5.7
2013-01 | 54 | pa 006 | 308 | 7.1537 | 6 | 5.8
2013-01 | 54 | pa 006 | 309 | 7.1634 | 46 | 5.8 | OX-2: Bubble on lens. Dosimat did not reach lowest dose rate. Endpoint likely overshot.
2013-01 | 54 | pa 006 | 310 | 7.1486 | 6 | 5.8
2013-01 | 56 | pa 006 onar 2 | 311 | 7.1696 | 36 | 5.8 | OXY: Replicate outliers.
2013-01 | 56 | pa 006 onar 2 | 312 | 7.1529 | 6 | 5.8
2013-01 | 62 | P20 | 338 | 3.0144 | 2 | 1.9 | OXY: Niskin bottle leaking. Notes do not state whether it was a vent, spigot or cap issue.
2013-01 | 62 | P20 | 339 | 2.8635 | 6 | 1.85
2013-01 | 62 | P20 | 340 | 2.8678 |  | 1.9
2013-01 | 62 | P20 | 341 | 2.5357 |  | 1.9
2013-01 | 62 | P20 | 342 | 1.9624 |  | 2.1
2013-01 | 62 | P20 | 343 | 1.2824 |  | 2.5
2013-01 | 62 | P20 | 344 | 0.55334 |  | 2.8
2013-01 | 62 | P20 | 345 | 0.34279 |  | 3.1
2013-01 | 62 | P20 | 346 | 0.33535 | 6 | 3.5
2013-01 | 62 | P20 | 347 | 0.48994 |  | 3.8
2013-01 | 62 | P20 | 348 | 0.6584 |  | 4.3
2013-01 | 62 | P20 | 349 | 1.2573 |  | 4.7
2013-01 | 62 | P20 | 350 | 1.8087 |  | 4.9
2013-01 | 62 | P20 | 351 | 2.4413 |  | 5.2
2013-01 | 62 | P20 | 352 | 3.1499 |  | 5.6
2013-01 | 62 | P20 | 353 | 3.5606 |  | 5.8
2013-01 | 62 | P20 | 354 | 4.331 |  | 5.9
2013-01 | 62 | P20 | 355 | 5.7464 | 6 | 5.75
2013-01 | 62 | P20 | 356 | 6.8627 |  | 6.4
2013-01 | 62 | P20 | 357 | 7.0746 |  | 6.5
2013-01 | 62 | P20 | 358 | 7.0655 |  | 6.6
2013-01 | 62 | P20 | 359 | 7.0709 |  | 6.6
2013-01 | 62 | P20 | 360 | 7.088 |  | 6.6
2013-01 | 62 | P20 | 361 | 7.0779 | 6 | 6.6
2013-01 | 74 | P4 | 387 | 0.53479 | 2 | 3.5 | OXY: Niskin spigot leaking
2013-01 | 74 | P4 | 388 | 0.42639 |  | 3.5
2013-01 | 74 | P4 | 389 | 0.43577 | 6 | 3.5
2013-01 | 74 | P4 | 390 | 0.24719 |  | 4
2013-01 | 74 | P4 | 391 | 0.19756 |  | 4.5
2013-01 | 74 | P4 | 392 | 0.32272 |  | 5.1
2013-01 | 74 | P4 | 393 | 1.0252 |  | 5.7
2013-01 | 74 | P4 | 394 | 2.0219 |  | 6.1
2013-01 | 74 | P4 | 395 | 2.4141 |  | 6.3
2013-01 | 74 | P4 | 396 | 3.0821 |  | 6.7
2013-01 | 74 | P4 | 397 | 3.3367 |  | 7
2013-01 | 74 | P4 | 398 | 3.6958 |  | 7.2
2013-01 | 74 | P4 | 399 | 3.7763 |  | 7.5
2013-01 | 74 | P4 | 400 | 5.0053 |  | 7.3
2013-01 | 74 | P4 | 401 | 6.685 | 26 | 7.5 | OXY-1: Niskin spigot had a slow leak.
2013-01 | 74 | P4 | 402 | 6.7289 |  | 7.7
2013-01 | 74 | P4 | 403 | 6.8736 |  | 7.9
2013-01 | 74 | P4 | 404 | 6.9484 |  | 7.9
2013-01 | 74 | P4 | 405 | 6.8799 |  | 7.9
2013-01 | 78 | P1 | 431 | 3.6538 |  | 7.1
2013-01 | 78 | P1 | 433 | 6.8549 |  | 8.1

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
The mean difference for Dissolved Oxygen for the range 0.249 to 7.187 mL/L was 0.009, k = 52 with 2 outlier(s) removed
Precision Statement for Samples Drawn From Duplicate Niskin Bottles:
The mean difference for Dissolved Oxygen for the range 0.426 to 4.902 mL/L was 0.005, k = 10 with 2 outlier(s) removed
Note: Although the precision statement for samples drawn from duplicate Niskin bottles is calculated using the same formula as the precision statement for duplicates
samples drawn from one single Niskin, this process is mainly used to identify problem samples and is not being used as a measure of analysis precision.
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns N, O and P).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [20 empty] | Table 2. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Flask1 | Flask2 | Draw T1 | Draw T2 | Draw TAvg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | DO1 Comment | DO2 Comment | n | Chauvenet
7 | P2 | 25 | 104 | 3.8448 | 3.849 | 3.8469 | 1015 | 2098 | 7.9 | 7.9 | 7.9 | 0.0041985 | -0.0020993 | 0.0020993 |  | 8.8137e-06 | 2 |  |  |  | 3 | 1.37
13 | P8 | 41 | 2000 | 1.4104 | 1.4142 | 1.4123 | 800 | 801 | 2.6 | 2.7 | 2.65 | 0.003753 | -0.0018765 | 0.0018765 |  | 7.0427e-06 | 2 |  |  |  | 4 | 1.53
13 | P8 | 49 | 250 | 2.5089 | 2.5124 | 2.5107 | 809 | 810 | 6.3 | 6.3 | 6.3 | 0.0034119 | -0.001706 | 0.001706 |  | 5.8207e-06 | 2 |  |  |  | 5 | 1.64
13 | P8 | 57 | 25 | 6.778 | 6.7733 | 6.7757 | 819 | 820 | 7.4 | 7.4 | 7.4 | 0.0046679 | 0.002334 | -0.002334 |  | 1.0895e-05 | 2 |  |  | OXY-2: Extra Iodide reagent | 6 | 1.73
22 | P12 | 96 | 3000 | 2.2839 | 2.2719 | 2.2779 | 862 | 2027 | 2.3 | 2.4 | 2.35 | 0.011973 | 0.0059866 | -0.0059866 |  | 7.1678e-05 | 2 |  |  |  | 7 | 1.8
22 | P12 | 101 | 1000 | 0.24863 | 0.25272 | 0.25068 | 868 | 869 | 4.2 | 4.3 | 4.25 | 0.004098 | -0.002049 | 0.002049 |  | 8.3969e-06 | 2 |  |  |  | 8 | 1.87
22 | P12 | 109 | 150 | 3.8241 | 3.8211 | 3.8226 | 877 | 878 | 7.2 | 7.2 | 7.2 | 0.0029934 | 0.0014967 | -0.0014967 |  | 4.4802e-06 | 2 |  |  |  | 9 | 1.91
30 | P16 | 166 | 2000 | 1.384 | 1.3946 | 1.3893 | 805 | 806 | 2.4 | 2.5 | 2.45 | 0.01057 | -0.0052851 | 0.0052851 |  | 5.5864e-05 | 2 |  |  |  | 10 | 1.97
30 | P16 | 173 | 300 | 2.2308 | 2.2099 | 2.2203 | 814 | 815 | 5.5 | 5.6 | 5.55 | 0.02084 | 0.01042 | -0.01042 |  | 0.00021715 | 2 |  |  |  | 20 | 2.24
30 | P16 | 176 | 175 | 4.0642 | 4.0717 | 4.0679 | 819 | 820 | 6.3 | 6.3 | 6.3 | 0.0074926 | -0.0037463 | 0.0037463 |  | 2.807e-05 | 2 |  |  |  | 30 | 2.39
30 | P16 | 180 | 75 | 6.8857 | 6.8805 | 6.8831 | 826 | 827 | 7.1 | 7.1 | 7.1 | 0.005182 | 0.002591 | -0.002591 |  | 1.3427e-05 | 2 |  |  |  | 50 | 2.57
42 | P26 | 245 | 4000 | 3.1667 | 3.1652 | 3.1659 | 801 | 802 | 1.5 | 1.7 | 1.6 | 0.0014598 | 0.00072992 | -0.00072992 |  | 1.0656e-06 | 2 |  |  |  | 80 | 2.74
42 | P26 | 251 | 1250 | 0.47909 | 0.48719 | 0.48314 | 808 | 810 | 2.5 | 2.6 | 2.55 | 0.0080931 | -0.0040466 | 0.0040466 |  | 3.2749e-05 | 2 |  |  |  | 100 | 2.81
42 | P26 | 257 | 250 | 1.6997 | 1.7224 | 1.711 | 816 | 818 | 3.8 | 3.9 | 3.85 | 0.022679 | -0.011339 | 0.011339 |  | 0.00025716 | 2 |  |  |  | 150 | 2.93
42 | P26 | 261 | 125 | 5.003 | 5.0118 | 5.0074 | 823 | 825 | 4.3 | 4.4 | 4.35 | 0.0088195 | -0.0044098 | 0.0044098 |  | 3.8892e-05 | 2 |  |  |  | 200 | 3.02
54 | pa 006 | 308 | 10 | 7.1585 | 7.1489 | 7.1537 | 1015 | 2098 | 5.8 | 5.8 | 5.8 | 0.0096384 | 0.0048192 | -0.0048192 |  | 4.645e-05 | 2
54 | pa 006 | 309 | 5 | 7.1503 | 7.1765 | 7.1634 | 1218 | 1330 | 5.8 | 5.8 | 5.8 | 0.026215 | -0.013107 | 0.013107 |  | 0.0003436 | 2 |  |  | OX-2: Bubble on lens. Dosimat did not reach lowest dose rate. Endpoint likely overshot.
54 | pa 006 | 310 | 2 | 7.1464 | 7.1508 | 7.1486 | 1313 | 1316 | 5.8 | 5.8 | 5.8 | 0.0043679 | -0.002184 | 0.002184 |  | 9.5393e-06 | 2
56 | pa 006 onar 2 | 311 | 5 | 7.1874 | 7.1517 | 7.1696 | 1268 | 1319 | 5.8 | 5.8 | 5.8 | 0.035684 | 0.017842 | -0.017842 |  | 0.00063666 | 2 | y
56 | pa 006 onar 2 | 312 | 2 | 7.1536 | 7.1522 | 7.1529 | 1312 | 1309 | 5.8 | 5.8 | 5.8 | 0.0013431 | 0.00067153 | -0.00067153 |  | 9.0191e-07 | 2
62 | P20 | 339 | 3500 | 2.8702 | 2.8568 | 2.8635 | 801 | 802 | 1.8 | 1.9 | 1.85 | 0.013374 | 0.006687 | -0.006687 |  | 8.9432e-05 | 2
62 | P20 | 346 | 1000 | 0.3284 | 0.34229 | 0.33535 | 810 | 811 | 3.4 | 3.6 | 3.5 | 0.013884 | -0.0069418 | 0.0069418 |  | 9.6377e-05 | 2
62 | P20 | 355 | 125 | 5.751 | 5.7419 | 5.7464 | 822 | 823 | 5.7 | 5.8 | 5.75 | 0.0091089 | 0.0045544 | -0.0045544 |  | 4.1486e-05 | 2
62 | P20 | 361 | 5 | 7.0844 | 7.0715 | 7.0779 | 329 | 1328 | 6.6 | 6.6 | 6.6 | 0.012904 | 0.0064521 | -0.0064521 |  | 8.3259e-05 | 2
74 | P4 | 389 | 1250 | 0.43764 | 0.4339 | 0.43577 | 802 | 803 | 3.5 | 3.5 | 3.5 | 0.0037373 | 0.0018686 | -0.0018686 |  | 6.9836e-06 | 2
74 | P4 | 401 | 75 | 6.6886 | 6.6813 | 6.685 | 816 | 818 | 7.5 | 7.5 | 7.5 | 0.0073064 | 0.0036532 | -0.0036532 |  | 2.6692e-05 | 2 |  | OXY-1: Niskin spigot had a slow leak.
[15 empty] | Sum | 0.0021429
[15 empty] | Count |  | 52
[15 empty] | σ | 0.0064821
[15 empty] | dmax/σ for n (Table 2) | 2.57
[15 empty] | Thus dmax = 2.57 x σ | 0.016659
[15 empty] | Mean Diff | 0.0099151
[15 empty] | MIN | 0.24863
[15 empty] | MAX | 7.1874
2 Outlier(s) Removed
[15 empty] | Mean Diff = | 0.0088844
Table 1. Replicate Analysis for Samples Drawn From Duplicate Niskin Bottles | [20 empty] | Table 2. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Flask1 | Flask2 | Draw T1 | Draw T2 | Draw TAvg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | DO1 Comment | DO2 Comment | n | Chauvenet
7 | P2 | 27/28 | 75 | 4.9025 | 4.8036 | 4.853 | 1330 | 1313 | 8.1 | 8.7 | 8.4 | 0.098852 | 0.049426 | -0.049426 |  | 0.0048859 | 2 | Y |  |  | 3 | 1.37
22 | P12 | 95/96 | 3000 | 2.2788 | 2.2779 | 2.2783 | 861 | 862/2027 | 2.3 | 2.4 | 2.35 | 0.00094958 | 0.00047479 | -0.00047479 |  | 4.5085e-07 | 2 |  |  |  | 4 | 1.53
30 | P16 | 162/163 | 3500 | 2.6975 | 2.6933 | 2.6954 | 801 | 802 | 1.9 | 7.9 | 4.9 | 0.0042533 | 0.0021266 | -0.0021266 |  | 9.0452e-06 | 2 |  |  |  | 5 | 1.64
62 | P20 | 339/340 | 3500 | 2.8678 | 2.8635 | 2.8656 | 803 | 801/802 | 1.9 | 1.9 | 1.9 | 0.004246 | 0.002123 | -0.002123 |  | 9.0143e-06 | 2 |  |  |  | 6 | 1.73
75 | P4 | 388/389 | 1250 | 0.42639 | 0.43577 | 0.43108 | 801 | 816/818 | 3.5 | 3.5 | 3.5 | 0.0093831 | -0.0046915 | 0.0046915 |  | 4.4021e-05 | 2 |  |  |  | 7 | 1.8
[21 empty] | 8 | 1.87
[21 empty] | 9 | 1.91
[21 empty] | 10 | 1.97
[21 empty] | 20 | 2.24
[21 empty] | 30 | 2.39
[21 empty] | 50 | 2.57
[21 empty] | 80 | 2.74
[21 empty] | 100 | 2.81
[21 empty] | 150 | 2.93
[21 empty] | 200 | 3.02
[15 empty] | Sum | 0.0049484
[15 empty] | Count |  | 10
[15 empty] | σ | 0.023448
[15 empty] | dmax/σ for n (Table 2) | 1.97
[15 empty] | Thus dmax = 1.97 x σ | 0.046193
[15 empty] | Mean Diff | 0.023537
[15 empty] | MIN | 0.42639
[15 empty] | MAX | 4.9025
2 Outlier(s) Removed
[15 empty] | Mean Diff = | 0.004708

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling |  | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found here: | O:\Documentation\Quality Flags

## Oxy Data Processing
File Name | Event | Station | Sample_ Number | Depth | Raw Oxygen: Dissolved | AutoOxy Thiosulfate_ titer | Regression Thiosulfate_ titer | Flask_ Number | Flask_ Volume | Blank | Standard | KIO3 Std volume ml | KIO3 Normality | THIO N | AutoOxy Oxygen: Dissolved | AutoOxy Oxygen: Dissolved | Flag | Draw T | Comment
2013-01-0009.oxy | 7 | P2 | 25 | 104 | 3.852 | 0.705 | 0.7038 | 1015 | 144.56 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.8514 | 3.8448 |  | 7.9
2013-01-0009.oxy | 7 | P2 | 25 | 104 | 3.849 | 0.711 | 0.711 | 2098 | 145.87 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.849 | 3.849 |  | 7.9
2013-01-0009.oxy | 7 | P2 | 26 | 100 | 3.946 | 0.72 | 0.7188 | 1218 | 144.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.9463 | 3.9396 |  | 7.9
2013-01-0009.oxy | 7 | P2 | 27 | 75 | 4.908 | 0.833 | 0.832 | 1330 | 134.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 4.9084 | 4.9025 |  | 8.1
2013-01-0007.oxy | 7 | P2 | 28 | 75 | 4.804 | 0.828 | 0.828 | 1313 | 136.36 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 4.8036 | 4.8036 |  | 8.7
2013-01-0007.oxy | 7 | P2 | 29 | 50 | 4.981 | 0.842 | 0.841 | 1316 | 133.78 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 4.9809 | 4.9749 |  | 7.9
2013-01-0007.oxy | 7 | P2 | 30 | 25 | 6.13 | 1.104 | 1.104 | 1268 | 142.57 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.1296 | 6.1296 |  | 7.7
2013-01-0007.oxy | 7 | P2 | 31 | 10 | 6.247 | 1.051 | 1.05 | 1319 | 133.27 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.2476 | 6.2416 | 2 | 7.7 | OXY: Very slow leak from spigot
2013-01-0007.oxy | 7 | P2 | 32 | 5 | 6.227 | 1.045 | 1.044 | 1312 | 132.94 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.2274 | 6.2214 |  | 7.7
2013-01-0013.oxy | 13 | P8 | 41 | 2000 | 1.415 | 0.235 | 0.2342 | 800 | 129.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.4153 | 1.4104 |  | 2.6
2013-01-0013.oxy | 13 | P8 | 41 | 2000 | 1.42 | 0.24 | 0.239 | 801 | 132.09 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.4202 | 1.4142 |  | 2.7
2013-01-0013.oxy | 13 | P8 | 42 | 1500 | 0.715 | 0.123 | 0.1226 | 802 | 132.15 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.71529 | 0.71288 |  | 2.8
2013-01-0013.oxy | 13 | P8 | 43 | 1250 | 0.395 | 0.069 | 0.068 | 803 | 130.56 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.39507 | 0.38897 |  | 3.3
2013-01-0013.oxy | 13 | P8 | 44 | 1000 | 0.239 | 0.044 | 0.0434 | 804 | 132.49 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.23913 | 0.23553 |  | 3.8
2013-01-0013.oxy | 13 | P8 | 45 | 800 | 0.277 | 0.05 | 0.0492 | 805 | 131.53 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.27719 | 0.27235 |  | 4.2
2013-01-0013.oxy | 13 | P8 | 46 | 600 | 0.46 | 0.08 | 0.079 | 806 | 131.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.46013 | 0.45406 |  | 4.7
2013-01-0013.oxy | 13 | P8 | 47 | 400 | 1.407 | 0.231 | 0.231 | 807 | 128.32 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.4068 | 1.4068 | 2 | 5.3 | OXY: Slow leak from spigot
2013-01-0013.oxy | 13 | P8 | 48 | 300 | 2.117 | 0.348 | 0.3476 | 808 | 129.27 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.1165 | 2.114 |  | 5.9
2013-01-0013.oxy | 13 | P8 | 49 | 250 | 2.509 | 0.418 | 0.418 | 809 | 131.22 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.5089 | 2.5089 |  | 6.3
2013-01-0013.oxy | 13 | P8 | 49 | 250 | 2.518 | 0.422 | 0.421 | 810 | 131.98 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.5184 | 2.5124 |  | 6.3
2013-01-0013.oxy | 13 | P8 | 50 | 200 | 3.005 | 0.5 | 0.4993 | 811 | 131.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.0045 | 3.0002 |  | 6.7
2013-01-0013.oxy | 13 | P8 | 51 | 175 | 2.968 | 0.49 | 0.49 | 812 | 130.26 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.9675 | 2.9675 |  | 6.9
2013-01-0013.oxy | 13 | P8 | 52 | 150 | 3.077 | 0.496 | 0.495 | 813 | 127.22 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.0771 | 3.0708 |  | 7.1
2013-01-0013.oxy | 13 | P8 | 53 | 125 | -99 | -99 | -99 | -99 | -99 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | -99 | -99 | 9 | -99 | OXY: Niskin did not close
2013-01-0013.oxy | 13 | P8 | 54 | 100 | 3.521 | 0.593 | 0.592 | 815 | 133 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.5214 | 3.5154 |  | 7.3
2013-01-0013.oxy | 13 | P8 | 55 | 75 | 4.62 | 0.771 | 0.7698 | 816 | 132.04 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 4.6198 | 4.6126 |  | 7.3
2013-01-0013.oxy | 13 | P8 | 56 | 50 | 6.722 | 1.099 | 1.0978 | 818 | 129.6 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.722 | 6.7146 |  | 7.4
2013-01-0013.oxy | 13 | P8 | 57 | 25 | 6.793 | 1.112 | 1.1096 | 819 | 129.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.7927 | 6.778 |  | 7.4
2013-01-0013.oxy | 13 | P8 | 57 | 25 | 6.776 | 1.128 | 1.1276 | 820 | 131.94 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.7757 | 6.7733 | 2 | 7.4 | OXY-2: Extra Iodide reagent
2013-01-0013.oxy | 13 | P8 | 58 | 10 | 6.783 | 1.174 | 1.1735 | 822 | 137.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.7832 | 6.7803 |  | 7.5
2013-01-0013.oxy | 13 | P8 | 59 | 5 | 6.78 | 1.136 | 1.135 | 823 | 132.79 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.7796 | 6.7736 |  | 7.5
2013-01-0022.oxy | 22 | P12 | 94 | 3257 | 2.322 | 0.383 | 0.3825 | 860 | 129.8 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.3223 | 2.3192 |  | 2.4
2013-01-0022.oxy | 22 | P12 | 95 | 3000 | 2.281 | 0.382 | 0.3817 | 861 | 131.79 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.2806 | 2.2788 |  | 2.3
2013-01-0022.oxy | 22 | P12 | 96 | 3000 | 2.287 | 0.377 | 0.3765 | 862 | 129.72 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.2869 | 2.2839 |  | 2.3
2013-01-0022.oxy | 22 | P12 | 96 | 3000 | 2.273 | 0.414 | 0.4139 | 2027 | 143.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.2724 | 2.2719 |  | 2.4
2013-01-0022.oxy | 22 | P12 | 97 | 2500 | 1.909 | 0.315 | 0.315 | 864 | 129.59 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.9086 | 1.9086 |  | 2.4
2013-01-0022.oxy | 22 | P12 | 98 | 2000 | 1.382 | 0.231 | 0.2308 | 865 | 130.57 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.3822 | 1.3809 |  | 2.6
2013-01-0022.oxy | 22 | P12 | 99 | 1500 | 0.667 | 0.113 | 0.1128 | 866 | 129.75 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.6674 | 0.66618 |  | 3.2
2013-01-0022.oxy | 22 | P12 | 100 | 1250 | 0.391 | 0.067 | 0.067 | 867 | 127.79 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.39131 | 0.39131 |  | 3.7
2013-01-0022.oxy | 22 | P12 | 101 | 1000 | 0.252 | 0.044 | 0.0435 | 868 | 125.93 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.25179 | 0.24863 |  | 4.2
2013-01-0022.oxy | 22 | P12 | 101 | 1000 | 0.261 | 0.051 | 0.0496 | 869 | 142.83 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.26051 | 0.25272 |  | 4.3
2013-01-0022.oxy | 22 | P12 | 102 | 800 | 0.321 | 0.057 | 0.056 | 870 | 130.75 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.32146 | 0.31538 |  | 4.5
2013-01-0022.oxy | 22 | P12 | 103 | 600 | 0.639 | 0.119 | 0.118 | 3164 | 142.78 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.63902 | 0.63345 |  | 4.9
2013-01-0022.oxy | 22 | P12 | 104 | 400 | 1.599 | 0.266 | 0.265 | 872 | 130.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.5989 | 1.5928 |  | 5.6
2013-01-0022.oxy | 22 | P12 | 105 | 300 | 1.799 | 0.292 | 0.291 | 873 | 127.32 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.7993 | 1.7931 |  | 6.3
2013-01-0022.oxy | 22 | P12 | 106 | 250 | 2.405 | 0.405 | 0.404 | 874 | 132.55 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.4054 | 2.3994 |  | 6.4
2013-01-0022.oxy | 22 | P12 | 107 | 200 | 3.048 | 0.506 | 0.506 | 875 | 130.99 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.0479 | 3.0479 |  | 6.8
2013-01-0022.oxy | 22 | P12 | 108 | 175 | 3.416 | 0.554 | 0.5531 | 876 | 128.09 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.4162 | 3.4106 |  | 7.1
2013-01-0022.oxy | 22 | P12 | 109 | 150 | 3.827 | 0.626 | 0.6255 | 877 | 129.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.8272 | 3.8241 |  | 7.2
2013-01-0022.oxy | 22 | P12 | 109 | 150 | 3.824 | 0.618 | 0.6176 | 878 | 127.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.8236 | 3.8211 |  | 7.2
2013-01-0022.oxy | 22 | P12 | 110 | 125 | 5.486 | 0.95 | 0.949 | 879 | 137.07 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 5.486 | 5.4802 |  | 7
2013-01-0022.oxy | 22 | P12 | 111 | 100 | 6.358 | 1.044 | 1.043 | 880 | 130.13 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.3579 | 6.3517 |  | 7
2013-01-0022.oxy | 22 | P12 | 112 | 75 | 6.79 | 1.113 | 1.113 | 881 | 129.93 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.7903 | 6.7903 |  | 7.6
2013-01-0022.oxy | 22 | P12 | 113 | 50 | 6.795 | 1.122 | 1.122 | 882 | 130.87 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.7955 | 6.7955 |  | 7.6
2013-01-0022.oxy | 22 | P12 | 114 | 25 | 6.804 | 1.22 | 1.2196 | 884 | 141.99 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.8042 | 6.8019 |  | 7.5
2013-01-0022.oxy | 22 | P12 | 115 | 10 | 6.854 | 1.165 | 1.1635 | 3194 | 134.68 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.8543 | 6.8454 |  | 7.5
2013-01-0022.oxy | 22 | P12 | 116 | 5 | 6.804 | 1.218 | 1.2186 | 886 | 141.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.8037 | 6.807 |  | 7.5
2013-01-0030.oxy | 30 | P16 | 161 | 3680 | 2.734 | 0.45 | 0.45 | 800 | 129.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.7336 | 2.7336 | 3 | 1.9 | OXY: Titration noisy rendering endpoint slightly ambiguous.
2013-01-0030.oxy | 30 | P16 | 162 | 3500 | 2.697 | 0.452 | 0.4521 | 801 | 132.09 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.6969 | 2.6975 |  | 1.9
2013-01-0030.oxy | 30 | P16 | 163 | 3500 | 2.696 | 0.452 | 0.4516 | 802 | 132.15 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.6957 | 2.6933 |  | 1.9
2013-01-0030.oxy | 30 | P16 | 164 | 3000 | 2.431 | 0.403 | 0.4025 | 803 | 130.56 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.4304 | 2.4274 | 3 | 2 | OXY: Titration noisy rendering endpoint slightly ambiguous. Adjusted endpoint with aid of regression analysis
2013-01-0030.oxy | 30 | P16 | 165 | 2500 | 1.908 | 0.322 | 0.322 | 804 | 132.49 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.9082 | 1.9082 | 2 | 2.2 | OXY: Titration was not flat at end. Regression analysis pointed to an early endpoint. Adjusted endpoint.
2013-01-0030.oxy | 30 | P16 | 166 | 2000 | 1.378 | 0.232 | 0.233 | 805 | 131.53 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.378 | 1.384 |  | 2.4
2013-01-0030.oxy | 30 | P16 | 166 | 2000 | 1.395 | 0.234 | 0.234 | 806 | 131.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.3946 | 1.3946 |  | 2.5
2013-01-0030.oxy | 30 | P16 | 167 | 1500 | 0.613 | 0.103 | 0.103 | 807 | 128.32 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.61294 | 0.61294 | 3 | 2.8 | OXY: An odd step feature near end of titration. Endpoint difficult to determine accurately. No adjustment to the endpoint
2013-01-0030.oxy | 30 | P16 | 168 | 1250 | 0.313 | 0.055 | 0.055 | 808 | 129.27 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.31289 | 0.31289 |  | 3.1
2013-01-0030.oxy | 30 | P16 | 169 | 1000 | 0.282 | 0.051 | 0.0508 | 810 | 131.98 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.28226 | 0.28105 |  | 3.5
2013-01-0030.oxy | 30 | P16 | 170 | 800 | 0.369 | 0.065 | 0.065 | 811 | 131.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.3686 | 0.3686 |  | 4
2013-01-0030.oxy | 30 | P16 | 171 | 600 | 0.591 | 0.101 | 0.1012 | 812 | 130.26 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.59145 | 0.59267 |  | 4.5
2013-01-0030.oxy | 30 | P16 | 172 | 400 | 1.444 | 0.235 | 0.2354 | 813 | 127.22 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.4442 | 1.4467 |  | 4.9
2013-01-0030.oxy | 30 | P16 | 173 | 300 | 2.234 | 0.369 | 0.3685 | 814 | 129.95 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.2338 | 2.2308 |  | 5.5
2013-01-0030.oxy | 30 | P16 | 173 | 300 | 2.218 | 0.375 | 0.3737 | 815 | 133 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.2177 | 2.2099 |  | 5.6
2013-01-0030.oxy | 30 | P16 | 174 | 250 | 2.776 | 0.465 | 0.464 | 816 | 132.04 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.7763 | 2.7703 |  | 5.7
2013-01-0030.oxy | 30 | P16 | 175 | 200 | 3.707 | 0.608 | 0.608 | 818 | 129.6 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.7073 | 3.7073 |  | 6.2
2013-01-0030.oxy | 30 | P16 | 176 | 175 | 4.064 | 0.667 | 0.667 | 819 | 129.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 4.0642 | 4.0642 |  | 6.3
2013-01-0030.oxy | 30 | P16 | 176 | 175 | 4.075 | 0.68 | 0.6795 | 820 | 131.94 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 4.0747 | 4.0717 |  | 6.3
2013-01-0030.oxy | 30 | P16 | 177 | 150 | 4.899 | 0.849 | 0.8483 | 822 | 137.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 4.8987 | 4.8946 |  | 6.3
2013-01-0030.oxy | 30 | P16 | 178 | 125 | 6.013 | 1.008 | 1.0076 | 823 | 132.79 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.0129 | 6.0105 |  | 6.1
2013-01-0030.oxy | 30 | P16 | 179 | 100 | 6.765 | 1.122 | 1.1215 | 825 | 131.45 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.7651 | 6.7621 |  | 6.9
2013-01-0030.oxy | 30 | P16 | 180 | 75 | 6.886 | 1.14 | 1.14 | 826 | 131.23 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.8857 | 6.8857 |  | 7.1
2013-01-0030.oxy | 30 | P16 | 180 | 75 | 6.883 | 1.124 | 1.1236 | 827 | 129.46 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.883 | 6.8805 |  | 7.1
2013-01-0030.oxy | 30 | P16 | 181 | 50 | 6.864 | 1.114 | 1.115 | 828 | 128.67 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.8641 | 6.8703 | 2 | 7.1 | OXY: Titration was not flat at end. Regression analysis pointed to an early endpoint. Adjusted endpoint.
2013-01-0030.oxy | 30 | P16 | 182 | 25 | 6.902 | 1.174 | 1.1743 | 829 | 134.78 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.9022 | 6.904 |  | 7.1
2013-01-0030.oxy | 30 | P16 | 183 | 10 | 6.897 | 1.162 | 1.1615 | 329 | 133.52 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.8969 | 6.8939 |  | 7.1
2013-01-0030.oxy | 30 | P16 | 184 | 5 | 6.896 | 1.164 | 1.1636 | 1328 | 133.76 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 6.8962 | 6.8938 |  | 7.1
2013-01-0042.oxy | 42 | P26 | 244 | 4515 | 3.359 | 0.552 | 0.5515 | 800 | 129.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.359 | 3.356 |  | 1.7
2013-01-0042.oxy | 42 | P26 | 245 | 4000 | 3.167 | 0.53 | 0.53 | 801 | 132.09 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.1667 | 3.1667 |  | 1.5
2013-01-0042.oxy | 42 | P26 | 245 | 4000 | 3.171 | 0.531 | 0.53 | 802 | 132.15 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.1712 | 3.1652 |  | 1.7
2013-01-0042.oxy | 42 | P26 | 246 | 3500 | 2.961 | 0.49 | 0.4902 | 803 | 130.56 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.9606 | 2.9618 |  | 1.6
2013-01-0042.oxy | 42 | P26 | 247 | 3000 | 2.569 | 0.432 | 0.432 | 804 | 132.49 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.5686 | 2.5686 |  | 1.7 | Corrected sample number from 246 to 247
2013-01-0042.oxy | 42 | P26 | 248 | 2500 | 1.989 | 0.333 | 0.3322 | 805 | 131.53 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.9888 | 1.984 |  | 1.8
2013-01-0042.oxy | 42 | P26 | 249 | 2000 | 1.328 | 0.223 | 0.2225 | 806 | 131.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.3278 | 1.3248 |  | 2
2013-01-0042.oxy | 42 | P26 | 250 | 1500 | 0.65 | 0.109 | 0.107 | 807 | 128.32 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.65015 | 0.63775 |  | 2.4 | Endpoint was very late. Titration was clean
2013-01-0042.oxy | 42 | P26 | 251 | 1250 | 0.479 | 0.082 | 0.082 | 808 | 129.27 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.47909 | 0.47909 |  | 2.5
2013-01-0042.oxy | 42 | P26 | 251 | 1250 | 0.487 | 0.085 | 0.085 | 810 | 131.98 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.48719 | 0.48719 |  | 2.6
2013-01-0042.oxy | 42 | P26 | 252 | 1000 | 0.514 | 0.089 | 0.0894 | 811 | 131.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.51402 | 0.51645 |  | 2.9
2013-01-0042.oxy | 42 | P26 | 253 | 800 | 0.518 | 0.089 | 0.0885 | 812 | 130.26 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.51815 | 0.5151 |  | 3.2
2013-01-0042.oxy | 42 | P26 | 254 | 600 | 0.581 | 0.097 | 0.0966 | 813 | 127.22 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.58078 | 0.57828 |  | 3.6
2013-01-0042.oxy | 42 | P26 | 255 | 400 | 0.893 | 0.15 | 0.15 | 814 | 129.95 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 0.89291 | 0.89291 |  | 3.9
2013-01-0042.oxy | 42 | P26 | 256 | 300 | 1.237 | 0.211 | 0.211 | 815 | 133 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.2369 | 1.2369 |  | 3.9
2013-01-0042.oxy | 42 | P26 | 257 | 250 | 1.704 | 0.287 | 0.2863 | 816 | 132.04 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.7039 | 1.6997 |  | 3.8
2013-01-0042.oxy | 42 | P26 | 257 | 250 | 1.724 | 0.285 | 0.2847 | 818 | 129.6 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 1.7242 | 1.7224 |  | 3.9
2013-01-0042.oxy | 42 | P26 | 258 | 200 | 2.39 | 0.394 | 0.394 | 819 | 129.77 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.3903 | 2.3903 |  | 4
2013-01-0042.oxy | 42 | P26 | 259 | 175 | 2.724 | 0.456 | 0.4562 | 820 | 131.94 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 2.7242 | 2.7254 |  | 4
2013-01-0042.oxy | 42 | P26 | 260 | 150 | 3.333 | 0.579 | 0.579 | 822 | 137.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 3.3331 | 3.3331 |  | 4.1
2013-01-0042.oxy | 42 | P26 | 261 | 125 | 5.001 | 0.839 | 0.8394 | 823 | 132.79 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 5.0006 | 5.003 |  | 4.3
2013-01-0042.oxy | 42 | P26 | 261 | 125 | 5.022 | 0.834 | 0.8323 | 825 | 131.45 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 5.0221 | 5.0118 |  | 4.4 | Endpoint was very late. Titration was clean
2013-01-0042.oxy | 42 | P26 | 262 | 100 | 7.055 | 1.168 | 1.1678 | 826 | 131.23 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.0555 | 7.0543 |  | 5.7
2013-01-0042.oxy | 42 | P26 | 263 | 75 | 7.14 | 1.204 | 1.204 | 1331 | 133.65 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.14 | 7.14 |  | 5.7
2013-01-0042.oxy | 42 | P26 | 264 | 50 | 7.149 | 1.16 | 1.1594 | 828 | 128.67 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1486 | 7.1449 |  | 5.7
2013-01-0042.oxy | 42 | P26 | 265 | 25 | 7.162 | 1.218 | 1.2175 | 829 | 134.78 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1618 | 7.1589 |  | 5.8
2013-01-0042.oxy | 42 | P26 | 266 | 10 | 7.153 | 1.205 | 1.205 | 329 | 133.52 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.153 | 7.153 |  | 5.8
2013-01-0042.oxy | 42 | P26 | 267 | 5 | 7.158 | 1.208 | 1.2078 | 1328 | 133.76 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1578 | 7.1566 |  | 5.7
2013-01-0054.oxy | 54 | pa 006 | 308 | 10 | 7.165 | 1.308 | 1.3068 | 1015 | 144.56 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1651 | 7.1585 |  | 5.8
2013-01-0054.oxy | 54 | pa 006 | 308 | 10 | 7.149 | 1.317 | 1.317 | 2098 | 145.87 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1489 | 7.1489 |  | 5.8
2013-01-0054.oxy | 54 | pa 006 | 309 | 5 | 7.155 | 1.302 | 1.3012 | 1218 | 144.11 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1547 | 7.1503 |  | 5.8
2013-01-0054.oxy | 54 | pa 006 | 309 | 5 | 7.165 | 1.214 | 1.216 | 1330 | 134.29 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1647 | 7.1765 | 4 | 5.8 | OX-2: Bubble on lens. Titration only to about 93.1%. Dose rate did not reach finest. Endpoint likely overshot.
2013-01-0054.oxy | 54 | pa 006 | 310 | 2 | 7.148 | 1.23 | 1.2298 | 1313 | 136.36 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1476 | 7.1464 |  | 5.8
2013-01-0054.oxy | 54 | pa 006 | 310 | 2 | 7.151 | 1.207 | 1.207 | 1316 | 133.78 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1508 | 7.1508 |  | 5.8
2013-01-0056.oxy | 56 | pa 006 onar 2 | 311 | 5 | 7.194 | 1.295 | 1.2938 | 1268 | 142.57 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1941 | 7.1874 | 3 | 5.8 | OXY: Replicate outliers.
2013-01-0056.oxy | 56 | pa 006 onar 2 | 311 | 5 | 7.161 | 1.204 | 1.2025 | 1319 | 133.27 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1607 | 7.1517 | 3 | 5.8 | OXY: Replicate outliers.
2013-01-0056.oxy | 56 | pa 006 onar 2 | 312 | 2 | 7.155 | 1.2 | 1.1998 | 1312 | 132.94 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1548 | 7.1536 |  | 5.8
2013-01-0056.oxy | 56 | pa 006 onar 2 | 312 | 2 | 7.152 | 1.214 | 1.214 | 1309 | 134.52 | 0.002 | 0.7087 | 10.0276 | 0.0098629 | 0.13989 | 7.1522 | 7.1522 |  | 5.8
2013-01-0062.oxy | 62 | P20 | 338 | 4020 | 3.014 | 0.496 | 0.496 | 800 | 129.77 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.0144 | 3.0144 | 2 | 1.9 | OXY: Niskin bottle leaking. Notes do not state whether it was a vent, spigot or cap issue.
2013-01-0062.oxy | 62 | P20 | 339 | 3500 | 2.87 | 0.481 | 0.481 | 801 | 132.09 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 2.8702 | 2.8702 |  | 1.8
2013-01-0062.oxy | 62 | P20 | 339 | 3500 | 2.857 | 0.479 | 0.479 | 802 | 132.15 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 2.8568 | 2.8568 |  | 1.9
2013-01-0062.oxy | 62 | P20 | 340 | 3500 | 2.868 | 0.475 | 0.475 | 803 | 130.56 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 2.8678 | 2.8678 |  | 1.9
2013-01-0062.oxy | 62 | P20 | 341 | 3000 | 2.537 | 0.427 | 0.4268 | 804 | 132.49 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 2.5369 | 2.5357 |  | 1.9
2013-01-0062.oxy | 62 | P20 | 342 | 2500 | 1.962 | 0.329 | 0.329 | 805 | 131.53 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 1.9624 | 1.9624 |  | 2.1
2013-01-0062.oxy | 62 | P20 | 343 | 2000 | 1.282 | 0.216 | 0.216 | 806 | 131.11 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 1.2824 | 1.2824 |  | 2.5
2013-01-0062.oxy | 62 | P20 | 344 | 1500 | 0.553 | 0.094 | 0.094 | 807 | 128.32 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.55334 | 0.55334 |  | 2.8
2013-01-0062.oxy | 62 | P20 | 345 | 1250 | 0.346 | 0.061 | 0.0605 | 808 | 129.27 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.34587 | 0.34279 |  | 3.1
2013-01-0062.oxy | 62 | P20 | 346 | 1000 | 0.327 | 0.059 | 0.0593 | 810 | 131.98 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.32659 | 0.3284 |  | 3.4
2013-01-0062.oxy | 62 | P20 | 346 | 1000 | 0.347 | 0.062 | 0.0613 | 811 | 131.29 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.34653 | 0.34229 |  | 3.6
2013-01-0062.oxy | 62 | P20 | 347 | 800 | 0.496 | 0.086 | 0.085 | 812 | 130.26 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.49606 | 0.48994 |  | 3.8
2013-01-0062.oxy | 62 | P20 | 348 | 600 | 0.658 | 0.11 | 0.11 | 813 | 127.22 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.6584 | 0.6584 |  | 4.3
2013-01-0062.oxy | 62 | P20 | 349 | 400 | 1.263 | 0.211 | 0.21 | 814 | 129.95 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 1.2634 | 1.2573 |  | 4.7
2013-01-0062.oxy | 62 | P20 | 350 | 300 | 1.809 | 0.307 | 0.307 | 815 | 133 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 1.8087 | 1.8087 |  | 4.9
2013-01-0062.oxy | 62 | P20 | 351 | 250 | 2.437 | 0.409 | 0.4097 | 816 | 132.04 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 2.4371 | 2.4413 |  | 5.2
2013-01-0062.oxy | 62 | P20 | 352 | 200 | 3.154 | 0.518 | 0.5174 | 818 | 129.6 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.1536 | 3.1499 |  | 5.6
2013-01-0062.oxy | 62 | P20 | 353 | 175 | 3.561 | 0.585 | 0.585 | 819 | 129.77 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.5606 | 3.5606 |  | 5.8
2013-01-0062.oxy | 62 | P20 | 354 | 150 | 4.328 | 0.722 | 0.7225 | 820 | 131.94 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 4.328 | 4.331 |  | 5.9
2013-01-0062.oxy | 62 | P20 | 355 | 125 | 5.753 | 0.996 | 0.9957 | 822 | 137.11 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 5.7527 | 5.751 |  | 5.7
2013-01-0062.oxy | 62 | P20 | 355 | 125 | 5.745 | 0.963 | 0.9625 | 823 | 132.79 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 5.7449 | 5.7419 |  | 5.8
2013-01-0062.oxy | 62 | P20 | 356 | 100 | 6.87 | 1.139 | 1.1377 | 825 | 131.45 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.8705 | 6.8627 |  | 6.4
2013-01-0062.oxy | 62 | P20 | 357 | 75 | 7.076 | 1.171 | 1.1707 | 826 | 131.23 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 7.0764 | 7.0746 |  | 6.5
2013-01-0062.oxy | 62 | P20 | 358 | 50 | 7.066 | 1.191 | 1.191 | 1331 | 133.65 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 7.0655 | 7.0655 |  | 6.6
2013-01-0062.oxy | 62 | P20 | 359 | 25 | 7.071 | 1.147 | 1.147 | 828 | 128.67 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 7.0709 | 7.0709 |  | 6.6
2013-01-0062.oxy | 62 | P20 | 360 | 10 | 7.094 | 1.206 | 1.205 | 829 | 134.78 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 7.0939 | 7.088 |  | 6.6
2013-01-0062.oxy | 62 | P20 | 361 | 5 | 7.084 | 1.193 | 1.193 | 329 | 133.52 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 7.0844 | 7.0844 |  | 6.6
2013-01-0062.oxy | 62 | P20 | 361 | 5 | 7.078 | 1.194 | 1.193 | 1328 | 133.76 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 7.0774 | 7.0715 |  | 6.6
2013-01-0075.oxy | 74 | P4 | 387 | 1320 | 0.541 | 0.093 | 0.092 | 800 | 129.77 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.54092 | 0.53479 | 2 | 3.5 | OXY: Niskin spigot leaking
2013-01-0075.oxy | 74 | P4 | 388 | 1250 | 0.429 | 0.076 | 0.0756 | 801 | 132.09 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.4288 | 0.42639 |  | 3.5
2013-01-0075.oxy | 74 | P4 | 389 | 1250 | 0.441 | 0.078 | 0.0775 | 802 | 132.15 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.44065 | 0.43764 |  | 3.5
2013-01-0075.oxy | 74 | P4 | 389 | 1250 | 0.434 | 0.076 | 0.076 | 803 | 130.56 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.4339 | 0.4339 |  | 3.5
2013-01-0075.oxy | 74 | P4 | 390 | 1000 | 0.253 | 0.047 | 0.046 | 804 | 132.49 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.2532 | 0.24719 |  | 4
2013-01-0075.oxy | 74 | P4 | 391 | 800 | 0.207 | 0.039 | 0.0375 | 805 | 131.53 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.20664 | 0.19756 |  | 4.5
2013-01-0075.oxy | 74 | P4 | 392 | 600 | 0.329 | 0.059 | 0.058 | 806 | 131.11 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 0.3288 | 0.32272 |  | 5.1
2013-01-0075.oxy | 74 | P4 | 393 | 400 | 1.025 | 0.17 | 0.17 | 807 | 128.32 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 1.0252 | 1.0252 |  | 5.7
2013-01-0075.oxy | 74 | P4 | 394 | 300 | 2.022 | 0.333 | 0.333 | 808 | 129.27 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 2.0219 | 2.0219 |  | 6.1
2013-01-0075.oxy | 74 | P4 | 395 | 250 | 2.42 | 0.406 | 0.405 | 810 | 131.98 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 2.4201 | 2.4141 |  | 6.3
2013-01-0075.oxy | 74 | P4 | 396 | 200 | 3.088 | 0.514 | 0.513 | 811 | 131.29 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.0881 | 3.0821 |  | 6.7
2013-01-0075.oxy | 74 | P4 | 397 | 175 | 3.339 | 0.551 | 0.5506 | 812 | 130.26 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.3392 | 3.3367 |  | 7
2013-01-0075.oxy | 74 | P4 | 398 | 150 | 3.702 | 0.596 | 0.595 | 813 | 127.22 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.702 | 3.6958 |  | 7.2
2013-01-0075.oxy | 74 | P4 | 399 | 125 | 3.783 | 0.622 | 0.621 | 814 | 129.95 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.7824 | 3.7763 |  | 7.5
2013-01-0075.oxy | 74 | P4 | 400 | 100 | 5.011 | 0.842 | 0.841 | 815 | 133 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 5.0113 | 5.0053 |  | 7.3
2013-01-0075.oxy | 74 | P4 | 401 | 75 | 6.695 | 1.115 | 1.114 | 816 | 132.04 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.6946 | 6.6886 | 2 | 7.5 | OXY-1: Niskin spigot had a slow leak.
2013-01-0075.oxy | 74 | P4 | 401 | 75 | 6.688 | 1.093 | 1.092 | 818 | 129.6 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.6875 | 6.6813 |  | 7.5
2013-01-0075.oxy | 74 | P4 | 402 | 50 | 6.734 | 1.102 | 1.1012 | 819 | 129.77 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.7338 | 6.7289 |  | 7.7
2013-01-0075.oxy | 74 | P4 | 403 | 25 | 6.881 | 1.145 | 1.1438 | 820 | 131.94 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.8809 | 6.8736 |  | 7.9
2013-01-0075.oxy | 74 | P4 | 404 | 10 | 6.96 | 1.204 | 1.202 | 822 | 137.11 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.96 | 6.9484 |  | 7.9 | Endpoint was very late. Titration was clean
2013-01-0075.oxy | 74 | P4 | 405 | 5 | 6.884 | 1.153 | 1.1523 | 823 | 132.79 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.8841 | 6.8799 |  | 7.9
2013-01-0077.oxy | 78 | P1 | 431 | 30 | 3.654 | 0.608 | 0.608 | 825 | 131.45 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 3.6538 | 3.6538 |  | 7.1
2013-01-0077.oxy | 78 | P1 | 433 | 5 | 6.852 | 1.134 | 1.1345 | 826 | 131.23 | 0.0027 | 0.7087 | 10.0276 | 0.0098629 | 0.14009 | 6.8519 | 6.8549 |  | 8.1

## Raw AutoOxy Data
File Name | LOC:EVENT_NUMBER | LOC:STATION | Sample_number | Depth | Oxygen:Dissolved | Thiosulfate_titer | Flask_Number | Flask_Volume | Blank | Standard
2013-01-0009.oxy | 7 | P2 | 25 | 104 | 3.852 | 0.705 | 1015 | 144.56 | 0.002 | 0.7087
2013-01-0009.oxy | 7 | P2 | 25 | 104 | 3.849 | 0.711 | 2098 | 145.87 | 0.002 | 0.7087
2013-01-0009.oxy | 7 | P2 | 26 | 100 | 3.946 | 0.72 | 1218 | 144.11 | 0.002 | 0.7087
2013-01-0009.oxy | 7 | P2 | 27 | 75 | 4.908 | 0.833 | 1330 | 134.29 | 0.002 | 0.7087
2013-01-0007.oxy | 7 | P2 | 28 | 75 | 4.804 | 0.828 | 1313 | 136.36 | 0.002 | 0.7087
2013-01-0007.oxy | 7 | P2 | 29 | 50 | 4.981 | 0.842 | 1316 | 133.78 | 0.002 | 0.7087
2013-01-0007.oxy | 7 | P2 | 30 | 25 | 6.13 | 1.104 | 1268 | 142.57 | 0.002 | 0.7087
2013-01-0007.oxy | 7 | P2 | 31 | 10 | 6.247 | 1.051 | 1319 | 133.27 | 0.002 | 0.7087
2013-01-0007.oxy | 7 | P2 | 32 | 5 | 6.227 | 1.045 | 1312 | 132.94 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 41 | 2000 | 1.415 | 0.235 | 800 | 129.77 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 41 | 2000 | 1.42 | 0.24 | 801 | 132.09 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 42 | 1500 | 0.715 | 0.123 | 802 | 132.15 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 43 | 1250 | 0.395 | 0.069 | 803 | 130.56 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 44 | 1000 | 0.239 | 0.044 | 804 | 132.49 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 45 | 800 | 0.277 | 0.05 | 805 | 131.53 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 46 | 600 | 0.46 | 0.08 | 806 | 131.11 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 47 | 400 | 1.407 | 0.231 | 807 | 128.32 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 48 | 300 | 2.117 | 0.348 | 808 | 129.27 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 49 | 250 | 2.509 | 0.418 | 809 | 131.22 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 49 | 250 | 2.518 | 0.422 | 810 | 131.98 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 50 | 200 | 3.005 | 0.5 | 811 | 131.29 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 51 | 175 | 2.968 | 0.49 | 812 | 130.26 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 52 | 150 | 3.077 | 0.496 | 813 | 127.22 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 54 | 100 | 3.521 | 0.593 | 815 | 133 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 55 | 75 | 4.62 | 0.771 | 816 | 132.04 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 56 | 50 | 6.722 | 1.099 | 818 | 129.6 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 57 | 25 | 6.793 | 1.112 | 819 | 129.77 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 57 | 25 | 6.776 | 1.128 | 820 | 131.94 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 58 | 10 | 6.783 | 1.174 | 822 | 137.11 | 0.002 | 0.7087
2013-01-0013.oxy | 13 | P8 | 59 | 5 | 6.78 | 1.136 | 823 | 132.79 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 94 | 3257 | 2.322 | 0.383 | 860 | 129.8 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 95 | 3000 | 2.281 | 0.382 | 861 | 131.79 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 96 | 3000 | 2.287 | 0.377 | 862 | 129.72 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 96 | 3000 | 2.273 | 0.414 | 2027 | 143.29 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 97 | 2500 | 1.909 | 0.315 | 864 | 129.59 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 98 | 2000 | 1.382 | 0.231 | 865 | 130.57 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 99 | 1500 | 0.667 | 0.113 | 866 | 129.75 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 100 | 1250 | 0.391 | 0.067 | 867 | 127.79 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 101 | 1000 | 0.252 | 0.044 | 868 | 125.93 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 101 | 1000 | 0.261 | 0.051 | 869 | 142.83 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 102 | 800 | 0.321 | 0.057 | 870 | 130.75 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 103 | 600 | 0.639 | 0.119 | 3164 | 142.78 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 104 | 400 | 1.599 | 0.266 | 872 | 130.29 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 105 | 300 | 1.799 | 0.292 | 873 | 127.32 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 106 | 250 | 2.405 | 0.405 | 874 | 132.55 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 107 | 200 | 3.048 | 0.506 | 875 | 130.99 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 108 | 175 | 3.416 | 0.554 | 876 | 128.09 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 109 | 150 | 3.827 | 0.626 | 877 | 129.29 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 109 | 150 | 3.824 | 0.618 | 878 | 127.77 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 110 | 125 | 5.486 | 0.95 | 879 | 137.07 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 111 | 100 | 6.358 | 1.044 | 880 | 130.13 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 112 | 75 | 6.79 | 1.113 | 881 | 129.93 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 113 | 50 | 6.795 | 1.122 | 882 | 130.87 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 114 | 25 | 6.804 | 1.22 | 884 | 141.99 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 115 | 10 | 6.854 | 1.165 | 3194 | 134.68 | 0.002 | 0.7087
2013-01-0022.oxy | 22 | P12 | 116 | 5 | 6.804 | 1.218 | 886 | 141.77 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 161 | 3680 | 2.734 | 0.45 | 800 | 129.77 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 162 | 3500 | 2.697 | 0.452 | 801 | 132.09 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 163 | 3500 | 2.696 | 0.452 | 802 | 132.15 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 164 | 3000 | 2.431 | 0.403 | 803 | 130.56 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 165 | 2500 | 1.908 | 0.322 | 804 | 132.49 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 166 | 2000 | 1.378 | 0.232 | 805 | 131.53 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 166 | 2000 | 1.395 | 0.234 | 806 | 131.11 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 167 | 1500 | 0.613 | 0.103 | 807 | 128.32 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 168 | 1250 | 0.313 | 0.055 | 808 | 129.27 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 169 | 1000 | 0.282 | 0.051 | 810 | 131.98 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 170 | 800 | 0.369 | 0.065 | 811 | 131.29 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 171 | 600 | 0.591 | 0.101 | 812 | 130.26 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 172 | 400 | 1.444 | 0.235 | 813 | 127.22 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 173 | 300 | 2.234 | 0.369 | 814 | 129.95 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 173 | 300 | 2.218 | 0.375 | 815 | 133 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 174 | 250 | 2.776 | 0.465 | 816 | 132.04 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 175 | 200 | 3.707 | 0.608 | 818 | 129.6 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 176 | 175 | 4.064 | 0.667 | 819 | 129.77 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 176 | 175 | 4.075 | 0.68 | 820 | 131.94 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 177 | 150 | 4.899 | 0.849 | 822 | 137.11 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 178 | 125 | 6.013 | 1.008 | 823 | 132.79 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 179 | 100 | 6.765 | 1.122 | 825 | 131.45 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 180 | 75 | 6.886 | 1.14 | 826 | 131.23 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 180 | 75 | 6.883 | 1.124 | 827 | 129.46 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 181 | 50 | 6.864 | 1.114 | 828 | 128.67 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 182 | 25 | 6.902 | 1.174 | 829 | 134.78 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 183 | 10 | 6.897 | 1.162 | 329 | 133.52 | 0.002 | 0.7087
2013-01-0030.oxy | 30 | P16 | 184 | 5 | 6.896 | 1.164 | 1328 | 133.76 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 244 | 4515 | 3.359 | 0.552 | 800 | 129.77 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 245 | 4000 | 3.167 | 0.53 | 801 | 132.09 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 245 | 4000 | 3.171 | 0.531 | 802 | 132.15 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 246 | 3500 | 2.961 | 0.49 | 803 | 130.56 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 246 | 3000 | 2.569 | 0.432 | 804 | 132.49 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 248 | 2500 | 1.989 | 0.333 | 805 | 131.53 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 249 | 2000 | 1.328 | 0.223 | 806 | 131.11 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 250 | 1500 | 0.65 | 0.109 | 807 | 128.32 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 251 | 1250 | 0.479 | 0.082 | 808 | 129.27 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 251 | 1250 | 0.487 | 0.085 | 810 | 131.98 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 252 | 1000 | 0.514 | 0.089 | 811 | 131.29 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 253 | 800 | 0.518 | 0.089 | 812 | 130.26 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 254 | 600 | 0.581 | 0.097 | 813 | 127.22 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 255 | 400 | 0.893 | 0.15 | 814 | 129.95 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 256 | 300 | 1.237 | 0.211 | 815 | 133 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 257 | 250 | 1.704 | 0.287 | 816 | 132.04 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 257 | 250 | 1.724 | 0.285 | 818 | 129.6 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 258 | 200 | 2.39 | 0.394 | 819 | 129.77 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 259 | 175 | 2.724 | 0.456 | 820 | 131.94 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 260 | 150 | 3.333 | 0.579 | 822 | 137.11 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 261 | 125 | 5.001 | 0.839 | 823 | 132.79 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 261 | 125 | 5.022 | 0.834 | 825 | 131.45 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 262 | 100 | 7.055 | 1.168 | 826 | 131.23 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 263 | 75 | 7.14 | 1.204 | 1331 | 133.65 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 264 | 50 | 7.149 | 1.16 | 828 | 128.67 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 265 | 25 | 7.162 | 1.218 | 829 | 134.78 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 266 | 10 | 7.153 | 1.205 | 329 | 133.52 | 0.002 | 0.7087
2013-01-0042.oxy | 42 | P26 | 267 | 5 | 7.158 | 1.208 | 1328 | 133.76 | 0.002 | 0.7087
2013-01-0054.oxy | 54 | pa 006 | 308 | 10 | 7.165 | 1.308 | 1015 | 144.56 | 0.002 | 0.7087
2013-01-0054.oxy | 54 | pa 006 | 308 | 10 | 7.149 | 1.317 | 2098 | 145.87 | 0.002 | 0.7087
2013-01-0054.oxy | 54 | pa 006 | 309 | 5 | 7.155 | 1.302 | 1218 | 144.11 | 0.002 | 0.7087
2013-01-0054.oxy | 54 | pa 006 | 309 | 5 | 7.165 | 1.214 | 1330 | 134.29 | 0.002 | 0.7087
2013-01-0054.oxy | 54 | pa 006 | 310 | 2 | 7.148 | 1.23 | 1313 | 136.36 | 0.002 | 0.7087
2013-01-0054.oxy | 54 | pa 006 | 310 | 2 | 7.151 | 1.207 | 1316 | 133.78 | 0.002 | 0.7087
2013-01-0056.oxy | 56 | pa 006 onar 2 | 311 | 5 | 7.194 | 1.295 | 1268 | 142.57 | 0.002 | 0.7087
2013-01-0056.oxy | 56 | pa 006 onar 2 | 311 | 5 | 7.161 | 1.204 | 1319 | 133.27 | 0.002 | 0.7087
2013-01-0056.oxy | 56 | pa 006 onar 2 | 312 | 2 | 7.155 | 1.2 | 1312 | 132.94 | 0.002 | 0.7087
2013-01-0056.oxy | 56 | pa 006 onar 2 | 312 | 2 | 7.152 | 1.214 | 1309 | 134.52 | 0.002 | 0.7087
2013-01-0062.oxy | 62 | P20 | 338 | 4020 | 3.014 | 0.496 | 800 | 129.77 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 339 | 3500 | 2.87 | 0.481 | 801 | 132.09 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 339 | 3500 | 2.857 | 0.479 | 802 | 132.15 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 340 | 3500 | 2.868 | 0.475 | 803 | 130.56 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 341 | 3000 | 2.537 | 0.427 | 804 | 132.49 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 342 | 2500 | 1.962 | 0.329 | 805 | 131.53 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 343 | 2000 | 1.282 | 0.216 | 806 | 131.11 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 344 | 1500 | 0.553 | 0.094 | 807 | 128.32 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 345 | 1250 | 0.346 | 0.061 | 808 | 129.27 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 346 | 1000 | 0.327 | 0.059 | 810 | 131.98 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 346 | 1000 | 0.347 | 0.062 | 811 | 131.29 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 347 | 800 | 0.496 | 0.086 | 812 | 130.26 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 348 | 600 | 0.658 | 0.11 | 813 | 127.22 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 349 | 400 | 1.263 | 0.211 | 814 | 129.95 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 350 | 300 | 1.809 | 0.307 | 815 | 133 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 351 | 250 | 2.437 | 0.409 | 816 | 132.04 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 352 | 200 | 3.154 | 0.518 | 818 | 129.6 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 353 | 175 | 3.561 | 0.585 | 819 | 129.77 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 354 | 150 | 4.328 | 0.722 | 820 | 131.94 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 355 | 125 | 5.753 | 0.996 | 822 | 137.11 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 355 | 125 | 5.745 | 0.963 | 823 | 132.79 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 356 | 100 | 6.87 | 1.139 | 825 | 131.45 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 357 | 75 | 7.076 | 1.171 | 826 | 131.23 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 358 | 50 | 7.066 | 1.191 | 1331 | 133.65 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 359 | 25 | 7.071 | 1.147 | 828 | 128.67 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 360 | 10 | 7.094 | 1.206 | 829 | 134.78 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 361 | 5 | 7.084 | 1.193 | 329 | 133.52 | 0.0027 | 0.7087
2013-01-0062.oxy | 62 | P20 | 361 | 5 | 7.078 | 1.194 | 1328 | 133.76 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 387 | 1320 | 0.541 | 0.093 | 800 | 129.77 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 388 | 1250 | 0.429 | 0.076 | 801 | 132.09 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 389 | 1250 | 0.441 | 0.078 | 802 | 132.15 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 389 | 1250 | 0.434 | 0.076 | 803 | 130.56 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 390 | 1000 | 0.253 | 0.047 | 804 | 132.49 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 391 | 800 | 0.207 | 0.039 | 805 | 131.53 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 392 | 600 | 0.329 | 0.059 | 806 | 131.11 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 393 | 400 | 1.025 | 0.17 | 807 | 128.32 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 394 | 300 | 2.022 | 0.333 | 808 | 129.27 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 395 | 250 | 2.42 | 0.406 | 810 | 131.98 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 396 | 200 | 3.088 | 0.514 | 811 | 131.29 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 397 | 175 | 3.339 | 0.551 | 812 | 130.26 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 398 | 150 | 3.702 | 0.596 | 813 | 127.22 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 399 | 125 | 3.783 | 0.622 | 814 | 129.95 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 400 | 100 | 5.011 | 0.842 | 815 | 133 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 401 | 75 | 6.695 | 1.115 | 816 | 132.04 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 401 | 75 | 6.688 | 1.093 | 818 | 129.6 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 402 | 50 | 6.734 | 1.102 | 819 | 129.77 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 403 | 25 | 6.881 | 1.145 | 820 | 131.94 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 404 | 10 | 6.96 | 1.204 | 822 | 137.11 | 0.0027 | 0.7087
2013-01-0075.oxy | 75 | P4 | 405 | 5 | 6.884 | 1.153 | 823 | 132.79 | 0.0027 | 0.7087
2013-01-0077.oxy | 77 | P1 | 431 | 30 | 3.654 | 0.608 | 825 | 131.45 | 0.0027 | 0.7087
2013-01-0077.oxy | 77 | P1 | 433 | 5 | 6.852 | 1.134 | 826 | 131.23 | 0.0027 | 0.7087