## Notes
Analysis: | Hugh Maclean, 21-FEB-13 to 26-FEB-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Marie Robert
Cruise Dates: | February 5, 2013 to February 19, 2013
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-02-21 10:06 | 24C | 0.9998 | 6.664e-08 | -5.0664e-06 | 0.99979
2013-04-03 |  | KS
Amended flag definitions and descriptions are being used from this point forward. See "Flags" tab for details.
All supplementary salinity samples, including loop samples, are included in the "QF 2013-01 SAL SUPPL" worksheet.
Data sorted by Event number. There were a few casts that were reverse therefore sample numbers are not chronological.
2013-05-06 |  | KS
Sample 245, Cast 42 - Sampling log indicated that a sample was collected but the sample did not exist. Marie remembered that the Niskin
was emptied due to high demand for water prior to being able to collect a salinity sample.
Samples 376 and 379, Cast 71 - from 1250 and 1000 db differ from the CTD by ~0.4 and 0.8. The local gradients are not particularly high.
The bottle values do not match CTD values at another depth, so do not look like a case of sampling from the wrong bottles. The CTD data are similar to those from
another cast at the same site. The pressures match the rosette sheet entries, so this is not a misfire. The bottle values are too low, so the only obvious cause is
that the bottles closed on the downcast, or late on the upcast or freshwater got in the samples. They could have been mislabelled but this seems unlikely because
the only missing sample would have higher salinity value. There were not notes to indicate if there was an analysis problem. These samples were flagged as a 5 and the values padded.
Sample 385, Cast 71 - at 10db differ by ~0.02 when compared to the CTD sensor. The top 20m were pretty well-mixed, so the local gradients are low and the CTD data were quiet
This samples was flagged as a 3.

## QF 2013-01 SAL FINAL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 02 days after collection. For details including a duplicate analysis, see document QF2013-01SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-01 | 7 | P2 | 32 | 31.0649
2013-01 | 8 | P3 | 34 | 31.6865
2013-01 | 9 | P5 | 36 | 32.3496
2013-01 | 10 | P6 | 38 | 32.3748
2013-01 | 11 | P7 | 40 | 32.4404
2013-01 | 13 | P8 | 41 | 34.592 | 6
2013-01 | 13 | P8 | 42 | 34.5173
2013-01 | 13 | P8 | 43 | 34.4559
2013-01 | 13 | P8 | 44 | 34.3752 | 6
2013-01 | 13 | P8 | 45 | 34.2787
2013-01 | 13 | P8 | 59 | 32.4216
2013-01 | 13 | P8 | 60 | 34.1654
2013-01 | 13 | P8 | 61 | 33.9258
2013-01 | 13 | P8 | 62 | 33.8959
2013-01 | 13 | P8 | 63 | 33.2733
2013-01 | 14 | P9 | 66 | 32.4506
2013-01 | 15 | P10 | 68 | 32.4948
2013-01 | 16 | P11 | 70 | 32.3423
2013-01 | 17 | P12 | 81 | 32.534
2013-01 | 17 | P12 | 78 | 34.0548
2013-01 | 17 | P12 | 75 | -99 | 1 | SAL: Bottle neck broken during analysis. Sample lost.
2013-01 | 17 | P12 | 72 | 34.5924
2013-01 | 19 | P12 | 86 | 34.3924
2013-01 | 22 | P12 | 96 | 34.649 | 6
2013-01 | 22 | P12 | 97 | 34.6298
2013-01 | 22 | P12 | 98 | 34.5911
2013-01 | 22 | P12 | 99 | 34.514
2013-01 | 22 | P12 | 100 | 34.4571
2013-01 | 22 | P12 | 101 | 34.388 | 6
2013-01 | 22 | P12 | 116 | 32.5504
2013-01 | 25 | P13 | 135 | 32.5716
2013-01 | 26 | P14 | 137 | 32.571
2013-01 | 27 | P15 | 138 | 34.2739
2013-01 | 27 | P15 | 139 | 32.7989
2013-01 | 27 | P15 | 140 | 32.5676
2013-01 | 27 | P15 | 141 | 32.5686
2013-01 | 27 | P15 | 143 | 32.5665
2013-01 | 30 | P16 | 163 | 34.6657
2013-01 | 30 | P16 | 164 | 34.6536 | 6
2013-01 | 30 | P16 | 165 | 34.6306
2013-01 | 30 | P16 | 166 | 34.5957 | 6
2013-01 | 30 | P16 | 167 | 34.5087
2013-01 | 30 | P16 | 168 | 34.4492
2013-01 | 30 | P16 | 169 | 34.3745 | 6
2013-01 | 30 | P16 | 184 | 32.5716
2013-01 | 32 | P16 | 188 | -99 | 9 | SAL: Log sheet shows that sample was to be drawn but no sample analyzed.
2013-01 | 33 | P16 | 192 | 33.8341
2013-01 | 34 | P18 | 203 | 32.5747
2013-01 | 34 | P18 | 204 | 34.0506
2013-01 | 34 | P18 | 205 | 33.8324
2013-01 | 34 | P18 | 206 | 33.6464
2013-01 | 34 | P18 | 207 | -99 | 1 | SAL: No conductivity reading. Ran out of water.
2013-01 | 36 | P19 | 209 | 32.576
2013-01 | 37 | P21 | 211 | 32.5591
2013-01 | 38 | P22 | 213 | 32.5602
2013-01 | 39 | P23 | 214 | 34.5861
2013-01 | 39 | P23 | 215 | 34.5876
2013-01 | 39 | P23 | 216 | 34.5874
2013-01 | 39 | P23 | 217 | 34.588
2013-01 | 39 | P23 | 218 | 34.5859
2013-01 | 39 | P23 | 219 | 34.5876
2013-01 | 39 | P23 | 220 | 34.5874
2013-01 | 39 | P23 | 221 | 34.5874
2013-01 | 39 | P23 | 222 | 34.5864
2013-01 | 39 | P23 | 223 | 34.588
2013-01 | 39 | P23 | 224 | 34.587
2013-01 | 39 | P23 | 225 | 34.5847
2013-01 | 39 | P23 | 226 | 34.5875
2013-01 | 39 | P23 | 227 | 34.5867
2013-01 | 39 | P23 | 228 | 34.587
2013-01 | 39 | P23 | 229 | 34.5869
2013-01 | 39 | P23 | 230 | 34.5838
2013-01 | 39 | P23 | 231 | 34.5809
2013-01 | 39 | P23 | 232 | 34.5871
2013-01 | 39 | P23 | 233 | 34.5885
2013-01 | 39 | P23 | 234 | 34.5856
2013-01 | 39 | P23 | 235 | 34.5872
2013-01 | 39 | P23 | 237 | 32.5714
2013-01 | 42 | P26 | 245 | -99 | 9 | SAL: Ran out of water in the Niskin due to many samples being collected.
2013-01 | 42 | P26 | 246 | 34.6717
2013-01 | 42 | P26 | 247 | 34.6571 | 6
2013-01 | 42 | P26 | 248 | 34.6306
2013-01 | 42 | P26 | 249 | 34.5881
2013-01 | 42 | P26 | 250 | 34.5113
2013-01 | 42 | P26 | 251 | 34.4581
2013-01 | 42 | P26 | 252 | 34.383 | 6
2013-01 | 42 | P26 | 253 | 34.3117
2013-01 | 42 | P26 | 254 | 34.217
2013-01 | 42 | P26 | 255 | 34.0349
2013-01 | 42 | P26 | 256 | 33.9075
2013-01 | 42 | P26 | 257 | 33.8371
2013-01 | 42 | P26 | 258 | 33.7568
2013-01 | 42 | P26 | 259 | 33.7188
2013-01 | 42 | P26 | 260 | 33.6339
2013-01 | 42 | P26 | 261 | 33.2945
2013-01 | 42 | P26 | 262 | 32.6614
2013-01 | 42 | P26 | 263 | 32.6331
2013-01 | 42 | P26 | 264 | 32.6328
2013-01 | 42 | P26 | 265 | 32.6324
2013-01 | 42 | P26 | 266 | 32.6333
2013-01 | 42 | P26 | 267 | 32.6322
2013-01 | 50 | P26 | 288 | 34.3982
2013-01 | 51 | P26 | 292 | 33.7591
2013-01 | 52 | P26 | 297 | 34.5866
2013-01 | 52 | P26 | 300 | 34.389
2013-01 | 52 | P26 | 303 | 34.136
2013-01 | 52 | P26 | 306 | 32.6313
2013-01 | 54 | PA 006 | 308 | 32.6221
2013-01 | 54 | PA 006 | 309 | 32.6218
2013-01 | 54 | PA 006 | 310 | 32.6207
2013-01 | 56 | PA 006 | 311 | 32.6201
2013-01 | 56 | PA 006 | 312 | 32.6191
2013-01 | 57 | P35 | 243 | 32.6309
2013-01 | 58 | P25 | 313 | 34.587
2013-01 | 58 | P25 | 314 | 33.9628
2013-01 | 58 | P25 | 315 | 33.7104
2013-01 | 58 | P25 | 316 | 32.594
2013-01 | 58 | P25 | 318 | 32.5936
2013-01 | 59 | P24 | 320 | 32.5469
2013-01 | 62 | P20 | 339 | 34.6695
2013-01 | 62 | P20 | 340 | 34.67
2013-01 | 62 | P20 | 341 | 34.6557 | 6
2013-01 | 62 | P20 | 342 | 34.6287
2013-01 | 62 | P20 | 343 | 34.5843
2013-01 | 62 | P20 | 344 | 34.4997
2013-01 | 62 | P20 | 345 | 34.443
2013-01 | 62 | P20 | 346 | 34.3773 | 6
2013-01 | 64 | P20 | 365 | 34.3702
2013-01 | 65 | P20 | 369 | 32.5739
2013-01 | 66 | P17 | 374 | 32.5667
2013-01 | 71 | P4 | 376 | -99 | 5 | SAL: Severe outlier in comparison to CTD salinity; no evidence of misfire or miss-sample
2013-01 | 71 | P4 | 379 | -99 | 5 | SAL: Severe outlier in comparison to CTD salinity; no evidence of misfire or miss-sample
2013-01 | 71 | P4 | 382 | 34.1295
2013-01 | 71 | P4 | 385 | 32.0668 | 3 | SAL: Outlier in comparison to CTD salinity.
2013-01 | 74 | P4 | 388 | 34.4688
2013-01 | 74 | P4 | 389 | 34.4685 | 6
2013-01 | 74 | P4 | 390 | 34.4009 | 6
2013-01 | 74 | P4 | 391 | 34.3315
2013-01 | 74 | P4 | 405 | 32.1053
2013-01 | 78 | P1 | 433 | -99 | 1 | SAL: No conductivity reading. Ran out of water.

## QF 2013-01 SAL SUPPL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 02 days after collection. For details including a duplicate analysis, see document QF2013-01SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-01 |  | JF1 | Loop | 30.7807
2013-01 |  | JF2 | Loop | 31.2367
2013-01 |  | JF3 | Loop | 30.5228
2013-01 |  | JF4 | Loop | 31.8589
2013-01 |  | P6 | Loop | 32.3762
2013-01 |  | P7 | Loop | 32.4423
2013-01 |  | P11 | Loop | 32.3397
2013-01 |  | P14 | Loop | 32.5717
2013-01 |  | P15 | Loop | 32.5702
2013-01 |  | P18 | Loop | 32.575
2013-01 |  | P21 | Loop | 32.5591
2013-01 |  | P22 | Loop | 32.5608
2013-01 |  | P25 | Loop | 32.5958
2013-01 |  |  | Loop 68 | 32.5745
2013-01 |  |  | Loop 67 | 32.5673
2013-01 |  |  | Loop 69 | 32.4713
2013-01 |  |  | Loop 70 | 32.4432
2013-01 |  |  | Loop 76 | 30.4094
2013-01 |  |  | Loop 77 | 30.3938
Darren and Kyle
2013-01 |  | Calibration Tank |  | 34.606
Uvic Samples
2013-01 |  | Tank Jeff Bosma@uvic.ca |  | 29.4061
2013-01 |  | Tank Jeff Bosma@uvic.ca |  | 29.4061
Trace Metals
2013-01 | 20 | P12 | 90 | 33.8838

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Mean Difference for salinity for the range 34.3744 to 34.6573 psu was 0.0004, k = 26 with 0 outlier(s) removed
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns H, I and J).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [14 empty] | Table 2. Critical values for Chauvenet statistic
Event | Station | Sample_ Number | SAL1 | SAL2 | SALAvg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | SAL1 Comment | SAL2 Comment | n | Chauvenet
13 | P8 | 41 | #VALUE! | 34.5919 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 3 | 1.37
13 | P8 | 44 | #VALUE! | 34.3752 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 4 | 1.53
22 | P12 | 96 | #VALUE! | 34.6487 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 5 | 1.64
22 | P12 | 101 | #VALUE! | 34.3881 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 6 | 1.73
30 | P16 | 164 | #VALUE! | 34.6534 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 7 | 1.8
30 | P16 | 166 | #VALUE! | 34.5953 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 8 | 1.87
30 | P16 | 169 | #VALUE! | 34.3744 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 9 | 1.91
42 | P26 | 247 | #VALUE! | 34.6568 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 10 | 1.97
42 | P26 | 252 | #VALUE! | 34.3828 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 20 | 2.24
62 | P20 | 341 | #VALUE! | 34.6557 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 30 | 2.39
62 | P20 | 346 | #VALUE! | 34.3775 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 50 | 2.57
74 | P4 | 389 | #VALUE! | 34.4687 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 80 | 2.74
74 | P4 | 390 | #VALUE! | 34.4004 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | 0 |  |  |  | 100 | 2.81
[15 empty] | 150 | 2.93
[15 empty] | 200 | 3.02
[9 empty] | Sum of Squares | #VALUE!
[9 empty] | Count (k) |  | 0
[9 empty] | σ | #VALUE!
[9 empty] | dmax/σ for n (Table 2) | 2.39
[9 empty] | Thus dmax = 2.57 x σ | #VALUE!
[9 empty] | Mean Diff | #VALUE!
[9 empty] | MIN | #VALUE!
[9 empty] | MAX | #VALUE!
0 Outlier(s) Removed
[9 empty] | Mean Diff = | #VALUE!

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling |  | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found here: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-01 lineP#7 | 7 | P2 | 32 | 2013-02-21 10:33 | 24C | 0.89911 | 1.3888e-06 | -5.0068e-06 | 0.89911 | 31.0649 | 5.3301e-05 | #VALUE!
2013-01 lineP#8 | 8 | P3 | 34 | 2013-02-21 10:35 | 24C | 0.91517 | 4.3713e-06 | -5.0068e-06 | 0.91517 | 31.6865 | 0.00016873 | #VALUE!
2013-01 lineP#9 | 9 | P5 | 36 | 2013-02-21 10:37 | 24C | 0.93225 | 5.2177e-06 | -5.0068e-06 | 0.93225 | 32.3496 | 0.00020168 | #VALUE!
2013-01 lineP#10 | 10 | P6 | 38 | 2013-02-21 10:40 | 24C | 0.9329 | 2.7425e-06 | -5.0068e-06 | 0.9329 | 32.3748 | 0.00010865 | #VALUE!
2013-01 lineP#13 | 11 | P7 | 40 | 2013-02-21 14:26 | 24C | 0.93459 | 8.261e-06 | -5.0068e-06 | 0.93458 | 32.4404 | 0.00032242 | #VALUE!
2013-01 lineP#14 | 13 | P8 | 41 | 2013-02-21 14:28 | 24C | 0.98963 | 3.6104e-06 | -4.9472e-06 | 0.98963 | 34.5921 | 0.00014356 | #VALUE!
2013-01 lineP#15 | 13 | P8 | 41 | 2013-02-21 14:30 | 24C | 0.98963 | 3.4657e-06 | -4.8876e-06 | 0.98962 | 34.5919 | 0.0001359 | #VALUE!
2013-01 lineP#16 | 13 | P8 | 42 | 2013-02-21 14:32 | 24C | 0.98773 | 4.4252e-06 | -4.8876e-06 | 0.98772 | 34.5173 | 0.00017613 | #VALUE!
2013-01 lineP#17 | 13 | P8 | 43 | 2013-02-21 14:34 | 24C | 0.98616 | 5.884e-06 | -4.9472e-06 | 0.98616 | 34.4559 | 0.00023274 | #VALUE!
2013-01 lineP#18 | 13 | P8 | 44 | 2013-02-21 14:36 | 24C | 0.98411 | 2.8544e-06 | -4.8876e-06 | 0.9841 | 34.3752 | 0.00011234 | #VALUE!
2013-01 lineP#19 | 13 | P8 | 44 | 2013-02-21 14:39 | 24C | 0.98411 | 6.6064e-06 | -4.9472e-06 | 0.9841 | 34.3752 | 0.00025995 | #VALUE!
2013-01 lineP#20 | 13 | P8 | 45 | 2013-02-21 14:41 | 24C | 0.98165 | 4.1139e-06 | -5.0068e-06 | 0.98164 | 34.2787 | 0.00015985 | #VALUE!
2013-01 lineP#21 | 13 | P8 | 59 | 2013-02-21 14:43 | 24C | 0.9341 | 6.029e-06 | -4.8876e-06 | 0.9341 | 32.4216 | 0.00023349 | #VALUE!
2013-01 lineP#22 | 13 | P8 | 60 | 2013-02-21 14:45 | 24C | 0.97876 | 8.6094e-06 | -4.8876e-06 | 0.97876 | 34.1654 | 0.00033775 | #VALUE!
2013-01 lineP#23 | 13 | P8 | 61 | 2013-02-21 14:47 | 24C | 0.97264 | 2.7425e-06 | -4.8876e-06 | 0.97264 | 33.9258 | 0.00010656 | #VALUE!
2013-01 lineP#24 | 13 | P8 | 62 | 2013-02-21 14:49 | 24C | 0.97188 | 3.3455e-06 | -4.9472e-06 | 0.97188 | 33.8959 | 0.00012966 | #VALUE!
2013-01 lineP#25 | 13 | P8 | 63 | 2013-02-21 14:51 | 24C | 0.95596 | 3.4553e-06 | -5.0068e-06 | 0.95596 | 33.2733 | 0.00013207 | #VALUE!
2013-01 lineP#26 | 14 | P9 | 66 | 2013-02-21 14:53 | 24C | 0.93485 | 4.2739e-06 | -5.0068e-06 | 0.93485 | 32.4506 | 0.00016471 | #VALUE!
2013-01 lineP#28 | 15 | P10 | 68 | 2013-02-22 09:21 | 24C | 0.93599 | 2.2391e-06 | -4.9472e-06 | 0.93598 | 32.4948 | 8.9591e-05 | #VALUE!
2013-01 lineP#30 | 16 | P11 | 70 | 2013-02-22 09:25 | 24C | 0.93207 | 3.5299e-06 | -5.0068e-06 | 0.93206 | 32.3423 | 0.00013689 | #VALUE!
2013-01 lineP#31 | 17 | P12 | 81 | 2013-02-22 09:27 | 24C | 0.937 | 3.1148e-06 | -5.0664e-06 | 0.93699 | 32.534 | 0.00012514 | #VALUE!
2013-01 lineP#32 | 17 | P12 | 78 | 2013-02-22 09:29 | 24C | 0.97594 | 3.6104e-06 | -5.0068e-06 | 0.97593 | 34.0548 | 0.00014113 | #VALUE!
| 17 | P12 | 75 | [6 empty] | -99 |  | #VALUE! | 1 | SAL: Bottle neck broken during analysis. Sample lost.
2013-01 lineP#33 | 17 | P12 | 72 | 2013-02-22 09:33 | 24C | 0.98964 | 6.2084e-06 | -5.0068e-06 | 0.98963 | 34.5924 | 0.00024455 | #VALUE!
2013-01 lineP#44 | 19 | P12 | 86 | 2013-02-22 10:15 | 24C | 0.98455 | 4.1865e-06 | -4.8876e-06 | 0.98454 | 34.3924 | 0.00016507 | #VALUE!
2013-01 lineP#34 | 22 | P12 | 96 | 2013-02-22 09:35 | 24C | 0.99109 | 4.4783e-06 | -5.0664e-06 | 0.99108 | 34.6493 | 0.00017379 | #VALUE!
2013-01 lineP#35 | 22 | P12 | 96 | 2013-02-22 09:55 | 24C | 0.99107 | 5.8773e-06 | -4.9472e-06 | 0.99107 | 34.6487 | 0.00023158 | #VALUE!
2013-01 lineP#36 | 22 | P12 | 97 | 2013-02-22 09:57 | 24C | 0.99059 | 5.231e-06 | -5.0068e-06 | 0.99059 | 34.6298 | 0.00020697 | #VALUE!
2013-01 lineP#37 | 22 | P12 | 98 | 2013-02-22 09:59 | 24C | 0.98961 | 6.6353e-06 | -5.0068e-06 | 0.9896 | 34.5911 | 0.00026267 | #VALUE!
2013-01 lineP#38 | 22 | P12 | 99 | 2013-02-22 10:01 | 24C | 0.98765 | 8.5675e-06 | -5.0068e-06 | 0.98764 | 34.514 | 0.00033873 | #VALUE!
2013-01 lineP#39 | 22 | P12 | 100 | 2013-02-22 10:04 | 24C | 0.98619 | 3.3338e-06 | -5.0068e-06 | 0.98619 | 34.4571 | 0.00013404 | #VALUE!
2013-01 lineP#40 | 22 | P12 | 101 | 2013-02-22 10:06 | 24C | 0.98444 | 7.7076e-06 | -4.8876e-06 | 0.98443 | 34.388 | 0.00030348 | #VALUE!
2013-01 lineP#41 | 22 | P12 | 101 | 2013-02-22 10:08 | 24C | 0.98444 | 4.6142e-06 | -5.0664e-06 | 0.98443 | 34.3881 | 0.00018116 | #VALUE!
2013-01 lineP#42 | 22 | P12 | 116 | 2013-02-22 10:10 | 24C | 0.93742 | 3.2149e-06 | -5.0664e-06 | 0.93741 | 32.5504 | 0.00012709 | #VALUE!
2013-01 lineP#45 | 25 | P13 | 135 | 2013-02-22 10:17 | 24C | 0.93796 | 8.638e-06 | -5.0068e-06 | 0.93796 | 32.5716 | 0.00033479 | #VALUE!
2013-01 lineP#47 | 26 | P14 | 137 | 2013-02-22 10:21 | 24C | 0.93795 | 6.1184e-06 | -4.8876e-06 | 0.93794 | 32.571 | 0.00023805 | #VALUE!
2013-01 lineP#49 | 27 | P15 | 138 | 2013-02-22 10:25 | 24C | 0.98153 | 3.3587e-06 | -4.9472e-06 | 0.98152 | 34.2739 | 0.00013051 | #VALUE!
2013-01 lineP#50 | 27 | P15 | 139 | 2013-02-22 10:28 | 24C | 0.9438 | 7.9888e-06 | -5.0068e-06 | 0.94379 | 32.7989 | 0.00031083 | #VALUE!
2013-01 lineP#51 | 27 | P15 | 140 | 2013-02-22 10:30 | 24C | 0.93786 | 5.2973e-06 | -4.8876e-06 | 0.93785 | 32.5676 | 0.00020869 | #VALUE!
2013-01 lineP#52 | 27 | P15 | 141 | 2013-02-22 10:32 | 24C | 0.93788 | 3.8647e-06 | -5.0068e-06 | 0.93788 | 32.5686 | 0.00014997 | #VALUE!
2013-01 lineP#53 | 27 | P15 | 143 | 2013-02-22 10:34 | 24C | 0.93783 | 6.0087e-06 | -5.0068e-06 | 0.93782 | 32.5665 | 0.00023366 | #VALUE!
2013-01 lineP#54 | 30 | P16 | 163 | 2013-02-22 10:36 | 24C | 0.99151 | 5.2225e-06 | -5.0068e-06 | 0.9915 | 34.6657 | 0.00020739 | #VALUE!
2013-01 lineP#55 | 30 | P16 | 164 | 2013-02-22 10:38 | 24C | 0.9912 | 5.5831e-06 | -5.0068e-06 | 0.9912 | 34.6537 | 0.00021688 | #VALUE!
2013-01 lineP#56 | 30 | P16 | 164 | 2013-02-22 10:40 | 24C | 0.99119 | 5.4427e-06 | -5.0068e-06 | 0.99119 | 34.6534 | 0.00021114 | #VALUE!
2013-01 lineP#57 | 30 | P16 | 165 | 2013-02-22 10:43 | 24C | 0.99061 | 6.0361e-06 | -4.9472e-06 | 0.99061 | 34.6306 | 0.00023575 | #VALUE!
2013-01 lineP#58 | 30 | P16 | 166 | 2013-02-22 10:45 | 24C | 0.98974 | 3.5403e-06 | -5.0068e-06 | 0.98973 | 34.5961 | 0.00014171 | #VALUE!
2013-01 lineP#59 | 30 | P16 | 166 | 2013-02-22 10:47 | 24C | 0.98971 | 7.8369e-06 | -4.9472e-06 | 0.98971 | 34.5953 | 0.00030537 | #VALUE!
2013-01 lineP#60 | 30 | P16 | 167 | 2013-02-22 10:49 | 24C | 0.98751 | 4.9037e-06 | -5.0664e-06 | 0.9875 | 34.5087 | 0.00019225 | #VALUE!
2013-01 lineP#61 | 30 | P16 | 168 | 2013-02-22 10:51 | 24C | 0.98599 | 6.7779e-06 | -5.126e-06 | 0.98599 | 34.4492 | 0.0002657 | #VALUE!
2013-01 lineP#62 | 30 | P16 | 169 | 2013-02-22 10:54 | 24C | 0.98409 | 8.1115e-06 | -4.9472e-06 | 0.98409 | 34.3746 | 0.00032034 | #VALUE!
2013-01 lineP#63 | 30 | P16 | 169 | 2013-02-22 10:56 | 24C | 0.98409 | 7.3512e-06 | -5.126e-06 | 0.98408 | 34.3744 | 0.00029017 | #VALUE!
2013-01 lineP#64 | 30 | P16 | 184 | 2013-02-22 10:58 | 24C | 0.93796 | 1.1529e-06 | -5.0068e-06 | 0.93796 | 32.5716 | 4.265e-05 | #VALUE!
| 32 | P16 | 188 | [6 empty] | -99 |  | #VALUE! | 9 | SAL: Log sheet shows that sample was to be drawn but no sample analyzed.
2013-01 lineP#65 | 33 | P16 | 192 | 2013-02-22 11:00 | 24C | 0.9703 | 3.3474e-06 | -4.9472e-06 | 0.9703 | 33.8341 | 0.0001316 | #VALUE!
2013-01 lineP#67 | 34 | P18 | 203 | 2013-02-22 11:04 | 24C | 0.93804 | 1.7705e-06 | -5.0068e-06 | 0.93804 | 32.5747 | 6.7435e-05 | #VALUE!
2013-01 lineP#68 | 34 | P18 | 204 | 2013-02-22 11:06 | 24C | 0.97583 | 5.2896e-06 | -5.0068e-06 | 0.97583 | 34.0506 | 0.00020808 | #VALUE!
2013-01 lineP#69 | 34 | P18 | 205 | 2013-02-22 11:11 | 24C | 0.97026 | 4.9093e-06 | -5.0068e-06 | 0.97026 | 33.8324 | 0.00019197 | #VALUE!
2013-01 lineP#70 | 34 | P18 | 206 | 2013-02-22 11:13 | 24C | 0.96551 | 4.1863e-06 | -5.0664e-06 | 0.9655 | 33.6464 | 0.00016592 | #VALUE!
| 34 | P18 | 207 | [6 empty] | -99 |  | #VALUE! | 1 | SAL: No conductivity reading. Ran out of water.
2013-01 lineP#71 | 36 | P19 | 209 | 2013-02-22 11:20 | 24C | 0.93807 | 4.7426e-06 | -5.0068e-06 | 0.93807 | 32.576 | 0.00018485 | #VALUE!
2013-01 lineP#72 | 37 | P21 | 211 | 2013-02-22 11:22 | 24C | 0.93764 | 2.4909e-06 | -5.0068e-06 | 0.93764 | 32.5591 | 0.00010061 | #VALUE!
2013-01 lineP#76 | 38 | P22 | 213 | 2013-02-22 13:48 | 24C | 0.93767 | 3.6105e-06 | -5.0664e-06 | 0.93766 | 32.5602 | 0.00014155 | #VALUE!
2013-01 lineP#100 | 39 | P23 | 214 | 2013-02-25 10:49 | 24C | 0.98948 | 1.1536e-06 | -5.0068e-06 | 0.98948 | 34.5861 | 4.4374e-05 | #VALUE!
2013-01 lineP#101 | 39 | P23 | 215 | 2013-02-25 10:51 | 24C | 0.98952 | 3.264e-06 | -5.0068e-06 | 0.98951 | 34.5876 | 0.00012771 | #VALUE!
2013-01 lineP#102 | 39 | P23 | 216 | 2013-02-25 10:53 | 24C | 0.98951 | 5.2331e-06 | -5.0664e-06 | 0.98951 | 34.5874 | 0.00020739 | #VALUE!
2013-01 lineP#103 | 39 | P23 | 217 | 2013-02-25 10:56 | 24C | 0.98953 | 3.5943e-06 | -5.0068e-06 | 0.98952 | 34.588 | 0.00013903 | #VALUE!
2013-01 lineP#104 | 39 | P23 | 218 | 2013-02-25 10:58 | 24C | 0.98947 | 3.2148e-06 | -5.0068e-06 | 0.98947 | 34.5859 | 0.00012554 | #VALUE!
2013-01 lineP#105 | 39 | P23 | 219 | 2013-02-25 11:00 | 24C | 0.98952 | 3.2142e-06 | -4.9472e-06 | 0.98951 | 34.5876 | 0.00012806 | #VALUE!
2013-01 lineP#106 | 39 | P23 | 220 | 2013-02-25 11:02 | 24C | 0.98951 | 6.7985e-06 | -5.0664e-06 | 0.98951 | 34.5874 | 0.00026956 | #VALUE!
2013-01 lineP#107 | 39 | P23 | 221 | 2013-02-25 11:04 | 24C | 0.98951 | 2.5036e-06 | -5.0068e-06 | 0.98951 | 34.5874 | 9.7279e-05 | #VALUE!
2013-01 lineP#108 | 39 | P23 | 222 | 2013-02-25 11:06 | 24C | 0.98949 | 5.1379e-06 | -5.0068e-06 | 0.98948 | 34.5864 | 0.00020165 | #VALUE!
2013-01 lineP#109 | 39 | P23 | 223 | 2013-02-25 11:09 | 24C | 0.98953 | 4.5832e-06 | -4.8876e-06 | 0.98952 | 34.588 | 0.00017892 | #VALUE!
2013-01 lineP#110 | 39 | P23 | 224 | 2013-02-25 11:17 | 24C | 0.9895 | 7.7995e-06 | -5.0068e-06 | 0.9895 | 34.587 | 0.00030664 | #VALUE!
2013-01 lineP#111 | 39 | P23 | 225 | 2013-02-25 11:20 | 24C | 0.98944 | 4.081e-06 | -4.9472e-06 | 0.98944 | 34.5847 | 0.00016506 | #VALUE!
2013-01 lineP#112 | 39 | P23 | 226 | 2013-02-25 11:22 | 24C | 0.98951 | 6.651e-06 | -5.0068e-06 | 0.98951 | 34.5875 | 0.00026195 | #VALUE!
2013-01 lineP#113 | 39 | P23 | 227 | 2013-02-25 11:24 | 24C | 0.98949 | 9.8739e-06 | -5.0068e-06 | 0.98949 | 34.5867 | 0.00038851 | #VALUE!
2013-01 lineP#114 | 39 | P23 | 228 | 2013-02-25 11:26 | 24C | 0.9895 | 5.8841e-06 | -4.8876e-06 | 0.9895 | 34.587 | 0.0002312 | #VALUE!
2013-01 lineP#115 | 39 | P23 | 229 | 2013-02-25 11:28 | 24C | 0.9895 | 7.1688e-06 | -4.9472e-06 | 0.9895 | 34.5869 | 0.00028303 | #VALUE!
2013-01 lineP#116 | 39 | P23 | 230 | 2013-02-25 11:30 | 24C | 0.98942 | 3.1415e-06 | -5.0068e-06 | 0.98942 | 34.5838 | 0.00012313 | #VALUE!
2013-01 lineP#117 | 39 | P23 | 231 | 2013-02-25 11:32 | 24C | 0.98935 | 2.7426e-06 | -5.0068e-06 | 0.98934 | 34.5809 | 0.00011074 | #VALUE!
2013-01 lineP#118 | 39 | P23 | 232 | 2013-02-25 11:34 | 24C | 0.98951 | 1.4046e-06 | -4.9472e-06 | 0.9895 | 34.5871 | 5.2235e-05 | #VALUE!
2013-01 lineP#119 | 39 | P23 | 233 | 2013-02-25 11:36 | 24C | 0.98954 | 4.9165e-06 | -4.9472e-06 | 0.98953 | 34.5885 | 0.00019465 | #VALUE!
2013-01 lineP#120 | 39 | P23 | 234 | 2013-02-25 11:38 | 24C | 0.98947 | 9.135e-06 | -5.0068e-06 | 0.98946 | 34.5856 | 0.00035795 | #VALUE!
2013-01 lineP#121 | 39 | P23 | 235 | 2013-02-25 11:40 | 24C | 0.98951 | 5.8031e-06 | -5.0068e-06 | 0.9895 | 34.5872 | 0.00022821 | #VALUE!
2013-01 lineP#122 | 39 | P23 | 237 | 2013-02-25 11:42 | 24C | 0.93796 | 8.4424e-06 | -5.0068e-06 | 0.93795 | 32.5714 | 0.00032665 | #VALUE!
| 42 | P26 | 245 |  |  | -99 | -99 | -99 | -99 | -99 | -99 | -99 | 9 | SAL: Ran out of water in the Niskin due to many samples being collected.
2013-01 lineP#77 | 42 | P26 | 246 | 2013-02-22 13:50 | 24C | 0.99166 | 3.1414e-06 | -4.9472e-06 | 0.99165 | 34.6717 | 0.00012518 | #VALUE!
2013-01 lineP#78 | 42 | P26 | 247 | 2013-02-22 13:52 | 24C | 0.99129 | 5.8738e-06 | -4.9472e-06 | 0.99129 | 34.6573 | 0.00022957 | #VALUE!
2013-01 lineP#79 | 42 | P26 | 247 | 2013-02-22 13:54 | 24C | 0.99128 | 4.2257e-06 | -5.0068e-06 | 0.99127 | 34.6568 | 0.00016797 | #VALUE!
2013-01 lineP#80 | 42 | P26 | 248 | 2013-02-22 13:57 | 24C | 0.99061 | 6.4308e-06 | -5.0068e-06 | 0.99061 | 34.6306 | 0.00025095 | #VALUE!
2013-01 lineP#81 | 42 | P26 | 249 | 2013-02-22 13:59 | 24C | 0.98953 | 7.7338e-06 | -5.0068e-06 | 0.98952 | 34.5881 | 0.00030307 | #VALUE!
2013-01 lineP#82 | 42 | P26 | 250 | 2013-02-22 14:01 | 24C | 0.98758 | 2.7425e-06 | -5.0068e-06 | 0.98757 | 34.5113 | 0.00010869 | #VALUE!
2013-01 lineP#83 | 42 | P26 | 251 | 2013-02-22 14:03 | 24C | 0.98622 | 1.1203e-06 | -4.9472e-06 | 0.98621 | 34.4581 | 4.5217e-05 | #VALUE!
2013-01 lineP#84 | 42 | P26 | 252 | 2013-02-22 14:05 | 24C | 0.98431 | 2.226e-06 | -5.0068e-06 | 0.98431 | 34.3832 | 8.7013e-05 | #VALUE!
2013-01 lineP#85 | 42 | P26 | 252 | 2013-02-22 14:07 | 24C | 0.9843 | 7.5347e-06 | -4.9472e-06 | 0.9843 | 34.3828 | 0.00029648 | #VALUE!
2013-01 lineP#86 | 42 | P26 | 253 | 2013-02-22 14:09 | 24C | 0.98249 | 2.4908e-06 | -5.0068e-06 | 0.98248 | 34.3117 | 9.9734e-05 | #VALUE!
2013-01 lineP#87 | 42 | P26 | 254 | 2013-02-22 14:11 | 24C | 0.98008 | 6.1272e-06 | -4.8876e-06 | 0.98007 | 34.217 | 0.00024345 | #VALUE!
2013-01 lineP#88 | 42 | P26 | 255 | 2013-02-22 14:13 | 24C | 0.97543 | 7.2207e-06 | -5.0068e-06 | 0.97543 | 34.0349 | 0.00028189 | #VALUE!
2013-01 lineP#89 | 42 | P26 | 256 | 2013-02-22 14:15 | 24C | 0.97218 | 5.1291e-06 | -4.8876e-06 | 0.97217 | 33.9075 | 0.00020286 | #VALUE!
2013-01 lineP#90 | 42 | P26 | 257 | 2013-02-22 14:17 | 24C | 0.97038 | 5.5671e-06 | -5.0068e-06 | 0.97038 | 33.8371 | 0.00021671 | #VALUE!
2013-01 lineP#91 | 42 | P26 | 258 | 2013-02-22 14:19 | 24C | 0.96833 | 4.1014e-06 | -5.0068e-06 | 0.96832 | 33.7568 | 0.00016298 | #VALUE!
2013-01 lineP#92 | 42 | P26 | 259 | 2013-02-22 14:21 | 24C | 0.96736 | 4.625e-06 | -4.9472e-06 | 0.96735 | 33.7188 | 0.00018429 | #VALUE!
2013-01 lineP#93 | 42 | P26 | 260 | 2013-02-22 14:24 | 24C | 0.96519 | 2.4908e-06 | -4.9472e-06 | 0.96518 | 33.6339 | 9.6976e-05 | #VALUE!
2013-01 lineP#94 | 42 | P26 | 261 | 2013-02-22 14:26 | 24C | 0.9565 | 1.1532e-06 | -4.8876e-06 | 0.9565 | 33.2944 | 4.2703e-05 | #VALUE!
2013-01 lineP#95 | 42 | P26 | 262 | 2013-02-22 14:28 | 24C | 0.94027 | 3.4658e-06 | -5.0068e-06 | 0.94026 | 32.6614 | 0.00013797 | #VALUE!
2013-01 lineP#96 | 42 | P26 | 263 | 2013-02-22 14:30 | 24C | 0.93954 | 2.4885e-06 | -5.0068e-06 | 0.93954 | 32.6331 | 9.7298e-05 | #VALUE!
2013-01 lineP#123 | 42 | P26 | 264 | 2013-02-25 13:36 | 24C | 0.93953 | 6.1062e-06 | -4.8876e-06 | 0.93953 | 32.6328 | 0.0002378 | #VALUE!
2013-01 lineP#124 | 42 | P26 | 265 | 2013-02-25 13:38 | 24C | 0.93952 | 7.2207e-06 | -5.0068e-06 | 0.93952 | 32.6324 | 0.00028006 | #VALUE!
2013-01 lineP#125 | 42 | P26 | 266 | 2013-02-25 13:40 | 24C | 0.93955 | 9.0163e-06 | -5.0068e-06 | 0.93954 | 32.6333 | 0.00035307 | #VALUE!
2013-01 lineP#127 | 42 | P26 | 267 | 2013-02-25 13:45 | 24C | 0.93952 | 2.7425e-06 | -5.0068e-06 | 0.93951 | 32.6322 | 0.00010656 | #VALUE!
2013-01 lineP#133 | 50 | P26 | 288 | 2013-02-25 13:57 | 24C | 0.98469 | 3.6232e-06 | -5.0068e-06 | 0.98469 | 34.3982 | 0.00013993 | #VALUE!
2013-01 lineP#132 | 51 | P26 | 292 | 2013-02-25 13:55 | 24C | 0.96839 | 4.4374e-06 | -4.9472e-06 | 0.96838 | 33.7591 | 0.00017608 | #VALUE!
2013-01 lineP#130 | 52 | P26 | 297 | 2013-02-25 13:51 | 24C | 0.98949 | 6.2369e-06 | -5.0068e-06 | 0.98949 | 34.5866 | 0.00024578 | #VALUE!
2013-01 lineP#128 | 52 | P26 | 300 | 2013-02-25 13:47 | 24C | 0.98446 | 5.1679e-06 | -5.0068e-06 | 0.98445 | 34.389 | 0.00020096 | #VALUE!
2013-01 lineP#129 | 52 | P26 | 303 | 2013-02-25 13:49 | 24C | 0.97801 | 4.4783e-06 | -5.0664e-06 | 0.978 | 34.136 | 0.00017659 | #VALUE!
2013-01 lineP#131 | 52 | P26 | 306 | 2013-02-25 13:53 | 24C | 0.9395 | 5.7874e-06 | -4.9472e-06 | 0.93949 | 32.6313 | 0.00022617 | #VALUE!
2013-01 lineP#134 | 54 | PA 006 | 308 | 2013-02-25 13:59 | 24C | 0.93926 | 6.7174e-06 | -5.0068e-06 | 0.93925 | 32.6221 | 0.00025875 | #VALUE!
2013-01 lineP#135 | 54 | PA 006 | 309 | 2013-02-25 14:01 | 24C | 0.93925 | 1.191e-05 | -5.0068e-06 | 0.93925 | 32.6218 | 0.00046182 | #VALUE!
2013-01 lineP#136 | 54 | PA 006 | 310 | 2013-02-25 14:03 | 24C | 0.93922 | 1.1196e-06 | -4.8876e-06 | 0.93922 | 32.6207 | 4.4374e-05 | #VALUE!
2013-01 lineP#137 | 56 | PA 006 | 311 | 2013-02-25 14:05 | 24C | 0.93921 | 1.1196e-06 | -5.0068e-06 | 0.9392 | 32.6201 | 4.2703e-05 | #VALUE!
2013-01 lineP#138 | 56 | PA 006 | 312 | 2013-02-25 14:07 | 24C | 0.93918 | 8.8555e-06 | -5.126e-06 | 0.93918 | 32.6191 | 0.0003408 | #VALUE!
2013-01 lineP#139 | 57 | P35 | 243 | 2013-02-25 14:09 | 24C | 0.93948 | 5.1521e-06 | -5.0068e-06 | 0.93948 | 32.6309 | 0.00020085 | #VALUE!
2013-01 lineP#141 | 58 | P25 | 313 | 2013-02-25 14:13 | 24C | 0.9895 | 6.0548e-06 | -5.0068e-06 | 0.9895 | 34.587 | 0.0002381 | #VALUE!
2013-01 lineP#142 | 58 | P25 | 314 | 2013-02-25 14:15 | 24C | 0.97359 | 9.5738e-06 | -4.8876e-06 | 0.97359 | 33.9628 | 0.00037477 | #VALUE!
2013-01 lineP#143 | 58 | P25 | 315 | 2013-02-25 14:17 | 24C | 0.96714 | 1.1063e-06 | -5.0068e-06 | 0.96714 | 33.7104 | 4.4364e-05 | #VALUE!
2013-01 lineP#144 | 58 | P25 | 316 | 2013-02-25 14:19 | 24C | 0.93854 | 3.854e-06 | -5.0068e-06 | 0.93853 | 32.594 | 0.00015042 | #VALUE!
2013-01 lineP#145 | 58 | P25 | 318 | 2013-02-25 14:21 | 24C | 0.93853 | 5.7549e-06 | -4.8876e-06 | 0.93852 | 32.5936 | 0.00022499 | #VALUE!
2013-01 lineP#146 | 59 | P24 | 320 | 2013-02-25 14:23 | 24C | 0.93733 | 1.1536e-06 | -5.126e-06 | 0.93732 | 32.5469 | 4.1831e-05 | #VALUE!
2013-01 lineP#148 | 62 | P20 | 339 | 2013-02-25 14:28 | 24C | 0.9916 | 4.2256e-06 | -4.9472e-06 | 0.9916 | 34.6695 | 0.00016491 | #VALUE!
2013-01 lineP#149 | 62 | P20 | 340 | 2013-02-25 14:30 | 24C | 0.99161 | 4.189e-06 | -5.0068e-06 | 0.99161 | 34.67 | 0.00016372 | #VALUE!
2013-01 lineP#150 | 62 | P20 | 341 | 2013-02-25 14:32 | 24C | 0.99125 | 1.0814e-05 | -5.0068e-06 | 0.99124 | 34.6557 | 0.0004237 | #VALUE!
2013-01 lineP#151 | 62 | P20 | 341 | 2013-02-25 14:34 | 24C | 0.99125 | 2.8897e-06 | -5.0068e-06 | 0.99125 | 34.6557 | 0.00011145 | #VALUE!
2013-01 lineP#152 | 62 | P20 | 342 | 2013-02-25 14:36 | 24C | 0.99056 | 4.3836e-06 | -5.0664e-06 | 0.99056 | 34.6287 | 0.00017381 | #VALUE!
2013-01 lineP#153 | 62 | P20 | 343 | 2013-02-25 14:38 | 24C | 0.98943 | 5.923e-06 | -5.0664e-06 | 0.98943 | 34.5843 | 0.00023166 | #VALUE!
2013-01 lineP#154 | 62 | P20 | 344 | 2013-02-25 14:40 | 24C | 0.98728 | 5.3586e-06 | -5.0068e-06 | 0.98728 | 34.4997 | 0.00021109 | #VALUE!
2013-01 lineP#155 | 62 | P20 | 345 | 2013-02-25 14:42 | 24C | 0.98584 | 6.8975e-06 | -5.0068e-06 | 0.98583 | 34.443 | 0.00027028 | #VALUE!
2013-01 lineP#156 | 62 | P20 | 346 | 2013-02-26 09:13 | 24C | 0.98416 | 3.1418e-06 | -5.0068e-06 | 0.98415 | 34.3772 | 0.00012446 | #VALUE!
2013-01 lineP#157 | 62 | P20 | 346 | 2013-02-26 09:16 | 24C | 0.98417 | 7.1426e-06 | -5.0068e-06 | 0.98416 | 34.3775 | 0.00028094 | #VALUE!
2013-01 lineP#158 | 64 | P20 | 365 | 2013-02-26 09:18 | 24C | 0.98398 | 4.1861e-06 | -5.126e-06 | 0.98398 | 34.3702 | 0.00016506 | #VALUE!
2013-01 lineP#161 | 65 | P20 | 369 | 2013-02-26 09:24 | 24C | 0.93802 | 5.8913e-06 | -5.0664e-06 | 0.93802 | 32.5739 | 0.00022981 | #VALUE!
2013-01 lineP#159 | 66 | P17 | 374 | 2013-02-26 09:20 | 24C | 0.93784 | 9.3582e-06 | -4.9472e-06 | 0.93783 | 32.5667 | 0.00036403 | #VALUE!
2013-01 lineP#164 | 71 | P4 | 376 | 2013-02-26 09:59 | 24C | 0.9764 | 5.3484e-06 | -5.0068e-06 | 0.9764 | 34.0729 | 0.00020823 | -99 | 5 | SAL: Severe outlier in comparison to CTD salinity; no evidence of misfire or miss-sample
2013-01 lineP#165 | 71 | P4 | 379 | 2013-02-26 10:01 | 24C | 0.96335 | 4.9488e-06 | -5.0068e-06 | 0.96335 | 33.5622 | 0.00019549 | -99 | 5 | SAL: Severe outlier in comparison to CTD salinity; no evidence of misfire or miss-sample
2013-01 lineP#166 | 71 | P4 | 382 | 2013-02-26 10:03 | 24C | 0.97784 | 5.2459e-06 | -5.0068e-06 | 0.97784 | 34.1295 | 0.00020586 | #VALUE!
2013-01 lineP#167 | 71 | P4 | 385 | 2013-02-26 10:05 | 24C | 0.92498 | 4.4784e-06 | -4.9472e-06 | 0.92497 | 32.0668 | 0.00017488 | #VALUE! | 3 | SAL: Outlier in comparison to CTD salinity.
2013-01 lineP#168 | 74 | P4 | 388 | 2013-02-26 10:07 | 24C | 0.98649 | 8.9805e-06 | -5.0068e-06 | 0.98649 | 34.4688 | 0.00035323 | #VALUE!
2013-01 lineP#169 | 74 | P4 | 389 | 2013-02-26 10:10 | 24C | 0.98648 | 6.0064e-06 | -4.9472e-06 | 0.98647 | 34.4683 | 0.00023594 | #VALUE!
2013-01 lineP#170 | 74 | P4 | 389 | 2013-02-26 10:12 | 24C | 0.98649 | 2.8901e-06 | -5.0068e-06 | 0.98649 | 34.4687 | 0.00011537 | #VALUE!
2013-01 lineP#171 | 74 | P4 | 390 | 2013-02-26 10:14 | 24C | 0.98478 | 2.2391e-06 | -5.0664e-06 | 0.98477 | 34.4014 | 8.7879e-05 | #VALUE!
2013-01 lineP#172 | 74 | P4 | 390 | 2013-02-26 10:22 | 24C | 0.98475 | 4.1682e-06 | -5.0664e-06 | 0.98475 | 34.4004 | 0.00016414 | #VALUE!
2013-01 lineP#173 | 74 | P4 | 391 | 2013-02-26 10:24 | 24C | 0.98299 | 4.4091e-06 | -5.0068e-06 | 0.98299 | 34.3315 | 0.00017297 | #VALUE!
2013-01 lineP#174 | 74 | P4 | 405 | 2013-02-26 10:26 | 24C | 0.92597 | 2.4911e-06 | -4.9472e-06 | 0.92596 | 32.1053 | 9.4938e-05 | #VALUE!
| 78 | P1 | 433 | [6 empty] | -99 |  | -99 | 1 | SAL: No conductivity reading. Ran out of water.
Deep Water Reference Samples
2013-01 lineP#2 |  | DWS |  | 2013-02-21 10:22 | 24C | 0.99067 | 3.3591e-06 | -5.0068e-06 | 0.99066 | 34.6329 | 0.00013277 | 34.6329
2013-01 lineP#27 |  | DWS |  | 2013-02-22 09:19 | 24C | 0.98995 | 5.935e-06 | -5.0068e-06 | 0.98994 | 34.6045 | 0.00023547 | 34.6045
2013-01 lineP#75 |  | DWS |  | 2013-02-22 13:45 | 24C | 0.99001 | 1.3533e-05 | -5.0068e-06 | 0.99001 | 34.607 | 0.00053216 | 34.607 | 3 | SAL: Sample not allowed to acclimate to ambient lab temperature
2013-01 lineP#97 |  | DWS |  | 2013-02-25 10:40 | 24C | 0.98991 | 9.244e-06 | -5.0664e-06 | 0.9899 | 34.6029 | 0.00036411 | 34.6029
2013-01 lineP#126 |  | DWS |  | 2013-02-25 13:43 | 24C | 0.98998 | 2.5369e-06 | -5.0068e-06 | 0.98998 | 34.606 | 9.7279e-05 | 34.606
Darren and Kyle
2013-01 lineP#1 |  | Calibration Tank |  | 2013-02-21 10:08 | 24C | 0.98068 | 2.2392e-06 | -5.0068e-06 | 0.98068 | 34.2408 | 8.7015e-05 | 34.606
Uvic Samples
2013-01 lineP#98 |  | Tank Jeff Bosma@uvic.ca |  | 2013-02-25 10:43 | 24C | 0.85601 | 9.5013e-06 | -5.0068e-06 | 0.85601 | 29.4062 | 0.00036341 | #VALUE!
2013-01 lineP#99 |  | Tank Jeff Bosma@uvic.ca |  | 2013-02-25 10:46 | 24C | 0.85601 | 1.0116e-05 | -4.9472e-06 | 0.85601 | 29.4061 | 0.0003899 | #VALUE!
Loop Samples
2013-01 lineP#3 |  | JF1 | loop | 2013-02-21 10:24 | 24C | 0.89175 | 3.3457e-06 | -4.9472e-06 | 0.89175 | 30.7807 | 0.00012966 | 30.7807
2013-01 lineP#4 |  | JF2 | loop | 2013-02-21 10:27 | 24C | 0.90355 | 5.3343e-06 | -4.9472e-06 | 0.90355 | 31.2367 | 0.00020766 | 31.2367
2013-01 lineP#5 |  | JF3 | loop | 2013-02-21 10:29 | 24C | 0.88506 | 1.1741e-05 | -5.0068e-06 | 0.88506 | 30.5228 | 0.00045194 | 30.5228
2013-01 lineP#6 |  | JF4 | loop | 2013-02-21 10:31 | 24C | 0.91962 | 4.3336e-06 | -5.0068e-06 | 0.91961 | 31.8589 | 0.00016952 | 31.8589
2013-01 lineP#11 |  | P6 | loop | 2013-02-21 10:42 | 24C | 0.93294 | 4.7428e-06 | -4.9472e-06 | 0.93293 | 32.3762 | 0.00018429 | 32.3762
2013-01 lineP#12 |  | P7 | loop | 2013-02-21 14:24 | 24C | 0.93464 | 1.374e-05 | -4.9472e-06 | 0.93463 | 32.4423 | 0.00053373 | 32.4423
2013-01 lineP#29 |  | P11 | loop | 2013-02-22 09:23 | 24C | 0.932 | 3.6233e-06 | -5.0068e-06 | 0.93199 | 32.3397 | 0.00013993 | 32.3397
2013-01 lineP#46 |  | P14 | loop | 2013-02-22 10:19 | 24C | 0.93796 | 1.3888e-06 | -5.0068e-06 | 0.93796 | 32.5717 | 5.2235e-05 | 32.5717
2013-01 lineP#48 |  | P15 | loop | 2013-02-22 10:23 | 24C | 0.93793 | 6.1991e-06 | -5.126e-06 | 0.93792 | 32.5702 | 0.00024126 | 32.5702
2013-01 lineP#66 |  | P18 | loop | 2013-02-22 11:02 | 24C | 0.93805 | 5.8317e-06 | -4.9472e-06 | 0.93804 | 32.575 | 0.00022722 | 32.575
2013-01 lineP#73 |  | P21 | loop | 2013-02-22 13:41 | 24C | 0.93764 | 4.2256e-06 | -5.0068e-06 | 0.93763 | 32.5591 | 0.00016701 | 32.5591
2013-01 lineP#74 |  | P22 | loop | 2013-02-22 13:43 | 24C | 0.93768 | 6.8126e-06 | -4.8876e-06 | 0.93768 | 32.5608 | 0.00026312 | 32.5608
2013-01 lineP#140 |  | P25 | loop | 2013-02-25 14:11 | 24C | 0.93858 | 2.2391e-06 | -4.9472e-06 | 0.93858 | 32.5958 | 8.8738e-05 | 32.5958
2013-01 lineP#147 |  |  | Loop 68 | 2013-02-25 14:26 | 24C | 0.93804 | 7.5933e-06 | -5.0068e-06 | 0.93803 | 32.5745 | 0.00029425 | 32.5745
2013-01 lineP#160 |  |  | Loop 67 | 2013-02-26 09:22 | 24C | 0.93785 | 6.4308e-06 | -5.0068e-06 | 0.93785 | 32.5673 | 0.00025049 | 32.5673
2013-01 lineP#162 |  |  | Loop 69 | 2013-02-26 09:26 | 24C | 0.93538 | 8.6767e-06 | -5.0664e-06 | 0.93538 | 32.4713 | 0.00033887 | 32.4713
2013-01 lineP#163 |  |  | Loop 70 | 2013-02-26 09:28 | 24C | 0.93466 | 3.5987e-06 | -5.0068e-06 | 0.93466 | 32.4432 | 0.00013828 | 32.4432
2013-01 lineP#175 |  |  | Loop 76 | 2013-02-26 10:28 | 24C | 0.88212 | 5.8738e-06 | -5.0068e-06 | 0.88212 | 30.4094 | 0.00022564 | 30.4094
2013-01 lineP#176 |  |  | Loop 77 | 2013-02-26 10:31 | 24C | 0.88171 | 5.0935e-06 | -4.8876e-06 | 0.88171 | 30.3938 | 0.00019589 | 30.3938
Trace Metals
2013-01 lineP#43 | 20 | P12 | 90 | 2013-02-22 10:12 | 24C | 0.97157 | 5.1542e-06 | -5.0068e-06 | 0.97157 | 33.8838 | 0.00020064 | #VALUE! |  | Trace Metals

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-02-21 10:06 | 24C | 0.9998 | 6.664e-08 | -5.0664e-06 | 0.99979
2013-01 lineP#1 | calibration tank | 2013-02-21 10:08 | 24C | 0.98068 | 2.2392e-06 | -5.0068e-06 | 0.98068 | 34.2408 | 8.7015e-05
2013-01 lineP#2 | Deep Water standard | 2013-02-21 10:22 | 24C | 0.99067 | 3.3591e-06 | -5.0068e-06 | 0.99066 | 34.6329 | 0.00013277
2013-01 lineP#3 | JF1 loop | 2013-02-21 10:24 | 24C | 0.89175 | 3.3457e-06 | -4.9472e-06 | 0.89175 | 30.7807 | 0.00012966
2013-01 lineP#4 | JF2 loop | 2013-02-21 10:27 | 24C | 0.90355 | 5.3343e-06 | -4.9472e-06 | 0.90355 | 31.2367 | 0.00020766
2013-01 lineP#5 | JF3-loop | 2013-02-21 10:29 | 24C | 0.88506 | 1.1741e-05 | -5.0068e-06 | 0.88506 | 30.5228 | 0.00045194
2013-01 lineP#6 | JF4 loop | 2013-02-21 10:31 | 24C | 0.91962 | 4.3336e-06 | -5.0068e-06 | 0.91961 | 31.8589 | 0.00016952
2013-01 lineP#7 | P2-32 | 2013-02-21 10:33 | 24C | 0.89911 | 1.3888e-06 | -5.0068e-06 | 0.89911 | 31.0649 | 5.3301e-05
2013-01 lineP#8 | P3-34 | 2013-02-21 10:35 | 24C | 0.91517 | 4.3713e-06 | -5.0068e-06 | 0.91517 | 31.6865 | 0.00016873
2013-01 lineP#9 | P5-36 | 2013-02-21 10:37 | 24C | 0.93225 | 5.2177e-06 | -5.0068e-06 | 0.93225 | 32.3496 | 0.00020168
2013-01 lineP#10 | P6-38 | 2013-02-21 10:40 | 24C | 0.9329 | 2.7425e-06 | -5.0068e-06 | 0.9329 | 32.3748 | 0.00010865
2013-01 lineP#11 | P6-loop | 2013-02-21 10:42 | 24C | 0.93294 | 4.7428e-06 | -4.9472e-06 | 0.93293 | 32.3762 | 0.00018429
2013-01 lineP#12 | P7-loop | 2013-02-21 14:24 | 24C | 0.93464 | 1.374e-05 | -4.9472e-06 | 0.93463 | 32.4423 | 0.00053373
2013-01 lineP#13 | P7-40 | 2013-02-21 14:26 | 24C | 0.93459 | 8.261e-06 | -5.0068e-06 | 0.93458 | 32.4404 | 0.00032242
2013-01 lineP#14 | P8-41 | 2013-02-21 14:28 | 24C | 0.98963 | 3.6104e-06 | -4.9472e-06 | 0.98963 | 34.5921 | 0.00014356
2013-01 lineP#15 | P8 Dup-41 | 2013-02-21 14:30 | 24C | 0.98963 | 3.4657e-06 | -4.8876e-06 | 0.98962 | 34.5919 | 0.0001359
2013-01 lineP#16 | P8-42 | 2013-02-21 14:32 | 24C | 0.98773 | 4.4252e-06 | -4.8876e-06 | 0.98772 | 34.5173 | 0.00017613
2013-01 lineP#17 | P8-43 | 2013-02-21 14:34 | 24C | 0.98616 | 5.884e-06 | -4.9472e-06 | 0.98616 | 34.4559 | 0.00023274
2013-01 lineP#18 | P8-44 | 2013-02-21 14:36 | 24C | 0.98411 | 2.8544e-06 | -4.8876e-06 | 0.9841 | 34.3752 | 0.00011234
2013-01 lineP#19 | P8 Dup-44 | 2013-02-21 14:39 | 24C | 0.98411 | 6.6064e-06 | -4.9472e-06 | 0.9841 | 34.3752 | 0.00025995
2013-01 lineP#20 | P8-45 | 2013-02-21 14:41 | 24C | 0.98165 | 4.1139e-06 | -5.0068e-06 | 0.98164 | 34.2787 | 0.00015985
2013-01 lineP#21 | P8-59 | 2013-02-21 14:43 | 24C | 0.9341 | 6.029e-06 | -4.8876e-06 | 0.9341 | 32.4216 | 0.00023349
2013-01 lineP#22 | P8-60 | 2013-02-21 14:45 | 24C | 0.97876 | 8.6094e-06 | -4.8876e-06 | 0.97876 | 34.1654 | 0.00033775
2013-01 lineP#23 | P8-61 | 2013-02-21 14:47 | 24C | 0.97264 | 2.7425e-06 | -4.8876e-06 | 0.97264 | 33.9258 | 0.00010656
2013-01 lineP#24 | P8-62 | 2013-02-21 14:49 | 24C | 0.97188 | 3.3455e-06 | -4.9472e-06 | 0.97188 | 33.8959 | 0.00012966
2013-01 lineP#25 | P8-63 | 2013-02-21 14:51 | 24C | 0.95596 | 3.4553e-06 | -5.0068e-06 | 0.95596 | 33.2733 | 0.00013207
2013-01 lineP#26 | P9-66 | 2013-02-21 14:53 | 24C | 0.93485 | 4.2739e-06 | -5.0068e-06 | 0.93485 | 32.4506 | 0.00016471
2013-01 lineP#27 | DWS | 2013-02-22 09:19 | 24C | 0.98995 | 5.935e-06 | -5.0068e-06 | 0.98994 | 34.6045 | 0.00023547
2013-01 lineP#28 | P10-68 | 2013-02-22 09:21 | 24C | 0.93599 | 2.2391e-06 | -4.9472e-06 | 0.93598 | 32.4948 | 8.9591e-05
2013-01 lineP#29 | P11-loop | 2013-02-22 09:23 | 24C | 0.932 | 3.6233e-06 | -5.0068e-06 | 0.93199 | 32.3397 | 0.00013993
2013-01 lineP#30 | P11-70 | 2013-02-22 09:25 | 24C | 0.93207 | 3.5299e-06 | -5.0068e-06 | 0.93206 | 32.3423 | 0.00013689
2013-01 lineP#31 | P12-81 | 2013-02-22 09:27 | 24C | 0.937 | 3.1148e-06 | -5.0664e-06 | 0.93699 | 32.534 | 0.00012514
2013-01 lineP#32 | P12-78 | 2013-02-22 09:29 | 24C | 0.97594 | 3.6104e-06 | -5.0068e-06 | 0.97593 | 34.0548 | 0.00014113
2013-01 lineP#33 | P12-72 | 2013-02-22 09:33 | 24C | 0.98964 | 6.2084e-06 | -5.0068e-06 | 0.98963 | 34.5924 | 0.00024455
2013-01 lineP#34 | P12-96 | 2013-02-22 09:35 | 24C | 0.99109 | 4.4783e-06 | -5.0664e-06 | 0.99108 | 34.6493 | 0.00017379
2013-01 lineP#35 | P12 Dup-96 | 2013-02-22 09:55 | 24C | 0.99107 | 5.8773e-06 | -4.9472e-06 | 0.99107 | 34.6487 | 0.00023158
2013-01 lineP#36 | P12-97 | 2013-02-22 09:57 | 24C | 0.99059 | 5.231e-06 | -5.0068e-06 | 0.99059 | 34.6298 | 0.00020697
2013-01 lineP#37 | P12-98 | 2013-02-22 09:59 | 24C | 0.98961 | 6.6353e-06 | -5.0068e-06 | 0.9896 | 34.5911 | 0.00026267
2013-01 lineP#38 | P12-99 | 2013-02-22 10:01 | 24C | 0.98765 | 8.5675e-06 | -5.0068e-06 | 0.98764 | 34.514 | 0.00033873
2013-01 lineP#39 | P12-100 | 2013-02-22 10:04 | 24C | 0.98619 | 3.3338e-06 | -5.0068e-06 | 0.98619 | 34.4571 | 0.00013404
2013-01 lineP#40 | P12-101 | 2013-02-22 10:06 | 24C | 0.98444 | 7.7076e-06 | -4.8876e-06 | 0.98443 | 34.388 | 0.00030348
2013-01 lineP#41 | P12 Duo-101 | 2013-02-22 10:08 | 24C | 0.98444 | 4.6142e-06 | -5.0664e-06 | 0.98443 | 34.3881 | 0.00018116
2013-01 lineP#42 | P12-116 | 2013-02-22 10:10 | 24C | 0.93742 | 3.2149e-06 | -5.0664e-06 | 0.93741 | 32.5504 | 0.00012709
2013-01 lineP#43 | P12-90 TM | 2013-02-22 10:12 | 24C | 0.97157 | 5.1542e-06 | -5.0068e-06 | 0.97157 | 33.8838 | 0.00020064 | Trace Metals
2013-01 lineP#44 | P12-86 | 2013-02-22 10:15 | 24C | 0.98455 | 4.1865e-06 | -4.8876e-06 | 0.98454 | 34.3924 | 0.00016507
2013-01 lineP#45 | P13-135 | 2013-02-22 10:17 | 24C | 0.93796 | 8.638e-06 | -5.0068e-06 | 0.93796 | 32.5716 | 0.00033479
2013-01 lineP#46 | P14-loop | 2013-02-22 10:19 | 24C | 0.93796 | 1.3888e-06 | -5.0068e-06 | 0.93796 | 32.5717 | 5.2235e-05
2013-01 lineP#47 | P14-137 | 2013-02-22 10:21 | 24C | 0.93795 | 6.1184e-06 | -4.8876e-06 | 0.93794 | 32.571 | 0.00023805
2013-01 lineP#48 | P15-loop | 2013-02-22 10:23 | 24C | 0.93793 | 6.1991e-06 | -5.126e-06 | 0.93792 | 32.5702 | 0.00024126
2013-01 lineP#49 | P15-138 | 2013-02-22 10:25 | 24C | 0.98153 | 3.3587e-06 | -4.9472e-06 | 0.98152 | 34.2739 | 0.00013051
2013-01 lineP#50 | P15-139 | 2013-02-22 10:28 | 24C | 0.9438 | 7.9888e-06 | -5.0068e-06 | 0.94379 | 32.7989 | 0.00031083
2013-01 lineP#51 | P15-140 | 2013-02-22 10:30 | 24C | 0.93786 | 5.2973e-06 | -4.8876e-06 | 0.93785 | 32.5676 | 0.00020869
2013-01 lineP#52 | P15-141 | 2013-02-22 10:32 | 24C | 0.93788 | 3.8647e-06 | -5.0068e-06 | 0.93788 | 32.5686 | 0.00014997
2013-01 lineP#53 | P15-143 | 2013-02-22 10:34 | 24C | 0.93783 | 6.0087e-06 | -5.0068e-06 | 0.93782 | 32.5665 | 0.00023366
2013-01 lineP#54 | P16-163 | 2013-02-22 10:36 | 24C | 0.99151 | 5.2225e-06 | -5.0068e-06 | 0.9915 | 34.6657 | 0.00020739
2013-01 lineP#55 | P16-164 | 2013-02-22 10:38 | 24C | 0.9912 | 5.5831e-06 | -5.0068e-06 | 0.9912 | 34.6537 | 0.00021688
2013-01 lineP#56 | P16 Duo-164 | 2013-02-22 10:40 | 24C | 0.99119 | 5.4427e-06 | -5.0068e-06 | 0.99119 | 34.6534 | 0.00021114
2013-01 lineP#57 | P16-165 | 2013-02-22 10:43 | 24C | 0.99061 | 6.0361e-06 | -4.9472e-06 | 0.99061 | 34.6306 | 0.00023575
2013-01 lineP#58 | P16-166 | 2013-02-22 10:45 | 24C | 0.98974 | 3.5403e-06 | -5.0068e-06 | 0.98973 | 34.5961 | 0.00014171
2013-01 lineP#59 | P16 Dup-166 | 2013-02-22 10:47 | 24C | 0.98971 | 7.8369e-06 | -4.9472e-06 | 0.98971 | 34.5953 | 0.00030537
2013-01 lineP#60 | P16-167 | 2013-02-22 10:49 | 24C | 0.98751 | 4.9037e-06 | -5.0664e-06 | 0.9875 | 34.5087 | 0.00019225
2013-01 lineP#61 | P16-168 | 2013-02-22 10:51 | 24C | 0.98599 | 6.7779e-06 | -5.126e-06 | 0.98599 | 34.4492 | 0.0002657
2013-01 lineP#62 | P16-169 | 2013-02-22 10:54 | 24C | 0.98409 | 8.1115e-06 | -4.9472e-06 | 0.98409 | 34.3746 | 0.00032034
2013-01 lineP#63 | P16 Dup-169 | 2013-02-22 10:56 | 24C | 0.98409 | 7.3512e-06 | -5.126e-06 | 0.98408 | 34.3744 | 0.00029017
2013-01 lineP#64 | P16-184 | 2013-02-22 10:58 | 24C | 0.93796 | 1.1529e-06 | -5.0068e-06 | 0.93796 | 32.5716 | 4.265e-05
2013-01 lineP#65 | P16-192 | 2013-02-22 11:00 | 24C | 0.9703 | 3.3474e-06 | -4.9472e-06 | 0.9703 | 33.8341 | 0.0001316
2013-01 lineP#66 | P18-loop | 2013-02-22 11:02 | 24C | 0.93805 | 5.8317e-06 | -4.9472e-06 | 0.93804 | 32.575 | 0.00022722
2013-01 lineP#67 | P18-203 | 2013-02-22 11:04 | 24C | 0.93804 | 1.7705e-06 | -5.0068e-06 | 0.93804 | 32.5747 | 6.7435e-05
2013-01 lineP#68 | P18-204 | 2013-02-22 11:06 | 24C | 0.97583 | 5.2896e-06 | -5.0068e-06 | 0.97583 | 34.0506 | 0.00020808
2013-01 lineP#69 | P18-205 | 2013-02-22 11:11 | 24C | 0.97026 | 4.9093e-06 | -5.0068e-06 | 0.97026 | 33.8324 | 0.00019197
2013-01 lineP#70 | P18-206 | 2013-02-22 11:13 | 24C | 0.96551 | 4.1863e-06 | -5.0664e-06 | 0.9655 | 33.6464 | 0.00016592
2013-01 lineP#71 | P19-209 | 2013-02-22 11:20 | 24C | 0.93807 | 4.7426e-06 | -5.0068e-06 | 0.93807 | 32.576 | 0.00018485
2013-01 lineP#72 | P21-211 | 2013-02-22 11:22 | 24C | 0.93764 | 2.4909e-06 | -5.0068e-06 | 0.93764 | 32.5591 | 0.00010061
2013-01 lineP#73 | P21-loop | 2013-02-22 13:41 | 24C | 0.93764 | 4.2256e-06 | -5.0068e-06 | 0.93763 | 32.5591 | 0.00016701
2013-01 lineP#74 | P22-loop | 2013-02-22 13:43 | 24C | 0.93768 | 6.8126e-06 | -4.8876e-06 | 0.93768 | 32.5608 | 0.00026312
2013-01 lineP#75 | DWS | 2013-02-22 13:45 | 24C | 0.99001 | 1.3533e-05 | -5.0068e-06 | 0.99001 | 34.607 | 0.00053216 | sample a bit cold (20c)
2013-01 lineP#76 | P22-213 | 2013-02-22 13:48 | 24C | 0.93767 | 3.6105e-06 | -5.0664e-06 | 0.93766 | 32.5602 | 0.00014155
2013-01 lineP#77 | P26-246 | 2013-02-22 13:50 | 24C | 0.99166 | 3.1414e-06 | -4.9472e-06 | 0.99165 | 34.6717 | 0.00012518
2013-01 lineP#78 | P26-247 | 2013-02-22 13:52 | 24C | 0.99129 | 5.8738e-06 | -4.9472e-06 | 0.99129 | 34.6573 | 0.00022957
2013-01 lineP#79 | P26 Dup-247 | 2013-02-22 13:54 | 24C | 0.99128 | 4.2257e-06 | -5.0068e-06 | 0.99127 | 34.6568 | 0.00016797
2013-01 lineP#80 | P26-248 | 2013-02-22 13:57 | 24C | 0.99061 | 6.4308e-06 | -5.0068e-06 | 0.99061 | 34.6306 | 0.00025095
2013-01 lineP#81 | P26-249 | 2013-02-22 13:59 | 24C | 0.98953 | 7.7338e-06 | -5.0068e-06 | 0.98952 | 34.5881 | 0.00030307
2013-01 lineP#82 | P26-250 | 2013-02-22 14:01 | 24C | 0.98758 | 2.7425e-06 | -5.0068e-06 | 0.98757 | 34.5113 | 0.00010869
2013-01 lineP#83 | P26-251 | 2013-02-22 14:03 | 24C | 0.98622 | 1.1203e-06 | -4.9472e-06 | 0.98621 | 34.4581 | 4.5217e-05
2013-01 lineP#84 | P26-252 | 2013-02-22 14:05 | 24C | 0.98431 | 2.226e-06 | -5.0068e-06 | 0.98431 | 34.3832 | 8.7013e-05
2013-01 lineP#85 | P26 Dup-252 | 2013-02-22 14:07 | 24C | 0.9843 | 7.5347e-06 | -4.9472e-06 | 0.9843 | 34.3828 | 0.00029648
2013-01 lineP#86 | P26-253 | 2013-02-22 14:09 | 24C | 0.98249 | 2.4908e-06 | -5.0068e-06 | 0.98248 | 34.3117 | 9.9734e-05
2013-01 lineP#87 | P26-254 | 2013-02-22 14:11 | 24C | 0.98008 | 6.1272e-06 | -4.8876e-06 | 0.98007 | 34.217 | 0.00024345
2013-01 lineP#88 | P26-255 | 2013-02-22 14:13 | 24C | 0.97543 | 7.2207e-06 | -5.0068e-06 | 0.97543 | 34.0349 | 0.00028189
2013-01 lineP#89 | P26-256 | 2013-02-22 14:15 | 24C | 0.97218 | 5.1291e-06 | -4.8876e-06 | 0.97217 | 33.9075 | 0.00020286
2013-01 lineP#90 | P26-257 | 2013-02-22 14:17 | 24C | 0.97038 | 5.5671e-06 | -5.0068e-06 | 0.97038 | 33.8371 | 0.00021671
2013-01 lineP#91 | P26-258 | 2013-02-22 14:19 | 24C | 0.96833 | 4.1014e-06 | -5.0068e-06 | 0.96832 | 33.7568 | 0.00016298
2013-01 lineP#92 | P26-259 | 2013-02-22 14:21 | 24C | 0.96736 | 4.625e-06 | -4.9472e-06 | 0.96735 | 33.7188 | 0.00018429
2013-01 lineP#93 | P26-260 | 2013-02-22 14:24 | 24C | 0.96519 | 2.4908e-06 | -4.9472e-06 | 0.96518 | 33.6339 | 9.6976e-05
2013-01 lineP#94 | P26-261 | 2013-02-22 14:26 | 24C | 0.9565 | 1.1532e-06 | -4.8876e-06 | 0.9565 | 33.2944 | 4.2703e-05
2013-01 lineP#95 | P26-262 | 2013-02-22 14:28 | 24C | 0.94027 | 3.4658e-06 | -5.0068e-06 | 0.94026 | 32.6614 | 0.00013797
2013-01 lineP#96 | P26-263 | 2013-02-22 14:30 | 24C | 0.93954 | 2.4885e-06 | -5.0068e-06 | 0.93954 | 32.6331 | 9.7298e-05
2013-01 lineP#97 | DWS | 2013-02-25 10:40 | 24C | 0.98991 | 9.244e-06 | -5.0664e-06 | 0.9899 | 34.6029 | 0.00036411
2013-01 lineP#98 | Tank Jeff Bosma@uvic.ca | 2013-02-25 10:43 | 24C | 0.85601 | 9.5013e-06 | -5.0068e-06 | 0.85601 | 29.4062 | 0.00036341 | Calibration tank test for UVIC
2013-01 lineP#99 | Tank Jeff Bosma@uvic.ca | 2013-02-25 10:46 | 24C | 0.85601 | 1.0116e-05 | -4.9472e-06 | 0.85601 | 29.4061 | 0.0003899 | Calibration tank test for UVIC
2013-01 lineP#100 | P23-214 | 2013-02-25 10:49 | 24C | 0.98948 | 1.1536e-06 | -5.0068e-06 | 0.98948 | 34.5861 | 4.4374e-05
2013-01 lineP#101 | P23-215 | 2013-02-25 10:51 | 24C | 0.98952 | 3.264e-06 | -5.0068e-06 | 0.98951 | 34.5876 | 0.00012771
2013-01 lineP#102 | P23-216 | 2013-02-25 10:53 | 24C | 0.98951 | 5.2331e-06 | -5.0664e-06 | 0.98951 | 34.5874 | 0.00020739
2013-01 lineP#103 | P23-217 | 2013-02-25 10:56 | 24C | 0.98953 | 3.5943e-06 | -5.0068e-06 | 0.98952 | 34.588 | 0.00013903
2013-01 lineP#104 | P23-218 | 2013-02-25 10:58 | 24C | 0.98947 | 3.2148e-06 | -5.0068e-06 | 0.98947 | 34.5859 | 0.00012554
2013-01 lineP#105 | P23-219 | 2013-02-25 11:00 | 24C | 0.98952 | 3.2142e-06 | -4.9472e-06 | 0.98951 | 34.5876 | 0.00012806
2013-01 lineP#106 | P23-220 | 2013-02-25 11:02 | 24C | 0.98951 | 6.7985e-06 | -5.0664e-06 | 0.98951 | 34.5874 | 0.00026956
2013-01 lineP#107 | P23-221 | 2013-02-25 11:04 | 24C | 0.98951 | 2.5036e-06 | -5.0068e-06 | 0.98951 | 34.5874 | 9.7279e-05
2013-01 lineP#108 | P23-222 | 2013-02-25 11:06 | 24C | 0.98949 | 5.1379e-06 | -5.0068e-06 | 0.98948 | 34.5864 | 0.00020165
2013-01 lineP#109 | P23-223 | 2013-02-25 11:09 | 24C | 0.98953 | 4.5832e-06 | -4.8876e-06 | 0.98952 | 34.588 | 0.00017892
2013-01 lineP#110 | P23-224 | 2013-02-25 11:17 | 24C | 0.9895 | 7.7995e-06 | -5.0068e-06 | 0.9895 | 34.587 | 0.00030664
2013-01 lineP#111 | P23-225 | 2013-02-25 11:20 | 24C | 0.98944 | 4.081e-06 | -4.9472e-06 | 0.98944 | 34.5847 | 0.00016506
2013-01 lineP#112 | P23-226 | 2013-02-25 11:22 | 24C | 0.98951 | 6.651e-06 | -5.0068e-06 | 0.98951 | 34.5875 | 0.00026195
2013-01 lineP#113 | P23-227 | 2013-02-25 11:24 | 24C | 0.98949 | 9.8739e-06 | -5.0068e-06 | 0.98949 | 34.5867 | 0.00038851
2013-01 lineP#114 | P23-228 | 2013-02-25 11:26 | 24C | 0.9895 | 5.8841e-06 | -4.8876e-06 | 0.9895 | 34.587 | 0.0002312
2013-01 lineP#115 | P23-229 | 2013-02-25 11:28 | 24C | 0.9895 | 7.1688e-06 | -4.9472e-06 | 0.9895 | 34.5869 | 0.00028303
2013-01 lineP#116 | P23-230 | 2013-02-25 11:30 | 24C | 0.98942 | 3.1415e-06 | -5.0068e-06 | 0.98942 | 34.5838 | 0.00012313
2013-01 lineP#117 | P23-231 | 2013-02-25 11:32 | 24C | 0.98935 | 2.7426e-06 | -5.0068e-06 | 0.98934 | 34.5809 | 0.00011074
2013-01 lineP#118 | P23-232 | 2013-02-25 11:34 | 24C | 0.98951 | 1.4046e-06 | -4.9472e-06 | 0.9895 | 34.5871 | 5.2235e-05
2013-01 lineP#119 | P23-233 | 2013-02-25 11:36 | 24C | 0.98954 | 4.9165e-06 | -4.9472e-06 | 0.98953 | 34.5885 | 0.00019465
2013-01 lineP#120 | P23-234 | 2013-02-25 11:38 | 24C | 0.98947 | 9.135e-06 | -5.0068e-06 | 0.98946 | 34.5856 | 0.00035795
2013-01 lineP#121 | P23-235 | 2013-02-25 11:40 | 24C | 0.98951 | 5.8031e-06 | -5.0068e-06 | 0.9895 | 34.5872 | 0.00022821
2013-01 lineP#122 | P23-237 | 2013-02-25 11:42 | 24C | 0.93796 | 8.4424e-06 | -5.0068e-06 | 0.93795 | 32.5714 | 0.00032665
2013-01 lineP#123 | P26-264 | 2013-02-25 13:36 | 24C | 0.93953 | 6.1062e-06 | -4.8876e-06 | 0.93953 | 32.6328 | 0.0002378
2013-01 lineP#124 | P26-265 | 2013-02-25 13:38 | 24C | 0.93952 | 7.2207e-06 | -5.0068e-06 | 0.93952 | 32.6324 | 0.00028006
2013-01 lineP#125 | P26-266 | 2013-02-25 13:40 | 24C | 0.93955 | 9.0163e-06 | -5.0068e-06 | 0.93954 | 32.6333 | 0.00035307
2013-01 lineP#126 | DWS | 2013-02-25 13:43 | 24C | 0.98998 | 2.5369e-06 | -5.0068e-06 | 0.98998 | 34.606 | 9.7279e-05
2013-01 lineP#127 | P26-267 | 2013-02-25 13:45 | 24C | 0.93952 | 2.7425e-06 | -5.0068e-06 | 0.93951 | 32.6322 | 0.00010656
2013-01 lineP#128 | P26-300 | 2013-02-25 13:47 | 24C | 0.98446 | 5.1679e-06 | -5.0068e-06 | 0.98445 | 34.389 | 0.00020096
2013-01 lineP#129 | P26-303 | 2013-02-25 13:49 | 24C | 0.97801 | 4.4783e-06 | -5.0664e-06 | 0.978 | 34.136 | 0.00017659
2013-01 lineP#130 | P26-297 | 2013-02-25 13:51 | 24C | 0.98949 | 6.2369e-06 | -5.0068e-06 | 0.98949 | 34.5866 | 0.00024578
2013-01 lineP#131 | P26-306 | 2013-02-25 13:53 | 24C | 0.9395 | 5.7874e-06 | -4.9472e-06 | 0.93949 | 32.6313 | 0.00022617
2013-01 lineP#132 | P26-292 | 2013-02-25 13:55 | 24C | 0.96839 | 4.4374e-06 | -4.9472e-06 | 0.96838 | 33.7591 | 0.00017608
2013-01 lineP#133 | P26-288 | 2013-02-25 13:57 | 24C | 0.98469 | 3.6232e-06 | -5.0068e-06 | 0.98469 | 34.3982 | 0.00013993
2013-01 lineP#134 | PA 006-308 | 2013-02-25 13:59 | 24C | 0.93926 | 6.7174e-06 | -5.0068e-06 | 0.93925 | 32.6221 | 0.00025875
2013-01 lineP#135 | PA 006-309 | 2013-02-25 14:01 | 24C | 0.93925 | 1.191e-05 | -5.0068e-06 | 0.93925 | 32.6218 | 0.00046182
2013-01 lineP#136 | PA 006-310 | 2013-02-25 14:03 | 24C | 0.93922 | 1.1196e-06 | -4.8876e-06 | 0.93922 | 32.6207 | 4.4374e-05
2013-01 lineP#137 | PA 006-311 | 2013-02-25 14:05 | 24C | 0.93921 | 1.1196e-06 | -5.0068e-06 | 0.9392 | 32.6201 | 4.2703e-05
2013-01 lineP#138 | PA 006-312 | 2013-02-25 14:07 | 24C | 0.93918 | 8.8555e-06 | -5.126e-06 | 0.93918 | 32.6191 | 0.0003408
2013-01 lineP#139 | P35-243 | 2013-02-25 14:09 | 24C | 0.93948 | 5.1521e-06 | -5.0068e-06 | 0.93948 | 32.6309 | 0.00020085
2013-01 lineP#140 | P25-loop | 2013-02-25 14:11 | 24C | 0.93858 | 2.2391e-06 | -4.9472e-06 | 0.93858 | 32.5958 | 8.8738e-05
2013-01 lineP#141 | P25-313 | 2013-02-25 14:13 | 24C | 0.9895 | 6.0548e-06 | -5.0068e-06 | 0.9895 | 34.587 | 0.0002381
2013-01 lineP#142 | P25-314 | 2013-02-25 14:15 | 24C | 0.97359 | 9.5738e-06 | -4.8876e-06 | 0.97359 | 33.9628 | 0.00037477
2013-01 lineP#143 | P25-315 | 2013-02-25 14:17 | 24C | 0.96714 | 1.1063e-06 | -5.0068e-06 | 0.96714 | 33.7104 | 4.4364e-05
2013-01 lineP#144 | P25-316 | 2013-02-25 14:19 | 24C | 0.93854 | 3.854e-06 | -5.0068e-06 | 0.93853 | 32.594 | 0.00015042
2013-01 lineP#145 | P25-318 | 2013-02-25 14:21 | 24C | 0.93853 | 5.7549e-06 | -4.8876e-06 | 0.93852 | 32.5936 | 0.00022499
2013-01 lineP#146 | P24-320 | 2013-02-25 14:23 | 24C | 0.93733 | 1.1536e-06 | -5.126e-06 | 0.93732 | 32.5469 | 4.1831e-05 | folded liner
2013-01 lineP#147 | Loop 68 | 2013-02-25 14:26 | 24C | 0.93804 | 7.5933e-06 | -5.0068e-06 | 0.93803 | 32.5745 | 0.00029425
2013-01 lineP#148 | P20-339 | 2013-02-25 14:28 | 24C | 0.9916 | 4.2256e-06 | -4.9472e-06 | 0.9916 | 34.6695 | 0.00016491
2013-01 lineP#149 | P20-340 | 2013-02-25 14:30 | 24C | 0.99161 | 4.189e-06 | -5.0068e-06 | 0.99161 | 34.67 | 0.00016372
2013-01 lineP#150 | P20-341 | 2013-02-25 14:32 | 24C | 0.99125 | 1.0814e-05 | -5.0068e-06 | 0.99124 | 34.6557 | 0.0004237
2013-01 lineP#151 | P 20 Dup-341 | 2013-02-25 14:34 | 24C | 0.99125 | 2.8897e-06 | -5.0068e-06 | 0.99125 | 34.6557 | 0.00011145
2013-01 lineP#152 | P20-342 | 2013-02-25 14:36 | 24C | 0.99056 | 4.3836e-06 | -5.0664e-06 | 0.99056 | 34.6287 | 0.00017381
2013-01 lineP#153 | P20-343 | 2013-02-25 14:38 | 24C | 0.98943 | 5.923e-06 | -5.0664e-06 | 0.98943 | 34.5843 | 0.00023166
2013-01 lineP#154 | P20-344 | 2013-02-25 14:40 | 24C | 0.98728 | 5.3586e-06 | -5.0068e-06 | 0.98728 | 34.4997 | 0.00021109
2013-01 lineP#155 | P20-345 | 2013-02-25 14:42 | 24C | 0.98584 | 6.8975e-06 | -5.0068e-06 | 0.98583 | 34.443 | 0.00027028
2013-01 lineP#156 | P29-346 | 2013-02-26 09:13 | 24C | 0.98416 | 3.1418e-06 | -5.0068e-06 | 0.98415 | 34.3772 | 0.00012446
2013-01 lineP#157 | P20 Dup-346 | 2013-02-26 09:16 | 24C | 0.98417 | 7.1426e-06 | -5.0068e-06 | 0.98416 | 34.3775 | 0.00028094
2013-01 lineP#158 | P20-365 | 2013-02-26 09:18 | 24C | 0.98398 | 4.1861e-06 | -5.126e-06 | 0.98398 | 34.3702 | 0.00016506
2013-01 lineP#159 | P17-374 | 2013-02-26 09:20 | 24C | 0.93784 | 9.3582e-06 | -4.9472e-06 | 0.93783 | 32.5667 | 0.00036403
2013-01 lineP#160 | Loop 67 | 2013-02-26 09:22 | 24C | 0.93785 | 6.4308e-06 | -5.0068e-06 | 0.93785 | 32.5673 | 0.00025049
2013-01 lineP#161 | P20-369 | 2013-02-26 09:24 | 24C | 0.93802 | 5.8913e-06 | -5.0664e-06 | 0.93802 | 32.5739 | 0.00022981
2013-01 lineP#162 | Loop 69 | 2013-02-26 09:26 | 24C | 0.93538 | 8.6767e-06 | -5.0664e-06 | 0.93538 | 32.4713 | 0.00033887
2013-01 lineP#163 | Loop 70 | 2013-02-26 09:28 | 24C | 0.93466 | 3.5987e-06 | -5.0068e-06 | 0.93466 | 32.4432 | 0.00013828
2013-01 lineP#164 | P4-376 | 2013-02-26 09:59 | 24C | 0.9764 | 5.3484e-06 | -5.0068e-06 | 0.9764 | 34.0729 | 0.00020823
2013-01 lineP#165 | P4-379 | 2013-02-26 10:01 | 24C | 0.96335 | 4.9488e-06 | -5.0068e-06 | 0.96335 | 33.5622 | 0.00019549
2013-01 lineP#166 | P4-382 | 2013-02-26 10:03 | 24C | 0.97784 | 5.2459e-06 | -5.0068e-06 | 0.97784 | 34.1295 | 0.00020586
2013-01 lineP#167 | P4-385 | 2013-02-26 10:05 | 24C | 0.92498 | 4.4784e-06 | -4.9472e-06 | 0.92497 | 32.0668 | 0.00017488
2013-01 lineP#168 | P4-388 | 2013-02-26 10:07 | 24C | 0.98649 | 8.9805e-06 | -5.0068e-06 | 0.98649 | 34.4688 | 0.00035323
2013-01 lineP#169 | P4-389 | 2013-02-26 10:10 | 24C | 0.98648 | 6.0064e-06 | -4.9472e-06 | 0.98647 | 34.4683 | 0.00023594
2013-01 lineP#170 | P4 Dup-389 | 2013-02-26 10:12 | 24C | 0.98649 | 2.8901e-06 | -5.0068e-06 | 0.98649 | 34.4687 | 0.00011537
2013-01 lineP#171 | P4-390 | 2013-02-26 10:14 | 24C | 0.98478 | 2.2391e-06 | -5.0664e-06 | 0.98477 | 34.4014 | 8.7879e-05
2013-01 lineP#172 | P4 Duo-390 | 2013-02-26 10:22 | 24C | 0.98475 | 4.1682e-06 | -5.0664e-06 | 0.98475 | 34.4004 | 0.00016414
2013-01 lineP#173 | P4-391 | 2013-02-26 10:24 | 24C | 0.98299 | 4.4091e-06 | -5.0068e-06 | 0.98299 | 34.3315 | 0.00017297
2013-01 lineP#174 | P4-405 | 2013-02-26 10:26 | 24C | 0.92597 | 2.4911e-06 | -4.9472e-06 | 0.92596 | 32.1053 | 9.4938e-05
2013-01 lineP#175 | Loop 76 | 2013-02-26 10:28 | 24C | 0.88212 | 5.8738e-06 | -5.0068e-06 | 0.88212 | 30.4094 | 0.00022564
2013-01 lineP#176 | Loop77 | 2013-02-26 10:31 | 24C | 0.88171 | 5.0935e-06 | -4.8876e-06 | 0.88171 | 30.3938 | 0.00019589 | folded liner