## Notes
Analysis: | Hugh Maclean, 21-MAR-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Marc Trudel, Highseas Salmon
Cruise Dates: | 01 Mar 2013 to 15 Mar 2013. Legs 1 and 2.
2013-04-05 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-03-21 11:11 | 24C | 0.99979 | 0 | 0 | 0.99979
No duplicates collected therefore no precision analysis was performed
There were no notes taken as to sample integrity and/or problems during anaylsis.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2013-10 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 06 days after collection. For details including a duplicate analysis, see document QF2013-10SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-10 | 1 | GS 2 | 1 | 29.6877
2013-10 | 7 | GS 4 | 7 | 29.7942
2013-10 | 10 | FR 1 | 10 | 27.2388
2013-10 | 16 | GS 8 | 16 | 27.6853
2013-10 | 21 | GEO 1 | 21 | 28.3034
2013-10 | 26 | GS 11 | 26 | 28.3809
2013-10 | 29 | GS 13 | 29 | 28.4698
2013-10 | 33 | GS 15 | 33 | 27.7428
2013-10 | 39 | CPF 1 | 39 | 28.6432
2013-10 | 42 | GS 19 | 42 | 28.2779
2013-10 | 46 | GS 21 | 46 | 28.8077
2013-10 | 49 | CPF 2 | 49 | 29.0296
2013-10 | 52 | JS 01 | 52 | 30.5305
2013-10 | 55 | JS 02 | 55 | 30.4895
2013-10 | 58 | JS 03 | 58 | 30.455
2013-10 | 61 | JS 04 | 61 | 30.5406
2013-10 | 64 | JS 04 | 64 | 30.4778
2013-10 | 67 | JS 06 | 67 | 30.4803
2013-10 | 70 | JS 07 | 70 | 30.5212
2013-10 | 73 | JS 08 | 73 | 30.5592
2013-10 | 76 | T 01 | 76 | 31.2499
2013-10 | 79 | T 02 | 79 | 31.6691
2013-10 | 82 | T 03 | 82 | 31.7426
2013-10 | 88 | T 05 | 88 | 31.526
2013-10 | 96 | IVI 04 | 96 | 30.3582
2013-10 | 101 | IVI 07 | 101 | 30.1444
2013-10 | 102 | IVI 08 | 102 | 29.2318
2013-10 | 108 | IVI 12 | 108 | 28.1723
2013-10 | 114 | IVI 16 | 114 | 28.6968
2013-10 | 120 | IVI 20 | 120 | 29.4501
2013-10 | 125 | IVI 24 | 125 | 29.7787
2013-10 | 138 | QCST 01 | 138 | 31.7957
2013-10 | 142 | QCST 04 | 142 | 31.0188
2013-10 | 149 | QCST 09 | 149 | 31.2161
2013-10 | 152 | QCST 10 | 152 | 31.2682
2013-10 | 157 | QCST 13 | 157 | 31.095
2013-10 | 162 | QCST 16 | 162 | 31.175

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling |  | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found here: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-10#1 | 1 | GS 2 | 1 | 2013-03-21 11:12 | 24C | 0.86335 | 1.1199e-06 | 0 | 0.86335 | 29.6877 | 4.5848e-05 | #VALUE!
2013-10#2 | 7 | GS 4 | 7 | 2013-03-21 11:15 | 24C | 0.86612 | 3.6105e-06 | 0 | 0.86612 | 29.7942 | 0.00014155 | #VALUE!
2013-10#3 | 10 | FR 1 | 10 | 2013-03-21 11:17 | 24C | 0.79917 | 2.2391e-06 | 0 | 0.79917 | 27.2388 | 8.2741e-05 | #VALUE!
2013-10#4 | 16 | GS 8 | 16 | 2013-03-21 11:21 | 24C | 0.81092 | 2.0949e-06 | 0 | 0.81092 | 27.6853 | 8.0856e-05 | #VALUE!
2013-10#5 | 21 | GEO 1 | 21 | 2013-03-21 11:23 | 24C | 0.82716 | 1.1199e-06 | 0 | 0.82716 | 28.3034 | 4.0517e-05 | #VALUE!
2013-10#6 | 26 | GS 11 | 26 | 2013-03-21 11:25 | 24C | 0.8292 | 2.89e-06 | 0 | 0.8292 | 28.3809 | 0.00011392 | #VALUE!
2013-10#7 | 29 | GS 13 | 29 | 2013-03-21 11:27 | 24C | 0.83153 | 2.226e-06 | 0 | 0.83153 | 28.4698 | 8.4892e-05 | #VALUE!
2013-10#8 | 33 | GS 15 | 33 | 2013-03-21 11:29 | 24C | 0.81244 | 2.7426e-06 | 0 | 0.81244 | 27.7428 | 0.00010447 | #VALUE!
2013-10#9 | 39 | CPF 1 | 39 | 2013-03-21 11:31 | 24C | 0.83607 | 2.4912e-06 | 0 | 0.83607 | 28.6432 | 9.4366e-05 | #VALUE!
2013-10#10 | 42 | GS 19 | 42 | 2013-03-21 11:33 | 24C | 0.82649 | 1.1196e-06 | 0 | 0.82649 | 28.2779 | 4.2232e-05 | #VALUE!
2013-10#11 | 46 | GS 21 | 46 | 2013-03-21 11:36 | 24C | 0.84037 | 2.4908e-06 | 0 | 0.84037 | 28.8077 | 9.4478e-05 | #VALUE!
2013-10#12 | 49 | CPF 2 | 49 | 2013-03-21 11:38 | 24C | 0.84618 | 1.1532e-06 | 0 | 0.84618 | 29.0296 | 4.2224e-05 | #VALUE!
2013-10#13 | 52 | JS 01 | 52 | 2013-03-21 11:40 | 24C | 0.88526 | 1.1199e-06 | 0 | 0.88526 | 30.5305 | 4.4782e-05 | #VALUE!
2013-10#14 | 55 | JS 02 | 55 | 2013-03-21 11:42 | 24C | 0.8842 | 2.8661e-06 | 0 | 0.8842 | 30.4895 | 0.00011009 | #VALUE!
2013-10#15 | 58 | JS 03 | 58 | 2013-03-21 11:44 | 24C | 0.8833 | 1.3713e-06 | 0 | 0.8833 | 30.455 | 5.2783e-05 | #VALUE!
2013-10#16 | 61 | JS 04 | 61 | 2013-03-21 11:46 | 24C | 0.88552 | 1.3712e-06 | 0 | 0.88552 | 30.5406 | 5.3312e-05 | #VALUE!
2013-10#24 | 64 | JS 04 | 64 | 2013-03-21 13:20 | 24C | 0.88389 | 4.8217e-06 | 0 | 0.88389 | 30.4778 | 0.00018503 | #VALUE!
2013-10#23 | 67 | JS 06 | 67 | 2013-03-21 13:18 | 24C | 0.88396 | 2.2394e-06 | 0 | 0.88396 | 30.4803 | 8.5313e-05 | #VALUE!
2013-10#22 | 70 | JS 07 | 70 | 2013-03-21 13:16 | 24C | 0.88502 | 1.4046e-06 | 0 | 0.88502 | 30.5212 | 5.1714e-05 | #VALUE!
2013-10#21 | 73 | JS 08 | 73 | 2013-03-21 13:14 | 24C | 0.886 | 2.4909e-06 | 0 | 0.886 | 30.5592 | 9.9629e-05 | #VALUE!
2013-10#20 | 76 | T 01 | 76 | 2013-03-21 13:12 | 24C | 0.90389 | 1.1203e-06 | 0 | 0.90389 | 31.2499 | 4.5848e-05 | #VALUE!
2013-10#19 | 79 | T 02 | 79 | 2013-03-21 13:10 | 24C | 0.91472 | 2.1278e-06 | 0 | 0.91472 | 31.6691 | 8.208e-05 | #VALUE!
2013-10#18 | 82 | T 03 | 82 | 2013-03-21 13:08 | 24C | 0.91662 | 2.4911e-06 | 0 | 0.91662 | 31.7426 | 9.751e-05 | #VALUE!
2013-10#17 | 88 | T 05 | 88 | 2013-03-21 13:06 | 24C | 0.91103 | 7.6547e-06 | 0 | 0.91103 | 31.526 | 0.00029455 | #VALUE!
2013-10#26 | 96 | IVI 04 | 96 | 2013-03-21 13:26 | 24C | 0.88079 | 2.8877e-06 | 0 | 0.88079 | 30.3582 | 0.00011082 | #VALUE!
2013-10#25 | 101 | IVI 07 | 101 | 2013-03-21 13:23 | 24C | 0.87523 | 2.7426e-06 | 0 | 0.87523 | 30.1444 | 0.00010396 | #VALUE!
2013-10#27 | 102 | IVI 08 | 102 | 2013-03-21 13:28 | 24C | 0.85146 | 2.8804e-06 | 0 | 0.85146 | 29.2318 | 0.00011189 | #VALUE!
2013-10#28 | 108 | IVI 12 | 108 | 2013-03-21 13:30 | 24C | 0.82372 | 3.2141e-06 | 0 | 0.82372 | 28.1723 | 0.00012041 | #VALUE!
2013-10#29 | 114 | IVI 16 | 114 | 2013-03-21 13:32 | 24C | 0.83747 | 2.4909e-06 | 0 | 0.83747 | 28.6968 | 9.4885e-05 | #VALUE!
2013-10#30 | 120 | IVI 20 | 120 | 2013-03-21 13:34 | 24C | 0.85715 | 2.4744e-06 | 0 | 0.85715 | 29.4501 | 9.4909e-05 | #VALUE!
2013-10#31 | 125 | IVI 24 | 125 | 2013-03-21 13:36 | 24C | 0.86572 | 4.3085e-06 | 0 | 0.86572 | 29.7787 | 0.00016247 | #VALUE!
2013-10#32 | 138 | QCST 01 | 138 | 2013-03-21 13:38 | 24C | 0.91799 | 1.1196e-06 | 0 | 0.91799 | 31.7957 | 4.4364e-05 | #VALUE!
2013-10#33 | 142 | QCST 04 | 142 | 2013-03-21 13:40 | 24C | 0.89791 | 1.3713e-06 | 0 | 0.89791 | 31.0188 | 5.2246e-05 | #VALUE!
2013-10#34 | 149 | QCST 09 | 149 | 2013-03-21 13:42 | 24C | 0.90302 | 3.2149e-06 | 0 | 0.90302 | 31.2161 | 0.00012328 | #VALUE!
2013-10#35 | 152 | QCST 10 | 152 | 2013-03-21 13:44 | 24C | 0.90436 | 1.4046e-06 | 0 | 0.90436 | 31.2682 | 5.2235e-05 | #VALUE!
2013-10#36 | 157 | QCST 13 | 157 | 2013-03-21 13:46 | 24C | 0.89988 | 3.1418e-06 | 0 | 0.89988 | 31.095 | 0.00012346 | #VALUE!
2013-10#37 | 162 | QCST 16 | 162 | 2013-03-21 13:48 | 24C | 0.90196 | 2.4912e-06 | 0 | 0.90196 | 31.175 | 9.4364e-05 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-03-21 11:11 | 24C | 0.99979 | 0 | 0 | 0.99979
2013-10#1 | GS 2-01 | 2013-03-21 11:12 | 24C | 0.86335 | 1.1199e-06 | 0 | 0.86335 | 29.6877 | 4.5848e-05
2013-10#2 | GS 4-07 | 2013-03-21 11:15 | 24C | 0.86612 | 3.6105e-06 | 0 | 0.86612 | 29.7942 | 0.00014155
2013-10#3 | FR 1-10 | 2013-03-21 11:17 | 24C | 0.79917 | 2.2391e-06 | 0 | 0.79917 | 27.2388 | 8.2741e-05
2013-10#4 | GS 8-16 | 2013-03-21 11:21 | 24C | 0.81092 | 2.0949e-06 | 0 | 0.81092 | 27.6853 | 8.0856e-05
2013-10#5 | GEO 1-21 | 2013-03-21 11:23 | 24C | 0.82716 | 1.1199e-06 | 0 | 0.82716 | 28.3034 | 4.0517e-05
2013-10#6 | GS 11-26 | 2013-03-21 11:25 | 24C | 0.8292 | 2.89e-06 | 0 | 0.8292 | 28.3809 | 0.00011392
2013-10#7 | GS 13-29 | 2013-03-21 11:27 | 24C | 0.83153 | 2.226e-06 | 0 | 0.83153 | 28.4698 | 8.4892e-05
2013-10#8 | GS 15-33 | 2013-03-21 11:29 | 24C | 0.81244 | 2.7426e-06 | 0 | 0.81244 | 27.7428 | 0.00010447
2013-10#9 | CPF 1-39 | 2013-03-21 11:31 | 24C | 0.83607 | 2.4912e-06 | 0 | 0.83607 | 28.6432 | 9.4366e-05
2013-10#10 | GS 19-42 | 2013-03-21 11:33 | 24C | 0.82649 | 1.1196e-06 | 0 | 0.82649 | 28.2779 | 4.2232e-05
2013-10#11 | GS 21-46 | 2013-03-21 11:36 | 24C | 0.84037 | 2.4908e-06 | 0 | 0.84037 | 28.8077 | 9.4478e-05
2013-10#12 | CPF 2-49 | 2013-03-21 11:38 | 24C | 0.84618 | 1.1532e-06 | 0 | 0.84618 | 29.0296 | 4.2224e-05
2013-10#13 | JS 01-52 | 2013-03-21 11:40 | 24C | 0.88526 | 1.1199e-06 | 0 | 0.88526 | 30.5305 | 4.4782e-05
2013-10#14 | JS 02-55 | 2013-03-21 11:42 | 24C | 0.8842 | 2.8661e-06 | 0 | 0.8842 | 30.4895 | 0.00011009
2013-10#15 | JS 03-58 | 2013-03-21 11:44 | 24C | 0.8833 | 1.3713e-06 | 0 | 0.8833 | 30.455 | 5.2783e-05
2013-10#16 | JS 04-61 | 2013-03-21 11:46 | 24C | 0.88552 | 1.3712e-06 | 0 | 0.88552 | 30.5406 | 5.3312e-05
2013-10#17 | T 05-88 | 2013-03-21 13:06 | 24C | 0.91103 | 7.6547e-06 | 0 | 0.91103 | 31.526 | 0.00029455
2013-10#18 | T 03-82 | 2013-03-21 13:08 | 24C | 0.91662 | 2.4911e-06 | 0 | 0.91662 | 31.7426 | 9.751e-05
2013-10#19 | T 02-79 | 2013-03-21 13:10 | 24C | 0.91472 | 2.1278e-06 | 0 | 0.91472 | 31.6691 | 8.208e-05
2013-10#20 | T 01-76 | 2013-03-21 13:12 | 24C | 0.90389 | 1.1203e-06 | 0 | 0.90389 | 31.2499 | 4.5848e-05
2013-10#21 | JS 08-73 | 2013-03-21 13:14 | 24C | 0.886 | 2.4909e-06 | 0 | 0.886 | 30.5592 | 9.9629e-05
2013-10#22 | JS 07-70 | 2013-03-21 13:16 | 24C | 0.88502 | 1.4046e-06 | 0 | 0.88502 | 30.5212 | 5.1714e-05
2013-10#23 | JS 06-67 | 2013-03-21 13:18 | 24C | 0.88396 | 2.2394e-06 | 0 | 0.88396 | 30.4803 | 8.5313e-05
2013-10#24 | JS 04-64 | 2013-03-21 13:20 | 24C | 0.88389 | 4.8217e-06 | 0 | 0.88389 | 30.4778 | 0.00018503
2013-10#25 | IVI 07-101 | 2013-03-21 13:23 | 24C | 0.87523 | 2.7426e-06 | 0 | 0.87523 | 30.1444 | 0.00010396
2013-10#26 | IVI 04-96 | 2013-03-21 13:26 | 24C | 0.88079 | 2.8877e-06 | 0 | 0.88079 | 30.3582 | 0.00011082
2013-10#27 | IVI 08-102 | 2013-03-21 13:28 | 24C | 0.85146 | 2.8804e-06 | 0 | 0.85146 | 29.2318 | 0.00011189
2013-10#28 | IVI 12-108 | 2013-03-21 13:30 | 24C | 0.82372 | 3.2141e-06 | 0 | 0.82372 | 28.1723 | 0.00012041
2013-10#29 | IVI 16-114 | 2013-03-21 13:32 | 24C | 0.83747 | 2.4909e-06 | 0 | 0.83747 | 28.6968 | 9.4885e-05
2013-10#30 | IVI 20-120 | 2013-03-21 13:34 | 24C | 0.85715 | 2.4744e-06 | 0 | 0.85715 | 29.4501 | 9.4909e-05
2013-10#31 | IVI 24-125 | 2013-03-21 13:36 | 24C | 0.86572 | 4.3085e-06 | 0 | 0.86572 | 29.7787 | 0.00016247
2013-10#32 | QCST 01-138 | 2013-03-21 13:38 | 24C | 0.91799 | 1.1196e-06 | 0 | 0.91799 | 31.7957 | 4.4364e-05
2013-10#33 | QCST 04-142 | 2013-03-21 13:40 | 24C | 0.89791 | 1.3713e-06 | 0 | 0.89791 | 31.0188 | 5.2246e-05
2013-10#34 | QCST 09-149 | 2013-03-21 13:42 | 24C | 0.90302 | 3.2149e-06 | 0 | 0.90302 | 31.2161 | 0.00012328
2013-10#35 | QCST 10-152 | 2013-03-21 13:44 | 24C | 0.90436 | 1.4046e-06 | 0 | 0.90436 | 31.2682 | 5.2235e-05
2013-10#36 | QCST 13-157 | 2013-03-21 13:46 | 24C | 0.89988 | 3.1418e-06 | 0 | 0.89988 | 31.095 | 0.00012346
2013-10#37 | QCST 16-162 | 2013-03-21 13:48 | 24C | 0.90196 | 2.4912e-06 | 0 | 0.90196 | 31.175 | 9.4364e-05
2013-10#38 | NYL21-1 | 2013-03-21 13:51 | 24C | 0.9896 | 1.3712e-06 | 0 | 0.9896 | 34.5912 | 5.5371e-05
2013-10#39 | NYL 21-2 | 2013-03-21 13:53 | 24C | 0.98961 | 2.4908e-06 | 0 | 0.98961 | 34.5913 | 0.00010061
2013-10#40 | NYL 21-3 | 2013-03-21 13:55 | 24C | 0.9896 | 2.2391e-06 | 0 | 0.9896 | 34.5912 | 8.9591e-05
2013-10#41 | NYL 21-4 | 2013-03-21 13:58 | 24C | 0.9896 | 1.1529e-06 | 0 | 0.9896 | 34.5911 | 4.4374e-05
2013-10#42 | NYL 21-5 | 2013-03-21 14:00 | 24C | 0.98961 | 3.4657e-06 | 0 | 0.98961 | 34.5913 | 0.00013908
2013-10#43 | NYL 21-6 | 2013-03-21 14:02 | 24C | 0.98961 | 2.8901e-06 | 0 | 0.98961 | 34.5912 | 0.00011603
2013-10#44 | NYL 21-7 | 2013-03-21 14:04 | 24C | 0.9896 | 1.1196e-06 | 0 | 0.9896 | 34.591 | 4.4374e-05
2013-10#45 | SIL 21-1 | 2013-03-21 14:06 | 24C | 0.98961 | 1.1063e-06 | 0 | 0.98961 | 34.5915 | 4.265e-05
2013-10#46 | SIL 21-2 | 2013-03-21 14:09 | 24C | 0.98961 | 2.4908e-06 | 0 | 0.98961 | 34.5914 | 9.9734e-05
2013-10#47 | SIL 21-3 | 2013-03-21 14:11 | 24C | 0.98961 | 3.1314e-06 | 0 | 0.98961 | 34.5916 | 0.00012313
2013-10#48 | SIL 21-4 | 2013-03-21 14:13 | 24C | 0.98961 | 1.1529e-06 | 0 | 0.98961 | 34.5912 | 4.5217e-05
2013-10#49 | SIL 21-5 | 2013-03-21 14:15 | 24C | 0.9896 | 2.2391e-06 | 0 | 0.9896 | 34.5911 | 8.8738e-05
2013-10#50 | SIL 21-6 | 2013-03-21 14:19 | 24C | 0.98964 | 4.0096e-06 | 0 | 0.98964 | 34.5924 | 0.00015847 | chipped bottle neck
2013-10#51 | SIL 21-7 | 2013-03-21 14:21 | 24C | 0.98961 | 3.4659e-06 | 0 | 0.98961 | 34.5914 | 0.00013931