## Notes
Analysis: | Hugh Maclean, 18-APR-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Peter Chandler
Program: | Strait of Georgia Survey
Cruise Dates: | 10-APR-13 to 15-APR-13
2013-05-27 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-04-18 10:57 | 24C | 0.99979 | 0 | 0 | 0.99979
No duplicates were collected so precision was not assessed.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2013-12 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater within 03-08 days after collection. For details including a duplicate analysis, see document QF2013-12SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-12 | 1 | SI | 2 | 30.4235
2013-12 | 4 | 56 | 11 | 31.1402
2013-12 | 11 | 46 | 25 | 30.5412
2013-12 | 15 | 42 | 37 | 30.9593
2013-12 | 24 | 2 | 53 | 30.9515
2013-12 | 29 | 3 | 68 | 31.0216
2013-12 | 33 | 6 | 84 | 30.5123
2013-12 | 36 | 9 | 97 | 30.4675
2013-12 | 41 | 12 | 109 | 30.602
2013-12 | 43 | 14 | 125 | 30.6326
2013-12 | 46 | 16 | 140 | 30.3408
2013-12 | 54 | 27 | 151 | 30.8668
2013-12 | 59 | 39 | 167 | 31.0662
2013-12 | 61 | 59 | 184 | 31.2493
2013-12 | 66 | 69 | 198 | 33.7099
2013-12 | 69 | 72 | 210 | 33.8039
2013-12 | 72 | 75 | 223 | 33.8749
2013-12 | 75 | 102 | 237 | 33.8952
2013-12 | 78 | ADCP | 252 | 32.1949
2013-12 | 81 | 65 | 262 | 31.9187
2013-12 | 84 | 62 | 272 | 31.4696

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling |  | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found here: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-12#1 | 1 | SI | 2 | 2013-04-18 11:00 | 24C | 0.88248 | 1.3712e-06 | 0 | 0.88248 | 30.4235 | 5.4869e-05 | #VALUE!
2013-12#2 | 4 | 56 | 11 | 2013-04-18 11:02 | 24C | 0.90105 | 2.7432e-06 | 0 | 0.90105 | 31.1402 | 0.00010656 | #VALUE!
2013-12#3 | 11 | 46 | 25 | 2013-04-18 11:04 | 24C | 0.88554 | 2.4909e-06 | 0 | 0.88554 | 30.5412 | 9.4898e-05 | #VALUE! |  | Sample number corrected. Was incorrectly labeled as sample 11.
2013-12#4 | 15 | 42 | 37 | 2013-04-18 11:06 | 24C | 0.89637 | 2.4909e-06 | 0 | 0.89637 | 30.9593 | 9.533e-05 | #VALUE!
2013-12#5 | 24 | 2 | 53 | 2013-04-18 11:09 | 24C | 0.89617 | 3.6108e-06 | 0 | 0.89617 | 30.9515 | 0.0001407 | #VALUE!
2013-12#6 | 29 | 3 | 68 | 2013-04-18 11:11 | 24C | 0.89799 | 2.8543e-06 | 0 | 0.89799 | 31.0216 | 0.00011025 | #VALUE!
2013-12#7 | 33 | 6 | 84 | 2013-04-18 11:13 | 24C | 0.88479 | 2.0945e-06 | 0 | 0.88479 | 30.5123 | 8.1508e-05 | #VALUE!
2013-12#8 | 36 | 9 | 97 | 2013-04-18 11:15 | 24C | 0.88363 | 1.1529e-06 | 0 | 0.88363 | 30.4676 | 4.4571e-05 | #VALUE!
2013-12#9 | 41 | 12 | 109 | 2013-04-18 11:17 | 24C | 0.88711 | 2.2398e-06 | 0 | 0.88711 | 30.602 | 8.7467e-05 | #VALUE!
2013-12#10 | 43 | 14 | 125 | 2013-04-18 11:19 | 24C | 0.88791 | 2.2401e-06 | 0 | 0.88791 | 30.6326 | 8.7865e-05 | #VALUE!
2013-12#11 | 46 | 16 | 140 | 2013-04-18 11:21 | 24C | 0.88034 | 3.2037e-06 | 0 | 0.88034 | 30.3408 | 0.00012333 | #VALUE!
2013-12#12 | 54 | 27 | 151 | 2013-04-18 11:23 | 24C | 0.89398 | 3.1418e-06 | 0 | 0.89398 | 30.8668 | 0.00012053 | #VALUE!
2013-12#13 | 59 | 39 | 167 | 2013-04-18 11:25 | 24C | 0.89914 | 1.1196e-06 | 0 | 0.89914 | 31.0662 | 4.3931e-05 | #VALUE!
2013-12#14 | 61 | 59 | 184 | 2013-04-18 11:27 | 24C | 0.90387 | 2.7425e-06 | 0 | 0.90387 | 31.2493 | 0.00010604 | #VALUE!
2013-12#15 | 66 | 69 | 198 | 2013-04-18 11:29 | 24C | 0.96712 | 2.7425e-06 | 0 | 0.96712 | 33.7099 | 0.00010866 | #VALUE!
2013-12#16 | 69 | 72 | 210 | 2013-04-18 11:32 | 24C | 0.96953 | 2.4916e-06 | 0 | 0.96953 | 33.8039 | 9.8131e-05 | #VALUE!
2013-12#17 | 72 | 75 | 223 | 2013-04-18 11:34 | 24C | 0.97134 | 2.2391e-06 | 0 | 0.97134 | 33.8749 | 8.5352e-05 | #VALUE!
2013-12#18 | 75 | 102 | 237 | 2013-04-18 11:36 | 24C | 0.97186 | 3.2141e-06 | 0 | 0.97186 | 33.8952 | 0.00012679 | #VALUE!
2013-12#19 | 78 | ADCP | 252 | 2013-04-18 11:38 | 24C | 0.92827 | 3.6111e-06 | 0 | 0.92827 | 32.1949 | 0.00014115 | #VALUE!
2013-12#20 | 81 | 65 | 262 | 2013-04-18 11:40 | 3C | 0.92116 | 1.1199e-06 | 0 | 0.92116 | 31.94 | 4.3085e-05 | #VALUE!
2013-12#21 | 84 | 62 | 272 | 2013-04-18 11:43 | 24C | 0.90957 | 2.7425e-06 | 0 | 0.90957 | 31.4696 | 0.00010552 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-04-18 10:57 | 24C | 0.99979 | 0 | 0 | 0.99979
2013-12#1 | Stn SI-2 | 2013-04-18 11:00 | 24C | 0.88248 | 1.3712e-06 | 0 | 0.88248 | 30.4235 | 5.4869e-05
2013-12#2 | Stn 56-11 | 2013-04-18 11:02 | 24C | 0.90105 | 2.7432e-06 | 0 | 0.90105 | 31.1402 | 0.00010656
2013-12#3 | Stn 46-11? | 2013-04-18 11:04 | 24C | 0.88554 | 2.4909e-06 | 0 | 0.88554 | 30.5412 | 9.4898e-05
2013-12#4 | Stn 42-37 | 2013-04-18 11:06 | 24C | 0.89637 | 2.4909e-06 | 0 | 0.89637 | 30.9593 | 9.533e-05
2013-12#5 | Stn 2-53 | 2013-04-18 11:09 | 24C | 0.89617 | 3.6108e-06 | 0 | 0.89617 | 30.9515 | 0.0001407
2013-12#6 | Stn 3-68 | 2013-04-18 11:11 | 24C | 0.89799 | 2.8543e-06 | 0 | 0.89799 | 31.0216 | 0.00011025
2013-12#7 | Stn 6-84 | 2013-04-18 11:13 | 24C | 0.88479 | 2.0945e-06 | 0 | 0.88479 | 30.5123 | 8.1508e-05
2013-12#8 | Stn 9-97 | 2013-04-18 11:15 | 24C | 0.88363 | 1.1529e-06 | 0 | 0.88363 | 30.4676 | 4.4571e-05
2013-12#9 | Stn 12-109 | 2013-04-18 11:17 | 24C | 0.88711 | 2.2398e-06 | 0 | 0.88711 | 30.602 | 8.7467e-05
2013-12#10 | Stn 14-125 | 2013-04-18 11:19 | 24C | 0.88791 | 2.2401e-06 | 0 | 0.88791 | 30.6326 | 8.7865e-05
2013-12#11 | Stn 16-140 | 2013-04-18 11:21 | 24C | 0.88034 | 3.2037e-06 | 0 | 0.88034 | 30.3408 | 0.00012333
2013-12#12 | Stn 27-151 | 2013-04-18 11:23 | 24C | 0.89398 | 3.1418e-06 | 0 | 0.89398 | 30.8668 | 0.00012053
2013-12#13 | Stn 39-167 | 2013-04-18 11:25 | 24C | 0.89914 | 1.1196e-06 | 0 | 0.89914 | 31.0662 | 4.3931e-05
2013-12#14 | Stn 59-184 | 2013-04-18 11:27 | 24C | 0.90387 | 2.7425e-06 | 0 | 0.90387 | 31.2493 | 0.00010604
2013-12#15 | Stn 69-198 | 2013-04-18 11:29 | 24C | 0.96712 | 2.7425e-06 | 0 | 0.96712 | 33.7099 | 0.00010866
2013-12#16 | Stn 72-210 | 2013-04-18 11:32 | 24C | 0.96953 | 2.4916e-06 | 0 | 0.96953 | 33.8039 | 9.8131e-05
2013-12#17 | Stn 75-223 | 2013-04-18 11:34 | 24C | 0.97134 | 2.2391e-06 | 0 | 0.97134 | 33.8749 | 8.5352e-05
2013-12#18 | Stn 102-237 | 2013-04-18 11:36 | 24C | 0.97186 | 3.2141e-06 | 0 | 0.97186 | 33.8952 | 0.00012679
2013-12#19 | Stn ADCP-252 | 2013-04-18 11:38 | 24C | 0.92827 | 3.6111e-06 | 0 | 0.92827 | 32.1949 | 0.00014115
2013-12#20 | Stn 65-262 | 2013-04-18 11:40 | 3C | 0.92116 | 1.1199e-06 | 0 | 0.92116 | 31.94 | 4.3085e-05
2013-12#21 | Stn 62-272 | 2013-04-18 11:43 | 24C | 0.90957 | 2.7425e-06 | 0 | 0.90957 | 31.4696 | 0.00010552