File List for SeaBird Data          Cruise Number: _2013-13____

[osdcommon\cruise_data\2013-13\ARCHIVE]

[osdcommon\cruise_data\2013-13\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2013-13\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2013-13\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2013-13\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2013-13\PROCESSING]

[osdcommon\cruise_data\2013-13\PROCESSING\ANGELICA]	 – special files for Dr. Peῆa

[osdcommon\cruise_data\2013-13\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2013-13\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2013-13\PROCESSING\DOC]

2013-13-recal1.ccf – calibration control file for all CTD and CHE files

2013-13-ctd-test47.xmlcon – configuration file used in conversion

2013-13-ctd-test*.xmlcon – configuration files used to test which DO sensor was used

2013-13-ctd.xmlcon – File originally thought to be correct but has wrong DO sensor

2013-13_file.doc - this document

2013-13_proc.doc - processing notes

2013-13-ctd-final.rpt – CHE file header check including channel summary

2013-13-altimeter-ctd.csv – report on header entries for altimetry

2013-13-xref-ctd.lis – cross-reference list of CTD casts.

*hdr.txt – header files with comments for CTD files

[osdcommon\cruise_data\2013-13\PROCESSING\DOC\hydro]

2013-13-che-altimeter.csv – report on header entries for altimetry from bottle files

2013-13-che-final.rpt – CTD file header check including channel summary

2013-13chl.csv – extracted CHL simplified from analyst’s s/s

2013-13nuts.csv – nutrients simplified from analyst’s s/s

2013-13oxy.csv – nutrients simplified from analyst’s s/s

2013-13sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2013-13-dox-comp1.csv & .xlsx – comparison of titrated DO & CTD DO after initial calib.

2013-13-dox-comp2.csv & .xlsx - comparison of titrated DO and downcast CTD DO

2013-13-dox-comp3.csv & .xlsx - comparison of titrated DO with upcast CTD DO

2013-13-sal-comp1.csv & xlsx –salinity COMPARE file

2013-13-fl-chl-comp1.csv & xlsx – comparison of SBE Fluorometer and extracted CHL

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2013-13-xref-che.lis – cross-reference list of CHE casts

2013-13-bottles-final.xlsx – s/s version of all bottle samples

*hdr.txt – header files with comments for CHE files

[osdcommon\cruise_data\2013-13\PROCESSING\HYDRO]

*.bot* -*.ros files converted to IOS HEADERS + added event numbers; 2nd run pad values for bad data

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted CHL data converted from simplified version of analyst’s spreadsheet

*.log – log file from CTDEDIT run on cast #1

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy - DO data converted from simplified analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2013-13\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log* - log files created by CTDEDIT

Delete.log - log from routine DELETE

________________________________________________________________________

[osdcommon\cruise_data\2013-13\RAW]

[osdcommon\cruise_data\2013-13\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2013-13\RAW\CTD] raw CTD data