## Notes
Cruise: 2013-13 June Chandler |  |  |  | File: QF2013-13chl.xlsx
Date: October 09, 2013
Analysis: | By Tamara Fraser in IOS lab 1409 August 12 - 15 and October 8, 2013 |  | Example Only | Updated: October 09, 2013
Chlorophyll and phaeo-pigment analysis at IOS
A detailed description of chlorophyll sampling is found on the Water Properties Website:
http://www.waterproperties.ca/standards/Chlorophyll_sampling_12Feb2010.pdf
Notes:
duplicate samples not received in the laboratory: 9,95
duplicate data not available due to errors during analysis (forgot to read Ra or Rb): 93A, 265A
%CV>15: 194
2013-12-20 | GG
Samples 145 to 148 were identifed as being from cast #42 but should be cast #44

## QF CHL Profile
Cruise: 2013-13 June Chandler | [5 empty] | File: QF2013-13chl.xlsx
Notes: | Flags and comments apply to chlorophyll values only. No flags or comments are assigned for Phaeo-Pigment values |  |  |  |  | Date: October 09, 2013
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis |  |  |  |  | Updated: October 09, 2013
Samples were extracted in 90% acetone at -20C for 24 hours in the lab
and analyzed on a Turner 10AU fluorometer calibrated with commercially pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acidification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen et al 1965).
Chlorophyll samples were analyzed IOS in room 1409.
The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %" in file QF2013-13chl.xlsx
Cruise_Number | Event_Number | Sample_Number | Chlorophyll:Extracted | Flag:Chlorophyll:Extracted | Phaeo-Pigment:Extracted | Comments
|  |  | µg/L |  | µg/L
2013-13 | 1 | 6 | 0.51718 | 6 | 0.67744
2013-13 | 1 | 7 | 0.96204 | 6 | 0.54173
2013-13 | 1 | 9 | 6.9129 |  | 2.241
2013-13 | 3 | 20 | 0.82212 | 6 | 0.74043
2013-13 | 3 | 21 | 0.91836 | 6 | 0.76284
2013-13 | 3 | 23 | 0.99323 | 6 | 0.81502
2013-13 | 8 | 34 | 5.2092 | 6 | 2.3622
2013-13 | 8 | 35 | 5.2777 | 6 | 2.3041
2013-13 | 8 | 37 | 4.9073 | 6 | 1.945
2013-13 | 11 | 47 | 5.9272 | 6 | 2.3002
2013-13 | 11 | 48 | 6.5463 | 6 | 2.4585
2013-13 | 11 | 50 | 4.8243 | 6 | 1.9482
2013-13 | 14 | 60 | 0.95729 | 6 | 0.66201
2013-13 | 14 | 61 | 1.3262 | 6 | 0.85928
2013-13 | 14 | 63 | 2.4741 | 6 | 1.0041
2013-13 | 17 | 72 | 0.52045 | 6 | 0.44405
2013-13 | 17 | 73 | 0.57218 | 6 | 0.48104
2013-13 | 17 | 75 | 0.59673 | 6 | 0.37351
2013-13 | 20 | 82 | 0.49683 | 6 | 0.45794
2013-13 | 20 | 83 | 0.59779 | 6 | 0.50006
2013-13 | 20 | 85 | 0.69694 | 6 | 0.53143
2013-13 | 24 | 92 | 0.57645 | 6 | 0.53364
2013-13 | 24 | 93 | 0.62517 |  | 0.45902
2013-13 | 24 | 95 | 0.63454 |  | 0.39004
2013-13 | 27 | 103 | 0.74296 | 6 | 0.59445
2013-13 | 27 | 104 | 0.8688 | 6 | 0.64389
2013-13 | 27 | 106 | 0.90301 | 6 | 0.53136
2013-13 | 33 | 117 | 0.6808 | 6 | 0.78285
2013-13 | 33 | 118 | 0.82507 | 6 | 0.76397
2013-13 | 33 | 120 | 0.96327 | 6 | 0.81664
2013-13 | 40 | 129 | 0.8058 | 6 | 0.67664
2013-13 | 40 | 130 | 1.8018 | 6 | 1.6436
2013-13 | 40 | 132 | 3.7164 | 6 | 1.8628
2013-13 | 44 | 145 | 0.13955 | 6 | 0.32133
2013-13 | 44 | 146 | 0.63016 | 6 | 0.50554
2013-13 | 44 | 148 | 2.4635 | 6 | 1.1522
2013-13 | 51 | 162 | 0.65516 | 6 | 0.6567
2013-13 | 51 | 163 | 1.5008 | 6 | 1.1008
2013-13 | 51 | 165 | 4.0002 | 6 | 1.3162
2013-13 | 56 | 178 | 0.28529 | 6 | 0.52541
2013-13 | 56 | 179 | 1.2904 | 6 | 1.1246
2013-13 | 56 | 181 | 5.3199 | 6 | 1.724
2013-13 | 60 | 193 | 0.33963 | 6 | 0.6212
2013-13 | 60 | 194 | 1.7853 | 36 | 1.0809 | CHL: %CV>15
2013-13 | 60 | 196 | 3.5466 | 6 | 1.7769
2013-13 | 65 | 209 | 0.538 | 6 | 0.71173
2013-13 | 65 | 210 | 1.055 | 6 | 0.92513
2013-13 | 65 | 212 | 4.1147 | 6 | 1.3419
2013-13 | 69 | 222 | 0.77545 | 6 | 0.77617
2013-13 | 69 | 223 | 1.7463 | 6 | 1.4998
2013-13 | 69 | 225 | 2.7892 | 6 | 1.6968
2013-13 | 72 | 234 | 0.32461 | 6 | 0.59403
2013-13 | 72 | 235 | 0.70632 | 6 | 0.82582
2013-13 | 72 | 237 | 1.8965 | 6 | 1.3008
2013-13 | 77 | 250 | 1.5449 | 6 | 0.90914 | CHL: spilled ~80% of 250A before analysis
2013-13 | 77 | 251 | 1.1211 | 6 | 1.2096
2013-13 | 77 | 253 | 1.1031 | 6 | 0.73746
2013-13 | 79 | 266 | 0.92573 | 6 | 1.0349
2013-13 | 79 | 268 | 3.739 | 6 | 1.604
2013-13 | 81 | 276 | 0.26179 | 6 | 0.36762
2013-13 | 81 | 277 | 3.3242 | 6 | 1.1683
2013-13 | 81 | 279 | 4.4994 | 6 | 1.2559

## CV %
Cruise: 2013-13 June Chandler | [9 empty] | File: QF2013-13chl.xlsx
Averaging Duplicates and calculating CV % | [9 empty] | Date: October 09, 2013
Average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100). | [9 empty] | Updated: October 09, 2013
When CV % is greater than 15 %, Quality Flag is 3 with an associated comment (see example).
When CV % is greater than 50 %, Quality Flag is 4 with an associated comment.
Cruise_Number | Sample_Number | Duplicate | Chl.a | Phaeo | Chl | CV% | Chlorophyll:Extracted | Phaeo-Pigment:Extracted | Flag:Chlorophyll:Extracted | Comments
|  |  | µg/L | µg/L | Avg | Chl |  | Avg
2013-13 | 6 |  | 0.51697 | 0.67759 | 0.51718 | 0.057532 | 0.51718 | 0.67744 | 6
2013-13 | 6 |  | 0.51739 | 0.67729
2013-13 | 7 |  | 0.98584 | 0.53981 | 0.96204 | 3.4993 | 0.96204 | 0.54173 | 6
2013-13 | 7 |  | 0.93823 | 0.54366
2013-13 | 23A |  | 0.98861 | 0.79712 | 0.99323 | 0.65905 | 0.99323 | 0.81502 | 6
2013-13 | 23B |  | 0.99786 | 0.83292
2013-13 | 34A |  | 5.369 | 2.2429 | 5.2092 | 4.3385 | 5.2092 | 2.3622 | 6
2013-13 | 34B |  | 5.0494 | 2.4814
2013-13 | 35A |  | 5.2656 | 2.2373 | 5.2777 | 0.32537 | 5.2777 | 2.3041 | 6
2013-13 | 35B |  | 5.2899 | 2.3708
2013-13 | 37A |  | 4.8853 | 1.8727 | 4.9073 | 0.63231 | 4.9073 | 1.945 | 6
2013-13 | 37B |  | 4.9292 | 2.0174
2013-13 | 47A |  | 6.1437 | 2.4556 | 5.9272 | 5.1655 | 5.9272 | 2.3002 | 6
2013-13 | 47B |  | 5.7107 | 2.1448
2013-13 | 48A |  | 6.5403 | 2.5101 | 6.5463 | 0.12856 | 6.5463 | 2.4585 | 6
2013-13 | 48B |  | 6.5522 | 2.4069
2013-13 | 50A |  | 4.8397 | 1.8886 | 4.8243 | 0.45023 | 4.8243 | 1.9482 | 6
2013-13 | 50B |  | 4.809 | 2.0077
2013-13 | 60A |  | 0.95879 | 0.68923 | 0.95729 | 0.22201 | 0.95729 | 0.66201 | 6
2013-13 | 60B |  | 0.95578 | 0.63479
2013-13 | 61A |  | 1.36 | 0.81015 | 1.3262 | 3.6056 | 1.3262 | 0.85928 | 6
2013-13 | 61B |  | 1.2924 | 0.90842
2013-13 | 63A |  | 2.4956 | 1.0006 | 2.4741 | 1.2284 | 2.4741 | 1.0041 | 6
2013-13 | 63B |  | 2.4526 | 1.0077
2013-13 | 72A |  | 0.51793 | 0.41778 | 0.52045 | 0.68604 | 0.52045 | 0.44405 | 6
2013-13 | 72B |  | 0.52298 | 0.47032
2013-13 | 73A |  | 0.5793 | 0.49488 | 0.57218 | 1.7606 | 0.57218 | 0.48104 | 6
2013-13 | 73B |  | 0.56505 | 0.46719
2013-13 | 75A |  | 0.60437 | 0.3688 | 0.59673 | 1.8093 | 0.59673 | 0.37351 | 6
2013-13 | 75B |  | 0.5891 | 0.37823
2013-13 | 82A |  | 0.51276 | 0.44892 | 0.49683 | 4.5344 | 0.49683 | 0.45794 | 6
2013-13 | 82B |  | 0.4809 | 0.46695
2013-13 | 83A |  | 0.59445 | 0.46513 | 0.59779 | 0.78927 | 0.59779 | 0.50006 | 6
2013-13 | 83B |  | 0.60112 | 0.535
2013-13 | 85A |  | 0.67855 | 0.53821 | 0.69694 | 3.7325 | 0.69694 | 0.53143 | 6
2013-13 | 85B |  | 0.71534 | 0.52466
2013-13 | 92A |  | 0.56379 | 0.55272 | 0.57645 | 3.1044 | 0.57645 | 0.53364 | 6
2013-13 | 92B |  | 0.5891 | 0.51456
2013-13 | 103A |  | 0.74052 | 0.6099 | 0.74296 | 0.46341 | 0.74296 | 0.59445 | 6
2013-13 | 103B |  | 0.74539 | 0.579
2013-13 | 104A |  | 0.89002 | 0.68763 | 0.8688 | 3.4541 | 0.8688 | 0.64389 | 6
2013-13 | 104B |  | 0.84758 | 0.60016
2013-13 | 106A |  | 0.91034 | 0.54961 | 0.90301 | 1.1485 | 0.90301 | 0.53136 | 6
2013-13 | 106B |  | 0.89567 | 0.51312
2013-13 | 117A |  | 0.6643 | 0.82824 | 0.6808 | 3.4277 | 0.6808 | 0.78285 | 6
2013-13 | 117B |  | 0.6973 | 0.73746
2013-13 | 118A |  | 0.80256 | 0.77847 | 0.82507 | 3.8587 | 0.82507 | 0.76397 | 6
2013-13 | 118B |  | 0.84758 | 0.74948
2013-13 | 120A |  | 0.94671 | 0.82129 | 0.96327 | 2.4314 | 0.96327 | 0.81664 | 6
2013-13 | 120B |  | 0.97983 | 0.812
2013-13 | 129A |  | 0.80009 | 0.68459 | 0.8058 | 1.0022 | 0.8058 | 0.67664 | 6
2013-13 | 129B |  | 0.81152 | 0.66869
2013-13 | 130A |  | 1.8123 | 1.5988 | 1.8018 | 0.82096 | 1.8018 | 1.6436 | 6
2013-13 | 130B |  | 1.7913 | 1.6884
2013-13 | 132A |  | 3.5977 | 1.4452 | 3.7164 | 4.5177 | 3.7164 | 1.8628 | 6
2013-13 | 132B |  | 3.8352 | 2.2804
2013-13 | 145A |  | 0.13904 | 0.36137 | 0.13955 | 0.5178 | 0.13955 | 0.32133 | 6
2013-13 | 145B |  | 0.14006 | 0.28128
2013-13 | 146A |  | 0.60509 | 0.49773 | 0.63016 | 5.6256 | 0.63016 | 0.50554 | 6
2013-13 | 146B |  | 0.65522 | 0.51336
2013-13 | 148A |  | 2.294 | 1.159 | 2.4635 | 9.7281 | 2.4635 | 1.1522 | 6
2013-13 | 148B |  | 2.6329 | 1.1455
2013-13 | 162A |  | 0.6316 | 0.68299 | 0.65516 | 5.0864 | 0.65516 | 0.6567 | 6
2013-13 | 162B |  | 0.67873 | 0.63041
2013-13 | 163A |  | 1.5547 | 1.1027 | 1.5008 | 5.0838 | 1.5008 | 1.1008 | 6
2013-13 | 163B |  | 1.4468 | 1.0988
2013-13 | 165A |  | 4.1963 | 1.3276 | 4.0002 | 6.9345 | 4.0002 | 1.3162 | 6
2013-13 | 165A |  | 3.804 | 1.3048
2013-13 | 178A |  | 0.3121 | 0.50428 | 0.28529 | 13.2899 | 0.28529 | 0.52541 | 6
2013-13 | 178B |  | 0.25848 | 0.54654
2013-13 | 179A |  | 1.4019 | 1.1304 | 1.2904 | 12.2276 | 1.2904 | 1.1246 | 6
2013-13 | 179B |  | 1.1788 | 1.1188
2013-13 | 181A |  | 5.35 | 1.7913 | 5.3199 | 0.79899 | 5.3199 | 1.724 | 6
2013-13 | 181B |  | 5.2899 | 1.6567
2013-13 | 193A |  | 0.36067 | 0.55472 | 0.33963 | 8.7606 | 0.33963 | 0.6212 | 6
2013-13 | 193B |  | 0.31859 | 0.68768
2013-13 | 194A |  | 1.9837 | 1.0676 | 1.7853 | 15.7135 | 1.7853 | 1.0809 | 36 | CHL: %CV>15
2013-13 | 194B |  | 1.587 | 1.0943
2013-13 | 196A |  | 3.4925 | 1.6298 | 3.5466 | 2.1573 | 3.5466 | 1.7769 | 6
2013-13 | 196B |  | 3.6007 | 1.9241
2013-13 | 209A |  | 0.56505 | 0.75285 | 0.538 | 7.1106 | 0.538 | 0.71173 | 6
2013-13 | 209B |  | 0.51095 | 0.67061
2013-13 | 20A |  | 0.85077 | 0.76168 | 0.82212 | 4.9272 | 0.82212 | 0.74043 | 6
2013-13 | 20B |  | 0.79348 | 0.71918
2013-13 | 210A |  | 1.1121 | 0.89399 | 1.055 | 7.6553 | 1.055 | 0.92513 | 6
2013-13 | 210B |  | 0.99786 | 0.95627
2013-13 | 212A |  | 4.0876 | 1.2359 | 4.1147 | 0.92972 | 4.1147 | 1.3419 | 6
2013-13 | 212B |  | 4.1417 | 1.448
2013-13 | 21A |  | 0.89297 | 0.762 | 0.91836 | 3.911 | 0.91836 | 0.76284 | 6
2013-13 | 21B |  | 0.94376 | 0.76367
2013-13 | 222A |  | 0.79949 | 0.78458 | 0.77545 | 4.3852 | 0.77545 | 0.77617 | 6
2013-13 | 222B |  | 0.7514 | 0.76775
2013-13 | 223A |  | 1.7913 | 1.3768 | 1.7463 | 3.6512 | 1.7463 | 1.4998 | 6
2013-13 | 223B |  | 1.7012 | 1.6228
2013-13 | 225A |  | 2.663 | 1.7322 | 2.7892 | 6.4005 | 2.7892 | 1.6968 | 6
2013-13 | 225B |  | 2.9154 | 1.6615
2013-13 | 234A |  | 0.34264 | 0.58573 | 0.32461 | 7.8567 | 0.32461 | 0.59403 | 6
2013-13 | 234B |  | 0.30657 | 0.60232
2013-13 | 235A |  | 0.72736 | 0.82426 | 0.70632 | 4.2126 | 0.70632 | 0.82582 | 6
2013-13 | 235B |  | 0.68528 | 0.82738
2013-13 | 237A |  | 1.8995 | 1.366 | 1.8965 | 0.22412 | 1.8965 | 1.3008 | 6
2013-13 | 237B |  | 1.8935 | 1.2357
2013-13 | 250A |  | 1.6771 | 1.0561 | 1.5449 | 12.1061 | 1.5449 | 0.90914 | 6 | CHL: spilled ~80% of 250A before analysis
2013-13 | 250B |  | 1.4126 | 0.76222
2013-13 | 251A |  | 1.2143 | 0.99305 | 1.1211 | 11.7535 | 1.1211 | 1.2096 | 6
2013-13 | 251B |  | 1.0279 | 1.4261
2013-13 | 253A |  | 1.1181 | 0.72567 | 1.1031 | 1.9267 | 1.1031 | 0.73746 | 6
2013-13 | 253B |  | 1.088 | 0.74924
2013-13 | 266A |  | 0.95578 | 1.284 | 0.92573 | 4.5916 | 0.92573 | 1.0349 | 6
2013-13 | 266B |  | 0.89567 | 0.78579
2013-13 | 268A |  | 3.5045 | 1.6697 | 3.739 | 8.8673 | 3.739 | 1.604 | 6
2013-13 | 268B |  | 3.9734 | 1.5384
2013-13 | 276A |  | 0.24646 | 0.41574 | 0.26179 | 8.2807 | 0.26179 | 0.36762 | 6
2013-13 | 276B |  | 0.27712 | 0.31951
2013-13 | 277A |  | 3.3062 | 1.1085 | 3.3242 | 0.7672 | 3.3242 | 1.1683 | 6
2013-13 | 277B |  | 3.3422 | 1.2282
2013-13 | 279A |  | 4.5265 | 1.3619 | 4.4994 | 0.85023 | 4.4994 | 1.2559 | 6
2013-13 | 279B |  | 4.4724 | 1.1498

## Raw Data
Cruise 2013-13 June Chandler | [15 empty] | File: QF2013-13chl.xlsx
Ensure that the calibration information is current and the equation is entered in columns N and O correctly. | [15 empty] | Date: October 09, 2013
For Example: | [15 empty] | Updated: October 09, 2013
May 2013 Chlorophyll Calibration Factors for the OSD Water Properties Fluorometer
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 7, 2013
May 7, 2013: chl (ug/L)= 1.03*(2.08/(2.08-1)*Fo-Fa)*(vol ext/vol filtered)*(dilution factor)
May 7, 2013: phaeo (ug/L)= 1.03*(2.08/(2.08-1)*((2.08*Fa)-Fo)*(vol ext/vol filtered)*(dilution factor)
Analysis: | By Tamara Fraser in IOS lab 1409 August 12 - 15 and October 8, 2013
Cruise_Number | Analyzed_Date | Station_Number | Sample_Number | Duplicate | Sampling_Date | Depth | Bottle_Number | Volume | Vol.acet. | Dilution | Before | After | Chl.a | Phaeo | RATIO | Comments
[8 empty] | Filtered | 2 | Factor | acid | acid | µg/L | µg/L | Rb/Ra
2013-13 | 2013-08-15 | SI | 6 |  |  |  |  | 330 | 10 | 1 | 27 | 18.4 | 0.51697 | 0.67759 | 1.4674
2013-13 | 2013-10-08 | SI | 6 | 27.009 | 18.402 |  |  | 330 | 10 | 1 | 27.009 | 18.402 | 0.51739 | 0.67729 | 1.4677
2013-13 | 2013-08-15 | SI | 7 |  |  |  |  | 330 | 10 | 1 | 39.9 | 23.5 | 0.98584 | 0.53981 | 1.6979
2013-13 | 2013-10-08 | SI | 7 | 38.434 | 22.826 |  |  | 330 | 10 | 1 | 38.434 | 22.826 | 0.93823 | 0.54366 | 1.6838
2013-13 | 2013-08-15 | SI | 9 |  |  |  |  | 330 | 10 | 1 | 256 | 141 | 6.9129 | 2.241 | 1.8156 | SOME SAMPLE LOST BEFORE FULLY EXTRACTED
2013-13 | 2013-10-08 | SI | 9 | 241.904 | 77.476 |  |  | 330 | 10 | 1 | [5 empty] | forgot to read Ra
2013-13 | 2013-10-08 | 59 | 20A | 38.99 | 24.837 |  |  | 330 | 10 | 1 | 38.99 | 24.837 | 0.85077 | 0.76168 | 1.5698
2013-13 | 2013-08-15 | 59 | 20B |  |  |  |  | 330 | 10 | 1 | 36.5 | 23.3 | 0.79348 | 0.71918 | 1.5665
2013-13 | 2013-10-08 | 59 | 21A | 40.347 | 25.492 |  |  | 330 | 10 | 1 | 40.347 | 25.492 | 0.89297 | 0.762 | 1.5827
2013-13 | 2013-08-15 | 59 | 21B |  |  |  |  | 330 | 10 | 1 | 42 | 26.3 | 0.94376 | 0.76367 | 1.597
2013-13 | 2013-10-08 | 59 | 23A | 43.952 | 27.506 |  |  | 330 | 10 | 1 | 43.952 | 27.506 | 0.98861 | 0.79712 | 1.5979
2013-13 | 2013-08-15 | 59 | 23B |  |  |  |  | 330 | 10 | 1 | 44.8 | 28.2 | 0.99786 | 0.83292 | 1.5887
2013-13 | 2013-10-08 | 102 | 34A | 206.566 | 117.249 |  |  | 330 | 10 | 1 | 206.566 | 117.249 | 5.369 | 2.2429 | 1.7618
2013-13 | 2013-08-15 | 102 | 34B |  |  |  |  | 330 | 10 | 1 | 200 | 116 | 5.0494 | 2.4814 | 1.7241
2013-13 | 2013-10-08 | 102 | 35A | 203.165 | 115.569 |  |  | 330 | 10 | 1 | 203.165 | 115.569 | 5.2656 | 2.2373 | 1.758
2013-13 | 2013-08-15 | 102 | 35B |  |  |  |  | 330 | 10 | 1 | 206 | 118 | 5.2899 | 2.3708 | 1.7458
2013-13 | 2013-10-08 | 102 | 37A | 185.366 | 104.096 |  |  | 330 | 10 | 1 | 185.366 | 104.096 | 4.8853 | 1.8727 | 1.7807
2013-13 | 2013-08-15 | 102 | 37B |  |  |  |  | 330 | 10 | 1 | 189 | 107 | 4.9292 | 2.0174 | 1.7664
2013-13 | 2013-10-08 | 75 | 47A | 234.659 | 132.456 |  |  | 330 | 10 | 1 | 234.659 | 132.456 | 6.1437 | 2.4556 | 1.7716
2013-13 | 2013-08-15 | 75 | 47B |  |  |  |  | 330 | 10 | 1 | 216 | 121 | 5.7107 | 2.1448 | 1.7851
2013-13 | 2013-10-08 | 75 | 48A | 124.104 | 69.703 |  |  | 330 | 20 | 1 | 124.104 | 69.703 | 6.5403 | 2.5101 | 1.7805
2013-13 | 2013-08-15 | 75 | 48B |  |  |  |  | 330 | 10 | 1 | 247 | 138 | 6.5522 | 2.4069 | 1.7899
2013-13 | 2013-10-08 | 75 | 50A | 184.149 | 103.638 |  |  | 330 | 10 | 1 | 184.149 | 103.638 | 4.8397 | 1.8886 | 1.7768
2013-13 | 2013-08-15 | 75 | 50B |  |  |  |  | 330 | 10 | 1 | 185 | 105 | 4.809 | 2.0077 | 1.7619
2013-13 | 2013-10-08 | 72 | 60A | 41.335 | 25.385 |  |  | 330 | 10 | 1 | 41.335 | 25.385 | 0.95879 | 0.68923 | 1.6283
2013-13 | 2013-08-15 | 72 | 60B |  |  |  |  | 330 | 10 | 1 | 40.4 | 24.5 | 0.95578 | 0.63479 | 1.649
2013-13 | 2013-10-08 | 72 | 61A | 56.053 | 33.428 |  |  | 330 | 10 | 1 | 56.053 | 33.428 | 1.36 | 0.81015 | 1.6768
2013-13 | 2013-08-15 | 72 | 61B |  |  |  |  | 330 | 10 | 1 | 55.4 | 33.9 | 1.2924 | 0.90842 | 1.6342
2013-13 | 2013-10-08 | 72 | 63A | 95.367 | 53.852 |  |  | 330 | 10 | 1 | 95.367 | 53.852 | 2.4956 | 1.0006 | 1.7709
2013-13 | 2013-08-15 | 72 | 63B |  |  |  |  | 330 | 10 | 1 | 94.1 | 53.3 | 2.4526 | 1.0077 | 1.7655
2013-13 | 2013-10-08 | 69 | 72A | 23.029 | 14.413 |  |  | 330 | 10 | 1 | 23.029 | 14.413 | 0.51793 | 0.41778 | 1.5978
2013-13 | 2013-08-15 | 69 | 72B |  |  |  |  | 330 | 10 | 1 | 24 | 15.3 | 0.52298 | 0.47032 | 1.5686
2013-13 | 2013-10-08 | 69 | 73A | 26.183 | 16.546 |  |  | 330 | 10 | 1 | 26.183 | 16.546 | 0.5793 | 0.49488 | 1.5824
2013-13 | 2013-08-15 | 69 | 73B |  |  |  |  | 330 | 10 | 1 | 25.3 | 15.9 | 0.56505 | 0.46719 | 1.5912
2013-13 | 2013-10-08 | 69 | 75A | 25.044 | 14.99 |  |  | 330 | 10 | 1 | 25.044 | 14.99 | 0.60437 | 0.3688 | 1.6707
2013-13 | 2013-08-15 | 69 | 75B |  |  |  |  | 330 | 10 | 1 | 24.7 | 14.9 | 0.5891 | 0.37823 | 1.6577 | SOME SAMPLE LOST BEFORE FULLY EXTRACTED
2013-13 | 2013-10-08 | ADCP | 82A | 23.343 | 14.813 |  |  | 330 | 10 | 1 | 23.343 | 14.813 | 0.51276 | 0.44892 | 1.5758
2013-13 | 2013-08-15 | ADCP | 82B |  |  |  |  | 330 | 10 | 1 | 22.6 | 14.6 | 0.4809 | 0.46695 | 1.5479
2013-13 | 2013-10-08 | ACDP | 83A | 26.21 | 16.321 |  |  | 330 | 10 | 1 | 26.21 | 16.321 | 0.59445 | 0.46513 | 1.6059
2013-13 | 2013-08-14 | ADCP | 83B |  |  |  |  | 330 | 10 | 1 | 27.5 | 17.5 | 0.60112 | 0.535 | 1.5714
2013-13 | 2013-10-08 | ADCP | 85A | 30.03 | 18.742 |  |  | 330 | 10 | 1 | 30.03 | 18.742 | 0.67855 | 0.53821 | 1.6023
2013-13 | 2013-08-14 | ADCP | 85B |  |  |  |  | 330 | 10 | 1 | 31 | 19.1 | 0.71534 | 0.52466 | 1.623
2013-13 | 2013-10-08 | 65 | 92A | 26.577 | 17.198 |  |  | 330 | 10 | 1 | 26.577 | 17.198 | 0.56379 | 0.55272 | 1.5454
2013-13 | 2013-08-14 | 65 | 92B |  |  |  |  | 330 | 10 | 1 | 26.8 | 17 | 0.5891 | 0.51456 | 1.5765
2013-13 | 2013-10-08 | 65 | 93A | 16.539 | 16.055 |  |  | 330 | 10 | 1 | [5 empty] | forgot to read Rb
2013-13 | 2013-08-14 | 65 | 93B |  |  |  |  | 330 | 10 | 1 | 27.1 | 16.7 | 0.62517 | 0.45902 | 1.6228
2013-13 | 2013-10-08 | 65 | 95A | 26.338 | 15.782 |  |  | 330 | 10 | 1 | 26.338 | 15.782 | 0.63454 | 0.39004 | 1.6689
2013-13 | 2013-10-08 | 62 | 103A | 33.12 | 20.801 |  |  | 330 | 10 | 1 | 33.12 | 20.801 | 0.74052 | 0.6099 | 1.5922
2013-13 | 2013-08-14 | 62 | 103B |  |  |  |  | 330 | 10 | 1 | 32.8 | 20.4 | 0.74539 | 0.579 | 1.6078
2013-13 | 2013-10-08 | 62 | 104A | 39.107 | 24.301 |  |  | 330 | 10 | 1 | 39.107 | 24.301 | 0.89002 | 0.68763 | 1.6093
2013-13 | 2013-08-14 | 62 | 104B |  |  |  |  | 330 | 10 | 1 | 36.4 | 22.3 | 0.84758 | 0.60016 | 1.6323
2013-13 | 2013-10-08 | 62 | 106A | 37.632 | 22.488 |  |  | 330 | 10 | 1 | 37.632 | 22.488 | 0.91034 | 0.54961 | 1.6734
2013-13 | 2013-08-14 | 62 | 106B |  |  |  |  | 330 | 10 | 1 | 36.6 | 21.7 | 0.89567 | 0.51312 | 1.6866
2013-13 | 2013-10-08 | 56 | 117A | 34.041 | 22.99 |  |  | 330 | 10 | 1 | 34.041 | 22.99 | 0.6643 | 0.82824 | 1.4807
2013-13 | 2013-08-15 | 56 | 117B |  |  |  |  | 330 | 10 | 1 | 33.7 | 22.1 | 0.6973 | 0.73746 | 1.5249
2013-13 | 2013-10-08 | 56 | 118A | 37.704 | 24.353 |  |  | 330 | 10 | 1 | 37.704 | 24.353 | 0.80256 | 0.77847 | 1.5482
2013-13 | 2013-08-14 | 56 | 118B |  |  |  |  | 330 | 10 | 1 | 38.7 | 24.6 | 0.84758 | 0.74948 | 1.5732
2013-13 | 2013-10-08 | 56 | 120A | 42.982 | 27.233 |  |  | 330 | 10 | 1 | 42.982 | 27.233 | 0.94671 | 0.82129 | 1.5783
2013-13 | 2013-08-14 | 56 | 120B |  |  |  |  | 330 | 10 | 1 | 43.9 | 27.6 | 0.97983 | 0.812 | 1.5906
2013-13 | 2013-10-08 | 46 | 129A | 36.179 | 22.869 |  |  | 330 | 10 | 1 | 36.179 | 22.869 | 0.80009 | 0.68459 | 1.582
2013-13 | 2013-08-14 | 46 | 129B |  |  |  |  | 330 | 10 | 1 | 36.3 | 22.8 | 0.81152 | 0.66869 | 1.5921
2013-13 | 2013-10-08 | 46 | 130A | 82.689 | 52.541 |  |  | 330 | 10 | 1 | 82.689 | 52.541 | 1.8123 | 1.5988 | 1.5738
2013-13 | 2013-08-14 | 46 | 130B |  |  |  |  | 330 | 10 | 1 | 83.4 | 53.6 | 1.7913 | 1.6884 | 1.556
2013-13 | 2013-10-08 | 46 | 132A | 137.528 | 77.678 |  |  | 330 | 10 | 1 | 137.528 | 77.678 | 3.5977 | 1.4452 | 1.7705
2013-13 | 2013-08-14 | 46 | 132B |  |  |  |  | 330 | 10 | 1 | 158 | 94.2 | 3.8352 | 2.2804 | 1.6773
2013-13 | 2013-10-08 | 42 | 145A | 10.021 | 7.708 |  |  | 330 | 10 | 1 | 10.021 | 7.708 | 0.13904 | 0.36137 | 1.3001
2013-13 | 2013-08-14 | 42 | 145B |  |  |  |  | 330 | 10 | 1 | 8.82 | 6.49 | 0.14006 | 0.28128 | 1.359
2013-13 | 2013-10-08 | 42 | 146A | 27.053 | 16.987 |  |  | 330 | 10 | 1 | 27.053 | 16.987 | 0.60509 | 0.49773 | 1.5926
2013-13 | 2013-08-14 | 42 | 146B |  |  |  |  | 330 | 10 | 1 | 28.9 | 18 | 0.65522 | 0.51336 | 1.6056
2013-13 | 2013-10-08 | 42 | 148A | 91.349 | 53.187 |  |  | 330 | 10 | 1 | 91.349 | 53.187 | 2.294 | 1.159 | 1.7175
2013-13 | 2013-08-14 | 42 | 148B |  |  |  |  | 330 | 10 | 1 | 102 | 58.2 | 2.6329 | 1.1455 | 1.7526
2013-13 | 2013-10-08 | 39 | 162A | 30.756 | 20.249 |  |  | 330 | 10 | 1 | 30.756 | 20.249 | 0.6316 | 0.68299 | 1.5189
2013-13 | 2013-10-08 | 39 | 162B | 31.456 | 20.165 |  |  | 330 | 10 | 1 | 31.456 | 20.165 | 0.67873 | 0.63041 | 1.5599
2013-13 | 2013-10-08 | 39 | 163A | 66.798 | 40.934 |  |  | 330 | 10 | 1 | 66.798 | 40.934 | 1.5547 | 1.1027 | 1.6318
2013-13 | 2013-10-08 | 39 | 163B | 63.28 | 39.211 |  |  | 330 | 10 | 1 | 63.28 | 39.211 | 1.4468 | 1.0988 | 1.6138
2013-13 | 2013-10-08 | 39 | 165A | 77.447 | 42.543 |  |  | 330 | 20 | 1 | 77.447 | 42.543 | 4.1963 | 1.3276 | 1.8204
2013-13 | 2013-10-08 | 39 | 165A | 70.987 | 39.346 |  |  | 330 | 20 | 1 | 70.987 | 39.346 | 3.804 | 1.3048 | 1.8042
2013-13 | 2013-10-08 | 27 | 178A | 17.767 | 12.575 |  |  | 330 | 10 | 1 | 17.767 | 12.575 | 0.3121 | 0.50428 | 1.4129
2013-13 | 2013-08-13 | 27 | 178B |  |  |  |  | 330 | 10 | 1 | 16.7 | 12.4 | 0.25848 | 0.54654 | 1.3468
2013-13 | 2013-10-08 | 27 | 179A | 62.328 | 39.006 |  |  | 330 | 10 | 1 | 62.328 | 39.006 | 1.4019 | 1.1304 | 1.5979
2013-13 | 2013-10-08 | 27 | 179B | 55 | 35.39 |  |  | 330 | 10 | 1 | 55 | 35.39 | 1.1788 | 1.1188 | 1.5541
2013-13 | 2013-08-15 | 27 | 181A |  |  |  |  | 330 | 10 | 1 | 199 | 110 | 5.35 | 1.7913 | 1.8091
2013-13 | 2013-08-13 | 27 | 181B |  |  |  |  | 330 | 10 | 1 | 195 | 107 | 5.2899 | 1.6567 | 1.8224
2013-13 | 2013-08-15 | 2 | 193A |  |  |  |  | 330 | 10 | 1 | 20.1 | 14.1 | 0.36067 | 0.55472 | 1.4255
2013-13 | 2013-08-13 | 2 | 193B |  |  |  |  | 330 | 10 | 1 | 20.8 | 15.5 | 0.31859 | 0.68768 | 1.3419
2013-13 | 2013-08-15 | 2 | 194A |  |  |  |  | 330 | 10 | 1 | 80 | 47 | 1.9837 | 1.0676 | 1.7021
2013-13 | 2013-08-13 | 2 | 194B |  |  |  |  | 330 | 10 | 1 | 67.7 | 41.3 | 1.587 | 1.0943 | 1.6392
2013-13 | 2013-08-15 | 2 | 196A |  |  |  |  | 330 | 10 | 1 | 137 | 78.9 | 3.4925 | 1.6298 | 1.7364
2013-13 | 2013-08-13 | 2 | 196B |  |  |  |  | 330 | 10 | 1 | 145 | 85.1 | 3.6007 | 1.9241 | 1.7039
2013-13 | 2013-08-15 | 3 | 209A |  |  |  |  | 330 | 10 | 1 | 29.7 | 20.3 | 0.56505 | 0.75285 | 1.4631
2013-13 | 2013-08-13 | 3 | 209B |  |  |  |  | 330 | 10 | 1 | 26.7 | 18.2 | 0.51095 | 0.67061 | 1.467
2013-13 | 2013-08-15 | 3 | 210A |  |  |  |  | 330 | 10 | 1 | 49.4 | 30.9 | 1.1121 | 0.89399 | 1.5987
2013-13 | 2013-08-13 | 3 | 210B |  |  |  |  | 330 | 10 | 1 | 46.7 | 30.1 | 0.99786 | 0.95627 | 1.5515
2013-13 | 2013-08-15 | 3 | 212A |  |  |  |  | 330 | 10 | 1 | 150 | 82 | 4.0876 | 1.2359 | 1.8293
2013-13 | 2013-08-13 | 3 | 212B |  |  |  |  | 330 | 10 | 1 | 155 | 86.1 | 4.1417 | 1.448 | 1.8002
2013-13 | 2013-08-15 | 6 | 222A |  |  |  |  | 330 | 10 | 1 | 37.7 | 24.4 | 0.79949 | 0.78458 | 1.5451
2013-13 | 2013-08-13 | 6 | 222B |  |  |  |  | 330 | 10 | 1 | 35.9 | 23.4 | 0.7514 | 0.76775 | 1.5342
2013-13 | 2013-08-15 | 6 | 223A |  |  |  |  | 330 | 10 | 1 | 78.6 | 48.8 | 1.7913 | 1.3768 | 1.6107
2013-13 | 2013-08-13 | 6 | 223B |  |  |  |  | 330 | 10 | 1 | 79.5 | 51.2 | 1.7012 | 1.6228 | 1.5527
2013-13 | 2013-08-15 | 6 | 225A |  |  |  |  | 330 | 10 | 1 | 112 | 67.7 | 2.663 | 1.7322 | 1.6544
2013-13 | 2013-08-13 | 6 | 225B |  |  |  |  | 330 | 10 | 1 | 119 | 70.5 | 2.9154 | 1.6615 | 1.6879
2013-13 | 2013-08-15 | 9 | 234A |  |  |  |  | 330 | 10 | 1 | 20 | 14.3 | 0.34264 | 0.58573 | 1.3986
2013-13 | 2013-08-13 | 9 | 234B |  |  |  |  | 330 | 10 | 1 | 19.1 | 14 | 0.30657 | 0.60232 | 1.3643
2013-13 | 2013-08-15 | 9 | 235A |  |  |  |  | 330 | 10 | 1 | 36 | 23.9 | 0.72736 | 0.82426 | 1.5063
2013-13 | 2013-08-13 | 9 | 235B |  |  |  |  | 330 | 10 | 1 | 34.7 | 23.3 | 0.68528 | 0.82738 | 1.4893
2013-13 | 2013-08-15 | 9 | 237A |  |  |  |  | 330 | 10 | 1 | 81.9 | 50.3 | 1.8995 | 1.366 | 1.6282
2013-13 | 2013-08-13 | 9 | 237B |  |  |  |  | 330 | 10 | 1 | 79.7 | 48.2 | 1.8935 | 1.2357 | 1.6535
2013-13 | 2013-08-15 | 12 | 250A |  |  |  |  | 330 | 10 | 1 | 70 | 42.1 | 1.6771 | 1.0561 | 1.6627 | SPILLED MOST OF SAMPLE JUST BEFORE ANALYSIS
2013-13 | 2013-08-13 | 12 | 250B |  |  |  |  | 330 | 10 | 1 | 57 | 33.5 | 1.4126 | 0.76222 | 1.7015
2013-13 | 2013-08-15 | 12 | 251A |  |  |  |  | 330 | 10 | 1 | 54.2 | 34 | 1.2143 | 0.99305 | 1.5941
2013-13 | 2013-08-13 | 12 | 251B |  |  |  |  | 330 | 10 | 1 | 54.9 | 37.8 | 1.0279 | 1.4261 | 1.4524
2013-13 | 2013-08-15 | 12 | 253A |  |  |  |  | 330 | 10 | 1 | 47 | 28.4 | 1.1181 | 0.72567 | 1.6549
2013-13 | 2013-08-13 | 12 | 253B |  |  |  |  | 330 | 10 | 1 | 46.4 | 28.3 | 1.088 | 0.74924 | 1.6396
2013-13 | 2013-08-15 | 14 | 265A |  |  |  |  | 330 | 10 | 1 | [5 empty] | forgot to read Ra
2013-13 | 2013-08-13 | 14 | 265B |  |  |  |  | 330 | 10 | 1 | 34.3 | 20.7 | 0.81753 | 0.52634 | 1.657
2013-13 | 2013-08-15 | 14 | 266A |  |  |  |  | 330 | 10 | 1 | 50.4 | 34.5 | 0.95578 | 1.284 | 1.4609
2013-13 | 2013-08-13 | 14 | 266B |  |  |  |  | 330 | 10 | 1 | 40.8 | 25.9 | 0.89567 | 0.78579 | 1.5753
2013-13 | 2013-08-15 | 14 | 268A |  |  |  |  | 330 | 10 | 1 | 138 | 79.7 | 3.5045 | 1.6697 | 1.7315
2013-13 | 2013-08-13 | 14 | 268B |  |  |  |  | 330 | 10 | 1 | 151 | 84.9 | 3.9734 | 1.5384 | 1.7786
2013-13 | 2013-08-15 | 16 | 276A |  |  |  |  | 330 | 10 | 1 | 14.3 | 10.2 | 0.24646 | 0.41574 | 1.402
2013-13 | 2013-08-13 | 16 | 276B |  |  |  |  | 330 | 10 | 1 | 13.8 | 9.19 | 0.27712 | 0.31951 | 1.5016
2013-13 | 2013-08-15 | 16 | 277A |  |  |  |  | 330 | 10 | 1 | 123 | 68 | 3.3062 | 1.1085 | 1.8088
2013-13 | 2013-08-13 | 16 | 277B |  |  |  |  | 330 | 10 | 1 | 126 | 70.4 | 3.3422 | 1.2282 | 1.7898
2013-13 | 2013-08-15 | 16 | 279A |  |  |  |  | 330 | 10 | 1 | 166 | 90.7 | 4.5265 | 1.3619 | 1.8302
2013-13 | 2013-08-13 | 16 | 279B |  |  |  |  | 330 | 10 | 1 | 161 | 86.6 | 4.4724 | 1.1498 | 1.8591

## Std & blanks
Cruise: 2013-13 June Chandler
Date Analyzed | Measurement | Blank | Low | High | Stand-by
2013-08-13 | before | 0 | 12.1 | 65.7 | 0
2013-08-13 | after | 0 | 11.8 | 64.3 | 0
2013-08-15 | before | 0 | 11.9 | 64.7 | 0
2013-08-15 | after | 0 | 12.1 | 65.1 | 0
2013-08-15 | before | 0 | 12.1 | 65.7 | 0
2013-08-15 | after | 0 | 12 | 65.4 | 0
2013-08-15 | before | 0 | 12 | 65.4 | 0
2013-08-15 | after | 0 | 12 | 65.3 | 0
2013-10-07 | before | -0.055 | 11.914 | 65.124 | -0.06
2013-10-07 | during | -0.057 | 12.034 | 65.01 | -0.06
2013-10-07 | after | -0.014 | 11.899 | 64.653 | -0.06

## Flags
Quality Flags for Water Samples
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).
Chlorophyll IOS Quality Flags
Flag | Value Definition
1 | Sample was collected but not filtered (it was forgotten)
3 | Chlorophyll sample sat in the fridge >12 hours prior to filtration; variability of reps > 15%;
filter was stuck to side of vial and only half submerged in acetone after extraction; suspected
misfire/mis-sample as sample doesn’t fit profile
4 | Known problem with analysis; chl filter was askew; filtration volume uncertain due to large
spill; chl sample took >1 hour to filter; known dilution problem, variability of reps > 50 %
5 | Forgot to acidify chl sample; sample holder turned so that no light getting into fluorometer;
value clearly unreasonable
9 | Planning to sample but for some reason sample not drawn for this measurement
from this bottle: niskin did not close, no water left in niskin, niskin emptied before sampling