## Notes
Analysis: | Hugh Maclean, 18-JUL-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Peter Chandler
Program: | Strait of Georgia Survey
Cruise Dates: | 27-June-13 to 02-July-13
2013-10-03 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | 2013-07-18 10:52 | 24C | 0.99979 | 0 | 0 | 0.99979
Sample 111, Event 33 - Rosette log shows that the sample should have been collected at Niskin bottle 2 (200 m). Either the sample ID is incorrect or the sample was collected at 125 m
instead (Seems more unlikely). If labeled incorrectly, than the sample ID should be 108, not 111.
No duplicate samples were collected therefore no precision analysis was performed.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2013-13 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater within 21-15 days after collection. For details, see document QF2013-13SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-13 | 1 | SI | 2 | 30.5875
2013-13 | 3 | 59 | 11 | 31.7568
2013-13 | 8 | 102 | 25 | 33.8625
2013-13 | 11 | 75 | 39 | 33.8527
2013-13 | 14 | 72 | 52 | 33.7932
2013-13 | 17 | 69 | 65 | 33.7063
2013-13 | 20 | ADCP | 77 | 32.9884
2013-13 | 24 | 65 | 87 | 32.5365
2013-13 | 27 | 62 | 97 | 32.3288
2013-13 | 33 | 56 | 111 | 30.7349 | 2 | SAL: Sample ID may be incorrect. See notes.
2013-13 | 40 | 46 | 122 | 30.4968
2013-13 | 44 | 42 | 134 | 30.9473
2013-13 | 51 | 39 | 150 | 31.0318
2013-13 | 56 | 27 | 167 | 30.95
2013-13 | 60 | 2 | 183 | 30.8988
2013-13 | 65 | 3 | 198 | 30.9518
2013-13 | 69 | 6 | 214 | 30.7442
2013-13 | 72 | 9 | 227 | 30.7966
2013-13 | 77 | 12 | 239 | 30.6721
2013-13 | 79 | 14 | 255 | 30.6462
2013-13 | 81 | 16 | 270 | 30.5209

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found on OSDShare Network Drive: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-13#1 | 1 | SI | 2 | 2013-07-18 10:55 | 24C | 0.88674 | 3.8546e-06 | 0 | 0.88674 | 30.5875 | 0.00014882 | #VALUE!
2013-13#2 | 3 | 59 | 11 | 2013-07-18 10:57 | 24C | 0.91698 | 2.7262e-06 | 0 | 0.91698 | 31.7568 | 0.00010553 | #VALUE!
2013-13#3 | 8 | 102 | 25 | 2013-07-18 11:00 | 24C | 0.97102 | 3.5403e-06 | 0 | 0.97102 | 33.8625 | 0.0001376 | #VALUE!
2013-13#4 | 11 | 75 | 39 | 2013-07-18 11:02 | 24C | 0.97078 | 4.1892e-06 | 0 | 0.97078 | 33.8527 | 0.00016371 | #VALUE!
2013-13#5 | 14 | 72 | 52 | 2013-07-18 11:05 | 24C | 0.96925 | 3.594e-06 | 0 | 0.96925 | 33.7932 | 0.00014041 | #VALUE!
2013-13#6 | 17 | 69 | 65 | 2013-07-18 11:07 | 24C | 0.96703 | 3.865e-06 | 0 | 0.96703 | 33.7063 | 0.00015087 | #VALUE!
2013-13#7 | 20 | ADCP | 77 | 2013-07-18 11:10 | 24C | 0.94865 | 3.466e-06 | 0 | 0.94865 | 32.9884 | 0.00013813 | #VALUE!
2013-13#8 | 24 | 65 | 87 | 2013-07-18 11:13 | 24C | 0.93705 | 3.466e-06 | 0 | 0.93705 | 32.5365 | 0.00013559 | #VALUE!
2013-13#9 | 27 | 62 | 97 | 2013-07-18 11:15 | 24C | 0.93171 | 3.1414e-06 | 0 | 0.93171 | 32.3288 | 0.00012108 | #VALUE!
2013-13#10 | 33 | 56 | 111 | 2013-07-18 11:17 | 24C | 0.89056 | 3.1902e-06 | 0 | 0.89056 | 30.7349 | 0.00012336 | #VALUE! | 2 | SAL: Sample ID may be incorrect. See notes.
2013-13#11 | 40 | 46 | 122 | 2013-07-18 11:20 | 24C | 0.88439 | 2.4911e-06 | 0 | 0.88439 | 30.4968 | 9.5855e-05 | #VALUE!
2013-13#12 | 44 | 42 | 134 | 2013-07-18 11:22 | 24C | 0.89606 | 3.4657e-06 | 0 | 0.89606 | 30.9473 | 0.00013434 | #VALUE!
2013-13#13 | 51 | 39 | 150 | 2013-07-18 11:25 | 24C | 0.89825 | 3.4658e-06 | 0 | 0.89825 | 31.0318 | 0.00013595 | #VALUE!
2013-13#14 | 56 | 27 | 167 | 2013-07-18 11:27 | 24C | 0.89613 | 2.7103e-06 | 0 | 0.89613 | 30.95 | 0.00010448 | #VALUE!
2013-13#15 | 60 | 2 | 183 | 2013-07-18 11:29 | 24C | 0.89481 | 1.1196e-06 | 0 | 0.89481 | 30.8988 | 4.3729e-05 | #VALUE!
2013-13#16 | 65 | 3 | 198 | 2013-07-18 11:32 | 24C | 0.89618 | 2.4613e-06 | 0 | 0.89618 | 30.9518 | 9.4909e-05 | #VALUE!
2013-13#17 | 69 | 6 | 214 | 2013-07-18 11:34 | 24C | 0.8908 | 2.7425e-06 | 0 | 0.8908 | 30.7442 | 0.00010554 | #VALUE!
2013-13#18 | 72 | 9 | 227 | 2013-07-18 11:37 | 24C | 0.89216 | 3.1418e-06 | 0 | 0.89216 | 30.7966 | 0.00012143 | #VALUE!
2013-13#19 | 77 | 12 | 239 | 2013-07-18 11:39 | 24C | 0.88893 | 4.625e-06 | 0 | 0.88893 | 30.6721 | 0.00017735 | #VALUE!
2013-13#20 | 79 | 14 | 255 | 2013-07-18 11:42 | 24C | 0.88826 | 2.4912e-06 | 0 | 0.88826 | 30.6462 | 9.7211e-05 | #VALUE!
2013-13#21 | 81 | 16 | 270 | 2013-07-18 11:44 | 24C | 0.88501 | 3.1414e-06 | 0 | 0.88501 | 30.5209 | 0.00012035 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | 2013-07-18 10:52 | 24C | 0.99979 | 0 | 0 | 0.99979
2013-13#1 | Sta SI-2 | 2013-07-18 10:55 | 24C | 0.88674 | 3.8546e-06 | 0 | 0.88674 | 30.5875 | 0.00014882
2013-13#2 | Sta 59-11 | 2013-07-18 10:57 | 24C | 0.91698 | 2.7262e-06 | 0 | 0.91698 | 31.7568 | 0.00010553
2013-13#3 | Sta 102-25 | 2013-07-18 11:00 | 24C | 0.97102 | 3.5403e-06 | 0 | 0.97102 | 33.8625 | 0.0001376
2013-13#4 | Sta 75-39 | 2013-07-18 11:02 | 24C | 0.97078 | 4.1892e-06 | 0 | 0.97078 | 33.8527 | 0.00016371
2013-13#5 | Sta 72-52 | 2013-07-18 11:05 | 24C | 0.96925 | 3.594e-06 | 0 | 0.96925 | 33.7932 | 0.00014041
2013-13#6 | Sta 69-65 | 2013-07-18 11:07 | 24C | 0.96703 | 3.865e-06 | 0 | 0.96703 | 33.7063 | 0.00015087
2013-13#7 | Sta ADCP-77 | 2013-07-18 11:10 | 24C | 0.94865 | 3.466e-06 | 0 | 0.94865 | 32.9884 | 0.00013813
2013-13#8 | Sta 65-87 | 2013-07-18 11:13 | 24C | 0.93705 | 3.466e-06 | 0 | 0.93705 | 32.5365 | 0.00013559
2013-13#9 | Sta 62-97 | 2013-07-18 11:15 | 24C | 0.93171 | 3.1414e-06 | 0 | 0.93171 | 32.3288 | 0.00012108
2013-13#10 | Sta 56-111 | 2013-07-18 11:17 | 24C | 0.89056 | 3.1902e-06 | 0 | 0.89056 | 30.7349 | 0.00012336
2013-13#11 | Sta 46-122 | 2013-07-18 11:20 | 24C | 0.88439 | 2.4911e-06 | 0 | 0.88439 | 30.4968 | 9.5855e-05
2013-13#12 | Sta 42-134 | 2013-07-18 11:22 | 24C | 0.89606 | 3.4657e-06 | 0 | 0.89606 | 30.9473 | 0.00013434
2013-13#13 | Sta 39-150 | 2013-07-18 11:25 | 24C | 0.89825 | 3.4658e-06 | 0 | 0.89825 | 31.0318 | 0.00013595
2013-13#14 | Sta 27-167 | 2013-07-18 11:27 | 24C | 0.89613 | 2.7103e-06 | 0 | 0.89613 | 30.95 | 0.00010448
2013-13#15 | Sta 2-183 | 2013-07-18 11:29 | 24C | 0.89481 | 1.1196e-06 | 0 | 0.89481 | 30.8988 | 4.3729e-05
2013-13#16 | Sta 3-198 | 2013-07-18 11:32 | 24C | 0.89618 | 2.4613e-06 | 0 | 0.89618 | 30.9518 | 9.4909e-05
2013-13#17 | Sta 6-214 | 2013-07-18 11:34 | 24C | 0.8908 | 2.7425e-06 | 0 | 0.8908 | 30.7442 | 0.00010554
2013-13#18 | Sta 9-227 | 2013-07-18 11:37 | 24C | 0.89216 | 3.1418e-06 | 0 | 0.89216 | 30.7966 | 0.00012143
2013-13#19 | Sta 12-239 | 2013-07-18 11:39 | 24C | 0.88893 | 4.625e-06 | 0 | 0.88893 | 30.6721 | 0.00017735
2013-13#20 | Sta 14-255 | 2013-07-18 11:42 | 24C | 0.88826 | 2.4912e-06 | 0 | 0.88826 | 30.6462 | 9.7211e-05
2013-13#21 | Sta 16-270 | 2013-07-18 11:44 | 24C | 0.88501 | 3.1414e-06 | 0 | 0.88501 | 30.5209 | 0.00012035
2013-13#22 | nylon 1 | 2013-07-18 13:29 | 24C | 0.9895 | 7.5087e-06 | 0 | 0.9895 | 34.587 | 0.00029612
2013-13#23 | nylon 2 | 2013-07-18 13:32 | 24C | 0.98953 | 3.332e-08 | 0 | 0.98953 | 34.5885 | 0
2013-13#24 | nylon 3 | 2013-07-18 13:34 | 24C | 0.98953 | 3.2144e-06 | 0 | 0.98953 | 34.5882 | 0.00012492
2013-13#25 | nylon 4 | 2013-07-18 13:37 | 24C | 0.98953 | 3.5795e-06 | 0 | 0.98953 | 34.5884 | 0.00014229
2013-13#26 | nylon 5 | 2013-07-18 13:39 | 24C | 0.98953 | 3.1148e-06 | 0 | 0.98953 | 34.5884 | 0.00012379
2013-13#27 | nylon 6 | 2013-07-18 13:42 | 24C | 0.98953 | 3.4551e-06 | 0 | 0.98953 | 34.5882 | 0.00013537
2013-13#28 | nylon 7 | 2013-07-18 13:44 | 24C | 0.98954 | 3.4666e-06 | 0 | 0.98954 | 34.5887 | 0.00013564
2013-13#29 | silicon 1 | 2013-07-18 13:47 | 24C | 0.98965 | 4.3336e-06 | 0 | 0.98965 | 34.5931 | 0.0001717
2013-13#30 | silicon2 | 2013-07-18 13:50 | 24C | 0.98972 | 2.4911e-06 | 0 | 0.98972 | 34.5959 | 9.6791e-05
2013-13#31 | silicon 3 | 2013-07-18 13:52 | 24C | 0.98967 | 2.4909e-06 | 0 | 0.98967 | 34.5937 | 0.00010059
2013-13#32 | silicon 4 | 2013-07-18 13:55 | 24C | 0.98974 | 4.1787e-06 | 0 | 0.98974 | 34.5967 | 0.00016371
2013-13#33 | silicon 5 | 2013-07-18 13:57 | 24C | 0.98971 | 3.4563e-06 | 0 | 0.98971 | 34.5955 | 0.00013539
2013-13#34 | silicon 6 | 2013-07-18 14:00 | 24C | 0.98963 | 4.1139e-06 | 0 | 0.98963 | 34.5922 | 0.00016246
2013-13#35 | silicon 7 | 2013-07-18 14:03 | 24C | 0.98973 | 6.6171e-06 | 0 | 0.98973 | 34.5961 | 0.00026025