## Notes
Analysis: | Hugh Maclean, 14-NOV-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Peter Chandler
Program: | Strait of Georgia Survey
Cruise Dates: | 25 Sep 2013 to 01 Oct 2013
2014-02-10 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | 2013-11-13 09:20 | 24C | 0.99979 | 0 | 0 | 0.99979
Calibration#2 |  | 2013-11-13 09:21 | 24C | 0.9998 | 3.541e-06 | -5.0664e-06 | 0.99979
There were no comments on the rosette log sheet nor on the salinity analysis log sheets.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2013-14 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater within 51-45 days after collection. For details, see document QF2013-14SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-14 | 1 | SI | 2 | 30.8418
2013-14 | 3 | 59 | 11 | 32.3124
2013-14 | 10 | 102 | 25 | 33.8066
2013-14 | 7 | 75 | 39 | 33.8255
2013-14 | 13 | 72 | 53 | 33.8159
2013-14 | 16 | 69 | 66 | 33.7413
2013-14 | 19 | ADCP | 78 | 33.2663
2013-14 | 23 | 65 | 88 | 32.5929
2013-14 | 26 | 62 | 98 | 32.6435
2013-14 | 31 | 56 | 109 | 31.9372
2013-14 | 33 | 46 | 123 | 31.2548
2013-14 | 39 | 42 | 135 | 31.1936
2013-14 | 44 | 39 | 151 | 31.3004
2013-14 | 48 | 27 | 168 | 31.1601
2013-14 | 51 | 6 | 184 | 30.9003
2013-14 | 54 | 9 | 197 | 30.7742
2013-14 | 57 | 12 | 209 | 30.836
2013-14 | 59 | 14 | 225 | 30.8008
2013-14 | 61 | 16 | 240 | 30.5496
2013-14 | 72 | 2 | 251 | 30.9856
2013-14 | 75 | 3 | 266 | 31.1231

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found on OSDShare Network Drive: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath T (° C) | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-14#1 | 1 | SI | 2 | 2013-11-14 08:53 | 24C | 0.89333 | 4.9386e-06 | 0 | 0.89333 | 30.8418 | 0.00019083 | #VALUE!
2013-14#2 | 3 | 59 | 11 | 2013-11-14 08:56 | 24C | 0.93129 | 2.8792e-06 | 0 | 0.93129 | 32.3124 | 0.00011162 | #VALUE!
2013-14#4 | 10 | 102 | 25 | 2013-11-14 09:00 | 24C | 0.9696 | 2.4909e-06 | 0 | 0.9696 | 33.8066 | 9.869e-05 | #VALUE!
2013-14#3 | 7 | 75 | 39 | 2013-11-14 08:58 | 24C | 0.97008 | 1.1196e-06 | 0 | 0.97008 | 33.8255 | 4.4374e-05 | #VALUE!
2013-14#5 | 13 | 72 | 53 | 2013-11-14 09:02 | 24C | 0.96983 | 3.4551e-06 | 0 | 0.96983 | 33.8159 | 0.00013664 | #VALUE!
2013-14#6 | 16 | 69 | 66 | 2013-11-14 09:05 | 24C | 0.96793 | 4.5979e-06 | 0 | 0.96793 | 33.7413 | 0.00017868 | #VALUE!
2013-14#7 | 19 | ADCP | 78 | 2013-11-14 09:07 | 24C | 0.95578 | 3.8542e-06 | 0 | 0.95578 | 33.2663 | 0.0001511 | #VALUE!
2013-14#8 | 23 | 65 | 88 | 2013-11-14 09:10 | 24C | 0.9385 | 4.3836e-06 | 0 | 0.9385 | 32.5929 | 0.00017123 | #VALUE!
2013-14#9 | 26 | 62 | 98 | 2013-11-14 09:12 | 24C | 0.9398 | 3.8405e-06 | 0 | 0.9398 | 32.6435 | 0.0001501 | #VALUE!
2013-14#10 | 31 | 56 | 109 | 2013-11-14 09:14 | 24C | 0.92163 | 3.4352e-06 | 0 | 0.92163 | 31.9372 | 0.00013306 | #VALUE!
2013-14#16 | 33 | 46 | 123 | 2013-11-14 09:27 | 24C | 0.90402 | 8.1741e-06 | 0 | 0.90402 | 31.2548 | 0.00031665 | #VALUE!
2013-14#15 | 39 | 42 | 135 | 2013-11-14 09:25 | 24C | 0.90244 | 2.2397e-06 | 0 | 0.90244 | 31.1936 | 8.5326e-05 | #VALUE!
2013-14#14 | 44 | 39 | 151 | 2013-11-14 09:23 | 24C | 0.9052 | 2.7426e-06 | 0 | 0.9052 | 31.3004 | 0.00010447 | #VALUE!
2013-14#21 | 48 | 27 | 168 | 2013-11-14 10:21 | 24C | 0.90157 | 2.8901e-06 | 0 | 0.90157 | 31.1601 | 0.00011248 | #VALUE!
2013-14#13 | 51 | 6 | 184 | 2013-11-14 09:21 | 24C | 0.89484 | 4.0093e-06 | 0 | 0.89484 | 30.9003 | 0.00015504 | #VALUE!
2013-14#20 | 54 | 9 | 197 | 2013-11-14 10:18 | 24C | 0.89158 | 3.2145e-06 | 0 | 0.89158 | 30.7742 | 0.00012402 | #VALUE!
2013-14#12 | 57 | 12 | 209 | 2013-11-14 09:18 | 24C | 0.89318 | 1.3712e-06 | 0 | 0.89318 | 30.836 | 5.2235e-05 | #VALUE!
2013-14#11 | 59 | 14 | 225 | 2013-11-14 09:16 | 24C | 0.89227 | 4.8241e-06 | 0 | 0.89227 | 30.8008 | 0.00018681 | #VALUE!
2013-14#19 | 61 | 16 | 240 | 2013-11-14 10:16 | 24C | 0.88576 | 3.2141e-06 | 0 | 0.88576 | 30.5496 | 0.00012398 | #VALUE!
2013-14#18 | 72 | 2 | 251 | 2013-11-14 10:14 | 24C | 0.89705 | 2.2241e-06 | 0 | 0.89705 | 30.9856 | 8.5782e-05 | #VALUE!
2013-14#17 | 75 | 3 | 266 | 2013-11-14 09:30 | 24C | 0.90061 | 3.999e-06 | 0 | 0.90061 | 31.1231 | 0.00015502 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
2013-14#1 | Sta SI-02 | 2013-11-14 08:53 | 24C | 0.89333 | 4.9386e-06 | 0 | 0.89333 | 30.8418 | 0.00019083
2013-14#2 | Sta 59-11 | 2013-11-14 08:56 | 24C | 0.93129 | 2.8792e-06 | 0 | 0.93129 | 32.3124 | 0.00011162
2013-14#3 | Sta 75-39 | 2013-11-14 08:58 | 24C | 0.97008 | 1.1196e-06 | 0 | 0.97008 | 33.8255 | 4.4374e-05
2013-14#4 | Sta 102-25 | 2013-11-14 09:00 | 24C | 0.9696 | 2.4909e-06 | 0 | 0.9696 | 33.8066 | 9.869e-05
2013-14#5 | Sta 72-53 | 2013-11-14 09:02 | 24C | 0.96983 | 3.4551e-06 | 0 | 0.96983 | 33.8159 | 0.00013664
2013-14#6 | Sta 69-66 | 2013-11-14 09:05 | 24C | 0.96793 | 4.5979e-06 | 0 | 0.96793 | 33.7413 | 0.00017868
2013-14#7 | Sta ADCP-78 | 2013-11-14 09:07 | 24C | 0.95578 | 3.8542e-06 | 0 | 0.95578 | 33.2663 | 0.0001511
2013-14#8 | Sta65-88 | 2013-11-14 09:10 | 24C | 0.9385 | 4.3836e-06 | 0 | 0.9385 | 32.5929 | 0.00017123
2013-14#9 | Sta 62-98 | 2013-11-14 09:12 | 24C | 0.9398 | 3.8405e-06 | 0 | 0.9398 | 32.6435 | 0.0001501
2013-14#10 | Sta 56-109 | 2013-11-14 09:14 | 24C | 0.92163 | 3.4352e-06 | 0 | 0.92163 | 31.9372 | 0.00013306
2013-14#11 | Sta 14-225 | 2013-11-14 09:16 | 24C | 0.89227 | 4.8241e-06 | 0 | 0.89227 | 30.8008 | 0.00018681
2013-14#12 | Sta 12-209 | 2013-11-14 09:18 | 24C | 0.89318 | 1.3712e-06 | 0 | 0.89318 | 30.836 | 5.2235e-05
2013-14#13 | Sta 6-184 | 2013-11-14 09:21 | 24C | 0.89484 | 4.0093e-06 | 0 | 0.89484 | 30.9003 | 0.00015504
2013-14#14 | Sta 39-151 | 2013-11-14 09:23 | 24C | 0.9052 | 2.7426e-06 | 0 | 0.9052 | 31.3004 | 0.00010447
2013-14#15 | Sta 42-135 | 2013-11-14 09:25 | 24C | 0.90244 | 2.2397e-06 | 0 | 0.90244 | 31.1936 | 8.5326e-05
2013-14#16 | Sta 46-123 | 2013-11-14 09:27 | 24C | 0.90402 | 8.1741e-06 | 0 | 0.90402 | 31.2548 | 0.00031665
2013-14#17 | Sta 3-266 | 2013-11-14 09:30 | 24C | 0.90061 | 3.999e-06 | 0 | 0.90061 | 31.1231 | 0.00015502
2013-14#18 | Sta 2-251 | 2013-11-14 10:14 | 24C | 0.89705 | 2.2241e-06 | 0 | 0.89705 | 30.9856 | 8.5782e-05
2013-14#19 | Sta 16-240 | 2013-11-14 10:16 | 24C | 0.88576 | 3.2141e-06 | 0 | 0.88576 | 30.5496 | 0.00012398
2013-14#20 | Sta 9-197 | 2013-11-14 10:18 | 24C | 0.89158 | 3.2145e-06 | 0 | 0.89158 | 30.7742 | 0.00012402
2013-14#21 | Sta 27-168 | 2013-11-14 10:21 | 24C | 0.90157 | 2.8901e-06 | 0 | 0.90157 | 31.1601 | 0.00011248