## EVISION NOTICE TABLE

| DATE | DESCRIPTION OF REVISION |
| --- | --- |

# PROCESSING NOTES

Cruise: 2013-15

Agency: PBS, Marine Ecosystems and Aquaculture Division, Nanaimo, BC

Location: West Coast Vancouver Island

Project: La Perouse Pelagic Ecosystem Survey

Chief Scientist: Flostrand L.

Platform: W.E. Ricker

Date: 4 August 2013 – 16 August 2013

Processed by: Germaine Gatien

Date of Processing: 5 May 2014 –21 May 2014

Number of original hex files: 20        Number of CTD casts processed: 19 (2 of original files identical)

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0506) was mounted with an SBE43 Dissolved Oxygen sensor (#1438), a WetLabs ECO-FL Fluorometer #2215 and an SBE pH sensor #0852.  The deck unit was #0424.

# SUMMARY OF QUALITY AND CONCERNS

The log book lacked a personnel list. The equipment list was completed, but indicates that the fluorometer was pumped. This is not the usual method used and the output does not look like pumped data. Otherwise the log was in good order with notes about problems encountered.

There were no station names entered in the log book for most casts. Some names had been entered in the file headers for cases with no log entry, but they just repeat the event #s which is not very useful. The pattern for the first few station names entered in the log was to use the consecutive site # and that was used in the electronic log. So that pattern was followed for all files, using station names in the format Stn#1 to Stn#20 to distinguish them from event #s.

File #2013-15-0003 contained data from file 2013-15-0005. It is far too easy to save files in SeaSave with the name of the previous cast, thus losing data.

A salinity sample was taken but lost. There were post-cruise calibrations in January 2014 but there was a cruise between this one and the factory checks. For the secondary salinity there was virtually no drift and the post-cruise calibration was used for the pressure sensor. There was also a post-cruise calibration of the dissolved oxygen sensor, but it was decided to apply the results of cruise 2013-36 (from May 2013) since it sampled a similar region and was fairly close in time.

The SBE pH data should be used with caution; no field calibration data are available. Calibration is required for each cast to get absolute values, although general trends within a cast are likely real.

The lens cap was left on the fluorometer during deployment for a few casts, so that channel was removed for casts #1, 5 and 7.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book was obtained. Problems noted included one file that may not have been saved (#5) and concerns about whether a cap was left on the fluorometer during deployment. It was cleaned during event #9. It is not stated whether it was used during deployment after that.

The cruise summary sheet was completed.

The histories of the dissolved oxygen, conductivity and pressure sensors were obtained.

There were post-cruise calibrations for temperature, conductivity and pressure. Since there was 1 other cruise after this one it cannot be assumed that any of the reported drifts had occurred at the time of this cruise, but during 2013-48 there was a test cast to check pressure. For that cast comparisons were made of the pre-cruise and post-cruise pressure when the CTD was out of water. The pre-cruise pressure was slightly positive and the post-cruise pressure was slightly negative.

The configuration file did not change through the cruise. The sensors are the same as for cruise 2013-48, so the configuration file for that cruise was used. The only difference is that the post-cruise calibrations for the pressure sensor were used (only slope and offset different).

A copy of that file was saved as 2013-15-ctd.xmlcon.

##### Conversion of Raw Data

All data were converted using file 2013-15-ctd.xmlcon.

Plots were made for a few casts.

- The temperature channels are similar for downcasts, but noisy on upcasts.

- Similarly, conductivity differences are low on downcasts, noisier on upcasts.

- Fluorescence data are sometimes offset more than temperature, sometimes less. As usual the data are spiky making this hard to judge.

- Dissolved Oxygen and pH profiles look normal although there are many reversals in both.

- The descent rate was very noisy with obvious evidence of shed wakes in the T and C profiles.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure, temperature and conductivity channels only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

##### ALIGNCTD

Various advancements were tested to make DO and temperature traces have the same offset between downcast and upcast data. The results were confusing, with lower advances than those generally used for this sensor looking best overall. But this was very complex data with many reversals in dissolved oxygen, noisy upcast temperature, noisy descent rate of the CTD resulting in shed wake corruption and casts that are mostly shallow. The temperature and DO ranges vary from cast to cast as well. If it were only a matter of different settings suiting one cast and not another, we could align them individually. But in fact different settings suit different parts of each cast. Ideal settings varied from +2s to +3.5s, but overall +2.5s seems best.  Since there was no DO calibration sampling, this is the best we can do to establish alignment.

For the previous cruise there was also a lot of variability but a much higher value seemed best overall, especially in matching downcast features between DO and temperature. There were a few DO reversals for 2013-48 but nearly as many or as dramatic as seen during 2013-15.

ALIGNCTD was used to advance the DO signal relative to temperature by 2.5s.

##### CELLTM

Tests were run on 3 casts using a variety of settings. The results are hard to interpret because the upcast data are very noisy. But overall (α=0.02, 1/β=7) look best for both channels.

CELLTM was run using (α=0.02, 1/β=7) for both the primary and secondary conductivity for all casts.

##### DERIVE

Program DERIVE was run on all casts to calculate primary and secondary salinity, dissolved oxygen concentration and descent rate; the tau correction was applied.

The casts are too shallow to enable a study of differences between channel pairs for any time-dependence, but from the deeper casts it is clear that the differences are small, at about 0.0006C° for temperature, 0.0001 units for conductivity and 0.0004 units for salinity.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

A header check was run and no problems were found. There are no station names in the headers for the last 9 CTD casts.

A cross-reference list was produced and checked against log records. A few problems were found:

- The start time for event #1 is wrong in the log – it is clearly a typo as the end time is earlier. The file header time makes sense. Time had also been changed in the electronic log file.

- Station names were not entered in the log book for most events. Some names had been entered in the file headers for cases with no log entry, but they just repeat the event #s which is not very useful. The pattern for the first few station names entered in the log was to use the consecutive site # - there were 20 sites occupied during the cruise and 20 CTD casts. So that pattern was followed for all files, using station names in the format Stn#1 to Stn#20 to distinguish them from event #s. The same system had been used in the electronic log.

- The contents of file 2013-15-0003.hex  are the same as for 2013-15-0005.hex. There was a note in the log saying that the file from event #5 might not have been saved. In fact, it was apparently saved twice, as event #3 and #5. The data from event #3 is assumed to have been overwritten and 2013-15-0003 will not be processed further.

- There are minor discrepancies in time and positions between the log and headers, but they are small and likely due to slightly different timing in when the information was recorded.

The surface report indicates that the average surface pressure was 2.1db, varying from 0.2 to 2.8db; the shallowest reading is from the end of an upcast and the pressure looks noisy and undependable with just a few very low values among mostly higher ones. The surface pressure is similar to that found for the previous cruise.

##### SHIFT

Fluorescence

In other recent uses of ECO Fluorometers it has been found necessary to advance the fluorescence by +12 records (0.5s) relative to pressure. For these data this step made the alignment worse and applying no shift looked best.

Conductivity

Tests were run on 2 casts shifting both conductivity channels using 3 settings close to the ones used the last time these sensors were used. For the primary conductivity the best setting was -0.5 records and for the secondary it was -1.3 records.

All casts were put through SHIFT using -0.5 records for the primary and -1.3 records for the secondary conductivity.

Dissolved Oxygen

The SBE DO data have already been aligned, but all casts were examined to see if further adjustments are required. The results are confusing with cases where the DO traces are closer than temperature traces and other cases where the opposite is true. The many reversals may account for the variability in offsets. The shift already applied is likely the best we can do.

SHIFT will not be run on this channel.

pH

Checking a few plots the upcast and downcast pH traces are sometimes closer than corresponding temperature traces and sometimes farther apart. In some cases they are in good agreement. In the absence of a consistent relationship, no shift was applied. NOTE: At the end of processing it was decided that a SHIFT of +75 records should have been applied. See section 18 for details.

##### DELETE

DELETE was run on all the SHFC1 files.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min   	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0              	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: The only warnings were for the upcast section of casts #7, 27 and 31, thus of no consequence to the downcast file.

##### Other Comparisons

Previous experience with these sensors –

- The T and C sensors have been used once since they were last calibrated and there was no calibration sampling.

- The pressure sensor has been used 15 times since it was recalibrated in April 2011. For some recent cruises there were pressure values that appeared to be too low, so a correction was applied. For 2013-48 which preceded this cruise, the post-cruise calibration was used.

- The dissolved oxygen sensor has been used for 8 previous cruises since its last factory service. There was calibration sampling for 4 of these cruises. The slope of corrections has increased gradually. The results of 2013-36 are probably most suited for use for these data because the time and region are similar to those sampled during this cruise.

Historic ranges – Data were plotted with the 3-standard deviation plots of temperature and salinity ranges where local climatology was available. The only excursions were salinity values that were a little high between 10 and 50db around the central part of the cruise area in water of depths from 75 to 103m. The largest excursion was seen in the shallowest of the three. There were a few salinity values near or above the maximum for one cast during 2013-48. These excursions are not likely to be due to calibration drift. The 3-standard deviation climatology is not really appropriate for stations this close to shore.

Post-cruise calibration – The primary conductivity was reported to have -0.0001 salinity units drift per month in January 2014 while the secondary had 0 drift. The primary temperature had drifted down by 0.00028C°/year while the secondary had drifted up by 0.00002C°/year. These drifts would lead to primary salinity being low by ~0.002 in January 2014 while the secondary salinity would have negligible error.

The pressure was recalibrated in January 2014 and the slope and offset had changed.

The SBE DO sensor was recalibrated in January 2014 and the drift was approximately 4%.

##### DETAILED EDITING

This was the second of 3 cruises between the pre-cruise and post-cruise factory calibration. The primary salinity was found to be low by ~0.002 after the 3rd cruise and the secondary salinity was found to have drifted negligibly.  There is not much difference in the noise level in the traces, so using the secondary looks like the best choice.

All DEL files were copied to *.EDT.

CTDEDIT was used to clean the secondary temperature and salinity data.

All casts required some editing.

All edited files were copied to *.EDT.

##### Initial Recalibration

The post-cruise pressure calibration was used based on information from the previous cruise.

Salinity will not be recalibrated. The post-cruise calibration of the T and C sensors suggests drift near zero for the secondary sensors as of January 2014. Differences between the two salinity channels below 100m are <<0.001 which also suggests no significant calibration drift.

The results of 2013-36 seem best suited for recalibration of the dissolved oxygen data because it is closest in time and geographic area. The post-cruise calibration would suggest a smaller correction, but there is likely more being corrected than just calibration drift.

File 2013-15-recal1.ccf was prepared and run to apply the correction:

Oxygen:Dissolved:SBE Corrected = 1.0722 * Oxygen:Dissolved:SBE +0.03

##### Fluorescence Processing

The ED1 files were put through a median filter, size 11, applied to the fluorescence channel only.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the filtered files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used. Interpolated values are NOT used for empty bins.

After averaging, T-S plots were examined on screen and look fine.

Profile plots were made to check all channels. There are a few spikes in pH that look odd. The spikes are not associated with temperature spikes and will be left to researchers to assess. These spikes were noted during the previous cruise as well.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

The following channels were removed from all casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE,  Status:Pump, Descent_Rate and Flag.

A second CTD dissolved oxygen channel was derived with units umol/kg.

Dissolved Oxygen saturation was calculated and surface values were plotted. The values varied from ~90% to ~170%, with most between 90% and 130%. The highest values were towards the south of the survey area and fairly close to shore. The lowest values are mostly at the more offshore sites, with all of the most offshore casts between 90% and 120%. The two sites closest to Juan de Fuca Strait are also in that range. The two highest values are associated with very high fluorescence peaks, while most low saturations are associated with low fluorescence. The results are similar to those during the previous cruise. The high values are likely due to biological activity, not calibration drift.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Data Processing Notes:

----------------------

The Fluorescence:URU:Wetlabs data are nominal and unedited except that some

records were removed in editing temperature and salinity.

There was no calibration sampling.

The results of a comparison with titrated samples during cruise 2013-36

were used to recalibrate the Oxygen:Dissolved:SBE concentration.

There were factory calibrations of the temperature and conductivity sensors

in January 2014 which imply that there was no significant drift in salinity.

There were 2 cruises between this one and the post-cruise calibrations.

No recalibration was applied to the salinity.

WARNING: The pH:SBE:Nominal data should be used with caution; no field

calibration data were available at the time of processing.

Calibration is required for each cast to get absolute values, although

general trends within a cast are likely real.

For details on the processing see processing report: 2013-15-proc.doc.

##### Producing final files

The Standards Check routine was run; a few errors were found and corrected and Head Edit was rerun.

No further problems were found when the check was rerun. The final files were named CTD.

A cross-reference listing was produced for CTD files.

HEADER CHECK was run and no problems were found.

A cruise track was plotted and no errors found.

The sensor history was updated for the CTD sensors.

Based on observations during 2013-65, it was decided that the pH data did need alignment, so an advance of +75 records was applied to the files at the SHIFT stage after the conductivity had been aligned. The files were then put through DELETE and Bin-Average. Then all channels except pH from the UNT files were merged with the pH from the new files (*.avgpH), with Pressure as reference channel. Those files (MRg) were put through REORDER and HEAD EDIT as before to add comments and adjust channel names and formats as required. Header Check and Standards Check were rerun and no problems were found.

It was also determined at this stage that the fluorescence data were bad for events #1, 5 and 7 because a lens cap had been left on during deployment. The dark values are very high. That channel was removed when the merge was done above. The header comment was updated for those 3 CTD files, as follows:

**********************************************************************

The fluorescence data were removed from this cast because the cap was

left on the lens during deployment.

**********************************************************************

Particulars:

3. File 5 was copied over file 3; 2013-15-0003 not processed.

5. Log note: “Not sure file saved” – it had been saved and was copied to file 3 as well.

9. Log notes that a white cap was over the fluorometer. There was uncertainty about whether it was supposed to be on. The cap was removed and cleaned.

11. Salinity sample taken – not analyzed, assumed lost.

# Institute of Ocean Sciences

# CRUISE SUMMARY

CTD

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0506 | No | Yes |

| Calibration Information CTD #506 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2038 | 25May12 | Factory | 31De2013 | Factory |
| Conductivity | 1763 | 25May12 | Factory | 31De2014 | Factory |
| Secondary Temp. | 4883 | 25May12 | Factory | 2Jan2014 | Factory |
| Secondary Cond. | 3394 | 25May12 | Factory | 3Jan 2014 | Factory |
| SBE 43 DO sensor | 1438 | 2Apr2011 | Factory | 3Jan2014 | Factory |
| WetLabs Eco Fluorometer | 2215 | 19June2013 | IOS |  |  |
| SBE pH | 0851 | 29May 2012 | Factory |  |  |
| Pressure Sensor | 506 | 30Dec2013 | Factory | 30Dec2013 | Factory |