## Notes
Analysis: | Hugh Maclean, 18-APR-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Terri Sutherland
Cruise: | Aquaculture Shellfish Carrying Capacity
Cruise Dates: | 02-APR-13 to 10-APR-13
2013-04-25 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-04-18 09:33 | 24C | 0.99979 | 2.7425e-06 | 2.9802e-06 | 0.99979
No duplicates were collected so a precision analysis was not performed
Event 245 - May have the incorrect station name and was marked with a question mark by analyst.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2013-16 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 08 days after collection. For details, see document QF2013-16SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-16 | 27 | MAL 28 | 27 | 28.544
2013-16 | 40 | MAL 39 | 40 | 29.0816
2013-16 | 69 | MAL 14 | 69 | 28.4213
2013-16 | 85 | MAL 20 | 85 | 28.5278
2013-16 | 102 | MAL 23 | 102 | 28.6026
2013-16 | 112 | MAL 26 | 112 | 28.6153
2013-16 | 120 | MAL 49 | 120 | 28.5588
2013-16 | 129 | MAL 52 | 129 | 28.517
2013-16 | 138 | MAL 55 | 138 | 28.4272
2013-16 | 146 | MAL 58 | 146 | 28.5107
2013-16 | 154 | MAL 61 | 154 | 28.27
2013-16 | 161 | MAL 45 | 161 | 30.0084
2013-16 | 169 | MAL 47 | 169 | 30.5683
2013-16 | 186 | GH 13 | 186 | 28.6781
2013-16 | 192 | GH 15 | 192 | 28.6377
2013-16 | 202 | GH 11 | 202 | 28.6045
2013-16 | 207 | GH 8 | 207 | 30.0252
2013-16 | 216 | GH 6 | 216 | 30.1177
2013-16 | 225 | GH 4 | 225 | 30.1086
2013-16 | 234 | GH 2 | 234 | 30.5382
2013-16 | 245 | GH 2? | 245 | 29.3802
2013-16 | 257 | BS 17 | 257 | 29.4537
2013-16 | 263 | BS 30 | 263 | 29.7073
2013-16 | 282 | BS 32 | 282 | 29.6612

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling |  | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found here: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-16#1 | 27 | MAL 28 | 27 | 2013-04-18 09:57 | 24C | 0.83347 | 5.346e-06 | 3.0994e-06 | 0.83347 | 28.544 | 0.00020334 | #VALUE!
2013-16#2 | 40 | MAL 39 | 40 | 2013-04-18 10:00 | 24C | 0.84753 | 2.4912e-06 | 3.0994e-06 | 0.84753 | 29.0816 | 9.6785e-05 | #VALUE!
2013-16#3 | 69 | MAL 14 | 69 | 2013-04-18 10:02 | 24C | 0.83025 | 2.2126e-06 | 3.0398e-06 | 0.83026 | 28.4213 | 8.5313e-05 | #VALUE!
2013-16#4 | 85 | MAL 20 | 85 | 2013-04-18 10:05 | 24C | 0.83304 | 2.2394e-06 | 2.9802e-06 | 0.83304 | 28.5278 | 8.4892e-05 | #VALUE!
2013-16#5 | 102 | MAL 23 | 102 | 2013-04-18 10:07 | 32C | 0.835 | 1.1196e-06 | 3.0994e-06 | 0.83501 | 28.5928 | 4.4143e-05 | #VALUE!
2013-16#6 | 112 | MAL 26 | 112 | 2013-04-18 10:09 | 24C | 0.83534 | 2.7425e-06 | 2.9802e-06 | 0.83534 | 28.6153 | 0.00010501 | #VALUE!
2013-16#7 | 120 | MAL 49 | 120 | 2013-04-18 10:11 | 24C | 0.83386 | 3.1902e-06 | 3.0398e-06 | 0.83386 | 28.5588 | 0.00012137 | #VALUE!
2013-16#8 | 129 | MAL 52 | 129 | 2013-04-18 10:13 | 24C | 0.83276 | 1.4046e-06 | 3.0994e-06 | 0.83276 | 28.517 | 5.2235e-05 | #VALUE!
2013-16#9 | 138 | MAL 55 | 138 | 2013-04-18 10:15 | 24C | 0.83041 | 2.4911e-06 | 3.0398e-06 | 0.83041 | 28.4272 | 9.4364e-05 | #VALUE!
2013-16#10 | 146 | MAL 58 | 146 | 2013-04-18 10:17 | 24C | 0.8326 | 1.1199e-06 | 3.0994e-06 | 0.8326 | 28.5107 | 4.265e-05 | #VALUE!
2013-16#11 | 154 | MAL 61 | 154 | 2013-04-18 10:20 | 24C | 0.82628 | 2.2397e-06 | 2.9802e-06 | 0.82629 | 28.27 | 8.6748e-05 | #VALUE!
2013-16#12 | 161 | MAL 45 | 161 | 2013-04-18 10:22 | 24C | 0.87169 | 3.2009e-06 | 3.0398e-06 | 0.8717 | 30.0084 | 0.00012293 | #VALUE!
2013-16#13 | 169 | MAL 47 | 169 | 2013-04-18 10:25 | 24C | 0.88624 | 2.8901e-06 | 2.9802e-06 | 0.88624 | 30.5683 | 0.00011162 | #VALUE!
2013-16#14 | 186 | GH 13 | 186 | 2013-04-18 10:27 | 24C | 0.83698 | 1.1203e-06 | 3.0398e-06 | 0.83698 | 28.6781 | 4.4143e-05 | #VALUE!
2013-16#15 | 192 | GH 15 | 192 | 2013-04-18 10:29 | 24C | 0.83592 | 3.3472e-06 | 3.0398e-06 | 0.83592 | 28.6377 | 0.00012887 | #VALUE!
2013-16#16 | 202 | GH 11 | 202 | 2013-04-18 10:31 | 24C | 0.83505 | 2.2397e-06 | 3.0398e-06 | 0.83506 | 28.6045 | 8.574e-05 | #VALUE!
2013-16#17 | 207 | GH 8 | 207 | 2013-04-18 10:33 | 24C | 0.87213 | 2.4744e-06 | 3.0398e-06 | 0.87213 | 30.0252 | 9.5854e-05 | #VALUE!
2013-16#18 | 216 | GH 6 | 216 | 2013-04-18 10:35 | 24C | 0.87454 | 1.3888e-06 | 2.9802e-06 | 0.87454 | 30.1177 | 5.3827e-05 | #VALUE!
2013-16#19 | 225 | GH 4 | 225 | 2013-04-18 10:38 | 24C | 0.8743 | 2.4912e-06 | 3.0398e-06 | 0.8743 | 30.1086 | 9.6791e-05 | #VALUE!
2013-16#20 | 234 | GH 2 | 234 | 2013-04-18 10:40 | 24C | 0.88546 | 1.1203e-06 | 3.0398e-06 | 0.88546 | 30.5382 | 4.2232e-05 | #VALUE!
2013-16#21 | 245 | GH 2? | 245 | 2013-04-18 10:43 | 24C | 0.85533 | 2.2405e-06 | 3.0994e-06 | 0.85533 | 29.3802 | 8.7036e-05 | #VALUE!
2013-16#22 | 257 | BS 17 | 257 | 2013-04-18 10:45 | 24C | 0.85724 | 2.7262e-06 | 3.0994e-06 | 0.85725 | 29.4537 | 0.00010448 | #VALUE!
2013-16#23 | 263 | BS 30 | 263 | 2013-04-18 10:47 | 24C | 0.86386 | 2.4915e-06 | 2.9802e-06 | 0.86386 | 29.7073 | 9.6893e-05 | #VALUE!
2013-16#24 | 282 | BS 32 | 282 | 2013-04-18 10:49 | 24C | 0.86265 | 2.7425e-06 | 3.0994e-06 | 0.86266 | 29.6612 | 0.00010499 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2013-04-18 09:33 | 24C | 0.99979 | 2.7425e-06 | 2.9802e-06 | 0.99979
2013-16#1 | MAL 28-27 | 2013-04-18 09:57 | 24C | 0.83347 | 5.346e-06 | 3.0994e-06 | 0.83347 | 28.544 | 0.00020334
2013-16#2 | MAL 39-40 | 2013-04-18 10:00 | 24C | 0.84753 | 2.4912e-06 | 3.0994e-06 | 0.84753 | 29.0816 | 9.6785e-05
2013-16#3 | MAL 14-69 | 2013-04-18 10:02 | 24C | 0.83025 | 2.2126e-06 | 3.0398e-06 | 0.83026 | 28.4213 | 8.5313e-05
2013-16#4 | MAL 20-85 | 2013-04-18 10:05 | 24C | 0.83304 | 2.2394e-06 | 2.9802e-06 | 0.83304 | 28.5278 | 8.4892e-05
2013-16#5 | MAL 23-102 | 2013-04-18 10:07 | 32C | 0.835 | 1.1196e-06 | 3.0994e-06 | 0.83501 | 28.5928 | 4.4143e-05
2013-16#6 | MAL 26-112 | 2013-04-18 10:09 | 24C | 0.83534 | 2.7425e-06 | 2.9802e-06 | 0.83534 | 28.6153 | 0.00010501
2013-16#7 | MAL 49-120 | 2013-04-18 10:11 | 24C | 0.83386 | 3.1902e-06 | 3.0398e-06 | 0.83386 | 28.5588 | 0.00012137
2013-16#8 | MAL 52-129 | 2013-04-18 10:13 | 24C | 0.83276 | 1.4046e-06 | 3.0994e-06 | 0.83276 | 28.517 | 5.2235e-05
2013-16#9 | MAL 55-138 | 2013-04-18 10:15 | 24C | 0.83041 | 2.4911e-06 | 3.0398e-06 | 0.83041 | 28.4272 | 9.4364e-05
2013-16#10 | MAL 58-146 | 2013-04-18 10:17 | 24C | 0.8326 | 1.1199e-06 | 3.0994e-06 | 0.8326 | 28.5107 | 4.265e-05
2013-16#11 | MAL 61-154 | 2013-04-18 10:20 | 24C | 0.82628 | 2.2397e-06 | 2.9802e-06 | 0.82629 | 28.27 | 8.6748e-05
2013-16#12 | MAL 45-161 | 2013-04-18 10:22 | 24C | 0.87169 | 3.2009e-06 | 3.0398e-06 | 0.8717 | 30.0084 | 0.00012293
2013-16#13 | MAL 47-169 | 2013-04-18 10:25 | 24C | 0.88624 | 2.8901e-06 | 2.9802e-06 | 0.88624 | 30.5683 | 0.00011162
2013-16#14 | GH 13-186 | 2013-04-18 10:27 | 24C | 0.83698 | 1.1203e-06 | 3.0398e-06 | 0.83698 | 28.6781 | 4.4143e-05
2013-16#15 | GH 15-192 | 2013-04-18 10:29 | 24C | 0.83592 | 3.3472e-06 | 3.0398e-06 | 0.83592 | 28.6377 | 0.00012887
2013-16#16 | GH 11-202 | 2013-04-18 10:31 | 24C | 0.83505 | 2.2397e-06 | 3.0398e-06 | 0.83506 | 28.6045 | 8.574e-05
2013-16#17 | GH 8-207 | 2013-04-18 10:33 | 24C | 0.87213 | 2.4744e-06 | 3.0398e-06 | 0.87213 | 30.0252 | 9.5854e-05
2013-16#18 | GH 6-216 | 2013-04-18 10:35 | 24C | 0.87454 | 1.3888e-06 | 2.9802e-06 | 0.87454 | 30.1177 | 5.3827e-05
2013-16#19 | GH 4-225 | 2013-04-18 10:38 | 24C | 0.8743 | 2.4912e-06 | 3.0398e-06 | 0.8743 | 30.1086 | 9.6791e-05
2013-16#20 | GH 2-234 | 2013-04-18 10:40 | 24C | 0.88546 | 1.1203e-06 | 3.0398e-06 | 0.88546 | 30.5382 | 4.2232e-05
2013-16#21 | GH 2? 245 | 2013-04-18 10:43 | 24C | 0.85533 | 2.2405e-06 | 3.0994e-06 | 0.85533 | 29.3802 | 8.7036e-05
2013-16#22 | BS 17-257 | 2013-04-18 10:45 | 24C | 0.85724 | 2.7262e-06 | 3.0994e-06 | 0.85725 | 29.4537 | 0.00010448
2013-16#23 | BS 30-263 | 2013-04-18 10:47 | 24C | 0.86386 | 2.4915e-06 | 2.9802e-06 | 0.86386 | 29.7073 | 9.6893e-05
2013-16#24 | BS 32-282 | 2013-04-18 10:49 | 24C | 0.86265 | 2.7425e-06 | 3.0994e-06 | 0.86266 | 29.6612 | 0.00010499