## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 1 April 2025 | ### Updated channel names & formats in TOB & loop files. GG & SH |
| ### 23 July 2024 | ### Added Cesium data to 7 casts. SH |
| ### 31 Jan 2022 | ### Corrected few flag comments and processing comments. G.G. |
| ### 22 Nov 2021 | ### Corrected Salinity:Bottle formats and precision. S.H. |
| ### 26 Aug 2020 | ### Added HPLC data. S.H. |
| 17 Jan 2017 | Replaced CHL data, corrected 2 nutrient values – see details at end of report. G.G. |
| 14 July 2016 | Comment added to CHE and CTD files re fluorometer problem. See document Fluor-2228-problem.docx. |
| 1 April 2015 | Correction to header comment about salinity bottles in CHE files. G.G. |
| 7Jan2014 | Few errors found in CHL loop values – values corrected. GG |

## PROCESSING NOTES

Cruise: 2013-17

Agency: OSD

Location: North-East Pacific

Project: Line P

Party Chief: Robert M.

Platform: John P. Tully

Date: 7 June 2013 – 25 June 2013

Processed by: Germaine Gatien

Date of Processing: 30 August 2013 – 23 December 2013

Number of raw CTD HEX files: 60	             Number of raw TSG HEX files: 18

Number of CTD files:  60		Number of bottle casts:	58

Number of TSG files: 18

# INSTRUMENT SUMMARY

SeaBird Model SBE 911+ CTD (#0443) was used for this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1396DR), an SBE 43 DO sensor (#0997) on the secondary pump, a SeaPoint Fluorometer (#2228) with a 3X cable on the primary pump, a Biospherical QSP-200 PAR sensor (#4601) and an altimeter. Other equipment was attached for another research group and will not be processed.

A thermosalinograph (SeaBird 21 S/N 3363) was mounted with a Wetlab/Wetstar fluorometer (WS3S-713P), a remote SBE38 temperature sensor and a flow meter.

The deck unit was a Seabird model 11, serial number 0471.

The data logging computer was #3.

The SeaSave version was V7 22.4.

All casts were run with the LARS mid-ship station.

The oxygen kit was #1 (IOS Dosimat Model 665)

The salinometer used at IOS was a Guildline model 8400B Autosal, serial # 68572.

An IOS rosette with 24 10L Seabird/Homemade bottles.

# SUMMARY OF QUALITY AND CONCERNS

The CTD log had an equipment list, but no information about the thermosalinograph.

The Chief Scientist provided sampling notes with a good description of problems relevant to processing and a sampling spreadsheet that cleared up some confusing points.

Salinity samples were analyzed within 22 to 40 days of collection. The primary CTD salinity was lower than the bottles by about 0.002 but the comparison was too noisy to justify recalibration.

During 2013-38 when the same equipment was used, there were unusual excursions in salinity that were not associated with similar features in temperature, so not the result of shed wakes. This was most notable when the CTD was decelerating rapidly, which might have affected the alignment of T and C sensors, leading to noisy salinity. Such features were not seen during 2013-17 but the gradients were quite different and might have masked the effect, and the CTD deceleration rates were generally not as high as seen during the deepest casts of the earlier cruise.

During 2013-17 both salinity channels were very noisy but the more notable feature was the difference between the two temperature channels. The average differences were not high, except during casts #18-22, but the secondary temperature was very noisy. The secondary channels were often unstable in T-S space while the primary T-S was generally stable. The SBE Dissolved Oxygen data looked very noisy and that sensor was on the secondary pump. Problems in the secondary plumbing come to mind, but why that should affect temperature is not known. Primary temperature and salinity were chosen for archiving.

During 2013-50 when the same equipment was used, the CTD tech noted that the plumbing geometry was different on the primary and secondary circuits. This could add to alignment problems explaining why the secondary salinity was so much worse than the primary.  Photos of the plumbing of the CTD are recommended to enable investigation later.

For casts #18-22 the temperature differences were especially large and secondary salinity was especially noisy and significantly lower than the primary salinity even while stopped for a bottle. Cast #22 was the worst with the secondary lower than the primary by almost 0.01 at 2000m while stopped. The secondary salinity values all stand out as outliers compared to bottles from this cast. As noted above the problem was seen to come from the secondary temperature channel.  The CTD dissolved oxygen data from cast #22 also look significantly out of line when compared with bottles. The SBE dissolved oxygen channel was removed from casts #18 to 22 as it appears to be unreliable. Cast #17 may also be slightly affected, but there is insufficient evidence to justify removing the channel.

Niskin #10 was slightly out of line among the 22 bottles fired at 2000m and the only other salinity sample from that bottle also looks somewhat low in the bottle comparison. So there might be a slight leak in that bottle, though not a large one. Niskin #10 did not look out of line in the dissolved oxygen comparison.

The Oxygen:Dissolved:SBE data are of lower quality than usual, presumably due to the problems noted in other secondary channels, though tests suggest the problem is not directly due to poor temperature data being used in the derivation of DO concentration. For casts #18-22 the data are not considered reliable enough to archive.

For other casts, DO values are considered, roughly, to be:

±0.5  mL/L  from 0 to 150db

±0.3  mL/L  from 150 to 300db

±0.1 mL/L from 300 to 500db

±0.06 mL/L from 500 to 2500db

±0.04 mL/L below 2500db

The CTD fluorescence values are much higher than extracted chlorophyll for CHL <1ug/L but fall rapidly as CHL increases. The CTD fluorescence is about 44% of the CHL at the CHL maximum of 7.6ug/L.

Problems continue to plague the thermosalinograph system on the Tully. The chief scientist reported that the filters kept plugging up with jellies and other bugs and the flow rate went very low. Salinity had many very noisy patches. When the flow was really low the salinity looks quite flat. The lab temperature, salinity and fluorescence data were removed whenever the flow rate was <0.6. Only a few spikes were removed from the intake temperature though it may also be affected by very low flow rates. Time and position data were kept. The flow rate channel has been left in all files.

The calibration of the TSG fluorometer was based on a comparison run during 2012-013. It would be useful to repeat this comparison since the values are generally high compared to the CTD fluorometer during bottle stops.

Comparisons of TSG data to CTD and loop samples show the salinity to be low. This is at least partly due to noise in the salinity channel, so no recalibration was applied. TSG Fluorescence was about 30% higher than CTD fluorescence when the flow rate was fairly high, but there is a lot of variability in the ratio. Loop samples, both salinity and extracted chlorophyll, compared well with rosette samples.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained as well as sampling notes summarizing problems and points of interest with reference to processing.

Extracted chlorophyll, nutrients, dissolved oxygen and salinity data were obtained in spreadsheet format from the analysts. There was no DMS sampling for this cruise.

The cruise summary sheet was completed.

The history of the pressure, conductivity and DO sensors were obtained.

Next the calibration constants were checked for all instruments.

The fluorometer cable was changed at cast #16 so there are 2 distinct configuration files:

- File 2013-17-ctd1.xmlcon – events #1-16  - Fluorometer gain 3X

- File 2013-17-ctd2.xmlcon - events #17-108 – Fluorometer gain 10X

The parameters were all correct but since the DO sensor has not been used for sampling below 1500m, tests will be been to check whether the default value of parameter E is appropriate.

File lists were prepared with all casts, casts with PAR on and casts with no PAR.

The raw file names 2013-17-0104.* were changed to 2013-17-0106.*

##### BOTTLE FILE PREPARATION

Hysteresis tests have not yet been run for the DO sensor as this is the first cruise since the last factory service with sufficiently deep dissolved oxygen sampling.

The ROS files were converted using file 2013-17-ctd1.xmlcon and 2013-17-ctd2.xmlcon using the default value of E (0.036). Tests will be done later to see if that was the best choice.

Those files were put through CLEAN to add event numbers (*.BOT).

Temperature and salinity channels for the BOT files were plotted and outliers were identified in 5 casts with 4 cases of primary salinity spikes (#11, 40, 91 & 99) and one with a secondary salinity spike (#67). The spiky values were removed using CTDEDIT.

Header Check was run on the BOT files and no problems were found.

**The BOT files were then averaged to enable an ADDSAMP file to be prepared. Sample numbers were added to the ADDSAMP file based on rosette log records. A few adjustments were made in this process based on log notes and Chief Scientist’s notes:

- Event #4 – the sampling log indicates that Niskin #8 misfired, but the Chief Scientist’s notes say that Niskin #7 did not close. There are no samples with sample #18, so it is assumed that it was Niskin #8 that misfired. Flag 9 will be assigned to all variables that were meant to be sampled.

- Event #6 – One bottle did not close. Addsamp file left as is, but add 9 flags later.

- Event #7 – The rosette file indicates that 2 bottles were fired, but there were 3 fired. Niskin #8 was fired just to test it and no samples were taken. This line should be removed once the bottle file is assembled.

- Event #16 – The C.S. notes mentioned bottles #7-9 and 21 were not closed – the addsamp file looks ok. Check later to ensure no lines need to be removed.

- Event #42 – The C.S. notes indicate that Niskin #1 was fired twice. No sample number is associated with the second firing. It appears twice in the rosette file, but a sample number should only be associated with the first firing when it actually closed. The 2nd firing was removed from the ADDSAMP file. This line should be removed once the bottle file is assembled.

- Events #49/55/63 – again some bottles not sampled due to misfire or empty bottles; check later to ensure 9 flags for intended samples.

- Event #79 has sample #s 530-535 but these are for a Pump event. No file processed.

SAM files were created using the Add Sample Number routine and those files were then bin-averaged.

Bin-average was then run using bottle numbers for bins to produce SAMAVG files.

The addsamp.csv file was sorted on Event_Number and Sample_Number and then converted to CST files. The CST files will form the framework for the bottle files.

Next, each of the analysis spreadsheets were examined to see what comments the analyst wanted included in the header file. These were used to create file 2013-17-bot-hdr.txt; it may need further editing to reflect problems found during processing. The * in the spreadsheet file names that follow stands for the date the file was created. These names are updated as corrections are made.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2013-17chl*.xlsx. The file included comments and flags and an event-number column. A simplified version of the spreadsheet was prepared in which some columns were removed and the file was saved as 2013-17chl.csv which was then converted to individual CHL files. Loop data were moved to file 2013-17loops-tsg-comp.xlsx.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF2013-17oxy*.xlsx which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified by removing a few unnecessary columns and the file was then saved as 2013-17oxy.csv. That file was converted into individual *.OXY files. There were no loop data. A few problems were found later in the event numbers; these were corrected.

SALINITY

Salinity analysis was provided in spreadsheet QF2013-17SAL*.xlsx. The file was simplified and saved as 2013-17sal.csv. Loop data were moved to file 2013-17-loop.xls. The salinity data were analyzed within 13 to 24 days of collection. The simplified spreadsheet was converted to individual SAL files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2013-17nuts*.xlsx which included a report on precisions. This included loop samples and samples analyzed for the University of North Carolina. Those records were removed and the file was simplified, reordered on sample numbers and saved as 2013-17-nuts.csv. The file was converted to individual NUT files. Loop data were moved to file 2013-17-loop.xls.

DMS

There was no DMS sampling during this cruise.

The SAL, CHL, OXY and NUT files were merged with CST files in 4 steps.

After the 4th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

The merged files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number, the usual method used. The output files were named MRGCLN1s.

Those files were merged with SAMAVG files choosing the Bottle_Number from the SAMAVG files.

**The checks or adjustments mentioned earlier in this section were made. A few 9 flags were added and lines removed where no sampling was never intended.

The MRG files were exported to a spreadsheet for an initial check that all samples had been added correctly. Several errors were found and corrected:

- Cast #4 - Sample 18: the Niskin bottle did not close but there are NUT values –Those values should be attached to sample #17, not 18. Pad values and flag 9 were entered for sample #18. Changes to the spreadsheet were also made.

- Cast #6 - Sample 26: A 9 flag was added to the CHL value because the rosette sheet indicated that a sample was to be taken, but none was taken due to a misfire. Nuts already had 9 flags.

- Cast #18 - A 5 flag was added to sample #156 - the analysis gives 0 values with a comment “no data”. This is assumed to be a problem with analysis, not lack of a sample.

After corrections the final MERGE step was repeated and the files exported to spreadsheet and the variations corrections were found to be applied properly.

##### Compare

Salinity –

Compare was run with pressure as reference channel.

Two casts with SAL files actually contain no data since the values were replaced with pad values.

A few severe outliers were found:

- Wrong sample number for surface sample of cast #2 – should be sample #10. After correction this is a minor outlier, and being from the surface this is not significant.

- Sample #216 for cast #32 should be from 1249db but looks like it is from about 200db; the nutrients also look like they are from that depth. The titrated DO sample is way out of line. The draw temperature supports this conclusion. The DO and nutrient samples were replaced with pad values and flagged 5 with comment MISFIRE. DO already had been padded and there was no CHL sample.

Two minor outliers do not need flags:

- Sample #167 from cast #19 is a surface sample, so difference not significant.

- Sample #448 from cast #65 – the CTD data are noisy so the bottle sample is likely fine.

After these outliers were excluded the fits are noisy and show pressure dependence. Since it has the same slope for both channels this is likely due to bottle flushing issues. Excluding more points based on either standard deviations or differences produces flatter fits, with the primary low by an average of 0.0017 below 500m and the secondary low by 0.0005.

The 22 bottles fired at 2000m during cast #76 were studied, and the primary CTD salinity was low by an average of 0.0014 and the secondary high by 0.0008. The bottle values vary by 0.0127 or 0.008 if one outlier (Niskin #10) is excluded.  The only other salinity sample from Niskin #10 also seems slightly out of line raising the possibility that there might be a slight leak.

The primary is low by an average of 0.0017 and the secondary low by 0.0005 when data above 500db are excluded. There is a lot of variability with standard deviations of 0.0016.

There is no obvious time-dependence except that casts #17 and #22 are out of line in the secondary salinity. In section 11 there is further evidence that there was a problem with the secondary CTD salinity for some casts with #22 being the worst.

One question that arises is whether the CTD looks lower than during 2013-38 because of drift or because analysis was slower. If the latter, we would expect higher scatter since the effects of evaporation are likely to vary from sample to sample. And we would also expect some time dependence because the samples from early in the cruise waited longest before being analyzed. When samples from 1000m were plotted against file pair number the largest difference is from early in the cruise, but the next 2 largest are from near the end. So there could be some problem from evaporation but it is likely small.

A plot of differences versus CTD salinity shows the CTD values being lower at low salinity. This could be partly due to low salinity values coming from early in the cruise, so having a longer wait for analysis, but poor flushing in the presence of higher gradients near the surface most likely accounts for most of this trend.

For full details for the COMPARE run see file 2013-17-sal-comp1.xlsx.

Dissolved Oxygen-

The dissolved oxygen sensor was mounted on the secondary pump. There is evidence that the secondary temperature and salinity are not reliable for some casts (see sections 7 and 11 for more detail). Conductivity looked ok. During the cruise that followed this one it was found that the secondary duct was leaky. It is not clear why that would affect the temperature, but it would likely affect the dissolved oxygen. This problem affected the temperature data even when the CTD was stopped for bottles.

An initial run of COMPARE was used to decide if the E value in the dissolved oxygen sensor calibration should be adjusted.  There were 4 deep casts with DO sampling that may show a little hysteresis, but the evidence was not clear. For the bottles below 2000db DO values were between 1 and 3mL/L. So those were compared with bottles between 0 and 600db with DO values in the same range. The slopes were only slightly different (the offset was set to 0) at 1.059 and 1.061. Given the scatter the difference looks insignificant. The nominal value of 0.036 will be used for E.

The plot of differences versus CTD DO does make it clear that cast #22 values are all outliers. The fit for that cast when forced to have an offset of 0 is:

DO_Bottle = DOX_CTD *1.0702

But there is a clear offset at the origin so the following fit looks much better:

DO_Bottle = DOX_CTD *1.0593-+ 0.049

This does not look like a way to recalibrate the data from cast #22 as there is likely an offset in temperature and the effect on oxygen is likely not linear. Moreover the temperature problems look more severe for cast #22 than for casts #17 and 18 so this is not a general result. There were no DO samples from casts #17 and 18.

When all data except for cast #22 are included and a few outliers are excluded based on residuals, the fit with an offset allowed is:

DO_Bottle = DOX_CTD *1.0518 -+ 0.0157

But the fit does not look convincing. SeaBird recommend setting the offset to 0 which sometimes looks like a good idea and sometimes not. In this case there is too much noise in the data near 0 to lend confidence in the offset. The fit with offset = 0 is:

DO_Bottle = DOX_CTD *1.0540

For more details see 2013-17-dox-comp1.xls.

There were no significant outliers; the misfire identified in the salinity comparison had been removed.

Because there were some concerns about Niskin #10 based on the salinity comparison at cast #76, the DO comparisons for that bottle were examined and there is no hint of a problem.

Plots of Titrated DO and CTD DO against CTD salinity were examined and no problems were detected.

Fluorescence

COMPARE was run using the SeaPoint fluorescence and the Extracted Chlorophyll from bottles.

As usual, the fluorometer reads much higher than extracted chlorophyll at low values of CHL. The ratio of CTD FL / CHL falls to about 1 when CHL reaches 2ug/L, and continues to fall reaching about 0.44 when CHL reaches its maximum of 7.6ug/L.

The ratio of CTD FL/CHL rises as the ship moves offshore, which appears to be due to falling CHL values. Near-shore the average ratio is close to 1. The fluorometry looks most like CHL when CHL is between 1and 2ug/L.

For more details see file 2013-17-fl-chl-comp1.xlsx.

##### Conversion of Full Files from Raw Data

Files #1-16 were converted using 2013-17-ctd.xmlcon.

Files #17-108 were converted using 2013-17-ctd.xmlcon.

A few casts were examined and all expected channels are present.

The descent rate is often extremely noisy. Even though it was kept high on average it is so noisy that there are some complete reversals of direction during the descent and obvious shed wake corruption.

The pairs of temperature and conductivity channels differ more than usual even during downcasts. The primary seems almost too smooth and the secondary too noisy, so it is not obvious which is correct. The upcasts are especially noisy, as usual.

Dissolved oxygen (raw), PAR, transmissivity and fluorescence look normal.

Altimetry looks useful when the CTD got near the bottom.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity & temperature only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### Initial Tests

When this equipment was last used, during 2013-38, problems were found in both salinity channels with unstable excursions in which the temperature channels were unaffected. There was also shed wake corruption during that cruise, but those features showed up in both temperature and salinity and correspond to low descent rates. The problem appeared to be related to rapid deceleration of the CTD somehow affecting alignment. While there were problems in the primary, those in the secondary were much worse. There were often large differences between T and C pairs which could be due to a problem in the secondary flow.

An initial look at 2013-17 shows significant differences between the two temperature channels. The primary channels look better in T-S space with fewer and smaller unstable features. At first glance, there is no evidence of the problem noted during 2013-38 with noise in the salinity traces that was not found in corresponding temperature traces. However, there is a problem in the DO data that was not evident in 2013-38. This is associated with very noisy secondary temperature and the DO sensor was mounted on the secondary pump.

During 2013-50 which followed this cruise it was noted that the TC duct between the secondary T and C sensors was leaky. It was replaced mid-way through that cruise. A quick investigation of data from 2013-50 shows the sort of differences between pairs of channels noted for 2013-17 and 2013-38, but they look the same before and after the repair. The leaky tubing probably does not account for the 2013-17 observations of secondary sensors being worse than the primary. Another problem noted during 2013-50 is that the plumbing configuration was different for the two pumps which might lead to different flow character. This could account for poor secondary data. The DO traces look ok for 2013-50 but this could be because they were mostly shallow and had simpler curves.

A few tests were run to see if the results would change what alignment settings should be used.

The first test was to look at cast #1 which had a very steady descent rate. It should not have any shed wake corruption or noise due to a rapid deceleration of the CTD. But both salinity and temperature traces show excursions in the presence of a gradient, changing sign as the gradient changes sign., though in areas of high variability the picture is more complex than that.. That looks like it could be an alignment problem, but the differences are much larger than we usually see due to small misalignment. Examination on a T-S surface shows instability in secondary channels but not the primary, which we would not expect due to simple misalignment. A look at cast #61 at a depth where the descent rate was steady shows a similar result – secondary temperature moving too high (T was decreasing with depth) and salinity too low (salinity was increasing with depth). Again, on a T-S surface the secondary has more unstable features than the primary. The secondary plumbing is the most likely explanation for this.

Next a few casts were examined where the descent rate changed rapidly without getting so low that shed wakes would complicate the picture. Given the duct problem described above, we might expect noisy secondary even if there is no problem due to deceleration, so the focus was on the primary channels, to see if there are odd excursions in the salinity that are not seen in the temperature. During cast #85 at about 134db the primary salinity swings to a lower value while the temperature changes rapidly but shows no reversal. This was an area of rapid deceleration, but minor problems in alignment could explain the salinity excursions. It proved difficult to find features like those seen in 2013-38. So, either they aren’t there, or the local gradients makes the features look different. It may be that the low salinity gradients make the effect on salinity obvious, but the effect on temperature may be just to reduce or increase the gradient slightly and thus not look obvious. One difference from the previous cruise is that the descent rate was not often as high as during the deep casts of 2013-38, and when it was high, there was usually shed wake corruption just below where any salinity excursion might have been observed. It would be harder to see such features in those conditions. When the conductivity is aligned or when the data are put through CTDEDIT this problem may be more obvious if it is present.

The one clear conclusion we can reach is that the secondary data are not suitable for archiving. The dissolved oxygen sensor was mounted on the secondary pump, so it is likely also affected. All channels will be processed and decisions made later about archiving.

##### ALIGN DO

Tests were done on 3 casts applying a variety of settings to make the offset between the upcast and downcast DO channel close to that for the temperature. This is very difficult to judge, but a setting of 4.5s does not look unreasonable. When DO concentration is derived the results are very poor with any setting of ALIGN. When the DO voltage is displayed the results look better, but that doesn’t make them right..

A test was done by deriving DO concentration using first the primary temperature and then the secondary. First STRIP was used to remove the unwanted temperature channel from the file. The results showed only minor differences in the DO concentration values, with no improvement in the overall appearance. The results show that in normal processing, no matter which pump is used, the primary temperature is selected in deriving the DO concentration.

The DO traces look unusual throughout the cruise. Normal processing will be applied, but a decision on whether DO should be archived will be left until later when downcast values can be compared to bottle values.

ALIGNCTD was used to advance the DO Voltage by 4.5s relative to the pressure.

##### CELLTM

The upcast data are very noisy making the usual tests for CELLTM settings hard to interpret and there were very few casts without stops for bottles. Only 1 cast was really suitable. For both sensors all settings tested improved the data with the best choice for both was the setting (α = 0.0245, β=9.5).

CELLTM was run using (α = 0.0245, β=9.5) for both conductivity channels.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

on a few casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. The differences are extremely noisy so these are very rough estimates; if there was a spike at the given depth, nearby values were chosen. One cast each from the cruises before and after this one are included for comparison, but there were no casts deeper than 670m during the later cruise. When one cast showed up as odd, more were added to determine how extensive such differences were.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2013-38-0111 | 1000 | -0.0006 | 0.0002 | 0.0015 | High, moderate |
|  | 1900 | -0.0005 | 0.00001 | 0.0015 | “ |
| 2013-17-0008 | 1000 | -0.0006 XN | 0.00010 | 0.0014 |  |
| 2013-17-0013 | 1000 | -0.0007 | 0.00005 | 0.0015 |  |
| 2013-17-0017 | 1000 | 0.0050 | 0.00021 | -0.0018 | High, F.Noisy |
|  | 1800 | 0.0017 | 0.00016 | 0.0004 | “ |
| 2013-17-0018 | 1000 | ~0.011 | 0.0004 | -0.0107 | High, XNoisy |
|  | 1800 | ~0.005 | 0.0002 | -0.0031 | “ |
| 2013-17-0022 | 1000 | 0.0078 | -0.0008 | -0.2135 | High, XNoisy |
|  | 1800 | 0.0039 | -0.0007 | -0.0318 | “ |
| 2013-17-0025 | 1000 | -0.0006 | 0.00007 | 0.0016 | High, XNoisy |
|  | 1800 | -0.0003 | 0.00013 | 0.0018 | “ |
| 2013-17-0036 | 1000 | 0.0001 | 0.00013 | 0.0014 | High, XNoisy |
| “ | 1800 | -0.0001 | 0.00013 | 0.0018 | “ |
| “ | 2800 | -0.0005 | 0.00014 | 0.0022 | “ |
| 2013-17-0065 | 650 | -0.0003 | 0.00011 | 0.0011 | High, VNoisy |
| “ | 1000 | -0.0001 | 0.00012 | 0.0015 | “ |
| “ | 1800 | -0.0002 | 0.00015 | 0.0018 | “ |
| “ | 2800 | -0.0004 | 0.00015 | 0.0023 | High, XNoisy |
| 2013-17-0086 | 650 | -0.0003 | 0.00011 | 0.0016 | High, FNoisy |
| “ | 1000 | 0.0003 | 0.00016 | 0.0015 | “ |
| “ | 1800 | 0.0001 | 0.00015 | 0.0019 | “ |
| “ | 2800 | -0.0003 | 0.00016 | 0.0023 | “ |
| “ | 2800 | -0.0007 | 0.00015 | 0.0027 | “ |
| 2013-50-0030 | 650 | -0.0005 | 0.00006 | 0.0014 | High, F.Noisy |

Many of the early casts were too shallow for reasonable comparisons but casts #8, 13 and 25 look similar to casts #36, #65 and #86. Casts #18 and #22 look out of line and cast #17 is slightly out of line. While #14 and #16 were too shallow to compare to other casts, it was possible to compare the sensor pairs in profile and T-S plots. The secondary channels are generally noisier than the primary for the whole cruise, but for casts #16 to 22, the differences are much greater with very high noise levels in the secondary.  It looks as though cast #14 is probably ok, but it is difficult to determine from a shallow cast.

There is pressure dependence in all differences which is not unusual. The salinity differences are very similar to the differences between primary and secondary fits found in COMPARE. The alignment is not critical while stopped, so probably the pressure dependence is not due to that. The fit of salinity differences between bottles and CTD versus pressure are both reasonably flat with pressure, but the slopes are of opposite sign and the secondary fit has a little higher slope than that of the primary. It is likely that there is some pressure dependence in all temperature and conductivity sensors, but for this cruise it is likely greatest in the secondary ones. The pressure dependence is not large and likely very small for the primary sensors.

The salinity differences are consistent with the results of COMPARE except for events #17-22.

The one cast included from 2013-50 looks similar to casts 65 and 86 at 650db given high variability. There was no sampling below 670db during 2013-50.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

The header check was run.  Fluorescence did not go off-scale but PAR did for at least one cast. No other obvious problems were found.

Surface Check was run and shows an average surface pressure for the cruise was 3.0db which looks reasonable for the Tully.

The cross-reference check was compared with the log book and errors were found in 4 station names; those were fixed for profile and bottle files. There was a discrepancy in dates between the headers and log books for 2 casts; in both cases the headers are clearly correct, so no changes were made to those.

The cruise track was plotted and added to the end of this report. No problems were found.

The altimeter readings from the headers of the CLN and SAMAVG files were exported to a spreadsheet. Most casts did not get within 15m of the bottom so there are no header entries.

The altimetry headers were clearly wrong for casts #11 and 33 with spikes being misinterpreted. The altimetry headers were removed from the CLN files of those casts, as the CTD did not get within 15m of the bottom. For the bottle files there were no spikes, but in some cases there was no sampling at the bottom, so having the altimeter reading in the header gives the impression the samples come from near the bottom. The altimeter heading was removed from the SAMAVG files of events #36, 42, 58 and 67. MERGE and CLEAN were rerun after these corrections.

Water depths were checked and there were some discrepancies:

-The log and header entries differ significantly for events #1, 2, 58, 61, 74, 75 – the header is clearly wrong for #1 and the log is clearly wrong for event #2. For the other cases the log entry looks more realistic based on readings at these stations during other cruises. Event #1 was adjusted appropriately.

- There was no entry in the header for event #38 while the log said ~3000.

- There was some drift between events #32 and #36. The CTD got to within 10m for both, but the maximum pressure of the CTD casts differ by about 100m. Yet, the bottom depth is given as 3231 and 3233 for those casts. Calculating bottom depth from maximum pressure and altimetry at the bottom suggests the assumption that all casts had the same depth is wrong. 3133 will be entered for event #36.

Changes were made to the headers of the CLN and SAMAVG files for casts #1, 36, 38, 61, 74, 75

The MRG4 to MRG step was repeated after these corrections.

##### Shift

Fluorescence

The usual tests to see how the offset between upcast and downcast fluorescence traces compare to that of temperature were very hard to interpret. All traces were very noisy and stops for bottle sampling complicated the issue. The usual value of +24 records definitely improves the data so that was selected.

SHIFT was run on all casts to advance the SeaPoint fluorescence by +24 records.

Conductivity

Tests were run on 3 casts to determine how to align the conductivity channels relative to temperature, so as to minimize noise in the salinity channels.

Shifts to the primary conductivity of -0.7 or -0.5records looked best overall. During 2013-38 a setting of -0.5 records was used. For the secondary values there is so much noise that the results are hard to understand. Some features look best with an advance of +1.4 records and other with +0.5 records. This is likely due to different sources of alignment errors affecting different parts of the profiles. The traces are noisy with no one setting producing very satisfactory results. For 2013-38 a setting of +1.5 records was used. The secondary sensors are unlikely to be used. A setting of +1.4 records was chosen as it suits some parts best and is close to the 2013-38 setting.

SHIFT was run on all casts using -0.5 records for the primary conductivity and +1.4 records for the secondary conductivity.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if further alignment is needed for the DO concentration channel, but as far as can be judged by such poor data, further alignment does not appear necessary.

##### DELETE

For a few files data from the initial soak period were included and had to be removed to make DELETE work properly. A text editor was used to do this for files: 56, 59, 62.

DELETE was run on all files.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings:

The DEL files were copied to EDT files in case some do not need editing.

##### DETAILED EDITING

At this stage it must be decided whether primary or secondary channels will be edited, and hence archived. The bottle comparison shows that both salinity channels were slightly lower than the bottles. However, given a 3 to 6 week delay in analysis we might expect a little evaporation, so.it is impossible to judge which sensor pair is more accurate based on that. Both T/S channel pairs have noisy salinity, but overall the primary T/S looks smoother, so the better choice for editing. The results of section 11 show that some casts have very poor secondary salinity.

There is a lot of salinity noise in both channels in the mixed layer where small changes in temperature lead to significant spikes in salinity.

CTDEDIT was used to remove large spikes, smaller spikes that appear to be due to instrumental problems (chiefly miss-alignment of T and C) and likely to affect the bin-averaged values and many records corrupted by shed wakes including some surface records. In some cases salinity values were removed where temperature looked reliable and smoothing of salinity was not appropriate.

Editing was required for all casts.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity:

The temperature and conductivity sensors were serviced in January 2013 and used for 1 cruise since then; primary salinity was found to be low by 0.0005 and the secondary high by 0.001.

2. Dissolved Oxygen

The DO sensor was used during 2013-38 when the fit was found to be

DO_Bottle = DOX_CTD *1.0471-+0.0172

If the offset had been set to zero the slope would have been 1.0507.

3. Pressure

The sensor on CTD #0443 has been used only once since it was recalibrated in March2 2013 and the factory calibration was found appropriate.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. The only excursions were low surface salinity values at P2 and slightly low temperature and salinity at about 150db between P15 and P21. These do not look like systematic errors due to calibration drift.

Repeat Casts –

There were many repeat casts. An examination of the two deepest casts at P26 (that occurred 29 hours apart) showed differences along constant sigma-t lines of 0.004C and 0.0005 salinity units at ~1000db. So there is good repeatability.

Post-Cruise Calibration

There were no post-cruise calibrations available.

##### Initial Recalibration

No recalibration was considered necessary for pressure and salinity.

Dissolved oxygen was using the results of the comparison described in section 4:

DO Corrected = 1.054 * CTD DO (original)

CALIBRATE was run using file 2013-17-recal1.ccf to apply that correction to the dissolved oxygen channel in the SAM and MRGCLN2 files. COMPARE was rerun to check that the salinity was recalibrated appropriately and it was. The calibration was then applied to the EDT files.

(See file 2013-17-dox-comp2.xls.)

##### Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but a further correction is sometimes found appropriate to correct for errors found by comparing downcast CTD data to bottle data from the same pressure.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. First, cast #22 was excluded because it was not included in the data used for recalibration. The cast #22 data did not stand out clearly in plots of differences against pressure or CTD DO.

There is a lot of scatter with no obvious offset in plots of differences against either pressure of CTD DO. There is more noise than usual which may well be due to the alignment problems noted in the secondary channels or noisy temperature data. No further recalibration was applied.

Based on the final comparison a very rough estimate was made of the accuracy of the downcast Oxygen:Dissolved:SBE data:

±0.5  mL/L  from 0 to 150db

±0.3  mL/L  from 150 to 300db

±0.1 mL/L from 300 to 500db

±0.06 mL/L from 500 to 2500db

±0.04 mL/L below 2500db

(See 2013-17-dox-comp3.xls.)

##### Special Fluorometer Processing

There were no off-scale fluorescence data.

Special files were prepared for Dr. Peña by clipping the COR1 files to 150db. The clipped files were bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD1 and saved. A second set, *.FCTD2, were created by filtering before bin-averaging. The SAM files were put through REMOVE and named *.BOF and saved. A readme.doc file was prepared with some notes on the preparation of those files.

A median filter, fixed size=11, was applied to the fluorescence channels in the COR1 files to reduce spikiness. Before and after plots of a few casts showed that the filter was effective.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing appeared to be necessary.

##### Final CTD File Steps (REMOVE and HEADEDIT)

REMOVE was run on all casts with a PAR sensor mounted to remove the following channels:

Scan_Number,  Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag. For cast #74 the PAR signal was off-scale for the top 20db and too high elsewhere, so the PAR channel was removed. The signal looks fine in the upcast, so the CHE file does contain PAR.

REMOVE was run on casts with no PAR sensor to remove the following channels:

Scan_Number,  Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE,  PAR, Altimeter, Status:Pump, Descent_Rate and Flag. For casts #18-22 the Oxygen:Dissolved SBE channel was also removed.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names, to add “Mid-ship” to the instrument location section and to add the following comments:

Data Processing Notes:

----------------------

Transmissivity, Fluorescence and PAR data are nominal and

unedited except that some records were removed in editing

temperature and salinity.

For details on how the transmissivity calibration parameters were calculated

see the document in folder "\cruise_data\documents\transmissivity".

Based on the recommendation from SeaBird, the method for calibration of

Dissolved Oxygen concentration was changed from that used for 2011

and some 2012 cruises. For more information see the SeaBird Application

Note #64-2, June 2012 revision.

The Oxygen:Dissolved:SBE data are of lower quality than usual with small-scale noise.

For casts #18-22 the SBE DO data are not considered reliable enough to archive

based on comparison with bottles and differences between primary and secondary

temperatures for those casts.

For other casts SBE Dissolved Oxygen values are considered, roughly, to be:

±0.5  mL/L  from 0 to 150db

±0.3  mL/L  from 150 to 300db

±0.1 mL/L from 300 to 500db

±0.06 mL/L from 500 to 2500db

±0.04 mL/L below 2500db

The primary salinity was found to be low by an average of <0.002.

No recalibration was applied.

For details on the processing see the report: 2013-17-proc.doc.

The cross-reference list was produced no errors were found.

The Standards Check routine was run and no problems were found.

An initial Header Check turned up a problem in the PAR downcast data; the values were off-scale to 20db and too high elsewhere. So for that cast a return was made to the REMOVE stage and the PAR channel was removed. The subsequent steps were then run for just that cast.

The final files were named CTD.

Profile plots were made and look ok.

The track plot looks ok.

The sensor history files were updated.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The near-surface values in Saanich Inlet were ~170%. Off shore the values were between 100% and 120% with the highest values near shore and most values close to 105%. These values look reasonable.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure.

REMOVE was run on casts with a PAR sensor mounted to remove the following channels:

Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

REMOVE was run on casts with no PAR sensor to remove the following channels:

Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, PAR, Descent_Rate and Flag.

For casts #18-22 channel Oxygen:Dissolved:SBE was also removed.

A second SBE DO channel was added with different units and REORDER to get the 2 SBE DO channels together.

HEADER EDIT was run to fix formats and units, fix a few headers, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data.

A header check was run on the final files and no problems were found.

For a final check the CHE bottle data were exported to a spreadsheet and compared with the rosette log sheets and no errors were found.

Plots were made of CTD Salinity versus SBE Dissolved Oxygen and bottle DO and no further outliers were identified.

Standards check was run on all files and no problems were.

A cross-reference list turned up no further errors.

The track plot was produced on screen and no further errors were found.

##### Thermosalinograph Data –

Data were provided in 18 hex files. Problems with clogging filters led to frequent interruption, sometimes a new file was started and sometimes there is just a brief stoppage of flow without a new file being started.

Loop data were combined in file 2013-17-loops-tsg-comp.xlsx. Salinity, extracted chlorophyll and nutrient data were available. Time and date were added to the file to enable addition of the TSG data later.

Some of the loop samples coincide with rosette casts; others were taken while underway.

a.) Checking calibrations

The calibrations were checked and there were no significant differences from those used for 2013-38, as expected. The fluorometer parameters are those found for 2012-13 when there was an inter-comparison with the CTD fluorometer.

The CON file was saved as 2013-17-tsg.xmlcon.

There were 18 hex files.

b.) The hex files were converted to CNV files using the configuration file mentioned above.

External temperature data were available for this cruise.

The files were then converted to IOS HEADER format.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

ADD TIME CHANNEL was used to add Time and Date channels based on the Julian time.

Time-series plots were produced:

- The flow rate is frequently low.

- The salinity is frequently very noisy as noted during 2013-38, but this noise does not appear to be associated with low flow rate.

c.)  Checking Time Channel

The bin-averaged CTD data were thinned to reduce the files to a single point from the downcast at or within 0.5db of 4db. There were 55 casts which overlapped with TSG files and had data available near 4db. The data from the thinned files were exported to spreadsheet 2013-17-ctd-tsg-comp.xls.

The salinity data from 2013-38 were also very noisy and tests were run during the processing of that cruise to see if filtering or editing the TSG salinity would improve the data. The results were unimpressive. Applying a median filter produced data that was still low by up to ~0.05 for much of the underway section when the noise was generally worse than during stops. Other filters were also ineffective.

To check for problems in the TSG clock or bad matches of TSG and CTD data, the differences between latitudes and longitudes were found. The differences in latitude were ≤0.0003° and in longitude were ≤0.0004° and the median differences were ≤0.00002° for both, so there is no systematic error. This shows both the times and positions are reliable for both systems.

TSG values were also found for times of underway loop sampling and added to the loop file which was then saved as 2013-17-loop-tsg-rosette-comp.xls. Near-surface rosette data (both CTD and samples) were found for the 2 cases where loops were taken during CTD casts and added to the files.

These spreadsheets will be used in step (d) to compare temperature, salinity, fluorescence/chlorophyll and nutrients.

d.) Comparison of T, S and Fl from Loop and Rosette samples and TSG and CTD data

- T1 vs T2 During stops for CTDs the lab temperature ranged from being higher than the intake by 1Cº to being lower by 0.06Cº.  The median was +0.23Cº. When cases were divided into high (>0.6) and low (<0.6) flow rates the medians were +0.22Cº and +0.34Cº, respectively. This makes sense. While stopped it is clear that low flow lead to larger differences most of the time, but sometimes when it is extremely low the lab temperature appears to be lower than the intake temperature. This has been noted in the past and it appears that something goes wrong with the intake thermistor when the flow is shut off or extremely low. A few files were examined and medians found for sections with high flow and they show clear temperature dependence with heating in the loop varying from 0.14Cº to 0.24Cº for intake temperatures of 9º to 14ºC. This is expected as heating does depend on the difference between intake and ambient ship temperature. For one file the median was 0.20Cº for high flow rate and 0.30Cº for low intake.

- TSG vs CTD The spreadsheet comparing CTD and TSG files was then examined to find the differences between the salinity, fluorescence and temperature channels for the CTD and the TSG. The following table summarizes the results.

|  |  | Titsg-Tctd | TLtsg-Tctd | SALtsg-SALctd | FLUORtsg/ FLUORctd |
| --- | --- | --- | --- | --- | --- |
| all data | average | 0.0427 | 0.2967 | -0.0992 | 1.07 |
| 55 casts | median | 0.0079 | 0.2585 | -0.0536 | 0.87 |
|  | stdev | 0.1356 | 0.1154 | 0.1251 | 0.76 |
|  | max | 0.4215 | 0.7035 | -0.0160 | 2.87 |
|  | min | -0.4213 | 0.1769 | -0.6285 | 0.19 |
| excluding Flow <0.6 | average | 0.0315 | 0.2482 | -0.1106 | 1.25 |
| 38 casts | median | 0.0079 | 0.2405 | -0.0531 | 1.17 |
|  | stdev | 0.1165 | 0.0581 | 0.1464 | 0.75 |
|  | max | 0.3451 | 0.4926 | -0.0160 | 2.87 |
|  | min | -0.4213 | 0.1769 | -0.6285 | 0.25 |
| excluding flow >0.6 | average | 0.0636 | 0.3935 | -0.0753 | 0.70 |
| 17 casts | median | 0.0063 | 0.3662 | -0.0673 | 0.44 |
|  | stdev | 0.1682 | 0.1426 | 0.0465 | 0.65 |
|  | max | 0.4215 | 0.7035 | -0.0252 | 2.83 |
|  | min | -0.2612 | 0.1943 | -0.2032 | 0.28 |
| excluding TSG Sal Std Dev >0.01 | average | 0.0485 | 0.3002 | -0.0562 | 1.10 |
| 40 casts | median | 0.0079 | 0.2694 | -0.0420 | 0.96 |
| excluding both TSG Sal Std Dev>0.01 and Flow Rate <0.6 | average | 0.0440 | 0.2403 | -0.0500 | 1.37 |
| 24 casts | median | 0.0081 | 0.2389 | -0.0330 | 1.31 |

The data were examined separately for high and low flow rates and there is a clear effect on the on the TSG lab temperature, salinity and fluorescence. The warming in the loop is higher when the flow rate is low, as expected since the water has longer to equilibrate to the ambient ship temperature. The amount of heating in the loop averages about 0.24Cº but this value would vary with intake temperature. For salinity the median difference shows the TSG salinity to be lower than the CTD salinity by about 0.053 when the flow rate is higher and by 0.067with lower flow.  There is no obvious reason why the differences should be greater with lower flow rate except that the depth from which the water sample is drawn may be affected. If that is the explanation, then higher flow rate draws water from deeper in the water column. This might not apply to data gathered when the ship is in motion when water likely comes from higher in the water column. Salinity may also be affected by bubbles which could vary with flow rate. The TSG fluorescence is higher than the CTD fluorescence when the flow rate is high and much lower when it is low.

To restrict the data to areas with low local variability, casts were removed where the standard deviation in the TSG salinity signal was >0.01. That did not affect the average heating in the loop, but brought the TSG salinity and fluorescence closer to the CTD values. When that data set was further reduced by removing the low flow rate casts, there remained only 24 casts. For those, the TSG intake temperature was higher than the CTD temperature by 0.008Cº, the lab temperature was higher than the CD by 0.24Cº, the TSG salinity was low by a median of 0.033 and the fluorescence was 1.3 times that of the CTD. The ratio of TSG to CTD fluorescence decreases as CTD fluorescence increases.

(See 2013-17-ctd-tsg-comp.xls.)

- Rosette Samples – Loop Samples Comparison

There were only 2 loop CHL samples during bottle stops with values 0.250 and 0.368ug/L. The 2 loop samples were 108% and 90% of the rosette samples, differing by 0.02 and 0.04ug/L.

The 2 salinity loop samples were close to the rosette values, one being higher by 0.0011 and one lower by 0.0014. So there is good comparison between loops and rosette samples. The flow rate was moderate when the loops were taken at ~0.88 and 0.72.

There was no loop nutrient sampling during rosette casts.

(See 2013-17-loops-tsg-rosette-comp.xls.)

Loop Samples - TSG Comparison The first 4 loop samples were in Juan de Fuca Strait with fairly high CHL values and high variability. The next 4 were well offshore and have low CHL values. The flow rate was fairly high for all (0.85 for the first 7,0.72 for the last). A plot of the ratio of TSG fluorescence / Loop CHL vs Loop CHL has the expected shape with the fluorometer high when CHL < 0.5 and then dropping off to something close to 1.

During the 2 stops with loop sampling the TSG fluorescence was 1.8 and 2.5 times the loop sample, while the CTD was about 1.4 and 1.8 times the loop. It is typical of these fluorometers that they read higher than CHL when CHL <0.5ug/L.

The TSG salinity was always lower than the loop samples by from 0.029 to 0.467 while moving and low by 0.068 and 0.057 while stopped. The CTD salinity compared well with the loop salinity being lower by 0.0015 and 0.0024.

(For more detail see 2013-17-loops-tsg-rosette-comp.xls.)

- Calibration History

The TSG primary temperature and conductivity were recalibrated in March 2012 and have been used for 2 other cruises since then. In February the salinity was very noisy and was believed to be within 0.005. It was slightly low when the ship was stopped and slightly high when in motion, but that conclusion was a little weak in light. In May salinity was found to be low by 0.04 when the flow rate was high and by 0.02 when the rate was low, but the salinity was very noisy. The comparison was not trusted. No recalibration was applied to either data set.

Conclusions

1. The TSG clock appears to have worked well.

2. The flow rate was highly variable with frequent stops to clear filters.

3. The increase in temperature in the loop varies with flow rate and intake temperature. The average heating in the loop during stops was 0.21Cº when the flow rate was high, and 0.31Cº when the rate was low.

4. The TSG Salinity is very noisy in some sections and quite flat when the flow rate is very low.

5. The TSG salinity is lower than the loop samples by ~0.06 when the ship was stopped (only 2 samples),and lower by between 0.03 and 0.08 for 2 offshore samples taken underway. The range is wide among the 4 Juan de Fuca Strait samples, but in all cases the TSG reads low. There are not enough data available to have much confidence in this comparison, but it shows that underway sampling of salinity is critical, particularly offshore where near-surface salinity variability is lower. The TSG salinity is lower than the CTD salinity by a median of 0.033. Because the noise in the salinity signal is all towards the low side, these differences cannot be assumed to be due to calibration drift and no recalibration is justified.

5. There were 2 extracted chlorophyll samples from the loop taken during stops for rosette casts; the loop values are very close to those from the rosette. During the stops the TSG fluorescence was about 1.8 and 2.5 times the CHL values, which is not unusual for low CHL values. For the 6 underway loop CHL samples, the TSG fluorescence ranges from 1 times to 3.8 times the CHL, with the closest agreement being for the higher CHL values.

6. The rosette and loop samples were in good agreement for both extracted chlorophyll and salinity. (2 casts only)

f.) Filtering Salinity

Filtering is ineffective with this sort of patchy noisy; it might lead to slightly smaller errors, but not enough to justify this step. It was felt best to leave the data untouched so the noise is obvious to users.

g.) Recalibration

No recalibration was applied.

h.) Editing

The ATC files were opened in CTDEDIT.  Output was saved as ED1.

Salinity was cleaned where there were clear isolated spikes containing only a few points.

Salinity, Temperature:Primary (Lab) and Fluorescence points were removed when the flow rate was <0.6.

After initial editing the files were re-examined to see if the Temperature:Secondary (Intake) required cleaning. In a few cases there were spikes associated with sudden changes in flow rate, so a text editor was used to put pad values in the Temperature;Secondary for those. (Files #3, 14 and 18)

i.) Preparing Final Files

REMOVE was used to remove the following channels: Scan Number, Temperature:Difference, Conductivity:Primary, Flag and Position:New.

The flow rate channel was not removed since there were flow problems and users may need the information.

HEADER EDIT was used to add a comment, change file names UPLOY0 to Flow_Rate, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header. Those files were saved as TOB files.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and it looks fine.

The cruise plot was added to the end of this report.

Header Check was run and no problems were found.

##### Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

An initial surface/loop file was prepared with rosette samples above 10db and all loop samples.

The CHE files were put through DERIVE to calculate sigma-t. They were then exported to a spreadsheet and sorted on pressure. All lines were removed except for the bottles fired near 5m. (2013-17-che.csv) The loop sample data prepared for the TSG processing were added to the file and lined up appropriately with the CHE data. The data were then ordered on time.

The sampling method column was added entered ROS or UWS for rosette data and true loop data, respectively.

A 6-line header was added and the original header removed.

The file break column was filled with value 1 so all data will be in a single file when converted.

The file was then saved as 2013-17-surface-6linehdr.csv.

CONVERT was run to get an IOS Header file, followed by CLEAN to get start and stop times and positions.

Header Edit was used to add general comments from the CHE files. Comments were added concerning flags on samples from Niskin bottles. The flags from the loop samples were entered automatically in the conversion process.

The final file was named 2013-17-surface.loop. A track plot looks reasonable and a plot of salinity versus date looks right.

# Particulars

4. Niskin 8 did not close.

6. Niskin 8 did not close.

7. Niskin 8 closed just to test – no sample taken.

16. Niskins 7-9 not closed because not needed. Niskin 21 not closed because forgotten.

17. Fluorometer cable changed from 3X to 10X.

42. Niskin 1 closed twice.

49. Niskin 11 bottom cap open – no sampling.

55. Niskin 7 empty, no sample.

63. Niskin 7 empty, no sample.

99. Niskin 1 was closed instead of 22 and 22 instead of 1.

104. Should be renamed 106.

General:

Niskin problems – Niskin 7 did not close on 3 different casts 4, 55, 63.

Out of order Niskin firing: 6, 8, 16, 22, 36, 37, 42, 53, 55, 67, 69, 82, 99, 106, 108

CTD only cast: 74, 80.

PAR on: 1, 2, 4, 6, 7, 14, 16, 37, 42, 43, 67, 74, 80, 89, 90, 91, 98, 99.

TSG: The TSG kept plugging up with jellies and other bugs and the flow would go very low. Most of the time when the filter was cleaned a new file was started, although it did happen that the filter was cleaned without the file being stopped.

# Few late changes – redo if have to reprocess from an earlier stage:

# CTD and CHE Cast 33, 37, 42 – depths changed to 3233, 3233, 3633,

# CTD Cast #74 – comment added to explain why PAR is missing.

UPDATES

Jan. 2017

New extracted CHL data were provided that included small corrections to the data originally entered and the addition of more data that had been analyzed using a different fluorometer.

The new CHL spreadsheet was converted to individual CHL files. The original CHE files were sorted on sample number, CHL & Phaeo & CHL flag channels were removed, the original comments on analysis were removed*, the data were merged with files containing the updated CHL & Phaeo & flags, the files were sorted on pressure, channels were reordered in the usual order and Head Edit was run to add updated comments.

A text editor was used to update analysis header comments in files with no CHL samples.

CLEAN was run to add 0 flags.

Two negative nutrient values were replaced with 0 values. (samples 163 & 164.

*Care was needed in the method used to remove analysis comments so that comments were not removed that referred to quality flags for channels other than CHL. For those the option for header removal from the COMMENTS section was of the type: “Remarks from 3”.

G. Gatien

# CRUISE SUMMARY

CTDs

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

| Calibration Information CTD #443 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2023 | 31Jan2013 | Factory |  |  |
| Conductivity | 2280 | 29Jan2013 | Factory |  |  |
| Secondary Temp. | 2668 | 1Feb2013 | Factory |  |  |
| Secondary Cond. | 2754 | 30Jan2013 | Factory |  |  |
| Transmissometer | 1396DR | 31Jan2013 | IOS |  |  |
| SBE 43 DO sensor | 0997 | 16Feb2013 | Factory |  |  |
| SeaBird Fluorometer | 2228 |  |  |  |  |
| PAR | 4601 | 16Mar2011 | IOS |  |  |
| Pressure Sensor | 63507 | 15Apr2011 | Factory |  |  |
| Altimeter | 1204 |  |  |  |  |

# TSG

Make/Model/Serial#:	SEABIRD/21/2487       Cruise ID#:	2013-17

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 3363 | 26Mar11 | Factory |  |  |
| Conductivity | 3363 | 26Mar11 | “ |  |  |
| Wetlab/Wetstar FL | WS3S-713P | Aug12 | IOS |  |  |
| Temperature:Secondary | 0603 | 03Mar11 | Factory |  |  |
| Flow Meter | ? | n/a |  |  |  |