## Notes
Analysis: | Hugh MacLean, onboard CCGS J.P. Tully using IOS Kit #1. Data processing by Kenny Scozzafava
Chief Scientist: | Marie Robert
Program: | Line P
Cruise Dates: | 07 Jun 2013 to 25 Jun 2013
2013-09-18 |  | KS
Sample 216, Cast 32 - A bubble on the probe lens led to a very high value relative to adjacent points in the profile (0.671, 3.618, 0.239). This value was clearly an outlier
and therefore was discarded.
Sample 337 (OXY-2), Cast 49 - There was a bubble on the probe lens that resulted in an incomplete titration and a messy one at that. The titration ended abruptly
and the Dosimat did not reach the finest dose rate for an accurate measure of the endpoint. No attempt was made to salvage the sample. Value discarded.
Sample was left out of the precision analysis and only the unique value (OXY-1) was reported in the QF worksheet.
Sample 351 (OXY-1), Cast 49 - Titration also ended abruptly before completion and was messy due to a bubble on the probe lens. There was no endpoint.
No attempt was made to salvage the sample. Value discarded. Sample was left out of the precision analysis and only the unique value (OXY-2) was reported in the QF worksheet.
Sample 435, Cast 65 - Titration was just a short horizontal squiggly line. There were no notes left by the analyst to explain what may have happened.
The value was discarded since there is no way of determining an endpoint.
Sample 57, Cast 8 - Were flagged as outliers by the Chauvenet criteria. There were no comments to describe what might have happened. The average is reported but flagged.

## QF 2013-17 OXY FINAL
HEADER: | Oxygen samples were analyzed at sea using an automated Winkler titration system (Brinkmann Dosimat model 665) for titrations,
Dosimat model 865 for dispensing standards and a PC 950 Colorimeter controlled by AutoOxy software V3.4) with modifications based on
Carpenter (1965) and adhering to WOCE protocols (Culberson 1991). For details including a duplicate analysis, see document QF2013-17OXY.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Oxygen:Dissolved | Flag:Oxygen:Dissolved | Temperature:Draw | Comment
2013-17 | 2 | P1 | 8 | 2.0108 |  | 7.4
2013-17 | 2 | P1 | 10 | 6.765 |  | 12
2013-17 | 4 | P2 | 11 | 1.7373 | 36 | 7.3 | OXY-1: Niskin bottle leaking.
2013-17 | 4 | P2 | 12 | 1.6968 |  | 7.2
2013-17 | 4 | P2 | 13 | 3.9682 |  | 7.7
2013-17 | 4 | P2 | 14 | 3.9361 |  | 7.7
2013-17 | 4 | P2 | 15 | 5.3988 |  | 7.9
2013-17 | 4 | P2 | 16 | 6.319 |  | 9.4
2013-17 | 4 | P2 | 17 | 7.1439 |  | 12.5
2013-17 | 4 | P2 | 18 | -99 | 9 | -99 | OXY: Bottle misfired. No sample collected.
2013-17 | 8 | P4 | 43 | 0.57122 |  | 4
2013-17 | 8 | P4 | 44 | 0.46251 |  | 4
2013-17 | 8 | P4 | 45 | 0.48129 | 6 | 4.25
2013-17 | 8 | P4 | 46 | 0.24392 |  | 4.9
2013-17 | 8 | P4 | 47 | 0.22138 |  | 5.3
2013-17 | 8 | P4 | 48 | 0.35394 | 3 | 5.7 | OXY: Bubble on lens.
2013-17 | 8 | P4 | 49 | 1.0476 |  | 6.1
2013-17 | 8 | P4 | 50 | 1.9041 |  | 6.6
2013-17 | 8 | P4 | 51 | 2.361 |  | 1.8
2013-17 | 8 | P4 | 52 | 2.9029 |  | 7.2
2013-17 | 8 | P4 | 53 | 2.8175 |  | 7.5
2013-17 | 8 | P4 | 54 | 3.019 |  | 7.7
2013-17 | 8 | P4 | 55 | 3.4588 |  | 7.9
2013-17 | 8 | P4 | 56 | 3.8173 |  | 7.9
2013-17 | 8 | P4 | 57 | 5.5952 | 36 | 7.85 | OXY: Replicate outliers.
2013-17 | 8 | P4 | 58 | 6.5806 |  | 8.3
2013-17 | 8 | P4 | 59 | 6.7236 |  | 11.1
2013-17 | 8 | P4 | 60 | 6.8527 |  | 12.4
2013-17 | 8 | P4 | 61 | 6.8741 |  | 12.6
2013-17 | 22 | P8 | 168 | 1.4306 | 26 | 3.35 | OXY-1: Corrected Flask, sample #, and depth that was inputted incorrectly. Recalculated final value.
2013-17 | 22 | P8 | 169 | 0.67188 |  | 3.8
2013-17 | 22 | P8 | 170 | 0.45457 |  | 4.1
2013-17 | 22 | P8 | 171 | 0.25845 |  | 4.6
2013-17 | 22 | P8 | 172 | 0.22374 |  | 5.2
2013-17 | 22 | P8 | 173 | 0.41198 |  | 5.6
2013-17 | 22 | P8 | 174 | -99 | 5 | 6.2 | OXY: Bubble on lens. No real titration curve or endpoint, just noise. Value discarded.
2013-17 | 22 | P8 | 175 | 1.5506 |  | 6.5
2013-17 | 22 | P8 | 176 | 1.9996 | 6 | 6.9
2013-17 | 22 | P8 | 177 | 2.599 |  | 7.3
2013-17 | 22 | P8 | 178 | 2.776 |  | 7.5
2013-17 | 22 | P8 | 179 | 2.9179 |  | 7.5
2013-17 | 22 | P8 | 180 | 3.2465 |  | 7.8
2013-17 | 22 | P8 | 181 | 4.1804 |  | 8.2
2013-17 | 22 | P8 | 182 | 5.3767 | 6 | 8
2013-17 | 22 | P8 | 183 | 6.3285 |  | 8.2
2013-17 | 22 | P8 | 184 | 6.6929 |  | 11.5
2013-17 | 22 | P8 | 185 | 6.5693 |  | 11.7
2013-17 | 22 | P8 | 186 | 6.5642 |  | 11.7
2013-17 | 32 | P12 | 210 | 2.3412 |  | 2.6
2013-17 | 32 | P12 | 211 | 2.2922 |  | 2.6
2013-17 | 32 | P12 | 212 | 2.2847 | 6 | 2.6
2013-17 | 32 | P12 | 213 | 1.8813 |  | 2.5
2013-17 | 32 | P12 | 214 | 1.3735 |  | 2.8
2013-17 | 32 | P12 | 215 | 0.67146 |  | 3.5
2013-17 | 32 | P12 | 216 | -99 | 5 | 6.9 | OXY: Bubble on lens. Value way out of line in the profile. Value discarded.
2013-17 | 32 | P12 | 217 | 0.24463 | 36 | 4.6 | OXY-1: Colourimeter issues due to operator error.
2013-17 | 32 | P12 | 218 | 0.2857 | 4 | 4.9 | OXY: Bubble on lens. Titration a mess. Endpoint ambiguous.
2013-17 | 32 | P12 | 219 | 0.4521 |  | 5.2
2013-17 | 32 | P12 | 220 | 1.6454 | 3 | 5.5 | OXY: Very gradual change in slopes. Difficult to determine endpoint.
2013-17 | 32 | P12 | 221 | 2.11 |  | 6.1
2013-17 | 32 | P12 | 222 | 2.5184 |  | 6.4
2013-17 | 32 | P12 | 223 | 3.778 |  | 6.9
2013-17 | 32 | P12 | 224 | 3.3303 |  | 7.3
2013-17 | 32 | P12 | 225 | 3.5216 | 6 | 7.6
2013-17 | 32 | P12 | 226 | 4.2554 |  | 7.6
2013-17 | 32 | P12 | 227 | 5.1783 |  | 7.5
2013-17 | 32 | P12 | 228 | 6.0651 |  | 7.5
2013-17 | 32 | P12 | 229 | 6.6797 | 6 | 8.05
2013-17 | 32 | P12 | 230 | 6.7075 |  | 10.2
2013-17 | 32 | P12 | 231 | 6.5928 |  | 10.6
2013-17 | 32 | P12 | 232 | 6.5917 |  | 10.7
2013-17 | 49 | P16 | 332 | 2.741 |  | 2.3
2013-17 | 49 | P16 | 333 | 2.6735 |  | 2.2
2013-17 | 49 | P16 | 334 | 2.6854 |  | 2.4
2013-17 | 49 | P16 | 335 | 2.3734 |  | 2.2
2013-17 | 49 | P16 | 336 | 1.8693 |  | 2.4
2013-17 | 49 | P16 | 337 | 1.2925 | 2 | 2.6 | OXY: Duplicate value not reported. Value was clearly erroneous due to problems during analysis. See notes.
2013-17 | 49 | P16 | 338 | 0.53745 |  | 3.1
2013-17 | 49 | P16 | 339 | 0.28837 |  | 3.5
2013-17 | 49 | P16 | 340 | 0.26447 |  | 3.8
2013-17 | 49 | P16 | 341 | 0.3692 |  | 4.3
2013-17 | 49 | P16 | 342 | -99 | 9 | -99 | OXY: Niskin misfired. Bottom cap did not close.
2013-17 | 49 | P16 | 343 | 1.4344 |  | 5.5
2013-17 | 49 | P16 | 344 | 2.209 | 6 | 6
2013-17 | 49 | P16 | 345 | 2.4327 |  | 6.3
2013-17 | 49 | P16 | 346 | 2.9639 |  | 6.7
2013-17 | 49 | P16 | 347 | 3.4412 | 6 | 7
2013-17 | 49 | P16 | 348 | 4.3041 | 3 | 6.9 | OXY: Bubble on lens.
2013-17 | 49 | P16 | 349 | 5.4107 |  | 7.2
2013-17 | 49 | P16 | 350 | 6.2083 |  | 7.3
2013-17 | 49 | P16 | 351 | 6.7139 | 2 | 7.5 | OXY: Duplicate value not reported. Value was clearly erroneous due to problems during analysis. See notes.
2013-17 | 49 | P16 | 352 | 6.8417 |  | 8.7
2013-17 | 49 | P16 | 353 | 6.6824 |  | 9.9
2013-17 | 49 | P16 | 354 | 6.6825 |  | 10
2013-17 | 49 | P16 | 355 | 6.6934 |  | 10
2013-17 | 65 | P20 | 432 | 2.9952 |  | 2.1
2013-17 | 65 | P20 | 433 | 2.8879 |  | 2.1
2013-17 | 65 | P20 | 434 | 2.8678 | 36 | 2.1 | OXY-1: Niskin vent was open. Spigot leaking.
2013-17 | 65 | P20 | 435 | -99 | 5 | 2.1 | OXY: Titration is just a short squiggly line at 99% transmissivity. No notes to explain what happened. Value discarded.
2013-17 | 65 | P20 | 436 | 1.9963 |  | 2.3
2013-17 | 65 | P20 | 437 | 1.2908 |  | 2.5
2013-17 | 65 | P20 | 438 | 0.56564 | 2 | 3.1 | OXY: Sample was redrawn.
2013-17 | 65 | P20 | 439 | 0.39336 |  | 3.3
2013-17 | 65 | P20 | 440 | 0.37544 |  | 3.5
2013-17 | 65 | P20 | 441 | 0.48465 | 6 | 3.95
2013-17 | 65 | P20 | 442 | 0.68106 |  | 4.5
2013-17 | 65 | P20 | 443 | 1.3616 |  | 4.8
2013-17 | 65 | P20 | 444 | 2.0311 |  | 4.9
2013-17 | 65 | P20 | 445 | 2.7502 |  | 5.2
2013-17 | 65 | P20 | 446 | 3.9239 | 6 | 5.65
2013-17 | 65 | P20 | 447 | 4.5032 |  | 5.7
2013-17 | 65 | P20 | 448 | 5.7828 |  | 5.9
2013-17 | 65 | P20 | 449 | 6.8414 |  | 6.1
2013-17 | 65 | P20 | 450 | 7.0038 |  | 6.4
2013-17 | 65 | P20 | 451 | 7.0956 |  | 6.6
2013-17 | 65 | P20 | 452 | 7.2573 |  | 7.1
2013-17 | 65 | P20 | 453 | 6.7511 |  | 9.3
2013-17 | 65 | P20 | 454 | 6.7244 | 6 | 9.5
2013-17 | 65 | P20 | 455 | 6.7178 |  | 9.4
2013-17 | 86 | P26 | 612 | 3.244 |  | 2.4
2013-17 | 86 | P26 | 613 | 3.1653 | 6 | 2.1
2013-17 | 86 | P26 | 614 | 2.9349 |  | 2.1
2013-17 | 86 | P26 | 615 | 2.5017 |  | 2.2
2013-17 | 86 | P26 | 616 | 1.9184 |  | 2.4
2013-17 | 86 | P26 | 617 | 1.3001 |  | 2.5
2013-17 | 86 | P26 | 618 | 0.5866 |  | 2.8
2013-17 | 86 | P26 | 619 | 0.49853 | 6 | 3.15
2013-17 | 86 | P26 | 620 | 0.52222 |  | 3.4
2013-17 | 86 | P26 | 621 | 0.52806 |  | 3.8
2013-17 | 86 | P26 | 622 | 0.56386 |  | 4.2
2013-17 | 86 | P26 | 623 | 0.94443 |  | 4.5
2013-17 | 86 | P26 | 624 | 1.3427 |  | 4.4
2013-17 | 86 | P26 | 625 | 1.9148 | 6 | 4.5
2013-17 | 86 | P26 | 626 | 2.6629 |  | 4.5
2013-17 | 86 | P26 | 627 | 3.1032 |  | 4.6
2013-17 | 86 | P26 | 628 | 4.1478 |  | 4.8
2013-17 | 86 | P26 | 629 | 6.2972 | 6 | 5.2
2013-17 | 86 | P26 | 630 | 6.9595 |  | 5.5
2013-17 | 86 | P26 | 631 | 7.1317 |  | 5.8
2013-17 | 86 | P26 | 632 | 7.1965 |  | 6.3
2013-17 | 86 | P26 | 633 | 6.8211 |  | 8.8
2013-17 | 86 | P26 | 634 | 6.8378 |  | 9
2013-17 | 86 | P26 | 635 | 6.8272 |  | 9

## Precision
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
The mean difference for Dissolved Oxygen for the range 0.239 to 6.726 mL/L was 0.009, k = 40 with 2 outlier(s) removed
Precision Statement for Samples Drawn From Duplicate Niskin Bottles:
The mean difference for Dissolved Oxygen for the range 0.463 to 2.888 mL/L was 0.015, k =8 with 0 outlier(s) removed
Note: Although the precision statement for samples drawn from duplicate Niskin bottles is calculated using the same formula as the precision statement for duplicates
samples drawn from one single Niskin, this process is mainly used to identify problem samples and is not being used as a measure of analysis precision.
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns N, O and P).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [20 empty] | Table 2. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Flask1 | Flask2 | Draw T1 | Draw T2 | Draw TAvg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | DO1 Comment | DO2 Comment | n | Chauvenet
4 | P2 | 11 | 105 | 1.7505 | 1.724 | 1.7373 | 2025 | 2032 | 7.3 | 7.3 | 7.3 | 0.026491 | 0.013245 | -0.013245 |  | 0.00035087 | 2 |  | OXY: Niskin bottle leaking. |  | 3 | 1.37
8 | P4 | 45 | 1250 | 0.46356 | 0.49901 | 0.48129 | 3018 | 3037 | 4.2 | 4.3 | 4.25 | 0.035454 | -0.017727 | 0.017727 |  | 0.00062848 | 2 |  |  |  | 4 | 1.53
8 | P4 | 57 | 75 | 5.5187 | 5.6718 | 5.5952 | 3037 | 708 | 7.8 | 7.9 | 7.85 | 0.15306 | -0.076528 | 0.076528 |  | 0.011713 | 2 | Y | OXY: Replicate Outliers. | OXY: Replicate Outliers. | 5 | 1.64
22 | P8 | 168 | 2000 | 1.4381 | 1.423 | 1.4306 | 3190 | 2088 | 3.2 | 3.5 | 3.35 | 0.015075 | 0.0075375 | -0.0075375 |  | 0.00011363 | 2 |  | OXY-1: Corrected Flask, sample #, and depth that was inputted incorrectly. Recalculated final value. |  | 6 | 1.73
22 | P8 | 176 | 250 | 2.0028 | 1.9964 | 1.9996 | 621 | 3142 | 6.9 | 6.9 | 6.9 | 0.0063715 | 0.0031858 | -0.0031858 |  | 2.0298e-05 | 2 |  |  |  | 7 | 1.8
22 | P8 | 182 | 75 | 5.3798 | 5.3737 | 5.3767 | 611 | 2049 | 8 | 8 | 8 | 0.0061345 | 0.0030673 | -0.0030673 |  | 1.8816e-05 | 2 |  |  |  | 8 | 1.87
32 | P12 | 212 | 3000 | 2.2886 | 2.2808 | 2.2847 | 1110 | 1114 | 2.6 | 2.6 | 2.6 | 0.0078847 | 0.0039424 | -0.0039424 |  | 3.1084e-05 | 2 |  |  |  | 9 | 1.91
32 | P12 | 217 | 1000 | 0.23917 | 0.25009 | 0.24463 | 1127 | 1128 | 4.5 | 4.7 | 4.6 | 0.010924 | -0.0054621 | 0.0054621 |  | 5.9669e-05 | 2 |  | OXY-1: Colourimeter issues due to operator error. |  | 10 | 1.97
32 | P12 | 225 | 150 | 3.5229 | 3.5202 | 3.5216 | 1150 | 1153 | 7.6 | 7.6 | 7.6 | 0.0026661 | 0.001333 | -0.001333 |  | 3.5539e-06 | 2 |  |  |  | 20 | 2.24
32 | P12 | 229 | 50 | 6.6795 | 6.68 | 6.6797 | 1175 | 1177 | 8.1 | 8 | 8.05 | 0.00057736 | -0.00028868 | 0.00028868 |  | 1.6667e-07 | 2 |  |  |  | 30 | 2.39
49 | P16 | 344 | 300 | 2.2109 | 2.2071 | 2.209 | 1141 | 1142 | 6 | 6 | 6 | 0.0038113 | 0.0019056 | -0.0019056 |  | 7.263e-06 | 2 |  |  |  | 50 | 2.57
49 | P16 | 347 | 175 | 3.4417 | 3.4407 | 3.4412 | 1150 | 1153 | 7 | 7 | 7 | 0.00096975 | 0.00048488 | -0.00048488 |  | 4.7021e-07 | 2 |  |  |  | 80 | 2.74
65 | P20 | 434 | 3500 | 2.8624 | 2.8732 | 2.8678 | 1110 | 1114 | 2.1 | 2.1 | 2.1 | 0.010824 | -0.0054118 | 0.0054118 |  | 5.8576e-05 | 2 |  | OXY-1: Niskin vent was open. Spigot leaking. |  | 100 | 2.81
65 | P20 | 441 | 800 | 0.48922 | 0.48009 | 0.48465 | 1130 | 1134 | 3.9 | 4 | 3.95 | 0.00913 | 0.004565 | -0.004565 |  | 4.1679e-05 | 2 |  |  |  | 150 | 2.93
65 | P20 | 446 | 200 | 3.9242 | 3.9235 | 3.9239 | 1146 | 1150 | 5.6 | 5.7 | 5.65 | 0.00075549 | 0.00037775 | -0.00037775 |  | 2.8539e-07 | 2 |  |  |  | 200 | 3.02
65 | P20 | 454 | 10 | 6.723 | 6.7257 | 6.7244 | 1180 | 1182 | 9.5 | 9.5 | 9.5 | 0.0026532 | -0.0013266 | 0.0013266 |  | 3.5199e-06 | 2
86 | P26 | 613 | 4000 | 3.1701 | 3.1606 | 3.1653 | 1401 | 1402 | 2.1 | 2.1 | 2.1 | 0.0095703 | 0.0047851 | -0.0047851 |  | 4.5795e-05 | 2
86 | P26 | 619 | 1250 | 0.49876 | 0.49831 | 0.49853 | 1411 | 1413 | 3.1 | 3.2 | 3.15 | 0.00045181 | 0.0002259 | -0.0002259 |  | 1.0207e-07 | 2
86 | P26 | 625 | 250 | 1.9047 | 1.925 | 1.9148 | 1422 | 1424 | 4.5 | 4.5 | 4.5 | 0.020248 | -0.010124 | 0.010124 |  | 0.00020498 | 2
86 | P26 | 629 | 125 | 6.2977 | 6.2966 | 6.2972 | 1429 | 1430 | 5.2 | 5.2 | 5.2 | 0.0010713 | 0.00053565 | -0.00053565 |  | 5.7384e-07 | 2
[15 empty] | Sum | 0.013303
[15 empty] | Count |  | 40
[15 empty] | σ | 0.018469
[15 empty] | dmax/σ for n (Table 2) | 2.57
[15 empty] | Thus dmax = 2.57 x σ | 0.047465
[15 empty] | Mean Diff | 0.016206
[15 empty] | MIN | 0.23917
[15 empty] | MAX | 6.7257
2 Outlier(s) Removed
[15 empty] | Mean Diff = | 0.0090033
Table 3. Replicate Analysis for Samples Drawn From Duplicate Niskin Bottles | [20 empty] | Table 4. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Flask1 | Flask2 | Draw T1 | Draw T2 | Draw TAvg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | DO1 Comment | DO2 Comment | n | Chauvenet
8 | P4 | 44/45 | 1250 | 0.46251 | 0.48129 | 0.4719 | 3035 | 3018 | 4 | 4.25 | 4.125 | 0.018778 | -0.009389 | 0.009389 |  | 0.00017631 | 2 |  |  |  | 3 | 1.37
32 | P12 | 211/212 | 3000 | 2.2922 | 2.2847 | 2.2884 | 1106 | 1110 | 2.6 | 2.6 | 2.6 | 0.007464 | 0.003732 | -0.003732 |  | 2.7856e-05 | 2 |  |  |  | 4 | 1.53
49 | P16 | 333/334 | 3500 | 2.6735 | 2.6854 | 2.6794 | 1106 | 1110 | 2.2 | 2.4 | 2.3 | 0.011943 | -0.0059717 | 0.0059717 |  | 7.1323e-05 | 2 |  |  |  | 5 | 1.64
65 | P20 | 433/434 | 3500 | 2.8879 | 2.8678 | 2.8778 | 1106 | 1110 | 2.1 | 2.1 | 2.1 | 0.020123 | 0.010062 | -0.010062 |  | 0.00020247 | 2 |  |  |  | 6 | 1.73
[15 empty] | Sum | 0.00047796
[15 empty] | Count |  | 8
[15 empty] | σ | 0.0082631
[15 empty] | dmax/σ for n (Table 4) | 1.53
[15 empty] | Thus dmax = 1.530 x σ | 0.012643
[15 empty] | Mean Diff | 0.014577
[15 empty] | MIN | 0.46251
[15 empty] | MAX | 2.8879
0 Outlier(s) Removed
[15 empty] | Mean Diff = | 0.014577

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling |  | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found on OSDShare Network Drive: | O:\Documentation\Quality Flags

## Oxy Data Processing
File Name | Event | Station | Sample_ Number | Depth | Raw Oxygen: Dissolved | AutoOxy Thiosulfate_ titer | Regression Thiosulfate_ titer | Flask_ Number | Flask_ Volume | Blank | Standard | KIO3 Std volume ml | KIO3 Normality | THIO N | AutoOxy Oxygen: Dissolved | AutoOxy Oxygen: Dissolved | diff | Flag | Temp: Draw | Comment
2013-170002.oxy | 2 | P1 | 8 | 129 | 2.011 | 0.36 | 0.36 | 2043 | 140.88 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 2.0108 | 2.0108 | 0 |  | 7.4
2013-170002.oxy | 2 | P1 | 10 | 10 | 6.765 | 1.13 | 1.13 | 690 | 132.68 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 6.765 | 6.765 | 0 |  | 12
2013-170004.oxy | 4 | P2 | 11 | 105 | 1.756 | 0.322 | 0.321 | 2025 | 144.03 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 1.756 | 1.7505 | 0.0055302 | 3 | 7.3 | OXY: Niskin bottle leaking.
2013-170004.oxy | 4 | P2 | 11 | 105 | 1.73 | 0.318 | 0.317 | 2032 | 144.39 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 1.7295 | 1.724 | 0.0055162 |  | 7.3
2013-170004.oxy | 4 | P2 | 12 | 100 | 1.697 | 0.281 | 0.281 | 745 | 130.01 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 1.6968 | 1.6968 | 0 |  | 7.2
2013-170004.oxy | 4 | P2 | 13 | 75 | 3.972 | 0.673 | 0.6723 | 2019 | 134.19 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 3.9723 | 3.9682 | 0.0041593 |  | 7.7
2013-170004.oxy | 4 | P2 | 14 | 75 | 3.935 | 0.73 | 0.7302 | 2020 | 146.82 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 3.935 | 3.9361 | 0.0010847 |  | 7.7
2013-170004.oxy | 4 | P2 | 15 | 50 | 5.403 | 0.98 | 0.9792 | 2016 | 143.81 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 5.4033 | 5.3988 | 0.004431 |  | 7.9
2013-170004.oxy | 4 | P2 | 16 | 25 | 6.321 | 1.04 | 1.0397 | 668 | 130.68 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 6.3208 | 6.319 | 0.0018312 |  | 9.4
2013-170004.oxy | 4 | P2 | 17 | 10 | 7.144 | 1.307 | 1.307 | 1054 | 145.21 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 7.1439 | 7.1439 | 0 |  | 12.5
2013-170004.oxy | 4 | P2 | 18 | 5 | -99 | -99 | -99 | 647 |  | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | -99 | -99 | 0 | 9 | -99 | OXY: Bottle misfired. No sample collected.
2013-170008.oxy | 8 | P4 | 43 | 1320 | 0.571 | 0.105 | 0.105 | 3033 | 140.24 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 0.57122 | 0.57122 | 0 |  | 4
2013-170008.oxy | 8 | P4 | 44 | 1250 | 0.46 | 0.084 | 0.0844 | 3035 | 137.75 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 0.46019 | 0.46251 | 0.0023144 |  | 4
2013-170008.oxy | 8 | P4 | 45 | 1250 | 0.464 | 0.083 | 0.083 | 3018 | 135.07 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 0.46356 | 0.46356 | 0 |  | 4.2
2013-170008.oxy | 8 | P4 | 45 | 1250 | 0.497 | 0.091 | 0.0913 | 3037 | 138.68 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 0.49729 | 0.49901 | 0.001724 |  | 4.3
2013-170008.oxy | 8 | P4 | 46 | 1000 | 0.244 | 0.048 | 0.048 | 2056 | 142.19 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 0.24392 | 0.24392 | 0 |  | 4.9
2013-170008.oxy | 8 | P4 | 47 | 800 | 0.221 | 0.044 | 0.044 | 3028 | 142.27 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 0.22138 | 0.22138 | 0 |  | 5.3
2013-170008.oxy | 8 | P4 | 48 | 600 | 0.355 | 0.063 | 0.0629 | 3023 | 131.68 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 0.35454 | 0.35394 | 0.00060568 | 3 | 5.7 | OXY: Bubble on lens.
2013-170008.oxy | 8 | P4 | 49 | 400 | 1.049 | 0.194 | 0.1938 | 2059 | 143.96 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 1.0487 | 1.0476 | 0.0011066 |  | 6.1
2013-170008.oxy | 8 | P4 | 50 | 300 | 1.905 | 0.32 | 0.3198 | 3021 | 132.08 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 1.9053 | 1.9041 | 0.0012076 |  | 6.6
2013-170008.oxy | 8 | P4 | 51 | 250 | 2.361 | 0.421 | 0.421 | 3014 | 140.57 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 2.361 | 2.361 | 0 |  | 1.8
2013-170008.oxy | 8 | P4 | 52 | 200 | 2.904 | 0.491 | 0.4908 | 3020 | 133.59 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 2.9041 | 2.9029 | 0.0011938 |  | 7.2
2013-170008.oxy | 8 | P4 | 53 | 175 | 2.819 | 0.475 | 0.4747 | 3022 | 133.09 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 2.8193 | 2.8175 | 0.0017975 |  | 7.5
2013-170008.oxy | 8 | P4 | 54 | 150 | 3.02 | 0.548 | 0.5478 | 3104 | 143.36 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 3.0201 | 3.019 | 0.0011113 |  | 7.7
2013-170008.oxy | 8 | P4 | 55 | 125 | 3.457 | 0.575 | 0.5753 | 552 | 131.63 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 3.457 | 3.4588 | 0.0018178 |  | 7.9
2013-170008.oxy | 8 | P4 | 56 | 100 | 3.819 | 0.651 | 0.6508 | 3032 | 134.99 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 3.8185 | 3.8173 | 0.0011812 |  | 7.9
2013-170008.oxy | 8 | P4 | 57 | 75 | 5.52 | 0.965 | 0.9648 | 3037 | 138.68 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 5.5199 | 5.5187 | 0.0011493 | 3 | 7.8 | OXY: Replicate Outliers.
2013-170008.oxy | 8 | P4 | 57 | 75 | 5.676 | 1.03 | 1.0292 | 708 | 143.91 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 5.6762 | 5.6718 | 0.0044279 | 3 | 7.9 | OXY: Replicate Outliers.
2013-170008.oxy | 8 | P4 | 58 | 50 | 6.581 | 1.15 | 1.15 | 3034 | 138.73 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 6.5806 | 6.5806 | 0 |  | 8.3
2013-170008.oxy | 8 | P4 | 59 | 25 | 6.728 | 1.131 | 1.1303 | 396 | 133.52 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 6.7278 | 6.7236 | 0.0041805 |  | 11.1
2013-170008.oxy | 8 | P4 | 60 | 10 | 6.851 | 1.24 | 1.2403 | 2069 | 143.65 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 6.8511 | 6.8527 | 0.0016635 |  | 12.4
2013-170008.oxy | 8 | P4 | 61 | 5 | 6.875 | 1.162 | 1.1618 | 2035 | 134.24 | 0.0023 | 0.7187 | 10.0271 | 0.010025 | 0.14031 | 6.8753 | 6.8741 | 0.0011879 |  | 12.6
2013-170022.oxy | 22 | P8 | 168 | 2000 | 1.41 | 0.242 | 0.242 | 3190 | 131.68 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.4381 | 1.4381 | 0 | 2 | 3.2 | OXY-1: Corrected Flask, sample #, and depth that was inputted incorrectly. Recalculated final value.
2013-170022.oxy | 22 | P8 | 168 | 2000 | 1.423 | 0.263 | 0.263 | 2088 | 144.64 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.423 | 1.423 | 0 |  | 3.5
2013-170022.oxy | 22 | P8 | 169 | 1500 | 0.678 | 0.12 | 0.119 | 3047 | 135.84 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.67774 | 0.67188 | 0.0058661 |  | 3.8
2013-170022.oxy | 22 | P8 | 170 | 1250 | 0.455 | 0.088 | 0.088 | 2065 | 146.28 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.45457 | 0.45457 | 0 |  | 4.1
2013-170022.oxy | 22 | P8 | 171 | 1000 | 0.26 | 0.049 | 0.0488 | 631 | 136.68 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.25962 | 0.25845 | 0.0011659 |  | 4.6
2013-170022.oxy | 22 | P8 | 172 | 800 | 0.224 | 0.044 | 0.044 | 3009 | 140.73 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.22374 | 0.22374 | 0 |  | 5.2
2013-170022.oxy | 22 | P8 | 173 | 600 | 0.412 | 0.073 | 0.073 | 2055 | 132.61 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.41198 | 0.41198 | 0 |  | 5.6
2013-170022.oxy | 22 | P8 | 174 | 400 | 2.155 | 0.392 | -99 | 2086 | 143.22 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | -99 | -99 | 0 | 5 | 6.2 | OXY: Bubble on lens. No real titration curve or endpoint, just noise. Value discarded.
2013-170022.oxy | 22 | P8 | 175 | 300 | 1.55 | 0.286 | 0.2862 | 2014 | 144.65 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.5495 | 1.5506 | 0.0011008 |  | 6.5
2013-170022.oxy | 22 | P8 | 176 | 250 | 2.003 | 0.333 | 0.333 | 621 | 130.79 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.0028 | 2.0028 | 0 |  | 6.9
2013-170022.oxy | 22 | P8 | 176 | 250 | 1.995 | 0.367 | 0.3673 | 3142 | 144.69 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.9948 | 1.9964 | 0.0016507 |  | 6.9
2013-170022.oxy | 22 | P8 | 177 | 200 | 2.605 | 0.45 | 0.449 | 3209 | 136.29 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.6048 | 2.599 | 0.0058465 |  | 7.3
2013-170022.oxy | 22 | P8 | 178 | 175 | 2.776 | 0.49 | 0.49 | 715 | 139.32 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.776 | 2.776 | 0 |  | 7.5
2013-170022.oxy | 22 | P8 | 179 | 150 | 2.918 | 0.503 | 0.503 | 3111 | 136.14 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.9179 | 2.9179 | 0 |  | 7.5
2013-170022.oxy | 22 | P8 | 180 | 125 | 3.249 | 0.594 | 0.5935 | 1053 | 144.45 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 3.2493 | 3.2465 | 0.0027558 |  | 7.8
2013-170022.oxy | 22 | P8 | 181 | 100 | 4.183 | 0.752 | 0.7515 | 3038 | 142.3 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 4.1832 | 4.1804 | 0.002798 |  | 8.2
2013-170022.oxy | 22 | P8 | 182 | 75 | 5.38 | 0.896 | 0.896 | 611 | 132.11 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 5.3798 | 5.3798 | 0 |  | 8
2013-170022.oxy | 22 | P8 | 182 | 75 | 5.375 | 0.978 | 0.9778 | 2049 | 144.21 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 5.3748 | 5.3737 | 0.0011042 |  | 8
2013-170022.oxy | 22 | P8 | 183 | 50 | 6.328 | 1.072 | 1.072 | 510 | 134.44 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.3285 | 6.3285 | 0 |  | 8.2
2013-170022.oxy | 22 | P8 | 184 | 25 | 6.694 | 1.141 | 1.1408 | 2090 | 135.3 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.6941 | 6.6929 | 0.001178 |  | 11.5
2013-170022.oxy | 22 | P8 | 185 | 10 | 6.576 | 1.082 | 1.081 | 712 | 130.66 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.5755 | 6.5693 | 0.0061023 |  | 11.7
2013-170022.oxy | 22 | P8 | 186 | 5 | 6.566 | 1.192 | 1.1916 | 2033 | 143.99 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.5664 | 6.5642 | 0.0022118 |  | 11.7
2013-170032.oxy | 32 | P12 | 210 | 3275 | 2.341 | 0.381 | 0.381 | 1105 | 128.27 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.3412 | 2.3412 | 0 |  | 2.6
2013-170032.oxy | 32 | P12 | 211 | 3000 | 2.298 | 0.389 | 0.388 | 1106 | 133.37 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.2981 | 2.2922 | 0.0059764 |  | 2.6
2013-170032.oxy | 32 | P12 | 212 | 3000 | 2.291 | 0.37 | 0.3696 | 1110 | 127.26 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.2912 | 2.2886 | 0.0025072 |  | 2.6
2013-170032.oxy | 32 | P12 | 212 | 3000 | 2.277 | 0.405 | 0.4057 | 1114 | 140.12 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.2768 | 2.2808 | 0.003979 |  | 2.6
2013-170032.oxy | 32 | P12 | 213 | 2500 | 1.887 | 0.317 | 0.316 | 1119 | 132.01 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.8874 | 1.8813 | 0.0060389 |  | 2.5
2013-170032.oxy | 32 | P12 | 214 | 2000 | 1.376 | 0.239 | 0.2385 | 1123 | 135.78 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.3764 | 1.3735 | 0.0029344 |  | 2.8
2013-170032.oxy | 32 | P12 | 215 | 1500 | 0.675 | 0.12 | 0.1194 | 1124 | 136.39 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.67497 | 0.67146 | 0.0035053 |  | 3.5
2013-170032.oxy | 32 | P12 | 216 | 1250 | 3.618 | 0.591 | 0.591 | 1126 | 129.29 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | -99 | -99 | 0 | 5 | 6.9 | OXY: Bubble on lens. Value way out of line in the profile. Value discarded.
2013-170032.oxy | 32 | P12 | 217 | 1000 | 0.243 | 0.046 | 0.0453 | 1127 | 136.05 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.24327 | 0.23917 | 0.0040999 | 3 | 4.5 | OXY-1: Colourimeter issues due to operator error.
2013-170032.oxy | 32 | P12 | 217 | 1000 | 0.255 | 0.047 | 0.0462 | 1128 | 133.02 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.25488 | 0.25009 | 0.0047939 |  | 4.7
2013-170032.oxy | 32 | P12 | 218 | 800 | 0.286 | 0.051 | 0.051 | 1130 | 129.88 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.2857 | 0.2857 | 0 | 4 | 4.9 | OXY: Bubble on lens. Titration a mess. Endpoint ambiguous.
2013-170032.oxy | 32 | P12 | 219 | 600 | 0.453 | 0.083 | 0.0829 | 1134 | 138.21 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.45268 | 0.4521 | 0.00057641 |  | 5.2
2013-170032.oxy | 32 | P12 | 220 | 400 | 1.645 | 0.272 | 0.272 | 1136 | 129.66 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.6454 | 1.6454 | 0 | 3 | 5.5 | OXY: Very gradual change in slopes. Difficult to determine endpoint.
2013-170032.oxy | 32 | P12 | 221 | 300 | 2.112 | 0.358 | 0.3577 | 1141 | 133.44 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.1117 | 2.11 | 0.001792 |  | 6.1
2013-170032.oxy | 32 | P12 | 222 | 250 | 2.517 | 0.454 | 0.4543 | 1142 | 142.24 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.5167 | 2.5184 | 0.0016795 |  | 6.4
2013-170032.oxy | 32 | P12 | 223 | 200 | 3.778 | 0.656 | 0.656 | 1144 | 137.4 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 3.778 | 3.778 | 0 |  | 6.9
2013-170032.oxy | 32 | P12 | 224 | 175 | 3.33 | 0.538 | 0.538 | 1146 | 127.78 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 3.3303 | 3.3303 | 0 |  | 7.3
2013-170032.oxy | 32 | P12 | 225 | 150 | 3.523 | 0.599 | 0.599 | 1150 | 134.5 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 3.5229 | 3.5229 | 0 |  | 7.6
2013-170032.oxy | 32 | P12 | 225 | 150 | 3.516 | 0.606 | 0.6068 | 1153 | 136.34 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 3.5155 | 3.5202 | 0.0046754 |  | 7.6
2013-170032.oxy | 32 | P12 | 226 | 125 | 4.255 | 0.703 | 0.703 | 1158 | 130.88 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 4.2554 | 4.2554 | 0 |  | 7.6
2013-170032.oxy | 32 | P12 | 227 | 100 | 5.184 | 0.87 | 0.869 | 1138 | 133.08 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 5.1843 | 5.1783 | 0.0059897 |  | 7.5
2013-170032.oxy | 32 | P12 | 228 | 75 | 6.065 | 1.021 | 1.021 | 1174 | 133.59 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.0651 | 6.0651 | 0 |  | 7.5
2013-170032.oxy | 32 | P12 | 229 | 50 | 6.682 | 1.204 | 1.2036 | 1175 | 142.95 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.6817 | 6.6795 | 0.0022281 |  | 8.1
2013-170032.oxy | 32 | P12 | 229 | 50 | 6.678 | 1.148 | 1.1484 | 1177 | 136.45 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.6777 | 6.68 | 0.0023358 |  | 8
2013-170032.oxy | 32 | P12 | 230 | 25 | 6.71 | 1.16 | 1.1596 | 1178 | 137.21 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.7098 | 6.7075 | 0.0023227 |  | 10.2
2013-170032.oxy | 32 | P12 | 231 | 10 | 6.599 | 1.095 | 1.094 | 1180 | 131.75 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.5989 | 6.5928 | 0.006051 |  | 10.6
2013-170032.oxy | 32 | P12 | 232 | 5 | 6.589 | 1.173 | 1.1734 | 1182 | 141.23 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.5894 | 6.5917 | 0.0022556 |  | 10.7
2013-170049.oxy | 49 | P16 | 332 | 3687 | 2.745 | 0.446 | 0.4453 | 1105 | 128.27 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.7454 | 2.741 | 0.0043525 |  | 2.3
2013-170049.oxy | 49 | P16 | 333 | 3500 | 2.675 | 0.452 | 0.4518 | 1106 | 133.37 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.6747 | 2.6735 | 0.0011953 |  | 2.2
2013-170049.oxy | 49 | P16 | 334 | 3500 | 2.686 | 0.433 | 0.4329 | 1110 | 127.26 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.686 | 2.6854 | 0.00062679 |  | 2.4
2013-170049.oxy | 49 | P16 | 335 | 3000 | 2.373 | 0.422 | 0.422 | 1114 | 140.12 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.3734 | 2.3734 | 0 |  | 2.2
2013-170049.oxy | 49 | P16 | 336 | 2500 | 1.869 | 0.314 | 0.314 | 1119 | 132.01 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.8693 | 1.8693 | 0 |  | 2.4
2013-170049.oxy | 49 | P16 | 337 | 2000 | 1.288 | 0.224 | 0.2247 | 1123 | 135.78 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.2884 | 1.2925 | 0.0041081 | 2 | 2.6 | OXY: Duplicate value not reported. Value was clearly erroneous due to problems during analysis. See notes.
2013-170049.oxy | 49 | P16 | 337 | 2000 | 1.189 | 0.208 | 0.208 | 1124 | 136.39 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | -99 | -99 | 0 | 5 | 2.8 | OXY-2: Bubble on lens. No discernible endpoint. Titration only to 94% and ended abruptly. Value discarded.
2013-170049.oxy | 49 | P16 | 338 | 1500 | 0.54 | 0.092 | 0.0916 | 1126 | 129.29 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.53991 | 0.53745 | 0.0024672 |  | 3.1
2013-170049.oxy | 49 | P16 | 339 | 1250 | 0.29 | 0.054 | 0.0537 | 1127 | 136.05 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.29012 | 0.28837 | 0.0017571 |  | 3.5
2013-170049.oxy | 49 | P16 | 340 | 1000 | 0.267 | 0.049 | 0.0486 | 1128 | 133.02 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.26687 | 0.26447 | 0.002397 |  | 3.8
2013-170049.oxy | 49 | P16 | 341 | 800 | 0.372 | 0.065 | 0.0646 | 1130 | 129.88 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 0.37165 | 0.3692 | 0.0024558 |  | 4.3
2013-170049.oxy | 49 | P16 | 342 | 600 | -99 | -99 | -99 | 1134 |  | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | -99 | -99 | 0 | 9 | -99 | OXY: Niskin misfired. Bottom cap did not close.
2013-170049.oxy | 49 | P16 | 343 | 400 | 1.436 | 0.238 | 0.2377 | 1136 | 129.66 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 1.4363 | 1.4344 | 0.001845 |  | 5.5
2013-170049.oxy | 49 | P16 | 344 | 300 | 2.213 | 0.375 | 0.3746 | 1141 | 133.44 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.2133 | 2.2109 | 0.0023893 |  | 6
2013-170049.oxy | 49 | P16 | 344 | 300 | 2.209 | 0.399 | 0.3987 | 1142 | 142.24 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.2088 | 2.2071 | 0.0016795 |  | 6
2013-170049.oxy | 49 | P16 | 345 | 250 | 2.433 | 0.424 | 0.424 | 1144 | 137.4 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.4327 | 2.4327 | 0 |  | 6.3
2013-170049.oxy | 49 | P16 | 346 | 200 | 2.968 | 0.48 | 0.4793 | 1146 | 127.78 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 2.9683 | 2.9639 | 0.0043694 |  | 6.7
2013-170049.oxy | 49 | P16 | 347 | 175 | 3.446 | 0.586 | 0.5853 | 1150 | 134.5 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 3.4459 | 3.4417 | 0.0041478 |  | 7
2013-170049.oxy | 49 | P16 | 347 | 175 | 3.44 | 0.593 | 0.5932 | 1153 | 136.34 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 3.4396 | 3.4407 | 0.0011689 |  | 7
2013-170049.oxy | 49 | P16 | 348 | 150 | 4.304 | 0.711 | 0.711 | 1158 | 130.88 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 4.3041 | 4.3041 | 0 | 3 | 6.9 | OXY: Bubble on lens.
2013-170049.oxy | 49 | P16 | 349 | 125 | 5.412 | 0.908 | 0.9078 | 1138 | 133.08 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 5.4119 | 5.4107 | 0.0011979 |  | 7.2
2013-170049.oxy | 49 | P16 | 350 | 100 | 6.208 | 1.045 | 1.045 | 1174 | 133.59 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.2083 | 6.2083 | 0 |  | 7.3
2013-170049.oxy | 49 | P16 | 351 | 75 | 6.57 | 1.184 | 1.184 | 1175 | 142.95 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | -99 | -99 | 0 | 5 | 7.5 | OXY-1: Bubble on lens. Titration incomplete. Ended abruptly. No endpoint. Value discarded.
2013-170049.oxy | 49 | P16 | 351 | 75 | 6.713 | 1.154 | 1.1542 | 1177 | 136.45 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.7127 | 6.7139 | 0.0011679 | 2 | 7.5 | OXY: Duplicate value not reported. Value was clearly erroneous due to problems during analysis. See notes.
2013-170049.oxy | 49 | P16 | 352 | 50 | 6.844 | 1.183 | 1.1827 | 1178 | 137.21 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.8434 | 6.8417 | 0.001742 |  | 8.7
2013-170049.oxy | 49 | P16 | 353 | 25 | 6.684 | 1.109 | 1.1088 | 1180 | 131.75 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.6836 | 6.6824 | 0.0012102 |  | 9.9
2013-170049.oxy | 49 | P16 | 354 | 10 | 6.685 | 1.19 | 1.1895 | 1182 | 141.23 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.6853 | 6.6825 | 0.0028195 |  | 10
2013-170049.oxy | 49 | P16 | 355 | 5 | 6.691 | 1.163 | 1.1634 | 1188 | 137.94 | 0.0023 | 0.719 | 10.0271 | 0.010025 | 0.14025 | 6.6911 | 6.6934 | 0.0023102 |  | 10
2013-170065.oxy | 65 | P20 | 432 | 4024 | 3 | 0.486 | 0.4853 | 1105 | 128.27 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.9996 | 2.9952 | 0.0043604 |  | 2.1
2013-170065.oxy | 65 | P20 | 433 | 3500 | 2.883 | 0.486 | 0.4868 | 1106 | 133.37 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.8831 | 2.8879 | 0.0047898 |  | 2.1
2013-170065.oxy | 65 | P20 | 434 | 3500 | 2.867 | 0.461 | 0.4603 | 1110 | 127.26 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.8668 | 2.8624 | 0.0043955 | 3 | 2.1 | OXY-1: Niskin vent was open. Spigot leaking.
2013-170065.oxy | 65 | P20 | 434 | 3500 | 2.873 | 0.509 | 0.509 | 1114 | 140.12 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.8732 | 2.8732 | 0 |  | 2.1
2013-170065.oxy | 65 | P20 | 435 | 3000 | 2.538 | 0.424 | 0.424 | 1119 | 132.01 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | -99 | -99 | 0 | 5 | 2.1 | OXY: Titration is just a short squiggly line at 99% transmissivity. No notes to explain what happened. Value discarded.
2013-170065.oxy | 65 | P20 | 436 | 2500 | 1.996 | 0.344 | 0.344 | 1123 | 135.78 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.9963 | 1.9963 | 0 |  | 2.3
2013-170065.oxy | 65 | P20 | 437 | 2000 | 1.291 | 0.225 | 0.225 | 1124 | 136.39 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.2908 | 1.2908 | 0 |  | 2.5
2013-170065.oxy | 65 | P20 | 438 | 1500 | 0.566 | 0.096 | 0.096 | 1126 | 129.29 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.56564 | 0.56564 | 0 | 2 | 3.1 | OXY: Sample was redrawn.
2013-170065.oxy | 65 | P20 | 439 | 1250 | 0.402 | 0.073 | 0.0715 | 1127 | 136.05 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.40216 | 0.39336 | 0.0088014 |  | 3.3
2013-170065.oxy | 65 | P20 | 440 | 1000 | 0.375 | 0.067 | 0.067 | 1128 | 133.02 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.37544 | 0.37544 | 0 |  | 3.5
2013-170065.oxy | 65 | P20 | 441 | 800 | 0.489 | 0.084 | 0.084 | 1130 | 129.88 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.48922 | 0.48922 | 0 |  | 3.9
2013-170065.oxy | 65 | P20 | 441 | 800 | 0.482 | 0.088 | 0.0876 | 1134 | 138.21 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.4824 | 0.48009 | 0.0023098 |  | 4
2013-170065.oxy | 65 | P20 | 442 | 600 | 0.681 | 0.115 | 0.115 | 1136 | 129.66 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.68106 | 0.68106 | 0 |  | 4.5
2013-170065.oxy | 65 | P20 | 443 | 400 | 1.362 | 0.232 | 0.232 | 1141 | 133.44 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.3616 | 1.3616 | 0 |  | 4.8
2013-170065.oxy | 65 | P20 | 444 | 300 | 2.028 | 0.366 | 0.3666 | 1142 | 142.24 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.0277 | 2.0311 | 0.0033652 |  | 4.9
2013-170065.oxy | 65 | P20 | 445 | 250 | 2.751 | 0.478 | 0.4779 | 1144 | 137.4 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.7508 | 2.7502 | 0.00058091 |  | 5.2
2013-170065.oxy | 65 | P20 | 446 | 200 | 3.924 | 0.632 | 0.632 | 1146 | 127.78 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 3.9242 | 3.9242 | 0 |  | 5.6
2013-170065.oxy | 65 | P20 | 446 | 200 | 3.927 | 0.666 | 0.6654 | 1150 | 134.5 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 3.927 | 3.9235 | 0.0035617 |  | 5.7
2013-170065.oxy | 65 | P20 | 447 | 175 | 4.506 | 0.774 | 0.7736 | 1153 | 136.34 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 4.5056 | 4.5032 | 0.002342 |  | 5.7
2013-170065.oxy | 65 | P20 | 448 | 150 | 5.783 | 0.952 | 0.952 | 1158 | 130.88 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 5.7828 | 5.7828 | 0 |  | 5.9
2013-170065.oxy | 65 | P20 | 449 | 125 | 6.844 | 1.145 | 1.1446 | 1138 | 133.08 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.8438 | 6.8414 | 0.0024002 |  | 6.1
2013-170065.oxy | 65 | P20 | 450 | 100 | 7.003 | 1.176 | 1.1762 | 1174 | 133.59 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 7.0026 | 7.0038 | 0.0011955 |  | 6.4
2013-170065.oxy | 65 | P20 | 451 | 75 | 7.096 | 1.276 | 1.276 | 1175 | 142.95 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 7.0956 | 7.0956 | 0 |  | 6.6
2013-170065.oxy | 65 | P20 | 452 | 50 | 7.257 | 1.245 | 1.245 | 1177 | 136.45 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 7.2573 | 7.2573 | 0 |  | 7.1
2013-170065.oxy | 65 | P20 | 453 | 25 | 6.751 | 1.165 | 1.165 | 1178 | 137.21 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.7511 | 6.7511 | 0 |  | 9.3
2013-170065.oxy | 65 | P20 | 454 | 10 | 6.72 | 1.113 | 1.1135 | 1180 | 131.75 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.72 | 6.723 | 0.003031 |  | 9.5
2013-170065.oxy | 65 | P20 | 454 | 10 | 6.726 | 1.195 | 1.195 | 1182 | 141.23 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.7257 | 6.7257 | 0 |  | 9.5
2013-170065.oxy | 65 | P20 | 455 | 5 | 6.721 | 1.166 | 1.1655 | 1188 | 137.94 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.7207 | 6.7178 | 0.002893 |  | 9.4
2013-170086.oxy | 86 | P26 | 612 | 4318 | 3.244 | 0.574 | 0.574 | 1400 | 140.09 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 3.244 | 3.244 | 0 |  | 2.4
2013-170086.oxy | 86 | P26 | 613 | 4000 | 3.172 | 0.524 | 0.5237 | 1401 | 130.83 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 3.172 | 3.1701 | 0.0018316 |  | 2.1
2013-170086.oxy | 86 | P26 | 613 | 4000 | 3.155 | 0.536 | 0.537 | 1402 | 134.53 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 3.1546 | 3.1606 | 0.0059349 |  | 2.1
2013-170086.oxy | 86 | P26 | 614 | 3500 | 2.932 | 0.544 | 0.5445 | 1404 | 146.73 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.9322 | 2.9349 | 0.0027173 |  | 2.1
2013-170086.oxy | 86 | P26 | 615 | 3000 | 2.498 | 0.437 | 0.4376 | 1406 | 138.18 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.4983 | 2.5017 | 0.0034655 |  | 2.2
2013-170086.oxy | 86 | P26 | 616 | 2500 | 1.92 | 0.347 | 0.3468 | 1407 | 142.36 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.9195 | 1.9184 | 0.0011208 |  | 2.4
2013-170086.oxy | 86 | P26 | 617 | 2000 | 1.301 | 0.218 | 0.2178 | 1408 | 131.07 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.3013 | 1.3001 | 0.0012188 |  | 2.5
2013-170086.oxy | 86 | P26 | 618 | 1500 | 0.587 | 0.108 | 0.108 | 1409 | 140.83 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.5866 | 0.5866 | 0 |  | 2.8
2013-170086.oxy | 86 | P26 | 619 | 1250 | 0.499 | 0.092 | 0.092 | 1411 | 140.05 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.49876 | 0.49876 | 0 |  | 3.1
2013-170086.oxy | 86 | P26 | 619 | 1250 | 0.501 | 0.088 | 0.0876 | 1413 | 133.23 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.5007 | 0.49831 | 0.0023975 |  | 3.2
2013-170086.oxy | 86 | P26 | 620 | 1000 | 0.527 | 0.093 | 0.0922 | 1414 | 134.15 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.52698 | 0.52222 | 0.0047616 |  | 3.4
2013-170086.oxy | 86 | P26 | 621 | 800 | 0.528 | 0.093 | 0.093 | 1416 | 133.88 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.52806 | 0.52806 | 0 |  | 3.8
2013-170086.oxy | 86 | P26 | 622 | 600 | 0.565 | 0.106 | 0.1058 | 1417 | 143.36 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.56498 | 0.56386 | 0.0011128 |  | 4.2
2013-170086.oxy | 86 | P26 | 623 | 400 | 0.947 | 0.162 | 0.1616 | 1418 | 132.87 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 0.94683 | 0.94443 | 0.0024041 |  | 4.5
2013-170086.oxy | 86 | P26 | 624 | 300 | 1.347 | 0.241 | 0.2402 | 1421 | 140.09 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.3473 | 1.3427 | 0.0045567 |  | 4.4
2013-170086.oxy | 86 | P26 | 625 | 250 | 1.908 | 0.325 | 0.3245 | 1422 | 134.16 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.9077 | 1.9047 | 0.0029757 |  | 4.5
2013-170086.oxy | 86 | P26 | 625 | 250 | 1.928 | 0.353 | 0.3524 | 1424 | 144.17 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 1.9283 | 1.925 | 0.0033195 |  | 4.5
2013-170086.oxy | 86 | P26 | 626 | 200 | 2.664 | 0.446 | 0.4458 | 1426 | 132.36 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 2.6641 | 2.6629 | 0.0012067 |  | 4.5
2013-170086.oxy | 86 | P26 | 627 | 175 | 3.103 | 0.537 | 0.537 | 1427 | 136.98 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 3.1032 | 3.1032 | 0 |  | 4.6
2013-170086.oxy | 86 | P26 | 628 | 150 | 4.151 | 0.728 | 0.7274 | 1428 | 139.09 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 4.1513 | 4.1478 | 0.0034425 |  | 4.8
2013-170086.oxy | 86 | P26 | 629 | 125 | 6.3 | 1.049 | 1.0487 | 1429 | 132.42 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.2995 | 6.2977 | 0.0018093 |  | 5.2
2013-170086.oxy | 86 | P26 | 629 | 125 | 6.297 | 1.045 | 1.045 | 1430 | 131.98 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.2966 | 6.2966 | 0 |  | 5.2
2013-170086.oxy | 86 | P26 | 630 | 100 | 6.963 | 1.16 | 1.1594 | 1432 | 132.53 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.9631 | 6.9595 | 0.0036155 |  | 5.5
2013-170086.oxy | 86 | P26 | 631 | 75 | 7.139 | 1.188 | 1.1868 | 1433 | 132.4 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 7.1389 | 7.1317 | 0.0072382 |  | 5.8
2013-170086.oxy | 86 | P26 | 632 | 50 | 7.2 | 1.189 | 1.1884 | 1434 | 131.4 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 7.2001 | 7.1965 | 0.0036471 |  | 6.3
2013-170086.oxy | 86 | P26 | 633 | 25 | 6.827 | 1.124 | 1.123 | 1440 | 130.98 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.8272 | 6.8211 | 0.0060982 |  | 8.8
2013-170086.oxy | 86 | P26 | 634 | 10 | 6.834 | 1.253 | 1.2538 | 1442 | 145.71 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.8335 | 6.8378 | 0.0043785 |  | 9
2013-170086.oxy | 86 | P26 | 635 | 5 | 6.829 | 1.142 | 1.1418 | 1443 | 133.03 | 0.0023 | 0.7177 | 10.0271 | 0.010025 | 0.14051 | 6.8284 | 6.8272 | 0.0012006 |  | 9

## Raw AutoOxy Data
File Name | LOC:EVENT_NUMBER | LOC:STATION | Sample_number | Depth | Oxygen:Dissolved | Thiosulfate_titer | Flask_Number | Flask_Volume | Blank | Standard
2013-170002.oxy | 2 | P1 | 8 | 129 | 2.011 | 0.36 | 2043 | 140.88 | 0.0023 | 0.7187
2013-170002.oxy | 2 | P1 | 10 | 10 | 6.765 | 1.13 | 690 | 132.68 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 11 | 105 | 1.756 | 0.322 | 2025 | 144.03 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 11 | 105 | 1.73 | 0.318 | 2032 | 144.39 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 12 | 100 | 1.697 | 0.281 | 745 | 130.01 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 13 | 75 | 3.972 | 0.673 | 2019 | 134.19 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 14 | 75 | 3.935 | 0.73 | 2020 | 146.82 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 15 | 50 | 5.403 | 0.98 | 2016 | 143.81 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 16 | 25 | 6.321 | 1.04 | 668 | 130.68 | 0.0023 | 0.7187
2013-170004.oxy | 4 | P2 | 17 | 10 | 7.144 | 1.307 | 1054 | 145.21 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 43 | 1320 | 0.571 | 0.105 | 3033 | 140.24 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 44 | 1250 | 0.46 | 0.084 | 3035 | 137.75 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 45 | 1250 | 0.464 | 0.083 | 3018 | 135.07 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 45 | 1250 | 0.497 | 0.091 | 3037 | 138.68 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 46 | 1000 | 0.244 | 0.048 | 2056 | 142.19 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 47 | 800 | 0.221 | 0.044 | 3028 | 142.27 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 48 | 600 | 0.355 | 0.063 | 3023 | 131.68 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 49 | 400 | 1.049 | 0.194 | 2059 | 143.96 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 50 | 300 | 1.905 | 0.32 | 3021 | 132.08 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 51 | 250 | 2.361 | 0.421 | 3014 | 140.57 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 52 | 200 | 2.904 | 0.491 | 3020 | 133.59 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 53 | 175 | 2.819 | 0.475 | 3022 | 133.09 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 54 | 150 | 3.02 | 0.548 | 3104 | 143.36 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 55 | 125 | 3.457 | 0.575 | 552 | 131.63 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 56 | 100 | 3.819 | 0.651 | 3032 | 134.99 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 57 | 75 | 5.52 | 0.965 | 3037 | 138.68 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 57 | 75 | 5.676 | 1.03 | 708 | 143.91 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 58 | 50 | 6.581 | 1.15 | 3034 | 138.73 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 59 | 25 | 6.728 | 1.131 | 396 | 133.52 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 60 | 10 | 6.851 | 1.24 | 2069 | 143.65 | 0.0023 | 0.7187
2013-170008.oxy | 8 | P4 | 61 | 5 | 6.875 | 1.162 | 2035 | 134.24 | 0.0023 | 0.7187
2013-170022.oxy | 22 | P8 | 61 | 5 | 1.41 | 0.242 | 2035 | 134.24 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 168 | 2000 | 1.423 | 0.263 | 2088 | 144.64 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 169 | 1500 | 0.678 | 0.12 | 3047 | 135.84 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 170 | 1250 | 0.455 | 0.088 | 2065 | 146.28 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 171 | 1000 | 0.26 | 0.049 | 631 | 136.68 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 172 | 800 | 0.224 | 0.044 | 3009 | 140.73 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 173 | 600 | 0.412 | 0.073 | 2055 | 132.61 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 174 | 400 | 2.155 | 0.392 | 2086 | 143.22 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 175 | 300 | 1.55 | 0.286 | 2014 | 144.65 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 176 | 250 | 2.003 | 0.333 | 621 | 130.79 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 176 | 250 | 1.995 | 0.367 | 3142 | 144.69 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 177 | 200 | 2.605 | 0.45 | 3209 | 136.29 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 178 | 175 | 2.776 | 0.49 | 715 | 139.32 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 179 | 150 | 2.918 | 0.503 | 3111 | 136.14 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 180 | 125 | 3.249 | 0.594 | 1053 | 144.45 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 181 | 100 | 4.183 | 0.752 | 3038 | 142.3 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 182 | 75 | 5.38 | 0.896 | 611 | 132.11 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 182 | 75 | 5.375 | 0.978 | 2049 | 144.21 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 183 | 50 | 6.328 | 1.072 | 510 | 134.44 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 184 | 25 | 6.694 | 1.141 | 2090 | 135.3 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 185 | 10 | 6.576 | 1.082 | 712 | 130.66 | 0.0023 | 0.719
2013-170022.oxy | 22 | P8 | 186 | 5 | 6.566 | 1.192 | 2033 | 143.99 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 210 | 3275 | 2.341 | 0.381 | 1105 | 128.27 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 211 | 3000 | 2.298 | 0.389 | 1106 | 133.37 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 212 | 3000 | 2.291 | 0.37 | 1110 | 127.26 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 212 | 3000 | 2.277 | 0.405 | 1114 | 140.12 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 213 | 2500 | 1.887 | 0.317 | 1119 | 132.01 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 214 | 2000 | 1.376 | 0.239 | 1123 | 135.78 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 215 | 1500 | 0.675 | 0.12 | 1124 | 136.39 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 216 | 1250 | 3.618 | 0.591 | 1126 | 129.29 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 217 | 1000 | 0.243 | 0.046 | 1127 | 136.05 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 217 | 1000 | 0.255 | 0.047 | 1128 | 133.02 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 218 | 800 | 0.286 | 0.051 | 1130 | 129.88 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 219 | 600 | 0.453 | 0.083 | 1134 | 138.21 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 220 | 400 | 1.645 | 0.272 | 1136 | 129.66 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 221 | 300 | 2.112 | 0.358 | 1141 | 133.44 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 222 | 250 | 2.517 | 0.454 | 1142 | 142.24 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 223 | 200 | 3.778 | 0.656 | 1144 | 137.4 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 224 | 175 | 3.33 | 0.538 | 1146 | 127.78 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 225 | 150 | 3.523 | 0.599 | 1150 | 134.5 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 225 | 150 | 3.516 | 0.606 | 1153 | 136.34 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 226 | 125 | 4.255 | 0.703 | 1158 | 130.88 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 227 | 100 | 5.184 | 0.87 | 1138 | 133.08 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 228 | 75 | 6.065 | 1.021 | 1174 | 133.59 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 229 | 550 | 6.682 | 1.204 | 1175 | 142.95 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 229 | 50 | 6.678 | 1.148 | 1177 | 136.45 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 230 | 25 | 6.71 | 1.16 | 1178 | 137.21 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 231 | 10 | 6.599 | 1.095 | 1180 | 131.75 | 0.0023 | 0.719
2013-170032.oxy | 32 | P12 | 232 | 5 | 6.589 | 1.173 | 1182 | 141.23 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 332 | 3687 | 2.745 | 0.446 | 1105 | 128.27 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 333 | 3500 | 2.675 | 0.452 | 1106 | 133.37 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 334 | 3500 | 2.686 | 0.433 | 1110 | 127.26 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 335 | 3000 | 2.373 | 0.422 | 1114 | 140.12 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 336 | 2500 | 1.869 | 0.314 | 1119 | 132.01 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 337 | 2000 | 1.288 | 0.224 | 1123 | 135.78 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 337 | 2000 | 1.189 | 0.208 | 1124 | 136.39 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 338 | 1500 | 0.54 | 0.092 | 1126 | 129.29 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 339 | 1250 | 0.29 | 0.054 | 1127 | 136.05 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 340 | 1000 | 0.267 | 0.049 | 1128 | 133.02 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 341 | 800 | 0.372 | 0.065 | 1130 | 129.88 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 343 | 400 | 1.436 | 0.238 | 1136 | 129.66 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 344 | 300 | 2.213 | 0.375 | 1141 | 133.44 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 344 | 300 | 2.209 | 0.399 | 1142 | 142.24 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 345 | 250 | 2.433 | 0.424 | 1144 | 137.4 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 346 | 200 | 2.968 | 0.48 | 1146 | 127.78 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 347 | 175 | 3.446 | 0.586 | 1150 | 134.5 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 347 | 175 | 3.44 | 0.593 | 1153 | 136.34 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 348 | 150 | 4.304 | 0.711 | 1158 | 130.88 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 349 | 125 | 5.412 | 0.908 | 1138 | 133.08 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 350 | 100 | 6.208 | 1.045 | 1174 | 133.59 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 351 | 75 | 6.57 | 1.184 | 1175 | 142.95 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 351 | 75 | 6.713 | 1.154 | 1177 | 136.45 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 352 | 50 | 6.844 | 1.183 | 1178 | 137.21 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 353 | 25 | 6.684 | 1.109 | 1180 | 131.75 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 354 | 10 | 6.685 | 1.19 | 1182 | 141.23 | 0.0023 | 0.719
2013-170049.oxy | 49 | P16 | 355 | 5 | 6.691 | 1.163 | 1188 | 137.94 | 0.0023 | 0.719
2013-170065.oxy | 65 | P20 | 432 | 4024 | 3 | 0.486 | 1105 | 128.27 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 433 | 3500 | 2.883 | 0.486 | 1106 | 133.37 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 434 | 3500 | 2.867 | 0.461 | 1110 | 127.26 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 434 | 3500 | 2.873 | 0.509 | 1114 | 140.12 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 435 | 3000 | 2.538 | 0.424 | 1119 | 132.01 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 436 | 2500 | 1.996 | 0.344 | 1123 | 135.78 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 437 | 2000 | 1.291 | 0.225 | 1124 | 136.39 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 438 | 1500 | 0.566 | 0.096 | 1126 | 129.29 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 439 | 1250 | 0.402 | 0.073 | 1127 | 136.05 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 440 | 1000 | 0.375 | 0.067 | 1128 | 133.02 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 441 | 800 | 0.489 | 0.084 | 1130 | 129.88 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 441 | 800 | 0.482 | 0.088 | 1134 | 138.21 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 442 | 600 | 0.681 | 0.115 | 1136 | 129.66 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 443 | 400 | 1.362 | 0.232 | 1141 | 133.44 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 444 | 300 | 2.028 | 0.366 | 1142 | 142.24 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 445 | 250 | 2.751 | 0.478 | 1144 | 137.4 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 446 | 200 | 3.924 | 0.632 | 1146 | 127.78 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 446 | 200 | 3.927 | 0.666 | 1150 | 134.5 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 447 | 175 | 4.506 | 0.774 | 1153 | 136.34 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 448 | 150 | 5.783 | 0.952 | 1158 | 130.88 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 449 | 125 | 6.844 | 1.145 | 1138 | 133.08 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 450 | 100 | 7.003 | 1.176 | 1174 | 133.59 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 451 | 75 | 7.096 | 1.276 | 1175 | 142.95 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 452 | 50 | 7.257 | 1.245 | 1177 | 136.45 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 453 | 25 | 6.751 | 1.165 | 1178 | 137.21 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 454 | 10 | 6.72 | 1.113 | 1180 | 131.75 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 454 | 10 | 6.726 | 1.195 | 1182 | 141.23 | 0.0023 | 0.7177
2013-170065.oxy | 65 | P20 | 455 | 5 | 6.721 | 1.166 | 1188 | 137.94 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 612 | 4318 | 3.244 | 0.574 | 1400 | 140.09 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 613 | 4000 | 3.172 | 0.524 | 1401 | 130.83 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 613 | 4000 | 3.155 | 0.536 | 1402 | 134.53 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 614 | 3500 | 2.932 | 0.544 | 1404 | 146.73 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 615 | 3000 | 2.498 | 0.437 | 1406 | 138.18 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 616 | 2500 | 1.92 | 0.347 | 1407 | 142.36 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 617 | 2000 | 1.301 | 0.218 | 1408 | 131.07 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 618 | 1500 | 0.587 | 0.108 | 1409 | 140.83 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 619 | 1250 | 0.499 | 0.092 | 1411 | 140.05 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 619 | 1250 | 0.501 | 0.088 | 1413 | 133.23 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 620 | 1000 | 0.527 | 0.093 | 1414 | 134.15 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 621 | 800 | 0.528 | 0.093 | 1416 | 133.88 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 622 | 600 | 0.565 | 0.106 | 1417 | 143.36 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 623 | 400 | 0.947 | 0.162 | 1418 | 132.87 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 624 | 300 | 1.347 | 0.241 | 1421 | 140.09 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 625 | 250 | 1.908 | 0.325 | 1422 | 134.16 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 625 | 250 | 1.928 | 0.353 | 1424 | 144.17 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 626 | 200 | 2.664 | 0.446 | 1426 | 132.36 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 627 | 175 | 3.103 | 0.537 | 1427 | 136.98 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 628 | 150 | 4.151 | 0.728 | 1428 | 139.09 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 629 | 125 | 6.3 | 1.049 | 1429 | 132.42 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 629 | 125 | 6.297 | 1.045 | 1430 | 131.98 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 630 | 100 | 6.963 | 1.16 | 1432 | 132.53 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 631 | 75 | 7.139 | 1.188 | 1433 | 132.4 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 632 | 50 | 7.2 | 1.189 | 1434 | 131.4 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 633 | 25 | 6.827 | 1.124 | 1440 | 130.98 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 634 | 10 | 6.834 | 1.253 | 1442 | 145.71 | 0.0023 | 0.7177
2013-170086.oxy | 86 | P26 | 635 | 5 | 6.829 | 1.142 | 1443 | 133.03 | 0.0023 | 0.7177

## Plots
Sample 435
2 | 0.002 | 21.9 | 0.002
5 | 0.1 | 22.9 | 0.102
8 | 0.1 | 32 | 0.202
11 | 0.1 | 44.3 | 0.302
14 | 0.05 | 60.8 | 0.352
16 | 0.02 | 69.4 | 0.372
18 | 0.02 | 72.9 | 0.392
20 | 0.008 | 77.2 | 0.4
22 | 0.008 | 79.9 | 0.408
24 | 0.008 | 81.6 | 0.416
26 | 0.004 | 83.2 | 0.42
28 | 0.004 | 99.4 | 0.424
30 | 0.001 | 99.4 | 0.425
32 | 0.001 | 99.4 | 0.426
34 | 0.001 | 99.3 | 0.427
36 | 0.001 | 99.4 | 0.428
38 | 0.001 | 99.3 | 0.429
40 | 0.001 | 99.4 | 0.43
42 | 0.001 | 99.3 | 0.431
44 | 0.001 | 99.4 | 0.432