## Notes
Cruise: | 2013-38
Analysis: | Kenny Scozzafava on board CCGS J.P. Tully
Chief Scientist: | Doug Yelland
Program: | LaPerouse Zooplankton Monitoring Program
Cruise Dates: | May 28, 2013 to June 6, 2013
2013-06-11 |  | KS
Smoking was definitely an issue during this cruise. Many crew members smoked and was difficult to keep tabs on where and when everyone was smoking.
All samples and standards were collected and prepared in duplicates in order to offset some of the variability associated with ammonium analysis.
Standards were not the best. This is likely due to the inexperience of the analyst and to the excessive amount of smoking on board. Blank values were higher than certain samples
having very low concentration of Ammonium. These samples are signified by a negative value. As LNSW aged, blank values were much reduced and therefore fewer
samples were calculated to be negative.
LNSW for standard preparation was collected on the morning of May 30, 2013 at station LB15 at a depth 250 m. 8 L were collected in two 4 L amber glass bottles
All samples were analysed within 24 hours of collection, except the first batch which contained samples that were a little over 24 hours in cold dark storage due to delays in the collection of LNSW.
No dilutions were required as all samples were with the detection limits of the instrument.
Sampling with the 40 mL graduated cylinder was difficult (especially in the wind) and likely contributed to variable volumes between replicates
Chauvenet's outlier test was performed as opposed to simply using the %CV >30% rule previously used for the determination of outliers.
The outlier test was only acted on for the entire cruise, not at the batch level.
3 samples (#2, #168, #356) were determined to be outliers according to Chauvenet's criteria
2014-01-14 | Nina Nemcek
Negative values were all changed to "0" as they have no physical meaning.
Samples affected: #27, 28, 41, 51, 81, 82, 200, 201, 206, 207, 223, 224
It is true that the LNSW typically decreases with age and it is difficult to get a true zero standard
However the Zero standard readings were all acceptably low on all days. Instead it appears, non-linearity of calibration curves led to artifically high intercepts and thus negative calculated values on May 30 and June 2
Although standard curves for this anaysis were not great, replication in general was much better than observed in the past with very few samples needing flags for high variability
In addition precision analysis indicates we should only be reporting values to 2 decimal places. This was also changed.

## QF NH4
Method: | The ammonium method used at IOS is a simplification of the fluorometric technique of Holmes et al, 1999. This method applies to a wide range of ammonium concentrations,
uses the addition of a single working reagent and reduces contamination. Typically, samples are collected during the day and stored in the cold room. The working reagent is
added to standards and samples at the same time, and the fluorescence is read approximately 8 hours later using a calibrated TD 700 Fluorometer.
Reference: | Holmes, R.M., Aminot, A., Kerouel, R., Hooker, B.A., and Peterson, B.J. (1999) A simple and precise method for measuring ammonium in marine and freshwater ecosystems.
Can. J. Fish. Aquat. Sci., 56 1801-1808.
Cruise_Number | Event_Number | Station | Sample_Number | Ammonium (uM) | Flag:Ammonium | Comments
2013-38 | 2 | LB01 | 1 | 0.40265 | 6
2013-38 | 2 | LB01 | 2 | 0.39418 | 36 | NH4: Replicate outliers.
2013-38 | 2 | LB01 | 3 | 0.2519 | 6
2013-38 | 5 | LB04 | 16 | 0.43038 | 6
2013-38 | 5 | LB04 | 17 | 0.28606 | 6
2013-38 | 5 | LB04 | 18 | 0.23059 | 6
2013-38 | 9 | LB06 | 26 | 1.1454 | 6
2013-38 | 9 | LB06 | 27 | 0 | 6
2013-38 | 9 | LB06 | 28 | 0 | 6
2013-38 | 21 | LB08 | 39 | 1.274 | 6
2013-38 | 21 | LB08 | 40 | 0.29249 | 6
2013-38 | 21 | LB08 | 41 | 0 | 6
2013-38 | 27 | LB09 | 49 | 1.0133 | 6
2013-38 | 27 | LB09 | 50 | 0.90423 | 6
2013-38 | 27 | LB09 | 51 | 0 | 6
2013-38 | 29 | LB11 | 63 | 0.2331 | 6
2013-38 | 29 | LB11 | 64 | 0.19314 | 6
2013-38 | 29 | LB11 | 65 | 0.18578 | 6
2013-38 | 31 | LB12 | 80 | 0.021561 | 6
2013-38 | 31 | LB12 | 81 | 0 | 6
2013-38 | 31 | LB12 | 82 | 0 | 6
2013-38 | 33 | LB14 | 101 | 0.052185 | 6
2013-38 | 33 | LB14 | 102 | 0.046862 | 6
2013-38 | 33 | LB14 | 103 | 0.037896 | 6
2013-38 | 39 | LC11 | 128 | 0.14955 | 6
2013-38 | 39 | LC11 | 129 | 0.068016 | 6
2013-38 | 39 | LC11 | 130 | 0.067316 | 6
2013-38 | 41 | LC09 | 145 | 0.030891 | 6
2013-38 | 41 | LC09 | 146 | 0.018843 | 6
2013-38 | 41 | LC09 | 147 | 0.02991 | 6
2013-38 | 43 | LC08 | 159 | 0.16734 | 6
2013-38 | 43 | LC08 | 160 | 0.04378 | 6
2013-38 | 43 | LC08 | 161 | 0.12195 | 6
2013-38 | 47 | LC01 | 166 | -99 | 9 | NH4: Replicate test tubes were empty. They were missed during sampling
2013-38 | 47 | LC01 | 167 | 0.17534 | 6
2013-38 | 47 | LC01 | 168 | 0.12585 | 36 | NH4: Replicate outliers.
2013-38 | 48 | LC02 | 173 | 0.69939 | 6
2013-38 | 48 | LC02 | 174 | 0.31187 | 6
2013-38 | 48 | LC02 | 175 | 0.039999 | 6
2013-38 | 50 | LC04 | 185 | 0.49618 | 6
2013-38 | 50 | LC04 | 186 | 0.13399 | 6
2013-38 | 50 | LC04 | 187 | 0.1185 | 6
2013-38 | 54 | LC06 | 193 | 0.91167 | 6
2013-38 | 54 | LC06 | 194 | 0.34666 | 6
2013-38 | 54 | LC06 | 195 | 0.022671 | 6
2013-38 | 68 | LD02 | 199 | 0.99287 | 6
2013-38 | 68 | LD02 | 200 | 0 | 6
2013-38 | 68 | LD02 | 201 | 0 | 6
2013-38 | 71 | LG01 | 205 | 1.6892 | 6
2013-38 | 71 | LG01 | 206 | 0.0030716 | 6
2013-38 | 71 | LG01 | 207 | 0 | 6
2013-38 | 73 | LG02 | 213 | 0.59184 | 6
2013-38 | 73 | LG02 | 214 | 0.53594 | 6
2013-38 | 73 | LG02 | 215 | 0.071508 | 6
2013-38 | 76 | LG04 | 222 | 0.38137 | 6
2013-38 | 76 | LG04 | 223 | 0 | 6
2013-38 | 76 | LG04 | 224 | 0 | 6
2013-38 | 78 | LG06 | 240 | 0.019781 | 6
2013-38 | 78 | LG06 | 241 | 0.0056518 | 6
2013-38 | 78 | LG06 | 242 | 0.014375 | 6
2013-38 | 81 | LBP7 | 261 | 0.075076 | 6
2013-38 | 81 | LBP7 | 262 | 0.069394 | 6
2013-38 | 81 | LBP7 | 263 | 0.10529 | 6
2013-38 | 84 | LBP5 | 280 | 0.22551 | 6
2013-38 | 84 | LBP5 | 281 | 0.1275 | 6
2013-38 | 84 | LBP5 | 282 | 0.10297 | 6
2013-38 | 87 | LBP3 | 290 | 1.151 | 6
2013-38 | 87 | LBP3 | 291 | 1.0306 | 6
2013-38 | 87 | LBP3 | 292 | 1.0198 | 6
2013-38 | 100 | CS00 | 310 | 0.10462 | 6
2013-38 | 100 | CS00 | 311 | 0.10588 | 6
2013-38 | 100 | CS00 | 312 | 0.11887 | 6
2013-38 | 106 | CS02 | 331 | 0.065273 | 6
2013-38 | 106 | CS02 | 332 | 0.072965 | 6
2013-38 | 106 | CS02 | 333 | 0.11546 | 6
2013-38 | 109 | CS04 | 338 | 0.035133 | 6
2013-38 | 109 | CS04 | 339 | 0.030593 | 6
2013-38 | 109 | CS04 | 340 | 0.025171 | 6
2013-38 | 119 | CS06 | 344 | 0.9827 | 6
2013-38 | 119 | CS06 | 345 | 0.13905 | 6
2013-38 | 119 | CS06 | 346 | 0.035007 | 6
2013-38 | 125 | CS09 | 356 | 2.1027 | 36 | NH4: Replicate outliers.
2013-38 | 125 | CS09 | 357 | 1.2474 | 6
2013-38 | 125 | CS09 | 358 | 0.029585 | 6

## Precision
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
The mean difference for the concentration of Ammonium in sea water for the range -0.03 to 2.16 µM was 0.02, k = 166 with 6 outlier(s) removed
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns N, O and P).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [15 empty] | Table 2. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | NH41 | NH42 | NH4Avg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | NH41 Comment | NH42 Comment | n | Chauvenet
2 | LB01 | 1 | Btm-10 | 0.397 | 0.40829 | 0.40265 | 0.011282 | -0.005641 | 0.005641 |  | 6.3643e-05 | 2 |  |  |  | 3 | 1.37
2 | LB01 | 2 | 10 | 0.4647 | 0.32367 | 0.39418 | 0.14103 | 0.070513 | -0.070513 |  | 0.0099442 | 2 | Y |  |  | 4 | 1.53
2 | LB01 | 3 | 5 | 0.26945 | 0.23435 | 0.2519 | 0.0351 | 0.01755 | -0.01755 |  | 0.000616 | 2 |  |  |  | 5 | 1.64
5 | LB04 | 16 | 20 | 0.43461 | 0.42615 | 0.43038 | 0.0084616 | 0.0042308 | -0.0042308 |  | 3.5799e-05 | 2 |  |  |  | 6 | 1.73
5 | LB04 | 17 | 10 | 0.26381 | 0.30831 | 0.28606 | 0.044502 | -0.022251 | 0.022251 |  | 0.00099019 | 2 |  |  |  | 7 | 1.8
5 | LB04 | 18 | 5 | 0.22464 | 0.23655 | 0.23059 | 0.011909 | -0.0059544 | 0.0059544 |  | 7.0911e-05 | 2 |  |  |  | 8 | 1.87
9 | LB06 | 26 | 20 | 1.1394 | 1.1513 | 1.1454 | 0.011909 | -0.0059544 | 0.0059544 |  | 7.0911e-05 | 2 |  |  |  | 9 | 1.91
9 | LB06 | 27 | 10 | -0.028581 | -0.028581 | 0 | [9 empty] | 10 | 1.97
9 | LB06 | 28 | 5 | -0.011345 | -0.033596 | 0 | [9 empty] | 20 | 2.24
21 | LB08 | 39 | 20 | 1.3159 | 1.2322 | 1.274 | 0.083675 | 0.041838 | -0.041838 |  | 0.0035008 | 2 |  |  |  | 30 | 2.39
21 | LB08 | 40 | 10 | 0.29641 | 0.28857 | 0.29249 | 0.0078348 | 0.0039174 | -0.0039174 |  | 3.0692e-05 | 2 |  |  |  | 50 | 2.57
21 | LB08 | 41 | 5 | -0.025447 | -0.027954 | 0 | [9 empty] | 80 | 2.74
27 | LB09 | 49 | 20 | 0.99558 | 1.031 | 1.0133 | 0.035413 | -0.017707 | 0.017707 |  | 0.00062705 | 2 |  |  |  | 100 | 2.81
27 | LB09 | 50 | 10 | 0.90689 | 0.90156 | 0.90423 | 0.0053277 | 0.0026638 | -0.0026638 |  | 1.4192e-05 | 2 |  |  |  | 150 | 2.93
27 | LB09 | 51 | 5 | -0.027328 | -0.026701 | 0 | [9 empty] | 200 | 3.02
29 | LB11 | 63 | 20 | 0.23905 | 0.22715 | 0.2331 | 0.011909 | 0.0059544 | -0.0059544 |  | 7.0911e-05 | 2
29 | LB11 | 64 | 10 | 0.19455 | 0.19173 | 0.19314 | 0.0028205 | 0.0014103 | -0.0014103 |  | 3.9777e-06 | 2
29 | LB11 | 65 | 5 | 0.19706 | 0.1745 | 0.18578 | 0.022564 | 0.011282 | -0.011282 |  | 0.00025457 | 2
31 | LB12 | 80 | 20 | 0.022501 | 0.020621 | 0.021561 | 0.0018803 | 0.00094017 | -0.00094017 |  | 1.7679e-06 | 2
31 | LB12 | 81 | 10 | -0.012598 | 0.0099658 | 0
31 | LB12 | 82 | 5 | -0.0013162 | -0.0069573 | 0
33 | LB14 | 101 | 20 | 0.060731 | 0.04364 | 0.052185 | 0.017092 | 0.0085458 | -0.0085458 |  | 0.00014606 | 2
33 | LB14 | 102 | 10 | 0.051765 | 0.041959 | 0.046862 | 0.0098067 | 0.0049033 | -0.0049033 |  | 4.8085e-05 | 2
33 | LB14 | 103 | 5 | 0.035794 | 0.039997 | 0.037896 | 0.0042029 | -0.0021014 | 0.0021014 |  | 8.832e-06 | 2
39 | LC11 | 128 | 20 | 0.1574 | 0.14171 | 0.14955 | 0.015691 | 0.0078453 | -0.0078453 |  | 0.0001231 | 2
39 | LC11 | 129 | 10 | 0.055127 | 0.080905 | 0.068016 | 0.025778 | -0.012889 | 0.012889 |  | 0.00033224 | 2
39 | LC11 | 130 | 5 | 0.079224 | 0.055408 | 0.067316 | 0.023816 | 0.011908 | -0.011908 |  | 0.00028361 | 2
41 | LC09 | 145 | 20 | 0.026268 | 0.035514 | 0.030891 | 0.0092463 | -0.0046231 | 0.0046231 |  | 4.2747e-05 | 2
41 | LC09 | 146 | 10 | 0.028229 | 0.0094564 | 0.018843 | 0.018773 | 0.0093864 | -0.0093864 |  | 0.00017621 | 2
41 | LC09 | 147 | 5 | 0.045601 | 0.01422 | 0.02991 | 0.031381 | 0.015691 | -0.015691 |  | 0.00049239 | 2
43 | LC08 | 159 | 20 | 0.16468 | 0.17001 | 0.16734 | 0.0053236 | -0.0026618 | 0.0026618 |  | 1.417e-05 | 2
43 | LC08 | 160 | 10 | 0.052326 | 0.035234 | 0.04378 | 0.017092 | 0.0085458 | -0.0085458 |  | 0.00014606 | 2
43 | LC08 | 161 | 5 | 0.13666 | 0.10724 | 0.12195 | 0.02942 | 0.01471 | -0.01471 |  | 0.00043277 | 2
47 | LC01 | 167 | 10 | 0.18138 | 0.16931 | 0.17534 | 0.012077 | 0.0060386 | -0.0060386 |  | 7.2931e-05 | 2
47 | LC01 | 168 | 5 | 0.059559 | 0.19215 | 0.12585 | 0.13259 | -0.066294 | 0.066294 |  | 0.0087897 | 2 | Y
48 | LC02 | 173 | 20 | 0.69834 | 0.70044 | 0.69939 | 0.0021004 | -0.0010502 | 0.0010502 |  | 2.2058e-06 | 2
48 | LC02 | 174 | 10 | 0.27748 | 0.34626 | 0.31187 | 0.068788 | -0.034394 | 0.034394 |  | 0.0023659 | 2
48 | LC02 | 175 | 5 | 0.038555 | 0.041443 | 0.039999 | 0.002888 | -0.001444 | 0.001444 |  | 4.1704e-06 | 2
50 | LC04 | 185 | 20 | 0.48725 | 0.50511 | 0.49618 | 0.017853 | -0.0089267 | 0.0089267 |  | 0.00015937 | 2
50 | LC04 | 186 | 10 | 0.121 | 0.14699 | 0.13399 | 0.025992 | -0.012996 | 0.012996 |  | 0.0003378 | 2
50 | LC04 | 187 | 5 | 0.11916 | 0.11785 | 0.1185 | 0.0013127 | 0.00065637 | -0.00065637 |  | 8.6166e-07 | 2
54 | LC06 | 193 | 20 | 0.92755 | 0.89578 | 0.91167 | 0.031769 | 0.015884 | -0.015884 |  | 0.00050462 | 2
54 | LC06 | 194 | 10 | 0.33812 | 0.35519 | 0.34666 | 0.017066 | -0.0085329 | 0.0085329 |  | 0.00014562 | 2
54 | LC06 | 195 | 5 | 0.023853 | 0.02149 | 0.022671 | 0.0023629 | 0.0011815 | -0.0011815 |  | 2.7918e-06 | 2
68 | LD02 | 199 | 20 | 1.0112 | 0.97457 | 0.99287 | 0.036614 | 0.018307 | -0.018307 |  | 0.00067029 | 2
68 | LD02 | 200 | 10 | -0.024573 | -0.013761 | 0
68 | LD02 | 201 | 5 | -0.022607 | -0.025556 | 0
71 | LG01 | 205 | 20 | 1.6771 | 1.7012 | 1.6892 | 0.024082 | -0.012041 | 0.012041 |  | 0.00028996 | 2
71 | LG01 | 206 | 10 | 0.00073719 | 0.0054061 | 0.0030716 | 0.0046689 | -0.0023344 | 0.0023344 |  | 1.0899e-05 | 2
71 | LG01 | 207 | 5 | -0.026047 | -0.022116 | 0
73 | LG02 | 213 | 20 | 0.59123 | 0.59246 | 0.59184 | 0.0012287 | -0.00061433 | 0.00061433 |  | 7.5479e-07 | 2
73 | LG02 | 214 | 10 | 0.54847 | 0.52341 | 0.53594 | 0.025065 | 0.012532 | -0.012532 |  | 0.00031411 | 2
73 | LG02 | 215 | 5 | 0.061433 | 0.081583 | 0.071508 | 0.02015 | -0.010075 | 0.010075 |  | 0.00020301 | 2
76 | LG04 | 222 | 20 | 0.39833 | 0.36442 | 0.38137 | 0.033911 | 0.016955 | -0.016955 |  | 0.00057497 | 2
76 | LG04 | 223 | 10 | -0.02531 | -0.023099 | 0
76 | LG04 | 224 | 5 | -0.026293 | -0.024327 | 0
78 | LG06 | 240 | 20 | 0.026785 | 0.012778 | 0.019781 | 0.014007 | 0.0070033 | -0.0070033 |  | 9.8093e-05 | 2
78 | LG06 | 241 | 10 | -0.0049146 | 0.016218 | 0.0056518 | 0.021133 | -0.010566 | 0.010566 |  | 0.0002233 | 2
78 | LG06 | 242 | 5 | 0.010812 | 0.017938 | 0.014375 | 0.0071262 | -0.0035631 | 0.0035631 |  | 2.5391e-05 | 2
81 | LBP7 | 261 | 20 | 0.073009 | 0.077142 | 0.075076 | 0.0041321 | -0.0020661 | 0.0020661 |  | 8.5372e-06 | 2
81 | LBP7 | 262 | 10 | 0.064229 | 0.074559 | 0.069394 | 0.01033 | -0.0051652 | 0.0051652 |  | 5.3358e-05 | 2
81 | LBP7 | 263 | 5 | 0.088505 | 0.12208 | 0.10529 | 0.033574 | -0.016787 | 0.016787 |  | 0.00056359 | 2
84 | LBP5 | 280 | 20 | 0.24527 | 0.20575 | 0.22551 | 0.039513 | 0.019757 | -0.019757 |  | 0.00078066 | 2
84 | LBP5 | 281 | 10 | 0.14326 | 0.11175 | 0.1275 | 0.031507 | 0.015754 | -0.015754 |  | 0.00049636 | 2
84 | LBP5 | 282 | 5 | 0.098319 | 0.10762 | 0.10297 | 0.0092973 | -0.0046486 | 0.0046486 |  | 4.322e-05 | 2
87 | LBP3 | 290 | 20 | 1.1487 | 1.1533 | 1.151 | 0.0046486 | -0.0023243 | 0.0023243 |  | 1.0805e-05 | 2
87 | LBP3 | 291 | 10 | 1.0366 | 1.0247 | 1.0306 | 0.01188 | 0.0059399 | -0.0059399 |  | 7.0566e-05 | 2
87 | LBP3 | 292 | 5 | 1.0144 | 1.0252 | 1.0198 | 0.010847 | -0.0054234 | 0.0054234 |  | 5.8827e-05 | 2
100 | CS00 | 310 | 20 | 0.12467 | 0.084567 | 0.10462 | 0.040102 | 0.020051 | -0.020051 |  | 0.00080408 | 2
100 | CS00 | 311 | 10 | 0.09743 | 0.11433 | 0.10588 | 0.016898 | -0.0084491 | 0.0084491 |  | 0.00014278 | 2
100 | CS00 | 312 | 5 | 0.11937 | 0.11836 | 0.11887 | 0.0010089 | 0.00050443 | -0.00050443 |  | 5.0889e-07 | 2
106 | CS02 | 331 | 20 | 0.065903 | 0.064642 | 0.065273 | 0.0012611 | 0.00063053 | -0.00063053 |  | 7.9514e-07 | 2
106 | CS02 | 332 | 10 | 0.077001 | 0.06893 | 0.072965 | 0.0080708 | 0.0040354 | -0.0040354 |  | 3.2569e-05 | 2
106 | CS02 | 333 | 5 | 0.1166 | 0.11433 | 0.11546 | 0.0022699 | 0.001135 | -0.001135 |  | 2.5763e-06 | 2
109 | CS04 | 338 | 20 | 0.037403 | 0.032863 | 0.035133 | 0.0045398 | 0.0022699 | -0.0022699 |  | 1.0305e-05 | 2
109 | CS04 | 339 | 10 | 0.031855 | 0.029332 | 0.030593 | 0.0025221 | 0.0012611 | -0.0012611 |  | 3.1806e-06 | 2
109 | CS04 | 340 | 5 | 0.020757 | 0.029585 | 0.025171 | 0.0088275 | -0.0044137 | 0.0044137 |  | 3.8962e-05 | 2
119 | CS06 | 344 | 20 | 0.94436 | 1.021 | 0.9827 | 0.076673 | -0.038336 | 0.038336 |  | 0.0029394 | 2
119 | CS06 | 345 | 10 | 0.11281 | 0.16528 | 0.13905 | 0.05246 | -0.02623 | 0.02623 |  | 0.001376 | 2
119 | CS06 | 346 | 5 | 0.029585 | 0.04043 | 0.035007 | 0.010845 | -0.0054226 | 0.0054226 |  | 5.8809e-05 | 2
125 | CS09 | 356 | 20 | 2.1643 | 2.041 | 2.1027 | 0.12333 | 0.061666 | -0.061666 |  | 0.0076054 | 2 | Y
125 | CS09 | 357 | 10 | 1.245 | 1.2498 | 1.2474 | 0.0047921 | -0.002396 | 0.002396 |  | 1.1482e-05 | 2
125 | CS09 | 358 | 5 | 0.032359 | 0.02681 | 0.029585 | 0.0055487 | 0.0027743 | -0.0027743 |  | 1.5394e-05 | 2
[10 empty] | Sum | 0.048467
[10 empty] | Count |  | 144
[10 empty] | σ | 0.01841 | Sp
[10 empty] | dmax/σ for n (Table 2) | 2.93
[10 empty] | Thus dmax = 2.93 x σ | 0.053941
[10 empty] | Mean Diff | 0.023068
[10 empty] | MIN | -0.033596
[10 empty] | MAX | 2.1643
3 Outlier(s) Removed
[10 empty] | Mean Diff = | 0.018318

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling |  | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found on OSDShare Network Drive: | O:\Documentation\Quality Flags

## May 30, 2013
Cruise 2013-38 WCVI Ammonia Calculations
2013-05-30 | (Local) |  |  |  | Standards | Conc (fsu) | Conc (uM) | Raw Fluor
Start time of reaction |  |  | 9:50 |  | Zero | 0 | 0 | 29.7
End time of reaction |  |  | 19:00 |  | Zero | 0 | 0 | 30.4
Sensitivity Factor |  |  | 25 |  | S1 | 200 | 0.5 | 195.1
S3 mid-range |  |  |  |  | S1 | 200 | 0.5 | 210.9
[5 empty] | S2 | 400 | 1 | 370.3
Std water collected at LB15 at 250 m |  |  |  |  | S2 | 400 | 1 | 364
Using WR Batch 1 prepared by JEB-C May 10, 2013 |  |  |  |  | S3 | 600 | 1.5 | 513.5
Secondary standard by JBC, May10, 2012 |  |  |  |  | S3 | 600 | 1.5 | 500.8
Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | %CV
LB01 | 1 | A | Btm-10 | 164.2 | 0.397 | 0.40265 | 1.981%
LB01 | 1 | B | Btm-10 | 167.8 | 0.40829
LB01 | 2 | A | 10 | 185.8 | 0.4647 | 0.39418 | 25.3%
LB01 | 2 | B | 10 | 140.8 | 0.32367
LB01 | 3 | A | 5 | 123.5 | 0.26945 | 0.2519 | 9.853%
LB01 | 3 | B | 5 | 112.3 | 0.23435
LB04 | 16 | A | 20 | 176.2 | 0.43461 | 0.43038 | 1.39%
LB04 | 16 | B | 20 | 173.5 | 0.42615
LB04 | 17 | A | 10 | 121.7 | 0.26381 | 0.28606 | 11%
LB04 | 17 | B | 10 | 135.9 | 0.30831
LB04 | 18 | A | 5 | 109.2 | 0.22464 | 0.23059 | 3.652%
LB04 | 18 | B | 5 | 113 | 0.23655
LB06 | 26 | A | 20 | 401.1 | 1.1394 | 1.1454 | 0.7352%
LB06 | 26 | B | 20 | 404.9 | 1.1513
LB06 | 27 | A | 10 | 28.4 | -0.028581 | -0.028581 | -0%
LB06 | 27 | B | 10 | 28.4 | -0.028581
LB06 | 28 | A | 5 | 33.9 | -0.011345 | -0.02247 | -70.02%
LB06 | 28 | B | 5 | 26.8 | -0.033596
LB08 | 39 | A | 20 | 457.4 | 1.3159 | 1.274 | 4.644%
LB08 | 39 | B | 20 | 430.7 | 1.2322
LB08 | 40 | A | 10 | 132.1 | 0.29641 | 0.29249 | 1.894%
LB08 | 40 | B | 10 | 129.6 | 0.28857
LB08 | 41 | A | 5 | 29.4 | -0.025447 | -0.026701 | -6.64%
LB08 | 41 | B | 5 | 28.6 | -0.027954
LB09 | 49 | A | 20 | 355.2 | 0.99558 | 1.0133 | 2.471%
LB09 | 49 | B | 20 | 366.5 | 1.031
LB09 | 50 | A | 10 | 326.9 | 0.90689 | 0.90423 | 0.4166%
LB09 | 50 | B | 10 | 325.2 | 0.90156
LB09 | 51 | A | 5 | 28.8 | -0.027328 | -0.027014 | -1.641%
LB09 | 51 | B | 5 | 29 | -0.026701
LB11 | 63 | A | 20 | 113.8 | 0.23905 | 0.2331 | 3.613%
LB11 | 63 | B | 20 | 110 | 0.22715
LB11 | 64 | A | 10 | 99.6 | 0.19455 | 0.19314 | 1.033%
LB11 | 64 | B | 10 | 98.7 | 0.19173
LB11 | 65 | A | 5 | 100.4 | 0.19706 | 0.18578 | 8.588%
LB11 | 65 | B | 5 | 93.2 | 0.1745
LB12 | 80 | A | 20 | 44.7 | 0.022501 | 0.021561 | 6.167%
LB12 | 80 | B | 20 | 44.1 | 0.020621
LB12 | 81 | A | 10 | 33.5 | -0.012598 | -0.0013162 | -1212%
LB12 | 81 | B | 10 | 40.7 | 0.0099658
LB12 | 82 | A | 5 | 37.1 | -0.0013162 | -0.0041368 | -96.42%
LB12 | 82 | B | 5 | 35.3 | -0.0069573

## May 31, 2013
Cruise 2013-38 WCVI Ammonia Calculations
2013-05-31 | (Local) |  |  |  |  | Standards | Conc (fsu) | Conc (uM) | Raw Fluor
Start time of reaction |  |  | 9:15 | read start | 19:31 | Zero | 0 | 0 | 19.6
End time of reaction |  |  | 19:27 | read finish | 20:03 | Zero | 0 | 0 | 20
Sensitivity Factor |  |  | 25 |  |  | S1 | 200 | 0.5 | 223.9
S3 mid-range | [5 empty] | S1 | 200 | 0.5 | 198.2
[6 empty] | S2 | 400 | 1 | 373.1
Std water collected at LB15 at 250 m | [5 empty] | S2 | 400 | 1 | 390.6
Using WR Batch 1 prepared by JEB-C May 10, 2013 | [5 empty] | S3 | 600 | 1.5 | 571.1
Secondary standard by JBC, May10, 2012 | [5 empty] | S3 | 600 | 1.5 | 544.3
Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | %CV
LB14 | 101 | A | 20 | 46.6 | 0.060731 | 0.052185 | 23.16%
LB14 | 101 | B | 20 | 40.5 | 0.04364
LB14 | 102 | A | 10 | 43.4 | 0.051765 | 0.046862 | 14.8%
LB14 | 102 | B | 10 | 39.9 | 0.041959
LB14 | 103 | A | 5 | 37.7 | 0.035794 | 0.037896 | 7.842%
LB14 | 103 | B | 5 | 39.2 | 0.039997
LC11 | 128 | A | 20 | 81.1 | 0.1574 | 0.14955 | 7.419%
LC11 | 128 | B | 20 | 75.5 | 0.14171
LC11 | 129 | A | 10 | 44.6 | 0.055127 | 0.068016 | 26.8%
LC11 | 129 | B | 10 | 53.8 | 0.080905
LC11 | 130 | A | 5 | 53.2 | 0.079224 | 0.067316 | 25.02%
LC11 | 130 | B | 5 | 44.7 | 0.055408
LC09 | 145 | A | 20 | 34.3 | 0.026268 | 0.030891 | 21.17%
LC09 | 145 | B | 20 | 37.6 | 0.035514
LC09 | 146 | A | 10 | 35 | 0.028229 | 0.027762 | 47.81%
LC09 | 146 | B | 10 | 28.3 | 0.0094564
LC09 | 147 | A | 5 | 41.2 | 0.045601 | 0.02991 | 74.19%
LC09 | 147 | B | 5 | 30 | 0.01422
LC08 | 159 | A | 20 | 83.7 | 0.16468 | 0.16734 | 2.249%
LC08 | 159 | B | 20 | 85.6 | 0.17001
LC08 | 160 | A | 10 | 43.6 | 0.052326 | 0.04378 | 27.61%
LC08 | 160 | B | 10 | 37.5 | 0.035234
LC08 | 161 | A | 5 | 73.7 | 0.13666 | 0.12195 | 17.06%
LC08 | 161 | B | 5 | 63.2 | 0.10724

## June 1, 2013
Cruise 2013-38 WCVI Ammonia Calculations
2013-06-01 | (Local) |  |  |  |  | Standards | Conc (fsu) | Conc (uM) | Raw Fluor
Start time of reaction |  |  | 10:10 | read start | 20:25 | Zero | 0 | 0 | 23
End time of reaction |  |  | 20:25 | read finish | 20:58 | Zero | 0 | 0 | 22.5
Sensitivity Factor |  |  | 25 |  |  | S1 | 200 | 0.5 | 229.8
S3 mid-range | [5 empty] | S1 | 200 | 0.5 | 229.4
[6 empty] | S2 | 400 | 1 | 395.9
Std water collected at LB15 at 250 m | [5 empty] | S2 | 400 | 1 | 408.9
Using WR Batch 1 prepared by JEB-C May 10, 2013 | [5 empty] | S3 | 600 | 1.5 | 597.5
Secondary standard by JBC, May10, 2012 | [5 empty] | S3 | 600 | 1.5 | 602.4
Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | %CV
LC01 | 166 | A | 20 | -99 | -99 | -99 | -0%
LC01 | 166 | B | 20 | -99 | -99
LC01 | 167 | A | 10 | 97.1 | 0.18138 | 0.17534 | 4.87%
LC01 | 167 | B | 10 | 92.5 | 0.16931
LC01 | 168 | A | 5 | 50.7 | 0.059559 | 0.12585 | 74.49%
LC01 | 168 | B | 5 | 101.2 | 0.19215
LC02 | 173 | A | 20 | 294 | 0.69834 | 0.69939 | 0.2124%
LC02 | 173 | B | 20 | 294.8 | 0.70044
LC02 | 174 | A | 10 | 133.7 | 0.27748 | 0.31187 | 15.6%
LC02 | 174 | B | 10 | 159.9 | 0.34626
LC02 | 175 | A | 5 | 42.7 | 0.038555 | 0.039999 | 5.105%
LC02 | 175 | B | 5 | 43.8 | 0.041443
LC04 | 185 | A | 20 | 213.6 | 0.48725 | 0.49618 | 2.544%
LC04 | 185 | B | 20 | 220.4 | 0.50511
LC04 | 186 | A | 10 | 74.1 | 0.121 | 0.12905 | 14.24%
LC04 | 186 | B | 10 | 84 | 0.14699
LC04 | 187 | A | 5 | 73.4 | 0.11916 | 0.1185 | 0.7833%
LC04 | 187 | B | 5 | 72.9 | 0.11785
LC06 | 193 | A | 20 | 381.3 | 0.92755 | 0.91167 | 2.464%
LC06 | 193 | B | 20 | 369.2 | 0.89578
LC06 | 194 | A | 10 | 156.8 | 0.33812 | 0.34666 | 3.481%
LC06 | 194 | B | 10 | 163.3 | 0.35519
LC06 | 195 | A | 5 | 37.1 | 0.023853 | 0.022671 | 7.37%
LC06 | 195 | B | 5 | 36.2 | 0.02149

## June 2, 2013
Cruise 2013-38 WCVI Ammonia Calculations
2013-06-02 | (Local) |  |  |  |  | Standards | Conc (fsu) | Conc (uM) | Raw Fluor
Start time of reaction |  |  | 8:40 | read start | 20:32 | Zero | 0 | 0 | 14
End time of reaction |  |  | 19:25 | read finish | 20:48 | Zero | 0 | 0 | 13.8
Sensitivity Factor |  |  | 25 |  |  | S1 | 200 | 0.5 | 238.1
S3 mid-range | [5 empty] | S1 | 200 | 0.5 | 246
[6 empty] | S2 | 400 | 1 | 442.6
Std water collected at LB15 at 250 m | [5 empty] | S2 | 400 | 1 | 481.6
Using WR Batch 1 prepared by JEB-C May 10, 2013 | [5 empty] | S3 | 600 | 1.5 | 626.8
Secondary standard by JBC, May10, 2012 | [5 empty] | S3 | 600 | 1.5 | 610.8
Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | %CV
LD02 | 199 | A | 20 | 440.5 | 1.0112 | 0.99287 | 2.608%
LD02 | 199 | B | 20 | 425.6 | 0.97457
LD02 | 200 | A | 10 | 19 | -0.024573 | -0.019167 | -39.89%
LD02 | 200 | B | 10 | 23.4 | -0.013761
LD02 | 201 | A | 5 | 19.8 | -0.022607 | -0.024082 | -8.658%
LD02 | 201 | B | 5 | 18.6 | -0.025556
LG01 | 205 | A | 20 | 711.5 | 1.6771 | 1.6892 | 1.008%
LG01 | 205 | B | 20 | 721.3 | 1.7012
LG01 | 206 | A | 10 | 29.3 | 0.00073719 | 0.0030716 | 107.5%
LG01 | 206 | B | 10 | 31.2 | 0.0054061
LG01 | 207 | A | 5 | 18.4 | -0.026047 | -0.024082 | -11.54%
LG01 | 207 | B | 5 | 20 | -0.022116
LG02 | 213 | A | 20 | 269.6 | 0.59123 | 0.57738 | 0.1505%
LG02 | 213 | B | 20 | 270.1 | 0.59246
LG02 | 214 | A | 10 | 252.2 | 0.54847 | 0.53594 | 3.307%
LG02 | 214 | B | 10 | 242 | 0.52341
LG02 | 215 | A | 5 | 54 | 0.061433 | 0.071508 | 19.93%
LG02 | 215 | B | 5 | 62.2 | 0.081583
LG04 | 222 | A | 20 | 191.1 | 0.39833 | 0.38137 | 6.287%
LG04 | 222 | B | 20 | 177.3 | 0.36442
LG04 | 223 | A | 10 | 18.7 | -0.02531 | -0.024204 | -6.461%
LG04 | 223 | B | 10 | 19.6 | -0.023099
LG04 | 224 | A | 5 | 18.3 | -0.026293 | -0.05062 | -2.746%
LG04 | 224 | B | 5 | 19.1 | -0.024327
LG06 | 240 | A | 20 | 39.9 | 0.026785 | 0.039563 | 25.03%
LG06 | 240 | B | 20 | 34.2 | 0.012778
LG06 | 241 | A | 10 | 27 | -0.0049146 | 0.011304 | 132.2%
LG06 | 241 | B | 10 | 35.6 | 0.016218
LG06 | 242 | A | 5 | 33.4 | 0.010812 | 0.02875 | 17.53%
LG06 | 242 | B | 5 | 36.3 | 0.017938

## June 3, 2013
Cruise 2013-38 WCVI Ammonia Calculations
2013-06-03 | (Local) |  |  |  |  | Standards | Conc (fsu) | Conc (uM) | Raw Fluor
Start time of reaction |  |  | 9:35 | read start | 20:22 | Zero | 0 | 0 | 16.2
End time of reaction |  |  | 20:22 | read finish | 20:40 | Zero | 0 | 0 | 17.4
Sensitivity Factor |  |  | 25 |  |  | S1 | 200 | 0.5 | 224.6
S3 mid-range | [5 empty] | S1 | 200 | 0.5 | 208.5
[6 empty] | S2 | 400 | 1 | 387.7
Std water collected at LB15 at 250 m | [5 empty] | S2 | 400 | 1 | 432.1
Using WR Batch 1 prepared by JEB-C May 10, 2013 | [5 empty] | S3 | 600 | 1.5 | 594.9
Secondary standard by JBC, May10, 2012 | [5 empty] | S3 | 600 | 1.5 | 600.5
Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | %CV
LBP7 | 261 | A | 20 | 48.1 | 0.073009 | 0.075076 | 3.892%
LBP7 | 261 | B | 20 | 49.7 | 0.077142
LBP7 | 262 | A | 10 | 44.7 | 0.064229 | 0.069394 | 10.53%
LBP7 | 262 | B | 10 | 48.7 | 0.074559
LBP7 | 263 | A | 5 | 54.1 | 0.088505 | 0.10529 | 22.55%
LBP7 | 263 | B | 5 | 67.1 | 0.12208
LBP5 | 280 | A | 20 | 114.8 | 0.24527 | 0.22551 | 12.39%
LBP5 | 280 | B | 20 | 99.5 | 0.20575
LBP5 | 281 | A | 10 | 75.3 | 0.14326 | 0.1275 | 17.47%
LBP5 | 281 | B | 10 | 63.1 | 0.11175
LBP5 | 282 | A | 5 | 57.9 | 0.098319 | 0.10297 | 6.385%
LBP5 | 282 | B | 5 | 61.5 | 0.10762
LBP3 | 290 | A | 20 | 464.6 | 1.1487 | 1.151 | 0.2856%
LBP3 | 290 | B | 20 | 466.4 | 1.1533
LBP3 | 291 | A | 10 | 421.2 | 1.0366 | 1.0306 | 0.8151%
LBP3 | 291 | B | 10 | 416.6 | 1.0247
LBP3 | 292 | A | 5 | 412.6 | 1.0144 | 1.0198 | 0.7521%
LBP3 | 292 | B | 5 | 416.8 | 1.0252

## June 4¦5, 2013
Cruise 2013-38 WCVI Ammonia Calculations
June 4/5, 2013 |  | (Local) |  |  |  | Standards | Conc (fsu) | Conc (uM) | Raw Fluor
Start time of reaction |  |  | 20:20 | read start | 8:30 | Zero | 0 | 0 | 12.7
End time of reaction |  |  | 8:30 | read finish | 8:35 | Zero | 0 | 0 | 13.8
Sensitivity Factor |  |  | 25 |  |  | S1 | 200 | 0.5 | 212.7
S3 mid-range | [5 empty] | S1 | 200 | 0.5 | 201.3
[6 empty] | S2 | 400 | 1 | 402.4
Std water collected at LB15 at 250 m | [5 empty] | S2 | 400 | 1 | 394.5
Using WR Batch 1 prepared by JEB-C May 10, 2013 | [5 empty] | S3 | 600 | 1.5 | 636.3
Secondary standard by JBC, May10, 2012 | [5 empty] | S3 | 600 | 1.5 | 584.2
Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | %CV
CS00 | 310 | A | 20 | 59.3 | 0.12467 | 0.10462 | 27.1%
CS00 | 310 | B | 20 | 43.4 | 0.084567
CS00 | 311 | A | 10 | 48.5 | 0.09743 | 0.10588 | 11.29%
CS00 | 311 | B | 10 | 55.2 | 0.11433
CS00 | 312 | A | 5 | 57.2 | 0.11937 | 0.11887 | 0.6001%
CS00 | 312 | B | 5 | 56.8 | 0.11836
CS02 | 331 | A | 20 | 36 | 0.065903 | 0.065273 | 1.366%
CS02 | 331 | B | 20 | 35.5 | 0.064642
CS02 | 332 | A | 10 | 40.4 | 0.077001 | 0.072965 | 7.821%
CS02 | 332 | B | 10 | 37.2 | 0.06893
CS02 | 333 | A | 5 | 56.1 | 0.1166 | 0.11546 | 1.39%
CS02 | 333 | B | 5 | 55.2 | 0.11433
CS04 | 338 | A | 20 | 24.7 | 0.037403 | 0.035133 | 9.137%
CS04 | 338 | B | 20 | 22.9 | 0.032863
CS04 | 339 | A | 10 | 22.5 | 0.031855 | 0.030593 | 5.829%
CS04 | 339 | B | 10 | 21.5 | 0.029332
CS04 | 340 | A | 5 | 18.1 | 0.020757 | 0.025171 | 24.8%
CS04 | 340 | B | 5 | 21.6 | 0.029585
CS06 | 344 | A | 20 | 384.3 | 0.94436 | 0.9827 | 5.517%
CS06 | 344 | B | 20 | 414.7 | 1.021
CS06 | 345 | A | 10 | 54.6 | 0.11281 | 0.13905 | 26.68%
CS06 | 345 | B | 10 | 75.4 | 0.16528
CS06 | 346 | A | 5 | 21.6 | 0.029585 | 0.035007 | 21.91%
CS06 | 346 | B | 5 | 25.9 | 0.04043
CS09 | 356 | A | 20 | 868 | 2.1643 | 2.1027 | 4.148%
CS09 | 356 | B | 20 | 819.1 | 2.041
CS09 | 357 | A | 10 | 503.5 | 1.245 | 1.2474 | 0.2716%
CS09 | 357 | B | 10 | 505.4 | 1.2498
CS09 | 358 | A | 5 | 22.7 | 0.032359 | 0.029585 | 13.26%
CS09 | 358 | B | 5 | 20.5 | 0.02681

## All Data
Cruise | Event | Station | Sample | REP | DEPTH | Raw Fluor | Conc | Avg | %CV | Final | %CV | Comment
2013-38 | 2 | LB01 | 1 | A | Btm-10 | 164.2 | 0.397 | 0.40265 | 1.981% | 0.40265 | 1.981%
2013-38 | 2 | LB01 | 1 | B | Btm-10 | 167.8 | 0.40829
2013-38 | 2 | LB01 | 2 | A | 10 | 185.8 | 0.4647 | 0.39418 | 25.3% | 0.39418 | 25.3% | outlier by chauvenet
2013-38 | 2 | LB01 | 2 | B | 10 | 140.8 | 0.32367
2013-38 | 2 | LB01 | 3 | A | 5 | 123.5 | 0.26945 | 0.2519 | 9.853% | 0.2519 | 9.853%
2013-38 | 2 | LB01 | 3 | B | 5 | 112.3 | 0.23435
2013-38 | 5 | LB04 | 16 | A | 20 | 176.2 | 0.43461 | 0.43038 | 1.39% | 0.43038 | 1.39%
2013-38 | 5 | LB04 | 16 | B | 20 | 173.5 | 0.42615
2013-38 | 5 | LB04 | 17 | A | 10 | 121.7 | 0.26381 | 0.28606 | 11% | 0.28606 | 11%
2013-38 | 5 | LB04 | 17 | B | 10 | 135.9 | 0.30831
2013-38 | 5 | LB04 | 18 | A | 5 | 109.2 | 0.22464 | 0.23059 | 3.652% | 0.23059 | 3.652%
2013-38 | 5 | LB04 | 18 | B | 5 | 113 | 0.23655
2013-38 | 9 | LB06 | 26 | A | 20 | 401.1 | 1.1394 | 1.1454 | 0.7352% | 1.1454 | 0.7352%
2013-38 | 9 | LB06 | 26 | B | 20 | 404.9 | 1.1513
2013-38 | 9 | LB06 | 27 | A | 10 | 28.4 | -0.028581 | -0.028581 | -0% | 0 | 0%
2013-38 | 9 | LB06 | 27 | B | 10 | 28.4 | -0.028581
2013-38 | 9 | LB06 | 28 | A | 5 | 33.9 | -0.011345 | -0.02247 | -70.02% | 0 | 0%
2013-38 | 9 | LB06 | 28 | B | 5 | 26.8 | -0.033596
2013-38 | 21 | LB08 | 39 | A | 20 | 457.4 | 1.3159 | 1.274 | 4.644% | 1.274 | 4.644%
2013-38 | 21 | LB08 | 39 | B | 20 | 430.7 | 1.2322
2013-38 | 21 | LB08 | 40 | A | 10 | 132.1 | 0.29641 | 0.29249 | 1.894% | 0.29249 | 1.894%
2013-38 | 21 | LB08 | 40 | B | 10 | 129.6 | 0.28857
2013-38 | 21 | LB08 | 41 | A | 5 | 29.4 | -0.025447 | -0.026701 | -6.64% | 0 | 0%
2013-38 | 21 | LB08 | 41 | B | 5 | 28.6 | -0.027954
2013-38 | 27 | LB09 | 49 | A | 20 | 355.2 | 0.99558 | 1.0133 | 2.471% | 1.0133 | 2.471%
2013-38 | 27 | LB09 | 49 | B | 20 | 366.5 | 1.031
2013-38 | 27 | LB09 | 50 | A | 10 | 326.9 | 0.90689 | 0.90423 | 0.4166% | 0.90423 | 0.4166%
2013-38 | 27 | LB09 | 50 | B | 10 | 325.2 | 0.90156
2013-38 | 27 | LB09 | 51 | A | 5 | 28.8 | -0.027328 | -0.027014 | -1.641% | 0 | 0%
2013-38 | 27 | LB09 | 51 | B | 5 | 29 | -0.026701
2013-38 | 29 | LB11 | 63 | A | 20 | 113.8 | 0.23905 | 0.2331 | 3.613% | 0.2331 | 3.613%
2013-38 | 29 | LB11 | 63 | B | 20 | 110 | 0.22715
2013-38 | 29 | LB11 | 64 | A | 10 | 99.6 | 0.19455 | 0.19314 | 1.033% | 0.19314 | 1.033%
2013-38 | 29 | LB11 | 64 | B | 10 | 98.7 | 0.19173
2013-38 | 29 | LB11 | 65 | A | 5 | 100.4 | 0.19706 | 0.18578 | 8.588% | 0.18578 | 8.588%
2013-38 | 29 | LB11 | 65 | B | 5 | 93.2 | 0.1745
2013-38 | 31 | LB12 | 80 | A | 20 | 44.7 | 0.022501 | 0.021561 | 6.167% | 0.021561 | 6.167%
2013-38 | 31 | LB12 | 80 | B | 20 | 44.1 | 0.020621
2013-38 | 31 | LB12 | 81 | A | 10 | 33.5 | -0.012598 | -0.0013162 | -1212% | -0.0013162 | 0%
2013-38 | 31 | LB12 | 81 | B | 10 | 40.7 | 0.0099658
2013-38 | 31 | LB12 | 82 | A | 5 | 37.1 | -0.0013162 | -0.0041368 | -96.42% | -0.0041368 | 0%
2013-38 | 31 | LB12 | 82 | B | 5 | 35.3 | -0.0069573
2013-38 | 33 | LB14 | 101 | A | 20 | 46.6 | 0.060731 | 0.052185 | 23.16% | 0.052185 | 23.16%
2013-38 | 33 | LB14 | 101 | B | 20 | 40.5 | 0.04364
2013-38 | 33 | LB14 | 102 | A | 10 | 43.4 | 0.051765 | 0.046862 | 14.8% | 0.046862 | 14.8%
2013-38 | 33 | LB14 | 102 | B | 10 | 39.9 | 0.041959
2013-38 | 33 | LB14 | 103 | A | 5 | 37.7 | 0.035794 | 0.037896 | 7.842% | 0.037896 | 7.842%
2013-38 | 33 | LB14 | 103 | B | 5 | 39.2 | 0.039997
2013-38 | 39 | LC11 | 128 | A | 20 | 81.1 | 0.1574 | 0.14955 | 7.419% | 0.14955 | 7.419%
2013-38 | 39 | LC11 | 128 | B | 20 | 75.5 | 0.14171
2013-38 | 39 | LC11 | 129 | A | 10 | 44.6 | 0.055127 | 0.068016 | 26.8% | 0.068016 | 26.8%
2013-38 | 39 | LC11 | 129 | B | 10 | 53.8 | 0.080905
2013-38 | 39 | LC11 | 130 | A | 5 | 53.2 | 0.079224 | 0.067316 | 25.02% | 0.067316 | 25.02%
2013-38 | 39 | LC11 | 130 | B | 5 | 44.7 | 0.055408
2013-38 | 41 | LC09 | 145 | A | 20 | 34.3 | 0.026268 | 0.030891 | 21.17% | 0.030891 | 21.17%
2013-38 | 41 | LC09 | 145 | B | 20 | 37.6 | 0.035514
2013-38 | 41 | LC09 | 146 | A | 10 | 35 | 0.028229 | 0.027762 | 47.81% | 0.027762 | 47.81%
2013-38 | 41 | LC09 | 146 | B | 10 | 28.3 | 0.0094564
2013-38 | 41 | LC09 | 147 | A | 5 | 41.2 | 0.045601 | 0.02991 | 74.19% | 0.02991 | 74.19%
2013-38 | 41 | LC09 | 147 | B | 5 | 30 | 0.01422
2013-38 | 43 | LC08 | 159 | A | 20 | 83.7 | 0.16468 | 0.16734 | 2.249% | 0.16734 | 2.249%
2013-38 | 43 | LC08 | 159 | B | 20 | 85.6 | 0.17001
2013-38 | 43 | LC08 | 160 | A | 10 | 43.6 | 0.052326 | 0.04378 | 27.61% | 0.04378 | 27.61%
2013-38 | 43 | LC08 | 160 | B | 10 | 37.5 | 0.035234
2013-38 | 43 | LC08 | 161 | A | 5 | 73.7 | 0.13666 | 0.12195 | 17.06% | 0.12195 | 17.06%
2013-38 | 43 | LC08 | 161 | B | 5 | 63.2 | 0.10724
2013-38 | 47 | LC01 | 166 | A | 20 | -99 | -99 | -99 | -0% |  |  | Tube was empty
2013-38 | 47 | LC01 | 166 | B | 20 | -99 | -99 |  |  |  |  | Tube was empty
2013-38 | 47 | LC01 | 167 | A | 10 | 97.1 | 0.18138 | 0.17534 | 4.87% | 0.17534 | 4.87%
2013-38 | 47 | LC01 | 167 | B | 10 | 92.5 | 0.16931
2013-38 | 47 | LC01 | 168 | A | 5 | 50.7 | 0.059559 | 0.12585 | 74.49% | 0.12585 | 74.49% | outlier by chauvenet
2013-38 | 47 | LC01 | 168 | B | 5 | 101.2 | 0.19215
2013-38 | 48 | LC02 | 173 | A | 20 | 294 | 0.69834 | 0.69939 | 0.2124% | 0.69939 | 0.2124%
2013-38 | 48 | LC02 | 173 | B | 20 | 294.8 | 0.70044
2013-38 | 48 | LC02 | 174 | A | 10 | 133.7 | 0.27748 | 0.31187 | 15.6% | 0.31187 | 15.6%
2013-38 | 48 | LC02 | 174 | B | 10 | 159.9 | 0.34626
2013-38 | 48 | LC02 | 175 | A | 5 | 42.7 | 0.038555 | 0.039999 | 5.105% | 0.039999 | 5.105%
2013-38 | 48 | LC02 | 175 | B | 5 | 43.8 | 0.041443
2013-38 | 50 | LC04 | 185 | A | 20 | 213.6 | 0.48725 | 0.49618 | 2.544% | 0.49618 | 2.544%
2013-38 | 50 | LC04 | 185 | B | 20 | 220.4 | 0.50511
2013-38 | 50 | LC04 | 186 | A | 10 | 74.1 | 0.121 | 0.12905 | 14.24% | 0.12905 | 14.24%
2013-38 | 50 | LC04 | 186 | B | 10 | 84 | 0.14699
2013-38 | 50 | LC04 | 187 | A | 5 | 73.4 | 0.11916 | 0.1185 | 0.7833% | 0.1185 | 0.7833%
2013-38 | 50 | LC04 | 187 | B | 5 | 72.9 | 0.11785
2013-38 | 54 | LC06 | 193 | A | 20 | 381.3 | 0.92755 | 0.91167 | 2.464% | 0.91167 | 2.464%
2013-38 | 54 | LC06 | 193 | B | 20 | 369.2 | 0.89578
2013-38 | 54 | LC06 | 194 | A | 10 | 156.8 | 0.33812 | 0.34666 | 3.481% | 0.34666 | 3.481%
2013-38 | 54 | LC06 | 194 | B | 10 | 163.3 | 0.35519
2013-38 | 54 | LC06 | 195 | A | 5 | 37.1 | 0.023853 | 0.022671 | 7.37% | 0.022671 | 7.37%
2013-38 | 54 | LC06 | 195 | B | 5 | 36.2 | 0.02149
2013-38 | 68 | LD02 | 199 | A | 20 | 440.5 | 1.0112 | 0.99287 | 2.608% | 0.99287 | 2.608%
2013-38 | 68 | LD02 | 199 | B | 20 | 425.6 | 0.97457
2013-38 | 68 | LD02 | 200 | A | 10 | 19 | -0.024573 | -0.019167 | -39.89% | 0 | 0%
2013-38 | 68 | LD02 | 200 | B | 10 | 23.4 | -0.013761
2013-38 | 68 | LD02 | 201 | A | 5 | 19.8 | -0.022607 | -0.024082 | -8.658% | 0 | 0%
2013-38 | 68 | LD02 | 201 | B | 5 | 18.6 | -0.025556
2013-38 | 71 | LG01 | 205 | A | 20 | 711.5 | 1.6771 | 1.6892 | 1.008% | 1.6892 | 1.008%
2013-38 | 71 | LG01 | 205 | B | 20 | 721.3 | 1.7012
2013-38 | 71 | LG01 | 206 | A | 10 | 29.3 | 0.00073719 | 0.0030716 | 107.5% | 0.0030716 | 0%
2013-38 | 71 | LG01 | 206 | B | 10 | 31.2 | 0.0054061
2013-38 | 71 | LG01 | 207 | A | 5 | 18.4 | -0.026047 | -0.024082 | -11.54% | 0 | 0%
2013-38 | 71 | LG01 | 207 | B | 5 | 20 | -0.022116
2013-38 | 73 | LG02 | 213 | A | 20 | 269.6 | 0.59123 | 0.57738 | 0.1505% | 0.57738 | 0.1505%
2013-38 | 73 | LG02 | 213 | B | 20 | 270.1 | 0.59246
2013-38 | 73 | LG02 | 214 | A | 10 | 252.2 | 0.54847 | 0.53594 | 3.307% | 0.53594 | 3.307%
2013-38 | 73 | LG02 | 214 | B | 10 | 242 | 0.52341
2013-38 | 73 | LG02 | 215 | A | 5 | 54 | 0.061433 | 0.071508 | 19.93% | 0.071508 | 19.93%
2013-38 | 73 | LG02 | 215 | B | 5 | 62.2 | 0.081583
2013-38 | 76 | LG04 | 222 | A | 20 | 191.1 | 0.39833 | 0.38137 | 6.287% | 0.38137 | 6.287%
2013-38 | 76 | LG04 | 222 | B | 20 | 177.3 | 0.36442
2013-38 | 76 | LG04 | 223 | A | 10 | 18.7 | -0.02531 | -0.024204 | -6.461% | 0 | 0%
2013-38 | 76 | LG04 | 223 | B | 10 | 19.6 | -0.023099
2013-38 | 76 | LG04 | 224 | A | 5 | 18.3 | -0.026293 | -0.05062 | -2.746% | 0 | 0%
2013-38 | 76 | LG04 | 224 | B | 5 | 19.1 | -0.024327
2013-38 | 78 | LG06 | 240 | A | 20 | 39.9 | 0.026785 | 0.039563 | 25.03% | 0.039563 | 25.03%
2013-38 | 78 | LG06 | 240 | B | 20 | 34.2 | 0.012778
2013-38 | 78 | LG06 | 241 | A | 10 | 27 | -0.0049146 | 0.011304 | 132.2% | 0.011304 | 132.2%
2013-38 | 78 | LG06 | 241 | B | 10 | 35.6 | 0.016218
2013-38 | 78 | LG06 | 242 | A | 5 | 33.4 | 0.010812 | 0.02875 | 17.53% | 0.02875 | 17.53%
2013-38 | 78 | LG06 | 242 | B | 5 | 36.3 | 0.017938
2013-38 | 81 | LBP7 | 261 | A | 20 | 48.1 | 0.073009 | 0.075076 | 3.892% | 0.075076 | 3.892%
2013-38 | 81 | LBP7 | 261 | B | 20 | 49.7 | 0.077142
2013-38 | 81 | LBP7 | 262 | A | 10 | 44.7 | 0.064229 | 0.069394 | 10.53% | 0.069394 | 10.53%
2013-38 | 81 | LBP7 | 262 | B | 10 | 48.7 | 0.074559
2013-38 | 81 | LBP7 | 263 | A | 5 | 54.1 | 0.088505 | 0.10529 | 22.55% | 0.10529 | 22.55%
2013-38 | 81 | LBP7 | 263 | B | 5 | 67.1 | 0.12208
2013-38 | 84 | LBP5 | 280 | A | 20 | 114.8 | 0.24527 | 0.22551 | 12.39% | 0.22551 | 12.39%
2013-38 | 84 | LBP5 | 280 | B | 20 | 99.5 | 0.20575
2013-38 | 84 | LBP5 | 281 | A | 10 | 75.3 | 0.14326 | 0.1275 | 17.47% | 0.1275 | 17.47%
2013-38 | 84 | LBP5 | 281 | B | 10 | 63.1 | 0.11175
2013-38 | 84 | LBP5 | 282 | A | 5 | 57.9 | 0.098319 | 0.10297 | 6.385% | 0.10297 | 6.385%
2013-38 | 84 | LBP5 | 282 | B | 5 | 61.5 | 0.10762
2013-38 | 87 | LBP3 | 290 | A | 20 | 464.6 | 1.1487 | 1.151 | 0.2856% | 1.151 | 0.2856%
2013-38 | 87 | LBP3 | 290 | B | 20 | 466.4 | 1.1533
2013-38 | 87 | LBP3 | 291 | A | 10 | 421.2 | 1.0366 | 1.0306 | 0.8151% | 1.0306 | 0.8151%
2013-38 | 87 | LBP3 | 291 | B | 10 | 416.6 | 1.0247
2013-38 | 87 | LBP3 | 292 | A | 5 | 412.6 | 1.0144 | 1.0198 | 0.7521% | 1.0198 | 0.7521%
2013-38 | 87 | LBP3 | 292 | B | 5 | 416.8 | 1.0252
2013-38 | 100 | CS00 | 310 | A | 20 | 59.3 | 0.12467 | 0.10462 | 27.1% | 0.10462 | 27.1%
2013-38 | 100 | CS00 | 310 | B | 20 | 43.4 | 0.084567
2013-38 | 100 | CS00 | 311 | A | 10 | 48.5 | 0.09743 | 0.10588 | 11.29% | 0.10588 | 11.29%
2013-38 | 100 | CS00 | 311 | B | 10 | 55.2 | 0.11433
2013-38 | 100 | CS00 | 312 | A | 5 | 57.2 | 0.11937 | 0.11887 | 0.6001% | 0.11887 | 0.6001%
2013-38 | 100 | CS00 | 312 | B | 5 | 56.8 | 0.11836
2013-38 | 106 | CS02 | 331 | A | 20 | 36 | 0.065903 | 0.065273 | 1.366% | 0.065273 | 1.366%
2013-38 | 106 | CS02 | 331 | B | 20 | 35.5 | 0.064642
2013-38 | 106 | CS02 | 332 | A | 10 | 40.4 | 0.077001 | 0.072965 | 7.821% | 0.072965 | 7.821%
2013-38 | 106 | CS02 | 332 | B | 10 | 37.2 | 0.06893
2013-38 | 106 | CS02 | 333 | A | 5 | 56.1 | 0.1166 | 0.11546 | 1.39% | 0.11546 | 1.39%
2013-38 | 106 | CS02 | 333 | B | 5 | 55.2 | 0.11433
2013-38 | 109 | CS04 | 338 | A | 20 | 24.7 | 0.037403 | 0.035133 | 9.137% | 0.035133 | 9.137%
2013-38 | 109 | CS04 | 338 | B | 20 | 22.9 | 0.032863
2013-38 | 109 | CS04 | 339 | A | 10 | 22.5 | 0.031855 | 0.030593 | 5.829% | 0.030593 | 5.829%
2013-38 | 109 | CS04 | 339 | B | 10 | 21.5 | 0.029332
2013-38 | 109 | CS04 | 340 | A | 5 | 18.1 | 0.020757 | 0.025171 | 24.8% | 0.025171 | 24.8%
2013-38 | 109 | CS04 | 340 | B | 5 | 21.6 | 0.029585
2013-38 | 119 | CS06 | 344 | A | 20 | 384.3 | 0.94436 | 0.9827 | 5.517% | 0.9827 | 5.517%
2013-38 | 119 | CS06 | 344 | B | 20 | 414.7 | 1.021
2013-38 | 119 | CS06 | 345 | A | 10 | 54.6 | 0.11281 | 0.13905 | 26.68% | 0.13905 | 26.68%
2013-38 | 119 | CS06 | 345 | B | 10 | 75.4 | 0.16528
2013-38 | 119 | CS06 | 346 | A | 5 | 21.6 | 0.029585 | 0.035007 | 21.91% | 0.035007 | 21.91%
2013-38 | 119 | CS06 | 346 | B | 5 | 25.9 | 0.04043
2013-38 | 125 | CS09 | 356 | A | 20 | 868 | 2.1643 | 2.1027 | 4.148% | 2.1027 | 4.148% | outlier by chauvenet
2013-38 | 125 | CS09 | 356 | B | 20 | 819.1 | 2.041
2013-38 | 125 | CS09 | 357 | A | 10 | 503.5 | 1.245 | 1.2474 | 0.2716% | 1.2474 | 0.2716%
2013-38 | 125 | CS09 | 357 | B | 10 | 505.4 | 1.2498
2013-38 | 125 | CS09 | 358 | A | 5 | 22.7 | 0.032359 | 0.029585 | 13.26% | 0.029585 | 13.26%
2013-38 | 125 | CS09 | 358 | B | 5 | 20.5 | 0.02681
[11 empty] | 11.48% | mean %CV