## Notes
Analysis: | Melissa Hennekes, 23-JUL-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Tom Juhasz
Program: | Moorings for projects; La Perouse, Aquaculture, SARA, Effingham, Complimentary Measures, AMP2/Inside Passage
Cruise Dates: | 27 Jun 2013 to 10 Jul 2013
2013-10-08 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | 2013-07-23 09:54 | 24C | 0.99977 | 2.2391e-06 | 2.4021e-05 | 0.99979 |  |  | P 153 0.99979 Use by March 8, 2014
Calibration#2 |  | 2013-07-23 09:56 | 24C | 0.99979 | 2.7425e-06 | 2.0266e-06 | 0.99979
Cast 18 and 19 - Sample numbers overlap with those of the previous cast (Cast 15). Cast 15 sample IDs were renamed with a leading 9 in
front of their current id in order to maintain some reference to the original rosette log sheets. For example, #25 became #925.
Sample 37, Event 18 - The rosette log does not indicate that duplicate samples were to be collected from Niskin 13 (sample #37) but instead, individual samples from Niskin
13 and 14. Samples are noted as #37A and #37B on the analysis log so there is some evidence that they are in fact duplicate samples.
Error corrected. Disregard this note. Comment deleted. Sample 944, Event 15 - (Formerly #44) is not shown on the rosette log. Perhaps this sample was added later and not noted on the log sheet?
Sample 155, Event 27 - Were determined to be outliers by the Chauvenet criteria. They are surface samples collected in a area where the potential of stratification near the surface
is relatively high.
Sample 171, Event 28 - The rosette log shows that duplicate samples were to be collected from Niskin 15 (Sample 170) and not 16 (Sample 171).
Both Niskins were, however; closed at the surface therefore all three salinity values should theoretically be very similar. The analysis log and the output salinity data both show that
sample 171 was where the duplicate samples were collected so it is possible that the rosette log was marked incorrectly. In any event, duplication is poor but was not determined
to be outliers by the Chauvenet statistic. They are flagged, regardless.
2014-01-11 |  | KS, GG
Event 15 - After much research, it is believed that the salinity bottle sample numbers for station DC09 were all off by 1 so that bottle labels 25-44 should have been 24-43. They were also renamed as
924-943 in the spreadsheet because of the duplication of sample numbers. Missing sample # 944 (now 943) no longer exists because of this correction so the comment was removed
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2013-50 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater within 26-13 days after collection. For details including a duplicate analysis, see document QF2013-50SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-50 | 5 | QD014 | 1 | 33.2245
2013-50 | 5 | QD014 | 2 | 33.1616
2013-50 | 5 | QD014 | 3 | 33.0963
2013-50 | 5 | QD014 | 4 | 32.7349
2013-50 | 5 | QD014 | 5 | 32.5168
2013-50 | 5 | QD014 | 6 | 32.3336
2013-50 | 5 | QD014 | 7 | 32.0768
2013-50 | 5 | QD014 | 8 | 32.0537
2013-50 | 5 | QD014 | 9 | 31.9912
2013-50 | 5 | QD014 | 10 | 28.1557 | 6
2013-50 | 5 | QD014 | 11 | 28.1253
2013-50 | 6 | SC01 | 13 | 33.1202
2013-50 | 6 | SC01 | 24 | 26.9605 | 2 | SAL: Sample number was missing on the label but showed that the sample was to be collected from Niskin 13.
2013-50 | 15 | DC09 | 924 | 32.9759
2013-50 | 15 | DC09 | 925 | 32.9663
2013-50 | 15 | DC09 | 926 | 32.9311
2013-50 | 15 | DC09 | 927 | 32.9282
2013-50 | 15 | DC09 | 928 | 32.788
2013-50 | 15 | DC09 | 929 | 32.801
2013-50 | 15 | DC09 | 930 | 32.4099
2013-50 | 15 | DC09 | 931 | 32.3988
2013-50 | 15 | DC09 | 932 | 31.8876 | 6
2013-50 | 15 | DC09 | 933 | 31.8956
2013-50 | 15 | DC09 | 934 | 31.2886
2013-50 | 15 | DC09 | 935 | 31.2964
2013-50 | 15 | DC09 | 936 | 30.4811
2013-50 | 15 | DC09 | 937 | 30.4858
2013-50 | 15 | DC09 | 938 | 29.8817
2013-50 | 15 | DC09 | 939 | 29.8684
2013-50 | 15 | DC09 | 940 | 23.593
2013-50 | 15 | DC09 | 941 | 24.855
2013-50 | 15 | DC09 | 942 | 4.9229
2013-50 | 15 | DC09 | 943 | 4.464
2013-50 | 18 | KA04 | 37 | 10.2113 | 26 | SAL: Rosette log does not indicate that duplicate samples were to be collected from Niskin 13 (sample #37). See notes.
2013-50 | 19 | DC07 | 52 | 11.7123 | 6
2013-50 | 21 | FOC1 | 53 | 33.0352
2013-50 | 21 | FOC1 | 54 | 33.0432
2013-50 | 21 | FOC1 | 55 | 33.0174
2013-50 | 21 | FOC1 | 56 | 33.0251
2013-50 | 21 | FOC1 | 57 | 33.0102
2013-50 | 21 | FOC1 | 58 | 33.0116
2013-50 | 21 | FOC1 | 59 | 32.9863
2013-50 | 21 | FOC1 | 60 | 32.9814
2013-50 | 21 | FOC1 | 61 | 32.9432
2013-50 | 21 | FOC1 | 62 | 32.947
2013-50 | 21 | FOC1 | 63 | 32.6968
2013-50 | 21 | FOC1 | 64 | 32.7104
2013-50 | 21 | FOC1 | 65 | 32.3548
2013-50 | 21 | FOC1 | 66 | 32.3592
2013-50 | 21 | FOC1 | 67 | 31.9843
2013-50 | 21 | FOC1 | 68 | 31.9932
2013-50 | 21 | FOC1 | 69 | 31.4861
2013-50 | 21 | FOC1 | 70 | 31.4996
2013-50 | 21 | FOC1 | 71 | 31.0301
2013-50 | 21 | FOC1 | 72 | 30.5203
2013-50 | 21 | FOC1 | 73 | 27.4725
2013-50 | 21 | FOC1 | 74 | 27.6106
2013-50 | 21 | FOC1 | 75 | 14.9485
2013-50 | 21 | FOC1 | 76 | 15.0806 | 6
2013-50 | 24 | DC05 | 90 | 16.1796 | 6
2013-50 | 23 | DC04 | 102 | 19.8423 | 6
2013-50 | 25 | DC02 | 116 | 20.8799 | 6
2013-50 | 26 | DC01 | 131 | 29.346 | 6
2013-50 | 27 | SC02 | 132 | 33.192
2013-50 | 27 | SC02 | 133 | 33.1919
2013-50 | 27 | SC02 | 134 | 33.1626 | 3 | SAL: Questionable top seal or air vent.
2013-50 | 27 | SC02 | 135 | 33.1619
2013-50 | 27 | SC02 | 136 | 33.1186
2013-50 | 27 | SC02 | 137 | 33.1198
2013-50 | 27 | SC02 | 138 | -99 | 9 | SAL: Niskin bottle misfired.
2013-50 | 27 | SC02 | 139 | 33.0356
2013-50 | 27 | SC02 | 140 | 32.9295
2013-50 | 27 | SC02 | 141 | 32.9339
2013-50 | 27 | SC02 | 142 | 32.7517
2013-50 | 27 | SC02 | 143 | 32.7561
2013-50 | 27 | SC02 | 144 | 32.5541
2013-50 | 27 | SC02 | 145 | 32.5607
2013-50 | 27 | SC02 | 146 | 32.2045
2013-50 | 27 | SC02 | 147 | 32.2021
2013-50 | 27 | SC02 | 148 | 31.6209
2013-50 | 27 | SC02 | 149 | 31.6288
2013-50 | 27 | SC02 | 150 | 31.346
2013-50 | 27 | SC02 | 151 | 31.3293
2013-50 | 27 | SC02 | 152 | 29.889
2013-50 | 27 | SC02 | 153 | 29.8482
2013-50 | 27 | SC02 | 154 | 23.4736
2013-50 | 27 | SC02 | 155 | 23.4508 | 36 | SAL: Replicate outlier
2013-50 | 28 | HEC1 | 156 | 33.7045
2013-50 | 28 | HEC1 | 157 | 33.6994
2013-50 | 28 | HEC1 | 158 | 33.1348
2013-50 | 28 | HEC1 | 159 | 33.1293
2013-50 | 28 | HEC1 | 160 | 32.6183
2013-50 | 28 | HEC1 | 161 | 32.6196
2013-50 | 28 | HEC1 | 162 | 32.2796
2013-50 | 28 | HEC1 | 163 | 32.278
2013-50 | 28 | HEC1 | 164 | 31.8867
2013-50 | 28 | HEC1 | 165 | 31.8923
2013-50 | 28 | HEC1 | 166 | 31.789
2013-50 | 28 | HEC1 | 167 | 31.7889
2013-50 | 28 | HEC1 | 168 | 31.6408
2013-50 | 28 | HEC1 | 169 | 31.6384
2013-50 | 28 | HEC1 | 170 | 30.9325
2013-50 | 28 | HEC1 | 171 | 30.9061 | 36 | SAL: Rosette log shows that the duplicate samples were to be collected from Niskin 15 and not 16. Poor duplication. See notes
2013-50 | 30 | BP2 | 184 | 31.5653 | 6

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Mean Difference for salinity for the range 10.2094 to 31.8878 psu was 0.0079, k = 24 with 2 outlier(s) removed
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns H, I and J).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [14 empty] | Table 2. Critical values for Chauvenet statistic
Event | Station | Sample_ Number | SAL1 | SAL2 | SALAvg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | SAL1 Comment | SAL2 Comment | n | Chauvenet
5 | QD014 | 10 | 28.1555 | 28.1558 | 28.1557 | 0.00032245 | -0.00016122 | 0.00016122 |  | 5.1987e-08 | 2 |  |  |  | 3 | 1.37
15 | DC09 | 932 | 31.8878 | 31.8873 | 31.8876 | 0.00050409 | 0.00025205 | -0.00025205 |  | 1.2705e-07 | 2 |  |  |  | 4 | 1.53
18 | KA04 | 37 | 10.2094 | 10.2132 | 10.2113 | 0.0037482 | -0.0018741 | 0.0018741 |  | 7.0244e-06 | 2 |  |  |  | 5 | 1.64
19 | DC07 | 52 | 11.7139 | 11.7107 | 11.7123 | 0.0032149 | 0.0016075 | -0.0016075 |  | 5.1678e-06 | 2 |  |  |  | 6 | 1.73
21 | FOC1 | 76 | 15.0811 | 15.0801 | 15.0806 | 0.00095422 | 0.00047711 | -0.00047711 |  | 4.5527e-07 | 2 |  |  |  | 7 | 1.8
24 | DC05 | 90 | 16.1815 | 16.1778 | 16.1796 | 0.0036798 | 0.0018399 | -0.0018399 |  | 6.7706e-06 | 2 |  |  |  | 8 | 1.87
23 | DC04 | 102 | 19.8441 | 19.8405 | 19.8423 | 0.0036225 | 0.0018112 | -0.0018112 |  | 6.5612e-06 | 2 |  |  |  | 9 | 1.91
25 | DC02 | 116 | 20.8805 | 20.8793 | 20.8799 | 0.0012077 | 0.00060383 | -0.00060383 |  | 7.2921e-07 | 2 |  |  |  | 10 | 1.97
26 | DC01 | 131 | 29.3307 | 29.3613 | 29.346 | 0.030562 | -0.015281 | 0.015281 |  | 0.00046703 | 2 |  |  |  | 20 | 2.24
27 | SC02 | 155 | 23.4789 | 23.4227 | 23.4508 | 0.05621 | 0.028105 | -0.028105 |  | 0.0015798 | 2 | Y |  |  | 30 | 2.39
28 | HEC1 | 171 | 30.8871 | 30.925 | 30.9061 | 0.037856 | -0.018928 | 0.018928 |  | 0.00071653 | 2 |  |  |  | 50 | 2.57
30 | BP2 | 184 | 31.5658 | 31.5647 | 31.5653 | 0.0010898 | 0.00054488 | -0.00054488 |  | 5.9378e-07 | 2 |  |  |  | 80 | 2.74
[15 empty] | 100 | 2.81
[15 empty] | 150 | 2.93
[15 empty] | 200 | 3.02
[9 empty] | Sum of Squares | 0.0027909
[9 empty] | Count (k) |  | 24
[9 empty] | σ | 0.011016
[9 empty] | dmax/σ for n (Table 2) | 2.24
[9 empty] | Thus dmax = 2.24 x σ | 0.024675
[9 empty] | Mean Diff | 0.011914
[9 empty] | MIN | 10.2094
[9 empty] | MAX | 31.8878
2 Outlier(s) Removed
[9 empty] | Mean Diff = | 0.0078874
Table 3. Replicate Analysis for Samples Drawn from Duplicate Niskin Bottles
Event | Station | Sample_ Number | SAL1 | SAL2 | SALAvg | Diff | Std Dev
15 | DC09 | 925/926 | 32.9759 | 32.9663 | 32.9711 | 0.0096685 | 0.0068367
15 | DC09 | 927/928 | 32.9311 | 32.9282 | 32.9296 | 0.0029046 | 0.0020539
15 | DC09 | 929/930 | 32.788 | 32.801 | 32.7945 | 0.012995 | 0.0091891
15 | DC09 | 931/932 | 32.4099 | 32.3988 | 32.4043 | 0.011101 | 0.0078495
15 | DC09 | 933/934 | 31.8876 | 31.8956 | 31.8916 | 0.0080124 | 0.0056656
15 | DC09 | 935/936 | 31.2886 | 31.2964 | 31.2925 | 0.0078167 | 0.0055272
15 | DC09 | 937/938 | 30.4811 | 30.4858 | 30.4834 | 0.0046833 | 0.0033116
15 | DC09 | 939/940 | 29.8817 | 29.8684 | 29.8751 | 0.013237 | 0.0093598
15 | DC09 | 941/942 | 23.593 | 24.855 | 24.224 | 1.2621 | 0.89242
15 | DC09 | 943/944 | 4.9229 | 4.464 | 4.6934 | 0.45895 | 0.32453
21 | FOC1 | 53/54 | 33.0352 | 33.0432 | 33.0392 | 0.0080721 | 0.0057078
21 | FOC1 | 55/56 | 33.0174 | 33.0251 | 33.0213 | 0.0076622 | 0.005418
21 | FOC1 | 57/58 | 33.0102 | 33.0116 | 33.0109 | 0.0014017 | 0.00099117
21 | FOC1 | 59/60 | 32.9863 | 32.9814 | 32.9839 | 0.0049322 | 0.0034876
21 | FOC1 | 61/62 | 32.9432 | 32.947 | 32.9451 | 0.0037647 | 0.002662
21 | FOC1 | 63/64 | 32.6968 | 32.7104 | 32.7036 | 0.013538 | 0.0095725
21 | FOC1 | 65/66 | 32.3548 | 32.3592 | 32.357 | 0.0043731 | 0.0030922
21 | FOC1 | 67/68 | 31.9843 | 31.9932 | 31.9888 | 0.0088698 | 0.0062719
21 | FOC1 | 69/70 | 31.4861 | 31.4996 | 31.4929 | 0.013511 | 0.0095538
21 | FOC1 | 71/72 | 31.0301 | 30.5203 | 30.7752 | 0.50986 | 0.36052
21 | FOC1 | 73/74 | 27.4725 | 27.6106 | 27.5415 | 0.13809 | 0.097648
21 | FOC1 | 75/76 | 14.9485 | 15.0806 | 15.0146 | 0.13205 | 0.093375
27 | SC02 | 132/133 | 33.192 | 33.1919 | 33.192 | 9.7716e-05 | 6.9095e-05
27 | SC02 | 134/135 | 33.1626 | 33.1619 | 33.1623 | 0.0007002 | 0.00049512
27 | SC02 | 136/137 | 33.1186 | 33.1198 | 33.1192 | 0.0012466 | 0.00088149
27 | SC02 | 140/141 | 32.9295 | 32.9339 | 32.9317 | 0.0044685 | 0.0031597
27 | SC02 | 142/143 | 32.7517 | 32.7561 | 32.7539 | 0.0043278 | 0.0030602
27 | SC02 | 144/145 | 32.5541 | 32.5607 | 32.5574 | 0.0065322 | 0.0046189
27 | SC02 | 146/147 | 32.2045 | 32.2021 | 32.2033 | 0.0024501 | 0.0017325
27 | SC02 | 148/149 | 31.6209 | 31.6288 | 31.6248 | 0.0078845 | 0.0055752
27 | SC02 | 150/151 | 31.346 | 31.3293 | 31.3376 | 0.016635 | 0.011763
27 | SC02 | 152/153 | 29.889 | 29.8482 | 29.8686 | 0.040799 | 0.028849
27 | SC02 | 154/155 | 23.4736 | 23.4508 | 23.4622 | 0.022804 | 0.016125
28 | HEC1 | 156/157 | 33.7045 | 33.6994 | 33.7019 | 0.0051049 | 0.0036097
28 | HEC1 | 158/159 | 33.1348 | 33.1293 | 33.1321 | 0.0055775 | 0.0039439
28 | HEC1 | 160/161 | 32.6183 | 32.6196 | 32.619 | 0.0012669 | 0.00089583
28 | HEC1 | 162/163 | 32.2796 | 32.278 | 32.2788 | 0.0015521 | 0.0010975
28 | HEC1 | 164/165 | 31.8867 | 31.8923 | 31.8895 | 0.0056237 | 0.0039765
28 | HEC1 | 166/167 | 31.789 | 31.7889 | 31.789 | 0.00011556 | 8.1715e-05
28 | HEC1 | 168/169 | 31.6408 | 31.6384 | 31.6396 | 0.0023651 | 0.0016723
28 | HEC1 | 170/171 | 30.9325 | 30.9061 | 30.9193 | 0.026402 | 0.018669
Mean | [5 empty] | 0.068135 | 0.048178
Count | [5 empty] | 41 | 41
MIN | [5 empty] | 4.464
MAX | [5 empty] | 33.7045

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found on OSDShare Network Drive: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath T (° C) | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-50#52 | 5 | QD014 | 1 | 2013-07-23 13:26 | 24C | 0.95471 | 4.9489e-06 | 2.0266e-06 | 0.95471 | 33.2245 | 0.0001907 | #VALUE!
2013-50#51 | 5 | QD014 | 2 | 2013-07-23 13:24 | 24C | 0.95309 | 5.7966e-06 | 2.0266e-06 | 0.9531 | 33.1616 | 0.00022625 | #VALUE!
2013-50#50 | 5 | QD014 | 3 | 2013-07-23 13:22 | 24C | 0.95142 | 2.4912e-06 | 2.0266e-06 | 0.95142 | 33.0963 | 9.6864e-05 | #VALUE!
2013-50#49 | 5 | QD014 | 4 | 2013-07-23 13:20 | 24C | 0.94215 | 2.4909e-06 | 2.0266e-06 | 0.94215 | 32.7349 | 9.68e-05 | #VALUE!
2013-50#48 | 5 | QD014 | 5 | 2013-07-23 13:18 | 24C | 0.93655 | 4.189e-06 | 2.0266e-06 | 0.93655 | 32.5168 | 0.0001621 | #VALUE!
2013-50#47 | 5 | QD014 | 6 | 2013-07-23 13:16 | 24C | 0.93184 | 3.541e-06 | 1.967e-06 | 0.93184 | 32.3336 | 0.00013757 | #VALUE!
2013-50#46 | 5 | QD014 | 7 | 2013-07-23 13:14 | 24C | 0.92523 | 5.9414e-06 | 1.967e-06 | 0.92523 | 32.0768 | 0.00023228 | #VALUE!
2013-50#45 | 5 | QD014 | 8 | 2013-07-23 13:12 | 24C | 0.92463 | 3.4658e-06 | 2.0266e-06 | 0.92463 | 32.0537 | 0.00013271 | #VALUE!
2013-50#60 | 5 | QD014 | 9 | 2013-07-23 13:49 | 24C | 0.92302 | 2.2401e-06 | 2.0862e-06 | 0.92302 | 31.9912 | 8.5339e-05 | #VALUE!
2013-50#58 | 5 | QD014 | 10 | 2013-07-23 13:44 | 24C | 0.82328 | 3.131e-06 | 2.0862e-06 | 0.82328 | 28.1555 | 0.00012008 | #VALUE!
2013-50#59 | 5 | QD014 | 10 | 2013-07-23 13:47 | 24C | 0.82329 | 2.4912e-06 | 1.967e-06 | 0.82329 | 28.1559 | 9.4364e-05 | #VALUE!
2013-50#57 | 5 | QD014 | 11 | 2013-07-23 13:39 | 24C | 0.82249 | 1.4046e-06 | 2.0266e-06 | 0.82249 | 28.1253 | 5.2783e-05 | #VALUE!
2013-50#56 | 6 | SC01 | 13 | 2013-07-23 13:36 | 24C | 0.95203 | 4.3339e-06 | 2.0266e-06 | 0.95203 | 33.1202 | 0.00016916 | #VALUE!
2013-50#55 | 6 | SC01 | 24 | 2013-07-23 13:34 | 24C | 0.79182 | 2.8792e-06 | 2.0266e-06 | 0.79182 | 26.9605 | 0.000109 | #VALUE! | 2 | SAL: Sample number was missing on the label but showed that the sample was to be collected from Niskin 13.
2013-50#54 | 15 | DC09 | 924 | 2013-07-23 13:32 | 24C | 0.94833 | 3.4658e-06 | 2.0266e-06 | 0.94834 | 32.9759 | 0.00013597 | #VALUE!
2013-50#53 | 15 | DC09 | 925 | 2013-07-23 13:29 | 24C | 0.94809 | 2.8901e-06 | 2.0862e-06 | 0.94809 | 32.9663 | 0.00011251 | #VALUE!
2013-50#68 | 15 | DC09 | 926 | 2013-07-23 14:07 | 24C | 0.94718 | 3.8505e-06 | 2.0266e-06 | 0.94719 | 32.9311 | 0.00015158 | #VALUE!
2013-50#67 | 15 | DC09 | 927 | 2013-07-23 14:04 | 24C | 0.94711 | 2.2391e-06 | 2.0266e-06 | 0.94711 | 32.9282 | 8.7082e-05 | #VALUE!
2013-50#66 | 15 | DC09 | 928 | 2013-07-23 14:02 | 24C | 0.94351 | 3.4658e-06 | 1.967e-06 | 0.94351 | 32.788 | 0.00013276 | #VALUE!
2013-50#65 | 15 | DC09 | 929 | 2013-07-23 14:00 | 24C | 0.94385 | 2.8795e-06 | 2.0862e-06 | 0.94385 | 32.801 | 0.00011317 | #VALUE!
2013-50#64 | 15 | DC09 | 930 | 2013-07-23 13:58 | 24C | 0.9338 | 3.5971e-06 | 1.967e-06 | 0.9338 | 32.4099 | 0.00014324 | #VALUE!
2013-50#63 | 15 | DC09 | 931 | 2013-07-23 13:56 | 24C | 0.93351 | 4.1892e-06 | 2.0862e-06 | 0.93351 | 32.3988 | 0.00016395 | #VALUE!
2013-50#61 | 15 | DC09 | 932 | 2013-07-23 13:52 | 24C | 0.92036 | 5.6943e-06 | 1.967e-06 | 0.92036 | 31.8878 | 0.00022078 | #VALUE!
2013-50#62 | 15 | DC09 | 932 | 2013-07-23 13:54 | 24C | 0.92034 | 5.0935e-06 | 2.0266e-06 | 0.92035 | 31.8873 | 0.00019763 | #VALUE!
2013-50#92 | 15 | DC09 | 933 | 2013-07-23 15:23 | 24C | 0.92056 | 5.808e-06 | 2.0862e-06 | 0.92056 | 31.8956 | 0.00022619 | #VALUE!
2013-50#93 | 15 | DC09 | 934 | 2013-07-23 15:25 | 24C | 0.90489 | 4.4783e-06 | 2.0266e-06 | 0.90489 | 31.2886 | 0.00017327 | #VALUE!
2013-50#94 | 15 | DC09 | 935 | 2013-07-23 15:28 | 24C | 0.90509 | 4.6036e-06 | 2.0266e-06 | 0.90509 | 31.2964 | 0.00017886 | #VALUE!
2013-50#95 | 15 | DC09 | 936 | 2013-07-23 15:30 | 24C | 0.88397 | 3.61e-06 | 1.967e-06 | 0.88398 | 30.4811 | 0.00013945 | #VALUE!
2013-50#96 | 15 | DC09 | 937 | 2013-07-23 15:32 | 24C | 0.8841 | 4.3339e-06 | 2.0266e-06 | 0.8841 | 30.4858 | 0.0001684 | #VALUE!
2013-50#97 | 15 | DC09 | 938 | 2013-07-23 15:34 | 24C | 0.8684 | 2.7426e-06 | 2.0862e-06 | 0.8684 | 29.8817 | 0.00010552 | #VALUE!
2013-50#98 | 15 | DC09 | 939 | 2013-07-23 15:36 | 24C | 0.86805 | 2.7425e-06 | 2.0266e-06 | 0.86805 | 29.8684 | 0.00010552 | #VALUE!
2013-50#99 | 15 | DC09 | 940 | 2013-07-23 15:38 | 24C | 0.70211 | 2.4909e-06 | 2.0266e-06 | 0.70211 | 23.593 | 9.2563e-05 | #VALUE!
2013-50#100 | 15 | DC09 | 941 | 2013-07-23 15:40 | 24C | 0.73591 | 3.6104e-06 | 2.1458e-06 | 0.73592 | 24.855 | 0.00013473 | #VALUE!
2013-50#101 | 15 | DC09 | 942 | 2013-07-23 15:42 | 24C | 0.16631 | 2.8871e-06 | 2.0266e-06 | 0.16631 | 4.9229 | 9.1752e-05 | #VALUE!
2013-50#102 | 15 | DC09 | 943 | 2013-07-23 15:44 | 24C | 0.15181 | 1.7675e-06 | 2.0266e-06 | 0.15181 | 4.464 | 5.5634e-05 | #VALUE!
2013-50#103 | 18 | KA04 | 37 | 2013-07-23 15:46 | 24C | 0.32683 | 5.1851e-06 | 2.0266e-06 | 0.32683 | 10.2094 | 0.00017606 | #VALUE! | 2 | SAL: Rosette log does not indicate that duplicate samples were to be collected from Niskin 13 (sample #37). See notes.
2013-50#104 | 18 | KA04 | 37 | 2013-07-23 15:49 | 24C | 0.32694 | 2.4908e-06 | 1.9968e-06 | 0.32694 | 10.2132 | 8.4401e-05 | #VALUE! | 2 | SAL: Rosette log does not indicate that duplicate samples were to be collected from Niskin 13 (sample #37). See notes.
2013-50#105 | 19 | DC07 | 52 | 2013-07-23 15:51 | 24C | 0.37087 | 2.4907e-06 | 2.0266e-06 | 0.37087 | 11.7139 | 8.5661e-05 | #VALUE!
2013-50#106 | 19 | DC07 | 52 | 2013-07-23 15:53 | 24C | 0.37078 | 2.4826e-06 | 2.0266e-06 | 0.37078 | 11.7107 | 8.5872e-05 | #VALUE!
2013-50#107 | 21 | FOC1 | 53 | 2013-07-23 15:55 | 24C | 0.94985 | 3.8487e-06 | 2.0862e-06 | 0.94985 | 33.0352 | 0.00015112 | #VALUE!
2013-50#108 | 21 | FOC1 | 54 | 2013-07-23 15:58 | 24C | 0.95006 | 3.8648e-06 | 1.967e-06 | 0.95006 | 33.0432 | 0.00014883 | #VALUE!
2013-50#109 | 21 | FOC1 | 55 | 2013-07-23 15:59 | 24C | 0.9494 | 3.4659e-06 | 2.0266e-06 | 0.9494 | 33.0174 | 0.0001347 | #VALUE!
2013-50#110 | 21 | FOC1 | 56 | 2013-07-23 16:01 | 24C | 0.94959 | 3.8542e-06 | 2.0266e-06 | 0.9496 | 33.0251 | 0.00015017 | #VALUE!
2013-50#111 | 21 | FOC1 | 57 | 2013-07-23 16:03 | 24C | 0.94921 | 4.1137e-06 | 2.0266e-06 | 0.94921 | 33.0102 | 0.00015985 | #VALUE!
2013-50#112 | 21 | FOC1 | 58 | 2013-07-23 16:05 | 24C | 0.94925 | 3.6239e-06 | 1.9073e-06 | 0.94925 | 33.0116 | 0.00014261 | #VALUE!
2013-50#113 | 21 | FOC1 | 59 | 2013-07-23 16:07 | 24C | 0.9486 | 2.2394e-06 | 2.1458e-06 | 0.9486 | 32.9863 | 8.6227e-05 | #VALUE!
2013-50#114 | 21 | FOC1 | 60 | 2013-07-23 16:09 | 24C | 0.94847 | 5.3588e-06 | 2.0266e-06 | 0.94848 | 32.9814 | 0.00021002 | #VALUE!
2013-50#115 | 21 | FOC1 | 61 | 2013-07-23 16:12 | 24C | 0.94749 | 3.5306e-06 | 2.0266e-06 | 0.9475 | 32.9432 | 0.00013757 | #VALUE!
2013-50#37 | 21 | FOC1 | 62 | 2013-07-23 11:55 | 24C | 0.94759 | 1.3713e-06 | 2.0266e-06 | 0.94759 | 32.947 | 5.3286e-05 | #VALUE!
2013-50#38 | 21 | FOC1 | 63 | 2013-07-23 11:58 | 24C | 0.94117 | 3.1309e-06 | 1.967e-06 | 0.94117 | 32.6968 | 0.00012103 | #VALUE!
2013-50#39 | 21 | FOC1 | 64 | 2013-07-23 12:00 | 24C | 0.94152 | 4.8064e-06 | 2.0266e-06 | 0.94152 | 32.7103 | 0.00018735 | #VALUE!
2013-50#40 | 21 | FOC1 | 65 | 2013-07-23 13:00 | 24C | 0.93238 | 2.2391e-06 | 2.0266e-06 | 0.93238 | 32.3548 | 8.7082e-05 | #VALUE!
2013-50#41 | 21 | FOC1 | 66 | 2013-07-23 13:02 | 24C | 0.93249 | 4.0101e-06 | 2.0266e-06 | 0.9325 | 32.3592 | 0.00015567 | #VALUE!
2013-50#42 | 21 | FOC1 | 67 | 2013-07-23 13:04 | 24C | 0.92285 | 2.2394e-06 | 2.0266e-06 | 0.92285 | 31.9843 | 8.6581e-05 | #VALUE! |  | Corrected sample number that was inputted incorrectly during analysis.
2013-50#43 | 21 | FOC1 | 68 | 2013-07-23 13:06 | 24C | 0.92307 | 3.1418e-06 | 2.0266e-06 | 0.92308 | 31.9932 | 0.0001236 | #VALUE!
2013-50#44 | 21 | FOC1 | 69 | 2013-07-23 13:09 | 24C | 0.90999 | 1.793e-06 | 2.1458e-06 | 0.90999 | 31.4861 | 6.8447e-05 | #VALUE!
2013-50#29 | 21 | FOC1 | 70 | 2013-07-23 11:35 | 24C | 0.91034 | 3.4498e-06 | 2.0266e-06 | 0.91034 | 31.4996 | 0.00013231 | #VALUE!
2013-50#30 | 21 | FOC1 | 71 | 2013-07-23 11:37 | 24C | 0.8982 | 4.9011e-06 | 2.0266e-06 | 0.89821 | 31.0301 | 0.00019018 | #VALUE! |  | Corrected sample number that was inputted incorrectly during analysis.
2013-50#31 | 21 | FOC1 | 72 | 2013-07-23 11:41 | 24C | 0.88499 | 0.013693 | 2.0266e-06 | 0.88499 | 30.5222 | 0.52679 | #VALUE!
2013-50#32 | 21 | FOC1 | 73 | 2013-07-23 11:43 | 24C | 0.80532 | 3.4657e-06 | 1.967e-06 | 0.80532 | 27.4725 | 0.00013035 | #VALUE!
2013-50#33 | 21 | FOC1 | 74 | 2013-07-23 11:46 | 24C | 0.80896 | 4.1892e-06 | 1.9073e-06 | 0.80896 | 27.6106 | 0.00016004 | #VALUE!
2013-50#34 | 21 | FOC1 | 75 | 2013-07-23 11:48 | 24C | 0.46372 | 2.7423e-06 | 2.0564e-06 | 0.46372 | 14.9485 | 9.7157e-05 | #VALUE!
2013-50#35 | 21 | FOC1 | 76 | 2013-07-23 11:51 | 24C | 0.46748 | 3.4657e-06 | 2.0564e-06 | 0.46748 | 15.0811 | 0.00012147 | #VALUE!
2013-50#36 | 21 | FOC1 | 76 | 2013-07-23 11:53 | 24C | 0.46745 | 2.2392e-06 | 1.9968e-06 | 0.46745 | 15.0801 | 7.8902e-05 | #VALUE!
2013-50#27 | 24 | DC05 | 90 | 2013-07-23 11:31 | 24C | 0.49853 | 2.8897e-06 | 1.9968e-06 | 0.49853 | 16.1815 | 0.00010315 | #VALUE!
2013-50#28 | 24 | DC05 | 90 | 2013-07-23 11:33 | 24C | 0.49842 | 2.4907e-06 | 2.0266e-06 | 0.49843 | 16.1778 | 8.867e-05 | #VALUE!
2013-50#23 | 23 | DC04 | 102 | 2013-07-23 11:20 | 24C | 0.60027 | 9.2952e-06 | 2.0266e-06 | 0.60027 | 19.8441 | 0.00033814 | #VALUE!
2013-50#24 | 23 | DC04 | 102 | 2013-07-23 11:23 | 24C | 0.60017 | 2.4909e-06 | 2.0266e-06 | 0.60017 | 19.8405 | 9.2999e-05 | #VALUE!
2013-50#25 | 25 | DC02 | 116 | 2013-07-23 11:26 | 24C | 0.62864 | 1.3713e-06 | 2.0266e-06 | 0.62864 | 20.8805 | 5.0147e-05 | #VALUE!
2013-50#26 | 25 | DC02 | 116 | 2013-07-23 11:28 | 24C | 0.62861 | 9.853e-06 | 2.0862e-06 | 0.62861 | 20.8793 | 0.00036127 | #VALUE!
2013-50#69 | 26 | DC01 | 131 | 2013-07-23 14:09 | 24C | 0.85404 | 3.4551e-06 | 2.0266e-06 | 0.85404 | 29.3307 | 0.00013269 | #VALUE!
2013-50#70 | 26 | DC01 | 131 | 2013-07-23 14:12 | 24C | 0.85484 | 2.7262e-06 | 2.0266e-06 | 0.85484 | 29.3613 | 0.00010343 | #VALUE!
2013-50#71 | 27 | SC02 | 132 | 2013-07-23 14:14 | 24C | 0.95387 | 5.1609e-06 | 2.1458e-06 | 0.95388 | 33.192 | 0.00020121 | #VALUE!
2013-50#72 | 27 | SC02 | 133 | 2013-07-23 14:16 | 24C | 0.95387 | 2.7425e-06 | 2.0266e-06 | 0.95387 | 33.1919 | 0.00010761 | #VALUE!
2013-50#73 | 27 | SC02 | 134 | 2013-07-23 14:18 | 24C | 0.95312 | 4.0096e-06 | 1.9073e-06 | 0.95312 | 33.1626 | 0.00015721 | #VALUE! | 3 | SAL: Questionable top seal or air vent.
2013-50#74 | 27 | SC02 | 135 | 2013-07-23 14:20 | 24C | 0.9531 | 3.1145e-06 | 1.967e-06 | 0.9531 | 33.1619 | 0.00012207 | #VALUE!
2013-50#75 | 27 | SC02 | 136 | 2013-07-23 14:22 | 24C | 0.95199 | 5.0802e-06 | 2.0266e-06 | 0.95199 | 33.1186 | 0.00019801 | #VALUE!
2013-50#76 | 27 | SC02 | 137 | 2013-07-23 14:24 | 24C | 0.95202 | 5.6352e-06 | 1.9073e-06 | 0.95202 | 33.1198 | 0.00021988 | #VALUE!
| 27 | SC02 | 138 | [8 empty] | -99 | 9 | SAL: Niskin bottle misfired.
2013-50#77 | 27 | SC02 | 139 | 2013-07-23 14:26 | 24C | 0.94986 | 2.7425e-06 | 2.0266e-06 | 0.94986 | 33.0356 | 0.00010447 | #VALUE!
2013-50#78 | 27 | SC02 | 140 | 2013-07-23 14:29 | 24C | 0.94714 | 4.6355e-06 | 1.967e-06 | 0.94714 | 32.9295 | 0.000181 | #VALUE!
2013-50#79 | 27 | SC02 | 141 | 2013-07-23 14:32 | 24C | 0.94726 | 2.4918e-06 | 2.0266e-06 | 0.94726 | 32.9339 | 9.68e-05 | #VALUE!
2013-50#80 | 27 | SC02 | 142 | 2013-07-23 14:34 | 24C | 0.94258 | 4.3336e-06 | 2.0266e-06 | 0.94258 | 32.7517 | 0.00016751 | #VALUE!
2013-50#81 | 27 | SC02 | 143 | 2013-07-23 14:36 | 24C | 0.94269 | 4.5983e-06 | 2.0266e-06 | 0.94269 | 32.7561 | 0.00017871 | #VALUE!
2013-50#82 | 27 | SC02 | 144 | 2013-07-23 14:38 | 24C | 0.93751 | 2.7425e-06 | 2.1458e-06 | 0.93751 | 32.5541 | 0.00010761 | #VALUE!
2013-50#83 | 27 | SC02 | 145 | 2013-07-23 14:41 | 24C | 0.93767 | 3.8622e-06 | 2.0266e-06 | 0.93768 | 32.5607 | 0.00015111 | #VALUE!
2013-50#84 | 27 | SC02 | 146 | 2013-07-23 14:42 | 24C | 0.92852 | 4.2256e-06 | 2.0266e-06 | 0.92852 | 32.2045 | 0.00016487 | #VALUE!
2013-50#85 | 27 | SC02 | 147 | 2013-07-23 14:45 | 24C | 0.92845 | 2.4918e-06 | 2.1458e-06 | 0.92845 | 32.2021 | 9.5813e-05 | #VALUE!
2013-50#86 | 27 | SC02 | 148 | 2013-07-23 14:47 | 24C | 0.91347 | 3.6098e-06 | 2.0266e-06 | 0.91348 | 31.6209 | 0.00013994 | #VALUE!
2013-50#87 | 27 | SC02 | 149 | 2013-07-23 14:49 | 24C | 0.91368 | 3.4659e-06 | 2.0266e-06 | 0.91368 | 31.6288 | 0.00013467 | #VALUE!
2013-50#88 | 27 | SC02 | 150 | 2013-07-23 14:52 | 24C | 0.90637 | 2.4908e-06 | 2.0266e-06 | 0.90637 | 31.346 | 9.6371e-05 | #VALUE!
2013-50#89 | 27 | SC02 | 151 | 2013-07-23 14:55 | 24C | 0.90594 | 2.7426e-06 | 2.0862e-06 | 0.90594 | 31.3293 | 0.00010656 | #VALUE!
2013-50#90 | 27 | SC02 | 152 | 2013-07-23 14:57 | 24C | 0.86859 | 3.611e-06 | 1.967e-06 | 0.86859 | 29.889 | 0.00014095 | #VALUE!
2013-50#91 | 27 | SC02 | 153 | 2013-07-23 14:59 | 24C | 0.86753 | 3.9739e-06 | 2.1458e-06 | 0.86753 | 29.8482 | 0.00015397 | #VALUE!
2013-50#1 | 27 | SC02 | 154 | 2013-07-23 09:58 | 24C | 0.6989 | 8.6552e-06 | 2.0266e-06 | 0.6989 | 23.4736 | 0.00032202 | #VALUE!
2013-50#2 | 27 | SC02 | 155 | 2013-07-23 10:03 | 24C | 0.69904 | 1.4928e-06 | 2.0862e-06 | 0.69904 | 23.4789 | 5.6015e-05 | #VALUE! | 3 | SAL: Replicate outlier
2013-50#3 | 27 | SC02 | 155 | 2013-07-23 10:30 | 24C | 0.69753 | 2.7102e-06 | 1.9073e-06 | 0.69753 | 23.4227 | 9.9246e-05 | #VALUE! | 3 | SAL: Replicate outlier
2013-50#4 | 28 | HEC1 | 156 | 2013-07-23 10:33 | 24C | 0.96699 | 2.4911e-06 | 1.967e-06 | 0.96699 | 33.7045 | 9.6822e-05 | #VALUE!
2013-50#5 | 28 | HEC1 | 157 | 2013-07-23 10:35 | 24C | 0.96685 | 2.2391e-06 | 2.0266e-06 | 0.96686 | 33.6994 | 8.7009e-05 | #VALUE!
2013-50#6 | 28 | HEC1 | 158 | 2013-07-23 10:37 | 24C | 0.95241 | 3.2009e-06 | 2.0266e-06 | 0.95241 | 33.1348 | 0.00012414 | #VALUE!
2013-50#7 | 28 | HEC1 | 159 | 2013-07-23 10:39 | 24C | 0.95226 | 2.88e-06 | 2.0862e-06 | 0.95227 | 33.1293 | 0.00011211 | #VALUE!
2013-50#8 | 28 | HEC1 | 160 | 2013-07-23 10:41 | 24C | 0.93915 | 1.7702e-06 | 2.0266e-06 | 0.93916 | 32.6183 | 6.8784e-05 | #VALUE!
2013-50#9 | 28 | HEC1 | 161 | 2013-07-23 10:44 | 24C | 0.93919 | 2.2135e-06 | 2.0266e-06 | 0.93919 | 32.6196 | 8.5352e-05 | #VALUE!
2013-50#10 | 28 | HEC1 | 162 | 2013-07-23 10:46 | 24C | 0.93045 | 3.3587e-06 | 2.0266e-06 | 0.93045 | 32.2796 | 0.00012971 | #VALUE!
2013-50#11 | 28 | HEC1 | 163 | 2013-07-23 10:48 | 24C | 0.93041 | 3.9645e-06 | 2.0862e-06 | 0.93041 | 32.278 | 0.00015331 | #VALUE!
2013-50#12 | 28 | HEC1 | 164 | 2013-07-23 10:50 | 24C | 0.92033 | 3.3587e-06 | 2.0266e-06 | 0.92033 | 31.8867 | 0.00013052 | #VALUE!
2013-50#13 | 28 | HEC1 | 165 | 2013-07-23 10:52 | 24C | 0.92047 | 1.4046e-06 | 2.0266e-06 | 0.92048 | 31.8923 | 5.3286e-05 | #VALUE!
2013-50#14 | 28 | HEC1 | 166 | 2013-07-23 10:55 | 24C | 0.91781 | 2.8901e-06 | 1.967e-06 | 0.91781 | 31.789 | 0.0001123 | #VALUE!
2013-50#15 | 28 | HEC1 | 167 | 2013-07-23 10:57 | 24C | 0.91781 | 3.2141e-06 | 2.0266e-06 | 0.91781 | 31.7889 | 0.00012489 | #VALUE!
2013-50#16 | 28 | HEC1 | 168 | 2013-07-23 10:59 | 24C | 0.91399 | 6.7007e-06 | 1.967e-06 | 0.91399 | 31.6408 | 0.00026037 | #VALUE!
2013-50#17 | 28 | HEC1 | 169 | 2013-07-23 11:01 | 24C | 0.91392 | 2.4908e-06 | 2.0266e-06 | 0.91393 | 31.6384 | 9.6266e-05 | #VALUE!
2013-50#18 | 28 | HEC1 | 170 | 2013-07-23 11:04 | 24C | 0.89568 | 5.7795e-06 | 1.967e-06 | 0.89568 | 30.9325 | 0.00022401 | #VALUE!
2013-50#19 | 28 | HEC1 | 171 | 2013-07-23 11:06 | 24C | 0.8945 | 3.5988e-06 | 2.0862e-06 | 0.8945 | 30.8871 | 0.00013918 | #VALUE! | 3 | SAL: Rosette log shows that the duplicate samples were to be collected from Niskin 15 and not 16. Poor duplication. See notes
2013-50#20 | 28 | HEC1 | 171 | 2013-07-23 11:08 | 24C | 0.89548 | 4.2738e-06 | 1.9073e-06 | 0.89548 | 30.925 | 0.0001643 | #VALUE! | 3 | SAL: Rosette log shows that the duplicate samples were to be collected from Niskin 15 and not 16. Poor duplication. See notes
2013-50#21 | 30 | BP2 | 184 | 2013-07-23 11:11 | 24C | 0.91205 | 3.6104e-06 | 2.1458e-06 | 0.91205 | 31.5658 | 0.0001394 | #VALUE!
2013-50#22 | 30 | BP2 | 184 | 2013-07-23 11:13 | 24C | 0.91202 | 1.7597e-06 | 2.0266e-06 | 0.91202 | 31.5647 | 6.8787e-05 | #VALUE!

## RAW Salinometer Output
Salinity Samples Cruise 2013-50
Analysis by Melissa Hennekes
Sample ID | Bottle Label | Rep | Station | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  |  |  | 2013-07-23 09:54 | 24C | 0.99977 | 2.2391e-06 | 2.4021e-05 | 0.99979
Calibration#2 |  |  |  | 2013-07-23 09:56 | 24C | 0.99979 | 2.7425e-06 | 2.0266e-06 | 0.99979
2013-50#1 | 154 |  | SC02 | 2013-07-23 09:58 | 24C | 0.6989 | 8.6552e-06 | 2.0266e-06 | 0.6989 | 23.4736 | 0.00032202
2013-50#2 | 155 | A | SC02 | 2013-07-23 10:03 | 24C | 0.69904 | 1.4928e-06 | 2.0862e-06 | 0.69904 | 23.4789 | 5.6015e-05
2013-50#3 | 155 | B | SC02 | 2013-07-23 10:30 | 24C | 0.69753 | 2.7102e-06 | 1.9073e-06 | 0.69753 | 23.4227 | 9.9246e-05
2013-50#4 | 156 |  | HEC1 | 2013-07-23 10:33 | 24C | 0.96699 | 2.4911e-06 | 1.967e-06 | 0.96699 | 33.7045 | 9.6822e-05
2013-50#5 | 157 |  | HEC1 | 2013-07-23 10:35 | 24C | 0.96685 | 2.2391e-06 | 2.0266e-06 | 0.96686 | 33.6994 | 8.7009e-05
2013-50#6 | 158 |  | HEC1 | 2013-07-23 10:37 | 24C | 0.95241 | 3.2009e-06 | 2.0266e-06 | 0.95241 | 33.1348 | 0.00012414
2013-50#7 | 159 |  | HEC1 | 2013-07-23 10:39 | 24C | 0.95226 | 2.88e-06 | 2.0862e-06 | 0.95227 | 33.1293 | 0.00011211
2013-50#8 | 160 |  | HEC1 | 2013-07-23 10:41 | 24C | 0.93915 | 1.7702e-06 | 2.0266e-06 | 0.93916 | 32.6183 | 6.8784e-05
2013-50#9 | 161 |  | HEC1 | 2013-07-23 10:44 | 24C | 0.93919 | 2.2135e-06 | 2.0266e-06 | 0.93919 | 32.6196 | 8.5352e-05
2013-50#10 | 162 |  | HEC1 | 2013-07-23 10:46 | 24C | 0.93045 | 3.3587e-06 | 2.0266e-06 | 0.93045 | 32.2796 | 0.00012971
2013-50#11 | 163 |  | HEC1 | 2013-07-23 10:48 | 24C | 0.93041 | 3.9645e-06 | 2.0862e-06 | 0.93041 | 32.278 | 0.00015331
2013-50#12 | 164 |  | HEC1 | 2013-07-23 10:50 | 24C | 0.92033 | 3.3587e-06 | 2.0266e-06 | 0.92033 | 31.8867 | 0.00013052
2013-50#13 | 165 |  | HEC1 | 2013-07-23 10:52 | 24C | 0.92047 | 1.4046e-06 | 2.0266e-06 | 0.92048 | 31.8923 | 5.3286e-05
2013-50#14 | 166 |  | HEC1 | 2013-07-23 10:55 | 24C | 0.91781 | 2.8901e-06 | 1.967e-06 | 0.91781 | 31.789 | 0.0001123
2013-50#15 | 167 |  | HEC1 | 2013-07-23 10:57 | 24C | 0.91781 | 3.2141e-06 | 2.0266e-06 | 0.91781 | 31.7889 | 0.00012489
2013-50#16 | 168 |  | HEC1 | 2013-07-23 10:59 | 24C | 0.91399 | 6.7007e-06 | 1.967e-06 | 0.91399 | 31.6408 | 0.00026037
2013-50#17 | 169 |  | HEC1 | 2013-07-23 11:01 | 24C | 0.91392 | 2.4908e-06 | 2.0266e-06 | 0.91393 | 31.6384 | 9.6266e-05
2013-50#18 | 170 |  | HEC1 | 2013-07-23 11:04 | 24C | 0.89568 | 5.7795e-06 | 1.967e-06 | 0.89568 | 30.9325 | 0.00022401
2013-50#19 | 171 | A | HEC1 | 2013-07-23 11:06 | 24C | 0.8945 | 3.5988e-06 | 2.0862e-06 | 0.8945 | 30.8871 | 0.00013918
2013-50#20 | 171 | B | HEC1 | 2013-07-23 11:08 | 24C | 0.89548 | 4.2738e-06 | 1.9073e-06 | 0.89548 | 30.925 | 0.0001643
2013-50#21 | 184 | A | BP2 | 2013-07-23 11:11 | 24C | 0.91205 | 3.6104e-06 | 2.1458e-06 | 0.91205 | 31.5658 | 0.0001394
2013-50#22 | 184 | B | BP2 | 2013-07-23 11:13 | 24C | 0.91202 | 1.7597e-06 | 2.0266e-06 | 0.91202 | 31.5647 | 6.8787e-05
2013-50#23 | 102 | A | DC04 | 2013-07-23 11:20 | 24C | 0.60027 | 9.2952e-06 | 2.0266e-06 | 0.60027 | 19.8441 | 0.00033814
2013-50#24 | 102 | B | DC04 | 2013-07-23 11:23 | 24C | 0.60017 | 2.4909e-06 | 2.0266e-06 | 0.60017 | 19.8405 | 9.2999e-05
2013-50#25 | 116 | B | DC02 | 2013-07-23 11:26 | 24C | 0.62864 | 1.3713e-06 | 2.0266e-06 | 0.62864 | 20.8805 | 5.0147e-05
2013-50#26 | 116 | A | DC02 | 2013-07-23 11:28 | 24C | 0.62861 | 9.853e-06 | 2.0862e-06 | 0.62861 | 20.8793 | 0.00036127
2013-50#27 | 90 |  | DC05 | 2013-07-23 11:31 | 24C | 0.49853 | 2.8897e-06 | 1.9968e-06 | 0.49853 | 16.1815 | 0.00010315
2013-50#28 | 90 |  | DC05 | 2013-07-23 11:33 | 24C | 0.49842 | 2.4907e-06 | 2.0266e-06 | 0.49843 | 16.1778 | 8.867e-05
2013-50#29 | 70 |  | FOC1 | 2013-07-23 11:35 | 24C | 0.91034 | 3.4498e-06 | 2.0266e-06 | 0.91034 | 31.4996 | 0.00013231
2013-50#30 | 70 |  | FOC1 | 2013-07-23 11:37 | 24C | 0.8982 | 4.9011e-06 | 2.0266e-06 | 0.89821 | 31.0301 | 0.00019018
2013-50#31 | 72 |  | FOC1 | 2013-07-23 11:41 | 24C | 0.88499 | 0.013693 | 2.0266e-06 | 0.88499 | 30.5222 | 0.52679
2013-50#32 | 73 |  | FOC1 | 2013-07-23 11:43 | 24C | 0.80532 | 3.4657e-06 | 1.967e-06 | 0.80532 | 27.4725 | 0.00013035
2013-50#33 | 74 |  | FOC1 | 2013-07-23 11:46 | 24C | 0.80896 | 4.1892e-06 | 1.9073e-06 | 0.80896 | 27.6106 | 0.00016004
2013-50#34 | 75 |  | FOC1 | 2013-07-23 11:48 | 24C | 0.46372 | 2.7423e-06 | 2.0564e-06 | 0.46372 | 14.9485 | 9.7157e-05
2013-50#35 | 76 | A | FOC1 | 2013-07-23 11:51 | 24C | 0.46748 | 3.4657e-06 | 2.0564e-06 | 0.46748 | 15.0811 | 0.00012147
2013-50#36 | 76 | B | FOC1 | 2013-07-23 11:53 | 24C | 0.46745 | 2.2392e-06 | 1.9968e-06 | 0.46745 | 15.0801 | 7.8902e-05
2013-50#37 | 62 |  | FOC1 | 2013-07-23 11:55 | 24C | 0.94759 | 1.3713e-06 | 2.0266e-06 | 0.94759 | 32.947 | 5.3286e-05
2013-50#38 | 63 |  | FOC1 | 2013-07-23 11:58 | 24C | 0.94117 | 3.1309e-06 | 1.967e-06 | 0.94117 | 32.6968 | 0.00012103
2013-50#39 | 64 |  | FOC1 | 2013-07-23 12:00 | 24C | 0.94152 | 4.8064e-06 | 2.0266e-06 | 0.94152 | 32.7103 | 0.00018735
2013-50#40 | 65 |  | FOC1 | 2013-07-23 13:00 | 24C | 0.93238 | 2.2391e-06 | 2.0266e-06 | 0.93238 | 32.3548 | 8.7082e-05
2013-50#41 | 66 |  | FOC1 | 2013-07-23 13:02 | 24C | 0.93249 | 4.0101e-06 | 2.0266e-06 | 0.9325 | 32.3592 | 0.00015567
2013-50#42 | 68 |  | FOC1 | 2013-07-23 13:04 | 24C | 0.92285 | 2.2394e-06 | 2.0266e-06 | 0.92285 | 31.9843 | 8.6581e-05
2013-50#43 | 68 |  | FOC1 | 2013-07-23 13:06 | 24C | 0.92307 | 3.1418e-06 | 2.0266e-06 | 0.92308 | 31.9932 | 0.0001236
2013-50#44 | 69 |  | FOC1 | 2013-07-23 13:09 | 24C | 0.90999 | 1.793e-06 | 2.1458e-06 | 0.90999 | 31.4861 | 6.8447e-05
2013-50#45 | 8 |  | QD014 | 2013-07-23 13:12 | 24C | 0.92463 | 3.4658e-06 | 2.0266e-06 | 0.92463 | 32.0537 | 0.00013271
2013-50#46 | 7 |  | QD014 | 2013-07-23 13:14 | 24C | 0.92523 | 5.9414e-06 | 1.967e-06 | 0.92523 | 32.0768 | 0.00023228
2013-50#47 | 6 |  | QD014 | 2013-07-23 13:16 | 24C | 0.93184 | 3.541e-06 | 1.967e-06 | 0.93184 | 32.3336 | 0.00013757
2013-50#48 | 5 |  | QD014 | 2013-07-23 13:18 | 24C | 0.93655 | 4.189e-06 | 2.0266e-06 | 0.93655 | 32.5168 | 0.0001621
2013-50#49 | 4 |  | QD014 | 2013-07-23 13:20 | 24C | 0.94215 | 2.4909e-06 | 2.0266e-06 | 0.94215 | 32.7349 | 9.68e-05
2013-50#50 | 3 |  | QD014 | 2013-07-23 13:22 | 24C | 0.95142 | 2.4912e-06 | 2.0266e-06 | 0.95142 | 33.0963 | 9.6864e-05
2013-50#51 | 2 |  | QD014 | 2013-07-23 13:24 | 24C | 0.95309 | 5.7966e-06 | 2.0266e-06 | 0.9531 | 33.1616 | 0.00022625
2013-50#52 | 1 |  | QD014 | 2013-07-23 13:26 | 24C | 0.95471 | 4.9489e-06 | 2.0266e-06 | 0.95471 | 33.2245 | 0.0001907
2013-50#53 | 26 |  | DC09 | 2013-07-23 13:29 | 24C | 0.94809 | 2.8901e-06 | 2.0862e-06 | 0.94809 | 32.9663 | 0.00011251
2013-50#54 | 25 |  | DC09 | 2013-07-23 13:32 | 24C | 0.94833 | 3.4658e-06 | 2.0266e-06 | 0.94834 | 32.9759 | 0.00013597
2013-50#55 | Bot 13 |  | SC01 | 2013-07-23 13:34 | 24C | 0.79182 | 2.8792e-06 | 2.0266e-06 | 0.79182 | 26.9605 | 0.000109
2013-50#56 | 13 |  | SC01 | 2013-07-23 13:36 | 24C | 0.95203 | 4.3339e-06 | 2.0266e-06 | 0.95203 | 33.1202 | 0.00016916
2013-50#57 | 11 |  | QD014 | 2013-07-23 13:39 | 24C | 0.82249 | 1.4046e-06 | 2.0266e-06 | 0.82249 | 28.1253 | 5.2783e-05
2013-50#58 | 10 |  | QD014 | 2013-07-23 13:44 | 24C | 0.82328 | 3.131e-06 | 2.0862e-06 | 0.82328 | 28.1555 | 0.00012008
2013-50#59 | 10 |  | QD014 | 2013-07-23 13:47 | 24C | 0.82329 | 2.4912e-06 | 1.967e-06 | 0.82329 | 28.1559 | 9.4364e-05
2013-50#60 | 9 |  | QD014 | 2013-07-23 13:49 | 24C | 0.92302 | 2.2401e-06 | 2.0862e-06 | 0.92302 | 31.9912 | 8.5339e-05
2013-50#61 | 33 | B | DC09 | 2013-07-23 13:52 | 24C | 0.92036 | 5.6943e-06 | 1.967e-06 | 0.92036 | 31.8878 | 0.00022078
2013-50#62 | 33 | A | DC09 | 2013-07-23 13:54 | 24C | 0.92034 | 5.0935e-06 | 2.0266e-06 | 0.92035 | 31.8873 | 0.00019763
2013-50#63 | 32 |  | DC09 | 2013-07-23 13:56 | 24C | 0.93351 | 4.1892e-06 | 2.0862e-06 | 0.93351 | 32.3988 | 0.00016395
2013-50#64 | 31 |  | DC09 | 2013-07-23 13:58 | 24C | 0.9338 | 3.5971e-06 | 1.967e-06 | 0.9338 | 32.4099 | 0.00014324
2013-50#65 | 30 |  | DC09 | 2013-07-23 14:00 | 24C | 0.94385 | 2.8795e-06 | 2.0862e-06 | 0.94385 | 32.801 | 0.00011317
2013-50#66 | 29 |  | DC09 | 2013-07-23 14:02 | 24C | 0.94351 | 3.4658e-06 | 1.967e-06 | 0.94351 | 32.788 | 0.00013276
2013-50#67 | 28 |  | DC09 | 2013-07-23 14:04 | 24C | 0.94711 | 2.2391e-06 | 2.0266e-06 | 0.94711 | 32.9282 | 8.7082e-05
2013-50#68 | 27 |  | DC09 | 2013-07-23 14:07 | 24C | 0.94718 | 3.8505e-06 | 2.0266e-06 | 0.94719 | 32.9311 | 0.00015158
2013-50#69 | 131 |  | DC01 | 2013-07-23 14:09 | 24C | 0.85404 | 3.4551e-06 | 2.0266e-06 | 0.85404 | 29.3307 | 0.00013269
2013-50#70 | 131 |  | DC01 | 2013-07-23 14:12 | 24C | 0.85484 | 2.7262e-06 | 2.0266e-06 | 0.85484 | 29.3613 | 0.00010343
2013-50#71 | 132 |  | SC02 | 2013-07-23 14:14 | 24C | 0.95387 | 5.1609e-06 | 2.1458e-06 | 0.95388 | 33.192 | 0.00020121
2013-50#72 | 133 |  | SC02 | 2013-07-23 14:16 | 24C | 0.95387 | 2.7425e-06 | 2.0266e-06 | 0.95387 | 33.1919 | 0.00010761
2013-50#73 | 134 |  | SC02 | 2013-07-23 14:18 | 24C | 0.95312 | 4.0096e-06 | 1.9073e-06 | 0.95312 | 33.1626 | 0.00015721
2013-50#74 | 135 |  | SC02 | 2013-07-23 14:20 | 24C | 0.9531 | 3.1145e-06 | 1.967e-06 | 0.9531 | 33.1619 | 0.00012207
2013-50#75 | 136 |  | SC02 | 2013-07-23 14:22 | 24C | 0.95199 | 5.0802e-06 | 2.0266e-06 | 0.95199 | 33.1186 | 0.00019801
2013-50#76 | 137 |  | SC02 | 2013-07-23 14:24 | 24C | 0.95202 | 5.6352e-06 | 1.9073e-06 | 0.95202 | 33.1198 | 0.00021988
2013-50#77 | 139 |  | SC02 | 2013-07-23 14:26 | 24C | 0.94986 | 2.7425e-06 | 2.0266e-06 | 0.94986 | 33.0356 | 0.00010447
2013-50#78 | 140 |  | SC02 | 2013-07-23 14:29 | 24C | 0.94714 | 4.6355e-06 | 1.967e-06 | 0.94714 | 32.9295 | 0.000181
2013-50#79 | 141 |  | SC02 | 2013-07-23 14:32 | 24C | 0.94726 | 2.4918e-06 | 2.0266e-06 | 0.94726 | 32.9339 | 9.68e-05
2013-50#80 | 142 |  | SC02 | 2013-07-23 14:34 | 24C | 0.94258 | 4.3336e-06 | 2.0266e-06 | 0.94258 | 32.7517 | 0.00016751
2013-50#81 | 143 |  | SC02 | 2013-07-23 14:36 | 24C | 0.94269 | 4.5983e-06 | 2.0266e-06 | 0.94269 | 32.7561 | 0.00017871
2013-50#82 | 144 |  | SC02 | 2013-07-23 14:38 | 24C | 0.93751 | 2.7425e-06 | 2.1458e-06 | 0.93751 | 32.5541 | 0.00010761
2013-50#83 | 145 |  | SC02 | 2013-07-23 14:41 | 24C | 0.93767 | 3.8622e-06 | 2.0266e-06 | 0.93768 | 32.5607 | 0.00015111
2013-50#84 | 146 |  | SC02 | 2013-07-23 14:42 | 24C | 0.92852 | 4.2256e-06 | 2.0266e-06 | 0.92852 | 32.2045 | 0.00016487
2013-50#85 | 147 |  | SC02 | 2013-07-23 14:45 | 24C | 0.92845 | 2.4918e-06 | 2.1458e-06 | 0.92845 | 32.2021 | 9.5813e-05
2013-50#86 | 148 |  | SC02 | 2013-07-23 14:47 | 24C | 0.91347 | 3.6098e-06 | 2.0266e-06 | 0.91348 | 31.6209 | 0.00013994
2013-50#87 | 149 |  | SC02 | 2013-07-23 14:49 | 24C | 0.91368 | 3.4659e-06 | 2.0266e-06 | 0.91368 | 31.6288 | 0.00013467
2013-50#88 | 150 |  | SC02 | 2013-07-23 14:52 | 24C | 0.90637 | 2.4908e-06 | 2.0266e-06 | 0.90637 | 31.346 | 9.6371e-05
2013-50#89 | 151 |  | SC02 | 2013-07-23 14:55 | 24C | 0.90594 | 2.7426e-06 | 2.0862e-06 | 0.90594 | 31.3293 | 0.00010656
2013-50#90 | 152 |  | SC02 | 2013-07-23 14:57 | 24C | 0.86859 | 3.611e-06 | 1.967e-06 | 0.86859 | 29.889 | 0.00014095
2013-50#91 | 153 |  | SC02 | 2013-07-23 14:59 | 24C | 0.86753 | 3.9739e-06 | 2.1458e-06 | 0.86753 | 29.8482 | 0.00015397
2013-50#92 | 34 |  | DC09 | 2013-07-23 15:23 | 24C | 0.92056 | 5.808e-06 | 2.0862e-06 | 0.92056 | 31.8956 | 0.00022619
2013-50#93 | 35 |  | DC09 | 2013-07-23 15:25 | 24C | 0.90489 | 4.4783e-06 | 2.0266e-06 | 0.90489 | 31.2886 | 0.00017327
2013-50#94 | 36 |  | DC09 | 2013-07-23 15:28 | 24C | 0.90509 | 4.6036e-06 | 2.0266e-06 | 0.90509 | 31.2964 | 0.00017886
2013-50#95 | 37 |  | DC09 | 2013-07-23 15:30 | 24C | 0.88397 | 3.61e-06 | 1.967e-06 | 0.88398 | 30.4811 | 0.00013945
2013-50#96 | 38 |  | DC09 | 2013-07-23 15:32 | 24C | 0.8841 | 4.3339e-06 | 2.0266e-06 | 0.8841 | 30.4858 | 0.0001684
2013-50#97 | 39 |  | DC09 | 2013-07-23 15:34 | 24C | 0.8684 | 2.7426e-06 | 2.0862e-06 | 0.8684 | 29.8817 | 0.00010552
2013-50#98 | 40 |  | DC09 | 2013-07-23 15:36 | 24C | 0.86805 | 2.7425e-06 | 2.0266e-06 | 0.86805 | 29.8684 | 0.00010552
2013-50#99 | 41 |  | DC09 | 2013-07-23 15:38 | 24C | 0.70211 | 2.4909e-06 | 2.0266e-06 | 0.70211 | 23.593 | 9.2563e-05
2013-50#100 | 42 |  | DC09 | 2013-07-23 15:40 | 24C | 0.73591 | 3.6104e-06 | 2.1458e-06 | 0.73592 | 24.855 | 0.00013473
2013-50#101 | 43 |  | DC09 | 2013-07-23 15:42 | 24C | 0.16631 | 2.8871e-06 | 2.0266e-06 | 0.16631 | 4.9229 | 9.1752e-05
2013-50#102 | 44 |  | DC09 | 2013-07-23 15:44 | 24C | 0.15181 | 1.7675e-06 | 2.0266e-06 | 0.15181 | 4.464 | 5.5634e-05
2013-50#103 | 37 | B | KA04 | 2013-07-23 15:46 | 24C | 0.32683 | 5.1851e-06 | 2.0266e-06 | 0.32683 | 10.2094 | 0.00017606
2013-50#104 | 37 | A | KA04 | 2013-07-23 15:49 | 24C | 0.32694 | 2.4908e-06 | 1.9968e-06 | 0.32694 | 10.2132 | 8.4401e-05
2013-50#105 | 52 | B | DC07 | 2013-07-23 15:51 | 24C | 0.37087 | 2.4907e-06 | 2.0266e-06 | 0.37087 | 11.7139 | 8.5661e-05
2013-50#106 | 52 | A | DC07 | 2013-07-23 15:53 | 24C | 0.37078 | 2.4826e-06 | 2.0266e-06 | 0.37078 | 11.7107 | 8.5872e-05
2013-50#107 | 53 |  | FOC1 | 2013-07-23 15:55 | 24C | 0.94985 | 3.8487e-06 | 2.0862e-06 | 0.94985 | 33.0352 | 0.00015112
2013-50#108 | 54 |  | FOC1 | 2013-07-23 15:58 | 24C | 0.95006 | 3.8648e-06 | 1.967e-06 | 0.95006 | 33.0432 | 0.00014883
2013-50#109 | 55 |  | FOC1 | 2013-07-23 15:59 | 24C | 0.9494 | 3.4659e-06 | 2.0266e-06 | 0.9494 | 33.0174 | 0.0001347
2013-50#110 | 56 |  | FOC1 | 2013-07-23 16:01 | 24C | 0.94959 | 3.8542e-06 | 2.0266e-06 | 0.9496 | 33.0251 | 0.00015017
2013-50#111 | 57 |  | FOC1 | 2013-07-23 16:03 | 24C | 0.94921 | 4.1137e-06 | 2.0266e-06 | 0.94921 | 33.0102 | 0.00015985
2013-50#112 | 58 |  | FOC1 | 2013-07-23 16:05 | 24C | 0.94925 | 3.6239e-06 | 1.9073e-06 | 0.94925 | 33.0116 | 0.00014261
2013-50#113 | 59 |  | FOC1 | 2013-07-23 16:07 | 24C | 0.9486 | 2.2394e-06 | 2.1458e-06 | 0.9486 | 32.9863 | 8.6227e-05
2013-50#114 | 60 |  | FOC1 | 2013-07-23 16:09 | 24C | 0.94847 | 5.3588e-06 | 2.0266e-06 | 0.94848 | 32.9814 | 0.00021002
2013-50#115 | 61 |  | FOC1 | 2013-07-23 16:12 | 24C | 0.94749 | 3.5306e-06 | 2.0266e-06 | 0.9475 | 32.9432 | 0.00013757