## Notes
Analysis: | Hugh Maclean, 18-JUL-13 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Terri Sutherland
Program: | Aquaculture Environmental Studies
Cruise Dates: | 02-July-13 to 09-July-13
2013-10-04 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | 2013-07-18 08:31 | 24C | 0.99978 | 3e-06 | 7e-06 | 0.99979 |  |  | K15 = 0.99979 Batch P153
There were no analyst comments.
No duplicate samples were collected therefore a precision analysis was not conducted.
Sample #206, Station Mal 34 - Sample #206 does not exist at any of the casts performed at station Mal 34. Sample 206 would have landed at station Mal 55, Cast 108 but according to the rosette log
sheet, no salinity sample was collected during this cast. To complicate things further, the salinity (Sample #201) that was to be collected at Station Mal 34, cast 107 was mistakenly forgotten
and not sampled. It may be that a label was printed for #206, station Mal 55, Cast 108 but not noted on the rosette log. It seems very odd that it would have had Station Mal 34 printed on
the label, if none of the other water properties' labels did not.
There are two salinities labeled Bonillla with hydrometer serial numbers and dates. I believe these data points belong to Peter Chandler and are included in the QF worksheet.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2013-55 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater within 16-09 days after collection. For details including a duplicate analysis, see document QF2013-55SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2013-55 | 2 | Mal02 | 3 | 26.2307
2013-55 | 4 | Mal05 | 8 | 26.4321
2013-55 | 17 | Mal11 | 17 | 24.4512
2013-55 | 20 | Mal08 | 22 | 26.7671
2013-55 | 30 | Mal14 | 30 | 27.5756
2013-55 | 33 | Mal17 | 45 | 24.4732
2013-55 | 44 | Mal20 | 51 | 27.5356
2013-55 | 47 | Mal23 | 57 | 28.5703
2013-55 | 59 | Mal26 | 70 | 28.5387
2013-55 | 68 | Mal39 | 81 | 28.3105
2013-55 | 71 | Mal33 | 89 | 28.2346
2013-55 | 73 | Mal35 | 104 | 22.7338
2013-55 | 75 | Mal37 | 110 | 24.8995
2013-55 | 84 | Mal40 | 112 | 28.2971
2013-55 | 86 | Mal45 | 125 | 29.8665
2013-55 | 92 | Mal34 | 136 | 27.5589
2013-55 | 95 | Mal34 | 144 | 27.5003
2013-55 | 97 | Mal34 | 148 | 28.2543
2013-55 | 100 | Mal34 | 160 | 27.3799
2013-55 | 102 | Mal34 | 169 | 26.3318
2013-55 | 104 | Mal34 | 183 | 28.3739
2013-55 | 106 | Mal34 | 195 | 24.7588
2013-55 | 107 | Mal34 | 206 | 28.3523 | 2 | SAL: Mystery sample. May not belong to this event. See notes
2013-55 | 109 | GH18 | 218 | 27.6758
2013-55 | 111 | GH15 | 222 | 27.8599
2013-55 | 113 | GH13 | 229 | 28.2729
2013-55 | 115 | GH11 | 238 | 27.7368
2013-55 | 128 | GH08 | 244 | 29.88
2013-55 | 130 | GH06 | 255 | 29.7912
2013-55 | 133 | GH04 | 265 | 29.7582
2013-55 | 136 | GH02 | 274 | 30.6214
2013-55 | 136 | GH02 | 282 | 29.7995
2013-55 | 142 | GH20 | 293 | 29.5503
|  | Bonilla | 2012-11-29 | 31.7557 |  | HYD s/n 906782 rd = 24.4
|  | Bonilla | 2012-12-04 | 31.1402 |  | HYD s/n 906782 rd = 23.0

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: February 28, 2013
Double click document to use.
Current version of entire quality flag document can be found on OSDShare Network Drive: | O:\Documentation\Quality Flags

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2013-55#19 | 2 | Mal02 | 3 | 2013-07-18 09:28 | 24C | 0.77251 | 1e-06 | 7e-06 | 0.77251 | 26.2307 | 0 | #VALUE!
2013-55#18 | 4 | Mal05 | 8 | 2013-07-18 09:26 | 24C | 0.77784 | 4e-06 | 7e-06 | 0.77785 | 26.432 | 0.0002 | #VALUE!
2013-55#17 | 17 | Mal11 | 17 | 2013-07-18 09:24 | 24C | 0.72512 | 3e-06 | 7e-06 | 0.72512 | 24.4512 | 0.0001 | #VALUE!
2013-55#16 | 20 | Mal08 | 22 | 2013-07-18 09:21 | 24C | 0.7867 | 2e-06 | 7e-06 | 0.78671 | 26.7671 | 0.0001 | #VALUE!
2013-55#15 | 30 | Mal14 | 30 | 2013-07-18 09:19 | 24C | 0.80803 | 5e-06 | 7e-06 | 0.80804 | 27.5756 | 0.0002 | #VALUE!
2013-55#14 | 33 | Mal17 | 45 | 2013-07-18 09:16 | 24C | 0.72571 | 3e-06 | 7e-06 | 0.72571 | 24.4732 | 0.0001 | #VALUE!
2013-55#13 | 44 | Mal20 | 51 | 2013-07-18 09:13 | 24C | 0.80698 | 2e-06 | 7e-06 | 0.80698 | 27.5356 | 0.0001 | #VALUE!
2013-55#12 | 47 | Mal23 | 57 | 2013-07-18 09:10 | 24C | 0.83415 | 3e-06 | 7e-06 | 0.83416 | 28.5703 | 0.0001 | #VALUE!
2013-55#27 | 59 | Mal26 | 70 | 2013-07-18 10:24 | 24C | 0.83332 | 2e-06 | 7e-06 | 0.83333 | 28.5387 | 0.0001 | #VALUE!
2013-55#26 | 68 | Mal39 | 81 | 2013-07-18 10:21 | 24C | 0.82734 | 4e-06 | 7e-06 | 0.82735 | 28.3105 | 0.0002 | #VALUE!
2013-55#25 | 71 | Mal33 | 89 | 2013-07-18 10:18 | 24C | 0.82535 | 5e-06 | 7e-06 | 0.82536 | 28.2346 | 0.0002 | #VALUE!
2013-55#24 | 73 | Mal35 | 104 | 2013-07-18 10:16 | 24C | 0.67895 | 2e-06 | 7e-06 | 0.67896 | 22.7338 | 0.0001 | #VALUE!
2013-55#23 | 75 | Mal37 | 110 | 2013-07-18 10:13 | 24C | 0.7371 | 2e-06 | 7e-06 | 0.73711 | 24.8995 | 0.0001 | #VALUE!
2013-55#22 | 84 | Mal40 | 112 | 2013-07-18 10:10 | 24C | 0.82699 | 4e-06 | 7e-06 | 0.827 | 28.2971 | 0.0002 | #VALUE!
2013-55#21 | 86 | Mal45 | 125 | 2013-07-18 10:08 | 24C | 0.868 | 4e-06 | 7e-06 | 0.86801 | 29.8665 | 0.0001 | #VALUE!
2013-55#20 | 92 | Mal34 | 136 | 2013-07-18 09:31 | 24C | 0.80759 | 2e-06 | 7e-06 | 0.8076 | 27.5589 | 0.0001 | #VALUE!
2013-55#35 | 95 | Mal34 | 144 | 2013-07-18 10:44 | 24C | 0.80605 | 1e-06 | 7e-06 | 0.80606 | 27.5003 | 0.0001 | #VALUE!
2013-55#34 | 97 | Mal34 | 148 | 2013-07-18 10:42 | 24C | 0.82587 | 1e-06 | 7e-06 | 0.82588 | 28.2543 | 0 | #VALUE!
2013-55#33 | 100 | Mal34 | 160 | 2013-07-18 10:39 | 24C | 0.80288 | 4e-06 | 7e-06 | 0.80288 | 27.3799 | 0.0002 | #VALUE!
2013-55#32 | 102 | Mal34 | 169 | 2013-07-18 10:36 | 24C | 0.77519 | 3e-06 | 7e-06 | 0.77519 | 26.3318 | 0.0001 | #VALUE!
2013-55#31 | 104 | Mal34 | 183 | 2013-07-18 10:34 | 24C | 0.829 | 3e-06 | 7e-06 | 0.82901 | 28.3739 | 0.0001 | #VALUE!
2013-55#30 | 106 | Mal34 | 195 | 2013-07-18 10:31 | 24C | 0.73334 | 1e-06 | 7e-06 | 0.73335 | 24.7588 | 0.0001 | #VALUE!
2013-55#29 | 107 | Mal34 | 206 | 2013-07-18 10:29 | 24C | 0.82844 | 2e-06 | 7e-06 | 0.82845 | 28.3523 | 0.0001 | #VALUE! | 2 | SAL: Mystery sample. May not belong to this event. See notes
2013-55#28 | 109 | GH18 | 218 | 2013-07-18 10:26 | 24C | 0.81067 | 5e-06 | 7e-06 | 0.81068 | 27.6758 | 0.0002 | #VALUE!
2013-55#2 | 111 | GH15 | 222 | 2013-07-18 08:40 | 24C | 0.81551 | 2e-06 | 7e-06 | 0.81552 | 27.8599 | 0.0001 | #VALUE!
2013-55#3 | 113 | GH13 | 229 | 2013-07-18 08:42 | 24C | 0.82636 | 1e-06 | 7e-06 | 0.82636 | 28.2729 | 0.0001 | #VALUE!
2013-55#4 | 115 | GH11 | 238 | 2013-07-18 08:45 | 24C | 0.81227 | 2e-06 | 7e-06 | 0.81228 | 27.7368 | 0.0001 | #VALUE!
2013-55#5 | 128 | GH08 | 244 | 2013-07-18 08:47 | 24C | 0.86835 | 2e-06 | 7e-06 | 0.86835 | 29.88 | 0.0001 | #VALUE!
2013-55#6 | 130 | GH06 | 255 | 2013-07-18 08:50 | 24C | 0.86604 | 2e-06 | 7e-06 | 0.86604 | 29.7912 | 0.0001 | #VALUE!
2013-55#7 | 133 | GH04 | 265 | 2013-07-18 08:52 | 24C | 0.86518 | 2e-06 | 7e-06 | 0.86518 | 29.7582 | 0.0001 | #VALUE!
2013-55#8 | 136 | GH02 | 274 | 2013-07-18 08:55 | 24C | 0.88761 | 2e-06 | 7e-06 | 0.88762 | 30.6214 | 0.0001 | #VALUE!
2013-55#1 | 136 | GH02 | 282 | 2013-07-18 08:37 | 24C | 0.86625 | 3e-06 | 7e-06 | 0.86626 | 29.7995 | 0.0001 | #VALUE!
2013-55#9 | 142 | GH20 | 293 | 2013-07-18 08:58 | 24C | 0.85976 | 6e-06 | 7e-06 | 0.85977 | 29.5503 | 0.0002 | #VALUE!
2013-55#10 |  | Bonilla | 2012-11-29 | 2013-07-18 09:00 | 24C | 0.91695 | 3e-06 | 7e-06 | 0.91695 | 31.7557 | 0.0001 | #VALUE! |  | HYD s/n 906782 rd = 24.4
2013-55#11 |  | Bonilla | 2012-12-04 | 2013-07-18 09:03 | 24C | 0.90105 | 2e-06 | 7e-06 | 0.90105 | 31.1402 | 0.0001 | #VALUE! |  | HYD s/n 906782 rd = 23.0

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | 2013-07-18 08:31 | 24C | 0.99978 | 3e-06 | 7e-06 | 0.99979
2013-55#1 | GH02-282 | 2013-07-18 08:37 | 24C | 0.86625 | 3e-06 | 7e-06 | 0.86626 | 29.7995 | 0.0001
2013-55#2 | GH15-222 | 2013-07-18 08:40 | 24C | 0.81551 | 2e-06 | 7e-06 | 0.81552 | 27.8599 | 0.0001
2013-55#3 | GH13-229 | 2013-07-18 08:42 | 24C | 0.82636 | 1e-06 | 7e-06 | 0.82636 | 28.2729 | 0.0001
2013-55#4 | GH11-238 | 2013-07-18 08:45 | 24C | 0.81227 | 2e-06 | 7e-06 | 0.81228 | 27.7368 | 0.0001
2013-55#5 | GH08-244 | 2013-07-18 08:47 | 24C | 0.86835 | 2e-06 | 7e-06 | 0.86835 | 29.88 | 0.0001
2013-55#6 | GH06-255 | 2013-07-18 08:50 | 24C | 0.86604 | 2e-06 | 7e-06 | 0.86604 | 29.7912 | 0.0001
2013-55#7 | GH04-265 | 2013-07-18 08:52 | 24C | 0.86518 | 2e-06 | 7e-06 | 0.86518 | 29.7582 | 0.0001
2013-55#8 | GH02-274 | 2013-07-18 08:55 | 24C | 0.88761 | 2e-06 | 7e-06 | 0.88762 | 30.6214 | 0.0001
2013-55#9 | GH20-293 | 2013-07-18 08:58 | 24C | 0.85976 | 6e-06 | 7e-06 | 0.85977 | 29.5503 | 0.0002
2013-55#10 | Bonilla 29/11/12 | 2013-07-18 09:00 | 24C | 0.91695 | 3e-06 | 7e-06 | 0.91695 | 31.7557 | 0.0001 | for Peter Chandler
2013-55#11 | Bonilla 4/12/12 | 2013-07-18 09:03 | 24C | 0.90105 | 2e-06 | 7e-06 | 0.90105 | 31.1402 | 0.0001 | for Peter Chandler
2013-55#12 | Mal23-57 | 2013-07-18 09:10 | 24C | 0.83415 | 3e-06 | 7e-06 | 0.83416 | 28.5703 | 0.0001
2013-55#13 | Mal20-51 | 2013-07-18 09:13 | 24C | 0.80698 | 2e-06 | 7e-06 | 0.80698 | 27.5356 | 0.0001
2013-55#14 | Mal17-45 | 2013-07-18 09:16 | 24C | 0.72571 | 3e-06 | 7e-06 | 0.72571 | 24.4732 | 0.0001
2013-55#15 | Mal14-30 | 2013-07-18 09:19 | 24C | 0.80803 | 5e-06 | 7e-06 | 0.80804 | 27.5756 | 0.0002
2013-55#16 | Mal08-22 | 2013-07-18 09:21 | 24C | 0.7867 | 2e-06 | 7e-06 | 0.78671 | 26.7671 | 0.0001
2013-55#17 | Mal11-17 | 2013-07-18 09:24 | 24C | 0.72512 | 3e-06 | 7e-06 | 0.72512 | 24.4512 | 0.0001
2013-55#18 | Mal05-8 | 2013-07-18 09:26 | 24C | 0.77784 | 4e-06 | 7e-06 | 0.77785 | 26.432 | 0.0002
2013-55#19 | Mal02-3 | 2013-07-18 09:28 | 24C | 0.77251 | 1e-06 | 7e-06 | 0.77251 | 26.2307 | 0
2013-55#20 | Mal34-136 | 2013-07-18 09:31 | 24C | 0.80759 | 2e-06 | 7e-06 | 0.8076 | 27.5589 | 0.0001
2013-55#21 | Mal45-125 | 2013-07-18 10:08 | 24C | 0.868 | 4e-06 | 7e-06 | 0.86801 | 29.8665 | 0.0001
2013-55#22 | Mal40-112 | 2013-07-18 10:10 | 24C | 0.82699 | 4e-06 | 7e-06 | 0.827 | 28.2971 | 0.0002
2013-55#23 | Mal37-110 | 2013-07-18 10:13 | 24C | 0.7371 | 2e-06 | 7e-06 | 0.73711 | 24.8995 | 0.0001
2013-55#24 | Mal35-104 | 2013-07-18 10:16 | 24C | 0.67895 | 2e-06 | 7e-06 | 0.67896 | 22.7338 | 0.0001
2013-55#25 | Mal33-89 | 2013-07-18 10:18 | 24C | 0.82535 | 5e-06 | 7e-06 | 0.82536 | 28.2346 | 0.0002
2013-55#26 | Mal39-81 | 2013-07-18 10:21 | 24C | 0.82734 | 4e-06 | 7e-06 | 0.82735 | 28.3105 | 0.0002
2013-55#27 | Mal26-70 | 2013-07-18 10:24 | 24C | 0.83332 | 2e-06 | 7e-06 | 0.83333 | 28.5387 | 0.0001
2013-55#28 | GH18-218 | 2013-07-18 10:26 | 24C | 0.81067 | 5e-06 | 7e-06 | 0.81068 | 27.6758 | 0.0002
2013-55#29 | Mal34-206 | 2013-07-18 10:29 | 24C | 0.82844 | 2e-06 | 7e-06 | 0.82845 | 28.3523 | 0.0001
2013-55#30 | Mal34-195 | 2013-07-18 10:31 | 24C | 0.73334 | 1e-06 | 7e-06 | 0.73335 | 24.7588 | 0.0001
2013-55#31 | Mal34-183 | 2013-07-18 10:34 | 24C | 0.829 | 3e-06 | 7e-06 | 0.82901 | 28.3739 | 0.0001
2013-55#32 | Mal34-169 | 2013-07-18 10:36 | 24C | 0.77519 | 3e-06 | 7e-06 | 0.77519 | 26.3318 | 0.0001
2013-55#33 | Mal34-160 | 2013-07-18 10:39 | 24C | 0.80288 | 4e-06 | 7e-06 | 0.80288 | 27.3799 | 0.0002
2013-55#34 | Mal34-148 | 2013-07-18 10:42 | 24C | 0.82587 | 1e-06 | 7e-06 | 0.82588 | 28.2543 | 0
2013-55#35 | Mal34-144 | 2013-07-18 10:44 | 24C | 0.80605 | 1e-06 | 7e-06 | 0.80606 | 27.5003 | 0.0001