Sampling notes, Line P cruise, 2014-18, 8 – 24 June 2014

CTD/Rosettes:

50 files, 0001 to 0083.

0 stand-alone CTD.

49 rosette casts, 0 cast with no Niskin closed. One cast needed two files.

CTD 585, Deck Unit 0471

All cast done mid-ship station

Seasave version V7 22.4

Configuration file:

- 585 LaP and P trip primary.xmlcon.

Standard procedure:

The rosette was brought to the surface.  Pumps were turned ON.  Then the rosette was brought down to 10m and back up.  Data started to be archived then, with the rosette at the surface for a short time longer.  Then the cast would start.

Problems with CTD:

Cast 0001 – Haro59: Computer crashed at 175 dbar on the upcast.  Rebooted the computer, started cast 0002 at 175.  Closed Niskin 24 at 175 since we were not sure if the Niskin had closed before the crash.  Since it did, Niskin 24 not needed.

Cast 0003 – JF2: 3 was a loop, so .HEX file got renamed 0004, but the other files were NOT renamed.  They should all be 4.

- Niskins at CTD/Rosette casts:

Cast 0001 – Haro59: Niskin 24 not needed (see note in “Problems with CTD” section).

Cast 0038 – P12 DMS: Niskin 19 closed by mistake at the surface, NOT needed.  The ‘real’ surface niskin is number 14.

Cast 0068 – P25: Niskin 1 closed at 900 on the upcast by mistake (instead of at Chl Max).  NOT needed, did not get sampled.

Out of order (User input) rosette casts:

0001 – 0002 – 0007 – 0009 – 0010 – 0013 – 0019 – 0020 – 0021 – 0023 – 0026 – 0038

0041 – 0043 – 0049 – 0056 – 0068 – 0074

Files with PAR sensor:

0001 – 0002 – 0004 – 0005 – 0007 – 0008 – 0009 – 0010 –0012 – 0013 – 0019 – 0020

0036 – 0038 – 0041 – 0043 – 0056 – 0057 – 0074.

Loops:

Underway loops: JF1, JF2, JF4 for 1 Nuts, 1 Sal, 2 Chl.

Loop51, Loop90, Loop91, Loop93, Loop95	  for 1 Sal, 2 Chl.

At station loop:

Cast 0010, P2: 2 Chl.

Cast 0020, P4: 2 Chl.

Cast 0031, P12: 1 Sal.

Cast 0056, P20: 2 Chl.

Cast 0065, P24: 2 Chl, 1 Sal.

TSG: