## Method and notes
DMS analysis method
All DMS samples were collected in 250mL ground glass stoppered bottles and stored in a fridge, in the dark and removed one at a time before analysis.
A sample was loaded onto the stripper and purged with UHP Nitrogen for 10 minutes at ~100mL/min.
The DMS was extracted from the water and absorbed onto a Tenax TA trap kept at -80oC.
The trap was subsequently desorbed at 100oC (with a dewar containing boiling water) onto a Chromasorb 330 column which eluted onto a Flame Photometric Detector (FPD).
All samples were run as soon as possible after being collected.
DMS Calibration
A four to six level calibration table was used for calculating the concentrations of DMS.
The standards were prepared in water and run under the same conditions, as described above, for the samples.
A calibration curve was valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run approximately every 13 samples to ensure the system remained free of contamination and had acceptable reproducibility.
Stripping efficiency was evaluated at the beginning of the cruise and was proven to be acceptable at over 97%.
System
No problems
Notes specific for this cruise
The average of duplicates is reported.
2014-10-28 | GG
Sample 504 flagged due to comment "Leaking Badly" Chief Scientist recalls this was severe.
Samples 583 and 586 were flagged 2 due to coment that vent had slow leak.

## QF file
Event_Number | Station | Sample_Number | Dimethyl_Sulphide | Flag:Dimethyl_Sulphide | Comments
10 | P2 | 76 | 0.88201
10 | P2 | 77 | 0.95742
10 | P2 | 78 | 1.4562
10 | P2 | 79 | 1.598
10 | P2 | 80 | 5.4249
10 | P2 | 81 | 6.4374
10 | P2 | 82 | 16.29 | 6
10 | P2 | 83 | 14.7298
10 | P2 | 84 | 14.2219
10 | P2 | 85 | 23.4639
10 | P2 | 86 | 18.3195
20 | P4 | 181 | <
20 | P4 | 182 | 1.9622
20 | P4 | 183 | 4.5356
20 | P4 | 184 | 1.9519
20 | P4 | 185 | 4.0086
20 | P4 | 186 | 2.5936
20 | P4 | 187 | 2.5034
20 | P4 | 188 | 3.2225
20 | P4 | 189 | 2.0582
20 | P4 | 190 | 4.83 | 6
20 | P4 | 191 | 4.1217
20 | P4 | 192 | 3.6599
20 | P4 | 193 | 10.3679
20 | P4 | 194 | 10.0436
38 | P12 | 372 | <
38 | P12 | 373 | 1.9683
38 | P12 | 374 | 0.77865
38 | P12 | 375 | 2.3921
38 | P12 | 376 | 3.5663
38 | P12 | 377 | 2.0117
38 | P12 | 378 | 5.0823
38 | P12 | 379 | 4.2912
38 | P12 | 380 | 5.8155
38 | P12 | 381 | 4.95 | 6
38 | P12 | 382 | 7.3348
38 | P12 | 383 | 6.078
38 | P12 | 384 | 7.3293
38 | P12 | 385 | 7.2103
43 | P16 | 410 | <
43 | P16 | 411 | 1.1277
43 | P16 | 412 | 1.0255
43 | P16 | 413 | 0.56169
43 | P16 | 414 | 2.6286
43 | P16 | 415 | 2.7129
43 | P16 | 416 | 3.862
43 | P16 | 417 | 6.4858
43 | P16 | 418 | 7.6483
43 | P16 | 419 | 7.49 | 6
43 | P16 | 420 | 9.5318
43 | P16 | 421 | 9.4075
43 | P16 | 422 | 10.0731
43 | P16 | 423 | 9.1665
56 | P20 | 504 | < | 3 | DMS: leaking badly
56 | P20 | 505 | 2.516
56 | P20 | 506 | 2.4856
56 | P20 | 507 | 3.4682
56 | P20 | 508 | 2.6988
56 | P20 | 509 | 5.7716
56 | P20 | 510 | 2.2454
56 | P20 | 511 | 5.4185
56 | P20 | 512 | 3.8605
56 | P20 | 513 | 4.15 | 6
56 | P20 | 514 | 4.7373
56 | P20 | 515 | 2.5109
56 | P20 | 516 | 4.225
56 | P20 | 517 | 3.008
74 | P26 | 630 | <
74 | P26 | 631 | 0.99416
74 | P26 | 632 | 2.7746
74 | P26 | 633 | 1.4287
74 | P26 | 634 | 3.6474 | 2 | DMS: leaking badly
74 | P26 | 635 | 3.4305
74 | P26 | 636 | 2.285
74 | P26 | 637 | 2.4325 | 2 | DMS: leaking badly
74 | P26 | 638 | 3.7423
74 | P26 | 639 | 4.59 | 6
74 | P26 | 640 | 3.4832
74 | P26 | 641 | 4.036
74 | P26 | 642 | 3.6491
74 | P26 | 643 | 3.2169

## raw data
Cruise 2014-18
Time
Date | Station | Sample # | Niskin | Depth | Analysis | MDL | DMS
2014 |  |  |  | m | (local) | nM | nM
2014-06-09 | P2 | 76 | 1 | 100 | 14:46 | 0.1 | 0.88201
2014-06-09 | P2 | 77 | 2 | 75 | - | 0.1 | 0.95742
2014-06-09 | P2 | 78 | 3 | 50 | - | 0.1 | 1.4562
2014-06-09 | P2 | 79 | 4 | 40 | - | 0.1 | 1.598
2014-06-09 | P2 | 80 | 5 | 30 | - | 0.1 | 5.4249
2014-06-09 | P2 | 81 | 6 | 25 | - | 0.1 | 6.4374
2014-06-09 | P2 | 82 | 7 | 20 | - | 0.1 | 15.9872
2014-06-09 | P2 | 82 | 7 | 20 | 16:41 | 0.1 | 16.5786
2014-06-09 | P2 | 83 | 8 | 15 | - | 0.1 | 14.7298
2014-06-09 | P2 | 84 | 9 | 10 | - | 0.1 | 14.2219
2014-06-09 | P2 | 85 | 10 | 5 | - | 0.1 | 23.4639
2014-06-09 | P2 | 86 | 11 | 0 | 18:40 | 0.1 | 18.3195
2014-06-10 | P4 | 181 | 1 | 300 | 0900 | 0.1 | <
2014-06-10 | P4 | 182 | 2 | 200 | - | 0.1 | 1.9622
2014-06-10 | P4 | 183 | 3 | 175 | - | 0.1 | 4.5356
2014-06-10 | P4 | 184 | 4 | 100 | - | 0.1 | 1.9519
2014-06-10 | P4 | 185 | 5 | 75 | - | 0.1 | 4.0086
2014-06-10 | P4 | 186 | 6 | 50 | - | 0.1 | 2.5936
2014-06-10 | P4 | 187 | 7 | 40 | - | 0.1 | 2.5034
2014-06-10 | P4 | 188 | 8 | 30 | - | 0.1 | 3.2225
2014-06-10 | P4 | 189 | 9 | 25 | 11:35 | 0.1 | 2.0582
2014-06-10 | P4 | 190 | 10 | 20 | - | 0.1 | 4.7859
2014-06-10 | P4 | 190 | 10 | 20 | - | 0.1 | 5.1594
2014-06-10 | P4 | 191 | 11 | 15 | - | 0.1 | 4.1217
2014-06-10 | P4 | 192 | 12 | 10 | - | 0.1 | 3.6599
2014-06-10 | P4 | 193 | 13 | 5 | - | 0.1 | 10.3679
2014-06-10 | P4 | 194 | 14 | 0 | 13:15 | 0.1 | 10.0436
2014-06-12 | P12 | 372 | 1 | 300 | 13:50 | 0.1 | <
2014-06-12 | P12 | 373 | 2 | 200 | - | 0.1 | 1.9683
2014-06-12 | P12 | 374 | 3 | 175 | - | 0.1 | 0.77865
2014-06-12 | P12 | 375 | 4 | 100 | - | 0.1 | 2.3921
2014-06-12 | P12 | 376 | 5 | 75 | - | 0.1 | 3.5663
2014-06-12 | P12 | 377 | 6 | 50 | - | 0.1 | 2.0117
2014-06-12 | P12 | 378 | 7 | 40 | - | 0.1 | 5.0823
2014-06-12 | P12 | 379 | 8 | 30 | 15:47 | 0.1 | 4.2912
2014-06-12 | P12 | 380 | 9 | 25 | - | 0.1 | 5.8155
2014-06-12 | P12 | 381 | 10 | 20 | - | 0.1 | 4.6121
2014-06-12 | P12 | 381 | 10 | 20 | - | 0.1 | 5.288
2014-06-12 | P12 | 382 | 11 | 15 | - | 0.1 | 7.3348
2014-06-12 | P12 | 383 | 12 | 10 | - | 0.1 | 6.078
2014-06-12 | P12 | 384 | 13 | 5 | - | 0.1 | 7.3293
2014-06-12 | P12 | 385 | 14 | 0 | 17:40 | 0.1 | 7.2103
2014-06-13 | P16 | 410 | 1 | 300 | 15:42 | 0.1 | <
2014-06-13 | P16 | 411 | 2 | 200 | - | 0.1 | 1.1277
2014-06-13 | P16 | 412 | 3 | 175 | - | 0.1 | 1.0255
2014-06-13 | P16 | 413 | 4 | 100 | - | 0.1 | 0.56169
2014-06-13 | P16 | 414 | 5 | 75 | - | 0.1 | 2.6286
2014-06-13 | P16 | 415 | 6 | 50 | - | 0.1 | 2.7129
2014-06-13 | P16 | 416 | 7 | 40 | - | 0.1 | 3.862
2014-06-13 | P16 | 417 | 8 | 30 | - | 0.1 | 6.4858
2014-06-13 | P16 | 418 | 9 | 25 | 18:23 | 0.1 | 7.6483
2014-06-13 | P16 | 419 | 10 | 20 | - | 0.1 | 5.7747
2014-06-13 | P16 | 419 | 10 | 20 | - | 0.1 | 9.2037
2014-06-13 | P16 | 420 | 11 | 15 | - | 0.1 | 9.5318
2014-06-13 | P16 | 421 | 12 | 10 | - | 0.1 | 9.4075
2014-06-13 | P16 | 422 | 13 | 5 | - | 0.1 | 10.0731
2014-06-13 | P16 | 423 | 14 | 0 | 20:00 | 0.1 | 9.1665
2014-06-15 | P20 | 504 | 1 | 300 | 07:40 | 0.1 | <
2014-06-15 | P20 | 505 | 2 | 200 | - | 0.1 | 2.516
2014-06-15 | P20 | 506 | 3 | 175 | - | 0.1 | 2.4856
2014-06-15 | P20 | 507 | 4 | 100 | - | 0.1 | 3.4682
2014-06-15 | P20 | 508 | 5 | 75 | - | 0.1 | 2.6988
2014-06-15 | P20 | 509 | 6 | 50 | - | 0.1 | 5.7716
2014-06-15 | P20 | 510 | 7 | 40 | - | 0.1 | 2.2454
2014-06-15 | P20 | 511 | 8 | 30 | - | 0.1 | 5.4185
2014-06-15 | P20 | 512 | 9 | 25 | 09:55 | 0.1 | 3.8605
2014-06-15 | P20 | 513 | 10 | 20 | - | 0.1 | 3.9773
2014-06-15 | P20 | 513 | 10 | 20 | - | 0.1 | 4.3052
2014-06-15 | P20 | 514 | 11 | 15 | - | 0.1 | 4.7373
2014-06-15 | P20 | 515 | 12 | 10 | - | 0.1 | 2.5109
2014-06-15 | P20 | 516 | 13 | 5 | - | 0.1 | 4.225
2014-06-15 | P20 | 517 | 14 | 0 | 12:10 | 0.1 | 3.008
2014-06-17 | P26 | 630 | 1 | 300 | 15:10 | 0.1 | <
2014-06-17 | P26 | 631 | 2 | 200 | - | 0.1 | 0.99416
2014-06-17 | P26 | 632 | 3 | 175 | - | 0.1 | 2.7746
2014-06-17 | P26 | 633 | 4 | 100 | - | 0.1 | 1.4287
2014-06-17 | P26 | 634 | 5 | 75 | - | 0.1 | 3.6474
2014-06-17 | P26 | 635 | 6 | 50 | - | 0.1 | 3.4305
2014-06-17 | P26 | 636 | 7 | 40 | - | 0.1 | 2.285
2014-06-17 | P26 | 637 | 8 | 30 | - | 0.1 | 2.4325
2014-06-17 | P26 | 638 | 9 | 25 | - | 0.1 | 3.7423
2014-06-17 | P26 | 639 | 10 | 20 | 17:50 | 0.1 | 4.9016
2014-06-17 | P26 | 639 | 10 | 20 | - | 0.1 | 4.2731
2014-06-17 | P26 | 640 | 11 | 15 | - | 0.1 | 3.4832
2014-06-17 | P26 | 641 | 12 | 10 | - | 0.1 | 4.036
2014-06-17 | P26 | 642 | 13 | 5 | - | 0.1 | 3.6491
2014-06-17 | P26 | 643 | 14 | 0 | 19:14 | 0.1 | 3.2169

## Dups
Cruise 2014-18
Standard Deviation of Pairs (Sp)
| ID | Sample | Duplicate | Relative | (S-D)SQ
| (Sample #) | (S) | (D) | % Difference
[6 empty] | Sum of (S-D)SQ | 13.2181
P2 | 82 | 15.99 | 16.58 | 3.623 | 0.3481 | Count | 6
P4 | 190 | 4.79 | 5.16 | 7.4372 | 0.1369 | Sum/2/Count | 1.1015
P12 | 381 | 4.61 | 5.29 | 13.7374 | 0.4624 | SQR of Sum/2/Count (Sp)= | 1.0495
P16 | 419 | 5.77 | 9.2 | 45.825 | 11.7649
P20 | 513 | 3.98 | 4.31 | 7.9614 | 0.1089
P26 | 639 | 4.9 | 4.27 | 13.7405 | 0.3969
|  |  | Mean | 15.3874