File List for SeaBird Data          Cruise Number: _2014-56____

[osdcommon\cruise_data\2014-56\ARCHIVE]

[osdcommon\cruise_data\2014-56\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2014-56\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2014-56\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2014-56\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2014-56\ARCHIVE\Logs] scans of logs

[osdcommon\cruise_data\2014-56\PROCESSING]

[osdcommon\cruise_data\2014-56\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2014-56\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2014-56\PROCESSING\DOC]

2014-56-recal*.ccf – calibration control files for all CTD and CHE files

2014-56-ctd*.xmlcon – configuration files used in conversion

2014-56-ctd-xref.lis – cross-reference list of CTD casts.

2014-56_file.doc - this document

2014-56_Processing_Report.doc - processing notes

2014-56-ctd-final.rpt – CHE file header check including channel summary

2014-56-ctd-altimeter.csv – report on header entries for altimetry

2014-56-hdr-merge.csv – spreadsheet to enable addition of water depths to headers

2014-56-pre-post-comp-DO.cs & xlsx – comparison of DO sensor data using pre and post-cruise cals

ctd-casts-simplified.xls – header info and comments for each cast

*hdr.txt – header files with comments

[osdcommon\cruise_data\2014-56\PROCESSING\DOC\hydro]

2014-56-che-altimeter.csv – report on header entries for altimetry from bottle files

2014-56-che-final.rpt – CTD file header check including channel summary

2014-56-che-xref.lis – cross-reference list of CHE casts

2014-56-bottles-final.csv – summary of bottle file data

2014-56sal.csv – salinity data simplified from analyst’s s/s

2014-56chl.csv –extracted chlorophyll data simplified from analyst’s s/s

2014-56-fl-chl-comp1.csv & .xlsx – comparison of CTD fluorescence and Extracted CHL samples

2014-56-dox-sal-comp1.csv & .xlsx – initial comparison of bottle and CTD salinity

2014-56-dox-sal-comp2.csv & .xlsx - comparison after recalibration

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

study of missing samples.csv – study of some mislabeled salinity samples

*hdr.txt – bottle header files with comments

[osdcommon\cruise_data\2014-56\PROCESSING\HYDRO]

*.bot* -*.ros files converted to IOS HEADERS + added event numbers; 2nd run pad values for bad data

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted CHL files converted from simplified version of analyst’s spreadsheet

*.ed1 & *.log – output files from CTDEDIT for cast #450

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgmrh – after addition of water depths

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – Salinity data converted from simplified analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2014-56\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln* - data after conversion to IOS HEADERS and several runs to get rid of bad values

*.ctd - final files

*.del – after DELETE (note was run on files with aligned fluorescence and conductivity only)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log* - log files created by CTDEDIT

*.mrh – after addition of depths to headers

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2014-56\PROCESSING\Jane] special files for J. Eert

[osdcommon\cruise_data\2014-56\PROCESSING\post] files for comparing pre- and post DO cals

________________________________________________________________________

[osdcommon\cruise_data\2014-56\RAW]

[osdcommon\cruise_data\2014-56\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2014-56\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2014-56\RAW\Logs]