File List for SeaBird Data          Cruise Number: _2014-66____

[osdcommon\cruise_data\2014-66\ARCHIVE]

[osdcommon\cruise_data\2014-66\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2014-66\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2014-66\ARCHIVE\LOGS] scanned analysis logs

[osdcommon\cruise_data\2014-66\ARCHIVE\Underway] Thermosalinograph file

--------------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2014-66\PROCESSING]

[osdcommon\cruise_data\2014-66\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2014-66\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2014-66\PROCESSING\DOC]

2014-66-recal1.ccf – calibration control file for all CTD and CHE files

2014-66-ctd.xmlcon – configuration files used in processing

2014-66_File.doc - this document

2014-66_Processing_Report.doc - processing notes

2014-66-ctd-final.rpt – CTD file header check including channel summary

2014-66-xref.lis – cross reference list of CTD files

2014-66-bottles_data.csv – summary s/s with all bottle data

2014-66-bottles-comp.xlsm – comparison of TSG and CTD temp and sal

2014-66-hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2014-66\PROCESSING\DOC\TSG]

2014-66-ctd-tsg-comp.xlsx – comparison of TSG and CTD data

2014-66-tsg.hdr – comments for TSG header

2014-66-tsg.xmlcon – configuration file for TSG

2014-66-tsg-recal1.ccf – calibration control file for TSG

[osdcommon\cruise_data\2014-66\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del– after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2014-66\PROCESSING\TSG]

______________________________________________________________________________

[osdcommon\cruise_data\2014-66\RAW]

[osdcommon\cruise_data\2014-66\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2014-66\RAW\CTD] raw CTD data