File List for SeaBird Data          Cruise Number: _2015-02____

[osdcommon\cruise_data\2015-02\ARCHIVE]

[osdcommon\cruise_data\2015-02\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2015-02\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2015-02\PROCESSING]

[osdcommon\cruise_data\2015-02\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2015-02\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2015-02\PROCESSING\DOC]

2015-02-recal.ccf – calibration control files

2015-02-ctd.xmlcon – configuration files used in processing

2015-02_file.doc - this document

2015-02_Processing_Report.doc - processing notes

2015-02-ctd-final.rpt – CTD file header check including channel summary

2015-02-ctd-xref.lis – cross reference list of CTD files

2015-02-ctd-altimeter.csv – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2015-02\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip – after removal of subsurface soak data

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log  - log files created by CTDEDIT

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2015-02\RAW]

[osdcommon\cruise_data\2015-02\RAW\CTD] raw CTD data