## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 22 June 2018 | Added Depth:Nominal to file 2015-22-0031.bot |
| 11 Aug 2017 | BOT files prepared with Salinity and CHL-a. Details at end of report. |

## PROCESSING NOTES

Cruise: 2015-22

Agency: IOS, Ocean Sciences Division, Sidney BC

Party Chief: Young K.			Location: Strait of Georgia

Project: Strait of Georgia		Platform: Salacia

Date: 4 March 2015 – 6 August 2015

Processed by: Germaine Gatien

Date of Processing: 29 October 2015 – 16 November 2015

Number of original HEX files:	97 (1 with multiple casts)	Number of CTD files: 100

# INSTRUMENT SUMMARY

A SeaBird Model SBE-25 CTD (s/n 0668) was used with temperature sensor #5130, conductivity sensor #3500, Wetlabs ECO Fluorometer #2214, dissolved oxygen sensor #1592 and pressure sensor 0668.

# SUMMARY OF QUALITY AND CONCERNS

The log book was in good order and included a good description of the CTD deployment method.

The file names were non-standard, but easily correctable since they included the event numbers.

The times in the headers were upload time for the first group and acquisition time in PDT thereafter. The log made it clear when local time was used. The problem for the first group stems from bad format in the header entry. Times were corrected, as needed, and all are archived in UTC. Providing a spreadsheet with event numbers, station names, times and positions of casts would be helpful. A spreadsheet with planned locations was available, but actual positions as given in the log book are required.

The CTD was generally lowered to 10m, raised and held at 2m until 2 minutes had passed. The full cast was then run. This approach enabled easy removal of the data from the soak period by removing 900 records.  For some casts the soak period was longer so plots were used to identify how many records needed to be removed.

There were salinity samples gathered near the bottom from 23 of the deepest casts. The comparison between the CTD and bottle salinity has a lot of scatter but suggests that the CTD might be reading low by about 0.003. The comparison is too rough to justify recalibration given that depths aren’t matched exactly between the CTD and bottles, which leads to significant errors in the presence of fairly high salinity gradients.

Extracted chlorophyll samples were taken at the surface and 5m, on separate casts run shortly after CTD casts. A rough comparison shows CTD fluorescence to be reading low with the median ratio of CTD Fluorescence to Extracted CHL being ~0.9 for CHL<2ug/L, ~0.7 between 2ug/L and 10ug/L and ~0.4 for CHL>10ug/L.

There was no dissolved oxygen calibration sampling but the % saturation near the surface looks reasonable.

# PROCESSING SUMMARY

1. Seasave - This step was completed at sea. The file names were non-standard.

2. Preliminary Steps

The Daily Log was obtained. Included was a good description of the deployment method.

For most of CTD casts the method used was as follows: The CTD was switched on, a 2-minute timer was started and the CTD was put in the water. It was taken down to 10m, up to the surface, wait at the surface until the 2 minutes were up. The cast was then started. If a Niskin was needed it was attached 5m above the CTD. The CTD was taken to 10m off the bottom where a Niskin was fired if needed. The CTD was then brought up and switched off as it was taken out of the water. This method is helpful as by removing the first 960 records, the initial soak can be removed.

For casts 64-81 of trip 3 the CTD was taken down to 10m and kept there for 2 minutes then back to the surface. For those casts the initial soak period will have to be removed by checking how many records need to be removed from each cast.

There were 2 cases noted in the log where the Niskin bottle was placed a different distance above the CTD: casts 182 (6-7m above) and 197 (1m above).

The time in the log book was sometimes PDT and sometimes UTC, but a note was made when local time was used. In a few cases afternoon times are entered without a PM and not in 24-hour format. Penciled entries beside a few of them indicate the 24-hour format. The time in the files are in local time, except for the first group of files for which the cast time entries are corrupted, so only upload times are given. The times will need careful checking later.

The file names were non-standard but were easily fixed as they have the event numbers in them. This was done before conversion.

The cruise summary sheet was completed.

A single configuration was file used at sea; the parameters were checked and were all correct. The file was saved as 2015-22-ctd.xmlcon.

## 3. Conversion of Raw Data

All casts were converted using configuration file 2015-22-ctd.xmlcon.

Plots show that the channels all produced reasonable values.

The log notes that there were 3 files that could not be downloaded as separate hex files. They are found at the end of file “Kelly data all in one file.cnv”. Event #15 data were also missing and assumed to be in the same file.

4. WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure, temperature and conductivity channels only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

Keep data within this distance of mean = 0

The results were not good as there were many pad values entered in appropriately. A smaller window might help but since there are large sections with no change during the soak, as soon as the CTD starts moving points are removed that look quite reasonable. Since there are no obvious spikes in the data, this step will be skipped. Once the data are converted to IOS SHELL, plotting should be done to ensure that spikes are not a problem.

5. WFILTER

WFILTER was run using a cosine filter, size 5 on the pressure, temperature and conductivity channels. Plots were made before and after this step. The small pressure reversals of the size of the steps in the record (0.6db) are greatly reduced after this step but don’t disappear. Tests were run using different size filters and size 7 and 9 produced increasing smoothness. Size 9 looks a little over-smoothed. Temperature and conductivity filters of size 7 also look like the best choice. So WFILTER was run on all casts with cosine filter, size 7 on the pressure, temperature and conductivity channels.

6. ALIGNCTD

Tests were run on a few casts to see what alignment made the offset between the upcast and downcast DO traces resemble that for the temperature traces. An advance of 3.5s produced the best results.

ALIGNCTD was run on all casts to advance the DO channel by 3.5s.

7. CELLTM

SeaBird recommend the use of (α, 1/β) = (0.04, 8) for CELLTM for the SBE 25. A variety of settings were tested – all improved the data with the best choice varying from feature to feature, but the best setting overall was (α, 1/β) = (0.04, 8). CELLTM was run on all casts using that setting.

8. DERIVE

Program DERIVE was run to calculate salinity and dissolved oxygen concentration (tau correction included).

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert the CNV files to IOS Headers.

CLEAN was run to add event numbers and replace pad values in the pressure channel with interpolated values.

10. Checking Headers

Positions, station names and water depths are missing from the headers. A table was prepared to merge this information into the headers. In the course of doing this a few errors were discovered:

- There was a file with event #5 – there was no such cast – this is a copy of file #59 and was created accidentally in the renaming process. Removed.

- File 2015-22-0007 should really be 2015-22-0008. There were problems with the first cast at this site and it was not intended to be used. A note in the log says that it was not counted in event #s, but it is written up in the log with an event number. So this no doubt led to confusion in naming. The file name was changed to 2015-22-0008.

- As mentioned in section 3 separate files were not found for events 15, 19, 22 and 24 and are believed to be available in a large file with multiple casts.

A plot of pressure versus scan number was prepared for file “Kelly data all in one file.cnv” to find scan numbers to separate the various casts. Fracture was then used to separate the data in file “Kelly data all in one file.ios”. After some adjustments of the scan numbers, files were renamed as 2015-22-0015.ios, 2015-22-0019.ios, 2015-22-0022.ios and 2015-22-0024.ios. Those files were run through CLEAN.

Some header information was missing; station names, latitude, longitude, bottom depth. For the first survey, times are taken from upload time so a text editor will be used to enter the correct time based on log book records. All other times are in local time rather than UTC. The adjustment of time zone can be done later.

A spreadsheet prepared based on log records for event number, latitude, longitude, station name and water depth taken from the log book and saved as 2015-22-merge.csv.

IOS SHELL program “MERGE:CSV file to headers” was used to add information from the csv file to the IOS files with output MRH.

A cross-reference listing was produced and checked against the log entries. A few errors were found in positions and were corrected in the spreadsheet and the MERGE process was rerun. There was one log entry that is clearly wrong – longitude for event #167 was given as 123° 25.98’ but should be 123° 24.98’, based on all other occupations of this site being near 123° 25’.

Times were entered in the headers of events #1 to 24 based on log entries. These times are in UTC.

All MRH files were copied to *.ATC.

ADD TIME CHANNEL was run adding 7 hours to header times in files #26 – #239 since the CTD clock was set for PDT. This ensures that all ATC files had times in UTC.

The cross-reference check was rerun and no problems found.

Track plots were produced and added to the end of this report with separate maps for different months – May was divided into 2 maps.

HEADER CHECK was run. There are some negative pressures and spikes in dissolved oxygen that will be investigated later.

The surface check shows an average of 0.5db with many values of -0.01db which are associated with near-zero salinity values. The CTD was started just as it entered the water. Examination of the end of a few files shows the conductivity falling sharply when pressure is between -0.2db and +0.5db, which is as accurate as can be expected from this CTD.

The next step is to remove the data collected during soaks at 10m. For most casts, removing 900 scans will do this since the downcast was usually started at the 2 minute mark. As long as data from the initial downcast are removed, then the rest of the soak will be removed by DELETE. For casts #15, 19, 22, 24 the scan numbers don’t start at 0 so that doesn’t work and the casts that had a longer soak at 10m need separate handling. One other cast, #105, had a shorter soak, so also needed special treatment. Plots were produced to check that there are no data left from an initial drop to the soak depth.

##### 11. SHIFT

Conductivity

Tests were run using values from -0.03 to -0.06 records to see which did best at removing noise from the salinity channel so that the T-S curves are just stable. The best results were with a setting of -0.04records.

SHIFT was run on all casts to apply that shift.

Fluorescence

The fluorometer was not pumped, so a shift in alignment is expected to be small or unnecessary. Profile plots of temperature and fluorescence were examined and confirm that the alignment is ok.

Dissolved Oxygen

This channel was aligned earlier, but checks were made by examining plots of temperature and dissolved oxygen; no further adjustment was found appropriate.

##### 12. DELETE

DELETE was run on all casts using the following parameters:

Surface Record Removal: Last Press Min.	Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 5 points) was deleted from 10db to 10db above the maximum pressure.

COMMENTS ON WARNINGS: There were no warnings.

Plots were made of pressure versus scan number to ensure there is sufficient surface data and there is.

13. DETAILED EDITING

CTDEDIT was used to remove records near the top and bottom of many casts and records corrupted by shed wakes. It was also used to clean salinity where unstable features looked likely to be caused by misalignment of T and C. Most casts required a little editing near the top and/or bottom of the cast.

The following casts were not edited: 9, 22, 43, 56, 59, 81, 83, 103, 110, 133, 167, 180, 192, 197 and 237.

Notes of editing details were made in the headers.

T-S plots were examined and no significant problems were found; there are small unstable features but this is an area where they are expected.

14. Comparisons

Salinity Comparison

There were bottle samples taken from a Niskin bottle mounted 5m above the CTD. A comparison was done between these values and CTD values recorded during downcasts and upcasts at Pmax-5db. The comparison between the downcast and upcast values gives some idea of the local variability. The downcast values are considered more reliable, but in most cases there was little difference. There was a large difference for cast #36 because the CTD obviously hit bottom and the log notes that mud got into the intake tube, but the downcast data look ok. One bottle was fired during a separate cast after the CTD cast.

There is a lot of scatter in the results, as expected in such shallow waters, but the median value shows the CTD reading low by about 0.003. The average is -0.007 using all values, -0.004 when differences >0.01 are excluded and -0.0024 when only 4 casts included that had low vertical gradients near the bottom.  For the cast with the lowest vertical gradient the differences were very close to 0.

If flushing was not complete the water in the bottles would be expected to have lower salinity than ambient values, so the CTD data might be lower than the comparison suggests. However, most of the casts are from open waters where flushing is usually pretty good and having the Niskin bottle well separated from the CTD should help as well. The descent rate is sufficiently noisy to suggest flushing should be reasonably good.

The pooled standard deviation of salinity duplicates was Sp=0.0024.

For more details see file 2015-22-ctd-bottle-sal-comp.xlsx.

Fluorescence – CHL Comparison

There were extracted chlorophylls samples taken at 0m and 5m on separate casts after the CTD cast. A very rough comparison was made by reading values of fluorescence from plots of metre-averaged fluorescence. The CTD data do not go to the surface, so the values come from 1 or 2m and 5m. The comparison at 0 and 5m were very similar. This is an area of great variability so the time difference is significant, but we can get a rough idea of how the two compare. A fit of CTD fluorescence versus extracted CHL shows the fluorometer is reading low. When CHL is <2ug/L the Fluorometer/CHL ratio has a median value of 0.9, for 2ug/L<CHL<10ug/L it is 0.6 and for CHL>10ug/L it is 0.4.

Sensor History – There is no record available for any of the sensors. They have probably been used, but not for data that went to the OSD_Data_Library.

Comparison of repeat casts –The casts are too shallow for comparison of repeat casts to be useful, and most are well separated in time.

Historic Ranges – The salinity data fell within the historic ranges except for a few low values near the surface and a small section of low salinity around 60m at station 40 in early May. Low surface salinity has been observed frequently in near-shore waters in 2015. Temperature values were considerably above the maxima, especially in late May and in July and August. The largest excursions were at stations BS-11, CPF2, GI-01 and SC-04 and some at stations 11 and 59, so mostly on the eastern part of the study area. High temperature anomalies have been reported throughout the North-East Pacific in 2014-2015.

Post-cruise calibrations – None available.

15. CALIBRATE

Salinity will not be recalibrated as it appears to be as close to bottles as we can expect given the scatter in the results and the rough way of determining CTD salinity.

There was no dissolved oxygen sampling and we have no history for this instrument.

The pressure does not need recalibration.

No recalibration was applied.

16. Fluorescence Filter

A median filter, size 5, was applied to the fluorescence data as they are spiky.

17. Bin Average and REMOVE

The files were bin averaged using 1db bins.

REMOVE was run to remove Scan_Number, Conductivity:Primary, Oxygen:Voltage, Altimeter, Descent Rate and Flag channels. Fluorescence was removed from casts #1 and 4 because the cap was left on the sensor. The fluorescence from cast #64 was also removed as it looks bad – probably the cap was on.

Dissolved Oxygen was derived in mass units and that was used to calculate DO saturation. Plots of near-surface saturation show values between 65% and 180%. This cruise covered a large area and had 6 surveys between March and August. So the results were examined with time and position in mind.

- For all surveys the lowest values were found in the Haro Strait area which is expected due to mixing. The highest values in that region were from station SC-04 and the lowest at station 59.

- In March the surface saturation was highest in the southern SoG (mostly between 110% & 145% and one value 180%). To the north values were 105% to 120%.

- Baynes Sound was low in March (90%) but high in April (130%).

- In early May there was a lot of variability and in late May values were relatively low.

- July and August had values mostly between 90% and 110%.

The values are in the expected range, with high values in the time of spring blooms and values mostly around 100 to 110% in summer. These results suggest that the dissolved oxygen sensor calibration was reasonable, at least at the high end of the range.

REORDER was used to get the 2 dissolved oxygen channels together.

18. HEADER EDIT and final checks.

Header Edit was used to fix headers, fix formats and channel names, to remove the Altimetry header and to add the following note to the headers:

Data Processing Notes:

----------------------

Dissolved Oxygen and Fluorescence are nominal and unedited, except

that some  records were removed in editing temperature and salinity.

CTD fluorescence values look low compared to extracted chlorophyll samples.

Comparison with bottles suggests that the CTD salinity is low by about 0.003

but there was too much scatter in the comparison to justify recalibration.

For details on the processing see processing report: 2015-22-proc.doc.

For the 3 casts from which the fluorometer channel was removed, the comment was adjusted.

A cross-reference listing was produced.

A header check was run on the CTD files and no further errors were found.

The sensor history was updated.

##### REVISION: August 2017: Searchable Bottle Files

During the initial processing no bottle files were created for this cruise. In order to make the data searchable, a spreadsheet was prepared containing start times, dates, positions and chlorophyll and salinity analysis results including quality flags and comments. This required considerable work because the summary of times and positions provided only apply to the salinity samples. The chlorophyll samples were collected after the CTD casts, usually close in time but sometimes with a net cast between them, so the times and positions do vary. Nominal depths are available.

One error was found in the salinity data. Sample #18 was used for cast #75 for chlorophyll but there is no indication that a salinity sample was taken then and it is most unlikely that occurred. However, sample #18 was also assigned to a sample for cast #67; there is particular note of collecting a salinity sample in the Fraser plume in the log. And spreadsheet “1522 sample list.vs.xlsx” shows sample #18 coming from event #67. So the salinity sample was assigned to cast #67 in the combined spreadsheet.

The times in the log are frequently in local time, but the salinity spreadsheet has UTC times for all of those samples. For the CHL samples it was hard to make out what time was correct because someone had entered corrections but did it incorrectly and the 12-hour system was used without using PM for afternoon times. The salinity sample times were helpful in figuring out the CHL sample times.

A 6-line header spreadsheet 2015-22-bottle_data-6linehdr.csv was prepared and converted to IOS Header files.

CLEAN was run to add 0 flags to unflagged values, delete empty channels and to add start time. REMOVE was run to remove date and time channels.

File 2015-22-bot-hdr.txt was prepared and Head Edit was run to fix formats, channel names, to add header comments and remove END TIME and TIME ZERO which were created in adding START TIME but have misleading or useless information.

A track plot was produced and showed that one position and one station name were entered wrong. One other position for a cast at Halibut Buoy looks wrong; the chief scientist confirms that they could not have been that far from the buoy so the position was changed to the known position of the buoy.

Particulars

CTD was set to local time – PDT. Log times sometimes UTC, sometimes PDT.

1. Cap was left on fluorometer

4. Cap was left on fluorometer

7. Descent rate variable due to winch problem

19. CTD might have touched bottom. Not sure bottle fired at bottom.

24. Noticed sediment in tubing at end of last cast of the day. May have touched bottom earlier.

36. Mud in tubing. Upcast salinity is bad – presume due to mud.

64-81 – Deployment method different from other casts – soaked 2 minutes at 10m before cast.

67. Fraser River plume

81. Bottle not closed at bottom – according to the log it was closed when CTD was at ~306m but the max press is 303db (~301m). Appears to have closed near the bottom.

119. Bottle not closed when CTD at bottom. Stopped CTD at ~341 and sent messenger.

182. Bottle 6-7m above CTD – added after 2-minute soak.

197. Niskin 1m above CTD

CRUISE SUMMARY

| Cruise ID#: 2015-22 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dates: Start: 4 March 2015 End: 6 August 2015 |  |  |  |  |  |  |
| Location: Strait of Georgia |  |  |  |  |  |  |
| Party Chief: Young K. |  |  |  |  |  |  |
| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |  |
| 1 | SEABIRD | 25 | 0668 | No | Yes |  |

CTD CALIBRATION INFORMATION

Make/Model/Serial#:	SEABIRD/SBE25/0668	Cruise ID#:		2015-22

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 5130 | 23May2014 | Factory |  |  |
| Conductivity | 3500 | 23May2014 | Factory |  |  |
| ECO Fluorometer | 2214 | ? | ? |  |  |
| SBE43 Oxygen | 1592 | 02Jun2014 | Factory |  |  |
| Pressure | 0668 | 23May2014 | Factory |  |  |