## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 12 Mar 2025 | ### Fixed units in 2016-001-001.che; standardized channel names in TSG files and Loop file. GG. and SH |
| ### 25 July 2024 | ### Added Cesium data to 10 casts. SH |
| ### 18 Jan 2023 | ### Corrected flags and comments. Removed pH channel from casts 2 and 5. TSG channel names/units updated. G.G. |
| ### 2 Dec. 2021 | ### Corrected the Salinity:Bottle precision lost during the addition of HPLC, re-did the carbon addition for casts 5, 8 and 63. S.H. |
| ### 19 July 2021 | ### Removed previous DIC and TA additions from 5 files, added updated DIC, TA and pH data to 10 files. S.H. |
| ### 15 April 2021 | ### Added DIC and TA data. S.H. |
| ### 1 April 2021 | ### DMSP data had been updated since the original additions, not all values are padded. S.H. |
| ### 16 Aug 2020 | ### Added HPLC data. S.H. |
| 19 June 2019 | Added DMSP data to 6 CHE files. All values padded except cast #83. |

## PROCESSING NOTES

Cruise: 2016-01

Agency: OSD

Location: North-East Pacific

Project: Line P

Party Chief: Robert M.

Platform: John P. Tully

Date: 8 February 2016 – 22 February 2016

Processed by: Germaine Gatien

Date of Processing: 31 May 2016 – 14 July 2016

Number of original HEX files:	46	Number of CTD files: 46

Number of bottle files: 	46		Number of bottle casts processed: 46

Number of original TSG files:  	4	Number of processed TSG files:	 4

# INSTRUMENT SUMMARY

SeaBird Model SBE 911+ CTD (#0585) was used for this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1396DR), a SBE 43 DO sensor (#3038), a SeaPoint Fluorometer (#3642), a Biospherical QSP-400 PAR sensor (#4565) and an altimeter (#62354). For one cast (event #69), the back-up PAR sensor was used (Biospherical QSP-400 PAR sensor #4615).

A thermosalinograph (Seacat 21 S/N 3411) was mounted with a WetLabs WETStar fluorometer (ws3s-953p), remote temperature sensor (#842) and a flow meter.

Seasave version V7 22.4 was used for acquisition.

All casts were run with the LARS mid-ship station.

The salinometer used at IOS was a Guildline model 8400B Autosal, serial # 68572.

The oxygen kit was Scripps kit #1.

An IOS rosette with 24 10L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log, rosette log sheets and analysis logs were in good order, except that there were some items missing from the equipment lists. There is no indication of which pumps were used for the dissolved oxygen and fluorometer sensors and there was no indication that a Thermosalinograph was in use. The equipment list consisted of a typed sheet taped into the log book, which brings into question whether there was an independent check by eye when equipment was in place.

Sampling notes from the chief scientist were very useful.

The descent rate of the CTD often reached very high values, with speeds up to +3.6m/s which must be close to terminal speed. The CTD would then slow down rapidly and start moving upward at speeds up to -2.5m/s. This is a great concern as it puts an enormous strain on the cable and could lead to the loss of the whole package. It also caused the loss of data quality due to shed wake corruption and it also appears to cause some noise in the salinity even before the shed wake overtakes the CTD. This is likely due to poor alignment of conductivity and temperature, perhaps because the rosette orientation changes. Editing removes records that are obviously corrupted but some affected data likely remain. See section 3 for a plot of descent speed and salinity for a section of one downcast.

Based on tests run during this cruise it was established that the NMEA data are downloaded when SeaSave is started. The System Upload Time is recorded when data acquisition begins. In order to ensure that accurate positions are obtained SeaSave should not be started until the ship is on station. Times and positions were corrected in files for which SeaSave was started before reaching the station.

The transmissivity values were unbelievably low during the first 2 CTD casts when the sensor was mounted with a Back Scattering (BS) sensor on a Y-cable. The transmissivity data were removed from CTD and CHE files for 2016-01-0002 and 2016-01-0005. Later, the BS sensor was remounted on a Y-cable but this time with the PAR sensor. The PAR data look reasonable for the times of day.

All data looked bad data during the first 15m of the downcast for event #42. The pumps were on. The CTD got very close to the surface, and possibly out of the water briefly, shortly after acquisition started, and transmissivity values spiked low several times, so the package may have picked up some surface debris that caused the problem.

The comparison between salinity bottles and CTD salinity showed the primary to be low by ~0.0022 and the secondary high by ~0.0013. Analysis was quick so little evaporation or adsorption of samples is expected. Salinity and dissolved oxygen were recalibrated.

This was the first use of the dissolved oxygen sensor so tests were done to optimize the hysteresis parameters. After that step the comparison between sensor and calibration samples was fairly tight when some clear outliers were removed. The outliers came from shallow water including the whole cast in Haro Strait and near surface data from casts 5, 8, 14, 19, 57 and 66. While these samples came from well-mixed surface waters, other casts that are also well-mixed did not stand out. The correction was based on this fit so it will likely overcorrect some of the shallow DO data, but by no more than 0.04mL/L.

The Oxygen:Dissolved:SBE data are considered, very roughly, to be:

±0.6 mL/L from 0 to 125db

±0.4 mL/L from 125 to 500db

±0.06 mL/L from 500db to 1000db

±0.03 mL/L below 1000db

There were serious problems with the salinity data from the Thermosalinograph with slow drops in values followed by rapid increases. This looks like a slow accumulation of bubbles that clear rapidly. The flow rate was reduced several times. With each drop the salinity improved but there were still some sections of low salinity though the nature of the bad sections was a little different with more gradual recovery to expected values.

The comparison of the TSG intake temperature with CTD temperature showed a dependence on the TSG flow rate with the best agreement when the flow rate was high.

While TSG fluorescence appears to be affected by the flow rate, this is more likely to be co-incidental. Offshore casts had lower flow rates but they also have higher fluorescence values. TSG and CTD fluorometer traces track quite well through the cruise (in shape, not values since the TSG data are uncalibrated). Extracted chlorophyll values for loop samples were close to those from rosette samples collected at the same time, with the loop reading lower by a median value of 1%. Flow rate was likely not a problem for TSG fluorescence and any effect on CHL in moving through the loop was small.

Dissolved oxygen loop samples were all higher than the CTD rosette DO samples confirming the analyst’s choice to add quality flag 4 to all loop DO samples due to concerns about the water being greatly mixed and aerated before reaching the manifold where sampling occurred.

Salinity loop samples were mostly within 0.002 of the rosette salinity samples, but in two cases the loop salinity was significantly lower than that from the rosette (by 0.08 and 0.09psu). Neither came from times when the TSG salinity looked bad but there could be small bubbles present without being obvious.

A test to compare loop samples while on station and shortly after leaving station was inconclusive with a lot of scatter in the results. Variations in flow rate and spatial variability make interpretation risky. There is a hint that the loop samples might come from slightly deeper while underway. There seemed to be little effect on extracted chlorophyll while salinity differences were more significant. Dissolved oxygen was also affected very little except that the underway values were significantly higher than stopped values at P20 and P24, which might be related to a lower flow rate.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained as well as analysis sheets for dissolved oxygen, extracted chlorophyll and salinity.

Nutrients, extracted chlorophyll, dissolved oxygen, DMS and salinity data were obtained in QF spreadsheet format from the analysts.

The cruise summary sheet was completed.

The histories of the pressure and conductivity sensors were checked. There is no history available for the dissolved oxygen sensor.

The XMLCON file was changed after cast #5 to correct an error in the transmissivity parameters. It should have been changed for cast #69 because the wrong PAR sensor was mounted, but it was not.

The calibration constants were checked for all instruments and the only error found was that the transmissometer parameters were from an old calibration for the first 2 casts. Those from the most recent calibration were substituted and the file was saved as 2016-01-ctd.xmlcon. A second version was created for use with event #69; this had a different PAR sensor in use. The file was saved as 2016-01-ctd-PAR2.xmlcon.

No other data from this dissolved oxygen sensor had been processed as of June 2016. Since there are deep casts for this cruise the hysteresis parameters need to be fine-tuned. These tests are done at the COMPARE stage (section 5). So the steps that follow in sections 3 and 4 have to be done first, but if the hysteresis tests lead to a change in the values of E ore H, then they need to be repeated. In this case the results showed changes were needed to the configuration files by changing the value of E from the default value of 3.6 to 3.8. After that correction the steps in sections 3, 4 and 5 were repeated.

##### Conversion of Full Files from Raw Data

All hex files were converted using 2016-01-ctd.xmlcon to create CNV files, except that file 2016-01-ctd-PAR2.xmlcon was used to convert file 2016-01-0069.hex.

A few casts were examined and all expected channels are present and look reasonable.

The descent rates look very noisy for many casts with many complete reversals of direction during downcasts. The following example shows the CTD reaching a downward speed of ~3.6m/s, then slowing to 0 and starting upwards reaching a speed of -2.5m/s. This is a great concern due to the strain this puts on the cable.

The above example was from P12 where the wind speed was reported to be quite high. However, there are many examples with speeds almost as high such as the one below from P26 where conditions were much calmer.

For a few casts SeaSave was started shortly before reaching the station to test what time was recorded. The System Upload Time corresponds to the times in the log book, while the NMEA time is always a little earlier, corresponding to the time SeaSave was started. SeaSave should not be started until the ship is on station in order to get correct positions.

There were problems when a BS (Back Scattering) sensor was mounted by Y-cable with the transmissometer. Transmissivity values looked unbelievably low, so the BS sensor was removed after the first 2 ROS events. Later, the BS sensor was mounted using a Y-cable with the PAR sensor. The PAR data from the 3 casts affected (35, 44, 45) have the right shape and values that seem reasonable for the season and times of day.

##### BOTTLE FILE PREPARATION

The ROS files were created using file 2016-01-ctd.xmlcon and 2016-01-ctd-PAR2.xmlcon.

The ROS files were converted to IOS format.

They were put through CLEAN to create BOT files. Temperature and salinity were plotted for all BOT files to check for outliers. CTDEDIT was used to clean a few points in channel Salinity:T1:C1 from Niskin #1 of cast #11.

The edited file was copied to *.BOT.

A preliminary header check and a cross-reference check were run and no problems were found. Fluorescence did not go off-scale.

The BOT files were bin-averaged on bottle number and the output was used to create file ADDSAMP.csv. Sample numbers were added to the file based on the rosette log records.

One bottle was removed from the list where there was no sampling and no sample number.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Those files were then bin-averaged and called SAMAVG.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2016-01-bot-hdr.txt which will be updated as needed during processing.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2016-01chl*.xls which included comments, flags and a precision study. The spreadsheet was simplified by removing some columns and the file was saved as 2016-01chl.csv, which was then converted to individual CHL files.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF2016-01oxy.xls which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified and the file was then saved as 2016-01oxy.csv which was converted to individual *.OXY files.

SALINITY

Salinity analysis was obtained in 2016-01SAL.xls. Analysis was done within 10-22 days of collection. The file was simplified and saved as 2016-01sal.csv which was then converted to individual SAL files.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2016-01nuts.xls. This includes a precision study. The file was simplified, reordered on sample numbers and saved as 2016-01-nuts.csv. The csv file was converted to individual NUT files.

DMS

DMS data were obtained in file DMS summary (2016-01).xls. Values given as < were changed to 0 and the comments that will go into the header will explain that 0 means below minimum detectable level. DMS: was entered before comments. The file was then saved as 2016-01DMS.csv and converted to individual DMS files. There was a separate report on analysis techniques and problems.

The SAL, CHL, OXY, NUT and DMS files were merged with CST files in 5 steps.

After the 5th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

The merged files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number. The output files were named MRGCLN1s. Those files were then merged with SAMAVG files choosing the Bottle_Number from the SAMAVG files.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions. Two problems were found:

- The ADDSAMP file had not been reordered on Niskin # order which only affected event #69.

- CHL samples 189 and 190 should be from event #31, not #30.

The ADDSAMP file was corrected and reconverted to CST files and the merge process was rerun after the corrections.

##### Compare

Salinity

Compare was run with pressure as reference channel.

The most significant outlier was sample #346 from event #47 at 1500m. It is possible that the bottle closed late, but there is no obvious sign of that from nutrients and dissolved oxygen and the draw temperature looks reasonable. The standard deviation in the CTD salinity is small and there are no local reversals of salinity. So it is most likely that there was a problem in sampling or analysis. Based on this comparison the sample was flagged 3 by the analyst.

When outliers are removed based on standard deviation in the CTD salinity being >0.0008 or differences >0.007, the average difference/standard deviation is -0.0028/0.0013 for the primary salinity and <+0.0001/0.0020 for the secondary, with a minus sign indicating that the CTD is lower than the bottles. There is obvious pressure dependence. When bottles above 1000db are excluded the values are -0.0024/ 0.0012 and +0.0010/0.0016. The differences are slight but there are many deep bottles.

Looking only at the 43 bottles from 2000db and rejecting 3 outliers, the primary values are -0.0025/0.0013 and for the secondary +0.0010/0.0013.

The difference between the primary and secondary salinity is slightly larger than noted during the last use of these sensors in October 2015 (2015-16).

There were 24 bottles fired at ~2000db during cast #63. Results are given in the following table.

|  |  | 2000db study |  |
| --- | --- | --- | --- |
| Cast #63 |  | Median | stdev |
| all | pressure | 2001.99 | 0.98 |
| all | sal0-bot | -0.0023 | 0.0022 |
| all | sal1-bot | 0.0012 | 0.0022 |
| excl 2 outliers | sal0-bot | -0.0022 | 0.0014 |
| excl 2 outliers | sal1-bot | 0.0013 | 0.0014 |

When plotted against time there is no obvious trend except when the surface data alone are plotted and then the differences appear to get larger with time for both sensor pairs, though less notably in the secondary. But the scatter is too high to conclude much from that especially as near-surface mixing would vary with wind conditions. At 1250db the primary differences may be increasing, but there are too few data and too much noise to be sure, and for the secondary there is no hint of an increase. There are few depths with bottles from enough casts to draw any conclusion about changes with time. The variability among the 24 bottles fired at 2000db during cast #63 is enough to cast doubt on establishing time-dependence. Pressure dependence is also unclear; while there are appear to be larger differences above 1000db, the pattern is complex with the largest differences mostly occurring during cast #66 between 200 and 600db, The gradients are highest from about 90db to 800db for that cast, but there are only 2 other bottles from other casts in that depth range.

The results are fairly consistent with the two salinity channels being quite close to bottles. The 2000db study has a standard deviation of 0.002. The accuracy of the Guildline salinometer is supposed to be ~0.002, though that may be optimistic. The other likely sources of error are expected to be small for this cruise. There could be small amounts of evaporation or adsorption by bottles or poor flushing of Niskin bottles. Those errors would all lead to bottle salinity being high and the effects of the first two would be largest for the early casts. There is no sign of such a trend but the nature of the sampling makes that evidence weak. The descent rate of the CTD during stops was generally very noisy, so flushing should not be a major issue. If any of those factors do have an effect it would make the primary salinity error smaller and the secondary error larger. It is unlikely that the error in either is more than 0.0025psu.

For full details for the COMPARE run see file 2016-01-sal-comp1.xls.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel.

The first run shows a problem with hysteresis, which is not unexpected given that this is a new sensor that has not been tested in deep water. Hysteresis was chosen in conversion, but clearly the default E value was not satisfactory. Fine-tuning E usually is usually sufficient to improve the data.

First, a single deep cast, #66, was used to test various E values, until one was found that removed hysteresis. It was then run on all casts and the results showed that a value of E close to 3.77 produced better results than 3.6.

Tests were then run on all casts with DO samples using E=3.77, 3.78 and 3.8.

There were a lot of obvious outliers in shallow water including the whole cast in Haro Strait and near surface data from casts 5, 8, 14, 19, 57 and 66. While these samples came from well-mixed surface waters, other casts that are also well-mixed did not stand out. The differences are not large, but make it too difficult to compare shallow and deep results as E varies. The fit will likely overcorrect some of the shallow DO data, but by no more than 0.04mL/L.

COMPARE was run on the three sets of data and the outliers identified were removed from the comparisons. The results were then compared for DO data from 0 to 825db and 850db to 4315db. The best result was judged as when the fits were closest for the 2 zones. E=3.8 produced very good results.

The corrections found for the E=3.8 test were:

CTD DO Corrected = CTD DO * 1.0785 + 0.0412   pressures 0-4315db

CTD DO Corrected = CTD DO * 1.0778 + 0.0446   pressures 0-825db

CTD DO Corrected = CTD DO * 1.0777 + 0.0398   pressures 850-4315db

An offset of 0.0348 was found if only cases with CTD DO<1mL/L were used. Doing a fit using the data from the full pressure range and a forced offset of 0.0348 produces a fit:

CTD DO Corrected = CTD DO * 1.08 + 0.0348   pressures 0-4315db

There is enough noise in the DO<1 fit that it is not justified to use the forced fit, but it is good to see that using that value has only a small effect on the slope.

The best choice for recalibration appears to be:

CTD DO Corrected = CTD DO * 1.0785 + 0.0412

There were no major outliers but 2 that are out of line by about 0.2mL/L were examined.

- Sample 18 from event #5 – The CTD DO data have a high standard deviation

- Sample #360 from event #47 had already been flagged “4” due to analysis problems.

No further flagging is suggested.

After the correction of the con file, the steps from sections 4 and 5 were rerun and then COMPARE was rerun to ensure the results were as expected and they were. One more outlier was identified and the fit for all depths (excluding the outliers) was just slightly different:

CTD DO Corrected = CTD DO * 1.0783 + 0.0412

For more details see document 2016-01-dox-comp1.xlsx.

Plots of Titrated DO and CTD DO against CTD salinity were examined. No other outliers were found.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable. The CTD fluorometer was a SeaPoint sensor.

All CHL values were low, <1.2ug/L, and most are <0.7ug/L. As is typical of these sensors the fluorometer reads higher than CHL at low CHL values and lower at high CHL. Since fluorescence was generally lower off shore, the ratio FL/CHL is highest offshore.

For full details of the comparison see file 2016-01-fl-chl-comp1.xlsx.

A recalibration file 2016-01-recal1.ccf was prepared to add 0.0022 to the primary salinity, subtract 0.0013 from the secondary salinity and to apply the following correction to dissolved oxygen:

CTD DO Corrected = CTD DO * 1.0785 + 0.0412

COMPARE was rerun on the salinity and dissolved oxygen and showed those corrections were applied correctly.

For full details see files 2016-01-sal-comp2.xlsx and 2016-01-dox-comp2.xlsx.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### ALIGN DO

There are so many shed wakes due to noisy descent and ascent rates that it is hard to judge what setting brings the SBE:DO trace into best alignment with temperature. However, a setting of +3s looks like the best choice. ALIGNCTD was run on all casts using +3s.

##### CELLTM

The noise in the upcast makes the tests for the best parameters for this routine very difficult to interpret. The default setting of (α = 0.0245, β=9.5) was used. One cast was checked for this cruise and the default setting does improve the data.

CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on a few of the deeper casts to examine differences between sensor pairs. A few results from an earlier cruise (shaded entries) are shown for comparison, but none of those are very deep.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2015-61-0105 | 180 | -0.0004 | +0.0002 | +0.0021 | VNoisy, High |
| “ | 950 | -0.0005 | +0.0002 | +0.0027 | XNoisy, High |
| “ | 1500 | -0.0006 | +0.0003 | +0.0028 | XNoisy, High |
| 2015-61-0108 | 180 | -0.0004 | +0.0002 | +0.0023 | VNoisy, High |
| “ | 950 | -0.0005 | +0.0002 | +0.0027 | XNoisy, High |
| “ | 1500 | -0.0005 | +0.0002 | +0.0027 | XNoisy, High |
| “ | 1950 | -0.0006 | +0.0002 | +0.0027 | XNoisy, High |
| 2016-01-0026 | 180 | -0.00001 | +0.0002 | +0.0022 | XNoisy, High |
|  | 950 | -0.0004 | +0.0002 | +0.0026 | XNoisy, High |
|  | 1950 | -0.0005 | +0.0001 | +0.0028 | XNoisy, High |
| 2016-01-0047 | 180 | -0.0001 | +0.0003 | +0.0032 | XNoisy, High |
|  | 950 | -0.0003 | +0.0002 | +0.0034 | XNoisy, High |
|  | 1950 | -0.0006 | +0.0002 | +0.0036 | XNoisy, High |
|  | 2950 | -0.0006 | +0.0002 | +0.0037 | XNoisy, High |
| 2016-01-0066 | 180 | -0.0003 | +0.0002 | +0.0030 | XNoisy, High |
|  | 950 | -0.0005 | +0.0002 | +0.0033 | XNoisy, High |
|  | 1950 | -0.0005 | +0.0002 | +0.0034 | XNoisy, High |
|  | 2950 | -0.0005 | +0.0002 | +0.0036 | XNoisy, High |

The descent rates were extremely noisy resulting in many shed wakes so that the differences are very noisy. These are very rough estimates. The conductivity and temperature differences do not suggest significant drift, though the salinity difference may be increasing slightly.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

A cross-reference list was checked against the log book. The only problems noted were with times and positions for casts 42, 44 and 83 for which there was a deliberate test of starting the computer before reaching the station site to see at which point the NMEA data were acquired and which times and positions were picked up in the conversion to IOS Headers. The NMEA entries do not match the beginning of acquisition as recorded in the log book. The IOS header information matches the NMEA entries. This shows that the computer should not be started before the ship is on station. While the conversion routine could be adjusted to choose Upload time rather than NMEA time, the positions are only recorded in the NMEA data. The headers for the 3 files were adjusted to match the log entries.

The cruise track was plotted and added to the end of this report.

Surface check was run and shows an average surface pressure for the cruise was 3.2db which is typical for the Tully when operating offshore. During cast #42 the CTD was very close to the surface for part of the soak just before the full cast was run. Pressure went as low as 0.005db at which level salinity was ~4psu. Such a value could be the result of water in the system as the CTD lifted out of the water, but as the pressure increased slightly the salinity started to rise again. So, pressure ~0.025db looks like it is in water and very close to the surface. Transmissivity dropped to zero when pressure went above 0.025db, but it did not register a signal again until the CTD reached 3.1db, so that probably reflects clearer water being carried with it on the upward trip and some surface debris obscuring the lens for the beginning of the downward journey. If there is an error in the pressure it might be that it is reading slightly low, but likely not by more than 0.2db.

A header check was run. There were no negative or off-scale fluorescence values. No problems were noted.

The altimeter and water depth readings from the headers of the CLN and MRGCLN2 files were exported to a spreadsheet. Plots were made of altimetry near the bottom for some casts and the headers look appropriate for all files except for casts #36, 47, 57 and 66. These were shallow casts in deep water where altimetry spikes were misinterpreted as being near the bottom. Those altimeter headers were removed.

Water depth entries were compared with the log book entries. Most were either within 3m of the log entry or matched a log entry for another cast at the same site. In 6 cases there were larger differences and checks of depths for those sites on other cruises confirmed that the log entry was reasonable. The header entry was corrected for 6 casts. These changes were made to the MRG, CLN and SAM files. The SAM files were bin-averaged again and the MRG files were cleaned and recalibrated.

##### Shift

Fluorescence

SHIFT was run on the SeaPoint fluorescence channel in all casts using the usual advance of +24 records. Examination of plots after this step shows that the fluorescence offset is reasonably close to the temperature offset.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and it did. No further alignment is needed for the DO concentration channel,

Conductivity

Tests were run on 4 casts using a variety of shifts. For the primary conductivity the best results were found with -0.3 records and for the secondary a setting or -0.3 or -0.4records looked best for a few casts each, with -0.4records best overall. SHIFT was run on all casts using -0.3 records for the primary conductivity and -0.4 records for the secondary conductivity.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### Other Comparisons

Previous experience with these sensors –

The pressure sensor has had many uses since it was last calibrated at the factory and no calibration drift has been noticed. The conductivity sensors are new and have only been used on one other cruise, 2015-61; the salinity comparison was confusing from that cruise with the primary thought to be within 0.002 and the secondary higher than the primary by ~0.003. There is no history available for the dissolved oxygen sensor.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. Temperature and salinity values were mostly within the climatology except for slightly high temperature around 500m at station P5 and salinity slightly low around 600 to 700m at P5 and around 700 to 800m at P15.

Repeat Casts – There are some repeat casts but most include a deep and a shallow cast, so those are not good for checking repeatability. At P26 there were 2 very deep casts run within 5 hours of each other. At about 1400m the temperatures vary by about 0.002C° and salinity by 0.0005 along lines of constant sigma-T. This is excellent repeatability.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

Since the primary temperature and salinity channels seem a little less spikey, those channels were selected for archiving, and hence, editing.

CTDEDIT was used to remove large spikes, remove or clean smaller spikes that appear to be due to instrumental problems and likely to affect the bin-averaged values and records corrupted by shed wakes. For most casts the editing was heavy due to extremely noisy descent rates for the CTD, with many complete reversals. All files required some editing.

For event #42 the 2 salinity channels and dissolved oxygen were very obviously bad in the top 15.9db. The pumps were on. On closer examination it is clear that all pumped channels are bad with temperatures much lower near the surface than seen during the upcast. Transmissivity has near 0 values at 8db whereas they are about 60% on the way up. Acquisition started at about 3db, the CTD then rose to the surface (possibly above the surface briefly) and then went down. The transmissivity may have spiked low due to surface debris picked up by the package, and such debris may have clogged the plumbing.

The descent rate of the CTD is extremely noisy with many complete reversals of direction. In deeper waters the effect of reversals is usually clear in the temperature and salinity profiles and corrupted data can be removed. Closer to the surface it is more difficult to judge so some corrupted data doubtless remain, though the water is generally well-mixed there, so the effect may be small. The descent rates reached some very high values (up to 3.6m/s which is close to terminal speed) after which it would fall rapidly to zero and start moving upward (up to -2.5m/s).  As well as allowing shed wakes corruption, it also appears to cause some noise in the salinity even before the shed wake overtakes the CTD. This is likely due to poor alignment of conductivity and temperature, perhaps because the rosette orientation changes. These extreme descent rates are a great concern as they may damage the cable. See section 3 for a plot of descent speed for a section of one downcast before the running of DELETE and CTDEDIT.

##### Initial Recalibration

The EDT files were recalibrated using file 2016-01-recal1.ccf which was described in section 5, to add 0.0022 to the primary salinity, subtract 0.0013 from the secondary salinity and to apply the following correction to dissolved oxygen:

CTD DO Corrected = CTD DO * 1.0785 + 0.0412

##### Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but to see if a further correction is needed, a comparison is made of downcast CTD data to bottle data from the same pressure. Small differences are expected due to ship drift, temporal changes, incomplete flushing of Niskin bottles and noise in CTD data.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned and compared to the bottle values in the MRG files. COMPARE was run to study the differences between the downcast CTD DO data and the titrated samples from upcast bottles. When outliers were removed, the CTD DO was higher than the bottles by an average of ~0.066mL/L and standard deviation of 0.126mL/L; the results vary with depth with the average difference being 0.0006mL/L below 400m. Examination of the differences versus pressure was used to make a rough estimate of the errors in the downcast DO data. (See section 20 for error estimates.)

See 2016-01-dox-comp3.xlsx for the comparison details.

##### Fluorescence Processing and special files for Angelica Peña

The COR1 files were clipped to 150db and processed in 2 ways, with a filter and without a filter, followed by 0.5m-bin averaging in both cases. Those files were set aside for Dr. Peña.

A median filter, size 11, was applied to the fluorescence channel in the COR1 files. Plots of a few casts showed that the filter was effective. (Output:*.FIL)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen plots were examined. The T-S plots have some slightly unstable features in the casts from Haro Strait and near the surface for stations P1 and P2, but in these well-mixed areas small instabilities are expected.

##### Final CTD File Steps (REMOVE and HEADEDIT)

REMOVE was run on all casts to remove the following channels:

Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

The PAR channel was removed from casts: #17-34, 36-42, 47-68, 74-76.

The Transmissivity channel was removed from casts #2 and 5.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Data Processing Notes:

----------------------

Transmissivity, Fluorescence and PAR data are nominal and unedited except that

some records were removed in editing temperature and salinity.

NOTE: While the SBE fluorescence data are expressed in concentration units, they

do not always compare well to extracted chlorophyll samples, particularly for

casts far from shore. It is recommended that users check extracted chlorophyll

values where available.

For details on how the transmissivity calibration parameters were calculated

see the document in folder "\cruise_data\documents\transmissivity".

Dissolved oxygen was calibrated using the method described in SeaBird

Application Note #64-2, June 2012 revision, except that a small

offset in the fit was allowed.

The Oxygen:Dissolved:SBE data are considered, very roughly, to be:

±0.6 mL/L from 0 to 125db

±0.4 mL/L from 125 to 500db

±0.06 mL/L from 500db to 1000db

±0.03 mL/L below 1000db

For details on the processing see the report: 2016-01_Processing_Report.doc.

The Standards Check routine was run and no problems were found.

The Header Check was run and no problems were found.

A cross-reference list was produced.

The sensor history was updated.

The track plot looks fine.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The only surface saturation values <98% were in Haro Strait (85%) and Juan de Fuca (97%). All other values were between 98% and 102%. The values were between 100% and 101% for the eastern part of the cruise (P1-P9) while there was more variability from P10 westward, likely due to variations in near-surface mixing. These values show that the dissolved oxygen values are reasonable, though they are slightly lower than we usually see well offshore.

##### Final Bottle Files

The MRGCOR2 files were put through SORT to order on increasing pressure.

REMOVE was run on all casts to remove the following channels:

Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

The PAR channel was removed from casts: #17-34, 36-42, 47-68, 74-76.

The Transmissivity channel was removed from casts #2 and 5.

Bottle #13 was removed from the rosette files for event #37.

A second SBE DO channel was added for both the CTD DO and bottle DO, with mass units and REORDER was run to get the 2 SBE DO channels together.

HEADER EDIT was run to ensure formats and units are correct, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data processing.

Standards check and a header check were run on all files and no errors were found.

The track plot looks ok.

Plots of each file were examined to ensure no problems had crept in and none were found.

A cross-reference listing was produced for the CHE files.

Data were exported from the CHE files to file 2016-01-bottles-final.xlsx. The entries were compared with the rosette log sheets to ensure no samples had been missed and no problems were found.

##### Thermosalinograph Data

At some casts loop samples were gathered during rosette casts and then about 10 minutes after leaving stations so that we can compare results when the ship is underway or stopped.

There were loop nutrients, extracted chlorophyll and salinity samples taken, some while stopped and some while underway. There were also dissolved oxygen samples but all were flagged 4 because of problems noted during analysis.

a.) Checking calibrations

The configuration files for the 4 files are identical. One file was renamed as 2016-01-tsg.xmlcon. No errors were found in the calibration parameters.

b.) Conversion of Files

The files were converted to CNV files using configuration file 2016-01-tsg.con. They were then converted to IOS HEADER format.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

ADD TIME CHANNEL was used to add Time and Date channels.

Time-series plots were produced. The salinity frequently looks bad with gradual drops in values which end with sudden rises. The flow rate was reduced several times, but within each section is very steady. The rate reductions were made to try to get better salinity data and it did become smoother when the rate was reduced from 1 to 0.8. The 3rd file looks reasonable at the beginning but there were still some problems with salinity. After a further reduction in the flow rate to ~0.7 salinity improved again, but problems occurred occasionally. File #4 looks reasonable but the flow rate was reduced to ~0.4 towards the end.

The track plot looks fine. The plot was added to the end of this report.

c.)  Checking Time Channel

The CTD files were thinned to reduce the files to a single point from the downcast at or within 0.5db of 4db and exported to a spreadsheet which was saved as 2016-01-ctd-tsg-comp.xls. There were 40 casts which overlapped with TSG files and had data at 4db.

There were no CTD casts or loop samples that overlapped with the first TSG file. The other 3 TSG files were opened in EXCEL, median and standard deviations (over 5 records) were calculated for intake temperature, lab temperature, salinity and fluorescence and the files were reduced to the times of CTD files and loop samples. Because there are so many loop samples it was easier to organize this job by first making a combined list of CTD casts and loop samples with dates, times and event numbers together with a column that indicates whether it is a loop or CTD event. The data from the TSG files were added to that sheet. It was then sorted on Loop or CTD and then sorted by Date/Time. The data from CTD times were added to file 2016-01-ctd-tsg-comp.xls and those for loop samples were saved in spreadsheet 2016-01-loop-rosette-tsg-comp.xlsx.

There were a few inconsistencies in event numbers among the samples; decisions were based on log comments and notes from the Chief Scientist.

To check for problems in the TSG clock or bad matches of TSG and CTD data, the differences between latitudes and longitudes were found in spreadsheet 2016-01-ctd-tsg-comp.xlsx. The differences in latitude and longitude were all≤0.0008° and only one difference was >0.0003°; the median differences were <0.0002°. This shows both the times and positions are reliable for both CTD and TSG systems.

The two spreadsheets described above were used in step (d) to compare T, S, DO and Fluorescence

d.) Comparison of T, S and Fl from Loop & Rosette Samples and TSG and CTD data

- T1 vs T2 The intake temperature sensor worked throughout the cruise. The median difference was 0.176 C° through a 4000 scan section during which the differences were fairly steady. The median difference between intake temperature and lab temperature while the ship was stopped was 0.180C° with a range of 0.137C° to 0.199C°. We expect that the heating in the loop will increase as the intake temperature decreases, but there was also a change of flow rate which will affect the loop heating. The lowest flow rate is mostly associated with the lowest temperatures, but overall the temperatures did not vary greatly. For flow rates of 1.0, 0.8, 0.67 the median heating was 0.176 C°, 0.180 C° and 0.179 C°. This is a little less heating than usual for February despite the low flow rate and fairly low near-surface temperatures. It is possible that the ambient ship temperature was a little lower than usual.

- TSG vs CTD The spreadsheet comparing CTD and TSG files was then examined to find the differences between the salinity, fluorescence and temperature channels for the CTD and the TSG.

1. Intake Temperature The intake temperature is higher than the CTD temperature by a median of 0.005C° (standard deviation 0.06C°). For flow rates of 0.96, 0.83, 0.67 the TSG intake temperature was higher than the CTD temperature by 0.0015C°, 0.0073C° and 0.0066C°. This suggests that for flow rates <1seawater is already heating when it passes the intake thermistor.

2. LAB TEMP The lab temperature was higher than the CTD temperature by a median value of 0.184C°, with values of 0.178C°, 0.187C° and 0.186C° for flow rates ~0.96, 0.83 and 0.67.

3. SALINITY The TSG salinity data was much lower than the CTD salinity for the first section with a median difference of 4.87 and a standard deviation of 1.0. When the flow rate was reduced to 0.83 it was lower than the CTD by a median of 0.004 but the standard deviation was still very high at 0.57. When the flow rate was reduced even more the differences were high, at a median of 0.037 and standard deviation of 0.34. All the outliers are in one direction, probably due to bubbles in the TSG system. So reducing the flow rate did produce salinity that is more reasonable but bad sections occurred even at the lowest rate.

4. FLUORESCENCE The TSG fluorescence is in volts and is naturally lower than the CTD fluorescence which is in ug/L. The median ratio of FLtsg/FLctd is ~0.24. While that ratio decreases with the changes in flow rate, that is more likely due to ambient conditions as the CTD and TSG fluorescence track quite well. (See 2016-01-ctd-tsg-comp.xls.)

- Loop Bottle - TSG Comparisons

The TSG fluorescence in volts is about 34% of the loop extracted chlorophyll overall, but when separated into the 3 groups according to flow rate it is ~0.23, 0.36 and 0.38 of the extracted chlorophyll, but this may well be due to there being higher CHL for some of the early loop samples in Juan de Fuca and at P1 rather than anything to do with the flow rate.

There is a lot of scatter in the comparison of TSG salinity and loop salinity with a median difference showing the TSG salinity being low by 0.005, but the standard deviation is 1.38. When broken down into the 3 groups according to flow rate the median/standard deviation/flow rates are -4.13/1.38/0.97, -0.004/0.29/0.83 and 0.001/0.424/0.67.

(See 2016-01-TSG-loop-rosette-comp.xlsx.)

- CTD data from surface rosette vs TSG (temperature, salinity and fluorescence)

The TSG fluorometer values are about 24% of the CTD fluorometer but there is some variability with higher ratios near shore. The flow rate was lower offshore and CHL levels were higher, either of which may account for the variability.

The TSG median intake temperature is the same as the CTD temperature from the surface rosette file, but when separated into the 3 flow rate sections (0.96, 0.83 and 0.67) it is lower by 0.002Cº, higher by 0.005Cº and higher by 0.003Cº.

The TSG salinity is lower than the CTD salinity from the surface rosette in the same 3 flow rate zones by 5.1078, 0.0474 and 0.0003.

- Loop vs Rosette surface samples

SALINITY: There were 9 salinity loop samples that were taken during CTD casts with salinity sampling from the rosette. Two of those cases had very large differences with the loop values being lower by 0.093psu and 0.078. When those were excluded the median difference was 0.0004; 6 cases had the two values within 0.002 of each other and in one case the loop was higher by 0.0035. This suggests that the loop salinity values are mostly very good. The 2 that look bad were during events #40 and #54 neither of which were cases when the TSG salinity looked particularly bad and none of the loop or rosette samples were flagged.

EXTRACTED CHLOROPHYLL: Loop CHL values were low with a maximum of 0.67ug/L. Loop CHL gathered during CTD casts was close to that from the rosette, with a slight bias towards the loop samples being lower than the rosette samples. All CHL samples were within 0.03ug/L and 7% of each other except for cast #54 where the difference was 0.08ugL or 18%. That cast was also an outlier for salinity.

DISSOLVED OXYGEN: DO samples from the loop were all higher than from the rosette. The loop samples had all been flagged 46 due to concerns about the water being greatly mixed and aerated before reaching the manifold where the sample was collected. The differences confirm that there is a problem with these samples. The median difference was 0.25mL/L with a standard deviation of 0.04mL/L.

- Underway vs stopped loop sample study

There was an interesting experiment during this cruise where loop samples were gathered during a CTD rosette cast and then about 10 minutes after leaving the station. The attempt was to see if there is a significant difference in loop samples while underway from those taken while stopped. There were salinity, extracted chlorophyll and dissolved oxygen samples. There was a quite a long time between the samples in some cases as other activities took place on station after the loop was collected. Unfortunately the loop flow rate varied through this cruise which complicates interpretation.

    - SALINITY: Near shore the time difference may be almost as significant as spatial separation so it is not surprising that the largest difference was seen at P1 where the underway loop sample was higher than the one gathered at P1 by 0.16. But there was a difference of 0.09 at P14 despite a short interval between samples. The loop sample while on station is lower by about 0.9 than the CTD profile would suggest. So this may be a case of a sample coming from higher in the water column or bubbles in the loop or other near-surface ship effects or evidence of real variability. While the median shows the underway values to be higher by 0.01, the standard deviation was either 0.06 or 0.04 depending on whether P1, P2 and P4 were included or not. The data are too scattered to reach a strong conclusion, but it is possible that the loop is drawing from slightly deeper in the water column while underway. Having well-mixed near-surface waters makes it difficult to detect small vertical offsets.

    - EXTRACTED CHLOROPHYLL:  The differences are not large but these is a bias towards the underway samples being higher by a median value of 1.7% to 2.8%, with the smallest difference found when stations P1 and P4 are not included. The largest differences occur close to shore which could be due to temporal and spatial variations, but it is also the part of the cruise with the highest loop flow rate.

    - TEMPERATURE: The standard deviation in the TSG intake temperature was examined at the time of the stopped and USW loop samples and it is similar or higher when the ship was moving except for station P14 where it was high for both, but especially high while stopped. The recorded positions during the CTD cast do not suggest large drift. The low loop salinity at P14 may be part of a bigger picture of real variability.

    - DISSOLVED OXYGEN:  Dissolved oxygen loop samples had all been flagged 4 due to concerns about the water being greatly mixed and aerated before reaching the manifold where the sample was collected. The differences between underway and stopped samples were small (and non-systematic) except at P20 and P24 where underway values were significantly higher, perhaps because the flow rate was very low so the reported aeration/mixing problem was especially bad.

- Calibration History

This was a new thermosalinograph and the temperature and conductivity were recalibrated in November 2015 and had not been used for any other cruises before this one.

The fluorometer has been used in the past, but we do not keep a history of the comparisons as they are dependent on CHL range and plankton types. We no longer attempt to recalibrate the fluorescence data and report it only as a voltage.

Conclusions

1. The TSG clock worked well.

2. The TSG flow rate was steady in sections, but was deliberately lowered on two occasions, with rates of ~0.98 ~0.83 and ~0.67. It was lowered to ~0.4 at the end of file #4 but we have no CTD casts or loop samples to compare with that section and it is not known why it was lowered as the salinity does not look obviously bad at that point.

3. The temperature in the loop increases by about 0.18Cº but this varied with flow rate and intake temperature with the least heating when the flow rate was ~0.96.

4. The comparison of TSG temperature and salinity with that from the CTD varied with flow rate, but not in a simple way. When the flow rate was reduced from 0.96 to 0.83 the salinity came into much better correspondence with the CTD but the intake temperature moved upwards relative to the CTD which must mean that water was already flowing slowly enough to warm as it passed the intake thermistor. This may partly explain why heating in the loop seems lower than expected at this time of year, but it is only a small effect. Heating in the loop as determined from the lab temperature increased when the flow was lowered, which is expected. When the flow rate was reduced again to 0.67, the effect was not in the same direction as the changes during the previous shift, though the differences are similar to those for flow 0.83. There are too few data to place much weight on these observations.

5. The TSG Salinity is lower than the downcast CTD salinity by a median of ~4.87 when the flow rate was ~1. When flow was lowered to 0.83 and then later to 0.67, the median differences show the TSG low by 0.004 and 0.040. The standard deviations are very high in all cases. TSG salinity is lower than loop samples and rosette file CTD salinity by a similar amount except that the TSG looks slightly higher than loops for the case of flow ~0.67. Little weight should be put on particular values since the record has sections of obviously bad data while other sections look ok. When all differences >0.01 are excluded, the median difference shows the TSG salinity higher than the CTD by 0.002. This shows that there are some good data in the record. Editing should be applied to remove obviously bad data. No recalibration is justified.

6. Extracted CHL samples from the loop and rosette compare well, with loop values slightly lower but only one difference is >7%. The fluorometer from the TSG tracks well with that from the CTD. The TSG fluorescence is uncalibrated and reads about 25% of the CTD fluorescence overall and about 33% of the loop extracted chlorophyll. As usual these ratios vary with fluorescence, with the ratio FL/CHL falling as CHL increases.

7. The experiment to determine if there are significant differences between samples taken underway and stopped was inconclusive because of the variations in flow rate and geographic variability. There is weak evidence that samples may come from a little deeper in the water column while stopped.

8. The dissolved oxygen data from the loop are all higher than the rosette samples, confirming the analyst’s concern about mixing and aeration causing a problem before sampling. The mean difference was ~0.25mL/L.

9. The quality of the data is highly variable. After editing the salinity data should be reasonably good bit much will be removed. Still, the comparison of loops with co-incident rosette samples shows that there may be effects from small bubbles that are not obvious in the traces. Temperature may be of slightly lower quality than usual where the flow rate is lower, though the effect is neither certain nor large enough to justify removing the data.

f.) Editing

The ATC files were copied to *.EDT.

Each file was opened in CTDEDIT and editing was applied to files 1, 2 and 3 with removal of a lot of salinity points and some lightly editing of salinity elsewhere.

g.) Recalibration

No recalibration was applied.

h.) Preparing Final Files

REMOVE was used to remove the following channels from all casts: Scan Number, Temperature:Difference, Conductivity:Primary, Flag and Position:New channels.

HEADER EDIT was used to add a comment, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header and to change channel names to standard names and formats.

Those files were saved as TOB files.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and it looks fine.

The cruise plot was added to the end of this report.

##### Loop File

The CHE files were put through program DERIVE to obtain sigma-t.

Data from those files were exported to file 2016-01-che-surface.csv. Data from below 9m were removed.  Columns were rearranged to fit a model 6-line header.

Loop data were then added to the file and lined up appropriately. A sampling method column was added filled with ROS or UWS for rosette data and true loop data, respectively.

The data were sorted on event number, then time, then pressure and added to the 6-line header file.

The file break column was filled with value 1 so all data will be in a single file when converted.

The file was then saved as 2016-01-surface-6linehdr.csv.

A comment file was prepared which was essentially the same as the one used in preparing CHE files

CONVERT was run to produce an IOS Header file. The flags and comments were entered in the headers in the conversion process, but problems occurred due to the length of comments and punctuation seemed to cause problems. All the loop DO samples were considered poor and had a lengthy explanation about the analyst’s concerns. Rather than have the comment section become unwieldy, the comment was changed to say “See Note 1”, and the following note was added to the converted file just below the comment section.

NOTE: 1 The oxygen analyst warned that all loop dissolved oxygen sample values are likely an

inaccurate representation of true surface concentration.  Water was greatly mixed and aerated

before reaching the manifold where the sample was collected.

There was usually a draw temperature for these loop samples, but deriving mass units from such data is awkward. Given that the loop DO data are of limited use, that step was skipped.

CLEAN was run to get start and stop times and positions.

Because the DO samples from the loop had not been produced in mass units, a return was made to the CSV file, adding a column for Draw temperature. The CLN file was then put through CHANGE UNITS to produce mass units for just the real loop samples. The draw temperature had not been included for the ROS samples which already had mass units, so those were not re-calculated. A text editor was used to move the mass units for the real loop samples to the column with the ROS DO in mass units. Then REMOVE was used to remove the draw temperatures since they are not in place for the ROS files; the extra Mass Units channel produced in this step was also removed. (Next time include draw temperatures for ROS & USW, skip mass units for ROS and then can do the mass units calculation for all data at once if there are salinity samples.)

Header Edit was used to add comments that were essentially the same as those used in preparing CHE files. A special note was added with details about poor dissolved oxygen loop samples.

The final file was renamed as 2016-01-surface.loop. A track plot turned up some sign errors in positions. That was fixed then the track looks reasonable and a plot of temperature and salinity versus longitude looks reasonable.

# Particulars

PAR ON: 2,5,8,11,14,16,35,44,45,69(with spare PAR 4615),83

PAR OFF: 17-34, 36-42, 47-68, 74-76.

2 & 5. Backscattering sensor (BS) mounted with Y-cable with transmissometer – bad Trans data.

25. BS sensor removed from rosette.

34-51. BS sensor on Y-cable with PAR sensor. Includes PAR casts 35, 44, 45.  After 51 removed BS and double Y cable – PAR directly to CTD.

37. Niskin 13 closed by mistake – not need in CHE file. Niskin 17 closed at 10 instead.

51. Started Seasave – issue with winch so stopped Seasave and restarted later.

63. Only cast with out of order Niskin firing

83. Stopped and slowed on way down to observe wire conditions – all ok.

94. Aborted.

# CRUISE SUMMARY

CTDs

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0585 | Yes | Yes |

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 5725 | 24Feb2015 | Factory |  |  |
| Conductivity | 4448 | 25Feb2015 | Factory |  |  |
| Secondary Temp. | 5724 | 29Jan2015 | Factory |  |  |
| Secondary Cond. | 4434 | 12Feb2015 | Factory |  |  |
| Transmissometer | 1396DR | 2Feb2016 | IOS |  |  |
| SBE 43 DO sensor | 3038 | 19Feb2015 | Factory |  |  |
| PAR | 4565 | 16Mar2011 | IOS |  |  |
| PAR | 4615 | 16Mar2011 | IOS |  |  |
| SeaPoint Fluor 30X | 3685 | n/a |  |  |  |
| Altimeter | 62354 |  |  |  |  |
| Pressure Sensor | 0585 | 30Dec2013 | Factory |  |  |

# CRUISE SUMMARY     TSG

Make/Model/Serial#:	SEABIRD/21/3363       Cruise ID#:	2016-01

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 3411 | 7Nov15 | Factory |  |  |
| Conductivity | 3411 | 7Nov15 | Factory |  |  |
| WetLabs Fluorometer | Ws3s-953p |  |  |  |  |
| Temperature:Secondary | 842 | ? |  |  |  |
| Flow meter | ? | n/a |  |  |  |