## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 27 Mar 2025 | ### Updated channel names & formats in TOB & Loop files. GG & SH |
| ### 24 July 2024 | ### Added Cesium data to 10 casts. SH |
| ### 28Mar2023 | ### Corrections to few flags and comments in CHE files (Events #10,20,23,30,39,54,56,65,88) |
| ### 6 Dec 2021 | ### Corrected the Salinity:Bottle precision lost during the addition of HPLC. S.H. |
| ### 6 April 2021 | ### DMSP tidy up. Added data to event 20, corrected flags event 56. S.H. |
| ### 16 Aug 2020 | ### Added HPLC Data. S.H. |
| 13 July 2020 | Comments added for flagged Carbon, Alkalinity and pH data in CHE files |
| 18-Feb-2020 | Added Lisa Miller’s Dissolved Inorganic Carbon, Alkalinity and pH data to 11 rosette casts 2, 6, 10, 12, 23, 39, 54, 58, 65, 76 and 88.. Joe Linguanti. |
| 19 June 2019 | Added DMSP data to 6 casts; all DMSP-T values padded. |

## PROCESSING NOTES

Cruise: 2016-08

Agency: OSD

Location: North-East Pacific

Project: Line P

Party Chief: Robert M.

Platform: John P. Tully

Date: 16 August 2016 – 31 August 2016

Processed by: Germaine Gatien

Date of Processing: 9 November 2016 – 9 December 2016

Number of original HEX files: 62 	Number of CTD files: 57

Number of bottle files: 	58		Number of bottle casts processed: 54

Number of original TSG files: 6		Number of processed TSG files:	 4

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0443) was used for this cruise. It was mounted in a rosette and attached were a Wetlabs CSTAR transmissometer (#1185DR), a SBE 43 DO sensor (#997) on the secondary pump, a SeaPoint Fluorometer (#3640) on the primary pump with gain 3X, QSP-400 PAR sensor (#70613) and an altimeter (#62354).

A thermosalinograph (Seacat 21 S/N 3411) was mounted with a Wet Labs WETstar fluorometer (S/N ws-3s 953p), remote temperature sensor and a flow meter.

Seasave version V7.23.2 was used for acquisition.

The data logging computer was the Tully CTD Laptop (Acer).

The deck unit was a Seabird model 11+, serial number 0425.

All casts were run with the LARS mid-ship station.

The salinometer used at IOS was a Guildline model 8400B Portasal, serial #58879.

The oxygen kit was Scripps kit #2.

An IOS rosette with 24 10L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log, rosette log sheets and analysis logs were generally in good order with detailed comments on problems. Notes from the Chief scientist were very helpful, especially a chart showing what loop sampling was done.

The Autosal malfunctioned and there was a long delay to obtain a part to fix it. After a 2-month wait the salinity samples from this cruise were eventually analyzed on a Portasal. There was a lot of scatter in the comparison which is likely due mainly to evaporation and desorption of glass into samples. Other sources of scatter are incomplete flushing of Niskin bottles and the lower accuracy of the Portasal. Based on estimates of those errors, the secondary CTD salinity is thought to be good to ±0.002 and no recalibration was applied to that channel. The primary salinity was reading lower than the secondary by about 0.004, so it was recalibrated to match the secondary. Three missing samples were found and analyzed on the repaired Autosal a month after the other analyses. If we could put faith in so few samples they might suggest that the Portasal was reading lower than the Autosal, which would only strengthen the conclusion that the CTD salinity is not reading low by enough to justify recalibration of the secondary salinity.

While CTD fluorescence data are expressed in concentration units, they do not always compare well to extracted chlorophyll samples. For this cruise the CTD fluorescence generally reads higher than the extracted CHL for CHL<1ug/L and then falls relative to CHL until it is about 50% of CHL at high CHL values. However, close to shore the fluorometer readings are reasonably close to extracted chlorophyll values even for low CHL. It is recommended that users check extracted chlorophyll values where available.

Overall, the comparison of titrated dissolved oxygen samples with CTD dissolved oxygen looks normal and quite close to the results of cruise 2016-06 which sampled the same sites. However, the data from 3 casts in the middle of the cruise were out of line in the comparison with CTD data. The analyst could find no explanation but found a way to post-process that produced reasonable results, and flags 3 or 4 were applied to all the affected samples.

The SBE DO sensor has a fairly long response time so data accuracy is not as high when it is in motion as it is during stops for bottles. This will be especially true when vertical DO gradients are large. To get an estimate of the accuracy of the SBE DO data during downcasts (after recalibration) a rough comparison was made between downcast SBE DO and upcast titrated samples. Some of the difference will be due to problems with flushing of Niskin bottles and/or analysis errors, so the following statement likely underestimates SBE DO accuracy.

Downcast (CTD files) Oxygen:Dissolved:SBE data are considered, very roughly, to be:

±0.4 mL/L from 0 to 200db

±0.2 mL/L from 200db to 500db

±0.06 mL/L from 500db to 1500db

Low by up to 0.04mL/L below 1500db

The intake thermistor malfunctioned throughout the cruise and the data are not usable. Otherwise the thermosalinograph worked well throughout the cruise with few salinity spikes. Small-scale noise in salinity may be due to bubbles. A correction was made to the TSG salinity based on comparison with CTD salinity and loop samples and previous experience with the sensor. This should improve the overall accuracy but may overcorrect while the ship is stopped and where there are no bubbles, and under-corrected where bubbles are more significant. The TSG fluorescence is given in voltage units; no estimate in concentration units is provided because there was so much variability in the comparisons with loop samples and CTD fluorescence. Since the TSG lab temperature was higher than the CTD temperature by a median of ~0.18Cº, a proxy for intake temperature was created by subtracting 0.18Cº from the lab temperature.

Near-surface TSG temperatures looked high in the P12-P26 region, but were confirmed by CTD readings and Argo observations.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained.

Sampling notes from the chief scientist noted a number of issues, some of which were addressed by editing the raw files to fix file names, station name format and depths.

Nutrients, extracted chlorophyll, dissolved oxygen, DMS and salinity data were obtained in QF spreadsheet format from the analysts.

The cruise summary sheet was completed.

The history of the pressure sensor, conductivity and DO sensors were checked. All were used during 9 previous cruises, but the temperature sensors were changed before this cruise as there was a large difference between them.

All configuration files were the same and the parameters entered were correct.

##### Conversion of Full Files from Raw Data

All hex files were converted using 2016-08-ctd.xmlcon to create CNV files. The hysteresis and Tau functions were selected. There are some deep casts.

A few casts were examined and all expected channels are present and look normal.

##### BOTTLE FILE PREPARATION

The ROS files were created using file 2016-08-ctd.xmlcon.

The ROS files were converted to IOS format.

They were put through CLEAN to create BOT files.

Files #35 and #36 had to be joined since they came from a cast that was interrupted. The files were renamed as 35.BOTx and 35.BOTy and JOIN was used to create 35.BOT. The Niskin bottle numbers were correct in the joined file but the bottle numbers started again at 1 in the 2nd file, so 35.BOT was opened in Ultraedit and the bottle numbers from the second file were renumbered to match the rosette log record. The header limits for the Bottle Number channel was fixed.

Temperature and salinity were plotted for all BOT files to check for outliers. The only significant outliers came from cast #87; those bottles were fired on the fly and that cast will not be processed further.

From this point on casts 1(no sampling), 36 (merged with 35), 70 (pumps off), 86 (no sampling) and 87 (no sampling) were not processed.

A preliminary header check and no problems were found. CTD fluorescence did not go off-scale.

The BOT files were bin-averaged on bottle number and the output was used to create file ADDSAMP.csv. First, the file was sorted on event number and Bottle Position order. Then sample numbers were added based on the rosette logs.

The ADDSAMP file was then sorted on event number & then sample number.

It was used to add sample numbers to the BOT files – output *.SAM.

The SAM files were bin-averaged on bottle # and called SAMAVG.

The lines for Niskin bottles 4 to 24 were dropped from file 2016-06-0096.SAMAVG.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2016-08-bot-hdr.txt which will be updated as needed during processing.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2016-08chl*.xlsx. The file included comments and flags and a precision study. A simplified version of the spreadsheet was prepared and saved as 2016-08chl.csv. The csv file was then converted to individual CHL files.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF2016-08oxy.xlsx which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified and was then saved as 2016-08oxy.csv. That file was converted into individual *.OXY files.

SALINITY

The Autosal was not working and a considerable delay was anticipated before it would be fixed, so a Portasal was used to analyze the salinity samples.

Salinity analysis was obtained in file 2016-08SAL.xlsx which included a precision study. The analysis was done between 50 and 64 days of collection and the precision study result of Sp=0.027 is poorer than usual, but the long wait for analysis can easily explain that. The standard run was in good agreement. Sub-standards run through the analysis had a standard deviation of 0.0011, though dropping 1 of the 18 samples reduces that to 0.0007.

The files were simplified and saved as 2016-08sal.csv. File 2016-08sal.csv was then converted to individual SAL files. Note that Salinity:Bottle is only given 3 decimal places due to the use of the Portasal and delay in analysis.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2016-08_nutrients*.xlsx. This includes a precision study. The file was simplified, reordered on sample numbers and saved as 2016-08-nuts.csv. The file was converted to individual NUT files.

DMS

DMS data were obtained in file DMS summary (2016-08).xls. Values given as < were changed to 0 and those given as – were replaced with pad values; the comments that will go into the header will explain that 0 means below minimum detectable level. DMS: was entered before comments. The file was then saved as 2016-08DMS.csv and converted to individual DMS files. There was a separate report on analysis techniques and problems.

The SAL, CHL, OXY, NUT and DMS files were merged with CST files in 5 steps.

After the 5th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

The merged files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number. The output files were named MRGCLN1s. Those files were then merged with SAMAVG files choosing the Bottle_Number from the SAMAVG files.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions. Some problems were found:

- Event #35 – Salinity sample 389 was missed because it was identified as from event #36. Those events are now merged as #35. The files were corrected.

- Event 37 – changed flag from 2 to 1 for a CHL sample for which analysis was incomplete and no value is available.

- Event 56 – Samples 472 and 473 have flag 1 for DMS but should be 9. There was no flag for CHL and NUTS so added 9 flag to CHL and NUTS and changed comment to apply to all.

- Event #88 – Nutrients were missing because they were identified as from #87. Fixed event number. Flag 3 and comments for sample 712 are inappropriate. Bottles were fired on the fly for event #87 but no samples were taken. The whole cast was rerun as #88 and that is where the samples came from. The flag and comment were removed from the working files.

- Event #88 - Removed flag and comment for salinity sample 728 from the working files, since not relevant at this stage, though probably fine in the spreadsheet.

- Event 112 – Salinity samples 811, 812 and 823 were ticked on log but there were no such samples analyzed so it is assumed they were not collected. Added to working SAL file with flag 9. (Note: The samples were found and analyzed later and added to the bottle file.)

The merge process was repeated and the spreadsheet recreated.  It was sent to Marty Davelaar.

There are loop data in the salinity, nutrient, chlorophyll and oxygen spreadsheets, so those data were moved to file loop-data.xlsx.

The chief scientist provided a list of what sampling was done and there are some details in the log book. There are loops taken while underway and others were taken at the end of CTD casts while the 5m rosette was being fired.

Initial checks found a problem in cast #85, so the Addsamp and CST files were fixed and the merge steps repeated for that cast.

A list was prepared of all the casts with loop sampling. Times and dates for each loop were extracted from the log book, taking care to use the end time for the samples gathered during CTD casts. To make it easy to add the data from spreadsheets, columns were prepared with Xs marked for each variable expected. The spreadsheet could then be ordered on that column & event numbers. The sample values were then entered and the spreadsheet could be ordered on event numbers when all data had been added.

##### Compare

Salinity

Compare was run with pressure as reference channel.

There is a lot of scatter in the results. There are 2 reasons to expect this:

- There was a long wait before analysis which tends to lead to evaporation and absorption, both of which increase the salinity in the bottles, but for the evaporation this is likely a somewhat random effect. We might expect salinity values to be too high by something like an average of 0.005.

- Analysis was done on a Portasal. The Sp value from the duplicate study is fairly high at 0.0026 which may be a reflection of evaporation of samples during the relatively long wait for analysis. It could also be due to Portasal variability. The one standard sample run showed a good result and the standard deviation in the 18 substandard samples was 0.0011 and it is much lower if one outlier is removed. The scatter looks random with no consistent drift. So the Portasal may be contributing to scatter, but does not appear to have an offset.

If we exclude data from above 200m and cases where the standard deviation in the CTD salinity is >0.0008, plus 2 obvious outliers, we find:

|  | Average Difference | Standard Deviation | Median Difference | Fit against Pressure |
| --- | --- | --- | --- | --- |
| Sal0 – Sal Bottle | -0.011 | 0.004 | -0.010 | Diff = 1E-06*Press - 0.0136 |
| Sal1 – Sal Bottle | -0.007 | 0.004 | -0.006 | Diff = 8E-07*Press - 0.0085 |

The largest outliers were samples 219 (event 31) and 634 (event 78); neither had quality flags attached by the analyst. The differences are not so large as to not be explained by the combination of the delay in analysis and the lower precision of the salinometer, so a flag 3 is suggested with no attempt to attribute the cause. One other significant outlier is associated with extremely noisy CTD salinity, so the bottle value may be fine.

Based on a paper by Sy and Hinrichsen (1986) we expect an increase in salinity of about 0.0025 in 60 days due to desorption of glass into samples. Added to that would be an effect due to evaporation which is estimated to be about 0.002 based on experiments done at IOS on stored samples. The evaporation effect is fairly random since seals will not all be equally good. We have other errors in analysis or collection that will also lead to scatter and incomplete flushing of Niskin bottles will also (usually) raise salinity, with the effect significant in higher vertical salinity gradients. It is expected that the flushing errors will be fairly small in this region due to the ship movements improving flushing, but there is likely some small error.

For cast #88 there are 4 samples below 2000m and they show the secondary CTD to be lower than bottles by 0.006, 0.011, 0.003 and 0.006 at 4000m, 3500m, 3000m and 2500m respectively, so an average of 0.006psu. There are similar results for the primary salinity with an average difference of -0.010psu.

The study of 23 bottles fired at 2000db during cast #76 shows a standard deviation of 0.004 in the differences between bottles and both salinity channels. This variation would be due to errors in sampling and analysis, plus the effects of incomplete flushing and evaporation. The primary and secondary salinity values were lower than bottles by median values of 0.0097 and 0.0054psu, respectively. Desorption would account for bottles reading high by ~0.0025 and evaporation would likely account for bottles being high by an average of ~0.0015, while flushing errors are likely small. This would imply that the primary salinity is low by ~0.0057psu and the secondary low by ~0.0014psu.

The difference between the results for the 23 deep bottles and those with the data in the table above suggests that flushing errors account for errors on the order of 0.001 to 0.002 even below 200m.

The secondary salinity is likely good to ±0.002 so recalibration is not justified in light of all the unknowns. The primary salinity should be recalibrated by adding 0.004 to match the secondary.

After this comparison was run, 3 missing salinity samples were found. They were analyzed on the Autosal rather than the Portasal so were reported with 4 decimal places rather than 3. However, they were run 1 month later than the others so evaporation/adsorption errors are likely even larger, so in the CHE files they will be given the same format as the other bottle salinity data.  COMPARE was not rerun, but the 3 samples were compared with the average Salinity:T1:C1 values for the relevant bottles and the CTD values were lower than bottles by -0.0033 (1000m), -0.0002 (800m) and -0.0192 (5m) with the largest difference coming from 5m where local variability was high and differences on that order are common. So these values would not affect the conclusions reached based on the comparison as discussed above. If anything, they might suggest that the CTD is closer to bottles than COMPARE suggested; there are not enough data to conclude that the Portasal was reading low, but if it was that would just strengthen the conclusion that recalibration of the secondary salinity is not justified.

For full details for the COMPARE run see file 2016-08-sal-comp1.xls.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel.

A check was made to see if there is significant hysteresis and there was not.

When outliers were removed based on residuals, the fit looks similar to that found for the previous Line P cruise:

CTD DO Corrected = CTD DO * 1.0175 + 0.0453

However, there is a lot of scatter.

A few major outliers were explained by noisy CTD dissolved oxygen, and just 5 look to be due to major bottle problems.

- Event 23, sample 115

- Event 39, samples 310, 317, 318 and 321. Samples 317 and 318 look as though they might be switched. There was no obvious explanation for the other outliers. Sample #310 is way out of line but nutrients and salinity show that this was not a case of a bottle closing at the wrong depth. Because there were so many outliers that a plot was made with cast #39 in a different colour from all the other data. The results look very odd. The analyst was notified about these outliers. He could find no problem that explained event #39 looking odd, though the precision was poorer than average and there was a comment about a flask mix-up for one sample. He assigned a 3 flag to samples 317, 318, a 4 flag to 321 and replaced sample 310 with a pad value and flag 5. He also corrected the entry for one other sample.

Events #39, #54 and #58 stand out as different from the other casts in the comparison, even if the outliers identified above are not included. All 3 produce a similar fit when the outliers are excluded from #39. They show the CTD reading higher than the bottles which is not normal. Some possible explanations were investigated:

- There was a bucket on for #54 but not for #39. Also there was a bucket on for #86 and those data look normal.

- Hysteresis and Tau corrections were selected for all casts.

- When major outliers from #39 are excluded, the fits are similar for the 2 casts. The slope suggests poor flushing of bottles which is unlikely.

- Salinity was investigated to see if there is evidence of poor flushing from those casts. Some of the deep bottles look out of line in a direction that could indicate poor flushing, but others do not suggest that. The noise level in the bottle salinity is high with other likely explanations for low values, so this is not convincing evidence. Poor flushing should produce errors in the opposite directions above and below the DMZ and that is not the case.

- The descent rate of the CTD is very noisy for cast #39 but not particularly bad for #54 or #58.

- Movement during stops for bottles looks as though it should help with flushing for all these casts. It is hard to imagine flushing being an issue for the whole profile.

- P16 (cast #54) often stands out as a little different from other casts and there are some indications of active mixing. If this were a significant factor we should see higher standard deviations in the CTD data and we don’t. Moreover, it would be limited to a few bottle depths.

The differences do not appear to due to a problem with CTD data.

The analyst found that a significant drop in the thiosulfate normality was a problem for these casts, especially since it seemed to bounce back up and stabilize thereafter. A correction had been applied to all casts, but it was found that if the original, uncorrected standard titer and blank titer were used for these 3 casts, they produced a fit against bottles that is much closer to that from the other casts:

CTD DO Corrected = CTD DO * 1.0157 + 0.052

But there still appears to be a small trend towards DO values that are a little too low for those 3 casts for DO>3mL/L and perhaps a little low for DO<3mL/L. Errors appear to be no more than 0.075mL/L.

Flag 3 was attached to the bottles from the 3 casts that had not already been flagged 4 for other reasons.

The merge process was repeated to capture the changed flags and comments.

When all bottles from those 3 casts were excluded the fit found was:

CTD DO Corrected = CTD DO * 1.0176 + 0.051

Plots of Titrated DO and CTD DO against CTD salinity were examined. No further outliers were found.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable. The CTD fluorometer was a SeaPoint sensor. There was a wide range of CHL values with many very low values. The data show the usual pattern for this type of fluorometer with the ratio FL/CHL being high at low CHL values and dropping as CHL rises. For the highest CHL values fluorescence was about 30% of CHL. The highest CHL values come from near shore.

Three sites (P4, P16 and P26) were found with extracted CHL values from both a daytime and a nighttime cast. The ratio of Fluorescence to CHL was higher at night than during the day, but a more striking difference was found between inshore and offshore casts. At P4 the ratio ranged from 0.5 to 1.1, which makes the data reasonably useful. At P16 and P26, where chlorophyll was very low, the ratio ranged from 0.5 to 5.2 with most values well above 1.

For full details of the comparison see file 2016-08-fl-chl-comp1.xlsx.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### ALIGN DO

Tests were run on a few casts but the results were hard to judge because the temperature traces were noisy. But a setting of +2.5s looked best overall. A setting of +3s was used on several recent uses of this equipment, but seemed a little too high. ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

The noise in the upcast makes the tests for the best parameters for this routine very difficult to interpret. During other recent cruises, the default setting of (α = 0.0245, β=9.5) looked better for both conductivity channels than others tested. One cast was checked for this cruise and the default setting does improve the data. CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on a few of the deeper casts to examine differences between sensor pairs. The shaded values are from 2 previous cruises that used these sensors.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2016-47-0039 | 1000 | -0.0019 | +0.0001 | +0.0032 | High, V Noisy |
|  | 1900 | -0.0018 | +0.0002 | +0.0040 | “ |
| 2016-47-0105 | 1000 | -0.0017 | +0.00015 | +0.0038 | High, Noisy |
|  | 1900 | -0.0018 | +0.0002 | +0.0045 | “ |
| 2016-06-0029 | 1000 | -0.0021 | +0.0003XN | +0.0045 VN | High, Moderate |
|  | 1900 | -0.0017 | +0.0003 | +0.0050 | “ |
| 2016-06-0045 | 1000 | -0.0018 | +0.0002 | +0.0046 | High, Moderate |
|  | 1900 | -0.0018 | +0.0003 | +0.0054 | “ |
| 2016-06-0068 | 1000 | -0.0016 | +0.0002 | +0.0045 | High, Moderate |
|  | 1900 | -0.0016 | +0.0003 | +0.0052 | “ |
|  | 3800 | -0.0020 | +0.0003 | +0.0059 | “ |
| 2016-06-0079 | 1000 | -0.0016 | +0.0003 | +0.0048 | High, Mo”derate |
|  | 1900 | -0.0017 | +0.0003 | +0.0055 | “ |
| 2016-08-0030 | 1000 | +0.0003 | +0.0003 | +0.0037 | High, V.Noisy |
|  | 1900 | +0.0008 | +0.0004 | +0.0040 | “ |
| 2016-08-0054 | 1000 | +0.0003 | +0.0003 | +0.0038 | F. High, Noisy |
|  | 1900 | +0.0007 | +0.0004 | +0.0042 | “ |
|  | 2900 | +0.0013 | +0.0004 | +0.0040 | “ |
|  | 3400 | +0.0016 | +0.0005 | +0.0038 | “ |
| 2016-16-0065 | 1000 | -0.0001 | +0.0003 | +0.0038 | F. High, V.Noisy |
|  | 1900 | +0.0006 | +0.0004 | +0.0042 | “ |
|  | 2900 | +0.0013 | +0.0004 | +0.0040 | “ |
|  | 3400 | +0.0015 | +0.0004 | +0.0038 | “ |
| 2016-16-0088 | 1000 | +0.0001 | +0.0003 | +0.0041 | High, Noisy |
|  | 1900 | +0.0007 | +0.0004 | +0.0040 | “ |
|  | 2900 | +0.0012 | +0.0004 | +0.0038 | “ |
|  | 3400 | +0.0015 | +0.0004 | +0.0036 | “ |

Note that the temperature sensors were switched between 2016-06 and 2016-08.

The temperature differences are smaller than those seen with the sensors used during 2016-06 but they have a pressure dependence that is unusual with quite large differences below 2000m. If the pressure-dependence of the temperature differences is due to alignment that would imply the deepest differences are the “true differences” as vertical gradients are low there. Examination of the temperature profiles shows odd features in the primary channel with many spikes and cases where it looks like the temperature did not resolve features as well. There are more such spikes near the surface than at depth, so the spiking may be reducing differences in the top 2000m. At depth there are spikes, but they are seen in both channels. So the issue probably is something to do with the primary sensor itself, or perhaps due to flow around the primary sensor so that it is not resolving gradients well. As the gradients decrease, it may be operating better.

The conductivity differences are slightly higher than for the previous with slight pressure dependence.

The salinity differences are smaller than in the previous cruise and show no consistent pressure dependence.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

Casts 70a and 71 will not be processed further since the former contained only a few surface records and the latter had the pumps off. Casts #70 and 72 are at the same site.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

A cross-reference list was checked against the log book. Errors in format for the station names in events #31, 103 and 112 were found and corrected in the CLN files and in some of the bottle files.

The cruise track was plotted and added to the end of this report.

Surface check was run and shows an average surface pressure for the cruise was 3.1db which is reasonable though slightly lower than usual for Line P. There were deck measurements of pressure before and after cast #68 with values of 0.6db and 0.3db. There were no data archived for the first of those readings, so it is not known if the CTD had time to equilibrate. The pressure sensor does need considerable time to provide reliable readings. At the end of the cast, the data do look stable. During cast #112 data acquisition was not stopped until the deck unit was turned off, so data were acquired close to the surface. When the CTD was at ~0.4db the transmissivity values started to drop and reached almost 0 at 0.2db. Similar transmissivity profiles have been noted during other cruises at between 0.1db and 0.3db. Pressure readings are not considered better than ±1db by the manufacturer, though we usually feel the sensors do better than that, say ±0.2db. One cast from cruise 2016-62 was found that also sampled very close to the surface with pumps off. At about 0.2db the CTD appears to be very close to the surface judging by transmissivity. There are no data that appear to be out of water, but that is hard to judge. So the sensor may be reading slightly low, but the evidence is not strong enough to justify recalibration and the error is likely <0.3db.

The header check turned up no problems.

The altimeter and water depth readings from the headers of the CLN and SAMAVG files were exported to a spreadsheet. Water depths were compared with the log book entries and a few errors were found and corrected.

For most casts the CTD did not get within 15m of the bottom so there is no altimetry header entry. In a few cases where there were shallow casts in deep water, there is an altimeter header that is clearly wrong; such entries were removed from the headers of the CLN and SAM files. As a rough check of other entries, a calculation was made:

Check= (Pressure*0.99 -Depth +Altimeter Reading)

Where the result is <5m the entry was considered ok. That works reasonably well down to 1500m, but not at 3000 to 4000db, so the formula was varied a little, using values from 0.985 to 0.984. A few cases were found where the header depth was wrong and fixing that removed the suspect altimetry headers. In one case the altimetry looked fine and the cast was in an area where depth could easily have changed through the cast.

After correcting the SAM files they were bin averaged again and the final merge step run for the bottle files.

##### Shift

Fluorescence

SHIFT was run on the SeaPoint fluorescence channel in all casts using the usual advance of +24 records. Plots show that the fluorescence offset is reasonably close to the temperature offset after this step.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and it did. No further alignment is needed for the DO concentration channel,

Conductivity

Tests were run on 4 casts to see what shift in conductivity does the best job of removing noise in the salinity channels. No shift is very effective in removing noise from the primary salinity as it is likely mostly due to problems other than alignment. Applying a shift of +0.3 makes a slightly improvement. For the secondary there is a noticeable improvement with a shift of -0.7 records for 3 casts. However, for cast #112, the secondary data looks extremely noisy with any choice. This was a cast at station P4 from the end of the cruise, so it was compared to an earlier cast, #23, at the same site. There are large differences between the two casts as is often seen at P4, but during the first occupation the primary and secondary temperature are in reasonably good agreement. For cast #112 the two temperature channels are quite different and the downcast secondary temperature differs from the upcast by much more than the primary does. So it appears that the secondary temperature was bad for that cast. The previous CTD cast, #103, looks normal, so it is likely that something interfered with the secondary temperature for just the last CTD cast.

SHIFT was run on all casts using +0.3 records for the primary conductivity.

SHIFT was run on all casts using -0.7 records for the secondary conductivity.

Salinity was recalculated for both channels.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### Other Comparisons

Previous experience with these sensors –

All sensors EXCEPT temperature sensors were used during 4 cruises in 2015 and 5 before this cruise in 2016, one of which has not been processed yet. The pressure offset was updated based on near-surface sampling on the previous 2 cruises. Salinity calibrations were mostly not trusted due to flushing problems, delayed analysis and/or noisy comparisons for most of the cruises, but the last 3 did provide more reliable information. The secondary salinity has been closer to bottles than the primary for all cruises, reading lower by from 0.002psu to 0psu. The secondary salinity read lower than bottles by from 0.006 to 0.008psu. There were large differences between temperature sensors that account for the primary reading lower than the secondary by 0.002. The temperature sensors were changed before this cruise. The dissolved oxygen comparisons have been reasonably consistent.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. Salinity was slightly high at about 70m at P4 and low between 40m and 50m between P7 and P9 and for some casts between P12 and P16 between 30 and 50m. Temperature was high at Haro59 and at several casts between P7 and P16, and for one cast at P26. The excursions do not look like evidence of calibrations problems.

Repeat Casts – There were repeat casts though the deepest were not close together in time. Casts #86 and #88 occurred about 8 hours apart at P26. Differences along lines of constant σt were about 0.001 for the primary temperature and 0.003 for the primary salinity, and 0.0005 for secondary temperature and 0.0001 for secondary salinity at σt= 27.4 (near 1100m). This shows good repeatability, remarkably so for the secondary sensors.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

An initial examination to decide which channels to archive showed that the primary was noisier with more unstable features.  So the secondary T and S channels were selected for archiving. However, it is known that the secondary is poor for cast #112, so primary data will be needed for at least that cast. There were significant problems with the following casts:

- Cast #23 – there was a patch of bad data between 31db and 35db – while it was seen most severely in the secondary salinity it affected both T/S channels so there was no point in switching to primary channels. It looks like something interrupted flow briefly.

- Event #85 – There was a large section of bad data in channel Salinity:T1:C1 during the downcast, so primary channels were selected for editing and archiving. The primary salinity is very noisy with apparent corruption by shed wakes in those channels at levels where it is not seen in the secondary. However, after editing and bin-averaging the data should be ok. The secondary salinity is ok for the upcast, so it can be used for the bottle file.

- Event #112 – As noted in section 12 the secondary salinity was bad for this cast, so the primary temperature and salinity were selected for editing and archiving. At about 24m both salinity and temperature channels were affected by something that was not like a typical shed wakes. It is likely that the CTD encountered something that interfered with the intake to both channels and then partially cleared from the primary system. For the secondary system data quality was very bad for a while then improved but remained much noisier than usual and upcast and downcast were further apart than for the primary.  The primary salinity is quite noisy and heavy editing was going to be needed, so it was decided not to archive this cast. We have other better casts at P4. The bottle file looks ok as the noise settles down when the CTD is stopped.

CTDEDIT was used to remove large spikes, remove or clean smaller spikes that appear to be due to instrumental problems and likely to affect the bin-averaged values and records corrupted by shed wakes including some records from near the top and bottom of the casts. Some bad salinity points were removed. All files required some editing.

After editing T-S plots were examined for all casts. One bad salinity point was found and smoothed by interpolation.

##### Recalibration

There is insufficient evidence to justify recalibration of the pressure channel.

The secondary salinity values are lower than bottles by about 0.006 but the combination of incomplete flushing of bottles and evaporation and adsorption of samples likely accounts for ~0.005 of that difference, so no recalibration was justified. The primary salinity was found to be lower than the secondary by 0.004psu, so that amount should be added to bring the two channels into agreement since the primary was used for one CTD cast.

Dissolved oxygen recalibration was discussed in section 5.

File 2016-08-recal1.ccf was prepared to add 0.004 to channel Salinity:T0:C0 and to apply the following correction to channel Oxygen:Dissolved:SBE:

CTD DO Corrected = CTD DO * 1.0176 + 0.051

These corrections were first applied to the SAM and MRGCLN2 files. COMPARE was rerun and the results confirm that the two CTD salinity channels are within 0.0004 of each other. For dissolved oxygen using roughly the same points as in the fit used for recalibration, the average of differences in the DO fit was +0.0044mL/L and the standard deviation was 0.011mL/L. The fit against CTD DO was very flat.

(See file 2016-08-DO-comp2.xlsx for details.)

CALIBRATE was then run on the EDT files using the same recalibration file.

##### Bucket Study

During cast #86 cups were placed in a bucket (with holes in it) that was attached below the CTD; a smaller bucket was also placed above the CTD. Cast #88 occurred at the same site 8 hours later and had no bucket, so a study was made to see if the bucket had any apparent effect on the CTD data. There were differences between the casts that make it hard to compare, with different descent speeds and significant differences in depths where features are seen due to internal waves. No consistent pattern emerged to distinguish between the two casts. The largest differences were at depths where active mixing is obviously occurring, as judged by T-S plots. Looking deeper where changes are expected to be slower, the data with the bucket may be slightly smoother. Shed wake corruption features were present for both but the few features examined closely were slightly smaller in the cast with the bucket. This may mean that the bucket leads to more local mixing, softening the effect, but the features were notable enough that they would likely be removed in the editing process. So the bucket is not likely to have a significant effect on deep water values, but there are too many other causes of variability to conclude whether there is an effect above 500m.

##### 18 Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but to see if a further correction is needed, a comparison is made of downcast CTD data to bottle data from the same pressure. Small differences are expected due to ship drift, temporal changes, incomplete flushing of Niskin bottles and delayed response and noise in CTD data.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned and compared to the bottle values in the MRG files. COMPARE was run to study the differences between the downcast CTD DO data and the titrated samples from upcast bottles.

When all data were included the CTD DO was higher than the titrated samples by an average of ~0.06mL/L with a standard deviation of 0.25mL/L. Removing some outliers based on residuals and casts #39, 54 and 58 lowers the average to +0.03mL/L and the standard deviation to 0.06mL/L. The CTD DO is generally higher than the titrated DO samples above the Oxygen Minimum Zone. It is close to bottles near the minimum and reads lower than bottles below that. There are two known sources of error that do not involve calibration drift: slow response of the DO sensor in high gradients and poor flushing of Niskin bottles. Both will lead to the downcast DO from the sensor reading higher than the bottles above the DO minimum (found between 800 and1500m) and lower below the OMZ. A plot of the differences versus pressure was used to get a rough estimate of accuracy of DO in different pressure ranges, to be entered in the header comments.

No further recalibration is justified. See 2016-08-dox-comp3.xlsx for details.

##### 19 Fluorescence Processing and special files for Dr. Peña

The COR2 files were clipped to 150db and processed in 2 ways, with a filter and without a filter, followed by 0.5m-bin averaging in both cases. The SAM files were put through REMOVE and HEADEDIT. Those files were set aside for Dr. Peña.

A median filter, size 11, was applied to the fluorescence channel in the COR1 files. Plots of a few casts showed that the filter was effective. (Output:*.FIL)

##### 20 BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen T-S plots were examined.

##### 21 Final CTD File Steps (REMOVE and HEADEDIT)

For all casts except #85 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

The PAR channel was removed from casts 39, 54, 65, 86 and 88.

For cast #85 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Data Processing Notes:

----------------------

Transmissivity, Fluorescence and PAR data are nominal and unedited except that

some records were removed in editing temperature and salinity.

For details on how the transmissivity calibration parameters were calculated

see the document in folder "\cruise_data\documents\transmissivity".

NOTE: While the CTD fluorescence data are expressed in concentration units, they

do not always compare well to extracted chlorophyll samples, particularly for

casts far from shore. It is recommended that users check extracted chlorophyll

values where available.

Dissolved oxygen was calibrated using the method described in SeaBird

Application Note #64-2, June 2012 revision, except that a small

offset in the fit was allowed.

The SBE DO sensor has a fairly long response time so data accuracy is not as high

when it is in motion as it is during stops for bottles. This will be

especially true when vertical DO gradients are large. To get an estimate

of the accuracy of the SBE DO data during downcasts (after recalibration)

a rough comparison was made between downcast SBE DO and upcast titrated

samples. Some of the difference will be due to problems with flushing

of Niskin bottles and/or analysis errors, so the following statement

likely underestimates SBE DO accuracy.

Downcast (CTD files) Oxygen:Dissolved:SBE data are considered, very roughly, to be:

±0.4 mL/L from 0 to 200db

±0.2 mL/L from 200db to 500db

±0.06 mL/L from 500db to 1500db

Low by up to 0.04mL/L below 1500db

For details on the processing see document: 2016-08_Processing_Report.doc.

The Standards Check routine was run and no problems were found.

The Header Check was run and no problems were found.

A cross-reference list was produced.

The sensor history was updated.

The track plot looks fine.

##### 22 Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The highest value was at P2 at 150% with values between 108% and 130% at P1, P3 & P4. For casts at P6 to P26 values ranged from 102% to 106%. Surface DO saturation was about 130% in Saanich Inlet, and 80% in Haro Strait and 95% in Juan de Fuca Strait. The off-shore values suggest that the DO calibration is reasonably good as we typically see values ~103% in that area.

##### 23 Final Bottle Files

The MRGCOR2 files were put through SORT to order on increasing pressure.

REMOVE was run on all casts to remove the following channels:

Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

PAR was removed from casts 39, 54, 65, 86, 88.

(Note: The secondary channels were selected for the bottle file #85 – bad data were only found in the  downcast part of the file.)

A second SBE DO channel with mass units was added for both the CTD DO and titrated DO and REORDER was run to get the pairs of DO channels together.

HEADER EDIT was run to ensure formats and units are correct, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data processing. Note that format F7.3 was used for the Salinity:Bottle channel as recommended by the salinity analyst.

Data were exported from the CHE files to file 2016-08-bottles-final.xlsx. The entries were compared with the rosette log sheets to ensure no samples had been missed. No problems were found.

Standards check and a header check were run on all files. No problems were found.

The track plot looks ok.

Plots of each file were examined and no problems were found.

A cross-reference listing and header check were produced for the CHE files.

##### 24 Thermosalinograph Data

There were 6 hex files, but the first two were created before there was any flow in the loop, so they were not processed. There were extracted chlorophyll, nutrients and salinity samples taken while underway and some were taken at about the same time as the 5m bottle was closed during CTD casts. There were also dissolved oxygen samples taken in two different parts of the ship and from a few 5m rosette bottles.

a.) Checking calibrations

The configuration file did not change through the cruise. One file was renamed as 2016-08-tsg.xmlcon. No errors were found in the calibration parameters.

b.) Conversion of Files

4 files were converted to CNV files using configuration file 2016-08-tsg.con.

Those CNV files were then converted to IOS HEADER format.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers.

ADD TIME CHANNEL was used to add Time and Date channels.

A time-series plot showed that the data look good overall, but that there were problems with the flow rate early in the cruise that will likely affect quality and are associated with some obviously poor salinity data that should be removed later. The flow stabilized at ~1 early on August 22nd with just a few brief drops and a section at the end where flow was off but acquisition had not been stopped. Salinity generally looks good with only a few sections with the one-sided spikes so often seen in TSG salinity and even those are relatively small. There are some patches with small-scale noise that might be due to small bubbles.

The flow rate was mostly very steady at about 1

The track plot looks fine. The plot was added to the end of this report.

c.)  Checking Time Channel

The CTD files were thinned to reduce the files to a single point from the downcast at or within 0.5db of 4db and exported to a spreadsheet which was saved as 2016-08-ctd-tsg-loop-rosette-comp.xls. There were 51 casts which overlapped with TSG files. The times of those CTD casts were combined with the times of loop files, a column was added to indicate which relate to loop samples and the files were then ordered on date/time. These were saved as tsg_search.csv.

The TSG files were opened in EXCEL, median and standard deviations (over 5 records) were calculated for intake temperature, lab temperature, temperature difference, salinity and fluorescence and the files were reduced to the times of CTD files and loop samples. They were then separated into TSG and loop groups.

To check for problems in the TSG clock or bad matches of TSG and CTD data, the differences between latitudes and longitudes were found. The differences in latitude and longitude were all ≤0.0008° and the median differences were 0.0001° and 0.0002°. This shows both the times and positions are reliable for both systems.

d.) Comparison of T, S and Fl from Loop & Rosette Samples and TSG and CTD data

- T1 vs T2 The intake temperature sensor worked throughout the cruise, but it read higher than the lab temperature throughout. The data were examined to see if the two channels had somehow been reversed in conversion. A quick check suggests that did not happen since the sensor thought to be the lab temperature differs from bottles by something close to what might be explained by heating in the loop. The channel thought to be intake temperature does not look reasonable for either the intake or the lab, being much higher than CTD values. The following is a summary of results from file #5 which covers P12 to P26 from the outward journey.

|  | Tintake | Tlab | Tdiff |
| --- | --- | --- | --- |
| avg | 17.4143 | 16.8336 | 0.5807 |
| stdev | 0.2427 | 0.2622 | 0.0942 |
| max | 18.1040 | 17.5908 | 0.9468 |
| min | 16.9904 | 16.2417 | 0.2334 |
| median | 17.3665 | 16.8179 | 0.5768 |

The following plot shows how the temperature difference varied through TSG file 2016-08-0005.

- Flow Rate The flow rate was generally steady at ~1, but most files have some problems:

File #3 is most affected with all data from August 17 having low enough flow rates that the data are likely unreliable. After that flow rate is ~1.

For file #4 the flow is ~0.95 for 3.5 hours and then rises gradually to ~1.1, drops to ~1 suddenly and stays there.

Files # 5 has a rate of ~1.2 for the first 4 hours then drops to ~1; there are a few sections with short drops, but not very low. There are a few sudden, short drops.

File #6 starts fine but for an hour at the end there was no flow.

- TSG vs CTD The spreadsheet comparing CTD and TSG files was then examined to find the differences between the salinity, fluorescence and temperature channels for the CTD and the TSG.

|  | TSG lab temp - CTD Temp | TSG intake temp -CTD temp | TSG Sal - CTD Sal | TSG FL/CTD FL |
| --- | --- | --- | --- | --- |
| max | 0.6036 | 1.5146 | 0.0337 | 0.358 |
| min | 0.0162 | 0.2124 | -0.2233 | 0.054 |
| median | 0.1828 | 0.7412 | -0.0077 | 0.202 |
| average | 0.1946 | 0.7287 | -0.0117 | 0.215 |
| stdev | 0.1003 | 0.2375 | 0.0324 | 0.074 |

When outliers were identified and excluded the results were as follows.

|  | TSG lab temp - CTD Temp | TSG intake temp -CTD temp | TSG Sal - CTD Sal | TSG FL/CTD FL |
| --- | --- | --- | --- | --- |
| median | 0.1826 | 0.7695 | -0.0074 | 0.1751 |
| average | 0.1802 | 0.7641 | -0.0068 | 0.1791 |
| stdev | 0.0162 | 0.1026 | 0.0023 | 0.0539 |

The differences between the TSG intake temperature and CTD temperature are very high at the beginning of the cruise, ~1.3Cº, gradually drop to 0.2Cº during cast #28 and then rise gradually to ~0.8Cº. Even the minimum difference is still very much higher than expected. We usually get TSG intake temperature within 0.01Cº of the CTD.

8 well-mixed casts were identified by finding the depth at which the salinity had increased by 0.005 from the 4m reading. The median differences are very similar to those for the whole cruise.

1. Intake Temperature The intake temperature is higher than the CTD temperature by a median of 0.77C° and a standard deviation of 0.10C° when outliers are excluded.

2. SALINITY TSG salinity data are lower than the CTD salinity by a median value of 0.0074 with a standard deviation or 0.002 when outliers are excluded.

3. FLUORESCENCE

The TSG fluorescence data are uncalibrated and expressed in volts. The ratio of the TSG fluorescence to CTD fluorescence has a median value of 0.175 and standard deviation 0.05. Most fluorescence values are very low. Multiplying TSG Fluorescence by a factor of 10 looks reasonable for voltages >0.4, but at lower voltage this will give values that are too high.

See 2016-08-ctd-tsg-loop-rosette-comp.xls.

- Loop vs Rosette

The loop salinity was higher than the rosette salinity by an average of 0.002psu but the standard deviation was 0.007 and differences ranged from the loop salinity being higher by 0.01psu to it being lower by 0.01psu. So this result does not look reliable.

The comparison between the chlorophyll from the loop and rosette shows a lot of variability even when one flagged value is excluded. The median difference is 0.00ug/L but the average shows the loop CHL being high by 0.4ug/L and the standard deviation is 0.8ug/L. Near-shore where CHL values are high the loops tend to be low while offshore they are close and often higher.

There were only 5 dissolved oxygen values that could be compared and 2 of those were flagged. The loop samples were consistently higher than the rosette samples, by from 0.01 to 0.07mL/L.

Nutrients from the loop were mostly lower than from the rosette except close to shore where they were higher. The latter is likely due to a mismatch in depths being more significant in the presence of high vertical gradients.

- Dissolved Oxygen Loops

There were oxygen samples taken both in the lab and in the transducer compartment. The TR samples are slightly closer to the Rosette samples, reading lower than the lab loop samples by an average and median of 0.008mL/L, but both sets appear to read too high.

- Loop Bottle - TSG Comparisons

The TSG salinity was lower than loop samples by 0.018 with a standard deviation of 0.007 when 2 outliers are excluded. The loop samples waited some time for analysis and are likely reading too high on average by ~0.0045. The TSG salinity is lower than loop bottles by a median value of 0.015 when stopped and 0.018 when underway. It is likely that the difference between the two values is due to bubbles as even where large spikes in salinity are not noted, there are likely some small bubbles that will not be present in the bottle samples when they are analyzed.

Extracted chlorophyll values were mostly very low (75% <0.5ug/L) and comparisons with a fluorometer always has a lot of variability at those levels. The fluorescence is about 30% of the loop chlorophyll while stopped and about 40% while underway. There are too few bottles to consider this significant, but it may be because the CHL values while underway were lower overall and the fluorometer tends to read higher than CHL when CHL is <1ug/L.

(See 2016-08-ctd-tsg-loop-rosette-comp.xls.)

- Calibration History

The temperature and conductivity sensors were recalibrated in November 2015 and were used during 2016-01, 2016-47 and 2016-06.

2016-01: The salinity was spiky so comparisons with loops and CTD were not trusted. There were also variations in flow rates that complicated comparisons.  The TSG fluorometer values were about 24% of the CTD fluorometer for 2016-01. Chlorophyll values were low for that cruise. The fluorescence data were archived in volts.

2016-47: Salinity quality was higher than for 2016-01 but there was too much scatter in the comparisons to justify recalibration. Fluorescence was left in voltage and a multiplier of 7.5 was suggested for a rough estimate in concentration units in areas where CHL>0.5ug/L.

2016-06: Salinity was recalibrated by adding +0.015 based on differences while underway which were higher than while stopped. Fluorescence was archived in volts and for those who wanted a rough estimate it was suggested that fluorescence be multiplied by 3 while stopped and 4 while underway where CHL<1ug/L. For higher values no estimate was recommended.

Conclusions

1. The TSG clock worked well.

2. The TSG flow rate was generally steady with values ranging from 0.95 to 1.2 except for a few sections at the beginning of file #3 and the end of file #5 and a few other very short drop-outs.

3. The temperature in the loop increases by roughly 0.18Cº.

4. The TSG intake temperature was higher than the CTD temperature by a median of about 0.77Cº, but there is a lot of variability in the comparison. At best it read high by 0.2Cº. The sensor was clearly malfunctioning. It read higher than the lab temperature.

5. The TSG Salinity is lower than the CTD salinity by about 0.007 with a standard deviation of 0.002. The TSG likely draws water from a little higher than the CTD sampling depth, so it could be reading somewhat lower than it appears. Compared to loop samples the TSG salinity is low by 0.021 while underway and by 0.014 while stopped. The loop samples are thought to be reading a little high due to delayed analysis, so the TSG salinity is likely not reading as low as that suggests. Somewhere between 0.007 and 0.018 looks likely. During 2016-06 it was thought to be reading low by 0.015 while moving.

6. The fit of CTD fluorescence in ug/L against TSG fluorescence in volts has too much scatter for a reasonable fit and no attempt will be made to suggest a multiplier for a rough estimate as there is more variability than usual.

7. Other than the intake temperature, the quality of the TSG data is good.

8. Calibration of TSG salinity is justified given that comparisons with both CTD and loop samples show it to be reading low. Adding 0.008psu is suggested by a comparison with CTD data, but most of the TSG record is collected in motion. The comparison with loops suggests a correction of +0.018psu, but there is a lot of variability and the salinity sample analysis was delayed enough that it might bring the difference down to 0.0135psu. Adding +0.015psu looks like a reasonable choice based on history. TSG fluorescence will be left in voltage units.

f.) Editing

The ATC files were copied to *.EDT.

Each file was opened in CTDEDIT and

File 3 – Remove first 244 points in temperature, salinity, fluorescence due to low flow rate.

File 4 – Salinity cleaned very lightly.

File 5 – Removed some points in temperature and salinity when flow rate was briefly low and clearly affected those variables. Fluorescence was very low and there is no evidence that it was affected.

File 6 – Removed about 90 points in temperature, salinity, fluorescence at the end of the file due to zero flow rate.

g.) Recalibration

ADD CHANNEL was used to add channel Temperature:Lab and to set it equal to Temperature:Primary.

File 2016-08-tsg-recal1.ccf was used to add 0.015 to channel Salinity:T0:C0 and to subtract 0.18 from Temperature:Primary.

h.) Preparing Final Files

REMOVE was used to remove the following channels from all casts: Scan Number, Temperature:Secondary, Temperature:Difference, Conductivity:Primary, Flag and Position:New channels.

HEADER EDIT was used to add a comment, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header and to change channel names to standard names and formats.

Those files were saved as TOB files.

The Standards Check and Header Check were run; no problems were found.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and it looks fine.

The cruise plot was added to the end of this report.

##### 25 Loop File

The CHE files were put through program DERIVE to obtain sigma-t.

Data from those files were exported to file 2016-08-che-surface.csv. Data from below 7m were removed.  (Note that draw temperature should be exported if there are loop DO samples, to enable derivation of DO in mass units.) For 2016-08 the loop DO samples were collected for testing and are not to be archived.

Sample number and sample method columns were added. ROS was entered for the method.

The Start Time was copied into a second column and the first was formatted for date and the second for time. Columns were rearranged to fit a model 6-line header.

Times were corrected for rosette samples to match the end of casts.

The data were sorted on event number, then pressure and added to the 6-line header file.

Loop data had been prepared earlier for use in comparisons with the TSG data. That included adding date/time based on log entries. The data were added to the spreadsheet and lined up appropriately. DO samples were not included. The sampling method column was entered as USW. Positions were added.

The file break column was filled with value 1 so all data will be in a single file when converted.

The file was sorted on event numbers and pressure.

The file was then saved as 2016-08-surface-6linehdr.csv.

(Note: For future reference on another occasion this step failed several times and no cause could be found. Closing all EXCEL files and trying again eventually worked – the program conversion program seemed to remember an input file that had since been fixed.)

A few entries were removed as there were loop data to be entered.

A comment file was prepared which was essentially the same as the one used in preparing CHE files but including a description of the loop system.

CONVERT was run to produce an IOS Header file. The flags and comments were entered in the headers in the conversion process.

CLEAN was run to get start and stop times and positions.

Header Edit was used to correct channel names and formats and to add comments. The final file was renamed as 2016-08-surface.loop. The track plots looks reasonable and a plot of temperature and salinity versus longitude looks reasonable.

Particulars – from log book and Chief Scientist’s sampling notes

PAR OFF: 39, 54, 65, 86, 88.

Out of Order firing: 2, 6, 26, 42, 51, 58, 72, 85, 90, 96 (but 4-24 not needed), 112.

Casts with no bottles closed: 68 & 86 – bottles not needed for 68 but CTD data would be good to compare with 88 – one with buckets, one without.

Deployment Method – Rosette brought to surface, pumps turned on, rosette taken to 10m and back up. Start archiving and wait 30s, then cast run.

1. Test cast. Bottles fired but no CHE file needed.

2. Rosette at bottom long time – wire angle problems, strong currents. Out of order from the plan. Order of firing was N1/209m, N3/200, N4/175, N5/150, N2/125, N6/100 then as planned

3. JF2 is file 3 should be 6. Fixed in RAW files

18. File named wrong - should be 17. Fixed in RAW files

18cs – real 18 rename when 17 fixed. Fixed in RAW files

20. N10 closed at 20, N11 closed at 25, N1 top valve not well closed.

23. Cast not recording, brought up and started again with same event number.

29. Depth should be 2505 – wrong entry in log – header ok. Fixed.

30. Station P8 – fix in header from P08. Depth in header is right, logs wrong. Fixed in RAW files

31. Station depth should be 2350. Ok in file; wrong in logs

33. Depth in logs wrong – header ok.

34. Depth wrong everywhere should be 2640. Fixed in RAW files

35/36 – computer crash on way up ~350db after firing Niskins 1 to 5. Restart with event 36 and Niskins 6 to 12. When merged call 35.

38. Should be called 39. Fixed in RAW files

39. Oxy value at 1500db looks way off

50 & 51. Depth in header should be 3633. Fixed in RAW files

51. No water left for CHL 405/408/sal 408 – flag 9

56. Niskin 1 – crossed off rosette log because top valve was not quite closed but sample should still be good.

68. No Niskin closed. Deck pressure 0.6 before and 0.3 after. Let the CTD archive from beginning to end.

70. CTD only – changed variables on downcast so lost the trace and returned to surface to try again. OK as CTD file.

70a – just a few surface readings. Not processed.

71. Pumps not on – useless.

72. No water left for CHL 553 – flag 9

76. No water left for SAL 631 – flag 9

85/ Niskin 1 closed at 500 instead of 300, so 300dbar sample (#682) from N24 instead. Sam#697 is from N1 instead of N16.

86/87. Winch stopped in the water – long delay – water dumped and rosette cast rerun as 87. But 86 ok for CTD file.

96. N4-N24 not needed in file.

112. Forgot to stop archiving before deck unit turned off.

TSG: files 1 & 2 started before flow began. So file #3 is first file to use.

3. Some problems adjusting flow rate – stable by time ship left Haro59.

4. Started at P4 to change display.

5. Started just before P12.

6. Started at Papa has whole return leg.

# CRUISE SUMMARY

CTDs

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4752 | 16Dec2015 | Factory |  |  |
| Conductivity | 2280 | 19Dec2014 | Factory |  |  |
| Secondary Temp. | 2710 | 16Dec2015 | Factory |  |  |
| Secondary Cond. | 2754 | 19Dec2014 | Factory |  |  |
| Transmissometer | 1185DR | 27Apr016 | IOS |  |  |
| SBE 43 DO sensor | 0997 | 17Jan2015 | Factory |  |  |
| PAR | 70613 | 21Mar2016 | Factory |  |  |
| SeaPoint Fluor. | 3640 | n/a |  |  |  |
| Pressure Sensor | 0443 | 17Dec2014 | Factory |  |  |
| Altimeter | 62354 | n/a | Factory |  |  |

# CRUISE SUMMARY     TSG

Make/Model/Serial#:	SEABIRD/21/3411       Cruise ID#:	2016-08

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 3411 | 7Nov15 | Factory |  |  |
| Conductivity | 3411 | 7Nov15 | Factory |  |  |
| WetLabs Fluorometer | Ws3s-953p |  |  |  |  |
| Temperature:Secondary | ? | 0842 |  |  |  |
| Flow meter | ? | n/a |  |  |  |