## Method and notes
DMS analysis method
All DMS samples were collected in 250mL ground glass stoppered bottles and stored in a fridge, in the dark and removed one at a time before analysis.
A sample was loaded onto the stripper and purged with UHP Nitrogen for 10 minutes at ~100mL/min.
The DMS was extracted from the water and absorbed onto a Tenax TA trap kept at -80oC.
The trap was subsequently desorbed at 100oC (with a dewar containing boiling water) onto a Chromasorb 330 column which eluted onto a Flame Photometric Detector (FPD).
All samples were run as soon as possible after being collected.
DMS Calibration
A four to six level calibration table was used for calculating the concentrations of DMS.
The standards were prepared in water and run under the same conditions, as described above, for the samples.
A calibration curve was valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run approximately every 13 samples to ensure the system remained free of contamination and had acceptable reproducibility.
Stripping efficiency was evaluated at the beginning of the cruise and was proven to be acceptable at over 97%.
Quality Flags
From cruise 2013-01 on, data quality is expressed with the following flags:
1 = Sample for this measurement was collected but not analyzed. Sample lost.
2 = Acceptable measurement.
3 = Questionable measurement (probably good).
4 = Poor measurement (probably bad).
5 = Measurement not reported (bad).
6 = Mean of replicate measurements.
7 = Manual chromatographic peak measurement.
8 = Irregular digital chromatographic peak integration.
9 = Sample was planned for this measurement from this bottle but was not collected
System
No problems
Notes specific for this cruise
The average of duplicates is reported.

## QF file
Event_Number | Station | Sample_Number | Dimethyl_Sulphide | Flag:Dimethyl_Sulphide | Comments
16 | P2 | 50 | 0.93547
16 | P2 | 51 | 0.52703
16 | P2 | 52 | 0.2016
16 | P2 | 54 | 0.3227
16 | P2 | 55 | 0.3057
16 | P2 | 56 | 0.27839
16 | P2 | 57 | 0.33 | 6
16 | P2 | 58 | 0.99982
16 | P2 | 59 | 1.1655
16 | P2 | 60 | 2.862
16 | P2 | 62 | 10.4627
20 | P4 | 88 | -99 | 5 | DMS: Likely contaminated due to open valve.
20 | P4 | 89 | 0.27962 | 3 | DMS: Only questionable because never gotten a "hit" this deep before. Good peak otherwise
20 | P4 | 90 | 0.29816
20 | P4 | 91 | 0.32406
20 | P4 | 92 | 0.25984
20 | P4 | 94 | 0.37072
20 | P4 | 95 | 0.53925
20 | P4 | 96 | 2.6599
20 | P4 | 97 | 4.2195
20 | P4 | 98 | 8.53 | 6
20 | P4 | 99 | 10.1002
20 | P4 | 100 | 10.9637
20 | P4 | 101 | 11.9869
20 | P4 | 102 | 12.5668
37 | P12 | 290 | 0
37 | P12 | 291 | 0
37 | P12 | 292 | 0
37 | P12 | 293 | 0
37 | P12 | 294 | 0.35079
37 | P12 | 296 | 1.1238
37 | P12 | 297 | 1.1238
37 | P12 | 298 | 1.1428
37 | P12 | 299 | 1.1798
37 | P12 | 300 | 1.22 | 6
37 | P12 | 301 | 1.1676
37 | P12 | 302 | 1.149
37 | P12 | 303 | 1.1206
37 | P12 | 304 | 1.0784
56 | P16 | 460 | 0
56 | P16 | 461 | 0
56 | P16 | 462 | 0
56 | P16 | 463 | 0
56 | P16 | 464 | 0.1966
56 | P16 | 466 | 0.78868
56 | P16 | 467 | 0.96905
56 | P16 | 468 | 1.2304
56 | P16 | 469 | 1.264
56 | P16 | 470 | 1.32 | 6
56 | P16 | 471 | 1.3286
56 | P16 | 472 | -99 | 1 | DMS: Niskin spigot was not closed. Sample not collected
56 | P16 | 473 | -99 | 1 | DMS: Niskin spigot was not closed. Sample not collected
56 | P16 | 474 | 1.3535
63 | P20 | 506 | 0
63 | P20 | 507 | 0
63 | P20 | 508 | 0
63 | P20 | 509 | 0.36039
63 | P20 | 510 | 0.52364
63 | P20 | 512 | 4.1225
63 | P20 | 513 | 18.5886
63 | P20 | 514 | 19.0278
63 | P20 | 515 | 16.1684
63 | P20 | 516 | 17.03 | 6
63 | P20 | 517 | 13.1197
63 | P20 | 518 | 10.1634
63 | P20 | 519 | 9.0834
63 | P20 | 520 | 8.577
85 | P26 | 682 | 0
85 | P26 | 683 | 0
85 | P26 | 684 | 0
85 | P26 | 685 | 0.3507
85 | P26 | 686 | 0.57591
85 | P26 | 688 | 1.2042
85 | P26 | 689 | 11.083
85 | P26 | 690 | 26.7521
85 | P26 | 691 | 26.4732
85 | P26 | 692 | 18.91 | 6
85 | P26 | 693 | 19.3714
85 | P26 | 694 | 20.4855
85 | P26 | 695 | 17.7882
85 | P26 | 696 | 14.5629

## raw data
Cruise 2016-08
Time
Date | Event # | Station | Sample # | Niskin | Depth | Analysis | MDL | DMS
2016 |  |  |  |  | m | (local) | nM | nM
2016-08-18 | 16 | P2 | 50 | 2 | 100 | 9:40 | 0.1 | 0.93547
2016-08-18 | 16 | P2 | 51 | 3 | 75 | - | 0.1 | 0.52703
2016-08-18 | 16 | P2 | 52 | 4 | 50 | - | 0.1 | 0.2016
2016-08-18 | 16 | P2 | 54 | 6 | 40 | - | 0.1 | 0.3227
2016-08-18 | 16 | P2 | 55 | 7 | 30 | - | 0.1 | 0.3057
2016-08-18 | 16 | P2 | 56 | 8 | 25 | - | 0.1 | 0.27839
2016-08-18 | 16 | P2 | 57 | 9 | 20 | - | 0.1 | 0.33888
2016-08-18 | 16 | P2 | 57 | 9 | 20 | 11:40 | 0.1 | 0.3227
2016-08-18 | 16 | P2 | 58 | 10 | 15 | - | 0.1 | 0.99982
2016-08-18 | 16 | P2 | 59 | 11 | 10 | - | 0.1 | 1.1655
2016-08-18 | 16 | P2 | 60 | 12 | 5 | - | 0.1 | 2.862
2016-08-18 | 16 | P2 | 62 | 14 | 0 | 12:40 | 0.1 | 10.4627
2016-08-18 | 20 | P4 | 88 | 1 | 300 | 15:45 | 0.1 | 0.29816
2016-08-18 | 20 | P4 | 89 | 2 | 200 | - | 0.1 | 0.27962
2016-08-18 | 20 | P4 | 90 | 3 | 175 | - | 0.1 | 0.29816
2016-08-18 | 20 | P4 | 91 | 4 | 100 | - | 0.1 | 0.32406
2016-08-18 | 20 | P4 | 92 | 5 | 75 | - | 0.1 | 0.25984
2016-08-18 | 20 | P4 | 94 | 7 | 50 | - | 0.1 | 0.37072
2016-08-18 | 20 | P4 | 95 | 8 | 40 | - | 0.1 | 0.53925
2016-08-18 | 20 | P4 | 96 | 9 | 30 | 17:45 | 0.1 | 2.6599
2016-08-18 | 20 | P4 | 97 | 10 | 20 | - | 0.1 | 4.2195
2016-08-18 | 20 | P4 | 98 | 11 | 25 | - | 0.1 | 8.3513
2016-08-18 | 20 | P4 | 98 | 11 | 25 | - | 0.1 | 8.712
2016-08-18 | 20 | P4 | 99 | 12 | 15 | 18:50 | 0.1 | 10.1002
2016-08-18 | 20 | P4 | 100 | 13 | 10 | - | 0.1 | 10.9637
2016-08-18 | 20 | P4 | 101 | 14 | 5 | - | 0.1 | 11.9869
2016-08-18 | 20 | P4 | 102 | 15 | 0 | 19:40 | 0.1 | 12.5668
2016-08-20 | 37 | P12 | 290 | 1 | 300 | 13:45 | 0.1 | <
2016-08-20 | 37 | P12 | 291 | 2 | 200 | - | 0.1 | <
2016-08-20 | 37 | P12 | 292 | 3 | 175 | - | 0.1 | <
2016-08-20 | 37 | P12 | 293 | 4 | 100 | - | 0.1 | <
2016-08-20 | 37 | P12 | 294 | 5 | 75 | - | 0.1 | 0.35079
2016-08-20 | 37 | P12 | 296 | 7 | 50 | - | 0.1 | 1.1238
2016-08-20 | 37 | P12 | 297 | 8 | 40 | - | 0.1 | 1.1238
2016-08-20 | 37 | P12 | 298 | 9 | 30 | - | 0.1 | 1.1428
2016-08-20 | 37 | P12 | 299 | 10 | 25 | - | 0.1 | 1.1798
2016-08-20 | 37 | P12 | 300 | 11 | 20 | 16:00 | 0.1 | 1.262
2016-08-20 | 37 | P12 | 300 | 11 | 20 | - | 0.1 | 1.1798
2016-08-20 | 37 | P12 | 301 | 12 | 15 | - | 0.1 | 1.1676
2016-08-20 | 37 | P12 | 302 | 13 | 10 | - | 0.1 | 1.149
2016-08-20 | 37 | P12 | 303 | 14 | 5 | - | 0.1 | 1.1206
2016-08-20 | 37 | P12 | 304 | 15 | 0 | 17:45 | 0.1 | 1.0784
2016-08-22 | 56 | P16 | 460 | 1 | 300 | 11:55 | 0.1 | <
2016-08-22 | 56 | P16 | 461 | 2 | 200 | - | 0.1 | <
2016-08-22 | 56 | P16 | 462 | 3 | 175 | - | 0.1 | <
2016-08-22 | 56 | P16 | 463 | 4 | 100 | - | 0.1 | <
2016-08-22 | 56 | P16 | 464 | 5 | 75 | - | 0.1 | 0.1966
2016-08-22 | 56 | P16 | 466 | 7 | 50 | - | 0.1 | 0.78868
2016-08-22 | 56 | P16 | 467 | 8 | 40 | - | 0.1 | 0.96905
2016-08-22 | 56 | P16 | 468 | 9 | 30 | - | 0.1 | 1.2304
2016-08-22 | 56 | P16 | 469 | 10 | 25 | - | 0.1 | 1.264
2016-08-22 | 56 | P16 | 470 | 11 | 20 | 14:00 | 0.1 | 1.3597
2016-08-22 | 56 | P16 | 470 | 11 | 20 | - | 0.1 | 1.2706
2016-08-22 | 56 | P16 | 471 | 12 | 15 | - | 0.1 | 1.3286
2016-08-22 | 56 | P16 | 472 | 13 | 10 | - | 0.1 | *
2016-08-22 | 56 | P16 | 473 | 14 | 5 | - | 0.1 | *
2016-08-22 | 56 | P16 | 474 | 15 | 0 | 16:55 | 0.1 | 1.3535
2016-08-23 | 63 | P20 | 506 | 1 | 300 | 12:15 | 0.1 | <
2016-08-23 | 63 | P20 | 507 | 2 | 200 | - | 0.1 | <
2016-08-23 | 63 | P20 | 508 | 3 | 175 | - | 0.1 | <
2016-08-23 | 63 | P20 | 509 | 4 | 100 | - | 0.1 | 0.36039
2016-08-23 | 63 | P20 | 510 | 5 | 75 | - | 0.1 | 0.52364
2016-08-23 | 63 | P20 | 512 | 7 | 50 | - | 0.1 | 4.1225
2016-08-23 | 63 | P20 | 513 | 8 | 40 | - | 0.1 | 18.5886
2016-08-23 | 63 | P20 | 514 | 9 | 30 | - | 0.1 | 19.0278
2016-08-23 | 63 | P20 | 515 | 10 | 25 | - | 0.1 | 16.1684
2016-08-23 | 63 | P20 | 516 | 11 | 20 | 14:08 | 0.1 | 17.6494
2016-08-23 | 63 | P20 | 516 | 11 | 20 | - | 0.1 | 16.4054
2016-08-23 | 63 | P20 | 517 | 12 | 15 | - | 0.1 | 13.1197
2016-08-23 | 63 | P20 | 518 | 13 | 10 | - | 0.1 | 10.1634
2016-08-23 | 63 | P20 | 519 | 14 | 5 | - | 0.1 | 9.0834
2016-08-23 | 63 | P20 | 520 | 15 | 0 | 15:45 | 0.1 | 8.577
2016-08-25 | 85 | P26 | 682 | 24 | 300 | 15:30 | 0.1 | <
2016-08-25 | 85 | P26 | 683 | 2 | 200 | - | 0.1 | <
2016-08-25 | 85 | P26 | 684 | 3 | 175 | - | 0.1 | <
2016-08-25 | 85 | P26 | 685 | 4 | 100 | - | 0.1 | 0.3507
2016-08-25 | 85 | P26 | 686 | 5 | 75 | - | 0.1 | 0.57591
2016-08-25 | 85 | P26 | 688 | 7 | 50 | - | 0.1 | 1.2042
2016-08-25 | 85 | P26 | 689 | 8 | 40 | - | 0.1 | 11.083
2016-08-25 | 85 | P26 | 690 | 9 | 30 | - | 0.1 | 26.7521
2016-08-25 | 85 | P26 | 691 | 10 | 25 | - | 0.1 | 26.4732
2016-08-25 | 85 | P26 | 692 | 11 | 20 | - | 0.1 | 18.9813
2016-08-25 | 85 | P26 | 692 | 11 | 20 | 18:10 | 0.1 | 18.8359
2016-08-25 | 85 | P26 | 693 | 12 | 15 | - | 0.1 | 19.3714
2016-08-25 | 85 | P26 | 694 | 13 | 10 | - | 0.1 | 20.4855
2016-08-25 | 85 | P26 | 695 | 14 | 5 | - | 0.1 | 17.7882
2016-08-25 | 85 | P26 | 696 | 15 | 0 | 19:15 | 0.1 | 14.5629
* Niskin spigot was not closed. Sample not taken/lost.

## Dups
Cruise 2016-08
Standard Deviation of Pairs (Sp)
| ID | Sample | Duplicate | Relative | (S-D)SQ
| (Sample #) | (S) | (D) | % Difference
[6 empty] | Sum of (S-D)SQ | 1.7017
P2 | 57 | 0.34 | 0.32 | 6.0606 | 0.0004 | Count | 6
P4 | 98 | 8.35 | 8.71 | 4.2204 | 0.1296 | Sum/2/Count | 0.14181
P12 | 300 | 1.26 | 1.18 | 6.5574 | 0.0064 | SQR of Sum/2/Count (Sp)= | 0.37657
P16 | 470 | 1.36 | 1.27 | 6.8441 | 0.0081
P20 | 516 | 17.65 | 16.41 | 7.2813 | 1.5376
P26 | 692 | 18.98 | 18.84 | 0.74035 | 0.0196
|  |  | Mean | 5.284