File List for SeaBird Data          Cruise Number: _2016-20____

[osdcommon\cruise_data\2016-20\ARCHIVE]

[osdcommon\cruise_data\2016-20\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2016-20\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2016-20\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2016-20\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2016-20\ARCHIVE\LOGS] any scanned logs or Raw SCS files

[osdcommon\cruise_data\2016-20\PROCESSING]

[osdcommon\cruise_data\2016-20\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2016-20\PROCESSING\DERIVE]*.CNV – after convert /wildedit /wfilter /align /celltm /derive

[osdcommon\cruise_data\2016-20\PROCESSING\DOC]

2016-20-recal1.ccf – calibration control file

2016-20-ctd.xmlcon – configuration files used in processing

2016-20_File.doc - this document

2016-20_Processing_Report.doc - processing notes

2016-20-ctd-final.rpt – CTD file header check including channel summary

2016-20-ctd-xref.lis – cross reference list of CTD files

2016-20-altimeter-ctd.csv – summary of header altimetry and water depths

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2016-20\PROCESSING\DOC\hydro]

2016-20chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2016-20nuts.csv – nutrients simplified from analyst’s s/s

2016-20sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2016-20-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2016-20-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2016-20-bottles-final.xlsx – summary of bottle data in CHE files

2016-20-che-final.rpt – final header check of bottle files

2016-20-che-xref.lis – cross-reference listing of bottle files

2016_20 Flostrand Event, Rosette, Bongo, EK60 and MMO logs.xlsx – cruise details

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2016-20\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgreo – penultimate files just before Head Edit applied – use if want to adjust comments/formats

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2016-20\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip – data after SHIFT run and then removal of initial soak records

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (all files were edited)

*.ios – data after conversion to IOS SHELL format

*.reo – penultimate files just before Head Edit – use if want to update comments or formats

*.log - log files created by CTDEDIT

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2016-20\RAW]

[osdcommon\cruise_data\2016-20\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2016-20\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2016-20\RAW\DOC] documents

[osdcommon\cruise_data\2016-20\RAW\LOGS] logs