## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 03-Oct-2017 | Corrected MISSION metadata field in header. R.H. |

## PROCESSING NOTES

Cruise: 2016-56

Agency: IOS, Ocean Sciences Division &

PBS, Marine Ecosystems and Aquaculture Division, Nanaimo, B.C.

Location: Strait of Georgia

Project: Strait of Georgia Pelagic Ecosystem Survey

Party Chief: Gauthier S.

Platform: W.E. Ricker

Date: 19 July 2016 – 31 July 2016

Processed by: Germaine Gatien

Date of Processing: 19 October 2016 – 26 October 2016

Number of original HEX files: 27		Number of CTD files:  10

Number of “Camera” files partially processed: 17

Number of bottle files: 9			Number of bottle casts processed: 9

# INSTRUMENT SUMMARY

Two CTDs were used during this cruise:

- SeaBird Model SBE 25+ CTD (#1091) was mounted in a mini-rosette and attached were a Wetlabs CSTAR transmissometer (#983DR), a SBE 43 DO sensor (#1483) and an umpumped WetLabs ECO Fluorometer (#2216).

- SeaBird Model SBE911+ was mounted with a camera attached. External sensors were an umpumped WetLabs ECO Fluorometer (#2214) and a SBE43 DO sensor (#3038).

Seasave version V7 23.2 was used for acquisition.

The CTD deck unit was SBE model 33, #0083.

The salinometer used at IOS was a Guildline model 8400B Autosal, serial # 68572.

An IOS min-rosette with 6 5L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

The Log Book and Rosette Sampling sheet were in good order with a list of personnel and equipment and useful comments.

The sample numbers were assigned in an odd order. For the first cast the first sample number was assigned to the first bottle fired, which is the normal method. However, for all other casts the sample numbers were assigned from top to bottom, so the first bottle fired has the highest sample number. This is not the standard approach and makes processing awkward. It could also lead to mislabelling of bottles by samplers who are used to a different method on other cruises.

The sampling rate was 4Hz. This type of CTD is usually set to 8Hz and more data would be useful.

Salinity calibration sampling suggests that there has been little drift in temperature and conductivity sensors. There were not many samples, but some of the deep ones were in waters with very low vertical salinity gradients, so they were very useful. A few bottles were fired without a 30s wait.

The ECO fluorescence values follow the usual pattern of being higher than extracted chlorophyll samples when CHL<0.5ug/L and somewhat lower for higher CHL.

The data collected from the CTD operated with the camera were partially processed for the use of the researchers. The data are not considered suitable for the OSD Data Archive because of long stops during downcasts for other work. The files are in IOS Header format and contain the full cast. See PART 2 – CTD 0585 mounted with camera for details.

# PROCESSING SUMMARY

# PART 1 – CTD1091 with mini-rosette

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained as well as well as a summary of rosette sampling, a plankton net tow log sheet and multinet log sheet.

Nutrients, extracted chlorophyll and salinity data were obtained in QF spreadsheet format from the analysts.

The cruise summary sheet was completed.

The pressure sensor, temperature and conductivity sensors had been used for 2 other cruises since they were last calibrated. The dissolved oxygen sensor was used for 4 other cruises only 2 cruises included DO calibration sampling.

##### Conversion of Full Files from Raw Data

The configuration file used at sea contains pressure sensor calibrations that are not the most recent for this sensor. However, when the same sensors were used for 2016-02 and 2016-03 the older calibration was used by accident. The differences were slight, but overall it looked like the older calibration produced better results. So a test conversion of a few files that had low pressures near the end of the casts was done to see which produced the best results. The difference in pressures is about 0.3db at the surface with the July calibration showing negative pressures for data that have in-water values. It is possible that the CTD was above the surface but carrying some water with it. However, when the July pressure value is about -0.2db in cast #1, the transmissivity is still high but very soon after that it drops and soon after that the conductivity starts to fall, suggesting the CTD was very close to the surface. The older calibration sees those events as happening at +0.1db.

The difference between the two calibrations is about 0.3db at the surface and 0.26db at 276db. Given that the 2 earlier cruises also suggest that the February pressure calibration is better, at least at the surface, the older values will be used in converting these casts. The error will be no more than 0.3db, which is well within the accuracy quoted for this instrument.

All hex files were converted file 2016-56-ctd-1091.xmlcon.

A few casts were examined and all expected channels are present and look reasonable, but the initial soak data was recorded for at least 1 cast; those data will need to be removed before running DELETE.

The descent rates were high and steady.

##### BOTTLE FILE PREPARATION

The ROS files were created using file 2016-56-ctd.xmlcon.

The ROS files were converted to IOS format.

They were put through CLEAN to create BOT files. Temperature and salinity were plotted for all BOT files to check for outliers and none were found.

A preliminary header check was run and no problems were found.

The BOT files were bin-averaged on bottle number and the output was used to create file ADDSAMP.csv. Sample numbers were added to the file based on the rosette log records. For casts 8 and 17 two bottles were fired at 10m but samples came from only Niskin #3, so Niskin #4 was removed from the ADDSAMP file.

For all casts except #1, the sample numbers are not in the usual order – the last bottle fired has the lowest sample # and the numbers increase with depth.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Those files were then bin-averaged and called SAMAVG.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2016-56-bot-hdr.txt which will be updated as needed during processing.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file QF2016-56chl*.xls which included comments, flags and a precision study. The spreadsheet was simplified by removing some columns and the file was saved as 2016-56chl.csv. The file was then converted to individual CHL files.

A correction was made to the sample number for the bottle that misfired – it should be sample #3, not #2.

NUTRIENTS

The nutrient data were obtained in spreadsheet QF2016-56nuts.xls. This includes a precision study. The file was simplified, reordered on sample numbers and saved as 2016-56-nuts.csv. The csv file was converted to individual NUT files.

SALINITY

Salinity analysis was obtained in 2016-56SAL.xls. Analysis was done within 11-23 days of collection. The file was simplified and saved as 2016-56sal.csv which was then converted to individual SAL files.

The SAL, CHL and NUT files were merged with CST files in 3 steps.

After the third step flag “1” was added to the nutrient samples for bottle #3.

After the 3rd step the files were put through CLEAN to reduce the headers to File and Comment sections only.

Flag 1 was added to the nutrient data for sample #3 to match what was done to extracted chlorophyll. The bottle did not close.

The merged files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number. The output files were named MRGCLN1s. Those files were then merged with SAMAVG files choosing the Bottle_Number from the SAMAVG files.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions. A problem was found with all but the first file because sample numbers were assigned in the opposite order to the usual. The ADDSAMP file was updated and the merge process repeated and the sample numbers added to the BOT files again. The spreadsheet looked fine after that.

For events 8 and 17 there were 2 bottles fired at 10m but only one was sampled. The extra bottle, #4 was removed from both MRG files.

CLEAN was run to update header limits, add flag 0 to any empty flag channels and add event numbers.

##### Compare

Salinity

Compare was run with pressure as reference channel.

The analysis of samples was done within 11 to 23 days so evaporation and adsorption should not be large, though these effects might lead to bottle salinity being too high by up to 0.001psu.

There were 14 samples of which 8 were from below 15m. The deeper samples all came from the bottom of casts which was 10m above the ocean bottom except for event #1 when it came from 5m above the ocean bottom. We expect the surface bottles to contain water of higher salinity than the CTD due to incomplete flushing in the presence of high vertical gradients and 4 of the 6 did that, but 2 did not. For bottles from the bottom flushing errors would usually have the opposite sign with bottles reading lower than the CTD unless there is a salinity reversal nearby. The bottle from event #21 at 120m is also an outlier.

Using only bottles from below 150m the CTD is reading low by an average of 0.0015psu (standard deviation of 0.0025). This could be due to slight inefficiency in flushing of bottles or calibration drift.

Outliers were examined more closely:

- Event #8 – There is a note on the rosette sheet saying “Leaker #3” which would explain the outlier only if the leak enabled water to enter the bottle which is not usually the case. Examination of data during the bottle stop shows that the bottle value was seen just as the CTD stopped, but that CTD values rose and then started to fall again, but had not fully equilibrated when the bottle was fired. So the problem here appears to be with the CTD data. No flag is justified for the bottle.

- Event #17 – The 12m bottle value is much lower than the CTD and there is no value remotely like that in the CTD salinity trace during the stop. The bottle value is very close to the surface bottle at 7.5db, so this looks likely to be a case of sampling from the wrong bottle. A flag “3” is recommended.

- Event #21 – This bottle came from the bottom of the cast. There was a large shed wake with low salinity that passed by the CTD in the first 20s. The bottle was fired after only 15s. On the downcast the Niskin bottle is likely to draw lower salinity water down with it, and water from the shed wake may have contributed to the low value as well. There was little motion at the bottom to help the bottle flush.

It is a little surprising that the other bottom bottles are as close to the CTD as they are. But since the others are deeper than cast #21 this maybe because they have lower vertical gradients at bottle depths. A rough estimate was made of the near-bottom salinity gradient by looking at changes over the bottom 20m of each cast.

| Estimated Salinity Gradient near Bottom of Cast |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Event # | Sal Grad |  |  |
|  | 1 | 0.08 |  |  |
|  | 8 | 0.05 |  |  |
|  | 17 | 0.04 |  |  |
|  | 21 | 0.22 |  |  |
|  | 31 | 0.02 |  |  |
|  | 39 | 0.02 |  |  |
|  | 50 | 0.02 |  |  |
|  | 52 | 0.01 |  |  |

This shows very clearly that cast #21 had the largest gradient and that casts 31, 39, 50 and 52 had the lowest gradients. When only the bottles from the bottom of the 4 casts with low vertical gradients were included the CTD salinity was found to be low by 0.0005psu (standard deviation 0.0006). While there may be some problems with flushing, evaporation and adsorption, they are likely small and for bottom bottles poor flushing effects are of the opposite sign to the other 2 effects.

So, the calibration of temperature and conductivity sensors appears to have drifted little and CTD salinity is likely good to ±0.001.

For full details for the COMPARE run see file 2016-56-sal-comp1.xls.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable. The CTD fluorometer was a WetLabs ECO sensor. All samples came from the top 20m and extracted CHL ranged from 0.16ug/L to 10.04ug/L. Fluorescence from the ECO sensor read higher than the extracted CHL by up to a factor of 4.2 when CHL<0.5ug/L. For CHL>0.5ug/L the ratio of ECO fluorescence to CHL ranged from 0.6 to 2.2. These results look typical for these fluorometers.

For full details of the comparison see file 2016-56-fl-chl-comp1.xlsx.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 25

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

This did remove at least one near-surface spike in conductivity but the data are very smooth overall.

##### FILTER

WFILTER was run using a cosine filter, size 5, on the pressure, temperature and conductivity channels. The traces are quite smooth but there were places where pressure, temperature and conductivity reversals were removed.

##### ALIGN DO

Tests were run on a few casts to see what alignment made the offset between the upcast and downcast DO traces resemble that for the temperature traces. The vertical offset between up and downcast temperature was approximately 4m and for DO, 13m, giving a difference of 9m. Since both downcast and upcast contribute, that is 6m each and the descent/ascent rate is about 1m/s, so a 4.5s advance was taken as a first guess. Tests showed that 4.5s overcompensated and that 3.5s was better. The last time this sensor was used a setting of +6s was chosen, but this setting is gradient and descent rate dependent.

ALIGNCTD was run on all casts using +3.5s.

##### CELLTM

The default setting for the SBE25 is of (α = 0.04, β=8). For 2016-02 a few casts were tested to see if this worked well and there were only small differences between results with a wide variety of settings, all improving the correspondence between downcast and upcast in T-S space. The upcast data are often too noisy for a good judgment to be made, so the default value suggested by the manufacturer was chosen. The same choice was made for this cruise.

CELLTM was run using (α = 0.04, β=8) for the primary conductivity.

##### DERIVE

Program DERIVE was run on all casts to calculate primary salinity and dissolved oxygen concentration.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

A cross-reference list was checked against the log book. There were 2 errors in station names (events #3 and 39) and one that differed from the log entry, but the header is correct and the log wrong (event 26). The station names were corrected in the IOS files and for cast #39 in the bottle files.

There are small discrepancies in times and positions, but these may occur because the log entry was made at a slightly different time from when the computer is turned on. There is a note in the log book referring to a time problem with the CTD computer, but there does not seem to be any change in the comparison of NMEA time and System Time at the point when the computer time is said to have been set to match the sounder time. Both before and after that there is a difference of just a few minutes between the NMEA and System time. The time in the header is the NMEA time. The comments may refer to the SBE911 that was mounted with the camera, but in any case the NMEA time will be in the headers rather than the system time.

Plots of pressure versus scan number were examined to determine if any casts included data from the initial soak period, and casts #39, #50 and #52 files did. A text editor was used to remove that data so that DELETE will pick the right downcast data for the first 10m.

The cruise track was plotted and added to the end of this report.

Surface check was run and shows an average surface pressure for the cruise was +2.4db.

After those corrections CLEAN was rerun.

##### Shift

Fluorescence

The fluorometer was not pumped, so a shift in alignment is expected to be small or unnecessary. Profile plots of temperature and fluorescence were examined but with the complexity of the near-surface temperature profiles and stops for bottles made the comparison uninformative. No alignment was applied to these data.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked and the alignment looks ok though both traces are complex. No further alignment was applied.

Conductivity

Tests were run on 3 casts using a variety of shifts. During the previous 2 cruises a setting of +0.4 records was selected, though improvements were slight for 2016-03. For this cruise a setting of -0.4 or +1.0 made the T-S plots look worse, while +0.4 records made small changes, but the original values look fine.

SHIFT was not run for conductivity.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure was not filtered

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 5 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.25 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### Other Comparisons

Previous experience with these sensors –

This is the third known use of the pressure, temperature and conductivity sensors. The dissolved oxygen sensor has been used 5 times since it was last serviced at the factory. There was a study of pressures during 2016-02 and it was found that the February 2015 calibration produced better results than that from July 2016. No further correction was made, and the same decision was made for 2016-03. The salinity was found to be within 0.001 during 2016-02 and from 2016-03 there were few useful calibration samples. The dissolved oxygen sensor had been used during 2014-23 when the correction applied was slope 1.04, offset 0.0037. It either malfunctioned or was not really mounted during 2015-26. During 2016-02 the fit was 1.0407/0.1351 but the 2014-23 correction was used since the fit was not trusted due to sampling problems. There was no DO sampling during 2016-03.

Historic ranges – All salinity data fell with the local climatology. Temperatures were above the range maximum for parts of the 4 most northerly casts, between 90 and 200db east of Texada Island and west of Texada between about 40 and 250db. Such excursions have been common in this area for the past year.

Repeat Casts – There were no repeat casts.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

CTDEDIT was used to remove noisy near-surface records and records corrupted by shed wakes near the bottom of casts. Salinity was cleaned lightly where it appeared that small alignment variations led to unstable salinity features. All files required light editing.

##### Initial Recalibration

There is no evidence that CTD pressure and salinity need recalibration.

It is likely that the dissolved oxygen does need recalibration but we have no calibration samples to guide us in that decision. When the sensor was used in 2014-23 the correction applied was

CTD DO Corrected = CTD DO * 1.04 + 0.0037

During 2016-02 the comparison with bottles led to the same slope but a much larger offset that may have been due to bubbles.  For that cruise the CTD data were recalibrated using:

CTD DO Corrected = CTD DO * 1.04

During 2016-03 there was no dissolved oxygen calibration sampling, so the 1.04 factor was used.

For this cruise file 2016-56-ctd-recal1.cal was prepared to apply:

CTD DO Corrected = CTD DO * 1.04

The MRGCLN2 and EDT files were recalibrated using file 2016-56-ctd-recal1.ccf to apply.

##### Fluorescence Processing

A median filter, size 11, was applied to the fluorescence channel in the COR1 files for a few test plots. Plots showed that the filter was had little effect on spikes and over-smoothed other data. This step was skipped.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen plots were examined. The T-S plots look fine.

##### Final CTD File Steps (REMOVE and HEADEDIT)

REMOVE was run on all casts to remove the following channels:

Scan_Number, Conductivity:Primary, Oxygen:Voltage:SBE, Altimeter, Descent_Rate and Flag.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

----------------------------------------------------------------------------------

Data Processing Notes:

----------------------

Fluorescence and transmissivity data are nominal and unedited except

that some records were removed in editing temperature and salinity.

For details on how the transmissivity calibration parameters were calculated

see the document in folder "\cruise_data\documents\transmissivity".

Salinity calibration sampling suggests that calibration drift is small, but

the evidence is limited.

There was no dissolved oxygen calibration sampling. Recalibration was based

on an earlier cruise. No estimate can be made for the accuracy of the

Oxygen:Dissolved:SBE channel.

For details on the processing see the report: 2016-56_Processing_Report.doc.

The Standards Check routine was run and no problems were found.

The Header Check was run and no problems were found.

A cross-reference list was produced.

The sensor history was updated.

The track plot looks fine.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. The surface saturation values were between 91% and 127% with no obvious geographic distribution.

##### Final Bottle Files

The MRGCOR2 files were put through SORT to order on increasing pressure.

REMOVE was run on all casts to remove the following channels:

Scan_Number, Conductivity:Primary, Descent Rate, Altimeter, Descent_Rate and Flag.

A second SBE DO channel was added for the CTD DO with mass units and REORDER was run to get the 2 SBE DO channels together.

HEADER EDIT was run to ensure formats and units are correct, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data processing.

Standards check and a header check were run on all files and no errors were found.

The track plot looks ok.

Plots of each file were examined to ensure no problems had crept in and none were found.

A cross-reference listing was produced for the CHE files.

Data were exported from the CHE files to file 2016-56-bottles-final.xlsx. The entries were compared with the rosette log sheets to ensure no samples had been missed and no problems were found.

# PART 2 – CTD 0585 mounted with camera

These data were put through basic processing steps based on 2016-01 when the same equipment was used. The full casts were processed up to the CLN stage. Alignment of dissolved oxygen was run using the parameters from 2016-01 because the many long stops made it impossible to judge the best setting. If there is a need at a later date for simple downcast files, then alignment of conductivity (and possibly fluorescence) will need to be applied before running DELETE.

Fluorescence should be removed from casts #4 and #7 because the cap was left on, and all other casts should be examined to see if either the fluorescence channel needs to be removed or edited for partial removal due to heavy spiking

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book was obtained – this is the same log as for CTD #1091.

There was no rosette sampling.

The cruise summary sheet was completed.

The histories of the pressure and conductivity sensors were checked.

##### Conversion of Full Files from Raw Data

All hex files were converted using 2016-56-ctd-585.xmlcon to create CNV files.

A few casts were examined and all expected channels are present. The temperature, conductivity and dissolved oxygen look normal, but the fluorescence is sometimes extremely noisy. For 2 cases there are explanations in the log that the fluorometer cap was left on, and there is mention of possible bubbles affecting fluorescence for other casts. The noise is not related to the CTD stopping as it starts before a stop in some cases. Some casts look fine.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

WILDEDIT was not run on the fluorescence since the spikes are not always single-point spikes and at depths where variations are small, it will remove too much data.

##### ALIGN DO

The setting used for the data from the last use of this sensor, 2016-01, was applied, since the usual sort of tests won’t work well with so many long stops for camera work.

ALIGNCTD was run on all casts using +3s.

##### CELLTM

The noise in the upcast makes the tests for the best parameters for this routine very difficult to interpret. The default setting of (α = 0.0245, β=9.5) was used. One cast was checked for this cruise and the default setting does improve the data.

CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on the deepest cast to examine differences between sensor pairs. A few results from 2 earlier cruises (shaded entries) are shown for comparison.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2015-61-0105 | 180 | -0.0004 | +0.0002 | +0.0021 | VNoisy, High |
| “ | 950 | -0.0005 | +0.0002 | +0.0027 | XNoisy, High |
| “ | 1500 | -0.0006 | +0.0003 | +0.0028 | XNoisy, High |
| 2015-61-0108 | 180 | -0.0004 | +0.0002 | +0.0023 | VNoisy, High |
| “ | 950 | -0.0005 | +0.0002 | +0.0027 | XNoisy, High |
| “ | 1500 | -0.0005 | +0.0002 | +0.0027 | XNoisy, High |
| “ | 1950 | -0.0006 | +0.0002 | +0.0027 | XNoisy, High |
| 2016-01-0026 | 180 | -0.00001 | +0.0002 | +0.0022 | XNoisy, High |
|  | 950 | -0.0004 | +0.0002 | +0.0026 | XNoisy, High |
|  | 1950 | -0.0005 | +0.0001 | +0.0028 | XNoisy, High |
| 2016-01-0047 | 180 | -0.0001 | +0.0003 | +0.0032 | XNoisy, High |
|  | 950 | -0.0003 | +0.0002 | +0.0034 | XNoisy, High |
|  | 1950 | -0.0006 | +0.0002 | +0.0036 | XNoisy, High |
|  | 2950 | -0.0006 | +0.0002 | +0.0037 | XNoisy, High |
| 2016-01-0066 | 180 | -0.0003 | +0.0002 | +0.0030 | XNoisy, High |
|  | 950 | -0.0005 | +0.0002 | +0.0033 | XNoisy, High |
|  | 1950 | -0.0005 | +0.0002 | +0.0034 | XNoisy, High |
|  | 2950 | -0.0005 | +0.0002 | +0.0036 | XNoisy, High |
| 2016-56-0056 | 400 | -0.0002 | +0.00035 | +0.0037 | Steady, High |

The comparison is not expected to be great given different depths, but the values suggest that there may be a little drift in conductivity and salinity, but not much.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

A cross-reference list was produced. Two station names did not match the log, so those were changed in the headers.

Times and positions differ slightly from the log. They seem somewhat closer after the note in the log mentioning that the computer time had been synced with the sounder, but that may be because the log time was being taken from the computer. The header time comes from NMEA time. So this isn’t clear. No change was made to time, and we only have NMEA positions.

The track plot looks reasonable.

The files were recalibrated using the results of 2016-01.

Header Edit was used to add a comment and fix formats and channel names.

No further processing was done as these files were not considered suitable for the OSD Data Archive.

# Notes from Log Book

Particulars

1. Niskin #3 did not close.

4. Fluorometer cap left on.

7. Fluorometer cap left on.

8. Two bottles fired at 10m, only Niskin #3 sampled.

11. Fluorometer ok on way down, maybe bubble on the way up.

17. Two bottles fired at 10m, only Niskin #3 sampled.  Niskin #2 fired without a wait.

20. Possible bubble in fluorometer around 75m.

24. CTD computer was synced to the EK60 computer time. Previous to July 24 CTD time was 10:27 behind the ED60 satellite time.

31. Transmissometer and fluorometer not cleaned.

47. No CTD.

# CRUISE SUMMARY     CTDs

|  | CTD# | Make | Model |  |  | Serial# |  | Used with Rosette? |  | CTD Calibration Sheet Competed? |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | SEABIRD | 25 |  |  | 1091 |  | Yes |  | Yes |  |  |  |
|  | 2 | SEABIRD | 911+ |  |  | 0585 |  | No |  | Yes |  |  |  |
| Calibration Information - 1091 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  |  | S/N |  |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  |  | 4700 |  |  | 20Aug2014 |  | Factory |  |  |  |  |
| Conductivity |  |  |  | 3321 |  |  | 20Aug2014 |  | Factory |  |  |  |  |
| Transmissometer |  |  |  | 983DR |  |  | 5Feb2014 |  | IOS |  |  |  |  |
| SBE 43 DO sensor |  |  |  | 1483 |  |  | 17Jan2014 |  | Factory |  |  |  |  |
| WetLabs ECO Fluor |  |  |  | 2216 |  |  | n/a |  |  |  |  |  |  |
| Altimeter |  |  |  | ? |  |  |  |  |  |  |  |  |  |
| Pressure Sensor |  |  |  | 1091 |  |  | 12Feb2015 |  | Factory |  |  |  |  |
| Calibration Information - 0585 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  |  |  | 5725 |  | 24Feb2015 |  | Factory |  |  |  |  |
| Conductivity |  |  |  |  | 4448 |  | 25Feb2015 |  | Factory |  |  |  |  |
| Secondary Temp. |  |  |  |  | 5724 |  | 29Jan2015 |  | Factory |  |  |  |  |
| Secondary Cond. |  |  |  |  | 4434 |  | 12Feb2015 |  | Factory |  |  |  |  |
| SBE 43 DO sensor |  |  |  |  | 3038 |  | 19Feb2015 |  | Factory |  |  |  |  |
| WetLabs ECO Fluor. |  |  |  |  | 2214 |  | n/a |  |  |  |  |  |  |
| Pressure Sensor |  |  |  |  | 0585 |  | 30Dec2013 |  | Factory |  |  |  |  |