File List for SeaBird Data          Cruise Number: _2017-01____

[osdcommon\cruise_data\2017-01\ARCHIVE]

[osdcommon\cruise_data\2017-01\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2017-01\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2017-01\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2017-01\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2017-01\ARCHIVE\DOC\TSG] all TSG documents

[osdcommon\cruise_data\2017-01\ARCHIVE\HISTORY] casts WITH Transmissivity

[osdcommon\cruise_data\2017-01\ARCHIVE\LOGS] any scanned logs

[osdcommon\cruise_data\2017-01\ARCHIVE\Photos] equipment photos

[osdcommon\cruise_data\2017-01\ARCHIVE\Underway] TSG, Loop files, SCS and Light data

[osdcommon\cruise_data\2017-01\PROCESSING]

[osdcommon\cruise_data\2017-01\PROCESSING\Angelica] special files for Dr. Peña

[osdcommon\cruise_data\2017-01\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2017-01\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2017-01\PROCESSING\DOC]

2017-01-recal*.ccf – calibration control files

2017-01-ctd*.xmlcon – configuration files used in processing

2017-01_file.doc - this document

2017-01_Processing_Report.doc - processing notes

2017-01-ctd-final.rpt – CTD file header check including channel summary

2017-01-ctd-xref.lis – cross reference list of CTD files

2017-01-altimeter-ctd.csv – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2017-01\PROCESSING\DOC\hydro]

2017-01chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2017-01dms.csv – DMS data simplified from analyst’s s/

2017-01nuts.csv – nutrients simplified from analyst’s s/s

2017-01oxy.csv – nutrients simplified from analyst’s s/s

2017-01sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2017-01-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2017-01-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2017-01-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2017-01-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2017-01-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2017-01-bottles-final.xslx – summary of bottle data in CHE files

2017-01-che-final.rpt – final header check of bottle files

2017-01-altimeter-che.csv – altimetry and water depth information

2017-01-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2017-01\PROCESSING\DOC\tsg]

2017-01-ctd-tsg-comp.xlsx – comparison of CTD data with TSG data

2017-01-loops-tsg-rosette-comp.xlsx – comparisons of TSG, Rosette and Loop data

2017-01-tsg-final.rpt – final header check for TOB files

2017-01-tsg.xmlcon – configuration file for conversion of TSG HEX files

*hdr.txt – header file with comments for TSG files

[osdcommon\cruise_data\2017-01\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.che1 – data before removal of  transmissivity

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.DMS – DMS data converted from simplified version of analyst’s spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgreo – just before final step (header edit )

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2017-01\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2017-01\PROCESSING\Loops] 5m rosette plus loop data

2017-01-che-surface.csv – spreadsheet of CHE surface data

2017-01-che-6linehdr.csv – as above but with 6-line headers

2017-01-surface-6linehdr3.csv – surface CHE and Loops adapted for conversion to IOS Header format

2017-01-loop-hdr-comments.txt – header comments for the final loop file

2017-01-surface.loop – final file in IOS Header format with comments

2017-01-0001.ios – 6 line header file converted to IOS Header format

2017-01-loops.xlsx – summary of loops collected during stops and underway

[osdcommon\cruise_data\2017-01\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – files after Sea-Bird conversion

[osdcommon\cruise_data\2017-01\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.ios – after conversion to IOS HEADERS

*.tob – final TSG files

[osdcommon\cruise_data\2017-01\RAW]

[osdcommon\cruise_data\2017-01\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2017-01\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2017-01\RAW\DOC] documents

[osdcommon\cruise_data\2017-01\RAW\LOGS] logs

[osdcommon\cruise_data\2017-01\RAW\TSG] raw TSG data