## Method and notes
DMS analysis method
All DMS samples were collected in 250mL ground glass stoppered bottles and stored in a fridge, in the dark and removed one at a time before analysis.
A sample was loaded onto the stripper and purged with UHP Nitrogen for 10 minutes at ~100mL/min.
The DMS was extracted from the water and absorbed onto a Tenax TA trap kept at -80oC.
The trap was subsequently desorbed at 100oC (with a dewar containing boiling water) onto a Chromasorb 330 column which eluted onto a Flame Photometric Detector (FPD).
All samples were run as soon as possible after being collected.
DMS Calibration
A four to six level calibration table was used for calculating the concentrations of DMS.
The standards were prepared in water and run under the same conditions, as described above, for the samples.
A calibration curve was valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run approximately every 13 samples to ensure the system remained free of contamination and had acceptable reproducibility.
Stripping efficiency was evaluated at the beginning of the cruise and was proven to be acceptable at over 97%.
Quality Flags
From cruise 2013-01 on, data quality is expressed with the following flags:
1 = Sample for this measurement was collected but not analyzed. Sample lost.
2 = Acceptable measurement.
3 = Questionable measurement (probably good).
4 = Poor measurement (probably bad).
5 = Measurement not reported (bad).
6 = Mean of replicate measurements.
7 = Manual chromatographic peak measurement.
8 = Irregular digital chromatographic peak integration.
9 = Sample was planned for this measurement from this bottle but was not collected
System
No problems
Notes specific for this cruise
The average of duplicates is reported.

## QF file
Event_Number | Station | Sample_Number | Dimethyl_Sulphide | Flag:Dimethyl_Sulphide | Comments
99 | P4 | 571 | 0.58 | 3 | This is a re-run. See event 22 for original value.
101 | P2 | 576 | <
101 | P2 | 577 | 0.39836
101 | P2 | 578 | 0.41841
101 | P2 | 581 | 0.41841
101 | P2 | 580 | 0.52092
101 | P2 | 582 | 0.6043
101 | P2 | 583 | 0.69832 | 6
101 | P2 | 584 | 0.77969
101 | P2 | 585 | 0.86092
101 | P2 | 586 | 0.85233
101 | P2 | 589 | 0.86092
22 | P4 | 60 | <
22 | P4 | 62 | <
22 | P4 | 63 | <
22 | P4 | 64 | <
22 | P4 | 65 | <
22 | P4 | 67 | 4.3796 | 4 | Ran sample 2x and got same result. The depth & Station were re-sampled on Feb 18. See event 099.
22 | P4 | 68 | 0.26759
22 | P4 | 69 | 0.29872
22 | P4 | 70 | 0.32755
22 | P4 | 71 | 0.32 | 6
22 | P4 | 72 | 0.38829
22 | P4 | 73 | 0.42754
22 | P4 | 75 | 0.39637
22 | P4 | 76 | 0.38829
75 | P12 | 429 | <
75 | P12 | 431 | <
75 | P12 | 432 | <
75 | P12 | 433 | <
75 | P12 | 434 | 0.40143
75 | P12 | 436 | 0.57652
75 | P12 | 437 | 0.61735
75 | P12 | 438 | 0.25009
75 | P12 | 439 | 0.55496
75 | P12 | 440 | 0.6 | 6
75 | P12 | 441 | <
75 | P12 | 442 | 0.70042
75 | P12 | 443 | <
75 | P12 | 444 | 0.40143
64 | P16 | 338 | <
64 | P16 | 340 | <
64 | P16 | 341 | <
64 | P16 | 342 | <
64 | P16 | 343 | 0.66926
64 | P16 | 345 | 0.5289
64 | P16 | 346 | 0.50367
64 | P16 | 347 | 0.62957
64 | P16 | 348 | 0.63973
64 | P16 | 349 | 0.64 | 6
64 | P16 | 350 | 0.66926
64 | P16 | 351 | 0.80006
64 | P16 | 352 | 0.71565
64 | P16 | 353 | 0.70663
33 | P20 | 131 | <
33 | P20 | 133 | <
33 | P20 | 134 | <
33 | P20 | 135 | 0.61529
33 | P20 | 136 | 0.50288
33 | P20 | 138 | 0.59645
33 | P20 | 139 | 0.54647
33 | P20 | 140 | 0.60594
33 | P20 | 141 | 0.6245
33 | P20 | 142 | 0.54647 | 6
33 | P20 | 143 | 0.6245
33 | P20 | 144 | 0.65133
33 | P20 | 145 | 0.5359
33 | P20 | 146 | 0.6245
51 | P26 | 313 | <
51 | P26 | 315 | <
51 | P26 | 316 | <
51 | P26 | 317 | 0.30624
51 | P26 | 318 | 0.27614
51 | P26 | 320 | 0.32029
51 | P26 | 321 | 0.33378
51 | P26 | 322 | 0.41678
51 | P26 | 323 | 0.32029
51 | P26 | 324 | 0.32029 | 6
51 | P26 | 325 | 0.35933
51 | P26 | 326 | 0.38328
51 | P26 | 328 | 0.34678
51 | P26 | 329 | 0.38328

## raw data
Cruise 2017-01
Time
Date | Event # | Station | Sample # | Niskin | Depth | Analysis | MDL | DMS
2017 |  |  |  |  | m | (local) | nM | nM
2017-02-18 | 99 | P4 | 571 | 11 | 50 | 12:45 | 0.1 | 0.58
2017-02-18 | 101 | P2 | 576 | 2 | 100 | 16:15 | 0.1 | <
2017-02-18 | 101 | P2 | 577 | 3 | 75 | - | 0.1 | 0.39836
2017-02-18 | 101 | P2 | 578 | 4 | 50 | - | 0.1 | 0.41841
2017-02-18 | 101 | P2 | 581 | 6 | 40 | - | 0.1 | 0.41841
2017-02-18 | 101 | P2 | 580 | 7 | 30 | - | 0.1 | 0.52092
2017-02-18 | 101 | P2 | 582 | 8 | 25 | - | 0.1 | 0.6043
2017-02-18 | 101 | P2 | 583 | 9 | 20 | - | 0.1 | 0.69832
2017-02-18 | 101 | P2 | 583 | 9 | 20 | 18:15 | 0.1 | 0.69832
2017-02-18 | 101 | P2 | 584 | 10 | 15 | - | 0.1 | 0.77969
2017-02-18 | 101 | P2 | 585 | 11 | 10 |  | 0.1 | 0.86092
2017-02-18 | 101 | P2 | 586 | 12 | 5 | - | 0.1 | 0.85233
2017-02-18 | 101 | P2 | 589 | 15 | 0 | 19:30 | 0.1 | 0.86092
2017-02-07 | 22 | P4 | 60 | 1 | 300 | 15:30 | 0.1 | <
2017-02-07 | 22 | P4 | 62 | 3 | 200 | - | 0.1 | <
2017-02-07 | 22 | P4 | 63 | 4 | 150 | - | 0.1 | <
2017-02-07 | 22 | P4 | 64 | 5 | 100 | - | 0.1 | <
2017-02-07 | 22 | P4 | 65 | 6 | 75 | - | 0.1 | <
2017-02-07 | 22 | P4 | 67 | 8 | 50 | - | 0.1 | 4.3796
2017-02-07 | 22 | P4 | 68 | 9 | 40 | 17:15 | 0.1 | 0.26759
2017-02-07 | 22 | P4 | 69 | 10 | 30 | - | 0.1 | 0.29872
2017-02-07 | 22 | P4 | 70 | 11 | 25 | - | 0.1 | 0.32755
2017-02-07 | 22 | P4 | 71 | 12 | 20 | - | 0.1 | 0.30856
2017-02-07 | 22 | P4 | 71 | 12 | 20 | - | 0.1 | 0.32755
2017-02-07 | 22 | P4 | 72 | 13 | 15 | - | 0.1 | 0.38829
2017-02-07 | 22 | P4 | 73 | 14 | 10 | - | 0.1 | 0.42754
2017-02-07 | 22 | P4 | 75 | 16 | 5 | - | 0.1 | 0.39637
2017-02-07 | 22 | P4 | 76 | 17 | 0 | 19:30 | 0.1 | 0.38829
2017-02-16 | 75 | P12 | 429 | 1 | 300 | 18:00 | 0.1 | <
2017-02-16 | 75 | P12 | 431 | 3 | 200 | - | 0.1 | <
2017-02-16 | 75 | P12 | 432 | 4 | 150 | - | 0.1 | <
2017-02-16 | 75 | P12 | 433 | 5 | 100 | - | 0.1 | <
2017-02-16 | 75 | P12 | 434 | 6 | 75 | - | 0.1 | 0.40143
2017-02-16 | 75 | P12 | 436 | 8 | 50 | - | 0.1 | 0.57652
2017-02-16 | 75 | P12 | 437 | 9 | 40 | - | 0.1 | 0.61735
2017-02-16 | 75 | P12 | 438 | 10 | 30 | - | 0.1 | 0.25009
2017-02-16 | 75 | P12 | 439 | 11 | 25 | - | 0.1 | 0.55496
2017-02-16 | 75 | P12 | 440 | 12 | 20 | 20:00 | 0.1 | 0.60741
2017-02-16 | 75 | P12 | 440 | 12 | 20 | - | 0.1 | 0.587
2017-02-16 | 75 | P12 | 441 | 13 | 15 | - | 0.1 | <
2017-02-16 | 75 | P12 | 442 | 14 | 10 | - | 0.1 | 0.70042
2017-02-16 | 75 | P12 | 443 | 15 | 5 | - | 0.1 | <
2017-02-16 | 75 | P12 | 444 | 16 | 0 | 21:30 | 0.1 | 0.40143
2017-02-15 | 64 | P16 | 338 | 1 | 300 | 12:20 | 0.1 | <
2017-02-15 | 64 | P16 | 340 | 3 | 200 | - | 0.1 | <
2017-02-15 | 64 | P16 | 341 | 4 | 150 | - | 0.1 | <
2017-02-15 | 64 | P16 | 342 | 5 | 100 | - | 0.1 | <
2017-02-15 | 64 | P16 | 343 | 6 | 75 | - | 0.1 | 0.66926
2017-02-15 | 64 | P16 | 345 | 8 | 50 | - | 0.1 | 0.5289
2017-02-15 | 64 | P16 | 346 | 9 | 40 | - | 0.1 | 0.50367
2017-02-15 | 64 | P16 | 347 | 10 | 30 | - | 0.1 | 0.62957
2017-02-15 | 64 | P16 | 348 | 11 | 25 | - | 0.1 | 0.63973
2017-02-15 | 64 | P16 | 349 | 12 | 20 | 14:30 | 0.1 | 0.66926
2017-02-15 | 64 | P16 | 349 | 12 | 20 | - | 0.1 | 0.59798
2017-02-15 | 64 | P16 | 350 | 13 | 15 | - | 0.1 | 0.66926
2017-02-15 | 64 | P16 | 351 | 14 | 10 | - | 0.1 | 0.80006
2017-02-15 | 64 | P16 | 352 | 15 | 5 | - | 0.1 | 0.71565
2017-02-15 | 64 | P16 | 353 | 16 | 0 | 15:50 | 0.1 | 0.70663
2017-02-09 | 33 | P20 | 131 | 1 | 300 | 17:44 | 0.1 | <
2017-02-09 | 33 | P20 | 133 | 3 | 200 | - | 0.1 | <
2017-02-09 | 33 | P20 | 134 | 4 | 150 | - | 0.1 | <
2017-02-09 | 33 | P20 | 135 | 5 | 100 | - | 0.1 | 0.61529
2017-02-09 | 33 | P20 | 136 | 6 | 75 | - | 0.1 | 0.50288
2017-02-09 | 33 | P20 | 138 | 8 | 50 | - | 0.1 | 0.59645
2017-02-09 | 33 | P20 | 139 | 9 | 40 | - | 0.1 | 0.54647
2017-02-09 | 33 | P20 | 140 | 10 | 30 | - | 0.1 | 0.60594
2017-02-09 | 33 | P20 | 141 | 11 | 25 | - | 0.1 | 0.6245
2017-02-09 | 33 | P20 | 142 | 12 | 20 | - | 0.1 | 0.5359
2017-02-09 | 33 | P20 | 142 | 12 | 20 | - | 0.1 | 0.54647
2017-02-09 | 33 | P20 | 143 | 13 | 15 | - | 0.1 | 0.6245
2017-02-09 | 33 | P20 | 144 | 14 | 10 | - | 0.1 | 0.65133
2017-02-09 | 33 | P20 | 145 | 15 | 5 | - | 0.1 | 0.5359
2017-02-09 | 33 | P20 | 146 | 16 | 0 | 21:15 | 0.1 | 0.6245
2017-02-12 | 51 | P26 | 313 | 1 | 300 | 9:30 | 0.1 | <
2017-02-12 | 51 | P26 | 315 | 3 | 200 | - | 0.1 | <
2017-02-12 | 51 | P26 | 316 | 4 | 150 | - | 0.1 | <
2017-02-12 | 51 | P26 | 317 | 5 | 100 | - | 0.1 | 0.30624
2017-02-12 | 51 | P26 | 318 | 6 | 75 | - | 0.1 | 0.27614
2017-02-12 | 51 | P26 | 320 | 8 | 50 | - | 0.1 | 0.32029
2017-02-12 | 51 | P26 | 321 | 9 | 40 | - | 0.1 | 0.33378
2017-02-12 | 51 | P26 | 322 | 10 | 30 | - | 0.1 | 0.41678
2017-02-12 | 51 | P26 | 323 | 11 | 25 | - | 0.1 | 0.32029
2017-02-12 | 51 | P26 | 324 | 12 | 20 | 12:00 | 0.1 | 0.32029
2017-02-12 | 51 | P26 | 324 | 12 | 20 | - | 0.1 | 0.32029
2017-02-12 | 51 | P26 | 325 | 13 | 15 | - | 0.1 | 0.35933
2017-02-12 | 51 | P26 | 326 | 14 | 10 | - | 0.1 | 0.38328
2017-02-12 | 51 | P26 | 328 | 16 | 5 | - | 0.1 | 0.34678
2017-02-12 | 51 | P26 | 329 | 17 | 0 | 13:30 | 0.1 | 0.38328

## Dups
Cruise 2017-01
Standard Deviation of Pairs (Sp)
| ID | Sample | Duplicate | Relative | (S-D)SQ
| (Sample #) | (S) | (D) | % Difference
[6 empty] | Sum of (S-D)SQ | 0.0058
P2 | 583 | 0.7 | 0.7 | 0 | 0 | Count | 6
P4 | 71 | 0.31 | 0.33 | 6.25 | 0.0004 | Sum/2/Count | 0.00048333
P12 | 440 | 0.61 | 0.59 | 3.3333 | 0.0004 | SQR of Sum/2/Count (Sp)= | 0.021985
P16 | 349 | 0.67 | 0.6 | 11.0236 | 0.0049
P20 | 142 | 0.54 | 0.55 | 1.8349 | 0.0001
P26 | 324 | 0.32 | 0.32 | 0 | 0
|  |  | Mean | 3.7403