## Method and notes
DMS analysis method
All DMS samples were collected in 250mL ground glass stoppered bottles and stored in a fridge, in the dark and removed one at a time before analysis.
A sample was loaded onto the stripper and purged with UHP Nitrogen for 10 minutes at ~100mL/min.
The DMS was extracted from the water and absorbed onto a Tenax TA trap kept at -80oC.
The trap was subsequently desorbed at 100oC (with a dewar containing boiling water) onto a Chromasorb 330 column which eluted onto a Flame Photometric Detector (FPD).
All samples were run as soon as possible after being collected.
DMS Calibration
A four to six level calibration table was used for calculating the concentrations of DMS.
The standards were prepared in water and run under the same conditions, as described above, for the samples.
A calibration curve was valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run approximately every 13 samples to ensure the system remained free of contamination and had acceptable reproducibility.
Stripping efficiency was evaluated at the beginning of the cruise and was proven to be acceptable at over 98%.
Quality Flags
From cruise 2013-01 on, data quality is expressed with the following flags:
1 = Sample for this measurement was collected but not analyzed. Sample lost.
2 = Acceptable measurement.
3 = Questionable measurement (probably good).
4 = Poor measurement (probably bad).
5 = Measurement not reported (bad).
6 = Mean of replicate measurements.
7 = Manual chromatographic peak measurement.
8 = Irregular digital chromatographic peak integration.
9 = Sample was planned for this measurement from this bottle but was not collected
System
No problems
Notes specific for this cruise
The average of duplicates is reported.

## QF file
Event_Number | Station | Sample_Number | Dimethyl_Sulphide | Flag:Dimethyl_Sulphide | Comments
12 | P2 | 54 | <
12 | P2 | 55 | 0.15001
12 | P2 | 56 | 0.2646
12 | P2 | 58 | 0.22806
12 | P2 | 59 | - | 1 | sample bottle broke
12 | P2 | 60 | 0.47996
12 | P2 | 61 | 0.55306 | 6
12 | P2 | 62 | 0.56997
12 | P2 | 63 | 0.62829
12 | P2 | 64 | 0.65806
12 | P2 | 65 | 0.49917
22 | P4 | 129 | <
22 | P4 | 130 | <
22 | P4 | 131 | <
22 | P4 | 132 | 0.21189
22 | P4 | 133 | 0.25427
22 | P4 | 135 | 0.29076
22 | P4 | 136 | 0.42244
22 | P4 | 137 | 0.44581
22 | P4 | 138 | 0.47527
22 | P4 | 139 | 0.57 | 6
22 | P4 | 140 | 0.6824
22 | P4 | 141 | 0.8333
22 | P4 | 142 | 0.85393
22 | P4 | 143 | 0.89773
34 | P12 | 192 | <
34 | P12 | 193 | <
34 | P12 | 194 | <
34 | P12 | 195 | 0.30923
34 | P12 | 196 | 0.33303
34 | P12 | 198 | 0.58159
34 | P12 | 199 | 0.7772
34 | P12 | 200 | 1.4006
34 | P12 | 201 | 1.897
34 | P12 | 202 | 2.07 | 6
34 | P12 | 203 | 2.2748
34 | P12 | 204 | 2.4134
34 | P12 | 205 | 2.6101
34 | P12 | 206 | 2.4388
54 | P16 | 343 | <
54 | P16 | 344 | <
54 | P16 | 345 | 0.1438
54 | P16 | 346 | 0.19599
54 | P16 | 347 | 0.22523
54 | P16 | 349 | 0.46223
54 | P16 | 350 | 0.66108
54 | P16 | 351 | 1.0802
54 | P16 | 352 | 1.5151
54 | P16 | 353 | 1.93 | 6
54 | P16 | 354 | 2.1234
54 | P16 | 355 | 2.2623
54 | P16 | 356 | 2.4818
54 | P16 | 357 | 2.7034
70 | P20 | 433 | <
70 | P20 | 434 | <
70 | P20 | 435 | <
70 | P20 | 436 | 0.17736
70 | P20 | 437 | 0.31342
70 | P20 | 439 | 0.955
70 | P20 | 440 | 0.85923
70 | P20 | 441 | 0.94048
70 | P20 | 442 | 0.96932
70 | P20 | 443 | 1.05 | 6
70 | P20 | 444 | 1.1402
70 | P20 | 445 | 1.6706
70 | P20 | 446 | 1.7461
70 | P20 | 447 | 1.6533
87 | P26 | 578 | <
87 | P26 | 579 | <
87 | P26 | 580 | <
87 | P26 | 581 | <
87 | P26 | 582 | 0.23503
87 | P26 | 584 | 0.51563
87 | P26 | 585 | 1.276
87 | P26 | 586 | 2.5269
87 | P26 | 587 | 2.701
87 | P26 | 588 | 2.34 | 6
87 | P26 | 589 | 2.7726
87 | P26 | 590 | 2.6635
87 | P26 | 591 | 2.7511
87 | P26 | 592 | 2.7704

## raw data
Cruise 2017-06
Time
Date | Event # | Station | Sample # | Niskin | Depth | Analysis | MDL | DMS
2017 |  |  |  |  | m | (local) | nM | nM
2017-06-05 | 12 | P2 | 54 | 2 | 100 | 17:20 | 0.1 | <
2017-06-05 | 12 | P2 | 55 | 3 | 75 | - | 0.1 | 0.15001
2017-06-05 | 12 | P2 | 56 | 4 | 50 | - | 0.1 | 0.2646
2017-06-05 | 12 | P2 | 58 | 6 | 40 | - | 0.1 | 0.22806
2017-06-05 | 12 | P2 | 59 | 7 | 30 | - | 0.1 | *
2017-06-05 | 12 | P2 | 60 | 8 | 25 | - | 0.1 | 0.47996
2017-06-05 | 12 | P2 | 61 | 9 | 20 | 19:00 | 0.1 | 0.55306
2017-06-05 | 12 | P2 | 61 | 9 | 20 | - | 0.1 | 0.53567
2017-06-05 | 12 | P2 | 62 | 10 | 15 | - | 0.1 | 0.56997
2017-06-05 | 12 | P2 | 63 | 11 | 10 | - | 0.1 | 0.62829
2017-06-05 | 12 | P2 | 64 | 12 | 5 | - | 0.1 | 0.65806
2017-06-05 | 12 | P2 | 66 | 13 | 0 | 20:27 | 0.1 | 0.49917
2017-06-06 | 22 | P4 | 129 | 1 | 300 | 7:20 | 0.1 | <
2017-06-06 | 22 | P4 | 130 | 2 | 200 | - | 0.1 | <
2017-06-06 | 22 | P4 | 131 | 3 | 150 | - | 0.1 | <
2017-06-06 | 22 | P4 | 132 | 4 | 100 | - | 0.1 | 0.21189
2017-06-06 | 22 | P4 | 133 | 5 | 75 | - | 0.1 | 0.25427
2017-06-06 | 22 | P4 | 135 | 7 | 50 | - | 0.1 | 0.29076
2017-06-06 | 22 | P4 | 136 | 8 | 40 | - | 0.1 | 0.42244
2017-06-06 | 22 | P4 | 137 | 9 | 30 | - | 0.1 | 0.44581
2017-06-06 | 22 | P4 | 138 | 10 | 25 | - | 0.1 | 0.47527
2017-06-06 | 22 | P4 | 139 | 11 | 20 | 9:40 | 0.1 | 0.50979
2017-06-06 | 22 | P4 | 139 | 11 | 20 | - | 0.1 | 0.62992
2017-06-06 | 22 | P4 | 140 | 12 | 15 | - | 0.1 | 0.6824
2017-06-06 | 22 | P4 | 141 | 13 | 10 | - | 0.1 | 0.8333
2017-06-06 | 22 | P4 | 142 | 14 | 5 | - | 0.1 | 0.85393
2017-06-06 | 22 | P4 | 143 | 15 | 0 | 11:08 | 0.1 | 0.89773
2017-06-07 | 34 | P12 | 192 | 1 | 300 | 13:00 | 0.1 | <
2017-06-07 | 34 | P12 | 193 | 2 | 200 | - | 0.1 | <
2017-06-07 | 34 | P12 | 194 | 3 | 150 | - | 0.1 | <
2017-06-07 | 34 | P12 | 195 | 4 | 100 | - | 0.1 | 0.30923
2017-06-07 | 34 | P12 | 196 | 5 | 75 | - | 0.1 | 0.33303
2017-06-07 | 34 | P12 | 198 | 7 | 50 | - | 0.1 | 0.58159
2017-06-07 | 34 | P12 | 199 | 8 | 40 | - | 0.1 | 0.7772
2017-06-07 | 34 | P12 | 200 | 9 | 30 | - | 0.1 | 1.4006
2017-06-07 | 34 | P12 | 201 | 10 | 25 | - | 0.1 | 1.897
2017-06-07 | 34 | P12 | 202 | 11 | 20 | 15:30 | 0.1 | 2.0123
2017-06-07 | 34 | P12 | 202 | 11 | 20 | - | 0.1 | 2.1156
2017-06-07 | 34 | P12 | 203 | 12 | 15 | - | 0.1 | 2.2748
2017-06-07 | 34 | P12 | 204 | 13 | 10 | - | 0.1 | 2.4134
2017-06-07 | 34 | P12 | 205 | 14 | 5 | - | 0.1 | 2.6101
2017-06-07 | 34 | P12 | 206 | 15 | 0 | 16:47 | 0.1 | 2.4388
2017-06-09 | 54 | P16 | 343 | 1 | 300 | 7:50 | 0.1 | <
2017-06-09 | 54 | P16 | 344 | 2 | 200 | - | 0.1 | <
2017-06-09 | 54 | P16 | 345 | 3 | 150 | - | 0.1 | 0.1438
2017-06-09 | 54 | P16 | 346 | 4 | 100 | - | 0.1 | 0.19599
2017-06-09 | 54 | P16 | 347 | 5 | 75 | - | 0.1 | 0.22523
2017-06-09 | 54 | P16 | 349 | 7 | 50 | - | 0.1 | 0.46223
2017-06-09 | 54 | P16 | 350 | 8 | 40 | - | 0.1 | 0.66108
2017-06-09 | 54 | P16 | 351 | 9 | 30 | - | 0.1 | 1.0802
2017-06-09 | 54 | P16 | 352 | 10 | 25 | - | 0.1 | 1.5151
2017-06-09 | 54 | P16 | 353 | 11 | 20 | 10:15 | 0.1 | 2.01
2017-06-09 | 54 | P16 | 353 | 11 | 20 | - | 0.1 | 1.8358
2017-06-09 | 54 | P16 | 354 | 12 | 15 | - | 0.1 | 2.1234
2017-06-09 | 54 | P16 | 355 | 13 | 10 | - | 0.1 | 2.2623
2017-06-09 | 54 | P16 | 356 | 14 | 5 | - | 0.1 | 2.4818
2017-06-09 | 54 | P16 | 357 | 15 | 0 | 12:00 | 0.1 | 2.7034
2017-06-10 | 70 | P20 | 433 | 1 | 300 | 13:00 | 0.1 | <
2017-06-10 | 70 | P20 | 434 | 2 | 200 | - | 0.1 | <
2017-06-10 | 70 | P20 | 435 | 3 | 150 | - | 0.1 | <
2017-06-10 | 70 | P20 | 436 | 4 | 100 | - | 0.1 | 0.17736
2017-06-10 | 70 | P20 | 437 | 5 | 75 | - | 0.1 | 0.31342
2017-06-10 | 70 | P20 | 439 | 7 | 50 | - | 0.1 | 0.955
2017-06-10 | 70 | P20 | 440 | 8 | 40 | - | 0.1 | 0.85923
2017-06-10 | 70 | P20 | 441 | 9 | 30 | - | 0.1 | 0.94048
2017-06-10 | 70 | P20 | 442 | 10 | 25 | - | 0.1 | 0.96932
2017-06-10 | 70 | P20 | 443 | 11 | 20 | - | 0.1 | 0.9881
2017-06-10 | 70 | P20 | 443 | 11 | 20 | 15:30 | 0.1 | 1.1113
2017-06-10 | 70 | P20 | 444 | 12 | 15 | - | 0.1 | 1.1402
2017-06-10 | 70 | P20 | 445 | 13 | 10 | - | 0.1 | 1.6706
2017-06-10 | 70 | P20 | 446 | 14 | 5 | - | 0.1 | 1.7461
2017-06-10 | 70 | P20 | 447 | 15 | 0 | 17:20 | 0.1 | 1.6533
2017-06-12 | 87 | P26 | 578 | 1 | 300 | 15:45 | 0.1 | <
2017-06-12 | 87 | P26 | 579 | 2 | 200 | - | 0.1 | <
2017-06-12 | 87 | P26 | 580 | 3 | 150 | - | 0.1 | <
2017-06-12 | 87 | P26 | 581 | 4 | 100 | - | 0.1 | <
2017-06-12 | 87 | P26 | 582 | 5 | 75 | - | 0.1 | 0.23503
2017-06-12 | 87 | P26 | 584 | 7 | 50 | - | 0.1 | 0.51563
2017-06-12 | 87 | P26 | 585 | 8 | 40 | - | 0.1 | 1.276
2017-06-12 | 87 | P26 | 586 | 9 | 30 | - | 0.1 | 2.5269
2017-06-12 | 87 | P26 | 587 | 10 | 25 | - | 0.1 | 2.701
2017-06-12 | 87 | P26 | 588 | 11 | 20 | 18:25 | 0.1 | 2.0008
2017-06-12 | 87 | P26 | 588 | 11 | 20 | - | 0.1 | 2.679
2017-06-12 | 87 | P26 | 589 | 12 | 15 | - | 0.1 | 2.7726
2017-06-12 | 87 | P26 | 590 | 13 | 10 | - | 0.1 | 2.6635
2017-06-12 | 87 | P26 | 591 | 14 | 5 | - | 0.1 | 2.7511
2017-06-12 | 87 | P26 | 592 | 15 | 0 | 19:47 | 0.1 | 2.7704
* sample bottle broke…sample lost

## Dups
Cruise 2017-06
Standard Deviation of Pairs (Sp)
| ID | Sample | Duplicate | Relative | (S-D)SQ
| (Sample #) | (S) | (D) | % Difference
[6 empty] | Sum of (S-D)SQ | 0.5323
P2 | 61 | 0.55 | 0.54 | 1.8349 | 0.0001 | Count | 6
P4 | 139 | 0.51 | 0.63 | 21.0526 | 0.0144 | Sum/2/Count | 0.044358
P12 | 202 | 2.01 | 2.12 | 5.3269 | 0.0121 | SQR of Sum/2/Count (Sp)= | 0.21061
P16 | 353 | 2.01 | 1.84 | 8.8312 | 0.0289
P20 | 443 | 0.99 | 1.11 | 11.4286 | 0.0144
P26 | 588 | 2 | 2.68 | 29.0598 | 0.4624
|  |  | Mean | 12.9223