File List for SeaBird Data          Cruise Number: _2017-23____

[osdcommon\cruise_data\2017-23\ARCHIVE]

[osdcommon\cruise_data\2017-23\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2017-23\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2017-23\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2017-23\ARCHIVE\DOC\HYDRO] includes COMPARE files

[osdcommon\cruise_data\2017-23\ARCHIVE\DOC\TSG] all TSG documents

[osdcommon\cruise_data\2017-23\ARCHIVE\LOGS] scanned logs

[osdcommon\cruise_data\2017-23\ARCHIVE\Underway] TSG

[osdcommon\cruise_data\2017-23\PROCESSING]

[osdcommon\cruise_data\2017-23\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2017-23\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2017-23\PROCESSING\DOC]

2017-23-recal1.ccf – calibration control files

2017-23-ctd*.xmlcon – configuration files used in processing

2017-23_file.doc - this document

2017-23_Processing_Report.doc - processing notes

2017-23-ctd-final.rpt – CTD file header check including channel summary

2017-23-ctd-xref.lis – cross reference list of CTD files

2017-23-altimeter-ctd.xlsx – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

Notes-re-sampling-error.txt – note from C. Wright and further comments from G. Gatien

[osdcommon\cruise_data\2017-23\PROCESSING\DOC\hydro]

2017-23chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2017-23nuts.csv – nutrients simplified from analyst’s s/s

2017-23oxy.csv – nutrients simplified from analyst’s s/s

2017-23sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2017-23-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2017-23-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2017-23-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2017-23-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2017-23-casts34-36-comp.xlsx – check on bottle samples of corrupted cast 34

2017-23-casts67-62-comp.xlsx – check on bottle samples of corrupted cast 67

2017-23-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2017-23-bottles-final.xslx – summary of bottle data in CHE files

2017-23-che-final.rpt – final header check of bottle files

2017-23-altimeter-che.csv – altimetry and water depth information

2017-23-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2017-23\PROCESSING\DOC\tsg]

2017-23-ctd-tsg-comp.xlsx – comparison of CTD data with TSG data

2017-23-tsg.xmlcon – configuration file for conversion of TSG HEX files

*hdr.txt – header file with comments for TSG files

[osdcommon\cruise_data\2017-23\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgreo – just before final step running Head Edit

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2017-23\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.del2 – rerun of DELETE after clipping early records with pressure spikes

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log and .lo& - log files created by CTDEDIT

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2017-23\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – files after Sea-Bird conversion

[osdcommon\cruise_data\2017-23\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.ios – after conversion to IOS HEADERS

*.edt & *.log – output of CTDEDIT

*.tob – final TSG files

[osdcommon\cruise_data\2017-23\RAW]

[osdcommon\cruise_data\2017-23\RAW] 2017-23-ADCP-Ship

[osdcommon\cruise_data\2017-23\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2017-23\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2017-23\RAW\DOC] documents

[osdcommon\cruise_data\2017-23\RAW\LOGS] logs

[osdcommon\cruise_data\2017-23\RAW\Mooring]

[osdcommon\cruise_data\2017-23\RAW\photos-general] scenery and mooring deployments

[osdcommon\cruise_data\2017-23\RAW\TSG] raw TSG data