File List for SeaBird Data          Cruise Number: _2017-56____

[osdcommon\cruise_data\2017-56\ARCHIVE]

[osdcommon\cruise_data\2017-56\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2017-56\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2017-56\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2017-56\ARCHIVE\DOC\HYDRO] COMPARE files and reports

[osdcommon\cruise_data\2017-56\ARCHIVE\LOGS] scanned logs

[osdcommon\cruise_data\2017-56\PROCESSING]

[osdcommon\cruise_data\2017-56\PROCESSING\ANGELICA] Special files for Dr. Peña

[osdcommon\cruise_data\2017-56\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2017-56\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2017-56\PROCESSING\DOC]

2017-56-recal1.ccf – calibration control file

2017-56-ctd*.xmlcon – configuration files used in processing

2017-56_file.doc - this document

2017-56_Processing_Report.doc - processing notes

2017-56-ctd-final.rpt – CTD file header check including channel summary

2017-56-ctd-xref.lis – cross reference list of CTD files

2017-56-altimeter-ctd.csv – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2017-56\PROCESSING\DOC\hydro]

2017-56nuts.csv – nutrients simplified from analyst’s s/s

2017-56oxy.csv – nutrients simplified from analyst’s s/s

2017-56sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2017-56-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2017-56-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2017-56-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2017-56-sal-comp.csv & xlsx –initial comparison of rosette bottle and CTD salinity

2017-56-sal-comp2.csv & xlsx –comparison of rosette bottle and CTD salinity after recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2017-56-bottles-final.xlsx – summary of bottle data in CHE files

2017-56-che-final.rpt – final header check of bottle files

2017-56- altimeter-che.csv – altimetry and water depth information

2017-56-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2017-56\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che– final bottle-averaged rosette files merged with chemistry data

*.ed1 & *.log – output of CTDEDIT for 1 files; ED1 copied to BOT files

*.mrg – after addition of bottle data to BOT files

*.mrgreo – just before final head edits – use if need to adjust comments/formats

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2017-56\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.reo – just before final header edit – use if need to update comments

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2017-56\RAW]

[osdcommon\cruise_data\2017-56\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2017-56\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2017-56\RAW\DOC]

[osdcommon\cruise_data\2017-56\RAW\LOGS] logs