## 2018-01-sal-cast61-study
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00016238 | X | CALC Y
m= | -2.6955e-05 | 0.00046155 |  | Std Dev of Resid |  | 0.0025076 | 2002.97 | 0.0030111
b= | 0.057 | 0.9256 |  | Resid Sum of Squares |  | 0.00013205 | 2007.51 | 0.0028888
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 23
| Event | Average | Average | Std Dev |  | Bottle
|  | Pressure | CTD Sal | CTD Sal | Sal0-Sal Bot | Salinity |  |  | Primay Salinity
| 61 | 2006.34 | 34.5825 | 0.00023304 | 0.003109 | 34.5794
| 61 | 2005.8 | 34.5825 | 0.00026882 | 0.0022278 | 34.5803
| 61 | 2004.54 | 34.5823 | 0.00032739 | 0.0008316 | 34.5815
| 61 | 2004.05 | 34.5823 | 0.00028378 | 0.00089264 | 34.5814
| 61 | 2004.66 | 34.5823 | 0.00031118 | 0.0006218 | 34.5817
| 61 | 2006.18 | 34.5825 | 0.00023767 | 0.0029945 | 34.5795
| 61 | 2007.51 | 34.5826 | 0.00022412 | 0.0012932 | 34.5813
| 61 | 2006.62 | 34.5825 | 0.00025146 | 0.0012817 | 34.5812
| 61 | 2004.23 | 34.5823 | 0.0002206 | 0.0030136 | 34.5793
| 61 | 2002.97 | 34.5822 | 0.00025478 | 0.0056572 | 34.5765
| 61 | 2004.09 | 34.5823 | 0.00027471 | 0.0040016 | 34.5783
| 61 | 2006.25 | 34.5825 | 0.00023993 | 0.0088234 | 34.5737
| 61 | 2007.12 | 34.5825 | 0.00020451 | 0.0029068 | 34.5796
| 61 | 2005.85 | 34.5825 | 0.00025512 | -0.0038528 | 34.5864
| 61 | 2004.23 | 34.5823 | 0.0002206 | 0.004715 | 34.5776
| 61 | 2004.21 | 34.5823 | 0.00022984 | 0.0028153 | 34.5795
| 61 | 2005.83 | 34.5825 | 0.00026162 | 0.0049286 | 34.5776
| 61 | 2006.83 | 34.5825 | 0.00029222 | 0.0061417 | 34.5764
| 61 | 2005.87 | 34.5826 | 0.00025114 | 0.0050583 | 34.5775
| 61 | 2004.8 | 34.5823 | 0.00029443 | 0.0027466 | 34.5796
| 61 | 2005.14 | 34.5824 | 0.00024137 | 0.0020447 | 34.5804
| 61 | 2005.87 | 34.5826 | 0.00025114 | 0.0026588 | 34.5799
| 61 | 2005.66 | 34.5825 | 0.00028796 | 0.0028267 | 34.5797
|  | Pressure | CTD Sal | stdev CTD | CTD-Bot | BOT Sal
| avg | 2005.4086 | 34.5824 | 0.0003 | 0.0029 | 34.5795
| stdev | 1.1844 | 0.0001 | 0 | 0.0025 | 0.0025
| min | 2002.97 | 34.5822 | 0.00020451 | -0.0038528 | 34.5737
| max | 2007.51 | 34.5826 | 0.00032739 | 0.0088234 | 34.5864