## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.5 | Run at 2018/05/03 10:32:57 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2018-05-0001.mrgcln2 | 2018-05-0001.samcor1 | 236 | 75.022 | 75.0195 | 0.044281 | -0.0025253 | 30.3111 | 30.2764 | 0.0004219 | -0.034712 | 30.3111 | 30.2759 | 0.00078949 | -0.035248
2018-05-0005.mrgcln2 | 2018-05-0005.samcor1 | 232 | 200.375 | 200.378 | 0.039542 | 0.0028839 | 30.5023 | 30.5005 | 0.00038263 | -0.0018501 | 30.5023 | 30.4993 | 0.0003056 | -0.0029678
2018-05-0007.mrgcln2 | 2018-05-0007.samcor1 | 25 | 193.714 | 193.717 | 0.059851 | 0.0029144 | 30.1021 | 30.1007 | 0.0043763 | -0.0014324 | 30.1021 | 30.0971 | 0.0030207 | -0.0049915
2018-05-0016.mrgcln2 | 2018-05-0016.samcor1 | 185 | 150.078 | 150.071 | 0.058627 | -0.0070648 | 30.1051 | 30.1054 | 0.0011275 | 0.00032425 | 30.1051 | 30.1049 | 0.000821 | -0.0002327
2018-05-0025.mrgcln2 | 2018-05-0025.samcor1 | 240 | 299.618 | 299.617 | 0.032385 | -0.00057983 | 31.0759 | 31.0768 | 0.0012622 | 0.00088882 | 31.0759 | 31.0772 | 0.0005332 | 0.0012646
2018-05-0031.mrgcln2 | 2018-05-0031.samcor1 | 200 | 349.587 | 349.573 | 0.047006 | -0.013641 | 31.1991 | 31.2002 | 0.00054038 | 0.0011349 | 31.1991 | 31.2003 | 0.0003408 | 0.0011883
2018-05-0031.mrgcln2 | 2018-05-0031.samcor1 | 236 | 99.573 | 99.5747 | 0.034715 | 0.0016937 | 30.3586 | 30.3571 | 0.00076655 | -0.0015087 | 30.3586 | 30.3563 | 0.00085678 | -0.0022678
2018-05-0031.mrgcln2 | 2018-05-0031.samcor1 | 99 | 4.98 | 4.9469 | 0.052135 | -0.033142 | 25.039 | 25.8155 | 0.1007 | 0.77653 | 25.039 | 25.9736 | 0.087116 | 0.93465
2018-05-0040.mrgcln2 | 2018-05-0040.samcor1 | 234 | 299.447 | 299.446 | 0.033342 | -0.0014648 | 31.125 | 31.1266 | 0.00058617 | 0.0016346 | 31.125 | 31.1251 | 0.00033387 | 0.00012016
2018-05-0048.mrgcln2 | 2018-05-0048.samcor1 | 241 | 249.359 | 249.359 | 0.028258 | -0.00045776 | 30.9736 | 30.9771 | 0.00090942 | 0.0035438 | 30.9736 | 30.976 | 0.00053911 | 0.0023994
2018-05-0053.mrgcln2 | 2018-05-0053.samcor1 | 240 | 317.694 | 317.693 | 0.034023 | -0.00073242 | 31.1509 | 31.158 | 0.0022402 | 0.0070858 | 31.1509 | 31.1571 | 0.0034487 | 0.0061607
2018-05-0057.mrgcln2 | 2018-05-0057.samcor1 | 238 | 49.864 | 49.8641 | 0.02586 | 5.722e-05 | 29.1027 | 29.0393 | 0.0028138 | -0.063404 | 29.1027 | 29.0382 | 0.0031128 | -0.064461
2018-05-0058.mrgcln2 | 2018-05-0058.samcor1 | 239 | 174.827 | 174.827 | 0.028136 | -3.0518e-05 | 30.8422 | 30.8385 | 0.00044027 | -0.0036716 | 30.8422 | 30.8391 | 0.0002183 | -0.0031223
2018-05-0062.mrgcln2 | 2018-05-0062.samcor1 | 226 | 149.983 | 149.986 | 0.052915 | 0.0025177 | 30.8202 | 30.8263 | 0.00027281 | 0.0061264 | 30.8202 | 30.8264 | 0.00025158 | 0.0062065
2018-05-0067.mrgcln2 | 2018-05-0067.samcor1 | 120 | 299.78 | 299.781 | 0.033859 | 0.0014038 | 30.9093 | 30.9076 | 0.00021084 | -0.0016689 | 30.9093 | 30.9075 | 0.00021828 | -0.0018196
2018-05-0071.mrgcln2 | 2018-05-0071.samcor1 | 169 | 249.721 | 249.697 | 0.030066 | -0.023621 | 30.8516 | 30.8495 | 0.00032531 | -0.0020962 | 30.8516 | 30.85 | 0.00032038 | -0.0016499
2018-05-0075.mrgcln2 | 2018-05-0075.samcor1 | 239 | 99.73 | 99.7296 | 0.025534 | -0.00041962 | 30.7183 | 30.6917 | 0.0014342 | -0.026581 | 30.7183 | 30.691 | 0.00046985 | -0.027321
2018-05-0095.mrgcln2 | 2018-05-0095.samcor1 | 175 | 99.777 | 99.7725 | 0.04202 | -0.0044556 | 30.0945 | 30.0882 | 0.00052927 | -0.0062828 | 30.0945 | 30.0874 | 0.00039278 | -0.0070858
2018-05-0096.mrgcln2 | 2018-05-0096.samcor1 | 234 | 49.943 | 49.9431 | 0.030145 | 9.9182e-05 | 29.27 | 29.2634 | 0.0034933 | -0.0065956 | 29.27 | 29.2611 | 0.0034704 | -0.0089245
2018-05-0097.mrgcln2 | 2018-05-0097.samcor1 | 238 | 29.947 | 29.947 | 0.02541 | 2.861e-05 | 28.4799 | 28.5324 | 0.0050252 | 0.052465 | 28.4799 | 28.5116 | 0.013418 | 0.031748
2018-05-0100.mrgcln2 | 2018-05-0100.samcor1 | 279 | 48.552 | 48.5507 | 0.025558 | -0.0012627 | 26.4596 | 26.4903 | 0.00074764 | 0.030682 | 26.4596 | 26.4883 | 0.0010345 | 0.02865
2018-05-0104.mrgcln2 | 2018-05-0104.samcor1 | 546 | 34.981 | 34.9815 | 0.02448 | 0.0005455 | 26.836 | 26.8909 | 0.015677 | 0.05485 | 26.836 | 26.8672 | 0.019647 | 0.031208
2018-05-0106.mrgcln2 | 2018-05-0106.samcor1 | 236 | 29.786 | 29.7865 | 0.027678 | 0.00047493 | 26.8745 | 26.8459 | 0.0098903 | -0.028584 | 26.8745 | 26.8256 | 0.0026164 | -0.048893
2018-05-0108.mrgcln2 | 2018-05-0108.samcor1 | 238 | 200.195 | 200.195 | 0.027823 | -0.00021362 | 27.1251 | 27.1241 | 0.00021988 | -0.00097847 | 27.1251 | 27.123 | 0.00020947 | -0.0021458
2018-05-0109.mrgcln2 | 2018-05-0109.samcor1 | 236 | 124.913 | 124.913 | 0.05263 | -0.00017548 | 27.0962 | 27.0969 | 0.00032348 | 0.00066376 | 27.0962 | 27.0957 | 0.0005908 | -0.00050736
2018-05-0110.mrgcln2 | 2018-05-0110.samcor1 | 226 | 4.764 | 4.7686 | 0.032319 | 0.0045843 | 24.243 | 24.5383 | 0.055717 | 0.29529 | 24.243 | 24.3717 | 0.45943 | 0.12867
2018-05-0111.mrgcln2 | 2018-05-0111.samcor1 | 369 | 30.479 | 30.4833 | 0.029035 | 0.0043087 | 26.644 | 26.9218 | 0.0039118 | 0.27775 | 26.644 | 26.9201 | 0.00096145 | 0.27606
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 25
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2018-05-0001.mrgcln2 | 2018-05-0001.samcor1 | 12 | 12 | 2018-05-0001.mrgcln2 & 2018-05-0001.samcor1
2 | 2018-05-0005.mrgcln2 | 2018-05-0005.samcor1 | 14 | 14 | 2018-05-0005.mrgcln2 & 2018-05-0005.samcor1
3 | 2018-05-0007.mrgcln2 | 2018-05-0007.samcor1 | 16 | 16 | 2018-05-0007.mrgcln2 & 2018-05-0007.samcor1
4 | 2018-05-0016.mrgcln2 | 2018-05-0016.samcor1 | 18 | 18 | 2018-05-0016.mrgcln2 & 2018-05-0016.samcor1
5 | 2018-05-0025.mrgcln2 | 2018-05-0025.samcor1 | 20 | 20 | 2018-05-0025.mrgcln2 & 2018-05-0025.samcor1
6 | 2018-05-0031.mrgcln2 | 2018-05-0031.samcor1 | 22 | 24 | 2018-05-0031.mrgcln2 & 2018-05-0031.samcor1
7 | 2018-05-0040.mrgcln2 | 2018-05-0040.samcor1 | 26 | 26 | 2018-05-0040.mrgcln2 & 2018-05-0040.samcor1
8 | 2018-05-0048.mrgcln2 | 2018-05-0048.samcor1 | 28 | 28 | 2018-05-0048.mrgcln2 & 2018-05-0048.samcor1
9 | 2018-05-0053.mrgcln2 | 2018-05-0053.samcor1 | 30 | 30 | 2018-05-0053.mrgcln2 & 2018-05-0053.samcor1
10 | 2018-05-0057.mrgcln2 | 2018-05-0057.samcor1 | 32 | 32 | 2018-05-0057.mrgcln2 & 2018-05-0057.samcor1
11 | 2018-05-0058.mrgcln2 | 2018-05-0058.samcor1 | 34 | 34 | 2018-05-0058.mrgcln2 & 2018-05-0058.samcor1
12 | 2018-05-0062.mrgcln2 | 2018-05-0062.samcor1 | 36 | 36 | 2018-05-0062.mrgcln2 & 2018-05-0062.samcor1
13 | 2018-05-0067.mrgcln2 | 2018-05-0067.samcor1 | 38 | 38 | 2018-05-0067.mrgcln2 & 2018-05-0067.samcor1
14 | 2018-05-0071.mrgcln2 | 2018-05-0071.samcor1 | 40 | 40 | 2018-05-0071.mrgcln2 & 2018-05-0071.samcor1
15 | 2018-05-0075.mrgcln2 | 2018-05-0075.samcor1 | 42 | 42 | 2018-05-0075.mrgcln2 & 2018-05-0075.samcor1
16 | 2018-05-0095.mrgcln2 | 2018-05-0095.samcor1 | 44 | 44 | 2018-05-0095.mrgcln2 & 2018-05-0095.samcor1
17 | 2018-05-0096.mrgcln2 | 2018-05-0096.samcor1 | 46 | 46 | 2018-05-0096.mrgcln2 & 2018-05-0096.samcor1
18 | 2018-05-0097.mrgcln2 | 2018-05-0097.samcor1 | 48 | 48 | 2018-05-0097.mrgcln2 & 2018-05-0097.samcor1
19 | 2018-05-0100.mrgcln2 | 2018-05-0100.samcor1 | 50 | 50 | 2018-05-0100.mrgcln2 & 2018-05-0100.samcor1
20 | 2018-05-0104.mrgcln2 | 2018-05-0104.samcor1 | 52 | 52 | 2018-05-0104.mrgcln2 & 2018-05-0104.samcor1
21 | 2018-05-0106.mrgcln2 | 2018-05-0106.samcor1 | 54 | 54 | 2018-05-0106.mrgcln2 & 2018-05-0106.samcor1
22 | 2018-05-0108.mrgcln2 | 2018-05-0108.samcor1 | 56 | 56 | 2018-05-0108.mrgcln2 & 2018-05-0108.samcor1
23 | 2018-05-0109.mrgcln2 | 2018-05-0109.samcor1 | 58 | 58 | 2018-05-0109.mrgcln2 & 2018-05-0109.samcor1
24 | 2018-05-0110.mrgcln2 | 2018-05-0110.samcor1 | 60 | 60 | 2018-05-0110.mrgcln2 & 2018-05-0110.samcor1
25 | 2018-05-0111.mrgcln2 | 2018-05-0111.samcor1 | 62 | 62 | 2018-05-0111.mrgcln2 & 2018-05-0111.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 25
2 | (Sal1 - Sal_Bot) | Pressure | 25

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.060567 |  | X | CALC Y
m= | 9.6211e-06 | 1.1425e-05 |  | Std Dev of Resid |  | 0.0031978 |  | 99.5747 | -0.0013575
b= | -0.0023155 | 0.0024901 |  | Resid Sum of Squares |  | 0.00011249 |  | 349.573 | 0.0010478
# of Values Extracted = |  |  | 27
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.0195 | 30.2764 | 0.0004219 | -0.034712 | -0.0015937 | 0.033118 |  | 200.378 | -0.0018501
2 | YES | 200.378 | 30.5005 | 0.00038263 | -0.0018501 | -0.00038766 | 0.0014625 |  | 150.071 | 0.00032425
3 | NO | 193.717 | 30.1007 | 0.0043763 | -0.0014324 | -0.00045175 | 0.00098067 |  | 349.573 | 0.0011349
4 | YES | 150.071 | 30.1054 | 0.0011275 | 0.00032425 | -0.00087167 | -0.0011959 |  | 99.5747 | -0.0015087
5 | NO | 299.617 | 31.0768 | 0.0012622 | 0.00088882 | 0.00056713 | -0.00032169 |  | 299.446 | 0.0016346
6 | YES | 349.573 | 31.2002 | 0.00054038 | 0.0011349 | 0.0010478 | -8.7107e-05 |  | 249.359 | 0.0035438
6 | YES | 99.5747 | 30.3571 | 0.00076655 | -0.0015087 | -0.0013575 | 0.00015121 |  | 174.827 | -0.0036716
6 | NO | 4.9469 | 25.8155 | 0.1007 | 0.77653 | -0.0022679 | -0.77879 |  | 149.986 | 0.0061264
7 | YES | 299.446 | 31.1266 | 0.00058617 | 0.0016346 | 0.00056549 | -0.0010691 |  | 299.781 | -0.0016689
8 | YES | 249.359 | 30.9771 | 0.00090942 | 0.0035438 | 8.3592e-05 | -0.0034603 |  | 249.697 | -0.0020962
9 | NO | 317.693 | 31.158 | 0.0022402 | 0.0070858 | 0.00074104 | -0.0063448 |  | 99.7725 | -0.0062828
10 | NO | 49.8641 | 29.0393 | 0.0028138 | -0.063404 | -0.0018358 | 0.061568 |  | 200.195 | -0.00097847
11 | YES | 174.827 | 30.8385 | 0.00044027 | -0.0036716 | -0.00063349 | 0.0030382 |  | 124.913 | 0.00066376 | -0.00035609 | 0.0031588
12 | YES | 149.986 | 30.8263 | 0.00027281 | 0.0061264 | -0.00087249 | -0.0069989
13 | YES | 299.781 | 30.9076 | 0.00021084 | -0.0016689 | 0.00056871 | 0.0022376
14 | YES | 249.697 | 30.8495 | 0.00032531 | -0.0020962 | 8.6844e-05 | 0.002183
15 | NO | 99.7296 | 30.6917 | 0.0014342 | -0.026581 | -0.001356 | 0.025225
16 | YES | 99.7725 | 30.0882 | 0.00052927 | -0.0062828 | -0.0013556 | 0.0049272
17 | NO | 49.9431 | 29.2634 | 0.0034933 | -0.0065956 | -0.001835 | 0.0047606
18 | NO | 29.947 | 28.5324 | 0.0050252 | 0.052465 | -0.0020274 | -0.054493
19 | NO | 48.5507 | 26.4903 | 0.00074764 | 0.030682 | -0.0018484 | -0.03253
20 | NO | 34.9815 | 26.8909 | 0.015677 | 0.05485 | -0.001979 | -0.056829
21 | NO | 29.7865 | 26.8459 | 0.0098903 | -0.028584 | -0.0020289 | 0.026555
22 | YES | 200.195 | 27.1241 | 0.00021988 | -0.00097847 | -0.00038942 | 0.00058905
23 | YES | 124.913 | 27.0969 | 0.00032348 | 0.00066376 | -0.0011137 | -0.0017775
24 | NO | 4.7686 | 24.5383 | 0.055717 | 0.29529 | -0.0022696 | -0.29756
25 | NO | 30.4833 | 26.9218 | 0.0039118 | 0.27775 | -0.0020222 | -0.27977
NO
YES
NO
YES
NO
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
NO
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.099618 |  | X | CALC Y
m= | 1.1928e-05 | 1.0352e-05 |  | Std Dev of Resid |  | 0.0030515 |  | 99.5747 | -0.0020818
b= | -0.0032695 | 0.0023268 |  | Resid Sum of Squares |  | 0.00011174 |  | 349.573 | 0.00090009
# of Values Extracted = |  |  | 27
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 75.0195 | 30.2759 | 0.00078949 | -0.035248 | -0.0023747 | 0.032873 |  | 200.378 | -0.0029678
2 | YES | 200.378 | 30.4993 | 0.0003056 | -0.0029678 | -0.00087948 | 0.0020884 |  | 150.071 | -0.0002327
3 | NO | 193.717 | 30.0971 | 0.0030207 | -0.0049915 | -0.00095893 | 0.0040326 |  | 299.617 | 0.0012646
4 | YES | 150.071 | 30.1049 | 0.000821 | -0.0002327 | -0.0014795 | -0.0012468 |  | 349.573 | 0.0011883
5 | YES | 299.617 | 31.0772 | 0.0005332 | 0.0012646 | 0.00030423 | -0.00096034 |  | 99.5747 | -0.0022678
6 | YES | 349.573 | 31.2003 | 0.0003408 | 0.0011883 | 0.00090009 | -0.00028819 |  | 299.446 | 0.00012016
6 | YES | 99.5747 | 30.3563 | 0.00085678 | -0.0022678 | -0.0020818 | 0.000186 |  | 249.359 | 0.0023994 | -7.0845e-05 | 0.0019473
6 | NO | 4.9469 | 25.9736 | 0.087116 | 0.93465 | -0.0032105 | -0.93786 |  | 174.827 | -0.0031223
7 | YES | 299.446 | 31.1251 | 0.00033387 | 0.00012016 | 0.00030219 | 0.00018203 |  | 149.986 | 0.0062065
8 | YES | 249.359 | 30.976 | 0.00053911 | 0.0023994 | -0.00029524 | -0.0026947 |  | 299.781 | -0.0018196
9 | NO | 317.693 | 31.1571 | 0.0034487 | 0.0061607 | 0.00051984 | -0.0056409 |  | 249.697 | -0.0016499
10 | NO | 49.8641 | 29.0382 | 0.0031128 | -0.064461 | -0.0026748 | 0.061786 |  | 99.7725 | -0.0070858
11 | YES | 174.827 | 30.8391 | 0.0002183 | -0.0031223 | -0.0011842 | 0.0019381 |  | 200.195 | -0.0021458
12 | YES | 149.986 | 30.8264 | 0.00025158 | 0.0062065 | -0.0014805 | -0.0076871 |  | 124.913 | -0.00050736
13 | YES | 299.781 | 30.9075 | 0.00021828 | -0.0018196 | 0.00030618 | 0.0021258
14 | YES | 249.697 | 30.85 | 0.00032038 | -0.0016499 | -0.00029121 | 0.0013587
15 | NO | 99.7296 | 30.691 | 0.00046985 | -0.027321 | -0.00208 | 0.025241
16 | YES | 99.7725 | 30.0874 | 0.00039278 | -0.0070858 | -0.0020795 | 0.0050063
17 | NO | 49.9431 | 29.2611 | 0.0034704 | -0.0089245 | -0.0026738 | 0.0062506
18 | NO | 29.947 | 28.5116 | 0.013418 | 0.031748 | -0.0029123 | -0.03466
19 | NO | 48.5507 | 26.4883 | 0.0010345 | 0.02865 | -0.0026904 | -0.031341
20 | NO | 34.9815 | 26.8672 | 0.019647 | 0.031208 | -0.0028523 | -0.03406
21 | NO | 29.7865 | 26.8256 | 0.0026164 | -0.048893 | -0.0029143 | 0.045979
22 | YES | 200.195 | 27.123 | 0.00020947 | -0.0021458 | -0.00088166 | 0.0012641
23 | YES | 124.913 | 27.0957 | 0.0005908 | -0.00050736 | -0.0017796 | -0.0012723
24 | NO | 4.7686 | 24.3717 | 0.45943 | 0.12867 | -0.0032127 | -0.13188
25 | NO | 30.4833 | 26.9201 | 0.00096145 | 0.27606 | -0.0029059 | -0.27897
NO
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
NO
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE