## Method and notes
DMS analysis method
All DMS samples were collected in 250mL ground glass stoppered bottles and stored in a fridge, in the dark and removed one at a time before analysis.
A sample was loaded onto the stripper and purged with UHP Nitrogen for 10 minutes at ~100mL/min.
The DMS was extracted from the water and absorbed onto a Tenax TA trap kept at -80oC.
The trap was subsequently desorbed at 100oC (with a dewar containing boiling water) onto a Chromasorb 330 column which eluted onto a Flame Photometric Detector (FPD).
All samples were run as soon as possible after being collected.
DMS Calibration
A four to six level calibration table was used for calculating the concentrations of DMS.
The standards were prepared in water and run under the same conditions, as described above, for the samples.
A calibration curve was valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run approximately every 13 samples to ensure the system remained free of contamination and had acceptable reproducibility.
Stripping efficiency was evaluated at the beginning of the cruise and was proven to be acceptable at over 98.0%.
Quality Flags
From cruise 2013-01 on, data quality is expressed with the following flags:
1 = Sample for this measurement was collected but not analyzed. Sample lost.
2 = Acceptable measurement.
3 = Questionable measurement (probably good).
4 = Poor measurement (probably bad).
5 = Measurement not reported (bad).
6 = Mean of replicate measurements.
7 = Manual chromatographic peak measurement.
8 = Irregular digital chromatographic peak integration.
9 = Sample was planned for this measurement from this bottle but was not collected
System
No problems
Notes specific for this cruise
The average of duplicates is reported.
2018-08-15 | G.G. | Event number changed from 43 to 44

## QF file
Event_Number | Station | Sample_Number | Dimethyl_Sulphide | Flag:Dimethyl_Sulphide | Comments
14 | P2 | 51 | 1.54
14 | P2 | 49 | 1.65
14 | P2 | 48 | 1.87
14 | P2 | 47 | 1.66
14 | P2 | 46 | 1.71 | 6
14 | P2 | 45 | 1.56
14 | P2 | 44 | 0.54
14 | P2 | 43 | 0.47
14 | P2 | 41 | 0.36
14 | P2 | 40 | 0.28
14 | P2 | 39 | 0.31
16 | P4 | 72 | 0.99
16 | P4 | 71 | 1.1359
16 | P4 | 68 | 1.0463
16 | P4 | 67 | 1.1702
16 | P4 | 66 | 1.36 | 6
16 | P4 | 65 | 1.3771
16 | P4 | 64 | 1.0238
16 | P4 | 63 | 0.68475
16 | P4 | 62 | 0.68475
16 | P4 | 57 | <
16 | P4 | 59 | <
16 | P4 | 58 | <
16 | P4 | 55 | <
16 | P4 | 53 | <
44 | P12 | 288 | 1.3579
44 | P12 | 286 | 1.3248
44 | P12 | 285 | 1.2732
44 | P12 | 284 | 1.4521
44 | P12 | 283 | 0.92 | 6
44 | P12 | 282 | 0.84093
44 | P12 | 281 | 0.8759
44 | P12 | 280 | 0.68882
44 | P12 | 279 | 0.6978
44 | P12 | 277 | 0.38704
44 | P12 | 276 | 0.22242
44 | P12 | 275 | <
44 | P12 | 274 | <
44 | P12 | 272 | <
49 | P16 | 331 | 4.1258
49 | P16 | 329 | 6.5196
49 | P16 | 328 | 7.2093
49 | P16 | 327 | 8.1132
49 | P16 | 326 | 8.24 | 6
49 | P16 | 325 | 9.1615
49 | P16 | 324 | 7.3661
49 | P16 | 323 | 1.4488
49 | P16 | 322 | 0.79544
49 | P16 | 320 | 0.30982
49 | P16 | 319 | <
49 | P16 | 318 | <
49 | P16 | 317 | <
49 | P16 | 315 | <
61 | P20 | 446 | 2.1524
61 | P20 | 444 | 2.3012
61 | P20 | 443 | 2.4753
61 | P20 | 442 | 2.1985
61 | P20 | 441 | 2.27 | 6
61 | P20 | 440 | 2.3652
61 | P20 | 439 | 1.2051
61 | P20 | 438 | 0.87941
61 | P20 | 437 | 0.49837
61 | P20 | 435 | 0.35876
61 | P20 | 434 | 0.25827
61 | P20 | 433 | <
61 | P20 | 432 | <
61 | P20 | 430 | <
83 | P26 | 661 | 1.516
83 | P26 | 660 | 1.6723
83 | P26 | 657 | 1.9294
83 | P26 | 656 | 2.2792
83 | P26 | 655 | 2.35 | 6
83 | P26 | 654 | 2.2295
83 | P26 | 653 | 1.9076
83 | P26 | 652 | 1.4245
83 | P26 | 651 | 0.95396
83 | P26 | 648 | 0.29515
83 | P26 | 646 | <
83 | P26 | 645 | <
83 | P26 | 644 | <
83 | P26 | 642 | <

## raw data
Cruise 2018-26
Time
Date | Event # | Station | Sample # | Niskin | Depth | Analysis | MDL | DMS
2018 |  |  |  |  | m | (local) | nM | nM
2018-06-06 | 14 | P2 | 51 | 14 | 0 | 07:22 | 0.1 | 1.54
2018-06-06 | 14 | P2 | 49 | 12 | 5 | - | 0.1 | 1.65
2018-06-06 | 14 | P2 | 48 | 11 | 10 | - | 0.1 | 1.87
2018-06-06 | 14 | P2 | 47 | 10 | 15 | - | 0.1 | 1.66
2018-06-06 | 14 | P2 | 46 | 9 | 20 | - | 0.1 | 1.72
2018-06-06 | 14 | P2 | 46 | 9 | 20 | - | 0.1 | 1.7
2018-06-06 | 14 | P2 | 45 | 8 | 25 | - | 0.1 | 1.56
2018-06-06 | 14 | P2 | 44 | 7 | 30 | 09:30 | 0.1 | 0.54
2018-06-06 | 14 | P2 | 43 | 6 | 40 | - | 0.1 | 0.47
2018-06-06 | 14 | P2 | 41 | 4 | 50 | - | 0.1 | 0.36
2018-06-06 | 14 | P2 | 40 | 3 | 75 | - | 0.1 | 0.28
2018-06-06 | 14 | P2 | 39 | 2 | 100 | 10:35 | 0.1 | 0.31
2018-06-06 | 16 | P4 | 72 | 20 | 0 | 12:00 | 0.1 | 0.99
2018-06-06 | 16 | P4 | 71 | 19 | 5 | - | 0.1 | 1.1359
2018-06-06 | 16 | P4 | 68 | 16 | 10 | - | 0.1 | 1.0463
2018-06-06 | 16 | P4 | 67 | 15 | 15 | - | 0.1 | 1.1702
2018-06-06 | 16 | P4 | 66 | 14 | 20 | - | 0.1 | 1.2442
2018-06-06 | 16 | P4 | 66 | 14 | 20 | - | 0.1 | 1.4669
2018-06-06 | 16 | P4 | 65 | 13 | 25 | 14:30 | 0.1 | 1.3771
2018-06-06 | 16 | P4 | 64 | 12 | 30 |  | 0.1 | 1.0238
2018-06-06 | 16 | P4 | 63 | 11 | 40 | - | 0.1 | 0.68475
2018-06-06 | 16 | P4 | 62 | 10 | 50 | - | 0.1 | 0.68475
2018-06-06 | 16 | P4 | 57 | 5 | 75 | - | 0.1 | <
2018-06-06 | 16 | P4 | 59 | 7 | 100 | - | 0.1 | <
2018-06-06 | 16 | P4 | 58 | 4 | 150 | - | 0.1 | <
2018-06-06 | 16 | P4 | 55 | 3 | 200 | - | 0.1 | <
2018-06-06 | 16 | P4 | 53 | 1 | 300 | 17:00 | 0.1 | <
2018-06-09 | 44 | P12 | 288 | 17 | 0 | 11:15 | 0.1 | 1.3579
2018-06-09 | 44 | P12 | 286 | 15 | 5 | - | 0.1 | 1.3248
2018-06-09 | 44 | P12 | 285 | 14 | 10 | - | 0.1 | 1.2732
2018-06-09 | 44 | P12 | 284 | 13 | 15 | - | 0.1 | 1.4521
2018-06-09 | 44 | P12 | 283 | 12 | 20 | 13:06 | 0.1 | 0.94133
2018-06-09 | 44 | P12 | 283 | 12 | 20 | - | 0.1 | 0.90274
2018-06-09 | 44 | P12 | 282 | 11 | 25 | - | 0.1 | 0.84093
2018-06-09 | 44 | P12 | 281 | 10 | 30 | - | 0.1 | 0.8759
2018-06-09 | 44 | P12 | 280 | 9 | 40 | 14:06 | 0.1 | 0.68882
2018-06-09 | 44 | P12 | 279 | 8 | 50 | - | 0.1 | 0.6978
2018-06-09 | 44 | P12 | 277 | 6 | 75 | - | 0.1 | 0.38704
2018-06-09 | 44 | P12 | 276 | 5 | 100 | 15:00 | 0.1 | 0.22242
2018-06-09 | 44 | P12 | 275 | 4 | 150 | - | 0.1 | <
2018-06-09 | 44 | P12 | 274 | 3 | 200 | - | 0.1 | <
2018-06-09 | 44 | P12 | 272 | 1 | 300 | 11:00 | 0.1 | <
2018-06-10 | 49 | P16 | 331 | 17 | 0 | 12:00 | 0.1 | 4.1258
2018-06-10 | 49 | P16 | 329 | 15 | 5 | - | 0.1 | 6.5196
2018-06-10 | 49 | P16 | 328 | 14 | 10 | - | 0.1 | 7.2093
2018-06-10 | 49 | P16 | 327 | 13 | 15 | - | 0.1 | 8.1132
2018-06-10 | 49 | P16 | 326 | 12 | 20 | 13:00 | 0.1 | 8.5905
2018-06-10 | 49 | P16 | 326 | 12 | 20 | - | 0.1 | 7.8945
2018-06-10 | 49 | P16 | 325 | 11 | 25 | - | 0.1 | 9.1615
2018-06-10 | 49 | P16 | 324 | 10 | 30 | - | 0.1 | 7.3661
2018-06-10 | 49 | P16 | 323 | 9 | 40 | - | 0.1 | 1.4488
2018-06-10 | 49 | P16 | 322 | 8 | 50 | - | 0.1 | 0.79544
2018-06-10 | 49 | P16 | 320 | 6 | 75 | - | 0.1 | 0.30982
2018-06-10 | 49 | P16 | 319 | 5 | 100 | 15:00 | 0.1 | <
2018-06-10 | 49 | P16 | 318 | 4 | 150 | - | 0.1 | <
2018-06-10 | 49 | P16 | 317 | 3 | 200 | - | 0.1 | <
2018-06-10 | 49 | P16 | 315 | 1 | 300 | 16:00 | 0.1 | <
2018-06-11 | 61 | P20 | 446 | 17 | 0 | 15:00 | 0.1 | 2.1524
2018-06-11 | 61 | P20 | 444 | 15 | 5 | - | 0.1 | 2.3012
2018-06-11 | 61 | P20 | 443 | 14 | 10 | - | 0.1 | 2.4753
2018-06-11 | 61 | P20 | 442 | 13 | 15 | - | 0.1 | 2.1985
2018-06-11 | 61 | P20 | 441 | 12 | 20 | - | 0.1 | 2.1259
2018-06-11 | 61 | P20 | 441 | 12 | 20 | - | 0.1 | 2.4094
2018-06-11 | 61 | P20 | 440 | 11 | 25 | - | 0.1 | 2.3652
2018-06-11 | 61 | P20 | 439 | 10 | 30 | - | 0.1 | 1.2051
2018-06-11 | 61 | P20 | 438 | 9 | 40 | - | 0.1 | 0.87941
2018-06-11 | 61 | P20 | 437 | 8 | 50 | 17:30 | 0.1 | 0.49837
2018-06-11 | 61 | P20 | 435 | 6 | 75 | - | 0.1 | 0.35876
2018-06-11 | 61 | P20 | 434 | 5 | 100 | - | 0.1 | 0.25827
2018-06-11 | 61 | P20 | 433 | 4 | 150 | - | 0.1 | <
2018-06-11 | 61 | P20 | 432 | 3 | 200 | - | 0.1 | <
2018-06-11 | 61 | P20 | 430 | 1 | 300 | 19:10 | 0.1 | <
2018-06-13 | 83 | P26 | 661 | 20 | 0 | 18:00 | 0.1 | 1.516
2018-06-13 | 83 | P26 | 660 | 19 | 5 | - | 0.1 | 1.6723
2018-06-13 | 83 | P26 | 657 | 16 | 10 | - | 0.1 | 1.9294
2018-06-13 | 83 | P26 | 656 | 15 | 15 | - | 0.1 | 2.2792
2018-06-13 | 83 | P26 | 655 | 14 | 20 | - | 0.1 | 2.2998
2018-06-13 | 83 | P26 | 655 | 14 | 20 | 19:15 | 0.1 | 2.4098
2018-06-13 | 83 | P26 | 654 | 13 | 25 | - | 0.1 | 2.2295
2018-06-13 | 83 | P26 | 653 | 12 | 30 | - | 0.1 | 1.9076
2018-06-13 | 83 | P26 | 652 | 11 | 40 | - | 0.1 | 1.4245
2018-06-13 | 83 | P26 | 651 | 10 | 50 | - | 0.1 | 0.95396
2018-06-13 | 83 | P26 | 648 | 7 | 75 | - | 0.1 | 0.29515
2018-06-13 | 83 | P26 | 646 | 5 | 100 | - | 0.1 | <
2018-06-13 | 83 | P26 | 645 | 4 | 150 | - | 0.1 | <
2018-06-13 | 83 | P26 | 644 | 3 | 200 | - | 0.1 | <
2018-06-13 | 83 | P26 | 642 | 1 | 300 | 21:50 | 0.1 | <

## Dups
Cruise 2018-26
Standard Deviation of Pairs (Sp)
| ID | Sample | Duplicate | Relative | (S-D)SQ
| (Sample #) | (S) | (D) | % Difference
[6 empty] | Sum of (S-D)SQ | 0.6354
[6 empty] | Count | 6
P2 | 46 | 1.7 | 1.72 | 1.1696 | 0.0004 | Sum/2/Count | 0.05295
P4 | 66 | 1.24 | 1.47 | 16.9742 | 0.0529 | SQR of Sum/2/Count (Sp)= | 0.23011
P12 | 283 | 0.9 | 0.94 | 4.3478 | 0.0016
P16 | 326 | 8.59 | 7.89 | 8.4951 | 0.49
P20 | 441 | 2.13 | 2.41 | 12.3348 | 0.0784
P26 | 655 | 2.3 | 2.41 | 4.6709 | 0.0121
|  |  | Mean | 7.9987