## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6 | Run at 2019/03/11 15:27:45 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2018-031-0001.mrg | 2018-031-0001.sam | 241 | 99.924 | 99.9241 | 0.023205 | 0.00011444 | 31.2901 | 31.2291 | 0.00044298 | -0.060986 | 31.2901 | 31.2279 | 0.00026516 | -0.062159
2018-031-0002.mrg | 2018-031-0002.sam | 241 | 198.969 | 198.969 | 0.051912 | -0.00028992 | 32.4226 | 32.3926 | 0.0036573 | -0.029991 | 32.4226 | 32.3918 | 0.0038267 | -0.030766
2018-031-0007.mrg | 2018-031-0007.sam | 58 | 200.277 | 200.316 | 0.12441 | 0.038635 | 33.9504 | 33.943 | 0.0012558 | -0.0074425 | 33.9504 | 33.9416 | 0.0010914 | -0.008812
2018-031-0011.mrg | 2018-031-0011.sam | 28 | 200.644 | 200.648 | 0.10663 | 0.0040741 | 33.9472 | 33.9389 | 0.0003039 | -0.0082741 | 33.9472 | 33.9377 | 0.00019547 | -0.0094757
2018-031-0014.mrg | 2018-031-0014.sam | 49 | 175.184 | 175.173 | 0.11231 | -0.010925 | 33.9154 | 33.904 | 0.00026562 | -0.011364 | 33.9154 | 33.903 | 0.00018648 | -0.012375
2018-031-0018.mrg | 2018-031-0018.sam | 113 | 149.813 | 149.772 | 0.11097 | -0.041107 | 33.9003 | 33.8882 | 0.00026461 | -0.012119 | 33.9003 | 33.8874 | 0.00020457 | -0.012932
2018-031-0021.mrg | 2018-031-0021.sam | 198 | 99.81 | 99.8114 | 0.10521 | 0.0014267 | 33.2551 | 33.2474 | 0.027298 | -0.0077133 | 33.2551 | 33.2432 | 0.024041 | -0.011917
2018-031-0025.mrg | 2018-031-0025.sam | 56 | 98.769 | 98.7463 | 0.114 | -0.022713 | 33.1402 | 33.1204 | 0.0025989 | -0.019825 | 33.1402 | 33.1198 | 0.0023444 | -0.020374
2018-031-0029.mrg | 2018-031-0029.sam | 241 | 124.905 | 124.905 | 0.045496 | -0.00016785 | 33.0179 | 32.994 | 0.00077319 | -0.023849 | 33.0179 | 32.9948 | 0.0027908 | -0.023102
2018-031-0036.mrg | 2018-031-0036.sam | 241 | 200.117 | 200.117 | 0.043077 | -0.00042725 | 32.0235 | 31.9934 | 0.0014031 | -0.030056 | 32.0235 | 31.9914 | 0.00092457 | -0.032122
2018-031-0044.mrg | 2018-031-0044.sam | 241 | 150.103 | 150.103 | 0.027092 | 0.00033569 | 31.0827 | 31.0304 | 0.00031859 | -0.052345 | 31.0827 | 31.0282 | 0.00037664 | -0.054518
2018-031-0049.mrg | 2018-031-0049.sam | 241 | 300.772 | 300.772 | 0.08049 | 0.00039673 | 31.3432 | 31.3026 | 0.00035486 | -0.040577 | 31.3432 | 31.3018 | 0.00035762 | -0.04139
2018-031-0056.mrg | 2018-031-0056.sam | 241 | 349.959 | 349.959 | 0.047211 | 0.00042725 | 31.399 | 31.3569 | 0.00030565 | -0.042065 | 31.399 | 31.3564 | 0.00038309 | -0.042637
2018-031-0063.mrg | 2018-031-0063.sam | 241 | 300.259 | 300.259 | 0.051435 | 6.1035e-05 | 31.3268 | 31.2855 | 0.00051723 | -0.041283 | 31.3268 | 31.2844 | 0.00038588 | -0.042358
2018-031-0071.mrg | 2018-031-0071.sam | 241 | 300.288 | 300.288 | 0.026782 | -0.00030518 | 31.2538 | 31.2097 | 0.0032076 | -0.04413 | 31.2538 | 31.2087 | 0.00025715 | -0.045061
2018-031-0074.mrg | 2018-031-0074.sam | 241 | 175.185 | 175.185 | 0.029066 | -0.00045776 | 31.0571 | 31.0113 | 0.00021335 | -0.045782 | 31.0571 | 31.01 | 0.00021646 | -0.047083
2018-031-0077.mrg | 2018-031-0077.sam | 241 | 150.66 | 150.66 | 0.02704 | -0.00045776 | 30.9443 | 30.891 | 0.0035216 | -0.053282 | 30.9443 | 30.8892 | 0.00048928 | -0.055149
2018-031-0082.mrg | 2018-031-0082.sam | 241 | 300.654 | 300.654 | 0.045359 | 0.00045776 | 30.9788 | 30.9391 | 0.0052508 | -0.03965 | 30.9788 | 30.9357 | 0.0048154 | -0.043116
2018-031-0086.mrg | 2018-031-0086.sam | 90 | 250.532 | 250.558 | 0.11091 | 0.026398 | 30.9504 | 30.9022 | 0.00076039 | -0.048204 | 30.9504 | 30.9013 | 0.00060095 | -0.049122
2018-031-0088.mrg | 2018-031-0088.sam | 217 | 125.377 | 125.381 | 0.099929 | 0.0040054 | 30.4636 | 30.4136 | 0.021458 | -0.050049 | 30.4636 | 30.4153 | 0.017036 | -0.04833
2018-031-0094.mrg | 2018-031-0094.sam | 241 | 149.965 | 149.965 | 0.026604 | -0.00024414 | 30.7365 | 30.6898 | 0.00019877 | -0.046711 | 30.7365 | 30.6887 | 0.00022455 | -0.047773
2018-031-0096.mrg | 2018-031-0096.sam | 241 | 250.265 | 250.265 | 0.026018 | -6.1035e-05 | 30.7163 | 30.6649 | 0.00019373 | -0.051403 | 30.7163 | 30.6641 | 0.00023794 | -0.052219
2018-031-0097.mrg | 2018-031-0097.sam | 241 | 300.183 | 300.183 | 0.024877 | 0.00030518 | 30.7326 | 30.6824 | 0.00028904 | -0.050184 | 30.7326 | 30.6813 | 0.00035674 | -0.051273
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 23
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2018-031-0001.mrg | 2018-031-0001.sam | 12 | 12 | 2018-031-0001.mrg & 2018-031-0001.sam
2 | 2018-031-0002.mrg | 2018-031-0002.sam | 14 | 14 | 2018-031-0002.mrg & 2018-031-0002.sam
3 | 2018-031-0007.mrg | 2018-031-0007.sam | 16 | 16 | 2018-031-0007.mrg & 2018-031-0007.sam
4 | 2018-031-0011.mrg | 2018-031-0011.sam | 18 | 18 | 2018-031-0011.mrg & 2018-031-0011.sam
5 | 2018-031-0014.mrg | 2018-031-0014.sam | 20 | 20 | 2018-031-0014.mrg & 2018-031-0014.sam
6 | 2018-031-0018.mrg | 2018-031-0018.sam | 22 | 22 | 2018-031-0018.mrg & 2018-031-0018.sam
7 | 2018-031-0021.mrg | 2018-031-0021.sam | 24 | 24 | 2018-031-0021.mrg & 2018-031-0021.sam
8 | 2018-031-0025.mrg | 2018-031-0025.sam | 26 | 26 | 2018-031-0025.mrg & 2018-031-0025.sam
9 | 2018-031-0029.mrg | 2018-031-0029.sam | 28 | 28 | 2018-031-0029.mrg & 2018-031-0029.sam
10 | 2018-031-0036.mrg | 2018-031-0036.sam | 30 | 30 | 2018-031-0036.mrg & 2018-031-0036.sam
11 | 2018-031-0044.mrg | 2018-031-0044.sam | 32 | 32 | 2018-031-0044.mrg & 2018-031-0044.sam
12 | 2018-031-0049.mrg | 2018-031-0049.sam | 34 | 34 | 2018-031-0049.mrg & 2018-031-0049.sam
13 | 2018-031-0056.mrg | 2018-031-0056.sam | 36 | 36 | 2018-031-0056.mrg & 2018-031-0056.sam
14 | 2018-031-0063.mrg | 2018-031-0063.sam | 38 | 38 | 2018-031-0063.mrg & 2018-031-0063.sam
15 | 2018-031-0071.mrg | 2018-031-0071.sam | 40 | 40 | 2018-031-0071.mrg & 2018-031-0071.sam
16 | 2018-031-0074.mrg | 2018-031-0074.sam | 42 | 42 | 2018-031-0074.mrg & 2018-031-0074.sam
17 | 2018-031-0077.mrg | 2018-031-0077.sam | 44 | 44 | 2018-031-0077.mrg & 2018-031-0077.sam
18 | 2018-031-0082.mrg | 2018-031-0082.sam | 46 | 46 | 2018-031-0082.mrg & 2018-031-0082.sam
19 | 2018-031-0086.mrg | 2018-031-0086.sam | 48 | 48 | 2018-031-0086.mrg & 2018-031-0086.sam
20 | 2018-031-0088.mrg | 2018-031-0088.sam | 50 | 50 | 2018-031-0088.mrg & 2018-031-0088.sam
21 | 2018-031-0094.mrg | 2018-031-0094.sam | 52 | 52 | 2018-031-0094.mrg & 2018-031-0094.sam
22 | 2018-031-0096.mrg | 2018-031-0096.sam | 54 | 54 | 2018-031-0096.mrg & 2018-031-0096.sam
23 | 2018-031-0097.mrg | 2018-031-0097.sam | 56 | 56 | 2018-031-0097.mrg & 2018-031-0097.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 23
2 | (Sal1 - Sal_Bot) | Pressure | 23
3 | (Sal0 - Sal_Bot) | File Pair # | 23
4 | (Sal1 - Sal_Bot) | File Pair # | 23
5 | (Sal0 - Sal_Bot) | Sal0 | 23

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.077795 |  | X | CALC Y
m= | -6.7204e-05 | 5.7846e-05 |  | Std Dev of Resid |  | 0.015851 |  | 149.772 | -0.031125
b= | -0.021059 | 0.013707 |  | Resid Sum of Squares |  | 0.0040199 |  | 349.959 | -0.044578
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 99.9241 | 31.2291 | 0.00044298 | -0.060986 | -0.027775 | 0.033211 |  | 198.969 | -0.029991
2 | YES | 198.969 | 32.3926 | 0.0036573 | -0.029991 | -0.034431 | -0.0044398 |  | 200.316 | -0.0074425
3 | YES | 200.316 | 33.943 | 0.0012558 | -0.0074425 | -0.034521 | -0.027079 |  | 200.648 | -0.0082741
4 | YES | 200.648 | 33.9389 | 0.0003039 | -0.0082741 | -0.034544 | -0.02627 |  | 175.173 | -0.011364
5 | YES | 175.173 | 33.904 | 0.00026562 | -0.011364 | -0.032832 | -0.021468 |  | 149.772 | -0.012119
6 | YES | 149.772 | 33.8882 | 0.00026461 | -0.012119 | -0.031125 | -0.019005 |  | 200.117 | -0.030056
7 | NO | 99.8114 | 33.2474 | 0.027298 | -0.0077133 | -0.027767 | -0.020054 |  | 150.103 | -0.052345
8 | NO | 98.7463 | 33.1204 | 0.0025989 | -0.019825 | -0.027695 | -0.0078705 |  | 300.772 | -0.040577
9 | NO | 124.905 | 32.994 | 0.00077319 | -0.023849 | -0.029453 | -0.005604 |  | 349.959 | -0.042065
10 | YES | 200.117 | 31.9934 | 0.0014031 | -0.030056 | -0.034508 | -0.004452 |  | 300.259 | -0.041283
11 | YES | 150.103 | 31.0304 | 0.00031859 | -0.052345 | -0.031147 | 0.021198 |  | 300.288 | -0.04413
12 | YES | 300.772 | 31.3026 | 0.00035486 | -0.040577 | -0.041272 | -0.00069555 |  | 175.185 | -0.045782
13 | YES | 349.959 | 31.3569 | 0.00030565 | -0.042065 | -0.044578 | -0.0025133 |  | 150.66 | -0.053282
14 | YES | 300.259 | 31.2855 | 0.00051723 | -0.041283 | -0.041238 | 4.4725e-05 |  | 300.654 | -0.03965
15 | YES | 300.288 | 31.2097 | 0.0032076 | -0.04413 | -0.04124 | 0.0028904 |  | 250.558 | -0.048204
16 | YES | 175.185 | 31.0113 | 0.00021335 | -0.045782 | -0.032832 | 0.01295 |  | 149.965 | -0.046711
17 | YES | 150.66 | 30.891 | 0.0035216 | -0.053282 | -0.031184 | 0.022097 |  | 250.265 | -0.051403
18 | YES | 300.654 | 30.9391 | 0.0052508 | -0.03965 | -0.041265 | -0.0016145 |  | 300.183 | -0.050184
19 | YES | 250.558 | 30.9022 | 0.00076039 | -0.048204 | -0.037898 | 0.010307
20 | NO | 125.381 | 30.4136 | 0.021458 | -0.050049 | -0.029485 | 0.020563
21 | YES | 149.965 | 30.6898 | 0.00019877 | -0.046711 | -0.031138 | 0.015573
22 | YES | 250.265 | 30.6649 | 0.00019373 | -0.051403 | -0.037878 | 0.013525
23 | YES | 300.183 | 30.6824 | 0.00028904 | -0.050184 | -0.041233 | 0.0089513
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.063072 |  | X | CALC Y
m= | -5.5062e-05 | 4.631e-05 |  | Std Dev of Resid |  | 0.016735 |  | 98.7463 | -0.030997
b= | -0.02556 | 0.0099968 |  | Resid Sum of Squares |  | 0.005881 |  | 349.959 | -0.04483
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 99.9241 | 31.2279 | 0.00026516 | -0.062159 | -0.031062 | 0.031097 |  | 99.9241 | -0.062159
2 | YES | 198.969 | 32.3918 | 0.0038267 | -0.030766 | -0.036516 | -0.0057502 |  | 198.969 | -0.030766
3 | YES | 200.316 | 33.9416 | 0.0010914 | -0.008812 | -0.03659 | -0.027778 |  | 200.316 | -0.008812
4 | YES | 200.648 | 33.9377 | 0.00019547 | -0.0094757 | -0.036608 | -0.027132 |  | 200.648 | -0.0094757
5 | YES | 175.173 | 33.903 | 0.00018648 | -0.012375 | -0.035205 | -0.02283 |  | 175.173 | -0.012375
6 | YES | 149.772 | 33.8874 | 0.00020457 | -0.012932 | -0.033807 | -0.020875 |  | 149.772 | -0.012932
7 | YES | 99.8114 | 33.2432 | 0.024041 | -0.011917 | -0.031056 | -0.019139 |  | 99.8114 | -0.011917
8 | YES | 98.7463 | 33.1198 | 0.0023444 | -0.020374 | -0.030997 | -0.010623 |  | 98.7463 | -0.020374
9 | YES | 124.905 | 32.9948 | 0.0027908 | -0.023102 | -0.032438 | -0.0093357 |  | 124.905 | -0.023102
10 | YES | 200.117 | 31.9914 | 0.00092457 | -0.032122 | -0.036579 | -0.0044572 |  | 200.117 | -0.032122
11 | YES | 150.103 | 31.0282 | 0.00037664 | -0.054518 | -0.033825 | 0.020693 |  | 150.103 | -0.054518
12 | YES | 300.772 | 31.3018 | 0.00035762 | -0.04139 | -0.042121 | -0.00073167 |  | 300.772 | -0.04139
13 | YES | 349.959 | 31.3564 | 0.00038309 | -0.042637 | -0.04483 | -0.0021926 |  | 349.959 | -0.042637
14 | YES | 300.259 | 31.2844 | 0.00038588 | -0.042358 | -0.042093 | 0.00026548 |  | 300.259 | -0.042358
15 | YES | 300.288 | 31.2087 | 0.00025715 | -0.045061 | -0.042095 | 0.0029666 |  | 300.288 | -0.045061
16 | YES | 175.185 | 31.01 | 0.00021646 | -0.047083 | -0.035206 | 0.011877 |  | 175.185 | -0.047083
17 | YES | 150.66 | 30.8892 | 0.00048928 | -0.055149 | -0.033856 | 0.021293 |  | 150.66 | -0.055149
18 | YES | 300.654 | 30.9357 | 0.0048154 | -0.043116 | -0.042115 | 0.0010009 |  | 300.654 | -0.043116
19 | YES | 250.558 | 30.9013 | 0.00060095 | -0.049122 | -0.039356 | 0.0097656 |  | 250.558 | -0.049122
20 | YES | 125.381 | 30.4153 | 0.017036 | -0.04833 | -0.032464 | 0.015867 |  | 125.381 | -0.04833
21 | YES | 149.965 | 30.6887 | 0.00022455 | -0.047773 | -0.033817 | 0.013956 |  | 149.965 | -0.047773
22 | YES | 250.265 | 30.6641 | 0.00023794 | -0.052219 | -0.03934 | 0.012879 |  | 250.265 | -0.052219
23 | YES | 300.183 | 30.6813 | 0.00035674 | -0.051273 | -0.042089 | 0.0091846 |  | 300.183 | -0.051273
-0.062159
-0.008812
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_3
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.69771 |  | X | CALC Y
m= | -0.0019945 | 0.00032822 |  | Std Dev of Resid |  | 0.009075 |  | 2 | -0.014774
b= | -0.010785 | 0.0047241 |  | Resid Sum of Squares |  | 0.0013177 |  | 23 | -0.056659
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 99.9241 | 31.2291 | 0.00044298 | -0.060986 | -0.012779 | 0.048206 |  | 2 | -0.029991
2 | YES | 198.969 | 32.3926 | 0.0036573 | -0.029991 | -0.014774 | 0.015217 |  | 3 | -0.0074425
3 | YES | 200.316 | 33.943 | 0.0012558 | -0.0074425 | -0.016768 | -0.009326 |  | 4 | -0.0082741
4 | YES | 200.648 | 33.9389 | 0.0003039 | -0.0082741 | -0.018763 | -0.010489 |  | 5 | -0.011364
5 | YES | 175.173 | 33.904 | 0.00026562 | -0.011364 | -0.020757 | -0.0093935 |  | 6 | -0.012119
6 | YES | 149.772 | 33.8882 | 0.00026461 | -0.012119 | -0.022752 | -0.010633 |  | 10 | -0.030056
7 | NO | 99.8114 | 33.2474 | 0.027298 | -0.0077133 | -0.024747 | -0.017033 |  | 11 | -0.052345
8 | NO | 98.7463 | 33.1204 | 0.0025989 | -0.019825 | -0.026741 | -0.0069161 |  | 12 | -0.040577
9 | NO | 124.905 | 32.994 | 0.00077319 | -0.023849 | -0.028736 | -0.0048861 |  | 13 | -0.042065
10 | YES | 200.117 | 31.9934 | 0.0014031 | -0.030056 | -0.03073 | -0.00067413 |  | 14 | -0.041283
11 | YES | 150.103 | 31.0304 | 0.00031859 | -0.052345 | -0.032725 | 0.019621 |  | 15 | -0.04413
12 | YES | 300.772 | 31.3026 | 0.00035486 | -0.040577 | -0.034719 | 0.0058577 |  | 16 | -0.045782
13 | YES | 349.959 | 31.3569 | 0.00030565 | -0.042065 | -0.036714 | 0.005351 |  | 17 | -0.053282
14 | YES | 300.259 | 31.2855 | 0.00051723 | -0.041283 | -0.038708 | 0.0025745 |  | 18 | -0.03965
15 | YES | 300.288 | 31.2097 | 0.0032076 | -0.04413 | -0.040703 | 0.0034275 |  | 19 | -0.048204
16 | YES | 175.185 | 31.0113 | 0.00021335 | -0.045782 | -0.042697 | 0.0030848 |  | 21 | -0.046711
17 | YES | 150.66 | 30.891 | 0.0035216 | -0.053282 | -0.044692 | 0.00859 |  | 22 | -0.051403
18 | YES | 300.654 | 30.9391 | 0.0052508 | -0.03965 | -0.046686 | -0.0070364 |  | 23 | -0.050184
19 | YES | 250.558 | 30.9022 | 0.00076039 | -0.048204 | -0.048681 | -0.0004765
20 | NO | 125.381 | 30.4136 | 0.021458 | -0.050049 | -0.050675 | -0.00062663
21 | YES | 149.965 | 30.6898 | 0.00019877 | -0.046711 | -0.05267 | -0.005959
22 | YES | 250.265 | 30.6649 | 0.00019373 | -0.051403 | -0.054664 | -0.0032615
23 | YES | 300.183 | 30.6824 | 0.00028904 | -0.050184 | -0.056659 | -0.0064748
|  |  | avg | 0.0032544 | [5 empty] | -0.053282
|  |  | max | 0.027298 | [5 empty] | -0.0074425
NO
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_4
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.39903 |  | X | CALC Y
m= | -0.0015732 | 0.00042131 |  | Std Dev of Resid |  | 0.013403 |  | 1 | -0.019393
b= | -0.01782 | 0.0057767 |  | Resid Sum of Squares |  | 0.0037722 |  | 23 | -0.054004
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 99.9241 | 31.2279 | 0.00026516 | -0.062159 | -0.019393 | 0.042766 |  | 1 | -0.062159
2 | YES | 198.969 | 32.3918 | 0.0038267 | -0.030766 | -0.020966 | 0.0097992 |  | 2 | -0.030766
3 | YES | 200.316 | 33.9416 | 0.0010914 | -0.008812 | -0.02254 | -0.013728 |  | 3 | -0.008812
4 | YES | 200.648 | 33.9377 | 0.00019547 | -0.0094757 | -0.024113 | -0.014637 |  | 4 | -0.0094757
5 | YES | 175.173 | 33.903 | 0.00018648 | -0.012375 | -0.025686 | -0.013311 |  | 5 | -0.012375
6 | YES | 149.772 | 33.8874 | 0.00020457 | -0.012932 | -0.027259 | -0.014327 |  | 6 | -0.012932
7 | YES | 99.8114 | 33.2432 | 0.024041 | -0.011917 | -0.028832 | -0.016915 |  | 7 | -0.011917
8 | YES | 98.7463 | 33.1198 | 0.0023444 | -0.020374 | -0.030406 | -0.010031 |  | 8 | -0.020374
9 | YES | 124.905 | 32.9948 | 0.0027908 | -0.023102 | -0.031979 | -0.008877 |  | 9 | -0.023102
10 | YES | 200.117 | 31.9914 | 0.00092457 | -0.032122 | -0.033552 | -0.0014303 |  | 10 | -0.032122
11 | YES | 150.103 | 31.0282 | 0.00037664 | -0.054518 | -0.035125 | 0.019393 |  | 11 | -0.054518
12 | YES | 300.772 | 31.3018 | 0.00035762 | -0.04139 | -0.036698 | 0.0046911 |  | 12 | -0.04139
13 | YES | 349.959 | 31.3564 | 0.00038309 | -0.042637 | -0.038272 | 0.0043653 |  | 13 | -0.042637
14 | YES | 300.259 | 31.2844 | 0.00038588 | -0.042358 | -0.039845 | 0.0025136 |  | 14 | -0.042358
15 | YES | 300.288 | 31.2087 | 0.00025715 | -0.045061 | -0.041418 | 0.0036431 |  | 15 | -0.045061
16 | YES | 175.185 | 31.01 | 0.00021646 | -0.047083 | -0.042991 | 0.0040917 |  | 16 | -0.047083
17 | YES | 150.66 | 30.8892 | 0.00048928 | -0.055149 | -0.044564 | 0.010585 |  | 17 | -0.055149
18 | YES | 300.654 | 30.9357 | 0.0048154 | -0.043116 | -0.046138 | -0.003022 |  | 18 | -0.043116
19 | YES | 250.558 | 30.9013 | 0.00060095 | -0.049122 | -0.047711 | 0.0014111 |  | 19 | -0.049122
20 | YES | 125.381 | 30.4153 | 0.017036 | -0.04833 | -0.049284 | -0.00095375 |  | 20 | -0.04833
21 | YES | 149.965 | 30.6887 | 0.00022455 | -0.047773 | -0.050857 | -0.0030839 |  | 21 | -0.047773
22 | YES | 250.265 | 30.6641 | 0.00023794 | -0.052219 | -0.05243 | -0.00021107 |  | 22 | -0.052219
23 | YES | 300.183 | 30.6813 | 0.00035674 | -0.051273 | -0.054004 | -0.0027304 |  | 23 | -0.051273
0.0026786
0.024041
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_5
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.97842 |  | X | CALC Y
m= | 0.012207 | 0.00054658 |  | Std Dev of Resid |  | 0.0025215 |  | 30.6649 | -0.050566
b= | -0.4249 | 0.017406 |  | Resid Sum of Squares |  | 6.9939e-05 |  | 33.9389 | -0.0106
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid | Bottle | X | Y
1 | NO | 99.9241 | 31.2291 | 0.00044298 | -0.060986 | -0.043679 | 0.017307 | 31.2901 | 33.9389 | -0.0082741
2 | NO | 198.969 | 32.3926 | 0.0036573 | -0.029991 | -0.029476 | 0.00051535 | 32.4226 | 33.904 | -0.011364
3 | NO | 200.316 | 33.943 | 0.0012558 | -0.0074425 | -0.01055 | -0.0031073 | 33.9504 | 33.8882 | -0.012119
4 | YES | 200.648 | 33.9389 | 0.0003039 | -0.0082741 | -0.0106 | -0.0023257 | 33.9472 | 32.994 | -0.023849
5 | YES | 175.173 | 33.904 | 0.00026562 | -0.011364 | -0.011026 | 0.00033819 | 33.9154 | 31.0304 | -0.052345
6 | YES | 149.772 | 33.8882 | 0.00026461 | -0.012119 | -0.011219 | 0.00090061 | 33.9003 | 31.3026 | -0.040577
7 | NO | 99.8114 | 33.2474 | 0.027298 | -0.0077133 | -0.019041 | -0.011328 | 33.2551 | 31.3569 | -0.042065
8 | NO | 98.7463 | 33.1204 | 0.0025989 | -0.019825 | -0.020591 | -0.00076636 | 33.1402 | 31.2855 | -0.041283
9 | YES | 124.905 | 32.994 | 0.00077319 | -0.023849 | -0.022134 | 0.0017152 | 33.0178 | 31.0113 | -0.045782
10 | NO | 200.117 | 31.9934 | 0.0014031 | -0.030056 | -0.034349 | -0.0042929 | 32.0235 | 30.9022 | -0.048204
11 | YES | 150.103 | 31.0304 | 0.00031859 | -0.052345 | -0.046104 | 0.0062409 | 31.0827 | 30.6898 | -0.046711
12 | YES | 300.772 | 31.3026 | 0.00035486 | -0.040577 | -0.042782 | -0.0022047 | 31.3432 | 30.6649 | -0.051403
13 | YES | 349.959 | 31.3569 | 0.00030565 | -0.042065 | -0.042119 | -5.4026e-05 | 31.399 | 30.6824 | -0.050184
14 | YES | 300.259 | 31.2855 | 0.00051723 | -0.041283 | -0.04299 | -0.0017076 | 31.3268
15 | NO | 300.288 | 31.2097 | 0.0032076 | -0.04413 | -0.043916 | 0.00021468 | 31.2538
16 | YES | 175.185 | 31.0113 | 0.00021335 | -0.045782 | -0.046338 | -0.00055543 | 31.0571
17 | NO | 150.66 | 30.891 | 0.0035216 | -0.053282 | -0.047806 | 0.0054757 | 30.9443
18 | NO | 300.654 | 30.9391 | 0.0052508 | -0.03965 | -0.047219 | -0.0075689 | 30.9788
19 | YES | 250.558 | 30.9022 | 0.00076039 | -0.048204 | -0.047669 | 0.00053507 | 30.9504
20 | NO | 125.381 | 30.4136 | 0.021458 | -0.050049 | -0.053634 | -0.003585 | 30.4636
21 | YES | 149.965 | 30.6898 | 0.00019877 | -0.046711 | -0.050262 | -0.0035511 | 30.7365
22 | YES | 250.265 | 30.6649 | 0.00019373 | -0.051403 | -0.050566 | 0.0008369 | 30.7163
23 | YES | 300.183 | 30.6824 | 0.00028904 | -0.050184 | -0.050352 | -0.00016827 | 30.7326
-0.060986
-0.0074425
NO
NO
NO
YES
YES
YES
NO
NO
YES
NO
YES
YES
YES
YES
NO
YES
NO
NO
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE