Sampling notes, La Perouse cruise, 2018-034, 1 – 11 Sept 2018

CTD/Rosettes:

91 files, 0001 to 0178.

0 stand-alone CTD.

55 rosette casts.

35 casts with no Niskin (two of which have Niskin 21 closed just for testing).

1 cast just to read pressure on deck (0050).

0 cast needed two files.

0 file is not needed.

CTD 0585 used for the whole cruise.

Seasave version 7.26.7.107

Configuration file:

We started with: SeptLaPerouseStartCtd.xmlcon.

Standard procedure:

The rosette was brought to the surface.  Pumps were turned ON.  Then the rosette was brought down to 10m and back up.  Data started to be archived then, with the rosette at the surface for 30 seconds longer.  Then the cast would start.

Problems with CTD:

Some casts have spikes in DO channel:

Cast 0050:  not a real cast, just one minute of pressure reading on deck.

Cast 0061 – LC01:  archived the data from the moment the rosette was in the LARS’s head; this way you can see the behaviour of the DO sensor during the “down 10 and back”.

Cast 0093 – LBP6: started archiving from the deck.

Many casts had big spikes in DO sensor.

- Niskins & Samples at CTD/Rosette casts:

- Cast 0025 – LB08: Niskin 3 closed for NH4 water but not used. No sample taken.

- Cast 0030 – LB12: Niskin 5 closed for NH4 water but not used. No sample taken.

Cast 0114 – CS01: Niskin 21 closed just to test, no need for a CHE file.

Cast 0125 – SS2: Niskin 21 closed just to test, no need for a CHE file.

Cast 0172 – 38: Niskin 21 closed just to test, no need for a CHE file.

File names – Headers:

Cast 0001 – Haro59: Called “59” and this IS ok. But wrong cruise number in header, still on -25.  Also missing bottom depth of 223.

Cast 0007 – E1: space between E and 1 – shouldn’t be there.

Casts 0042 to 0059:  have an extra space at the end of the filename before .hex.

Cast 0045 – LC09: missing the 0 in LC09.

Cast 0066 – LD04: File should be 0065; event 66 was the bongo.

Cast 0093 – LBP6: has the wrong bottom depth, should be 890 (not 791).

Cast 0156 – 11: wrong bottom depth, should be 300, not 325.

Casts with no PAR sensor:

ALL casts had the PAR sensor on.

Casts out of order:

0045 (LC09) – 0082 (LG09) – 0090 (LBP8) – 0116 (CS02)

Loops:

All loops have 1x Sal, 2x Chl.

5037 – 5062 – 5067 – 5084 – 5085 – 5103 (only 1 Chl, “B”) – 5106 – 5151

TSG:

We used the ‘new TSG’ (SBE45).