## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6 | Run at 2018/11/13 11:54:11 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_BOT | Sal0 |  | Sal0 - Sal_BOT
Comp 2 | Sal_BOT | Sal1 |  | Sal1 - Sal_BOT
Average Size: | 0.2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_BOT | Sal0 | Sal0 | (S-P) | Sal_BOT | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2018-034-0003.mrg | 2018-034-0003.sam | 316 | 5.382 | 5.3359 | 0.072878 | -0.046136 | 31.579 | 31.5779 | 0.00032613 | -0.0011025 | 31.579 | 31.5789 | 0.00028125 | -7.0572e-05
2018-034-0025.mrg | 2018-034-0025.sam | 217 | 5.371 | 5.3629 | 0.09507 | -0.0081244 | 32.628 | 32.6153 | 0.0012676 | -0.01273 | 32.628 | 32.6164 | 0.00060227 | -0.011574
2018-034-0032.mrg | 2018-034-0032.sam | 227 | 1000.63 | 1000.63 | 0.10305 | -0.008606 | 34.3796 | 34.3806 | 0.00025967 | 0.00096512 | 34.3796 | 34.3822 | 0.0003071 | 0.0026169
2018-034-0032.mrg | 2018-034-0032.sam | 52 | 750.719 | 750.728 | 0.11887 | 0.0093384 | 34.2525 | 34.2527 | 0.00025201 | 0.00016403 | 34.2525 | 34.2543 | 0.0002299 | 0.00177
2018-034-0032.mrg | 2018-034-0032.sam | 136 | 499.843 | 499.784 | 0.091314 | -0.058716 | 34.0981 | 34.0992 | 0.00029182 | 0.0011482 | 34.0981 | 34.1001 | 0.00045499 | 0.0020218
2018-034-0041.mrg | 2018-034-0041.sam | 13 | 1249.46 | 1249.46 | 0.12093 | 0.003418 | 34.4668 | 34.4668 | 0.0002894 | -2.2888e-05 | 34.4668 | 34.4685 | 0.0003353 | 0.0017471
2018-034-0041.mrg | 2018-034-0041.sam | 84 | 1000.15 | 1000.15 | 0.10398 | -0.0045776 | 34.3701 | 34.3707 | 0.00024429 | 0.00055313 | 34.3701 | 34.3724 | 0.00027559 | 0.002327
2018-034-0041.mrg | 2018-034-0041.sam | 127 | 750.249 | 750.294 | 0.11875 | 0.045349 | 34.2525 | 34.253 | 0.00023238 | 0.00051498 | 34.2525 | 34.2548 | 0.0002389 | 0.0022621
2018-034-0041.mrg | 2018-034-0041.sam | 145 | 500.89 | 500.903 | 0.10044 | 0.013397 | 34.0881 | 34.0886 | 0.00021139 | 0.00045013 | 34.0881 | 34.09 | 0.0002412 | 0.0019302
2018-034-0041.mrg | 2018-034-0041.sam | 135 | 5.653 | 5.6464 | 0.13275 | -0.0066442 | 32.171 | 32.1676 | 0.00032904 | -0.0034065 | 32.171 | 32.169 | 0.00027256 | -0.0019607
2018-034-0048.mrg | 2018-034-0048.sam | 189 | 4.912 | 4.9189 | 0.11202 | 0.0069099 | 31.8905 | 31.8769 | 0.11208 | -0.013643 | 31.8905 | 31.8584 | 0.11532 | -0.032141
2018-034-0060.mrg | 2018-034-0060.sam | 427 | 5.158 | 5.1302 | 0.091302 | -0.027834 | 31.4404 | 31.43 | 0.0004996 | -0.010384 | 31.4404 | 31.4316 | 0.00053803 | -0.0088177
2018-034-0076.mrg | 2018-034-0076.sam | 147 | 750.34 | 750.314 | 0.10056 | -0.026489 | 34.2645 | 34.265 | 0.00028869 | 0.00049973 | 34.2645 | 34.2666 | 0.00030137 | 0.002121
2018-034-0076.mrg | 2018-034-0076.sam | 293 | 5.308 | 5.2785 | 0.055985 | -0.029481 | 31.9865 | 31.9828 | 0.00041938 | -0.0036583 | 31.9865 | 31.9844 | 0.00063777 | -0.0021172
2018-034-0082.mrg | 2018-034-0082.sam | 68 | 2005.32 | 2005.31 | 0.11549 | -0.012085 | 34.5968 | 34.5978 | 0.00021515 | 0.00098038 | 34.5968 | 34.5998 | 0.00023452 | 0.0029488
2018-034-0082.mrg | 2018-034-0082.sam | 95 | 1499.91 | 1499.91 | 0.12383 | -0.00097656 | 34.5201 | 34.5203 | 0.00023982 | 0.00020218 | 34.5201 | 34.5222 | 0.00026453 | 0.0020905
2018-034-0082.mrg | 2018-034-0082.sam | 235 | 999.937 | 999.941 | 0.10606 | 0.0039062 | 34.3899 | 34.3909 | 0.00022885 | 0.0010452 | 34.3899 | 34.3927 | 0.00023159 | 0.0028458
2018-034-0091.mrg | 2018-034-0091.sam | 96 | 2000.38 | 2000.39 | 0.10714 | 0.014771 | 34.6032 | 34.6044 | 0.0002098 | 0.001194 | 34.6032 | 34.6061 | 0.00021458 | 0.0029373
2018-034-0091.mrg | 2018-034-0091.sam | 146 | 1500.66 | 1500.71 | 0.096147 | 0.05542 | 34.5112 | 34.5121 | 0.00022954 | 0.00092316 | 34.5112 | 34.5139 | 0.00022633 | 0.0027351
2018-034-0091.mrg | 2018-034-0091.sam | 30 | 1250.09 | 1250.06 | 0.11887 | -0.02771 | 34.4551 | 34.4562 | 0.00027204 | 0.0010986 | 34.4551 | 34.4574 | 0.00024279 | 0.0023193
2018-034-0091.mrg | 2018-034-0091.sam | 176 | 1000.08 | 1000.04 | 0.10894 | -0.04364 | 34.3719 | 34.3746 | 0.00045083 | 0.0027389 | 34.3719 | 34.376 | 0.00050908 | 0.0041161
2018-034-0091.mrg | 2018-034-0091.sam | 170 | 749.987 | 749.957 | 0.1034 | -0.030273 | 34.2672 | 34.2677 | 0.00033726 | 0.00048447 | 34.2672 | 34.2701 | 0.00031298 | 0.0028725
2018-034-0091.mrg | 2018-034-0091.sam | 120 | 500.333 | 500.395 | 0.096453 | 0.062469 | 34.115 | 34.1175 | 0.00044468 | 0.0024605 | 34.115 | 34.1191 | 0.00032635 | 0.0041008
2018-034-0091.mrg | 2018-034-0091.sam | 193 | 400.147 | 400.206 | 0.11604 | 0.058533 | 34.0659 | 34.0654 | 0.0010242 | -0.00045776 | 34.0659 | 34.0662 | 0.001375 | 0.00026703
2018-034-0091.mrg | 2018-034-0091.sam | 241 | 300.601 | 300.601 | 0.08439 | -0.00027466 | 33.9946 | 33.9951 | 0.001348 | 0.00046158 | 33.9946 | 33.9964 | 0.0015555 | 0.0018272
2018-034-0091.mrg | 2018-034-0091.sam | 204 | 250.525 | 250.565 | 0.082795 | 0.040299 | 33.9524 | 33.9533 | 0.00053598 | 0.00086594 | 33.9524 | 33.955 | 0.00030715 | 0.0025673
2018-034-0091.mrg | 2018-034-0091.sam | 70 | 200.372 | 200.343 | 0.11009 | -0.029282 | 33.9304 | 33.9299 | 0.00023799 | -0.00049591 | 33.9304 | 33.9316 | 0.0002563 | 0.0011787
2018-034-0091.mrg | 2018-034-0091.sam | 158 | 175.312 | 175.344 | 0.11456 | 0.032364 | 33.9119 | 33.912 | 0.00040849 | 8.0109e-05 | 33.9119 | 33.9136 | 0.00069691 | 0.0017395
2018-034-0091.mrg | 2018-034-0091.sam | 197 | 150.358 | 150.294 | 0.072025 | -0.063614 | 33.8843 | 33.8749 | 0.0023315 | -0.009449 | 33.8843 | 33.8748 | 0.0028666 | -0.0095406
2018-034-0091.mrg | 2018-034-0091.sam | 174 | 125.878 | 125.888 | 0.12146 | 0.0097199 | 33.7735 | 33.7698 | 0.00086351 | -0.0037346 | 33.7735 | 33.7739 | 0.0019623 | 0.00045013
2018-034-0091.mrg | 2018-034-0091.sam | 231 | 100.135 | 100.125 | 0.13274 | -0.0096664 | 33.5083 | 33.504 | 0.015226 | -0.0042725 | 33.5083 | 33.5062 | 0.013405 | -0.0021248
2018-034-0091.mrg | 2018-034-0091.sam | 217 | 75.373 | 75.3986 | 0.094088 | 0.025559 | 33.0541 | 33.0249 | 0.0048059 | -0.029186 | 33.0541 | 33.0208 | 0.0049878 | -0.033272
2018-034-0091.mrg | 2018-034-0091.sam | 143 | 50.437 | 50.4635 | 0.12682 | 0.026539 | 32.5741 | 32.5691 | 0.0086338 | -0.0049629 | 32.5741 | 32.5735 | 0.0040518 | -0.00055313
2018-034-0091.mrg | 2018-034-0091.sam | 212 | 30.659 | 30.6891 | 0.11855 | 0.030104 | 32.4099 | 32.393 | 0.0050086 | -0.016949 | 32.4099 | 32.3917 | 0.0051037 | -0.018185
2018-034-0091.mrg | 2018-034-0091.sam | 228 | 20.523 | 20.5117 | 0.097077 | -0.011303 | 32.2233 | 32.1985 | 0.0029691 | -0.024849 | 32.2233 | 32.2008 | 0.0037895 | -0.022507
2018-034-0091.mrg | 2018-034-0091.sam | 16 | 10.056 | 10.0763 | 0.10303 | 0.02025 | 32.0311 | 32.0256 | 0.0002214 | -0.0054779 | 32.0311 | 32.0274 | 0.00044068 | -0.0036697
2018-034-0091.mrg | 2018-034-0091.sam | 271 | 5.187 | 5.1547 | 0.11332 | -0.032324 | 32.0278 | 32.0265 | 0.00062003 | -0.0012817 | 32.0278 | 32.0284 | 0.00062119 | 0.00055695
2018-034-0094.mrg | 2018-034-0094.sam | 117 | 1250.09 | 1250.07 | 0.11256 | -0.019043 | 34.4358 | 34.4362 | 0.00023672 | 0.00037384 | 34.4358 | 34.438 | 0.00033066 | 0.0021591
2018-034-0094.mrg | 2018-034-0094.sam | 162 | 1000.26 | 1000.22 | 0.10466 | -0.039795 | 34.3633 | 34.3627 | 0.00030736 | -0.00059128 | 34.3633 | 34.3645 | 0.00026545 | 0.0012436
2018-034-0094.mrg | 2018-034-0094.sam | 127 | 5.216 | 5.1615 | 0.10256 | -0.054544 | 32.4842 | 32.4892 | 0.0076443 | 0.0049667 | 32.4842 | 32.4887 | 0.0051543 | 0.0044823
2018-034-0097.mrg | 2018-034-0097.sam | 421 | 5.133 | 5.0831 | 0.088254 | -0.04985 | 32.4349 | 32.432 | 0.010431 | -0.0028801 | 32.4349 | 32.4364 | 0.0081603 | 0.0015411
2018-034-0113.mrg | 2018-034-0113.sam | 45 | 2000.74 | 2000.74 | 0.11767 | 0.00097656 | 34.5821 | 34.5837 | 0.00021148 | 0.001564 | 34.5821 | 34.5852 | 0.0002462 | 0.0031357
2018-034-0113.mrg | 2018-034-0113.sam | 84 | 1499.92 | 1499.95 | 0.11124 | 0.023804 | 34.5027 | 34.5037 | 0.00021794 | 0.00095367 | 34.5027 | 34.5054 | 0.00026833 | 0.002655
2018-034-0113.mrg | 2018-034-0113.sam | 133 | 1250.81 | 1250.84 | 0.12189 | 0.031982 | 34.4469 | 34.4487 | 0.00026564 | 0.0017967 | 34.4469 | 34.4504 | 0.00026398 | 0.0034676
2018-034-0113.mrg | 2018-034-0113.sam | 188 | 1000.79 | 1000.84 | 0.10857 | 0.043091 | 34.3842 | 34.3853 | 0.00021979 | 0.0010643 | 34.3842 | 34.3869 | 0.0002546 | 0.0027122
2018-034-0113.mrg | 2018-034-0113.sam | 160 | 750.882 | 750.887 | 0.12374 | 0.0053711 | 34.2377 | 34.2395 | 0.00024341 | 0.0018158 | 34.2377 | 34.2411 | 0.00026411 | 0.0033493
2018-034-0113.mrg | 2018-034-0113.sam | 78 | 500.398 | 500.359 | 0.10091 | -0.039459 | 34.0927 | 34.0941 | 0.00026941 | 0.0013885 | 34.0927 | 34.0952 | 0.0003904 | 0.0025291
2018-034-0113.mrg | 2018-034-0113.sam | 96 | 400.205 | 400.207 | 0.12024 | 0.0019531 | 34.0288 | 34.0333 | 0.00056954 | 0.0044632 | 34.0288 | 34.0336 | 0.00067487 | 0.0048332
2018-034-0113.mrg | 2018-034-0113.sam | 186 | 300.715 | 300.776 | 0.092466 | 0.060547 | 33.9664 | 33.9644 | 0.00021587 | -0.0019684 | 33.9664 | 33.9659 | 0.00026116 | -0.00053024
2018-034-0113.mrg | 2018-034-0113.sam | 154 | 250.457 | 250.474 | 0.1119 | 0.01712 | 33.9301 | 33.9296 | 0.0002145 | -0.00054932 | 33.9301 | 33.931 | 0.00025773 | 0.00086975
2018-034-0113.mrg | 2018-034-0113.sam | 139 | 200.828 | 200.832 | 0.12544 | 0.0039215 | 33.8979 | 33.8961 | 0.00025021 | -0.00177 | 33.8979 | 33.8977 | 0.00025974 | -0.00019455
2018-034-0113.mrg | 2018-034-0113.sam | 65 | 175.608 | 175.569 | 0.11079 | -0.03862 | 33.8615 | 33.8551 | 0.0020897 | -0.0064011 | 33.8615 | 33.858 | 0.00092447 | -0.0034714
2018-034-0113.mrg | 2018-034-0113.sam | 220 | 150.54 | 150.51 | 0.069162 | -0.030426 | 33.6871 | 33.7039 | 0.00028192 | 0.016773 | 33.6871 | 33.7055 | 0.00040893 | 0.018402
2018-034-0113.mrg | 2018-034-0113.sam | 148 | 125.682 | 125.692 | 0.11737 | 0.009819 | 33.4286 | 33.4273 | 0.0017841 | -0.0013237 | 33.4286 | 33.4289 | 0.0023547 | 0.00029755
2018-034-0113.mrg | 2018-034-0113.sam | 172 | 100.121 | 100.126 | 0.11332 | 0.0049057 | 32.7122 | 32.7017 | 0.002495 | -0.010521 | 32.7122 | 32.7031 | 0.0022588 | -0.0091209
2018-034-0113.mrg | 2018-034-0113.sam | 83 | 75.152 | 75.11 | 0.095179 | -0.041962 | 32.5088 | 32.5072 | 0.00023232 | -0.0015755 | 32.5088 | 32.5088 | 0.00022245 | -4.1962e-05
2018-034-0113.mrg | 2018-034-0113.sam | 207 | 50.085 | 50.0705 | 0.1137 | -0.014515 | 32.4044 | 32.4057 | 0.00093935 | 0.0013084 | 32.4044 | 32.4073 | 0.0013849 | 0.002861
2018-034-0113.mrg | 2018-034-0113.sam | 100 | 30.364 | 30.3767 | 0.1087 | 0.01268 | 32.0252 | 32.0274 | 0.003759 | 0.0021935 | 32.0252 | 32.0292 | 0.002464 | 0.0039635
2018-034-0113.mrg | 2018-034-0113.sam | 188 | 20.627 | 20.648 | 0.1056 | 0.020968 | 31.9999 | 31.9964 | 0.00045587 | -0.0035438 | 31.9999 | 31.998 | 0.00056763 | -0.0018559
2018-034-0113.mrg | 2018-034-0113.sam | 184 | 10.559 | 10.5573 | 0.11257 | -0.0017119 | 32.0008 | 31.9984 | 0.00028247 | -0.0024319 | 32.0008 | 31.9999 | 0.00040025 | -0.0008564
2018-034-0113.mrg | 2018-034-0113.sam | 113 | 5.22 | 5.2544 | 0.11935 | 0.03439 | 32.0016 | 31.9993 | 0.00024944 | -0.0022736 | 32.0016 | 32.0008 | 0.00022778 | -0.00076294
2018-034-0116.mrg | 2018-034-0116.sam | 92 | 1499.26 | 1499.18 | 0.086464 | -0.083008 | 34.4976 | 34.4983 | 0.00024657 | 0.0007019 | 34.4976 | 34.4999 | 0.00025094 | 0.002327
2018-034-0116.mrg | 2018-034-0116.sam | 46 | 1250.22 | 1250.23 | 0.11676 | 0.003418 | 34.4426 | 34.4434 | 0.00023255 | 0.00082779 | 34.4426 | 34.445 | 0.00024115 | 0.0024147
2018-034-0116.mrg | 2018-034-0116.sam | 40 | 999.91 | 999.893 | 0.10997 | -0.016846 | 34.3688 | 34.3685 | 0.0002489 | -0.00030518 | 34.3688 | 34.37 | 0.00027104 | 0.0012283
2018-034-0116.mrg | 2018-034-0116.sam | 66 | 4.631 | 4.6155 | 0.12208 | -0.015455 | 31.9736 | 31.9719 | 0.00021613 | -0.0017033 | 31.9736 | 31.9729 | 0.00019187 | -0.00068283
2018-034-0133.mrg | 2018-034-0133.sam | 161 | 5.632 | 5.6485 | 0.1042 | 0.016503 | 32.2179 | 32.2221 | 0.0040231 | 0.0042343 | 32.2179 | 32.2258 | 0.0038881 | 0.007885
2018-034-0150.mrg | 2018-034-0150.sam | 241 | 5.557 | 5.5568 | 0.04667 | -0.00019503 | 31.3975 | 31.3945 | 0.0019678 | -0.0030441 | 31.3975 | 31.3969 | 0.0026265 | -0.00056648
2018-034-0168.mrg | 2018-034-0168.sam | 241 | 5.37 | 5.3699 | 0.024806 | -9.1076e-05 | 28.8488 | 28.8458 | 0.0015059 | -0.0029545 | 28.8488 | 28.8465 | 0.0012216 | -0.0022888
2018-034-0176.mrg | 2018-034-0176.sam | 241 | 5.035 | 5.0347 | 0.025765 | -0.000278 | 27.6257 | 27.5055 | 0.003446 | -0.12015 | 27.6257 | 27.5154 | 0.0084852 | -0.11032
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 17
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2018-034-0003.mrg | 2018-034-0003.sam | 12 | 12 | 2018-034-0003.mrg & 2018-034-0003.sam
2 | 2018-034-0025.mrg | 2018-034-0025.sam | 14 | 14 | 2018-034-0025.mrg & 2018-034-0025.sam
3 | 2018-034-0032.mrg | 2018-034-0032.sam | 16 | 18 | 2018-034-0032.mrg & 2018-034-0032.sam
4 | 2018-034-0041.mrg | 2018-034-0041.sam | 20 | 24 | 2018-034-0041.mrg & 2018-034-0041.sam
5 | 2018-034-0048.mrg | 2018-034-0048.sam | 26 | 26 | 2018-034-0048.mrg & 2018-034-0048.sam
6 | 2018-034-0060.mrg | 2018-034-0060.sam | 28 | 28 | 2018-034-0060.mrg & 2018-034-0060.sam
7 | 2018-034-0076.mrg | 2018-034-0076.sam | 30 | 31 | 2018-034-0076.mrg & 2018-034-0076.sam
8 | 2018-034-0082.mrg | 2018-034-0082.sam | 33 | 35 | 2018-034-0082.mrg & 2018-034-0082.sam
9 | 2018-034-0091.mrg | 2018-034-0091.sam | 37 | 56 | 2018-034-0091.mrg & 2018-034-0091.sam
10 | 2018-034-0094.mrg | 2018-034-0094.sam | 58 | 60 | 2018-034-0094.mrg & 2018-034-0094.sam
11 | 2018-034-0097.mrg | 2018-034-0097.sam | 62 | 62 | 2018-034-0097.mrg & 2018-034-0097.sam
12 | 2018-034-0113.mrg | 2018-034-0113.sam | 64 | 83 | 2018-034-0113.mrg & 2018-034-0113.sam
13 | 2018-034-0116.mrg | 2018-034-0116.sam | 85 | 88 | 2018-034-0116.mrg & 2018-034-0116.sam
14 | 2018-034-0133.mrg | 2018-034-0133.sam | 90 | 90 | 2018-034-0133.mrg & 2018-034-0133.sam
15 | 2018-034-0150.mrg | 2018-034-0150.sam | 92 | 92 | 2018-034-0150.mrg & 2018-034-0150.sam
16 | 2018-034-0168.mrg | 2018-034-0168.sam | 94 | 94 | 2018-034-0168.mrg & 2018-034-0168.sam
17 | 2018-034-0176.mrg | 2018-034-0176.sam | 96 | 96 | 2018-034-0176.mrg & 2018-034-0176.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_BOT) | Pressure | 17
2 | (Sal1 - Sal_BOT) | Pressure | 17
3 | (Sal0 - Sal_BOT) | File Pair # | 17
4 | (Sal1 - Sal_BOT) | Pressure | 17

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00018175 |  | X | CALC Y
m= | -2.2708e-08 | 3.303e-07 |  | Std Dev of Resid |  | 0.00076124 |  | 499.784 | 0.0009063
b= | 0.00091765 | 0.00039311 |  | Resid Sum of Squares |  | 1.5066e-05 |  | 2005.31 | 0.00087212
# of Values Extracted = |  |  | 69
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.3359 | 31.5779 | 0.00032613 | -0.0011025 | 0.00091753 | 0.00202 |  | 1000.63 | 0.00096512
2 | NO | 5.3629 | 32.6153 | 0.0012676 | -0.01273 | 0.00091753 | 0.013647 |  | 750.728 | 0.00016403
3 | YES | 1000.63 | 34.3806 | 0.00025967 | 0.00096512 | 0.00089493 | -7.0187e-05 |  | 499.784 | 0.0011482
3 | YES | 750.728 | 34.2527 | 0.00025201 | 0.00016403 | 0.00090061 | 0.00073657 |  | 1249.46 | -2.2888e-05
3 | YES | 499.784 | 34.0992 | 0.00029182 | 0.0011482 | 0.0009063 | -0.00024192 |  | 1000.15 | 0.00055313
4 | YES | 1249.46 | 34.4668 | 0.0002894 | -2.2888e-05 | 0.00088928 | 0.00091217 |  | 750.294 | 0.00051498
4 | YES | 1000.15 | 34.3707 | 0.00024429 | 0.00055313 | 0.00089494 | 0.00034181 |  | 500.903 | 0.00045013
4 | YES | 750.294 | 34.253 | 0.00023238 | 0.00051498 | 0.00090062 | 0.00038563 |  | 750.314 | 0.00049973
4 | YES | 500.903 | 34.0886 | 0.00021139 | 0.00045013 | 0.00090628 | 0.00045615 |  | 2005.31 | 0.00098038
4 | NO | 5.6464 | 32.1676 | 0.00032904 | -0.0034065 | 0.00091753 | 0.004324 |  | 1499.91 | 0.00020218
5 | NO | 4.9189 | 31.8769 | 0.11208 | -0.013643 | 0.00091754 | 0.014561 |  | 999.941 | 0.0010452
6 | NO | 5.1302 | 31.43 | 0.0004996 | -0.010384 | 0.00091754 | 0.011301 |  | 2000.39 | 0.001194
7 | YES | 750.314 | 34.265 | 0.00028869 | 0.00049973 | 0.00090062 | 0.00040089 |  | 1500.71 | 0.00092316
7 | NO | 5.2785 | 31.9828 | 0.00041938 | -0.0036583 | 0.00091753 | 0.0045758 |  | 1250.06 | 0.0010986
8 | YES | 2005.31 | 34.5978 | 0.00021515 | 0.00098038 | 0.00087212 | -0.00010826 |  | 1000.04 | 0.0027389
8 | YES | 1499.91 | 34.5203 | 0.00023982 | 0.00020218 | 0.00088359 | 0.00068141 |  | 749.957 | 0.00048447
8 | YES | 999.941 | 34.3909 | 0.00022885 | 0.0010452 | 0.00089495 | -0.00015028 |  | 500.395 | 0.0024605
9 | YES | 2000.39 | 34.6044 | 0.0002098 | 0.001194 | 0.00087223 | -0.00032177 |  | 1250.07 | 0.00037384
9 | YES | 1500.71 | 34.5121 | 0.00022954 | 0.00092316 | 0.00088358 | -3.9581e-05 |  | 1000.22 | -0.00059128
9 | YES | 1250.06 | 34.4562 | 0.00027204 | 0.0010986 | 0.00088927 | -0.00020936 |  | 2000.74 | 0.001564
9 | YES | 1000.04 | 34.3746 | 0.00045083 | 0.0027389 | 0.00089494 | -0.001844 |  | 1499.95 | 0.00095367
9 | YES | 749.957 | 34.2677 | 0.00033726 | 0.00048447 | 0.00090062 | 0.00041616 |  | 1250.84 | 0.0017967
9 | YES | 500.395 | 34.1175 | 0.00044468 | 0.0024605 | 0.00090629 | -0.0015542 |  | 1000.84 | 0.0010643
9 | NO | 400.206 | 34.0654 | 0.0010242 | -0.00045776 | 0.00090857 | 0.0013663 |  | 750.887 | 0.0018158 |  | 34.0659
9 | NO | 300.601 | 33.9951 | 0.001348 | 0.00046158 | 0.00091083 | 0.00044925 |  | 500.359 | 0.0013885
9 | NO | 250.565 | 33.9533 | 0.00053598 | 0.00086594 | 0.00091196 | 4.6028e-05 |  | 1499.18 | 0.0007019
9 | NO | 200.343 | 33.9299 | 0.00023799 | -0.00049591 | 0.0009131 | 0.001409 |  | 1250.23 | 0.00082779
9 | NO | 175.344 | 33.912 | 0.00040849 | 8.0109e-05 | 0.00091367 | 0.00083356 |  | 999.893 | -0.00030518
9 | NO | 150.294 | 33.8749 | 0.0023315 | -0.009449 | 0.00091424 | 0.010363
9 | NO | 125.888 | 33.7698 | 0.00086351 | -0.0037346 | 0.0009148 | 0.0046494
9 | NO | 100.125 | 33.504 | 0.015226 | -0.0042725 | 0.00091538 | 0.0051878 |  |  |  | avg | stdev
9 | NO | 75.3986 | 33.0249 | 0.0048059 | -0.029186 | 0.00091594 | 0.030102 |  |  |  | 0.0008925 | 0.00074707
9 | NO | 50.4635 | 32.5691 | 0.0086338 | -0.0049629 | 0.00091651 | 0.0058794
9 | NO | 30.6891 | 32.393 | 0.0050086 | -0.016949 | 0.00091696 | 0.017866
9 | NO | 20.5117 | 32.1985 | 0.0029691 | -0.024849 | 0.00091719 | 0.025766
9 | NO | 10.0763 | 32.0256 | 0.0002214 | -0.0054779 | 0.00091742 | 0.0063953
9 | NO | 5.1547 | 32.0265 | 0.00062003 | -0.0012817 | 0.00091754 | 0.0021993
10 | YES | 1250.07 | 34.4362 | 0.00023672 | 0.00037384 | 0.00088927 | 0.00051543
10 | YES | 1000.22 | 34.3627 | 0.00030736 | -0.00059128 | 0.00089494 | 0.0014862
10 | NO | 5.1615 | 32.4892 | 0.0076443 | 0.0049667 | 0.00091754 | -0.0040492
11 | NO | 5.0831 | 32.432 | 0.010431 | -0.0028801 | 0.00091754 | 0.0037976
12 | YES | 2000.74 | 34.5837 | 0.00021148 | 0.001564 | 0.00087222 | -0.00069181
12 | YES | 1499.95 | 34.5037 | 0.00021794 | 0.00095367 | 0.00088359 | -7.0081e-05
12 | YES | 1250.84 | 34.4487 | 0.00026564 | 0.0017967 | 0.00088925 | -0.00090747
12 | YES | 1000.84 | 34.3853 | 0.00021979 | 0.0010643 | 0.00089493 | -0.00016937
12 | YES | 750.887 | 34.2395 | 0.00024341 | 0.0018158 | 0.0009006 | -0.0009152
12 | YES | 500.359 | 34.0941 | 0.00026941 | 0.0013885 | 0.00090629 | -0.00048226
12 | NO | 400.207 | 34.0333 | 0.00056954 | 0.0044632 | 0.00090857 | -0.0035546 |  |  |  |  | 34.0288
12 | NO | 300.776 | 33.9644 | 0.00021587 | -0.0019684 | 0.00091082 | 0.0028792 |  |  |  |  | 33.9664
12 | NO | 250.474 | 33.9296 | 0.0002145 | -0.00054932 | 0.00091197 | 0.0014613 |  |  |  |  | 33.9301
12 | NO | 200.832 | 33.8961 | 0.00025021 | -0.00177 | 0.00091309 | 0.0026831 |  |  |  |  | 33.8979
12 | NO | 175.569 | 33.8551 | 0.0020897 | -0.0064011 | 0.00091367 | 0.0073147 |  |  |  |  | 33.8615
12 | NO | 150.51 | 33.7039 | 0.00028192 | 0.016773 | 0.00091424 | -0.015859 |  |  |  |  | 33.6871
12 | NO | 125.692 | 33.4273 | 0.0017841 | -0.0013237 | 0.0009148 | 0.0022385
12 | NO | 100.126 | 32.7017 | 0.002495 | -0.010521 | 0.00091538 | 0.011436
12 | NO | 75.11 | 32.5072 | 0.00023232 | -0.0015755 | 0.00091595 | 0.0024914
12 | NO | 50.0705 | 32.4057 | 0.00093935 | 0.0013084 | 0.00091652 | -0.00039192
12 | NO | 30.3767 | 32.0274 | 0.003759 | 0.0021935 | 0.00091696 | -0.0012765
12 | NO | 20.648 | 31.9964 | 0.00045587 | -0.0035438 | 0.00091718 | 0.004461
12 | NO | 10.5573 | 31.9984 | 0.00028247 | -0.0024319 | 0.00091741 | 0.0033493
12 | NO | 5.2544 | 31.9993 | 0.00024944 | -0.0022736 | 0.00091753 | 0.0031911
13 | YES | 1499.18 | 34.4983 | 0.00024657 | 0.0007019 | 0.00088361 | 0.00018171
13 | YES | 1250.23 | 34.4434 | 0.00023255 | 0.00082779 | 0.00088926 | 6.1474e-05
13 | YES | 999.893 | 34.3685 | 0.0002489 | -0.00030518 | 0.00089495 | 0.0012001
13 | NO | 4.6155 | 31.9719 | 0.00021613 | -0.0017033 | 0.00091755 | 0.0026208
14 | NO | 5.6485 | 32.2221 | 0.0040231 | 0.0042343 | 0.00091753 | -0.0033168
15 | NO | 5.5568 | 31.3945 | 0.0019678 | -0.0030441 | 0.00091753 | 0.0039617
16 | NO | 5.3699 | 28.8458 | 0.0015059 | -0.0029545 | 0.00091753 | 0.003872
17 | NO | 5.0347 | 27.5055 | 0.003446 | -0.12015 | 0.00091754 | 0.12107
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.013112 |  | X | CALC Y
m= | 1.8204e-07 | 3.0973e-07 |  | Std Dev of Resid |  | 0.00071381 |  | 499.784 | 0.0024245
b= | 0.0023335 | 0.00036862 |  | Resid Sum of Squares |  | 1.3248e-05 |  | 2005.31 | 0.0026986
# of Values Extracted = |  |  | 69
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.3359 | 31.5789 | 0.00028125 | -7.0572e-05 | 0.0023345 | 0.0024051 |  | 1000.63 | 0.0026169
2 | NO | 5.3629 | 32.6164 | 0.00060227 | -0.011574 | 0.0023345 | 0.013908 |  | 750.728 | 0.00177
3 | YES | 1000.63 | 34.3822 | 0.0003071 | 0.0026169 | 0.0025157 | -0.00010121 |  | 499.784 | 0.0020218
3 | YES | 750.728 | 34.2543 | 0.0002299 | 0.00177 | 0.0024702 | 0.00070016 |  | 1249.46 | 0.0017471
3 | YES | 499.784 | 34.1001 | 0.00045499 | 0.0020218 | 0.0024245 | 0.00040271 |  | 1000.15 | 0.002327
4 | YES | 1249.46 | 34.4685 | 0.0003353 | 0.0017471 | 0.002561 | 0.00081384 |  | 750.294 | 0.0022621
4 | YES | 1000.15 | 34.3724 | 0.00027559 | 0.002327 | 0.0025156 | 0.00018861 |  | 500.903 | 0.0019302
4 | YES | 750.294 | 34.2548 | 0.0002389 | 0.0022621 | 0.0024701 | 0.00020798 |  | 750.314 | 0.002121
4 | YES | 500.903 | 34.09 | 0.0002412 | 0.0019302 | 0.0024247 | 0.00049446 |  | 2005.31 | 0.0029488
4 | NO | 5.6464 | 32.169 | 0.00027256 | -0.0019607 | 0.0023345 | 0.0042953 |  | 1499.91 | 0.0020905
5 | NO | 4.9189 | 31.8584 | 0.11532 | -0.032141 | 0.0023344 | 0.034475 |  | 999.941 | 0.0028458
6 | NO | 5.1302 | 31.4316 | 0.00053803 | -0.0088177 | 0.0023345 | 0.011152 |  | 2000.39 | 0.0029373
7 | YES | 750.314 | 34.2666 | 0.00030137 | 0.002121 | 0.0024701 | 0.00034913 |  | 1500.71 | 0.0027351
7 | NO | 5.2785 | 31.9844 | 0.00063777 | -0.0021172 | 0.0023345 | 0.0044516 |  | 1250.06 | 0.0023193
8 | YES | 2005.31 | 34.5998 | 0.00023452 | 0.0029488 | 0.0026986 | -0.0002502 |  | 1000.04 | 0.0041161
8 | YES | 1499.91 | 34.5222 | 0.00026453 | 0.0020905 | 0.0026066 | 0.00051611 |  | 749.957 | 0.0028725
8 | YES | 999.941 | 34.3927 | 0.00023159 | 0.0028458 | 0.0025155 | -0.00033021 |  | 500.395 | 0.0041008
9 | YES | 2000.39 | 34.6061 | 0.00021458 | 0.0029373 | 0.0026977 | -0.00023966 |  | 1250.07 | 0.0021591
9 | YES | 1500.71 | 34.5139 | 0.00022633 | 0.0027351 | 0.0026067 | -0.00012844 |  | 1000.22 | 0.0012436
9 | YES | 1250.06 | 34.4574 | 0.00024279 | 0.0023193 | 0.0025611 | 0.00024174 |  | 2000.74 | 0.0031357
9 | YES | 1000.04 | 34.376 | 0.00050908 | 0.0041161 | 0.0025156 | -0.0016005 |  | 1499.95 | 0.002655
9 | YES | 749.957 | 34.2701 | 0.00031298 | 0.0028725 | 0.00247 | -0.00040243 |  | 1250.84 | 0.0034676
9 | YES | 500.395 | 34.1191 | 0.00032635 | 0.0041008 | 0.0024246 | -0.0016762 |  | 1000.84 | 0.0027122
9 | NO | 400.206 | 34.0662 | 0.001375 | 0.00026703 | 0.0024064 | 0.0021393 |  | 750.887 | 0.0033493
9 | NO | 300.601 | 33.9964 | 0.0015555 | 0.0018272 | 0.0023882 | 0.000561 |  | 500.359 | 0.0025291
9 | NO | 250.565 | 33.955 | 0.00030715 | 0.0025673 | 0.0023791 | -0.00018816 |  | 1499.18 | 0.002327
9 | NO | 200.343 | 33.9316 | 0.0002563 | 0.0011787 | 0.00237 | 0.0011912 |  | 1250.23 | 0.0024147
9 | NO | 175.344 | 33.9136 | 0.00069691 | 0.0017395 | 0.0023654 | 0.00062594 |  | 999.893 | 0.0012283 | 0.0025351 | 0.00070511
9 | NO | 150.294 | 33.8748 | 0.0028666 | -0.0095406 | 0.0023609 | 0.011901
9 | NO | 125.888 | 33.7739 | 0.0019623 | 0.00045013 | 0.0023564 | 0.0019063
9 | NO | 100.125 | 33.5062 | 0.013405 | -0.0021248 | 0.0023517 | 0.0044765
9 | NO | 75.3986 | 33.0208 | 0.0049878 | -0.033272 | 0.0023472 | 0.035619
9 | NO | 50.4635 | 32.5735 | 0.0040518 | -0.00055313 | 0.0023427 | 0.0028958
9 | NO | 30.6891 | 32.3917 | 0.0051037 | -0.018185 | 0.0023391 | 0.020524
9 | NO | 20.5117 | 32.2008 | 0.0037895 | -0.022507 | 0.0023373 | 0.024844
9 | NO | 10.0763 | 32.0274 | 0.00044068 | -0.0036697 | 0.0023354 | 0.0060051
9 | NO | 5.1547 | 32.0284 | 0.00062119 | 0.00055695 | 0.0023345 | 0.0017775
10 | YES | 1250.07 | 34.438 | 0.00033066 | 0.0021591 | 0.0025611 | 0.00040196
10 | YES | 1000.22 | 34.3645 | 0.00026545 | 0.0012436 | 0.0025156 | 0.001272
10 | NO | 5.1615 | 32.4887 | 0.0051543 | 0.0044823 | 0.0023345 | -0.0021478
11 | NO | 5.0831 | 32.4364 | 0.0081603 | 0.0015411 | 0.0023344 | 0.0007933
12 | YES | 2000.74 | 34.5852 | 0.0002462 | 0.0031357 | 0.0026977 | -0.00043795
12 | YES | 1499.95 | 34.5054 | 0.00026833 | 0.002655 | 0.0026066 | -4.8465e-05
12 | YES | 1250.84 | 34.4504 | 0.00026398 | 0.0034676 | 0.0025612 | -0.00090634
12 | YES | 1000.84 | 34.3869 | 0.0002546 | 0.0027122 | 0.0025157 | -0.00019654
12 | YES | 750.887 | 34.2411 | 0.00026411 | 0.0033493 | 0.0024702 | -0.00087909
12 | YES | 500.359 | 34.0952 | 0.0003904 | 0.0025291 | 0.0024246 | -0.00010454
12 | NO | 400.207 | 34.0336 | 0.00067487 | 0.0048332 | 0.0024064 | -0.0024268
12 | NO | 300.776 | 33.9659 | 0.00026116 | -0.00053024 | 0.0023883 | 0.0029185
12 | NO | 250.474 | 33.931 | 0.00025773 | 0.00086975 | 0.0023791 | 0.0015094
12 | NO | 200.832 | 33.8977 | 0.00025974 | -0.00019455 | 0.0023701 | 0.0025646
12 | NO | 175.569 | 33.858 | 0.00092447 | -0.0034714 | 0.0023655 | 0.0058368
12 | NO | 150.51 | 33.7055 | 0.00040893 | 0.018402 | 0.0023609 | -0.016041
12 | NO | 125.692 | 33.4289 | 0.0023547 | 0.00029755 | 0.0023564 | 0.0020589
12 | NO | 100.126 | 32.7031 | 0.0022588 | -0.0091209 | 0.0023517 | 0.011473
12 | NO | 75.11 | 32.5088 | 0.00022245 | -4.1962e-05 | 0.0023472 | 0.0023892
12 | NO | 50.0705 | 32.4073 | 0.0013849 | 0.002861 | 0.0023426 | -0.00051839
12 | NO | 30.3767 | 32.0292 | 0.002464 | 0.0039635 | 0.002339 | -0.0016244
12 | NO | 20.648 | 31.998 | 0.00056763 | -0.0018559 | 0.0023373 | 0.0041931
12 | NO | 10.5573 | 31.9999 | 0.00040025 | -0.0008564 | 0.0023354 | 0.0031918
12 | NO | 5.2544 | 32.0008 | 0.00022778 | -0.00076294 | 0.0023345 | 0.0030974
13 | YES | 1499.18 | 34.4999 | 0.00025094 | 0.002327 | 0.0026064 | 0.00027945
13 | YES | 1250.23 | 34.445 | 0.00024115 | 0.0024147 | 0.0025611 | 0.00014641
13 | YES | 999.893 | 34.37 | 0.00027104 | 0.0012283 | 0.0025155 | 0.0012872
13 | NO | 4.6155 | 31.9729 | 0.00019187 | -0.00068283 | 0.0023344 | 0.0030172
14 | NO | 5.6485 | 32.2258 | 0.0038881 | 0.007885 | 0.0023345 | -0.0055504
15 | NO | 5.5568 | 31.3969 | 0.0026265 | -0.00056648 | 0.0023345 | 0.002901
16 | NO | 5.3699 | 28.8465 | 0.0012216 | -0.0022888 | 0.0023345 | 0.0046233
17 | NO | 5.0347 | 27.5154 | 0.0084852 | -0.11032 | 0.0023344 | 0.11265
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_3
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.053174 |  | X | CALC Y
m= | 5.0461e-05 | 4.176e-05 |  | Std Dev of Resid |  | 0.00074079 |  | 3 | 0.00060956
b= | 0.00045817 | 0.00038573 |  | Resid Sum of Squares |  | 1.4268e-05 |  | 13 | 0.0011142
# of Values Extracted = |  |  | 69
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.3359 | 31.5779 | 0.00032613 | -0.0011025 | 0.00050864 | 0.0016111 |  | 3 | 0.00096512
2 | NO | 5.3629 | 32.6153 | 0.0012676 | -0.01273 | 0.0005591 | 0.013289 |  | 3 | 0.00016403
3 | YES | 1000.63 | 34.3806 | 0.00025967 | 0.00096512 | 0.00060956 | -0.00035556 |  | 3 | 0.0011482
3 | YES | 750.728 | 34.2527 | 0.00025201 | 0.00016403 | 0.00060956 | 0.00044553 |  | 4 | -2.2888e-05
3 | YES | 499.784 | 34.0992 | 0.00029182 | 0.0011482 | 0.00060956 | -0.00053866 |  | 4 | 0.00055313
4 | YES | 1249.46 | 34.4668 | 0.0002894 | -2.2888e-05 | 0.00066002 | 0.00068291 |  | 4 | 0.00051498
4 | YES | 1000.15 | 34.3707 | 0.00024429 | 0.00055313 | 0.00066002 | 0.00010689 |  | 4 | 0.00045013
4 | YES | 750.294 | 34.253 | 0.00023238 | 0.00051498 | 0.00066002 | 0.00014504 |  | 7 | 0.00049973
4 | YES | 500.903 | 34.0886 | 0.00021139 | 0.00045013 | 0.00066002 | 0.00020989 |  | 8 | 0.00098038
4 | NO | 5.6464 | 32.1676 | 0.00032904 | -0.0034065 | 0.00066002 | 0.0040665 |  | 8 | 0.00020218
5 | NO | 4.9189 | 31.8769 | 0.11208 | -0.013643 | 0.00071048 | 0.014354 |  | 8 | 0.0010452
6 | NO | 5.1302 | 31.43 | 0.0004996 | -0.010384 | 0.00076094 | 0.011145 |  | 9 | 0.001194
7 | YES | 750.314 | 34.265 | 0.00028869 | 0.00049973 | 0.0008114 | 0.00031168 |  | 9 | 0.00092316
7 | NO | 5.2785 | 31.9828 | 0.00041938 | -0.0036583 | 0.0008114 | 0.0044697 |  | 9 | 0.0010986
8 | YES | 2005.31 | 34.5978 | 0.00021515 | 0.00098038 | 0.00086187 | -0.00011851 |  | 9 | 0.0027389
8 | YES | 1499.91 | 34.5203 | 0.00023982 | 0.00020218 | 0.00086187 | 0.00065969 |  | 9 | 0.00048447
8 | YES | 999.941 | 34.3909 | 0.00022885 | 0.0010452 | 0.00086187 | -0.00018336 |  | 9 | 0.0024605
9 | YES | 2000.39 | 34.6044 | 0.0002098 | 0.001194 | 0.00091233 | -0.00028167 |  | 10 | 0.00037384
9 | YES | 1500.71 | 34.5121 | 0.00022954 | 0.00092316 | 0.00091233 | -1.083e-05 |  | 10 | -0.00059128
9 | YES | 1250.06 | 34.4562 | 0.00027204 | 0.0010986 | 0.00091233 | -0.0001863 |  | 12 | 0.001564
9 | YES | 1000.04 | 34.3746 | 0.00045083 | 0.0027389 | 0.00091233 | -0.0018266 |  | 12 | 0.00095367
9 | YES | 749.957 | 34.2677 | 0.00033726 | 0.00048447 | 0.00091233 | 0.00042786 |  | 12 | 0.0017967
9 | YES | 500.395 | 34.1175 | 0.00044468 | 0.0024605 | 0.00091233 | -0.0015482 |  | 12 | 0.0010643
9 | NO | 400.206 | 34.0654 | 0.0010242 | -0.00045776 | 0.00091233 | 0.0013701 |  | 12 | 0.0018158
9 | NO | 300.601 | 33.9951 | 0.001348 | 0.00046158 | 0.00091233 | 0.00045075 |  | 12 | 0.0013885
9 | NO | 250.565 | 33.9533 | 0.00053598 | 0.00086594 | 0.00091233 | 4.6391e-05 |  | 13 | 0.0007019
9 | NO | 200.343 | 33.9299 | 0.00023799 | -0.00049591 | 0.00091233 | 0.0014082 |  | 13 | 0.00082779
9 | NO | 175.344 | 33.912 | 0.00040849 | 8.0109e-05 | 0.00091233 | 0.00083222 |  | 13 | -0.00030518
9 | NO | 150.294 | 33.8749 | 0.0023315 | -0.009449 | 0.00091233 | 0.010361
9 | NO | 125.888 | 33.7698 | 0.00086351 | -0.0037346 | 0.00091233 | 0.0046469
9 | NO | 100.125 | 33.504 | 0.015226 | -0.0042725 | 0.00091233 | 0.0051848
9 | NO | 75.3986 | 33.0249 | 0.0048059 | -0.029186 | 0.00091233 | 0.030099
9 | NO | 50.4635 | 32.5691 | 0.0086338 | -0.0049629 | 0.00091233 | 0.0058752
9 | NO | 30.6891 | 32.393 | 0.0050086 | -0.016949 | 0.00091233 | 0.017861
9 | NO | 20.5117 | 32.1985 | 0.0029691 | -0.024849 | 0.00091233 | 0.025761
9 | NO | 10.0763 | 32.0256 | 0.0002214 | -0.0054779 | 0.00091233 | 0.0063902
9 | NO | 5.1547 | 32.0265 | 0.00062003 | -0.0012817 | 0.00091233 | 0.0021941
10 | YES | 1250.07 | 34.4362 | 0.00023672 | 0.00037384 | 0.00096279 | 0.00058895
10 | YES | 1000.22 | 34.3627 | 0.00030736 | -0.00059128 | 0.00096279 | 0.0015541
10 | NO | 5.1615 | 32.4892 | 0.0076443 | 0.0049667 | 0.00096279 | -0.004004
11 | NO | 5.0831 | 32.432 | 0.010431 | -0.0028801 | 0.0010132 | 0.0038933
12 | YES | 2000.74 | 34.5837 | 0.00021148 | 0.001564 | 0.0010637 | -0.00050032
12 | YES | 1499.95 | 34.5037 | 0.00021794 | 0.00095367 | 0.0010637 | 0.00011004
12 | YES | 1250.84 | 34.4487 | 0.00026564 | 0.0017967 | 0.0010637 | -0.00073301
12 | YES | 1000.84 | 34.3853 | 0.00021979 | 0.0010643 | 0.0010637 | -5.8885e-07
12 | YES | 750.887 | 34.2395 | 0.00024341 | 0.0018158 | 0.0010637 | -0.00075209
12 | YES | 500.359 | 34.0941 | 0.00026941 | 0.0013885 | 0.0010637 | -0.00032484
12 | NO | 400.207 | 34.0333 | 0.00056954 | 0.0044632 | 0.0010637 | -0.0033995
12 | NO | 300.776 | 33.9644 | 0.00021587 | -0.0019684 | 0.0010637 | 0.0030321
12 | NO | 250.474 | 33.9296 | 0.0002145 | -0.00054932 | 0.0010637 | 0.001613
12 | NO | 200.832 | 33.8961 | 0.00025021 | -0.00177 | 0.0010637 | 0.0028337
12 | NO | 175.569 | 33.8551 | 0.0020897 | -0.0064011 | 0.0010637 | 0.0074648
12 | NO | 150.51 | 33.7039 | 0.00028192 | 0.016773 | 0.0010637 | -0.015709
12 | NO | 125.692 | 33.4273 | 0.0017841 | -0.0013237 | 0.0010637 | 0.0023874
12 | NO | 100.126 | 32.7017 | 0.002495 | -0.010521 | 0.0010637 | 0.011585
12 | NO | 75.11 | 32.5072 | 0.00023232 | -0.0015755 | 0.0010637 | 0.0026392
12 | NO | 50.0705 | 32.4057 | 0.00093935 | 0.0013084 | 0.0010637 | -0.00024473
12 | NO | 30.3767 | 32.0274 | 0.003759 | 0.0021935 | 0.0010637 | -0.0011297
12 | NO | 20.648 | 31.9964 | 0.00045587 | -0.0035438 | 0.0010637 | 0.0046076
12 | NO | 10.5573 | 31.9984 | 0.00028247 | -0.0024319 | 0.0010637 | 0.0034956
12 | NO | 5.2544 | 31.9993 | 0.00024944 | -0.0022736 | 0.0010637 | 0.0033373
13 | YES | 1499.18 | 34.4983 | 0.00024657 | 0.0007019 | 0.0011142 | 0.00041227
13 | YES | 1250.23 | 34.4434 | 0.00023255 | 0.00082779 | 0.0011142 | 0.00028638
13 | YES | 999.893 | 34.3685 | 0.0002489 | -0.00030518 | 0.0011142 | 0.0014193
13 | NO | 4.6155 | 31.9719 | 0.00021613 | -0.0017033 | 0.0011142 | 0.0028174
14 | NO | 5.6485 | 32.2221 | 0.0040231 | 0.0042343 | 0.0011646 | -0.0030697
15 | NO | 5.5568 | 31.3945 | 0.0019678 | -0.0030441 | 0.0012151 | 0.0042592
16 | NO | 5.3699 | 28.8458 | 0.0015059 | -0.0029545 | 0.0012656 | 0.00422
17 | NO | 5.0347 | 27.5055 | 0.003446 | -0.12015 | 0.001316 | 0.12147
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_4
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.066854 |  | X | CALC Y
m= | 5.3403e-05 | 3.9128e-05 |  | Std Dev of Resid |  | 0.0006941 |  | 3 | 0.0022357
b= | 0.0020755 | 0.00036143 |  | Resid Sum of Squares |  | 1.2526e-05 |  | 13 | 0.0027697
# of Values Extracted = |  |  | 69
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.3359 | 31.5789 | 0.00028125 | -7.0572e-05 | 0.0021289 | 0.0021995 |  | 3 | 0.0026169
2 | NO | 5.3629 | 32.6164 | 0.00060227 | -0.011574 | 0.0021823 | 0.013756 |  | 3 | 0.00177
3 | YES | 1000.63 | 34.3822 | 0.0003071 | 0.0026169 | 0.0022357 | -0.00038118 |  | 3 | 0.0020218
3 | YES | 750.728 | 34.2543 | 0.0002299 | 0.00177 | 0.0022357 | 0.00046568 |  | 4 | 0.0017471
3 | YES | 499.784 | 34.1001 | 0.00045499 | 0.0020218 | 0.0022357 | 0.00021391 |  | 4 | 0.002327
4 | YES | 1249.46 | 34.4685 | 0.0003353 | 0.0017471 | 0.0022891 | 0.00054197 |  | 4 | 0.0022621
4 | YES | 1000.15 | 34.3724 | 0.00027559 | 0.002327 | 0.0022891 | -3.7866e-05 |  | 4 | 0.0019302
4 | YES | 750.294 | 34.2548 | 0.0002389 | 0.0022621 | 0.0022891 | 2.6984e-05 |  | 7 | 0.002121
4 | YES | 500.903 | 34.09 | 0.0002412 | 0.0019302 | 0.0022891 | 0.00035886 |  | 8 | 0.0029488
4 | NO | 5.6464 | 32.169 | 0.00027256 | -0.0019607 | 0.0022891 | 0.0042499 |  | 8 | 0.0020905
5 | NO | 4.9189 | 31.8584 | 0.11532 | -0.032141 | 0.0023425 | 0.034483 |  | 8 | 0.0028458
6 | NO | 5.1302 | 31.4316 | 0.00053803 | -0.0088177 | 0.0023959 | 0.011214 |  | 9 | 0.0029373
7 | YES | 750.314 | 34.2666 | 0.00030137 | 0.002121 | 0.0024493 | 0.00032834 |  | 9 | 0.0027351
7 | NO | 5.2785 | 31.9844 | 0.00063777 | -0.0021172 | 0.0024493 | 0.0045665 |  | 9 | 0.0023193
8 | YES | 2005.31 | 34.5998 | 0.00023452 | 0.0029488 | 0.0025027 | -0.00044604 |  | 9 | 0.0041161
8 | YES | 1499.91 | 34.5222 | 0.00026453 | 0.0020905 | 0.0025027 | 0.00041227 |  | 9 | 0.0028725
8 | YES | 999.941 | 34.3927 | 0.00023159 | 0.0028458 | 0.0025027 | -0.00034304 |  | 9 | 0.0041008
9 | YES | 2000.39 | 34.6061 | 0.00021458 | 0.0029373 | 0.0025561 | -0.0003812 |  | 10 | 0.0021591
9 | YES | 1500.71 | 34.5139 | 0.00022633 | 0.0027351 | 0.0025561 | -0.00017902 |  | 10 | 0.0012436
9 | YES | 1250.06 | 34.4574 | 0.00024279 | 0.0023193 | 0.0025561 | 0.00023678 |  | 12 | 0.0031357
9 | YES | 1000.04 | 34.376 | 0.00050908 | 0.0041161 | 0.0025561 | -0.0015599 |  | 12 | 0.002655
9 | YES | 749.957 | 34.2701 | 0.00031298 | 0.0028725 | 0.0025561 | -0.00031635 |  | 12 | 0.0034676
9 | YES | 500.395 | 34.1191 | 0.00032635 | 0.0041008 | 0.0025561 | -0.0015447 |  | 12 | 0.0027122
9 | NO | 400.206 | 34.0662 | 0.001375 | 0.00026703 | 0.0025561 | 0.0022891 |  | 12 | 0.0033493
9 | NO | 300.601 | 33.9964 | 0.0015555 | 0.0018272 | 0.0025561 | 0.00072888 |  | 12 | 0.0025291
9 | NO | 250.565 | 33.955 | 0.00030715 | 0.0025673 | 0.0025561 | -1.1171e-05 |  | 13 | 0.002327
9 | NO | 200.343 | 33.9316 | 0.0002563 | 0.0011787 | 0.0025561 | 0.0013774 |  | 13 | 0.0024147
9 | NO | 175.344 | 33.9136 | 0.00069691 | 0.0017395 | 0.0025561 | 0.00081662 |  | 13 | 0.0012283
9 | NO | 150.294 | 33.8748 | 0.0028666 | -0.0095406 | 0.0025561 | 0.012097
9 | NO | 125.888 | 33.7739 | 0.0019623 | 0.00045013 | 0.0025561 | 0.002106
9 | NO | 100.125 | 33.5062 | 0.013405 | -0.0021248 | 0.0025561 | 0.0046809
9 | NO | 75.3986 | 33.0208 | 0.0049878 | -0.033272 | 0.0025561 | 0.035828
9 | NO | 50.4635 | 32.5735 | 0.0040518 | -0.00055313 | 0.0025561 | 0.0031092
9 | NO | 30.6891 | 32.3917 | 0.0051037 | -0.018185 | 0.0025561 | 0.020741
9 | NO | 20.5117 | 32.2008 | 0.0037895 | -0.022507 | 0.0025561 | 0.025063
9 | NO | 10.0763 | 32.0274 | 0.00044068 | -0.0036697 | 0.0025561 | 0.0062259
9 | NO | 5.1547 | 32.0284 | 0.00062119 | 0.00055695 | 0.0025561 | 0.0019992
10 | YES | 1250.07 | 34.438 | 0.00033066 | 0.0021591 | 0.0026095 | 0.0004504
10 | YES | 1000.22 | 34.3645 | 0.00026545 | 0.0012436 | 0.0026095 | 0.0013659
10 | NO | 5.1615 | 32.4887 | 0.0051543 | 0.0044823 | 0.0026095 | -0.0018727
11 | NO | 5.0831 | 32.4364 | 0.0081603 | 0.0015411 | 0.0026629 | 0.0011218
12 | YES | 2000.74 | 34.5852 | 0.0002462 | 0.0031357 | 0.0027163 | -0.00041935
12 | YES | 1499.95 | 34.5054 | 0.00026833 | 0.002655 | 0.0027163 | 6.1298e-05
12 | YES | 1250.84 | 34.4504 | 0.00026398 | 0.0034676 | 0.0027163 | -0.00075123
12 | YES | 1000.84 | 34.3869 | 0.0002546 | 0.0027122 | 0.0027163 | 4.0776e-06
12 | YES | 750.887 | 34.2411 | 0.00026411 | 0.0033493 | 0.0027163 | -0.00063297
12 | YES | 500.359 | 34.0952 | 0.0003904 | 0.0025291 | 0.0027163 | 0.00018719
12 | NO | 400.207 | 34.0336 | 0.00067487 | 0.0048332 | 0.0027163 | -0.0021169
12 | NO | 300.776 | 33.9659 | 0.00026116 | -0.00053024 | 0.0027163 | 0.0032466
12 | NO | 250.474 | 33.931 | 0.00025773 | 0.00086975 | 0.0027163 | 0.0018466
12 | NO | 200.832 | 33.8977 | 0.00025974 | -0.00019455 | 0.0027163 | 0.0029109
12 | NO | 175.569 | 33.858 | 0.00092447 | -0.0034714 | 0.0027163 | 0.0061877
12 | NO | 150.51 | 33.7055 | 0.00040893 | 0.018402 | 0.0027163 | -0.015686
12 | NO | 125.692 | 33.4289 | 0.0023547 | 0.00029755 | 0.0027163 | 0.0024188
12 | NO | 100.126 | 32.7031 | 0.0022588 | -0.0091209 | 0.0027163 | 0.011837
12 | NO | 75.11 | 32.5088 | 0.00022245 | -4.1962e-05 | 0.0027163 | 0.0027583
12 | NO | 50.0705 | 32.4073 | 0.0013849 | 0.002861 | 0.0027163 | -0.00014469
12 | NO | 30.3767 | 32.0292 | 0.002464 | 0.0039635 | 0.0027163 | -0.0012471
12 | NO | 20.648 | 31.998 | 0.00056763 | -0.0018559 | 0.0027163 | 0.0045722
12 | NO | 10.5573 | 31.9999 | 0.00040025 | -0.0008564 | 0.0027163 | 0.0035727
12 | NO | 5.2544 | 32.0008 | 0.00022778 | -0.00076294 | 0.0027163 | 0.0034793
13 | YES | 1499.18 | 34.4999 | 0.00025094 | 0.002327 | 0.0027697 | 0.00044276
13 | YES | 1250.23 | 34.445 | 0.00024115 | 0.0024147 | 0.0027697 | 0.00035503
13 | YES | 999.893 | 34.37 | 0.00027104 | 0.0012283 | 0.0027697 | 0.0015414
13 | NO | 4.6155 | 31.9729 | 0.00019187 | -0.00068283 | 0.0027697 | 0.0034526
14 | NO | 5.6485 | 32.2258 | 0.0038881 | 0.007885 | 0.0028231 | -0.0050618
15 | NO | 5.5568 | 31.3969 | 0.0026265 | -0.00056648 | 0.0028765 | 0.003443
16 | NO | 5.3699 | 28.8465 | 0.0012216 | -0.0022888 | 0.0029299 | 0.0052188
17 | NO | 5.0347 | 27.5154 | 0.0084852 | -0.11032 | 0.0029833 | 0.1133
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE