## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6 | Run at 2018/11/23 09:44:07 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2018-034-0003.mrg | 2018-034-0003.samcor1 | 316 | 5.382 | 5.3359 | 0.072878 | -0.046136 | 31.579 | 31.5779 | 0.00032613 | -0.0011025 | 31.579 | 31.5764 | 0.00028119 | -0.0025711
2018-034-0025.mrg | 2018-034-0025.samcor1 | 217 | 5.371 | 5.3629 | 0.09507 | -0.0081244 | 32.628 | 32.6153 | 0.0012676 | -0.01273 | 32.628 | 32.6139 | 0.00060215 | -0.014072
2018-034-0032.mrg | 2018-034-0032.samcor1 | 227 | 1000.63 | 1000.63 | 0.10305 | -0.008606 | 34.3796 | 34.3806 | 0.00025967 | 0.00096512 | 34.3796 | 34.3797 | 0.00030745 | 0.00011826
2018-034-0032.mrg | 2018-034-0032.samcor1 | 52 | 750.719 | 750.728 | 0.11887 | 0.0093384 | 34.2525 | 34.2527 | 0.00025201 | 0.00016403 | 34.2525 | 34.2518 | 0.00022989 | -0.00072861
2018-034-0032.mrg | 2018-034-0032.samcor1 | 136 | 499.843 | 499.784 | 0.091314 | -0.058716 | 34.0981 | 34.0992 | 0.00029182 | 0.0011482 | 34.0981 | 34.0976 | 0.00045526 | -0.00048065
2018-034-0041.mrg | 2018-034-0041.samcor1 | 13 | 1249.46 | 1249.46 | 0.12093 | 0.003418 | 34.4668 | 34.4668 | 0.0002894 | -2.2888e-05 | 34.4668 | 34.466 | 0.00033633 | -0.00075531
2018-034-0041.mrg | 2018-034-0041.samcor1 | 84 | 1000.15 | 1000.15 | 0.10398 | -0.0045776 | 34.3701 | 34.3707 | 0.00024429 | 0.00055313 | 34.3701 | 34.3699 | 0.00027568 | -0.00017548
2018-034-0041.mrg | 2018-034-0041.samcor1 | 127 | 750.249 | 750.294 | 0.11875 | 0.045349 | 34.2525 | 34.253 | 0.00023238 | 0.00051498 | 34.2525 | 34.2523 | 0.00023856 | -0.00023651
2018-034-0041.mrg | 2018-034-0041.samcor1 | 145 | 500.89 | 500.903 | 0.10044 | 0.013397 | 34.0881 | 34.0886 | 0.00021139 | 0.00045013 | 34.0881 | 34.0875 | 0.00024105 | -0.00056839
2018-034-0041.mrg | 2018-034-0041.samcor1 | 135 | 5.653 | 5.6464 | 0.13275 | -0.0066442 | 32.171 | 32.1676 | 0.00032904 | -0.0034065 | 32.171 | 32.1665 | 0.00027237 | -0.0044632
2018-034-0048.mrg | 2018-034-0048.samcor1 | 189 | 4.912 | 4.9189 | 0.11202 | 0.0069099 | 31.8905 | 31.8769 | 0.11208 | -0.013643 | 31.8905 | 31.8559 | 0.11532 | -0.034639
2018-034-0060.mrg | 2018-034-0060.samcor1 | 427 | 5.158 | 5.1302 | 0.091302 | -0.027834 | 31.4404 | 31.43 | 0.0004996 | -0.010384 | 31.4404 | 31.4291 | 0.00053803 | -0.011318
2018-034-0076.mrg | 2018-034-0076.samcor1 | 147 | 750.34 | 750.314 | 0.10056 | -0.026489 | 34.2645 | 34.265 | 0.00028869 | 0.00049973 | 34.2645 | 34.2641 | 0.00030155 | -0.00038147
2018-034-0076.mrg | 2018-034-0076.samcor1 | 293 | 5.308 | 5.2785 | 0.055985 | -0.029481 | 31.9865 | 31.9828 | 0.00041938 | -0.0036583 | 31.9865 | 31.9819 | 0.00063777 | -0.0046177
2018-034-0082.mrg | 2018-034-0082.samcor1 | 68 | 2005.32 | 2005.31 | 0.11549 | -0.012085 | 34.5968 | 34.5978 | 0.00021515 | 0.00098038 | 34.5968 | 34.5973 | 0.00023472 | 0.00045013
2018-034-0082.mrg | 2018-034-0082.samcor1 | 95 | 1499.91 | 1499.91 | 0.12383 | -0.00097656 | 34.5201 | 34.5203 | 0.00023982 | 0.00020218 | 34.5201 | 34.5197 | 0.00026416 | -0.00040817
2018-034-0082.mrg | 2018-034-0082.samcor1 | 235 | 999.937 | 999.941 | 0.10606 | 0.0039062 | 34.3899 | 34.3909 | 0.00022885 | 0.0010452 | 34.3899 | 34.3902 | 0.00023155 | 0.00034332
2018-034-0091.mrg | 2018-034-0091.samcor1 | 96 | 2000.38 | 2000.39 | 0.10714 | 0.014771 | 34.6032 | 34.6044 | 0.0002098 | 0.001194 | 34.6032 | 34.6036 | 0.00021431 | 0.00043487
2018-034-0091.mrg | 2018-034-0091.samcor1 | 146 | 1500.66 | 1500.71 | 0.096147 | 0.05542 | 34.5112 | 34.5121 | 0.00022954 | 0.00092316 | 34.5112 | 34.5114 | 0.00022654 | 0.00023651
2018-034-0091.mrg | 2018-034-0091.samcor1 | 30 | 1250.09 | 1250.06 | 0.11887 | -0.02771 | 34.4551 | 34.4562 | 0.00027204 | 0.0010986 | 34.4551 | 34.4549 | 0.00024263 | -0.00017929
2018-034-0091.mrg | 2018-034-0091.samcor1 | 176 | 1000.08 | 1000.04 | 0.10894 | -0.04364 | 34.3719 | 34.3746 | 0.00045083 | 0.0027389 | 34.3719 | 34.3735 | 0.00050913 | 0.0016136
2018-034-0091.mrg | 2018-034-0091.samcor1 | 170 | 749.987 | 749.957 | 0.1034 | -0.030273 | 34.2672 | 34.2677 | 0.00033726 | 0.00048447 | 34.2672 | 34.2676 | 0.00031293 | 0.00037003
2018-034-0091.mrg | 2018-034-0091.samcor1 | 120 | 500.333 | 500.395 | 0.096453 | 0.062469 | 34.115 | 34.1175 | 0.00044468 | 0.0024605 | 34.115 | 34.1166 | 0.0003261 | 0.0015984
2018-034-0091.mrg | 2018-034-0091.samcor1 | 193 | 400.147 | 400.206 | 0.11604 | 0.058533 | 34.0659 | 34.0654 | 0.0010242 | -0.00045776 | 34.0659 | 34.0637 | 0.0013752 | -0.0022354
2018-034-0091.mrg | 2018-034-0091.samcor1 | 241 | 300.601 | 300.601 | 0.08439 | -0.00027466 | 33.9946 | 33.9951 | 0.001348 | 0.00046158 | 33.9946 | 33.9939 | 0.0015555 | -0.0006752
2018-034-0091.mrg | 2018-034-0091.samcor1 | 204 | 250.525 | 250.565 | 0.082795 | 0.040299 | 33.9524 | 33.9533 | 0.00053598 | 0.00086594 | 33.9524 | 33.9525 | 0.00030689 | 6.485e-05
2018-034-0091.mrg | 2018-034-0091.samcor1 | 70 | 200.372 | 200.343 | 0.11009 | -0.029282 | 33.9304 | 33.9299 | 0.00023799 | -0.00049591 | 33.9304 | 33.9291 | 0.00025602 | -0.0013199
2018-034-0091.mrg | 2018-034-0091.samcor1 | 158 | 175.312 | 175.344 | 0.11456 | 0.032364 | 33.9119 | 33.912 | 0.00040849 | 8.0109e-05 | 33.9119 | 33.9111 | 0.00069676 | -0.00075913
2018-034-0091.mrg | 2018-034-0091.samcor1 | 197 | 150.358 | 150.294 | 0.072025 | -0.063614 | 33.8843 | 33.8749 | 0.0023315 | -0.009449 | 33.8843 | 33.8723 | 0.0028665 | -0.012039
2018-034-0091.mrg | 2018-034-0091.samcor1 | 174 | 125.878 | 125.888 | 0.12146 | 0.0097199 | 33.7735 | 33.7698 | 0.00086351 | -0.0037346 | 33.7735 | 33.7715 | 0.0019621 | -0.0020485
2018-034-0091.mrg | 2018-034-0091.samcor1 | 231 | 100.135 | 100.125 | 0.13274 | -0.0096664 | 33.5083 | 33.504 | 0.015226 | -0.0042725 | 33.5083 | 33.5037 | 0.013405 | -0.0046272
2018-034-0091.mrg | 2018-034-0091.samcor1 | 217 | 75.373 | 75.3986 | 0.094088 | 0.025559 | 33.0541 | 33.0249 | 0.0048059 | -0.029186 | 33.0541 | 33.0183 | 0.0049879 | -0.03577
2018-034-0091.mrg | 2018-034-0091.samcor1 | 143 | 50.437 | 50.4635 | 0.12682 | 0.026539 | 32.5741 | 32.5691 | 0.0086338 | -0.0049629 | 32.5741 | 32.571 | 0.004052 | -0.0030518
2018-034-0091.mrg | 2018-034-0091.samcor1 | 212 | 30.659 | 30.6891 | 0.11855 | 0.030104 | 32.4099 | 32.393 | 0.0050086 | -0.016949 | 32.4099 | 32.3892 | 0.0051038 | -0.020687
2018-034-0091.mrg | 2018-034-0091.samcor1 | 228 | 20.523 | 20.5117 | 0.097077 | -0.011303 | 32.2233 | 32.1985 | 0.0029691 | -0.024849 | 32.2233 | 32.1983 | 0.0037893 | -0.025009
2018-034-0091.mrg | 2018-034-0091.samcor1 | 16 | 10.056 | 10.0763 | 0.10303 | 0.02025 | 32.0311 | 32.0256 | 0.0002214 | -0.0054779 | 32.0311 | 32.0249 | 0.00044063 | -0.0061684
2018-034-0091.mrg | 2018-034-0091.samcor1 | 271 | 5.187 | 5.1547 | 0.11332 | -0.032324 | 32.0278 | 32.0265 | 0.00062003 | -0.0012817 | 32.0278 | 32.0259 | 0.00062111 | -0.0019455
2018-034-0094.mrg | 2018-034-0094.samcor1 | 117 | 1250.09 | 1250.07 | 0.11256 | -0.019043 | 34.4358 | 34.4362 | 0.00023672 | 0.00037384 | 34.4358 | 34.4355 | 0.00033037 | -0.00033951
2018-034-0094.mrg | 2018-034-0094.samcor1 | 162 | 1000.26 | 1000.22 | 0.10466 | -0.039795 | 34.3633 | 34.3627 | 0.00030736 | -0.00059128 | 34.3633 | 34.362 | 0.00026563 | -0.0012588
2018-034-0094.mrg | 2018-034-0094.samcor1 | 127 | 5.216 | 5.1615 | 0.10256 | -0.054544 | 32.4842 | 32.4892 | 0.0076443 | 0.0049667 | 32.4842 | 32.4862 | 0.0051542 | 0.0019798
2018-034-0097.mrg | 2018-034-0097.samcor1 | 421 | 5.133 | 5.0831 | 0.088254 | -0.04985 | 32.4349 | 32.432 | 0.010431 | -0.0028801 | 32.4349 | 32.4339 | 0.0081603 | -0.00095749
2018-034-0113.mrg | 2018-034-0113.samcor1 | 45 | 2000.74 | 2000.74 | 0.11767 | 0.00097656 | 34.5821 | 34.5837 | 0.00021148 | 0.001564 | 34.5821 | 34.5827 | 0.00024615 | 0.00063705
2018-034-0113.mrg | 2018-034-0113.samcor1 | 84 | 1499.92 | 1499.95 | 0.11124 | 0.023804 | 34.5027 | 34.5037 | 0.00021794 | 0.00095367 | 34.5027 | 34.5029 | 0.00026869 | 0.00015259
2018-034-0113.mrg | 2018-034-0113.samcor1 | 133 | 1250.81 | 1250.84 | 0.12189 | 0.031982 | 34.4469 | 34.4487 | 0.00026564 | 0.0017967 | 34.4469 | 34.4479 | 0.00026399 | 0.00096893
2018-034-0113.mrg | 2018-034-0113.samcor1 | 188 | 1000.79 | 1000.84 | 0.10857 | 0.043091 | 34.3842 | 34.3853 | 0.00021979 | 0.0010643 | 34.3842 | 34.3844 | 0.00025457 | 0.00021362
2018-034-0113.mrg | 2018-034-0113.samcor1 | 160 | 750.882 | 750.887 | 0.12374 | 0.0053711 | 34.2377 | 34.2395 | 0.00024341 | 0.0018158 | 34.2377 | 34.2386 | 0.00026404 | 0.00085068
2018-034-0113.mrg | 2018-034-0113.samcor1 | 78 | 500.398 | 500.359 | 0.10091 | -0.039459 | 34.0927 | 34.0941 | 0.00026941 | 0.0013885 | 34.0927 | 34.0927 | 0.00039078 | 2.6703e-05
2018-034-0113.mrg | 2018-034-0113.samcor1 | 96 | 400.205 | 400.207 | 0.12024 | 0.0019531 | 34.0288 | 34.0333 | 0.00056954 | 0.0044632 | 34.0288 | 34.0311 | 0.00067519 | 0.0023308
2018-034-0113.mrg | 2018-034-0113.samcor1 | 186 | 300.715 | 300.776 | 0.092466 | 0.060547 | 33.9664 | 33.9644 | 0.00021587 | -0.0019684 | 33.9664 | 33.9634 | 0.00026101 | -0.0030289
2018-034-0113.mrg | 2018-034-0113.samcor1 | 154 | 250.457 | 250.474 | 0.1119 | 0.01712 | 33.9301 | 33.9296 | 0.0002145 | -0.00054932 | 33.9301 | 33.9285 | 0.0002581 | -0.0016327
2018-034-0113.mrg | 2018-034-0113.samcor1 | 139 | 200.828 | 200.832 | 0.12544 | 0.0039215 | 33.8979 | 33.8961 | 0.00025021 | -0.00177 | 33.8979 | 33.8952 | 0.0002597 | -0.002697
2018-034-0113.mrg | 2018-034-0113.samcor1 | 65 | 175.608 | 175.569 | 0.11079 | -0.03862 | 33.8615 | 33.8551 | 0.0020897 | -0.0064011 | 33.8615 | 33.8555 | 0.00092416 | -0.0059738
2018-034-0113.mrg | 2018-034-0113.samcor1 | 220 | 150.54 | 150.51 | 0.069162 | -0.030426 | 33.6871 | 33.7039 | 0.00028192 | 0.016773 | 33.6871 | 33.703 | 0.00040906 | 0.015904
2018-034-0113.mrg | 2018-034-0113.samcor1 | 148 | 125.682 | 125.692 | 0.11737 | 0.009819 | 33.4286 | 33.4273 | 0.0017841 | -0.0013237 | 33.4286 | 33.4264 | 0.0023547 | -0.0022049
2018-034-0113.mrg | 2018-034-0113.samcor1 | 172 | 100.121 | 100.126 | 0.11332 | 0.0049057 | 32.7122 | 32.7017 | 0.002495 | -0.010521 | 32.7122 | 32.7006 | 0.0022588 | -0.011623
2018-034-0113.mrg | 2018-034-0113.samcor1 | 83 | 75.152 | 75.11 | 0.095179 | -0.041962 | 32.5088 | 32.5072 | 0.00023232 | -0.0015755 | 32.5088 | 32.5063 | 0.00022267 | -0.0025406
2018-034-0113.mrg | 2018-034-0113.samcor1 | 207 | 50.085 | 50.0705 | 0.1137 | -0.014515 | 32.4044 | 32.4057 | 0.00093935 | 0.0013084 | 32.4044 | 32.4048 | 0.0013849 | 0.0003624
2018-034-0113.mrg | 2018-034-0113.samcor1 | 100 | 30.364 | 30.3767 | 0.1087 | 0.01268 | 32.0252 | 32.0274 | 0.003759 | 0.0021935 | 32.0252 | 32.0267 | 0.002464 | 0.001461
2018-034-0113.mrg | 2018-034-0113.samcor1 | 188 | 20.627 | 20.648 | 0.1056 | 0.020968 | 31.9999 | 31.9964 | 0.00045587 | -0.0035438 | 31.9999 | 31.9955 | 0.00056773 | -0.0043564
2018-034-0113.mrg | 2018-034-0113.samcor1 | 184 | 10.559 | 10.5573 | 0.11257 | -0.0017119 | 32.0008 | 31.9984 | 0.00028247 | -0.0024319 | 32.0008 | 31.9974 | 0.00040018 | -0.0033569
2018-034-0113.mrg | 2018-034-0113.samcor1 | 113 | 5.22 | 5.2544 | 0.11935 | 0.03439 | 32.0016 | 31.9993 | 0.00024944 | -0.0022736 | 32.0016 | 31.9983 | 0.00022793 | -0.0032635
2018-034-0116.mrg | 2018-034-0116.samcor1 | 92 | 1499.26 | 1499.18 | 0.086464 | -0.083008 | 34.4976 | 34.4983 | 0.00024657 | 0.0007019 | 34.4976 | 34.4974 | 0.00025091 | -0.00017166
2018-034-0116.mrg | 2018-034-0116.samcor1 | 46 | 1250.22 | 1250.23 | 0.11676 | 0.003418 | 34.4426 | 34.4434 | 0.00023255 | 0.00082779 | 34.4426 | 34.4425 | 0.00024087 | -8.7738e-05
2018-034-0116.mrg | 2018-034-0116.samcor1 | 40 | 999.91 | 999.893 | 0.10997 | -0.016846 | 34.3688 | 34.3685 | 0.0002489 | -0.00030518 | 34.3688 | 34.3675 | 0.00027123 | -0.0012703
2018-034-0116.mrg | 2018-034-0116.samcor1 | 66 | 4.631 | 4.6155 | 0.12208 | -0.015455 | 31.9736 | 31.9719 | 0.00021613 | -0.0017033 | 31.9736 | 31.9704 | 0.00019178 | -0.0031834
2018-034-0133.mrg | 2018-034-0133.samcor1 | 161 | 5.632 | 5.6485 | 0.1042 | 0.016503 | 32.2179 | 32.2221 | 0.0040231 | 0.0042343 | 32.2179 | 32.2233 | 0.0038882 | 0.0053825
2018-034-0150.mrg | 2018-034-0150.samcor1 | 241 | 5.557 | 5.5568 | 0.04667 | -0.00019503 | 31.3975 | 31.3945 | 0.0019678 | -0.0030441 | 31.3975 | 31.3944 | 0.0026266 | -0.003067
2018-034-0168.mrg | 2018-034-0168.samcor1 | 241 | 5.37 | 5.3699 | 0.024806 | -9.1076e-05 | 28.8488 | 28.8458 | 0.0015059 | -0.0029545 | 28.8488 | 28.844 | 0.0012218 | -0.0047894
2018-034-0176.mrg | 2018-034-0176.samcor1 | 241 | 5.035 | 5.0347 | 0.025765 | -0.000278 | 27.6257 | 27.5055 | 0.003446 | -0.12015 | 27.6257 | 27.5129 | 0.0084852 | -0.11282
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 17
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2018-034-0003.mrg | 2018-034-0003.samcor1 | 12 | 12 | 2018-034-0003.mrg & 2018-034-0003.samcor1
2 | 2018-034-0025.mrg | 2018-034-0025.samcor1 | 14 | 14 | 2018-034-0025.mrg & 2018-034-0025.samcor1
3 | 2018-034-0032.mrg | 2018-034-0032.samcor1 | 16 | 18 | 2018-034-0032.mrg & 2018-034-0032.samcor1
4 | 2018-034-0041.mrg | 2018-034-0041.samcor1 | 20 | 24 | 2018-034-0041.mrg & 2018-034-0041.samcor1
5 | 2018-034-0048.mrg | 2018-034-0048.samcor1 | 26 | 26 | 2018-034-0048.mrg & 2018-034-0048.samcor1
6 | 2018-034-0060.mrg | 2018-034-0060.samcor1 | 28 | 28 | 2018-034-0060.mrg & 2018-034-0060.samcor1
7 | 2018-034-0076.mrg | 2018-034-0076.samcor1 | 30 | 31 | 2018-034-0076.mrg & 2018-034-0076.samcor1
8 | 2018-034-0082.mrg | 2018-034-0082.samcor1 | 33 | 35 | 2018-034-0082.mrg & 2018-034-0082.samcor1
9 | 2018-034-0091.mrg | 2018-034-0091.samcor1 | 37 | 56 | 2018-034-0091.mrg & 2018-034-0091.samcor1
10 | 2018-034-0094.mrg | 2018-034-0094.samcor1 | 58 | 60 | 2018-034-0094.mrg & 2018-034-0094.samcor1
11 | 2018-034-0097.mrg | 2018-034-0097.samcor1 | 62 | 62 | 2018-034-0097.mrg & 2018-034-0097.samcor1
12 | 2018-034-0113.mrg | 2018-034-0113.samcor1 | 64 | 83 | 2018-034-0113.mrg & 2018-034-0113.samcor1
13 | 2018-034-0116.mrg | 2018-034-0116.samcor1 | 85 | 88 | 2018-034-0116.mrg & 2018-034-0116.samcor1
14 | 2018-034-0133.mrg | 2018-034-0133.samcor1 | 90 | 90 | 2018-034-0133.mrg & 2018-034-0133.samcor1
15 | 2018-034-0150.mrg | 2018-034-0150.samcor1 | 92 | 92 | 2018-034-0150.mrg & 2018-034-0150.samcor1
16 | 2018-034-0168.mrg | 2018-034-0168.samcor1 | 94 | 94 | 2018-034-0168.mrg & 2018-034-0168.samcor1
17 | 2018-034-0176.mrg | 2018-034-0176.samcor1 | 96 | 96 | 2018-034-0176.mrg & 2018-034-0176.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal1 - Sal_Bot) | Pressure | 17

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0064706 |  | X | CALC Y
m= | 1.3135e-07 | 3.2552e-07 |  | Std Dev of Resid |  | 0.00072266 |  | 500.359 | -2.8886e-05
b= | -9.4609e-05 | 0.00039328 |  | Resid Sum of Squares |  | 1.3056e-05 |  | 2005.31 | 0.00016879
# of Values Extracted = |  |  | 69
# of Values Used in Fit = |  |  | 27
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 5.3359 | 31.5764 | 0.00028119 | -0.0025711 | -9.3908e-05 | 0.0024772 |  | 1000.63 | 0.00011826
2 | NO | 5.3629 | 32.6139 | 0.00060215 | -0.014072 | -9.3905e-05 | 0.013978 |  | 750.728 | -0.00072861
3 | YES | 1000.63 | 34.3797 | 0.00030745 | 0.00011826 | 3.6825e-05 | -8.1431e-05 |  | 1249.46 | -0.00075531
3 | YES | 750.728 | 34.2518 | 0.00022989 | -0.00072861 | 4.0003e-06 | 0.00073261 |  | 1000.15 | -0.00017548
3 | NO | 499.784 | 34.0976 | 0.00045526 | -0.00048065 | -2.8962e-05 | 0.00045169 |  | 750.294 | -0.00023651
4 | YES | 1249.46 | 34.466 | 0.00033633 | -0.00075531 | 6.951e-05 | 0.00082482 |  | 500.903 | -0.00056839
4 | YES | 1000.15 | 34.3699 | 0.00027568 | -0.00017548 | 3.6762e-05 | 0.00021224 |  | 750.314 | -0.00038147
4 | YES | 750.294 | 34.2523 | 0.00023856 | -0.00023651 | 3.9433e-06 | 0.00024045 |  | 2005.31 | 0.00045013
4 | YES | 500.903 | 34.0875 | 0.00024105 | -0.00056839 | -2.8815e-05 | 0.00053958 |  | 1499.91 | -0.00040817
4 | NO | 5.6464 | 32.1665 | 0.00027237 | -0.0044632 | -9.3867e-05 | 0.0043693 |  | 999.941 | 0.00034332
5 | NO | 4.9189 | 31.8559 | 0.11532 | -0.034639 | -9.3963e-05 | 0.034545 |  | 2000.39 | 0.00043487
6 | NO | 5.1302 | 31.4291 | 0.00053803 | -0.011318 | -9.3935e-05 | 0.011224 |  | 1500.71 | 0.00023651
7 | YES | 750.314 | 34.2641 | 0.00030155 | -0.00038147 | 3.9459e-06 | 0.00038542 |  | 1250.06 | -0.00017929
7 | NO | 5.2785 | 31.9819 | 0.00063777 | -0.0046177 | -9.3916e-05 | 0.0045238 |  | 1000.04 | 0.0016136
8 | YES | 2005.31 | 34.5973 | 0.00023472 | 0.00045013 | 0.00016879 | -0.00028134 |  | 749.957 | 0.00037003
8 | YES | 1499.91 | 34.5197 | 0.00026416 | -0.00040817 | 0.00010241 | 0.00051058 |  | 500.395 | 0.0015984
8 | YES | 999.941 | 34.3902 | 0.00023155 | 0.00034332 | 3.6735e-05 | -0.00030659 |  | 1250.07 | -0.00033951
9 | YES | 2000.39 | 34.6036 | 0.00021431 | 0.00043487 | 0.00016815 | -0.00026673 |  | 1000.22 | -0.0012588
9 | YES | 1500.71 | 34.5114 | 0.00022654 | 0.00023651 | 0.00010251 | -0.000134 |  | 2000.74 | 0.00063705
9 | YES | 1250.06 | 34.4549 | 0.00024263 | -0.00017929 | 6.9588e-05 | 0.00024888 |  | 1499.95 | 0.00015259
9 | YES | 1000.04 | 34.3735 | 0.00050913 | 0.0016136 | 3.6748e-05 | -0.0015769 |  | 1250.84 | 0.00096893
9 | YES | 749.957 | 34.2676 | 0.00031293 | 0.00037003 | 3.899e-06 | -0.00036613 |  | 1000.84 | 0.00021362
9 | YES | 500.395 | 34.1166 | 0.0003261 | 0.0015984 | -2.8881e-05 | -0.0016272 |  | 750.887 | 0.00085068
9 | NO | 400.206 | 34.0637 | 0.0013752 | -0.0022354 | -4.2041e-05 | 0.0021934 |  | 500.359 | 2.6703e-05
9 | NO | 300.601 | 33.9939 | 0.0015555 | -0.0006752 | -5.5125e-05 | 0.00062008 |  | 1499.18 | -0.00017166
9 | NO | 250.565 | 33.9525 | 0.00030689 | 6.485e-05 | -6.1697e-05 | -0.00012655 |  | 1250.23 | -8.7738e-05
9 | NO | 200.343 | 33.9291 | 0.00025602 | -0.0013199 | -6.8294e-05 | 0.0012516 |  | 999.893 | -0.0012703 | 5.383e-05 | 0.00071093
9 | NO | 175.344 | 33.9111 | 0.00069676 | -0.00075913 | -7.1577e-05 | 0.00068755
9 | NO | 150.294 | 33.8723 | 0.0028665 | -0.012039 | -7.4868e-05 | 0.011964
9 | NO | 125.888 | 33.7715 | 0.0019621 | -0.0020485 | -7.8073e-05 | 0.0019704
9 | NO | 100.125 | 33.5037 | 0.013405 | -0.0046272 | -8.1457e-05 | 0.0045458
9 | NO | 75.3986 | 33.0183 | 0.0049879 | -0.03577 | -8.4705e-05 | 0.035686
9 | NO | 50.4635 | 32.571 | 0.004052 | -0.0030518 | -8.7981e-05 | 0.0029638
9 | NO | 30.6891 | 32.3892 | 0.0051038 | -0.020687 | -9.0578e-05 | 0.020597
9 | NO | 20.5117 | 32.1983 | 0.0037893 | -0.025009 | -9.1915e-05 | 0.024917
9 | NO | 10.0763 | 32.0249 | 0.00044063 | -0.0061684 | -9.3286e-05 | 0.0060751
9 | NO | 5.1547 | 32.0259 | 0.00062111 | -0.0019455 | -9.3932e-05 | 0.0018516
10 | YES | 1250.07 | 34.4355 | 0.00033037 | -0.00033951 | 6.959e-05 | 0.0004091
10 | YES | 1000.22 | 34.362 | 0.00026563 | -0.0012588 | 3.6771e-05 | 0.0012956
10 | NO | 5.1615 | 32.4862 | 0.0051542 | 0.0019798 | -9.3931e-05 | -0.0020738
11 | NO | 5.0831 | 32.4339 | 0.0081603 | -0.00095749 | -9.3941e-05 | 0.00086355
12 | YES | 2000.74 | 34.5827 | 0.00024615 | 0.00063705 | 0.00016819 | -0.00046886
12 | YES | 1499.95 | 34.5029 | 0.00026869 | 0.00015259 | 0.00010241 | -5.0176e-05
12 | YES | 1250.84 | 34.4479 | 0.00026399 | 0.00096893 | 6.9691e-05 | -0.00089924
12 | YES | 1000.84 | 34.3844 | 0.00025457 | 0.00021362 | 3.6853e-05 | -0.00017677
12 | YES | 750.887 | 34.2386 | 0.00026404 | 0.00085068 | 4.0211e-06 | -0.00084666
12 | YES | 500.359 | 34.0927 | 0.00039078 | 2.6703e-05 | -2.8886e-05 | -5.5589e-05
12 | NO | 400.207 | 34.0311 | 0.00067519 | 0.0023308 | -4.2041e-05 | -0.0023728
12 | NO | 300.776 | 33.9634 | 0.00026101 | -0.0030289 | -5.5102e-05 | 0.0029738
12 | NO | 250.474 | 33.9285 | 0.0002581 | -0.0016327 | -6.1709e-05 | 0.001571
12 | NO | 200.832 | 33.8952 | 0.0002597 | -0.002697 | -6.8229e-05 | 0.0026288
12 | NO | 175.569 | 33.8555 | 0.00092416 | -0.0059738 | -7.1548e-05 | 0.0059023
12 | NO | 150.51 | 33.703 | 0.00040906 | 0.015904 | -7.4839e-05 | -0.015978
12 | NO | 125.692 | 33.4264 | 0.0023547 | -0.0022049 | -7.8099e-05 | 0.0021268
12 | NO | 100.126 | 32.7006 | 0.0022588 | -0.011623 | -8.1457e-05 | 0.011542
12 | NO | 75.11 | 32.5063 | 0.00022267 | -0.0025406 | -8.4743e-05 | 0.0024558
12 | NO | 50.0705 | 32.4048 | 0.0013849 | 0.0003624 | -8.8032e-05 | -0.00045043
12 | NO | 30.3767 | 32.0267 | 0.002464 | 0.001461 | -9.0619e-05 | -0.0015516
12 | NO | 20.648 | 31.9955 | 0.00056773 | -0.0043564 | -9.1897e-05 | 0.0042645
12 | NO | 10.5573 | 31.9974 | 0.00040018 | -0.0033569 | -9.3222e-05 | 0.0032637
12 | NO | 5.2544 | 31.9983 | 0.00022793 | -0.0032635 | -9.3919e-05 | 0.0031696
13 | YES | 1499.18 | 34.4974 | 0.00025091 | -0.00017166 | 0.00010231 | 0.00027397
13 | YES | 1250.23 | 34.4425 | 0.00024087 | -8.7738e-05 | 6.9611e-05 | 0.00015735
13 | YES | 999.893 | 34.3675 | 0.00027123 | -0.0012703 | 3.6728e-05 | 0.001307
13 | NO | 4.6155 | 31.9704 | 0.00019178 | -0.0031834 | -9.4003e-05 | 0.0030894
14 | NO | 5.6485 | 32.2233 | 0.0038882 | 0.0053825 | -9.3867e-05 | -0.0054764
15 | NO | 5.5568 | 31.3944 | 0.0026266 | -0.003067 | -9.3879e-05 | 0.0029731
16 | NO | 5.3699 | 28.844 | 0.0012218 | -0.0047894 | -9.3904e-05 | 0.0046954
17 | NO | 5.0347 | 27.5129 | 0.0084852 | -0.11282 | -9.3948e-05 | 0.11273
NO
NO
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE