## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.6 | Run at 2018/08/10 15:42:01 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | Fluor_CTD |  | Fluor_CTD - CHL_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | Fluor_CTD | Fluor_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2018-039-0002.mrg | 2018-039-0002.sam | 241 | 30.16 | 30.1602 | 0.038892 | 0.00016594 | 0.69 | 0.74417 | 0.10077 | 0.054166
2018-039-0002.mrg | 2018-039-0002.sam | 241 | 19.51 | 19.5102 | 0.060011 | 0.00021553 | 0.99 | 0.78418 | 0.091177 | -0.20582
2018-039-0002.mrg | 2018-039-0002.sam | 241 | 10.475 | 10.4747 | 0.041263 | -0.00025368 | 0.99 | 0.84599 | 0.10363 | -0.14401
2018-039-0002.mrg | 2018-039-0002.sam | 241 | 5.141 | 5.1413 | 0.035443 | 0.00034046 | 0.98 | 0.90205 | 0.13342 | -0.077954
2018-039-0002.mrg | 2018-039-0002.sam | 241 | 1.5 | 1.5002 | 0.035581 | 0.0002116 | 0.56 | 0.88065 | 0.12184 | 0.32065
2018-039-0005.mrg | 2018-039-0005.sam | 241 | 29.46 | 29.4601 | 0.10967 | 0.00011635 | 5.95 | 3.4201 | 0.22705 | -2.5299
2018-039-0005.mrg | 2018-039-0005.sam | 241 | 19.137 | 19.1367 | 0.053168 | -0.00029755 | 5.62 | 3.5801 | 0.20929 | -2.0399
2018-039-0005.mrg | 2018-039-0005.sam | 241 | 11.491 | 11.4913 | 0.045599 | 0.00028229 | 5.93 | 3.4295 | 0.21127 | -2.5005
2018-039-0005.mrg | 2018-039-0005.sam | 241 | 5.262 | 5.2624 | 0.033017 | 0.00037766 | 6.23 | 3.5415 | 0.26396 | -2.6885
2018-039-0005.mrg | 2018-039-0005.sam | 241 | 2.011 | 2.0112 | 0.045981 | 0.00024486 | 14.75 | 3.6823 | 0.27795 | -11.0677
2018-039-0006.mrg | 2018-039-0006.sam | 241 | 26.296 | 26.2964 | 0.18093 | 0.00039864 | 2.56 | 0.4834 | 0.023447 | -2.0766
2018-039-0006.mrg | 2018-039-0006.sam | 241 | 20.375 | 20.3753 | 0.090466 | 0.00034523 | 4.19 | 2.9452 | 0.10278 | -1.2448
2018-039-0006.mrg | 2018-039-0006.sam | 241 | 10.454 | 10.454 | 0.080431 | 2.3842e-05 | 15.17 | 16.3358 | 0.83325 | 1.1658
2018-039-0006.mrg | 2018-039-0006.sam | 375 | 4.933 | 4.9242 | 0.083641 | -0.0087495 | 10.69 | 12.1918 | 0.34255 | 1.5018
2018-039-0007.mrg | 2018-039-0007.sam | 241 | 46.018 | 46.0182 | 0.16229 | 0.00020599 | 0.57 | 0.40643 | 0.014949 | -0.16357
2018-039-0007.mrg | 2018-039-0007.sam | 241 | 30.199 | 30.1985 | 0.14597 | -0.00045967 | 0.7 | 0.55794 | 0.018835 | -0.14206
2018-039-0007.mrg | 2018-039-0007.sam | 241 | 20.121 | 20.1215 | 0.11098 | 0.00046349 | 14.49 | 3.2735 | 0.20003 | -11.2165
2018-039-0007.mrg | 2018-039-0007.sam | 241 | 10.666 | 10.6663 | 0.16969 | 0.00034809 | 23.43 | 22.015 | 0.37511 | -1.415
2018-039-0007.mrg | 2018-039-0007.sam | 241 | 5.092 | 5.092 | 0.11018 | -3.3379e-05 | 22.41 | 24.7484 | 0.42276 | 2.3384
2018-039-0008.mrg | 2018-039-0008.sam | 241 | 4.988 | 4.9878 | 0.10614 | -0.00021172 | 24.51 | 22.7615 | 0.42893 | -1.7485
2018-039-0009.mrg | 2018-039-0009.sam | 241 | 50.501 | 50.5013 | 0.14217 | 0.00026703 | 1.19 | 0.78083 | 0.044713 | -0.40917
2018-039-0009.mrg | 2018-039-0009.sam | 241 | 29.981 | 29.9813 | 0.075737 | 0.00029755 | 6.69 | 7.9341 | 0.52843 | 1.2441
2018-039-0009.mrg | 2018-039-0009.sam | 241 | 19.996 | 19.9963 | 0.18926 | 0.00034332 | 18 | 9.0304 | 0.3439 | -8.9696
2018-039-0009.mrg | 2018-039-0009.sam | 241 | 9.978 | 9.9784 | 0.14835 | 0.00041103 | 23.34 | 22.9237 | 0.53588 | -0.41631
2018-039-0009.mrg | 2018-039-0009.sam | 241 | 5.138 | 5.1382 | 0.10708 | 0.00018263 | 12.88 | 15.8745 | 0.49294 | 2.9945
2018-039-0012.mrg | 2018-039-0012.sam | 241 | 19.869 | 19.8694 | 0.19194 | 0.00041962 | 12.77 | 8.9909 | 0.36019 | -3.7791
2018-039-0012.mrg | 2018-039-0012.sam | 241 | 10.027 | 10.0267 | 0.13743 | -0.00032425 | 32.13 | 25.5653 | 0.58629 | -6.5647
2018-039-0012.mrg | 2018-039-0012.sam | 241 | 5.031 | 5.0306 | 0.24244 | -0.00044012 | 27.31 | 31.605 | 0.79137 | 4.295
2018-039-0012.mrg | 2018-039-0012.sam | 241 | 2.427 | 2.4272 | 0.14742 | 0.00024056 | 26.53 | 23.6581 | 0.59236 | -2.8719
2018-039-0013.mrg | 2018-039-0013.sam | 241 | 4.978 | 4.9781 | 0.15282 | 0.00011587 | 9.17 | 10.2891 | 0.5632 | 1.1191
2018-039-0014.mrg | 2018-039-0014.sam | 241 | 49.654 | 49.6539 | 0.10756 | -0.00013733 | 0.49 | 0.50387 | 0.032729 | 0.013876
2018-039-0014.mrg | 2018-039-0014.sam | 241 | 29.731 | 29.7305 | 0.048743 | -0.00048256 | 2.17 | 1.0616 | 0.076704 | -1.1084
2018-039-0014.mrg | 2018-039-0014.sam | 241 | 20.122 | 20.122 | 0.20741 | 2.0981e-05 | 3.09 | 1.73 | 0.097204 | -1.36
2018-039-0014.mrg | 2018-039-0014.sam | 241 | 9.287 | 9.2873 | 0.23948 | 0.0002861 | 30.64 | 9.5971 | 1.1416 | -21.0429
2018-039-0014.mrg | 2018-039-0014.sam | 241 | 4.726 | 4.7257 | 0.15926 | -0.00034428 | 22.02 | 14.0977 | 0.45236 | -7.9223
2018-039-0021.mrg | 2018-039-0021.sam | 241 | 4.369 | 4.3693 | 0.21813 | 0.00024891 | 1.73 | 2.0779 | 0.11924 | 0.34786
2018-039-0028.mrg | 2018-039-0028.sam | 241 | 49.783 | 49.7833 | 0.23612 | 0.0002594 | 0.23 | 0.23594 | 0.0096801 | 0.0059419
2018-039-0028.mrg | 2018-039-0028.sam | 190 | 30.235 | 30.4923 | 0.57461 | 0.25729 | 0.37 | 0.35409 | 0.077594 | -0.015911
2018-039-0028.mrg | 2018-039-0028.sam | 241 | 20.506 | 20.5057 | 0.34872 | -0.00032043 | 2.5 | 0.52968 | 0.031497 | -1.9703
2018-039-0028.mrg | 2018-039-0028.sam | 241 | 10.007 | 10.0071 | 0.24984 | 0.00014114 | 1.06 | 1.6248 | 0.37454 | 0.56477
2018-039-0028.mrg | 2018-039-0028.sam | 453 | 5.269 | 5.2543 | 0.23505 | -0.01466 | 0.42 | 0.54581 | 0.043337 | 0.12581
2018-039-0029.mrg | 2018-039-0029.sam | 240 | 50.476 | 50.4807 | 0.5831 | 0.0046844 | 0.29 | 0.33193 | 0.015025 | 0.041933
2018-039-0029.mrg | 2018-039-0029.sam | 241 | 30.107 | 30.1073 | 0.28513 | 0.00027847 | 0.84 | 0.67409 | 0.03791 | -0.16591
2018-039-0029.mrg | 2018-039-0029.sam | 241 | 19.991 | 19.9906 | 0.25663 | -0.00038528 | 4.13 | 2.4901 | 0.095047 | -1.6399
2018-039-0029.mrg | 2018-039-0029.sam | 241 | 10.484 | 10.4837 | 0.26301 | -0.00026989 | 1.6 | 1.8869 | 0.12987 | 0.28692
2018-039-0029.mrg | 2018-039-0029.sam | 241 | 5.211 | 5.2105 | 0.55371 | -0.00045633 | 0.93 | 1.6146 | 0.087237 | 0.68457
2018-039-0030.mrg | 2018-039-0030.sam | 241 | 5.171 | 5.1712 | 0.20903 | 0.00018692 | 5.58 | 4.8014 | 0.16638 | -0.77864
2018-039-0032.mrg | 2018-039-0032.sam | 241 | 49.814 | 49.8144 | 0.39713 | 0.00043106 | 0.28 | 0.42214 | 0.043984 | 0.14214
2018-039-0032.mrg | 2018-039-0032.sam | 241 | 30.158 | 30.1583 | 0.47362 | 0.00030136 | 3.59 | 2.3143 | 0.076305 | -1.2757
2018-039-0032.mrg | 2018-039-0032.sam | 241 | 19.384 | 19.3845 | 0.33503 | 0.00049782 | 0.99 | 0.99052 | 0.020637 | 0.00051868
2018-039-0032.mrg | 2018-039-0032.sam | 241 | 9.76 | 9.7602 | 0.3471 | 0.00020313 | 0.71 | 0.88363 | 0.26127 | 0.17364
2018-039-0032.mrg | 2018-039-0032.sam | 241 | 5.334 | 5.3337 | 0.3619 | -0.00033188 | 0.55 | 0.63116 | 0.012401 | 0.081158
2018-039-0033.mrg | 2018-039-0033.sam | 241 | 49.959 | 49.9591 | 0.35828 | 5.3406e-05 | 0.19 | 0.25588 | 0.0095189 | 0.065876
2018-039-0033.mrg | 2018-039-0033.sam | 219 | 29.629 | 29.724 | 0.54666 | 0.095041 | 0.56 | 0.66055 | 0.037906 | 0.10055
2018-039-0033.mrg | 2018-039-0033.sam | 241 | 19.945 | 19.9454 | 0.36569 | 0.00035286 | 2.59 | 2.1498 | 0.055968 | -0.44023
2018-039-0033.mrg | 2018-039-0033.sam | 241 | 9.513 | 9.5129 | 0.33537 | -7.4387e-05 | 1.11 | 1.08 | 0.047741 | -0.029996
2018-039-0033.mrg | 2018-039-0033.sam | 241 | 4.703 | 4.7032 | 0.33492 | 0.00019074 | 0.58 | 0.48221 | 0.017629 | -0.097793
2018-039-0034.mrg | 2018-039-0034.sam | 241 | 5.179 | 5.1789 | 0.29799 | -0.00012445 | 1.19 | 1.1071 | 0.039993 | -0.082896
2018-039-0036.mrg | 2018-039-0036.sam | 241 | 50.622 | 50.6215 | 0.19361 | -0.00049591 | 0.18 | 0.35906 | 0.013647 | 0.17906
2018-039-0036.mrg | 2018-039-0036.sam | 241 | 29.705 | 29.7052 | 0.11391 | 0.00019455 | 0.84 | 1.0369 | 0.045927 | 0.19691
2018-039-0036.mrg | 2018-039-0036.sam | 241 | 19.499 | 19.4986 | 0.51884 | -0.00044441 | 4.28 | 10.5318 | 0.39542 | 6.2518
2018-039-0036.mrg | 2018-039-0036.sam | 241 | 9.761 | 9.7606 | 0.37667 | -0.00044346 | 2.9 | 2.5477 | 0.13101 | -0.3523
2018-039-0036.mrg | 2018-039-0036.sam | 241 | 4.699 | 4.6989 | 0.21826 | -0.00010347 | 2.37 | 1.107 | 0.051408 | -1.263
2018-039-0037.mrg | 2018-039-0037.sam | 241 | 4.575 | 4.5748 | 0.13308 | -0.00016975 | 0.61 | 0.55646 | 0.02199 | -0.053535
2018-039-0040.mrg | 2018-039-0040.sam | 241 | 4.86 | 4.86 | 0.4816 | -4.5776e-05 | 0.49 | 0.60852 | 0.018476 | 0.11852
2018-039-0045.mrg | 2018-039-0045.sam | 110 | 49.864 | 49.9029 | 0.54402 | 0.038876 | 0.24 | 0.51126 | 0.019959 | 0.27126
2018-039-0045.mrg | 2018-039-0045.sam | 241 | 30.27 | 30.27 | 0.44706 | 7.6294e-06 | 0.87 | 1.2741 | 0.02983 | 0.40408
2018-039-0045.mrg | 2018-039-0045.sam | 160 | 19.429 | 19.442 | 0.57783 | 0.012962 | 0.76 | 1.3563 | 0.044524 | 0.59634
2018-039-0045.mrg | 2018-039-0045.sam | 241 | 10.066 | 10.0657 | 0.38849 | -0.00026989 | 0.33 | 0.67081 | 0.016432 | 0.34081
2018-039-0045.mrg | 2018-039-0045.sam | 241 | 5.489 | 5.489 | 0.24958 | 2.0981e-05 | 0.28 | 0.66375 | 0.013848 | 0.38376
2018-039-0048.mrg | 2018-039-0048.sam | 221 | 51.101 | 51.0049 | 0.51101 | -0.096062 | 0.17 | 0.30084 | 0.011593 | 0.13084
2018-039-0048.mrg | 2018-039-0048.sam | 241 | 29.881 | 29.8813 | 0.33371 | 0.00029373 | 0.31 | 0.56445 | 0.022351 | 0.25445
2018-039-0048.mrg | 2018-039-0048.sam | 241 | 19.814 | 19.8136 | 0.19081 | -0.00043487 | 0.81 | 1.0753 | 0.029921 | 0.26525
2018-039-0048.mrg | 2018-039-0048.sam | 135 | 13.043 | 12.8108 | 0.6084 | -0.23219 | 0.85 | 1.0846 | 0.014208 | 0.23464
2018-039-0048.mrg | 2018-039-0048.sam | 442 | 5.756 | 5.8163 | 0.47632 | 0.060306 | 0.86 | 1.0765 | 0.011477 | 0.21653
2018-039-0052.mrg | 2018-039-0052.sam | 108 | 50.689 | 50.807 | 0.62134 | 0.11797 | 0.18 | 0.3162 | 0.029272 | 0.1362
2018-039-0052.mrg | 2018-039-0052.sam | 241 | 29.255 | 29.2549 | 0.37607 | -0.00013161 | 0.66 | 0.77373 | 0.038321 | 0.11373
2018-039-0052.mrg | 2018-039-0052.sam | 241 | 20.45 | 20.4499 | 0.36916 | -8.7738e-05 | 0.82 | 0.86138 | 0.016308 | 0.041378
2018-039-0052.mrg | 2018-039-0052.sam | 241 | 9.796 | 9.7962 | 0.26318 | 0.00014591 | 1.09 | 1.2221 | 0.018224 | 0.13213
2018-039-0052.mrg | 2018-039-0052.sam | 207 | 5.271 | 5.4826 | 0.49794 | 0.21161 | 1.16 | 1.1705 | 0.025525 | 0.010502
2018-039-0056.mrg | 2018-039-0056.sam | 241 | 50.628 | 50.6284 | 0.29994 | 0.00037384 | 0.4 | 0.51037 | 0.015075 | 0.11037
2018-039-0056.mrg | 2018-039-0056.sam | 241 | 29.652 | 29.6523 | 0.42511 | 0.00032806 | 2.03 | 1.3608 | 0.18392 | -0.66924
2018-039-0056.mrg | 2018-039-0056.sam | 241 | 19.52 | 19.5199 | 0.24483 | -9.1553e-05 | 1.19 | 0.98196 | 0.090037 | -0.20804
2018-039-0056.mrg | 2018-039-0056.sam | 241 | 9.984 | 9.9844 | 0.25856 | 0.00041485 | 1.3 | 0.7301 | 0.043085 | -0.5699
2018-039-0056.mrg | 2018-039-0056.sam | 241 | 4.905 | 4.9046 | 0.11994 | -0.00041533 | 1.22 | 0.69735 | 0.071527 | -0.52265
2018-039-0059.mrg | 2018-039-0059.sam | 241 | 49.597 | 49.5969 | 0.24741 | -0.000103 | 0.44 | 0.41607 | 0.067263 | -0.023929
2018-039-0059.mrg | 2018-039-0059.sam | 241 | 29.2 | 29.1998 | 0.11417 | -0.00018311 | 1.11 | 0.74281 | 0.085801 | -0.36719
2018-039-0059.mrg | 2018-039-0059.sam | 367 | 19.852 | 19.8421 | 0.084057 | -0.0099049 | 2.69 | 2.1152 | 0.23772 | -0.57479
2018-039-0059.mrg | 2018-039-0059.sam | 241 | 10.087 | 10.0869 | 0.23616 | -0.00012398 | 1.2 | 0.90095 | 0.05047 | -0.29905
2018-039-0059.mrg | 2018-039-0059.sam | 293 | 4.457 | 4.4463 | 0.19807 | -0.010686 | 0.94 | 0.38537 | 0.02059 | -0.55463
2018-039-0061.mrg | 2018-039-0061.sam | 241 | 50.776 | 50.7756 | 0.20294 | -0.00037766 | 0.49 | 0.36098 | 0.028401 | -0.12902
2018-039-0061.mrg | 2018-039-0061.sam | 241 | 29.859 | 29.8587 | 0.39293 | -0.00032234 | 1.65 | 1.0654 | 0.14813 | -0.58463
2018-039-0061.mrg | 2018-039-0061.sam | 241 | 20.302 | 20.302 | 0.34254 | 4.1962e-05 | 5.41 | 5.1288 | 0.47095 | -0.28124
2018-039-0061.mrg | 2018-039-0061.sam | 241 | 9.489 | 9.4894 | 0.33915 | 0.00044346 | 0.62 | 0.38467 | 0.028903 | -0.23533
2018-039-0061.mrg | 2018-039-0061.sam | 305 | 4.806 | 4.8119 | 0.34548 | 0.005908 | 0.45 | 0.25563 | 0.014389 | -0.19437
2018-039-0062.mrg | 2018-039-0062.sam | 241 | 49.785 | 49.7849 | 0.29031 | -6.485e-05 | 0.26 | 0.22199 | 0.022426 | -0.038008
2018-039-0062.mrg | 2018-039-0062.sam | 241 | 30.06 | 30.0604 | 0.14252 | 0.00044823 | 0.7 | 0.48658 | 0.061343 | -0.21342
2018-039-0062.mrg | 2018-039-0062.sam | 241 | 19.775 | 19.7749 | 0.11872 | -5.722e-05 | 1.89 | 0.95874 | 0.097499 | -0.93126
2018-039-0062.mrg | 2018-039-0062.sam | 241 | 9.92 | 9.9202 | 0.083224 | 0.00021172 | 7.88 | 10.5325 | 0.38372 | 2.6525
2018-039-0062.mrg | 2018-039-0062.sam | 241 | 4.884 | 4.8841 | 0.19986 | 9.5844e-05 | 5.29 | 7.8153 | 0.58387 | 2.5253
2018-039-0065.mrg | 2018-039-0065.sam | 241 | 34.713 | 34.7129 | 0.178 | -9.1553e-05 | 0.79 | 0.53702 | 0.1508 | -0.25298
2018-039-0065.mrg | 2018-039-0065.sam | 241 | 29.407 | 29.4074 | 0.059187 | 0.00035667 | 0.81 | 0.612 | 0.11251 | -0.198
2018-039-0065.mrg | 2018-039-0065.sam | 241 | 19.897 | 19.8974 | 0.1758 | 0.00037384 | 0.23 | 5.3202 | 0.50251 | 5.0902
2018-039-0065.mrg | 2018-039-0065.sam | 241 | 10.109 | 10.1092 | 0.24182 | 0.00021172 | 4.16 | 3.6221 | 0.25597 | -0.53787
2018-039-0065.mrg | 2018-039-0065.sam | 241 | 5.058 | 5.0585 | 0.16927 | 0.00047731 | 0.64 | 0.70788 | 0.074402 | 0.067876
2018-039-0067.mrg | 2018-039-0067.sam | 241 | 52.901 | 52.9005 | 0.13586 | -0.00047302 | 0.77 | 0.50852 | 0.035705 | -0.26149
2018-039-0067.mrg | 2018-039-0067.sam | 241 | 30.399 | 30.3993 | 0.14033 | 0.00026894 | 1.77 | 1.0718 | 0.099208 | -0.69823
2018-039-0067.mrg | 2018-039-0067.sam | 241 | 20.45 | 20.4504 | 0.13701 | 0.00035667 | 2.99 | 3.1189 | 0.16931 | 0.12891
2018-039-0067.mrg | 2018-039-0067.sam | 241 | 9.896 | 9.8957 | 0.16042 | -0.00026989 | 0.68 | 3.6376 | 0.2131 | 2.9576
2018-039-0067.mrg | 2018-039-0067.sam | 241 | 4.423 | 4.4229 | 0.38442 | -0.00014114 | 0.41 | 0.57671 | 0.045949 | 0.16671
2018-039-0068.mrg | 2018-039-0068.sam | 241 | 48.437 | 48.4369 | 0.12955 | -0.00014877 | 0.21 | 0.23814 | 0.01768 | 0.028145
2018-039-0068.mrg | 2018-039-0068.sam | 241 | 30.324 | 30.3243 | 0.38048 | 0.00032043 | 0.44 | 0.39855 | 0.036555 | -0.041452
2018-039-0068.mrg | 2018-039-0068.sam | 241 | 20.253 | 20.2534 | 0.27448 | 0.00035286 | 0.6 | 0.56795 | 0.059003 | -0.032054
2018-039-0068.mrg | 2018-039-0068.sam | 241 | 10.818 | 10.8184 | 0.13725 | 0.00044441 | 0.79 | 0.8325 | 0.018129 | 0.042498
2018-039-0068.mrg | 2018-039-0068.sam | 241 | 5.1 | 5.0997 | 0.23389 | -0.00026941 | 0.59 | 0.72541 | 0.041096 | 0.13541
2018-039-0070.mrg | 2018-039-0070.sam | 241 | 49.691 | 49.6913 | 0.43802 | 0.00032043 | 0.18 | 0.25209 | 0.022822 | 0.072087
2018-039-0070.mrg | 2018-039-0070.sam | 241 | 30.961 | 30.9611 | 0.49987 | 7.0572e-05 | 0.41 | 0.4519 | 0.059985 | 0.041896
2018-039-0070.mrg | 2018-039-0070.sam | 241 | 20.235 | 20.2349 | 0.27166 | -5.9128e-05 | 0.56 | 0.61411 | 0.047171 | 0.054112
2018-039-0070.mrg | 2018-039-0070.sam | 241 | 10.3 | 10.3003 | 0.32546 | 0.00033569 | 1.02 | 0.79499 | 0.05561 | -0.22501
2018-039-0070.mrg | 2018-039-0070.sam | 568 | 4.805 | 4.8089 | 0.33377 | 0.003942 | 1.09 | 1.0324 | 0.060047 | -0.057593
2018-039-0073.mrg | 2018-039-0073.sam | 241 | 49.88 | 49.88 | 0.2939 | -1.9073e-05 | 0.1 | 0.16284 | 0.0083792 | 0.062838
2018-039-0073.mrg | 2018-039-0073.sam | 241 | 30.118 | 30.118 | 0.46362 | 3.8147e-05 | 1.29 | 1.3751 | 0.090548 | 0.085046
2018-039-0073.mrg | 2018-039-0073.sam | 241 | 20.152 | 20.1521 | 0.23151 | 0.00013161 | 2.03 | 2.5595 | 0.2196 | 0.52947
2018-039-0073.mrg | 2018-039-0073.sam | 241 | 9.998 | 9.9982 | 0.37368 | 0.00017834 | 0.82 | 1.099 | 0.097939 | 0.27896
2018-039-0073.mrg | 2018-039-0073.sam | 241 | 6.089 | 6.0886 | 0.23673 | -0.00038195 | 0.8 | 1.0901 | 0.071093 | 0.29009
2018-039-0075.mrg | 2018-039-0075.sam | 241 | 50.43 | 50.4297 | 0.18631 | -0.00031662 | 0.23 | 0.42478 | 0.012543 | 0.19478
2018-039-0075.mrg | 2018-039-0075.sam | 162 | 30.493 | 30.5234 | 0.60295 | 0.03042 | 0.66 | 1.1859 | 0.024315 | 0.52589
2018-039-0075.mrg | 2018-039-0075.sam | 241 | 19.803 | 19.8029 | 0.31922 | -0.00012779 | 0.63 | 1.3334 | 0.028851 | 0.70339
2018-039-0075.mrg | 2018-039-0075.sam | 241 | 10.057 | 10.0574 | 0.2594 | 0.00038528 | 0.65 | 0.89973 | 0.019442 | 0.24973
2018-039-0075.mrg | 2018-039-0075.sam | 385 | 4.643 | 4.6758 | 0.37027 | 0.032815 | 0.72 | 0.91212 | 0.020482 | 0.19212
2018-039-0081.mrg | 2018-039-0081.sam | 241 | 27.678 | 27.6783 | 0.67253 | 0.00025749 | 0.68 | 1.1277 | 0.062821 | 0.44766
2018-039-0081.mrg | 2018-039-0081.sam | 241 | 4.622 | 4.6223 | 0.4268 | 0.00025272 | 0.26 | 0.26077 | 0.007206 | 0.00077179
2018-039-0086.mrg | 2018-039-0086.sam | 241 | 5.441 | 5.4408 | 0.20374 | -0.00021982 | 2.07 | 1.9778 | 0.052815 | -0.092232
2018-039-0091.mrg | 2018-039-0091.sam | 235 | 49.638 | 49.6648 | 0.50325 | 0.026764 | 0.03 | 0.18351 | 0.0082116 | 0.15351
2018-039-0091.mrg | 2018-039-0091.sam | 482 | 20.25 | 20.2548 | 0.16122 | 0.0047779 | 0.28 | 0.53741 | 0.021368 | 0.25741
2018-039-0091.mrg | 2018-039-0091.sam | 241 | 9.92 | 9.9204 | 0.44916 | 0.00040245 | 0.38 | 0.37817 | 0.013154 | -0.0018299
2018-039-0091.mrg | 2018-039-0091.sam | 241 | 4.808 | 4.8078 | 0.35463 | -0.00019074 | 1.42 | 1.0694 | 0.089506 | -0.35058
2018-039-0094.mrg | 2018-039-0094.sam | 241 | 49.208 | 49.2079 | 0.20984 | -0.00012207 | 0.04 | 0.11583 | 0.0088385 | 0.075826
2018-039-0094.mrg | 2018-039-0094.sam | 241 | 29.851 | 29.8505 | 0.19827 | -0.00047684 | 0.25 | 0.41403 | 0.031646 | 0.16403
2018-039-0094.mrg | 2018-039-0094.sam | 241 | 20.065 | 20.0652 | 0.50942 | 0.00023651 | 0.71 | 0.87436 | 0.089487 | 0.16436
2018-039-0094.mrg | 2018-039-0094.sam | 482 | 9.947 | 9.9237 | 0.45187 | -0.023355 | 1.67 | 2.0293 | 0.14468 | 0.35926
2018-039-0094.mrg | 2018-039-0094.sam | 308 | 5.813 | 5.852 | 0.23022 | 0.039016 | 1.24 | 1.9362 | 0.11684 | 0.69621
2018-039-0110.mrg | 2018-039-0110.sam | 241 | 50.298 | 50.2979 | 0.40259 | -9.5367e-05 | 0.16 | 0.40069 | 0.033931 | 0.24069
2018-039-0110.mrg | 2018-039-0110.sam | 241 | 30.223 | 30.2227 | 0.46798 | -0.0003109 | 0.34 | 0.76679 | 0.018333 | 0.42679
2018-039-0110.mrg | 2018-039-0110.sam | 241 | 19.859 | 19.859 | 0.28844 | 1.3351e-05 | 0.52 | 1.2543 | 0.080503 | 0.73434
2018-039-0110.mrg | 2018-039-0110.sam | 218 | 9.614 | 9.7459 | 0.47465 | 0.13192 | 0.89 | 0.81997 | 0.050907 | -0.070032
2018-039-0110.mrg | 2018-039-0110.sam | 286 | 5.013 | 5.0179 | 0.18785 | 0.0048599 | 0.8 | 0.56357 | 0.02203 | -0.23643
2018-039-0114.mrg | 2018-039-0114.sam | 241 | 50.534 | 50.5338 | 0.31033 | -0.0001564 | 0.24 | 0.9804 | 0.012183 | 0.7404
2018-039-0114.mrg | 2018-039-0114.sam | 241 | 30.773 | 30.7734 | 0.45572 | 0.0003643 | 0.59 | 1.7486 | 0.018796 | 1.1586
2018-039-0114.mrg | 2018-039-0114.sam | 241 | 20.244 | 20.2435 | 0.39167 | -0.00048065 | 1.51 | 2.3098 | 0.023213 | 0.7998
2018-039-0114.mrg | 2018-039-0114.sam | 241 | 9.753 | 9.7532 | 0.20766 | 0.00021934 | 1.67 | 2.4119 | 0.027044 | 0.74187
2018-039-0114.mrg | 2018-039-0114.sam | 241 | 4.417 | 4.4173 | 0.32942 | 0.00031138 | 1.48 | 2.3964 | 0.028369 | 0.91641
2018-039-0118.mrg | 2018-039-0118.sam | 241 | 50.16 | 50.16 | 0.37406 | 3.8147e-05 | 0.35 | 0.46317 | 0.040488 | 0.11317
2018-039-0118.mrg | 2018-039-0118.sam | 207 | 30.023 | 30.1794 | 0.63852 | 0.15638 | 1.09 | 0.99289 | 0.0811 | -0.097106
2018-039-0118.mrg | 2018-039-0118.sam | 241 | 20.428 | 20.4277 | 0.3489 | -0.00027657 | 1.59 | 1.3602 | 0.10809 | -0.22979
2018-039-0118.mrg | 2018-039-0118.sam | 241 | 10.014 | 10.0141 | 0.21574 | 8.297e-05 | 3.55 | 3.2652 | 0.23001 | -0.28477
2018-039-0118.mrg | 2018-039-0118.sam | 241 | 5.486 | 5.4862 | 0.40668 | 0.00014496 | 3.53 | 3.5583 | 0.24909 | 0.028315
2018-039-0129.mrg | 2018-039-0129.sam | 241 | 49.324 | 49.3242 | 0.56513 | 0.00024796 | 0.95 | 0.72392 | 0.12149 | -0.22608
2018-039-0129.mrg | 2018-039-0129.sam | 241 | 29.524 | 29.5244 | 0.32553 | 0.00042343 | 1.28 | 0.72125 | 0.10652 | -0.55875
2018-039-0129.mrg | 2018-039-0129.sam | 241 | 20.065 | 20.0649 | 0.31466 | -0.0001049 | 6.47 | 2.7223 | 0.54086 | -3.7477
2018-039-0129.mrg | 2018-039-0129.sam | 241 | 10.176 | 10.1762 | 0.23785 | 0.0001955 | 5.53 | 6.8324 | 0.39528 | 1.3024
2018-039-0129.mrg | 2018-039-0129.sam | 385 | 5.504 | 5.4245 | 0.3407 | -0.079493 | 5.22 | 6.4806 | 0.29841 | 1.2606
2018-039-0135.mrg | 2018-039-0135.sam | 241 | 49.774 | 49.774 | 0.30333 | -1.1444e-05 | 0.24 | 0.34099 | 0.076184 | 0.10099
2018-039-0135.mrg | 2018-039-0135.sam | 241 | 29.982 | 29.9818 | 0.42939 | -0.0002079 | 0.37 | 0.52178 | 0.10099 | 0.15178
2018-039-0135.mrg | 2018-039-0135.sam | 241 | 19.977 | 19.9767 | 0.2935 | -0.00033188 | 0.37 | 0.48475 | 0.039649 | 0.11475
2018-039-0135.mrg | 2018-039-0135.sam | 422 | 10.334 | 10.4277 | 0.32686 | 0.093666 | 0.97 | 0.66366 | 0.050334 | -0.30634
2018-039-0135.mrg | 2018-039-0135.sam | 241 | 5.101 | 5.1011 | 0.30423 | 0.00013733 | 1.59 | 0.72686 | 0.036133 | -0.86314
2018-039-0142.mrg | 2018-039-0142.sam | 241 | 19.749 | 19.7487 | 0.31447 | -0.0003109 | 0.41 | 0.48597 | 0.021203 | 0.075975
2018-039-0142.mrg | 2018-039-0142.sam | 241 | 10.141 | 10.1413 | 0.097722 | 0.00032806 | 0.68 | 0.76617 | 0.045336 | 0.086166
2018-039-0142.mrg | 2018-039-0142.sam | 241 | 4.989 | 4.9888 | 0.2071 | -0.00018644 | 0.69 | 0.70693 | 0.032963 | 0.016929
2018-039-0147.mrg | 2018-039-0147.sam | 241 | 20.203 | 20.2028 | 0.25704 | -0.00022697 | 0.44 | 0.56202 | 0.015147 | 0.12202
2018-039-0147.mrg | 2018-039-0147.sam | 241 | 9.942 | 9.9415 | 0.24328 | -0.00046539 | 0.58 | 0.67982 | 0.014933 | 0.099818
2018-039-0147.mrg | 2018-039-0147.sam | 241 | 4.939 | 4.9394 | 0.36957 | 0.00040245 | 0.59 | 0.77409 | 0.014843 | 0.18409
2018-039-0148.mrg | 2018-039-0148.sam | 241 | 20.318 | 20.3179 | 0.1049 | -0.00015068 | 1.31 | 2.5532 | 0.092379 | 1.2432
2018-039-0148.mrg | 2018-039-0148.sam | 241 | 10.553 | 10.553 | 0.14956 | -4.5776e-05 | 1.58 | 2.617 | 0.079155 | 1.037
2018-039-0148.mrg | 2018-039-0148.sam | 241 | 5.435 | 5.4352 | 0.20468 | 0.0002532 | 2.12 | 3.0281 | 0.13522 | 0.9081
2018-039-0154.mrg | 2018-039-0154.sam | 241 | 30.233 | 30.2332 | 0.073221 | 0.0002327 | 2.9 | 1.9286 | 0.1818 | -0.97139
2018-039-0154.mrg | 2018-039-0154.sam | 241 | 20.01 | 20.0097 | 0.029839 | -0.00029945 | 3.61 | 2.4847 | 0.30135 | -1.1253
2018-039-0154.mrg | 2018-039-0154.sam | 241 | 9.774 | 9.7744 | 0.041712 | 0.00035286 | 5.46 | 4.2513 | 0.43824 | -1.2087
2018-039-0154.mrg | 2018-039-0154.sam | 241 | 4.512 | 4.5122 | 0.03811 | 0.00023651 | 6.25 | 3.1704 | 0.40948 | -3.0796
2018-039-0154.mrg | 2018-039-0154.sam | 216 | 1.506 | 1.5063 | 0.052913 | 0.00032401 | 6.57 | 1.7105 | 0.10788 | -4.8595
2018-039-0156.mrg | 2018-039-0156.sam | 241 | 30.286 | 30.2863 | 0.027425 | 0.00026321 | 0.93 | 0.68322 | 0.091056 | -0.24678
2018-039-0156.mrg | 2018-039-0156.sam | 241 | 20.069 | 20.0686 | 0.037283 | -0.00038147 | 0.87 | 0.74663 | 0.077176 | -0.12337
2018-039-0156.mrg | 2018-039-0156.sam | 241 | 10.205 | 10.2052 | 0.030235 | 0.00017452 | 1.17 | 0.99055 | 0.099165 | -0.17945
2018-039-0156.mrg | 2018-039-0156.sam | 241 | 4.591 | 4.5909 | 0.028942 | -5.8174e-05 | 1.22 | 1.0285 | 0.11272 | -0.19154
2018-039-0156.mrg | 2018-039-0156.sam | 241 | 1.622 | 1.622 | 0.034156 | -2.8968e-05 | 1.29 | 1.1018 | 0.10694 | -0.18815
2018-039-0157.mrg | 2018-039-0157.sam | 241 | 20.039 | 20.0387 | 0.025479 | -0.00026131 | 4.36 | 1.9207 | 0.18058 | -2.4392
2018-039-0157.mrg | 2018-039-0157.sam | 241 | 9.858 | 9.8584 | 0.025808 | 0.00044823 | 9.51 | 9.7511 | 0.72508 | 0.24106
2018-039-0157.mrg | 2018-039-0157.sam | 241 | 1.525 | 1.5246 | 0.040086 | -0.00043154 | 6.64 | 5.7511 | 0.22733 | -0.88891
2018-039-0164.mrg | 2018-039-0164.sam | 241 | 342.678 | 342.678 | 0.033527 | -0.00018311 | 0.05 | 0.12758 | 0.0061097 | 0.077581
2018-039-0164.mrg | 2018-039-0164.sam | 241 | 20.45 | 20.4503 | 0.027458 | 0.00031853 | 0.6 | 0.66747 | 0.026335 | 0.067473
2018-039-0166.mrg | 2018-039-0166.sam | 241 | 20.176 | 20.1764 | 0.026277 | 0.0003643 | 0.48 | 0.72189 | 0.038521 | 0.24189
2018-039-0166.mrg | 2018-039-0166.sam | 241 | 2.049 | 2.0485 | 0.031724 | -0.00047731 | 0.69 | 0.49262 | 0.012026 | -0.19738
2018-039-0169.mrg | 2018-039-0169.sam | 241 | 19.986 | 19.9855 | 0.026671 | -0.00046158 | 0.33 | 0.37946 | 0.039355 | 0.049456
2018-039-0169.mrg | 2018-039-0169.sam | 241 | 9.759 | 9.7585 | 0.027402 | -0.00047302 | 2.39 | 4.9898 | 0.4689 | 2.5998
2018-039-0169.mrg | 2018-039-0169.sam | 241 | 2.043 | 2.0432 | 0.040431 | 0.00018263 | 2.81 | 0.49441 | 0.01964 | -2.3156
2018-039-0171.mrg | 2018-039-0171.sam | 241 | 20.065 | 20.0648 | 0.055894 | -0.00024605 | 2 | 0.77868 | 0.11766 | -1.2213
2018-039-0171.mrg | 2018-039-0171.sam | 241 | 10.51 | 10.5101 | 0.029227 | 0.00013637 | 22.42 | 21.0725 | 1.1077 | -1.3475
2018-039-0171.mrg | 2018-039-0171.sam | 241 | 1.689 | 1.6894 | 0.04101 | 0.00042319 | 4.38 | 1.102 | 0.062452 | -3.278
2018-039-0173.mrg | 2018-039-0173.sam | 241 | 29.788 | 29.7884 | 0.025628 | 0.00040245 | 1.33 | 1.521 | 0.42933 | 0.191
2018-039-0173.mrg | 2018-039-0173.sam | 241 | 19.786 | 19.7858 | 0.030313 | -0.00015831 | 6.02 | 4.3515 | 0.38792 | -1.6685
2018-039-0173.mrg | 2018-039-0173.sam | 241 | 10.167 | 10.1668 | 0.033033 | -0.00016594 | 17.86 | 17.8756 | 0.63421 | 0.015568
2018-039-0173.mrg | 2018-039-0173.sam | 241 | 5.262 | 5.2618 | 0.03039 | -0.00024891 | 15.99 | 13.2279 | 0.7429 | -2.7621
2018-039-0173.mrg | 2018-039-0173.sam | 241 | 1.467 | 1.4666 | 0.037232 | -0.00044811 | 6.66 | 2.2583 | 0.69047 | -4.4017
2018-039-0175.mrg | 2018-039-0175.sam | 241 | 20.588 | 20.5875 | 0.05683 | -0.00045204 | 5.27 | 7.5348 | 1.0762 | 2.2648
2018-039-0175.mrg | 2018-039-0175.sam | 241 | 9.729 | 9.7289 | 0.040794 | -5.4359e-05 | 4.58 | 2.6007 | 0.25991 | -1.9793
2018-039-0175.mrg | 2018-039-0175.sam | 241 | 1.664 | 1.664 | 0.033612 | -4.1723e-06 | 2.51 | 1.6755 | 0.061693 | -0.83454
2018-039-0176.mrg | 2018-039-0176.sam | 241 | 29.652 | 29.6519 | 0.02899 | -8.7738e-05 | 1.02 | 0.85483 | 0.17587 | -0.16517
2018-039-0176.mrg | 2018-039-0176.sam | 241 | 19.905 | 19.9045 | 0.043196 | -0.00047302 | 2.82 | 2.1246 | 0.35751 | -0.69545
2018-039-0176.mrg | 2018-039-0176.sam | 241 | 9.854 | 9.854 | 0.03026 | -8.5831e-06 | 4.04 | 3.023 | 0.34035 | -1.017
2018-039-0176.mrg | 2018-039-0176.sam | 241 | 4.923 | 4.9228 | 0.032557 | -0.00016594 | 4.19 | 2.9101 | 0.29405 | -1.2799
2018-039-0176.mrg | 2018-039-0176.sam | 241 | 1.56 | 1.5597 | 0.035538 | -0.00030279 | 3.69 | 2.0971 | 0.11747 | -1.5929
2018-039-0180.mrg | 2018-039-0180.sam | 241 | 19.521 | 19.5209 | 0.050269 | -0.00013351 | 1.15 | 0.79599 | 0.070373 | -0.35401
2018-039-0180.mrg | 2018-039-0180.sam | 241 | 9.598 | 9.5983 | 0.03418 | 0.00032425 | 1.9 | 1.2779 | 0.11559 | -0.62207
2018-039-0180.mrg | 2018-039-0180.sam | 238 | 1.561 | 1.5612 | 0.06175 | 0.00020587 | 2.16 | 1.3555 | 0.082137 | -0.8045
2018-039-0182.mrg | 2018-039-0182.sam | 241 | 30.16 | 30.1605 | 0.022958 | 0.00045204 | 0.45 | 0.40856 | 0.10343 | -0.041444
2018-039-0182.mrg | 2018-039-0182.sam | 241 | 19.588 | 19.5878 | 0.027307 | -0.00022697 | 0.84 | 0.61364 | 0.1751 | -0.22636
2018-039-0182.mrg | 2018-039-0182.sam | 241 | 10.152 | 10.1515 | 0.028601 | -0.00046539 | 0.75 | 0.46881 | 0.034887 | -0.28119
2018-039-0182.mrg | 2018-039-0182.sam | 241 | 4.599 | 4.5986 | 0.031827 | -0.00040674 | 3.11 | 2.3311 | 0.12318 | -0.77886
2018-039-0182.mrg | 2018-039-0182.sam | 241 | 1.415 | 1.4154 | 0.045258 | 0.00036931 | 11.03 | 8.4559 | 0.40538 | -2.5741
Create Fit Sheet
Plot
Plot

## File List
Number of Files= |  | 56
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2018-039-0002.mrg | 2018-039-0002.sam | 11 | 15 | 2018-039-0002.mrg & 2018-039-0002.sam
2 | 2018-039-0005.mrg | 2018-039-0005.sam | 17 | 21 | 2018-039-0005.mrg & 2018-039-0005.sam
3 | 2018-039-0006.mrg | 2018-039-0006.sam | 23 | 26 | 2018-039-0006.mrg & 2018-039-0006.sam
4 | 2018-039-0007.mrg | 2018-039-0007.sam | 28 | 32 | 2018-039-0007.mrg & 2018-039-0007.sam
5 | 2018-039-0008.mrg | 2018-039-0008.sam | 34 | 34 | 2018-039-0008.mrg & 2018-039-0008.sam
6 | 2018-039-0009.mrg | 2018-039-0009.sam | 36 | 40 | 2018-039-0009.mrg & 2018-039-0009.sam
7 | 2018-039-0012.mrg | 2018-039-0012.sam | 42 | 45 | 2018-039-0012.mrg & 2018-039-0012.sam
8 | 2018-039-0013.mrg | 2018-039-0013.sam | 47 | 47 | 2018-039-0013.mrg & 2018-039-0013.sam
9 | 2018-039-0014.mrg | 2018-039-0014.sam | 49 | 53 | 2018-039-0014.mrg & 2018-039-0014.sam
10 | 2018-039-0021.mrg | 2018-039-0021.sam | 55 | 55 | 2018-039-0021.mrg & 2018-039-0021.sam
11 | 2018-039-0028.mrg | 2018-039-0028.sam | 57 | 61 | 2018-039-0028.mrg & 2018-039-0028.sam
12 | 2018-039-0029.mrg | 2018-039-0029.sam | 63 | 67 | 2018-039-0029.mrg & 2018-039-0029.sam
13 | 2018-039-0030.mrg | 2018-039-0030.sam | 69 | 69 | 2018-039-0030.mrg & 2018-039-0030.sam
14 | 2018-039-0032.mrg | 2018-039-0032.sam | 71 | 75 | 2018-039-0032.mrg & 2018-039-0032.sam
15 | 2018-039-0033.mrg | 2018-039-0033.sam | 77 | 81 | 2018-039-0033.mrg & 2018-039-0033.sam
16 | 2018-039-0034.mrg | 2018-039-0034.sam | 83 | 83 | 2018-039-0034.mrg & 2018-039-0034.sam
17 | 2018-039-0036.mrg | 2018-039-0036.sam | 85 | 89 | 2018-039-0036.mrg & 2018-039-0036.sam
18 | 2018-039-0037.mrg | 2018-039-0037.sam | 91 | 91 | 2018-039-0037.mrg & 2018-039-0037.sam
19 | 2018-039-0040.mrg | 2018-039-0040.sam | 93 | 93 | 2018-039-0040.mrg & 2018-039-0040.sam
20 | 2018-039-0045.mrg | 2018-039-0045.sam | 95 | 99 | 2018-039-0045.mrg & 2018-039-0045.sam
21 | 2018-039-0048.mrg | 2018-039-0048.sam | 101 | 105 | 2018-039-0048.mrg & 2018-039-0048.sam
22 | 2018-039-0052.mrg | 2018-039-0052.sam | 107 | 111 | 2018-039-0052.mrg & 2018-039-0052.sam
23 | 2018-039-0056.mrg | 2018-039-0056.sam | 113 | 117 | 2018-039-0056.mrg & 2018-039-0056.sam
24 | 2018-039-0059.mrg | 2018-039-0059.sam | 119 | 123 | 2018-039-0059.mrg & 2018-039-0059.sam
25 | 2018-039-0061.mrg | 2018-039-0061.sam | 125 | 129 | 2018-039-0061.mrg & 2018-039-0061.sam
26 | 2018-039-0062.mrg | 2018-039-0062.sam | 131 | 135 | 2018-039-0062.mrg & 2018-039-0062.sam
27 | 2018-039-0065.mrg | 2018-039-0065.sam | 137 | 141 | 2018-039-0065.mrg & 2018-039-0065.sam
28 | 2018-039-0067.mrg | 2018-039-0067.sam | 143 | 147 | 2018-039-0067.mrg & 2018-039-0067.sam
29 | 2018-039-0068.mrg | 2018-039-0068.sam | 149 | 153 | 2018-039-0068.mrg & 2018-039-0068.sam
30 | 2018-039-0070.mrg | 2018-039-0070.sam | 155 | 159 | 2018-039-0070.mrg & 2018-039-0070.sam
31 | 2018-039-0073.mrg | 2018-039-0073.sam | 161 | 165 | 2018-039-0073.mrg & 2018-039-0073.sam
32 | 2018-039-0075.mrg | 2018-039-0075.sam | 167 | 171 | 2018-039-0075.mrg & 2018-039-0075.sam
33 | 2018-039-0081.mrg | 2018-039-0081.sam | 173 | 174 | 2018-039-0081.mrg & 2018-039-0081.sam
34 | 2018-039-0086.mrg | 2018-039-0086.sam | 176 | 176 | 2018-039-0086.mrg & 2018-039-0086.sam
35 | 2018-039-0091.mrg | 2018-039-0091.sam | 178 | 181 | 2018-039-0091.mrg & 2018-039-0091.sam
36 | 2018-039-0094.mrg | 2018-039-0094.sam | 183 | 187 | 2018-039-0094.mrg & 2018-039-0094.sam
37 | 2018-039-0110.mrg | 2018-039-0110.sam | 189 | 193 | 2018-039-0110.mrg & 2018-039-0110.sam
38 | 2018-039-0114.mrg | 2018-039-0114.sam | 195 | 199 | 2018-039-0114.mrg & 2018-039-0114.sam
39 | 2018-039-0118.mrg | 2018-039-0118.sam | 201 | 205 | 2018-039-0118.mrg & 2018-039-0118.sam
40 | 2018-039-0129.mrg | 2018-039-0129.sam | 207 | 211 | 2018-039-0129.mrg & 2018-039-0129.sam
41 | 2018-039-0135.mrg | 2018-039-0135.sam | 213 | 217 | 2018-039-0135.mrg & 2018-039-0135.sam
42 | 2018-039-0142.mrg | 2018-039-0142.sam | 219 | 221 | 2018-039-0142.mrg & 2018-039-0142.sam
43 | 2018-039-0147.mrg | 2018-039-0147.sam | 223 | 225 | 2018-039-0147.mrg & 2018-039-0147.sam
44 | 2018-039-0148.mrg | 2018-039-0148.sam | 227 | 229 | 2018-039-0148.mrg & 2018-039-0148.sam
45 | 2018-039-0154.mrg | 2018-039-0154.sam | 231 | 235 | 2018-039-0154.mrg & 2018-039-0154.sam
46 | 2018-039-0156.mrg | 2018-039-0156.sam | 237 | 241 | 2018-039-0156.mrg & 2018-039-0156.sam
47 | 2018-039-0157.mrg | 2018-039-0157.sam | 243 | 245 | 2018-039-0157.mrg & 2018-039-0157.sam
48 | 2018-039-0164.mrg | 2018-039-0164.sam | 247 | 248 | 2018-039-0164.mrg & 2018-039-0164.sam
49 | 2018-039-0166.mrg | 2018-039-0166.sam | 250 | 251 | 2018-039-0166.mrg & 2018-039-0166.sam
50 | 2018-039-0169.mrg | 2018-039-0169.sam | 253 | 255 | 2018-039-0169.mrg & 2018-039-0169.sam
51 | 2018-039-0171.mrg | 2018-039-0171.sam | 257 | 259 | 2018-039-0171.mrg & 2018-039-0171.sam
52 | 2018-039-0173.mrg | 2018-039-0173.sam | 261 | 265 | 2018-039-0173.mrg & 2018-039-0173.sam
53 | 2018-039-0175.mrg | 2018-039-0175.sam | 267 | 269 | 2018-039-0175.mrg & 2018-039-0175.sam
54 | 2018-039-0176.mrg | 2018-039-0176.sam | 271 | 275 | 2018-039-0176.mrg & 2018-039-0176.sam
55 | 2018-039-0180.mrg | 2018-039-0180.sam | 277 | 279 | 2018-039-0180.mrg & 2018-039-0180.sam
56 | 2018-039-0182.mrg | 2018-039-0182.sam | 281 | 285 | 2018-039-0182.mrg & 2018-039-0182.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Fluor_CTD - CHL_BOT) | Fluor_CTD | 56

## Fit_1
Calculation of Linear Least Squares Fit For
(Fluor_CTD - CHL_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Fluor_CTD - CHL_BOT), Prop=Fluor_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0089591 |  | X | CALC Y
m= | -0.042823 | 0.030505 |  | Std Dev of Resid |  | 2.3283 |  | 0.11583 | -0.32239
b= | -0.31743 | 0.18117 |  | Resid Sum of Squares |  | 1181.7727 |  | 31.605 | -1.6709
# of Values Extracted = |  |  | 220
# of Values Used in Fit = |  |  | 220
File | Use | Pressure | Fluor_CTD | Fluor_CTD | Diff (Fluor_CTD - CHL_BOT) |  |  |  | Fit vs. | Fluor_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | File Pair | Pressure | CHL | Fluor | CHL | FL/CHL
1 | YES | 30.1602 | 0.74417 | 0.10077 | 0.054166 | -0.3493 | -0.40347 |  | 0.74417 | 0.054166 | 50 | 0.49441 | 2.81 | 0.49441 | 2.81 | 0.17595
1 | YES | 19.5102 | 0.78418 | 0.091177 | -0.20582 | -0.35102 | -0.1452 |  | 0.78418 | -0.20582 | 3 | 0.4834 | 2.56 | 0.4834 | 2.56 | 0.18883
1 | YES | 10.4747 | 0.84599 | 0.10363 | -0.14401 | -0.35366 | -0.20965 |  | 0.84599 | -0.14401 | 11 | 0.52968 | 2.5 | 0.52968 | 2.5 | 0.21187
1 | YES | 5.1413 | 0.90205 | 0.13342 | -0.077954 | -0.35606 | -0.27811 |  | 0.90205 | -0.077954 | 4 | 3.2735 | 14.49 | 3.2735 | 14.49 | 0.22592
1 | YES | 1.5002 | 0.88065 | 0.12184 | 0.32065 | -0.35515 | -0.6758 |  | 0.88065 | 0.32065 | 2 | 3.6823 | 14.75 | 3.6823 | 14.75 | 0.24965
2 | YES | 29.4601 | 3.4201 | 0.22705 | -2.5299 | -0.46389 | 2.066 |  | 3.4201 | -2.5299 | 51 | 1.102 | 4.38 | 1.102 | 4.38 | 0.2516
2 | YES | 19.1367 | 3.5801 | 0.20929 | -2.0399 | -0.47074 | 1.5692 |  | 3.5801 | -2.0399 | 45 | 1.7105 | 6.57 | 1.7105 | 6.57 | 0.26035
2 | YES | 11.4913 | 3.4295 | 0.21127 | -2.5005 | -0.4643 | 2.0362 |  | 3.4295 | -2.5005 | 9 | 9.5971 | 30.64 | 9.5971 | 30.64 | 0.31322
2 | YES | 5.2624 | 3.5415 | 0.26396 | -2.6885 | -0.46909 | 2.2194 |  | 3.5415 | -2.6885 | 52 | 2.2583 | 6.66 | 2.2583 | 6.66 | 0.33909
2 | YES | 2.0112 | 3.6823 | 0.27795 | -11.0677 | -0.47512 | 10.5926 |  | 3.6823 | -11.0677 | 51 | 0.77868 | 2 | 0.77868 | 2 | 0.38934
3 | YES | 26.2964 | 0.4834 | 0.023447 | -2.0766 | -0.33813 | 1.7385 |  | 0.4834 | -2.0766 | 24 | 0.38537 | 0.94 | 0.38537 | 0.94 | 0.40997
3 | YES | 20.3753 | 2.9452 | 0.10278 | -1.2448 | -0.44356 | 0.80123 |  | 2.9452 | -1.2448 | 40 | 2.7223 | 6.47 | 2.7223 | 6.47 | 0.42076
3 | YES | 10.454 | 16.3358 | 0.83325 | 1.1658 | -1.017 | -2.1828 |  | 16.3358 | 1.1658 | 47 | 1.9207 | 4.36 | 1.9207 | 4.36 | 0.44054
3 | YES | 4.9242 | 12.1918 | 0.34255 | 1.5018 | -0.83953 | -2.3413 |  | 12.1918 | 1.5018 | 41 | 0.72686 | 1.59 | 0.72686 | 1.59 | 0.45715
4 | YES | 46.0182 | 0.40643 | 0.014949 | -0.16357 | -0.33484 | -0.17127 |  | 0.40643 | -0.16357 | 17 | 1.107 | 2.37 | 1.107 | 2.37 | 0.46711
4 | YES | 30.1985 | 0.55794 | 0.018835 | -0.14206 | -0.34133 | -0.19927 |  | 0.55794 | -0.14206 | 9 | 1.0616 | 2.17 | 1.0616 | 2.17 | 0.48923
4 | YES | 20.1215 | 3.2735 | 0.20003 | -11.2165 | -0.45762 | 10.7589 |  | 3.2735 | -11.2165 | 6 | 9.0304 | 18 | 9.0304 | 18 | 0.50169
4 | YES | 10.6663 | 22.015 | 0.37511 | -1.415 | -1.2602 | 0.15481 |  | 22.015 | -1.415 | 26 | 0.95874 | 1.89 | 0.95874 | 1.89 | 0.50727
4 | YES | 5.092 | 24.7484 | 0.42276 | 2.3384 | -1.3772 | -3.7157 |  | 24.7484 | 2.3384 | 45 | 3.1704 | 6.25 | 3.1704 | 6.25 | 0.50727
5 | YES | 4.9878 | 22.7615 | 0.42893 | -1.7485 | -1.2922 | 0.45633 |  | 22.7615 | -1.7485 | 9 | 1.73 | 3.09 | 1.73 | 3.09 | 0.55988
6 | YES | 50.5013 | 0.78083 | 0.044713 | -0.40917 | -0.35087 | 0.058294 |  | 0.78083 | -0.40917 | 23 | 0.7301 | 1.3 | 0.7301 | 1.3 | 0.56161
6 | YES | 29.9813 | 7.9341 | 0.52843 | 1.2441 | -0.6572 | -1.9013 |  | 7.9341 | 1.2441 | 40 | 0.72125 | 1.28 | 0.72125 | 1.28 | 0.56348
6 | YES | 19.9963 | 9.0304 | 0.3439 | -8.9696 | -0.70415 | 8.2654 |  | 9.0304 | -8.9696 | 53 | 2.6007 | 4.58 | 2.6007 | 4.58 | 0.56784
6 | YES | 9.9784 | 22.9237 | 0.53588 | -0.41631 | -1.2991 | -0.88279 |  | 22.9237 | -0.41631 | 25 | 0.25563 | 0.45 | 0.25563 | 0.45 | 0.56806
6 | YES | 5.1382 | 15.8745 | 0.49294 | 2.9945 | -0.99723 | -3.9917 |  | 15.8745 | 2.9945 | 54 | 2.0971 | 3.69 | 2.0971 | 3.69 | 0.56833
7 | YES | 19.8694 | 8.9909 | 0.36019 | -3.7791 | -0.70245 | 3.0767 |  | 8.9909 | -3.7791 | 2 | 3.5415 | 6.23 | 3.5415 | 6.23 | 0.56845
7 | YES | 10.0267 | 25.5653 | 0.58629 | -6.5647 | -1.4122 | 5.1525 |  | 25.5653 | -6.5647 | 23 | 0.69735 | 1.22 | 0.69735 | 1.22 | 0.5716
7 | YES | 5.0306 | 31.605 | 0.79137 | 4.295 | -1.6709 | -5.9659 |  | 31.605 | 4.295 | 2 | 3.4201 | 5.95 | 3.4201 | 5.95 | 0.57481
7 | YES | 2.4272 | 23.6581 | 0.59236 | -2.8719 | -1.3306 | 1.5413 |  | 23.6581 | -2.8719 | 2 | 3.4295 | 5.93 | 3.4295 | 5.93 | 0.57833
8 | YES | 4.9781 | 10.2891 | 0.5632 | 1.1191 | -0.75805 | -1.8772 |  | 10.2891 | 1.1191 | 12 | 2.4901 | 4.13 | 2.4901 | 4.13 | 0.60293
9 | YES | 49.6539 | 0.50387 | 0.032729 | 0.013876 | -0.33901 | -0.35289 |  | 0.50387 | 0.013876 | 28 | 1.0718 | 1.77 | 1.0718 | 1.77 | 0.60552
9 | YES | 29.7305 | 1.0616 | 0.076704 | -1.1084 | -0.3629 | 0.74548 |  | 1.0616 | -1.1084 | 25 | 0.38467 | 0.62 | 0.38467 | 0.62 | 0.62044
9 | YES | 20.122 | 1.73 | 0.097204 | -1.36 | -0.39152 | 0.96844 |  | 1.73 | -1.36 | 56 | 0.46881 | 0.75 | 0.46881 | 0.75 | 0.62508
9 | YES | 9.2873 | 9.5971 | 1.1416 | -21.0429 | -0.72841 | 20.3145 |  | 9.5971 | -21.0429 | 55 | 1.3555 | 2.16 | 1.3555 | 2.16 | 0.62755
9 | YES | 4.7257 | 14.0977 | 0.45236 | -7.9223 | -0.92114 | 7.0012 |  | 14.0977 | -7.9223 | 2 | 3.5801 | 5.62 | 3.5801 | 5.62 | 0.63703
10 | YES | 4.3693 | 2.0779 | 0.11924 | 0.34786 | -0.40641 | -0.75427 |  | 2.0779 | 0.34786 | 9 | 14.0977 | 22.02 | 14.0977 | 22.02 | 0.64022
11 | YES | 49.7833 | 0.23594 | 0.0096801 | 0.0059419 | -0.32754 | -0.33348 |  | 0.23594 | 0.0059419 | 14 | 2.3143 | 3.59 | 2.3143 | 3.59 | 0.64465
11 | YES | 30.4923 | 0.35409 | 0.077594 | -0.015911 | -0.3326 | -0.31669 |  | 0.35409 | -0.015911 | 25 | 1.0654 | 1.65 | 1.0654 | 1.65 | 0.64568
11 | YES | 20.5057 | 0.52968 | 0.031497 | -1.9703 | -0.34012 | 1.6302 |  | 0.52968 | -1.9703 | 6 | 0.78083 | 1.19 | 0.78083 | 1.19 | 0.65616
11 | YES | 10.0071 | 1.6248 | 0.37454 | 0.56477 | -0.38701 | -0.95178 |  | 1.6248 | 0.56477 | 28 | 0.50852 | 0.77 | 0.50852 | 0.77 | 0.66041
11 | YES | 5.2543 | 0.54581 | 0.043337 | 0.12581 | -0.34081 | -0.46662 |  | 0.54581 | 0.12581 | 45 | 1.9286 | 2.9 | 1.9286 | 2.9 | 0.66504
12 | YES | 50.4807 | 0.33193 | 0.015025 | 0.041933 | -0.33165 | -0.37358 |  | 0.33193 | 0.041933 | 53 | 1.6755 | 2.51 | 1.6755 | 2.51 | 0.66751
12 | YES | 30.1073 | 0.67409 | 0.03791 | -0.16591 | -0.3463 | -0.18039 |  | 0.67409 | -0.16591 | 24 | 0.74281 | 1.11 | 0.74281 | 1.11 | 0.6692
12 | YES | 19.9906 | 2.4901 | 0.095047 | -1.6399 | -0.42407 | 1.2158 |  | 2.4901 | -1.6399 | 23 | 1.3608 | 2.03 | 1.3608 | 2.03 | 0.67032
12 | YES | 10.4837 | 1.8869 | 0.12987 | 0.28692 | -0.39824 | -0.68515 |  | 1.8869 | 0.28692 | 55 | 1.2779 | 1.9 | 1.2779 | 1.9 | 0.67259
12 | YES | 5.2105 | 1.6146 | 0.087237 | 0.68457 | -0.38657 | -1.0711 |  | 1.6146 | 0.68457 | 27 | 0.53702 | 0.79 | 0.53702 | 0.79 | 0.67977
13 | YES | 5.1712 | 4.8014 | 0.16638 | -0.77864 | -0.52304 | 0.2556 |  | 4.8014 | -0.77864 | 41 | 0.66366 | 0.97 | 0.66366 | 0.97 | 0.68418
14 | YES | 49.8144 | 0.42214 | 0.043984 | 0.14214 | -0.33551 | -0.47765 |  | 0.42214 | 0.14214 | 45 | 2.4847 | 3.61 | 2.4847 | 3.61 | 0.68829
14 | YES | 30.1583 | 2.3143 | 0.076305 | -1.2757 | -0.41654 | 0.85918 |  | 2.3143 | -1.2757 | 55 | 0.79599 | 1.15 | 0.79599 | 1.15 | 0.69216
14 | YES | 19.3845 | 0.99052 | 0.020637 | 0.00051868 | -0.35985 | -0.36037 |  | 0.99052 | 0.00051868 | 54 | 2.9101 | 4.19 | 2.9101 | 4.19 | 0.69454
14 | YES | 9.7602 | 0.88363 | 0.26127 | 0.17364 | -0.35527 | -0.52891 |  | 0.88363 | 0.17364 | 26 | 0.48658 | 0.7 | 0.48658 | 0.7 | 0.69511
14 | YES | 5.3337 | 0.63116 | 0.012401 | 0.081158 | -0.34446 | -0.42562 |  | 0.63116 | 0.081158 | 3 | 2.9452 | 4.19 | 2.9452 | 4.19 | 0.70291
15 | YES | 49.9591 | 0.25588 | 0.0095189 | 0.065876 | -0.32839 | -0.39427 |  | 0.25588 | 0.065876 | 7 | 8.9909 | 12.77 | 8.9909 | 12.77 | 0.70406
15 | YES | 29.724 | 0.66055 | 0.037906 | 0.10055 | -0.34572 | -0.44627 |  | 0.66055 | 0.10055 | 37 | 0.56357 | 0.8 | 0.56357 | 0.8 | 0.70446
15 | YES | 19.9454 | 2.1498 | 0.055968 | -0.44023 | -0.40949 | 0.030738 |  | 2.1498 | -0.44023 | 4 | 0.40643 | 0.57 | 0.40643 | 0.57 | 0.71303
15 | YES | 9.5129 | 1.08 | 0.047741 | -0.029996 | -0.36368 | -0.33369 |  | 1.08 | -0.029996 | 49 | 0.49262 | 0.69 | 0.49262 | 0.69 | 0.71394
15 | YES | 4.7032 | 0.48221 | 0.017629 | -0.097793 | -0.33808 | -0.24029 |  | 0.48221 | -0.097793 | 52 | 4.3515 | 6.02 | 4.3515 | 6.02 | 0.72284
16 | YES | 5.1789 | 1.1071 | 0.039993 | -0.082896 | -0.36484 | -0.28195 |  | 1.1071 | -0.082896 | 56 | 0.61364 | 0.84 | 0.61364 | 0.84 | 0.73053
17 | YES | 50.6215 | 0.35906 | 0.013647 | 0.17906 | -0.33281 | -0.51187 |  | 0.35906 | 0.17906 | 46 | 0.68322 | 0.93 | 0.68322 | 0.93 | 0.73465
17 | YES | 29.7052 | 1.0369 | 0.045927 | 0.19691 | -0.36184 | -0.55875 |  | 1.0369 | 0.19691 | 25 | 0.36098 | 0.49 | 0.36098 | 0.49 | 0.7367
17 | YES | 19.4986 | 10.5318 | 0.39542 | 6.2518 | -0.76844 | -7.0203 |  | 10.5318 | 6.2518 | 54 | 3.023 | 4.04 | 3.023 | 4.04 | 0.74826
17 | YES | 9.7606 | 2.5477 | 0.13101 | -0.3523 | -0.42654 | -0.07424 |  | 2.5477 | -0.3523 | 56 | 2.3311 | 3.11 | 2.3311 | 3.11 | 0.74956
17 | YES | 4.6989 | 1.107 | 0.051408 | -1.263 | -0.36484 | 0.89812 |  | 1.107 | -1.263 | 24 | 0.90095 | 1.2 | 0.90095 | 1.2 | 0.75079
18 | YES | 4.5748 | 0.55646 | 0.02199 | -0.053535 | -0.34126 | -0.28773 |  | 0.55646 | -0.053535 | 35 | 1.0694 | 1.42 | 1.0694 | 1.42 | 0.75311
19 | YES | 4.86 | 0.60852 | 0.018476 | 0.11852 | -0.34349 | -0.46201 |  | 0.60852 | 0.11852 | 54 | 2.1246 | 2.82 | 2.1246 | 2.82 | 0.75339
20 | YES | 49.9029 | 0.51126 | 0.019959 | 0.27126 | -0.33933 | -0.61058 |  | 0.51126 | 0.27126 | 27 | 0.612 | 0.81 | 0.612 | 0.81 | 0.75556
20 | YES | 30.27 | 1.2741 | 0.02983 | 0.40408 | -0.37199 | -0.77607 |  | 1.2741 | 0.40408 | 40 | 0.72392 | 0.95 | 0.72392 | 0.95 | 0.76202
20 | YES | 19.442 | 1.3563 | 0.044524 | 0.59634 | -0.37552 | -0.97186 |  | 1.3563 | 0.59634 | 56 | 8.4559 | 11.03 | 8.4559 | 11.03 | 0.76663
20 | YES | 10.0657 | 0.67081 | 0.016432 | 0.34081 | -0.34616 | -0.68697 |  | 0.67081 | 0.34081 | 45 | 4.2513 | 5.46 | 4.2513 | 5.46 | 0.77863
20 | YES | 5.489 | 0.66375 | 0.013848 | 0.38376 | -0.34586 | -0.72961 |  | 0.66375 | 0.38376 | 30 | 0.79499 | 1.02 | 0.79499 | 1.02 | 0.7794
21 | YES | 51.0049 | 0.30084 | 0.011593 | 0.13084 | -0.33032 | -0.46116 |  | 0.30084 | 0.13084 | 24 | 2.1152 | 2.69 | 2.1152 | 2.69 | 0.78632
21 | YES | 29.8813 | 0.56445 | 0.022351 | 0.25445 | -0.34161 | -0.59606 |  | 0.56445 | 0.25445 | 1 | 0.78418 | 0.99 | 0.78418 | 0.99 | 0.7921
21 | YES | 19.8136 | 1.0753 | 0.029921 | 0.26525 | -0.36348 | -0.62873 |  | 1.0753 | 0.26525 | 7 | 25.5653 | 32.13 | 25.5653 | 32.13 | 0.79568
21 | YES | 12.8108 | 1.0846 | 0.014208 | 0.23464 | -0.36388 | -0.59852 |  | 1.0846 | 0.23464 | 4 | 0.55794 | 0.7 | 0.55794 | 0.7 | 0.79706
21 | YES | 5.8163 | 1.0765 | 0.011477 | 0.21653 | -0.36353 | -0.58007 |  | 1.0765 | 0.21653 | 12 | 0.67409 | 0.84 | 0.67409 | 0.84 | 0.80248
22 | YES | 50.807 | 0.3162 | 0.029272 | 0.1362 | -0.33097 | -0.46718 |  | 0.3162 | 0.1362 | 23 | 0.98196 | 1.19 | 0.98196 | 1.19 | 0.82518
22 | YES | 29.2549 | 0.77373 | 0.038321 | 0.11373 | -0.35057 | -0.4643 |  | 0.77373 | 0.11373 | 52 | 13.2279 | 15.99 | 13.2279 | 15.99 | 0.82726
22 | YES | 20.4499 | 0.86138 | 0.016308 | 0.041378 | -0.35432 | -0.3957 |  | 0.86138 | 0.041378 | 15 | 2.1498 | 2.59 | 2.1498 | 2.59 | 0.83003
22 | YES | 9.7962 | 1.2221 | 0.018224 | 0.13213 | -0.36977 | -0.5019 |  | 1.2221 | 0.13213 | 15 | 0.48221 | 0.58 | 0.48221 | 0.58 | 0.83139
22 | YES | 5.4826 | 1.1705 | 0.025525 | 0.010502 | -0.36756 | -0.37806 |  | 1.1705 | 0.010502 | 54 | 0.85483 | 1.02 | 0.85483 | 1.02 | 0.83806
23 | YES | 50.6284 | 0.51037 | 0.015075 | 0.11037 | -0.33929 | -0.44966 |  | 0.51037 | 0.11037 | 46 | 1.0285 | 1.22 | 1.0285 | 1.22 | 0.843
23 | YES | 29.6523 | 1.3608 | 0.18392 | -0.66924 | -0.37571 | 0.29354 |  | 1.3608 | -0.66924 | 46 | 0.99055 | 1.17 | 0.99055 | 1.17 | 0.84663
23 | YES | 19.5199 | 0.98196 | 0.090037 | -0.20804 | -0.35948 | -0.15145 |  | 0.98196 | -0.20804 | 26 | 0.22199 | 0.26 | 0.22199 | 0.26 | 0.85381
23 | YES | 9.9844 | 0.7301 | 0.043085 | -0.5699 | -0.3487 | 0.22121 |  | 0.7301 | -0.5699 | 46 | 1.1018 | 1.29 | 1.1018 | 1.29 | 0.85415
23 | YES | 4.9046 | 0.69735 | 0.071527 | -0.52265 | -0.3473 | 0.17535 |  | 0.69735 | -0.52265 | 1 | 0.84599 | 0.99 | 0.84599 | 0.99 | 0.85454
24 | YES | 49.5969 | 0.41607 | 0.067263 | -0.023929 | -0.33525 | -0.31132 |  | 0.41607 | -0.023929 | 39 | 1.3602 | 1.59 | 1.3602 | 1.59 | 0.85548
24 | YES | 29.1998 | 0.74281 | 0.085801 | -0.36719 | -0.34924 | 0.017944 |  | 0.74281 | -0.36719 | 46 | 0.74663 | 0.87 | 0.74663 | 0.87 | 0.8582
24 | YES | 19.8421 | 2.1152 | 0.23772 | -0.57479 | -0.40801 | 0.16678 |  | 2.1152 | -0.57479 | 13 | 4.8014 | 5.58 | 4.8014 | 5.58 | 0.86046
24 | YES | 10.0869 | 0.90095 | 0.05047 | -0.29905 | -0.35602 | -0.056965 |  | 0.90095 | -0.29905 | 47 | 5.7511 | 6.64 | 5.7511 | 6.64 | 0.86613
24 | YES | 4.4463 | 0.38537 | 0.02059 | -0.55463 | -0.33394 | 0.22069 |  | 0.38537 | -0.55463 | 27 | 3.6221 | 4.16 | 3.6221 | 4.16 | 0.8707
25 | YES | 50.7756 | 0.36098 | 0.028401 | -0.12902 | -0.33289 | -0.20388 |  | 0.36098 | -0.12902 | 17 | 2.5477 | 2.9 | 2.5477 | 2.9 | 0.87852
25 | YES | 29.8587 | 1.0654 | 0.14813 | -0.58463 | -0.36306 | 0.22157 |  | 1.0654 | -0.58463 | 7 | 23.6581 | 26.53 | 23.6581 | 26.53 | 0.89175
25 | YES | 20.302 | 5.1288 | 0.47095 | -0.28124 | -0.53706 | -0.25582 |  | 5.1288 | -0.28124 | 29 | 0.39855 | 0.44 | 0.39855 | 0.44 | 0.90579
25 | YES | 9.4894 | 0.38467 | 0.028903 | -0.23533 | -0.33391 | -0.098579 |  | 0.38467 | -0.23533 | 56 | 0.40856 | 0.45 | 0.40856 | 0.45 | 0.9079
25 | YES | 4.8119 | 0.25563 | 0.014389 | -0.19437 | -0.32838 | -0.13401 |  | 0.25563 | -0.19437 | 39 | 0.99289 | 1.09 | 0.99289 | 1.09 | 0.91091
26 | YES | 49.7849 | 0.22199 | 0.022426 | -0.038008 | -0.32694 | -0.28893 |  | 0.22199 | -0.038008 | 18 | 0.55646 | 0.61 | 0.55646 | 0.61 | 0.91224
26 | YES | 30.0604 | 0.48658 | 0.061343 | -0.21342 | -0.33827 | -0.12485 |  | 0.48658 | -0.21342 | 39 | 3.2652 | 3.55 | 3.2652 | 3.55 | 0.91978
26 | YES | 19.7749 | 0.95874 | 0.097499 | -0.93126 | -0.35849 | 0.57277 |  | 0.95874 | -0.93126 | 1 | 0.90205 | 0.98 | 0.90205 | 0.98 | 0.92045
26 | YES | 9.9202 | 10.5325 | 0.38372 | 2.6525 | -0.76847 | -3.4209 |  | 10.5325 | 2.6525 | 37 | 0.81997 | 0.89 | 0.81997 | 0.89 | 0.92131
26 | YES | 4.8841 | 7.8153 | 0.58387 | 2.5253 | -0.65211 | -3.1774 |  | 7.8153 | 2.5253 | 5 | 22.7615 | 24.51 | 22.7615 | 24.51 | 0.92866
27 | YES | 34.7129 | 0.53702 | 0.1508 | -0.25298 | -0.34043 | -0.087448 |  | 0.53702 | -0.25298 | 16 | 1.1071 | 1.19 | 1.1071 | 1.19 | 0.93034
27 | YES | 29.4074 | 0.612 | 0.11251 | -0.198 | -0.34364 | -0.14564 |  | 0.612 | -0.198 | 4 | 22.015 | 23.43 | 22.015 | 23.43 | 0.93961
27 | YES | 19.8974 | 5.3202 | 0.50251 | 5.0902 | -0.54526 | -5.6355 |  | 5.3202 | 5.0902 | 51 | 21.0725 | 22.42 | 21.0725 | 22.42 | 0.9399
27 | YES | 10.1092 | 3.6221 | 0.25597 | -0.53787 | -0.47255 | 0.065326 |  | 3.6221 | -0.53787 | 24 | 0.41607 | 0.44 | 0.41607 | 0.44 | 0.94562
27 | YES | 5.0585 | 0.70788 | 0.074402 | 0.067876 | -0.34775 | -0.41562 |  | 0.70788 | 0.067876 | 29 | 0.56795 | 0.6 | 0.56795 | 0.6 | 0.94658
28 | YES | 52.9005 | 0.50852 | 0.035705 | -0.26149 | -0.33921 | -0.077725 |  | 0.50852 | -0.26149 | 30 | 1.0324 | 1.09 | 1.0324 | 1.09 | 0.94716
28 | YES | 30.3993 | 1.0718 | 0.099208 | -0.69823 | -0.36333 | 0.3349 |  | 1.0718 | -0.69823 | 25 | 5.1288 | 5.41 | 5.1288 | 5.41 | 0.94801
28 | YES | 20.4504 | 3.1189 | 0.16931 | 0.12891 | -0.451 | -0.57991 |  | 3.1189 | 0.12891 | 34 | 1.9778 | 2.07 | 1.9778 | 2.07 | 0.95544
28 | YES | 9.8957 | 3.6376 | 0.2131 | 2.9576 | -0.47321 | -3.4308 |  | 3.6376 | 2.9576 | 11 | 0.35409 | 0.37 | 0.35409 | 0.37 | 0.957
28 | YES | 4.4229 | 0.57671 | 0.045949 | 0.16671 | -0.34213 | -0.50884 |  | 0.57671 | 0.16671 | 15 | 1.08 | 1.11 | 1.08 | 1.11 | 0.97298
29 | YES | 48.4369 | 0.23814 | 0.01768 | 0.028145 | -0.32763 | -0.35578 |  | 0.23814 | 0.028145 | 6 | 22.9237 | 23.34 | 22.9237 | 23.34 | 0.98216
29 | YES | 30.3243 | 0.39855 | 0.036555 | -0.041452 | -0.3345 | -0.29305 |  | 0.39855 | -0.041452 | 35 | 0.37817 | 0.38 | 0.37817 | 0.38 | 0.99518
29 | YES | 20.2534 | 0.56795 | 0.059003 | -0.032054 | -0.34176 | -0.3097 |  | 0.56795 | -0.032054 | 14 | 0.99052 | 0.99 | 0.99052 | 0.99 | 1.0005
29 | YES | 10.8184 | 0.8325 | 0.018129 | 0.042498 | -0.35308 | -0.39558 |  | 0.8325 | 0.042498 | 52 | 17.8756 | 17.86 | 17.8756 | 17.86 | 1.0009
29 | YES | 5.0997 | 0.72541 | 0.041096 | 0.13541 | -0.3485 | -0.48391 |  | 0.72541 | 0.13541 | 33 | 0.26077 | 0.26 | 0.26077 | 0.26 | 1.003
30 | YES | 49.6913 | 0.25209 | 0.022822 | 0.072087 | -0.32823 | -0.40032 |  | 0.25209 | 0.072087 | 39 | 3.5583 | 3.53 | 3.5583 | 3.53 | 1.008
30 | YES | 30.9611 | 0.4519 | 0.059985 | 0.041896 | -0.33679 | -0.37868 |  | 0.4519 | 0.041896 | 22 | 1.1705 | 1.16 | 1.1705 | 1.16 | 1.0091
30 | YES | 20.2349 | 0.61411 | 0.047171 | 0.054112 | -0.34373 | -0.39784 |  | 0.61411 | 0.054112 | 42 | 0.70693 | 0.69 | 0.70693 | 0.69 | 1.0245
30 | YES | 10.3003 | 0.79499 | 0.05561 | -0.22501 | -0.35148 | -0.12647 |  | 0.79499 | -0.22501 | 47 | 9.7511 | 9.51 | 9.7511 | 9.51 | 1.0253
30 | YES | 4.8089 | 1.0324 | 0.060047 | -0.057593 | -0.36164 | -0.30405 |  | 1.0324 | -0.057593 | 11 | 0.23594 | 0.23 | 0.23594 | 0.23 | 1.0258
31 | YES | 49.88 | 0.16284 | 0.0083792 | 0.062838 | -0.32441 | -0.38725 |  | 0.16284 | 0.062838 | 9 | 0.50387 | 0.49 | 0.50387 | 0.49 | 1.0283
31 | YES | 30.118 | 1.3751 | 0.090548 | 0.085046 | -0.37632 | -0.46136 |  | 1.3751 | 0.085046 | 28 | 3.1189 | 2.99 | 3.1189 | 2.99 | 1.0431
31 | YES | 20.1521 | 2.5595 | 0.2196 | 0.52947 | -0.42704 | -0.95651 |  | 2.5595 | 0.52947 | 22 | 0.86138 | 0.82 | 0.86138 | 0.82 | 1.0505
31 | YES | 9.9982 | 1.099 | 0.097939 | 0.27896 | -0.36449 | -0.64346 |  | 1.099 | 0.27896 | 29 | 0.8325 | 0.79 | 0.8325 | 0.79 | 1.0538
31 | YES | 6.0886 | 1.0901 | 0.071093 | 0.29009 | -0.36412 | -0.65421 |  | 1.0901 | 0.29009 | 31 | 1.3751 | 1.29 | 1.3751 | 1.29 | 1.0659
32 | YES | 50.4297 | 0.42478 | 0.012543 | 0.19478 | -0.33562 | -0.5304 |  | 0.42478 | 0.19478 | 3 | 16.3358 | 15.17 | 16.3358 | 15.17 | 1.0768
32 | YES | 30.5234 | 1.1859 | 0.024315 | 0.52589 | -0.36822 | -0.89411 |  | 1.1859 | 0.52589 | 1 | 0.74417 | 0.69 | 0.74417 | 0.69 | 1.0785
32 | YES | 19.8029 | 1.3334 | 0.028851 | 0.70339 | -0.37453 | -1.0779 |  | 1.3334 | 0.70339 | 30 | 0.61411 | 0.56 | 0.61411 | 0.56 | 1.0966
32 | YES | 10.0574 | 0.89973 | 0.019442 | 0.24973 | -0.35596 | -0.6057 |  | 0.89973 | 0.24973 | 30 | 0.4519 | 0.41 | 0.4519 | 0.41 | 1.1022
32 | YES | 4.6758 | 0.91212 | 0.020482 | 0.19212 | -0.35649 | -0.54862 |  | 0.91212 | 0.19212 | 4 | 24.7484 | 22.41 | 24.7484 | 22.41 | 1.1043
33 | YES | 27.6783 | 1.1277 | 0.062821 | 0.44766 | -0.36572 | -0.81338 |  | 1.1277 | 0.44766 | 27 | 0.70788 | 0.64 | 0.70788 | 0.64 | 1.1061
33 | YES | 4.6223 | 0.26077 | 0.007206 | 0.00077179 | -0.3286 | -0.32937 |  | 0.26077 | 0.00077179 | 48 | 0.66747 | 0.6 | 0.66747 | 0.6 | 1.1125
34 | YES | 5.4408 | 1.9778 | 0.052815 | -0.092232 | -0.40213 | -0.3099 |  | 1.9778 | -0.092232 | 22 | 1.2221 | 1.09 | 1.2221 | 1.09 | 1.1212
35 | YES | 49.6648 | 0.18351 | 0.0082116 | 0.15351 | -0.32529 | -0.4788 |  | 0.18351 | 0.15351 | 8 | 10.2891 | 9.17 | 10.2891 | 9.17 | 1.122
35 | YES | 20.2548 | 0.53741 | 0.021368 | 0.25741 | -0.34045 | -0.59786 |  | 0.53741 | 0.25741 | 42 | 0.76617 | 0.68 | 0.76617 | 0.68 | 1.1267
35 | YES | 9.9204 | 0.37817 | 0.013154 | -0.0018299 | -0.33363 | -0.3318 |  | 0.37817 | -0.0018299 | 29 | 0.23814 | 0.21 | 0.23814 | 0.21 | 1.134
35 | YES | 4.8078 | 1.0694 | 0.089506 | -0.35058 | -0.36323 | -0.012644 |  | 1.0694 | -0.35058 | 3 | 12.1918 | 10.69 | 12.1918 | 10.69 | 1.1405
36 | YES | 49.2079 | 0.11583 | 0.0088385 | 0.075826 | -0.32239 | -0.39822 |  | 0.11583 | 0.075826 | 52 | 1.521 | 1.33 | 1.521 | 1.33 | 1.1436
36 | YES | 29.8505 | 0.41403 | 0.031646 | 0.16403 | -0.33516 | -0.4992 |  | 0.41403 | 0.16403 | 12 | 0.33193 | 0.29 | 0.33193 | 0.29 | 1.1446
36 | YES | 20.0652 | 0.87436 | 0.089487 | 0.16436 | -0.35488 | -0.51924 |  | 0.87436 | 0.16436 | 14 | 0.63116 | 0.55 | 0.63116 | 0.55 | 1.1476
36 | YES | 9.9237 | 2.0293 | 0.14468 | 0.35926 | -0.40433 | -0.76359 |  | 2.0293 | 0.35926 | 50 | 0.37946 | 0.33 | 0.37946 | 0.33 | 1.1499
36 | YES | 5.852 | 1.9362 | 0.11684 | 0.69621 | -0.40035 | -1.0966 |  | 1.9362 | 0.69621 | 7 | 31.605 | 27.31 | 31.605 | 27.31 | 1.1573
37 | YES | 50.2979 | 0.40069 | 0.033931 | 0.24069 | -0.33459 | -0.57528 |  | 0.40069 | 0.24069 | 43 | 0.67982 | 0.58 | 0.67982 | 0.58 | 1.1721
37 | YES | 30.2227 | 0.76679 | 0.018333 | 0.42679 | -0.35027 | -0.77706 |  | 0.76679 | 0.42679 | 22 | 0.77373 | 0.66 | 0.77373 | 0.66 | 1.1723
37 | YES | 19.859 | 1.2543 | 0.080503 | 0.73434 | -0.37115 | -1.1055 |  | 1.2543 | 0.73434 | 12 | 1.8869 | 1.6 | 1.8869 | 1.6 | 1.1793
37 | YES | 9.7459 | 0.81997 | 0.050907 | -0.070032 | -0.35255 | -0.28252 |  | 0.81997 | -0.070032 | 15 | 0.66055 | 0.56 | 0.66055 | 0.56 | 1.1796
37 | YES | 5.0179 | 0.56357 | 0.02203 | -0.23643 | -0.34157 | -0.10514 |  | 0.56357 | -0.23643 | 42 | 0.48597 | 0.41 | 0.48597 | 0.41 | 1.1853
38 | YES | 50.5338 | 0.9804 | 0.012183 | 0.7404 | -0.35942 | -1.0998 |  | 0.9804 | 0.7404 | 6 | 7.9341 | 6.69 | 7.9341 | 6.69 | 1.186
38 | YES | 30.7734 | 1.7486 | 0.018796 | 1.1586 | -0.39232 | -1.551 |  | 1.7486 | 1.1586 | 10 | 2.0779 | 1.73 | 2.0779 | 1.73 | 1.2011
38 | YES | 20.2435 | 2.3098 | 0.023213 | 0.7998 | -0.41635 | -1.2161 |  | 2.3098 | 0.7998 | 36 | 2.0293 | 1.67 | 2.0293 | 1.67 | 1.2151
38 | YES | 9.7532 | 2.4119 | 0.027044 | 0.74187 | -0.42072 | -1.1626 |  | 2.4119 | 0.74187 | 29 | 0.72541 | 0.59 | 0.72541 | 0.59 | 1.2295
38 | YES | 4.4173 | 2.3964 | 0.028369 | 0.91641 | -0.42006 | -1.3365 |  | 2.3964 | 0.91641 | 36 | 0.87436 | 0.71 | 0.87436 | 0.71 | 1.2315
39 | YES | 50.16 | 0.46317 | 0.040488 | 0.11317 | -0.33727 | -0.45043 |  | 0.46317 | 0.11317 | 6 | 15.8745 | 12.88 | 15.8745 | 12.88 | 1.2325
39 | YES | 30.1794 | 0.99289 | 0.0811 | -0.097106 | -0.35995 | -0.26285 |  | 0.99289 | -0.097106 | 17 | 1.0369 | 0.84 | 1.0369 | 0.84 | 1.2344
39 | YES | 20.4277 | 1.3602 | 0.10809 | -0.22979 | -0.37568 | -0.14589 |  | 1.3602 | -0.22979 | 40 | 6.8324 | 5.53 | 6.8324 | 5.53 | 1.2355
39 | YES | 10.0141 | 3.2652 | 0.23001 | -0.28477 | -0.45726 | -0.17249 |  | 3.2652 | -0.28477 | 40 | 6.4806 | 5.22 | 6.4806 | 5.22 | 1.2415
39 | YES | 5.4862 | 3.5583 | 0.24909 | 0.028315 | -0.46981 | -0.49813 |  | 3.5583 | 0.028315 | 19 | 0.60852 | 0.49 | 0.60852 | 0.49 | 1.2419
40 | YES | 49.3242 | 0.72392 | 0.12149 | -0.22608 | -0.34843 | -0.12236 |  | 0.72392 | -0.22608 | 14 | 0.88363 | 0.71 | 0.88363 | 0.71 | 1.2446
40 | YES | 29.5244 | 0.72125 | 0.10652 | -0.55875 | -0.34832 | 0.21043 |  | 0.72125 | -0.55875 | 21 | 1.0765 | 0.86 | 1.0765 | 0.86 | 1.2518
40 | YES | 20.0649 | 2.7223 | 0.54086 | -3.7477 | -0.43401 | 3.3137 |  | 2.7223 | -3.7477 | 31 | 2.5595 | 2.03 | 2.5595 | 2.03 | 1.2608
40 | YES | 10.1762 | 6.8324 | 0.39528 | 1.3024 | -0.61002 | -1.9125 |  | 6.8324 | 1.3024 | 32 | 0.91212 | 0.72 | 0.91212 | 0.72 | 1.2668
40 | YES | 5.4245 | 6.4806 | 0.29841 | 1.2606 | -0.59495 | -1.8556 |  | 6.4806 | 1.2606 | 23 | 0.51037 | 0.4 | 0.51037 | 0.4 | 1.2759
41 | YES | 49.774 | 0.34099 | 0.076184 | 0.10099 | -0.33204 | -0.43302 |  | 0.34099 | 0.10099 | 21 | 1.0846 | 0.85 | 1.0846 | 0.85 | 1.276
41 | YES | 29.9818 | 0.52178 | 0.10099 | 0.15178 | -0.33978 | -0.49156 |  | 0.52178 | 0.15178 | 43 | 0.56202 | 0.44 | 0.56202 | 0.44 | 1.2773
41 | YES | 19.9767 | 0.48475 | 0.039649 | 0.11475 | -0.33819 | -0.45294 |  | 0.48475 | 0.11475 | 11 | 0.54581 | 0.42 | 0.54581 | 0.42 | 1.2995
41 | YES | 10.4277 | 0.66366 | 0.050334 | -0.30634 | -0.34585 | -0.03951 |  | 0.66366 | -0.30634 | 41 | 0.48475 | 0.37 | 0.48475 | 0.37 | 1.3101
41 | YES | 5.1011 | 0.72686 | 0.036133 | -0.86314 | -0.34856 | 0.51458 |  | 0.72686 | -0.86314 | 43 | 0.77409 | 0.59 | 0.77409 | 0.59 | 1.312
42 | YES | 19.7487 | 0.48597 | 0.021203 | 0.075975 | -0.33824 | -0.41422 |  | 0.48597 | 0.075975 | 39 | 0.46317 | 0.35 | 0.46317 | 0.35 | 1.3233
42 | YES | 10.1413 | 0.76617 | 0.045336 | 0.086166 | -0.35024 | -0.43641 |  | 0.76617 | 0.086166 | 21 | 1.0753 | 0.81 | 1.0753 | 0.81 | 1.3275
42 | YES | 4.9888 | 0.70693 | 0.032963 | 0.016929 | -0.34771 | -0.36464 |  | 0.70693 | 0.016929 | 26 | 10.5325 | 7.88 | 10.5325 | 7.88 | 1.3366
43 | YES | 20.2028 | 0.56202 | 0.015147 | 0.12202 | -0.3415 | -0.46352 |  | 0.56202 | 0.12202 | 31 | 1.099 | 0.82 | 1.099 | 0.82 | 1.3402
43 | YES | 9.9415 | 0.67982 | 0.014933 | 0.099818 | -0.34655 | -0.44636 |  | 0.67982 | 0.099818 | 15 | 0.25588 | 0.19 | 0.25588 | 0.19 | 1.3467
43 | YES | 4.9394 | 0.77409 | 0.014843 | 0.18409 | -0.35058 | -0.53467 |  | 0.77409 | 0.18409 | 31 | 1.0901 | 0.8 | 1.0901 | 0.8 | 1.3626
44 | YES | 20.3179 | 2.5532 | 0.092379 | 1.2432 | -0.42677 | -1.67 |  | 2.5532 | 1.2432 | 32 | 0.89973 | 0.65 | 0.89973 | 0.65 | 1.3842
44 | YES | 10.553 | 2.617 | 0.079155 | 1.037 | -0.4295 | -1.4665 |  | 2.617 | 1.037 | 30 | 0.25209 | 0.18 | 0.25209 | 0.18 | 1.4005
44 | YES | 5.4352 | 3.0281 | 0.13522 | 0.9081 | -0.44711 | -1.3552 |  | 3.0281 | 0.9081 | 28 | 0.57671 | 0.41 | 0.57671 | 0.41 | 1.4066
45 | YES | 30.2332 | 1.9286 | 0.1818 | -0.97139 | -0.40002 | 0.57137 |  | 1.9286 | -0.97139 | 41 | 0.52178 | 0.37 | 0.52178 | 0.37 | 1.4102
45 | YES | 20.0097 | 2.4847 | 0.30135 | -1.1253 | -0.42384 | 0.70144 |  | 2.4847 | -1.1253 | 41 | 0.34099 | 0.24 | 0.34099 | 0.24 | 1.4208
45 | YES | 9.7744 | 4.2513 | 0.43824 | -1.2087 | -0.49949 | 0.70917 |  | 4.2513 | -1.2087 | 44 | 3.0281 | 2.12 | 3.0281 | 2.12 | 1.4284
45 | YES | 4.5122 | 3.1704 | 0.40948 | -3.0796 | -0.4532 | 2.6264 |  | 3.1704 | -3.0796 | 53 | 7.5348 | 5.27 | 7.5348 | 5.27 | 1.4297
45 | YES | 1.5063 | 1.7105 | 0.10788 | -4.8595 | -0.39068 | 4.4688 |  | 1.7105 | -4.8595 | 38 | 2.4119 | 1.67 | 2.4119 | 1.67 | 1.4442
46 | YES | 30.2863 | 0.68322 | 0.091056 | -0.24678 | -0.34669 | -0.099916 |  | 0.68322 | -0.24678 | 20 | 1.2741 | 0.87 | 1.2741 | 0.87 | 1.4645
46 | YES | 20.0686 | 0.74663 | 0.077176 | -0.12337 | -0.34941 | -0.22604 |  | 0.74663 | -0.12337 | 26 | 7.8153 | 5.29 | 7.8153 | 5.29 | 1.4774
46 | YES | 10.2052 | 0.99055 | 0.099165 | -0.17945 | -0.35985 | -0.1804 |  | 0.99055 | -0.17945 | 49 | 0.72189 | 0.48 | 0.72189 | 0.48 | 1.5039
46 | YES | 4.5909 | 1.0285 | 0.11272 | -0.19154 | -0.36148 | -0.16993 |  | 1.0285 | -0.19154 | 14 | 0.42214 | 0.28 | 0.42214 | 0.28 | 1.5076
46 | YES | 1.622 | 1.1018 | 0.10694 | -0.18815 | -0.36462 | -0.17647 |  | 1.1018 | -0.18815 | 38 | 2.3098 | 1.51 | 2.3098 | 1.51 | 1.5297
47 | YES | 20.0387 | 1.9207 | 0.18058 | -2.4392 | -0.39969 | 2.0396 |  | 1.9207 | -2.4392 | 11 | 1.6248 | 1.06 | 1.6248 | 1.06 | 1.5328
47 | YES | 9.8584 | 9.7511 | 0.72508 | 0.24106 | -0.73501 | -0.97606 |  | 9.7511 | 0.24106 | 36 | 1.9362 | 1.24 | 1.9362 | 1.24 | 1.5615
47 | YES | 1.5246 | 5.7511 | 0.22733 | -0.88891 | -0.56371 | 0.32519 |  | 5.7511 | -0.88891 | 1 | 0.88065 | 0.56 | 0.88065 | 0.56 | 1.5726
48 | YES | 342.678 | 0.12758 | 0.0061097 | 0.077581 | -0.3229 | -0.40048 |  | 0.12758 | 0.077581 | 38 | 2.3964 | 1.48 | 2.3964 | 1.48 | 1.6192
48 | YES | 20.4503 | 0.66747 | 0.026335 | 0.067473 | -0.34602 | -0.41349 |  | 0.66747 | 0.067473 | 31 | 0.16284 | 0.1 | 0.16284 | 0.1 | 1.6284
49 | YES | 20.1764 | 0.72189 | 0.038521 | 0.24189 | -0.34835 | -0.59024 |  | 0.72189 | 0.24189 | 36 | 0.41403 | 0.25 | 0.41403 | 0.25 | 1.6561
49 | YES | 2.0485 | 0.49262 | 0.012026 | -0.19738 | -0.33853 | -0.14115 |  | 0.49262 | -0.19738 | 44 | 2.617 | 1.58 | 2.617 | 1.58 | 1.6563
50 | YES | 19.9855 | 0.37946 | 0.039355 | 0.049456 | -0.33368 | -0.38314 |  | 0.37946 | 0.049456 | 33 | 1.1277 | 0.68 | 1.1277 | 0.68 | 1.6583
50 | YES | 9.7585 | 4.9898 | 0.4689 | 2.5998 | -0.53111 | -3.1309 |  | 4.9898 | 2.5998 | 12 | 1.6146 | 0.93 | 1.6146 | 0.93 | 1.7361
50 | YES | 2.0432 | 0.49441 | 0.01964 | -2.3156 | -0.33861 | 1.977 |  | 0.49441 | -2.3156 | 22 | 0.3162 | 0.18 | 0.3162 | 0.18 | 1.7567
51 | YES | 20.0648 | 0.77868 | 0.11766 | -1.2213 | -0.35078 | 0.87054 |  | 0.77868 | -1.2213 | 21 | 0.30084 | 0.17 | 0.30084 | 0.17 | 1.7697
51 | YES | 10.5101 | 21.0725 | 1.1077 | -1.3475 | -1.2198 | 0.12764 |  | 21.0725 | -1.3475 | 20 | 1.3563 | 0.76 | 1.3563 | 0.76 | 1.7847
51 | YES | 1.6894 | 1.102 | 0.062452 | -3.278 | -0.36463 | 2.9134 |  | 1.102 | -3.278 | 32 | 1.1859 | 0.66 | 1.1859 | 0.66 | 1.7968
52 | YES | 29.7884 | 1.521 | 0.42933 | 0.191 | -0.38257 | -0.57357 |  | 1.521 | 0.191 | 21 | 0.56445 | 0.31 | 0.56445 | 0.31 | 1.8208
52 | YES | 19.7858 | 4.3515 | 0.38792 | -1.6685 | -0.50378 | 1.1647 |  | 4.3515 | -1.6685 | 32 | 0.42478 | 0.23 | 0.42478 | 0.23 | 1.8469
52 | YES | 10.1668 | 17.8756 | 0.63421 | 0.015568 | -1.0829 | -1.0985 |  | 17.8756 | 0.015568 | 35 | 0.53741 | 0.28 | 0.53741 | 0.28 | 1.9193
52 | YES | 5.2618 | 13.2279 | 0.7429 | -2.7621 | -0.8839 | 1.8782 |  | 13.2279 | -2.7621 | 44 | 2.5532 | 1.31 | 2.5532 | 1.31 | 1.949
52 | YES | 1.4666 | 2.2583 | 0.69047 | -4.4017 | -0.41414 | 3.9875 |  | 2.2583 | -4.4017 | 17 | 0.35906 | 0.18 | 0.35906 | 0.18 | 1.9948
53 | YES | 20.5875 | 7.5348 | 1.0762 | 2.2648 | -0.6401 | -2.9049 |  | 7.5348 | 2.2648 | 20 | 0.67081 | 0.33 | 0.67081 | 0.33 | 2.0328
53 | YES | 9.7289 | 2.6007 | 0.25991 | -1.9793 | -0.4288 | 1.5505 |  | 2.6007 | -1.9793 | 50 | 4.9898 | 2.39 | 4.9898 | 2.39 | 2.0878
53 | YES | 1.664 | 1.6755 | 0.061693 | -0.83454 | -0.38918 | 0.44536 |  | 1.6755 | -0.83454 | 32 | 1.3334 | 0.63 | 1.3334 | 0.63 | 2.1165
54 | YES | 29.6519 | 0.85483 | 0.17587 | -0.16517 | -0.35404 | -0.18887 |  | 0.85483 | -0.16517 | 20 | 0.51126 | 0.24 | 0.51126 | 0.24 | 2.1302
54 | YES | 19.9045 | 2.1246 | 0.35751 | -0.69545 | -0.40841 | 0.28703 |  | 2.1246 | -0.69545 | 37 | 0.76679 | 0.34 | 0.76679 | 0.34 | 2.2553
54 | YES | 9.854 | 3.023 | 0.34035 | -1.017 | -0.44689 | 0.57012 |  | 3.023 | -1.017 | 20 | 0.66375 | 0.28 | 0.66375 | 0.28 | 2.3706
54 | YES | 4.9228 | 2.9101 | 0.29405 | -1.2799 | -0.44206 | 0.83781 |  | 2.9101 | -1.2799 | 37 | 1.2543 | 0.52 | 1.2543 | 0.52 | 2.4122
54 | YES | 1.5597 | 2.0971 | 0.11747 | -1.5929 | -0.40724 | 1.1856 |  | 2.0971 | -1.5929 | 17 | 10.5318 | 4.28 | 10.5318 | 4.28 | 2.4607
55 | YES | 19.5209 | 0.79599 | 0.070373 | -0.35401 | -0.35152 | 0.0024914 |  | 0.79599 | -0.35401 | 37 | 0.40069 | 0.16 | 0.40069 | 0.16 | 2.5043
55 | YES | 9.5983 | 1.2779 | 0.11559 | -0.62207 | -0.37216 | 0.24991 |  | 1.2779 | -0.62207 | 48 | 0.12758 | 0.05 | 0.12758 | 0.05 | 2.5516
55 | YES | 1.5612 | 1.3555 | 0.082137 | -0.8045 | -0.37548 | 0.42902 |  | 1.3555 | -0.8045 | 36 | 0.11583 | 0.04 | 0.11583 | 0.04 | 2.8956
56 | YES | 30.1605 | 0.40856 | 0.10343 | -0.041444 | -0.33493 | -0.29349 |  | 0.40856 | -0.041444 | 38 | 1.7486 | 0.59 | 1.7486 | 0.59 | 2.9638
56 | YES | 19.5878 | 0.61364 | 0.1751 | -0.22636 | -0.34371 | -0.11735 |  | 0.61364 | -0.22636 | 38 | 0.9804 | 0.24 | 0.9804 | 0.24 | 4.085
56 | YES | 10.1515 | 0.46881 | 0.034887 | -0.28119 | -0.33751 | -0.056319 |  | 0.46881 | -0.28119 | 28 | 3.6376 | 0.68 | 3.6376 | 0.68 | 5.3495
56 | YES | 4.5986 | 2.3311 | 0.12318 | -0.77886 | -0.41726 | 0.3616 |  | 2.3311 | -0.77886 | 35 | 0.18351 | 0.03 | 0.18351 | 0.03 | 6.117
56 | YES | 1.4154 | 8.4559 | 0.40538 | -2.5741 | -0.67954 | 1.8945 |  | 8.4559 | -2.5741 | 27 | 5.3202 | 0.23 | 5.3202 | 0.23 | 23.1315
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Fluor_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE