## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2018-090

Agency: Ocean Sciences Division

Location: WCVI / Juan de Fuca Strait  / Haro Strait

Project:  Ocean Protection Plan, Marine Environmental Quality Program

Chief Scientist: Vagel S.

Platform: Vector

Date: August 15, 2018 – August 21, 2018

Processed by: Germaine Gatien

Date of Processing: 31 October 2018 – 5 November 2018

Number of original XML files: 34	Number of CTD files: 33

# INSTRUMENT SUMMARY

A SeaBird Model SBE25+ CTD was used during this cruise; attached were a SBE 43 DO sensor (#766) and a WetLabs ECO Fluorometer (#2214).

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log book had a list of equipment but not personnel. A cruise report was available with that information.

The file names were in non-standard format with dates and times rather than cruise number and event numbers.  There were a number of discrepancies between the log entries and those in the file headers. The log book entries appeared to be correct so headers were changed to match them.

The file for event #66 contained only data from the surface soak. There was a plan to start a new file because the vessel had to reposition after the soak, but something went wrong and no data were acquired.

No bottle sampling was done. Dissolved oxygen was recalibrated based on a rough comparison made with an SBE911+ CTD during a previous cruise.

Dissolved oxygen and fluorescence values were very high off the west coast of Vancouver Island. In the absence of calibration sampling data from another cruise in the same area were examined and support that the values are likely real and caused by an autumn bloom.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension XML.

##### Preliminary Steps

The Log Book was obtained. There is no mention of problems with the CTD.

The cruise summary sheet was completed.

The sensor histories for the pressure, conductivity and DO sensors were found.

The raw files were not in standard format. The names give the time and date but not event numbers. The file names were changed based on log entries. There was no file found for cast #66 from August 19 at 23:12. The chief scientist and CTD tech were informed. One file was found that appears to be from August 9 at 23:40. In case it was the missing cast the file was converted and appears to be a test cast only – no header information and only surface data, so the date is likely correct.

The calibration constants were checked for all instruments and all are correct; it was saved as 2018-090-ctd.xmlcon.

##### Conversion of Full Files from Raw Data

All XML files were converted to create CNV files.

A few casts were examined.

- The soak protocol included a soak at 10m, typically lasting about 4 minutes. Removing 1920 records will remove the soak for most casts but plots will be made to ensure too many or too few records have been removed.

- The temperature, conductivity and dissolved oxygen profiles look normal.

- The fluorescence has a reasonable overall profile but there are some spikes at depths where this isn’t usually expected. However, these casts were in Haro Strait and a cast from cruise 2018-040 using a different sensor in the same area about 3 weeks later shows similar spikiness and CHL values, so these data are likely real. Fluorescence will be filtered later so the largest spikes will disappear.

- The descent rate was highly variable with some very noisy casts and others with a high and steady rate.

##### WILDEDIT

There were some spikes in conductivity so WILDEDIT was run on temperature, conductivity and depth using parameters:

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 35

##### WINDOWS FILTER

This routine is sometimes applied to SBE25 data, but does not look necessary for this SBE 25+ CTD, perhaps due to the higher sampling rate, 16Hz. Pressure can be filtered in the DELETE process and fluorescence will be filtered later. So the Windows Filter was not run.

##### ALIGN DO

Tests on a few casts show that an advance of +2.5s looks appropriate.

ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

The default setting, (α = 0.4, β=8), was applied to all files. This step does bring downcast and upcast data into better correspondence in T-S space.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary salinity and dissolved oxygen concentration.

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert all CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

At this point the 10m soak data were removed. CLIP was run to remove 1920 scans (4 minutes) from all casts. Plots were examined and appropriate data had been removed except for casts #15, 39 and 63 which needed more data removed.

##### Checking Headers

A cross-reference list was produced to check for further errors; entries were checked against the log book. The format in some station names was changed so they are consistent. Bad positions were found in a few casts:

- File #33 had an error in latitude – there had been a change made in the log book.

- File #51 had the wrong position – clearly seen on a track chart. The depth and station names match the log for this cast. The position was changed to match the log.

- File #62 had a position, water depth and station name that is right for event 63. The depth of the cast matches the log book entry for event 62. So it is assumed to be the correct file for event 62. The position, water depth and station name were changed to match the log.

- File #63 has a position that is on land and has the station name for cast #66 which is missing.  It has the right depth and time for cast #63. The position and station name were changed to match the log for cast #63.

- File #80 had a bad position - clearly seen on a track chart; it was changed to match the log.

The problems with files #62 and #63 may be due to download issues because an expected file was missing.

The cruise track was plotted after these corrections and no problems were found.

Header Check was run and no problems were found.

The surface check shows an average of -0.08db which are associated with salinity values <0.5psu. The conductivity moves up sharply from negative values very close to 0db. A few upcasts were checked and in several cases fluorescence dropped to 0 a few scans after the pressure reaches 0db though in some cases there are some very high values just before the values become very low. The pressure is as accurate as can be expected from this type of sensor.

##### Shift

Fluorescence

The ECO fluorometer on the SBE25 does not usually require alignment since it is not pumped. A few profiles were examined and no alignment appears to be necessary, though the spikiness of the fluorescence makes it hard to judge.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and as usual, there is variability with the up and downcast traces sometimes closer than temperature and sometimes further apart. This is likely due to varying vertical gradients and descent/ascent speeds. Overall the choice made earlier looks appropriate, so no further alignment will be applied to either CTD DO sensor.

Conductivity

Tests were run on 4 casts and a shift of +1.7 records to the conductivity reduced noise in the salinity as seen on a T-S plot. This was the same setting used when this CTD was last used. SHIFT was run on all casts advancing the primary conductivity by 1.7 records. Salinity was recalculated.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 9 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 5 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.0625 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### Other Comparisons

Previous experience with these sensors –

- The pressure sensor was used on 13 cruises since it was last recalibrated and no offset was applied to any of them.

- The temperature and conductivity sensors were used during 2018-039 with no calibration sampling, but a comparison with an SBE911 showed it to have temperature high by about 0.002C° and salinity low by about 0.003psu. During 2018-37 it appeared that the salinity was within ±0.005psu.

- The dissolved oxygen sensor has been used for 3 other cruises since it was last serviced. There was no calibration sampling for the first of these. During 2018-039 there was a comparison with an SBE911+ cast that only covered the top 50m. The SBE25 dissolved oxygen was consistently lower than that from the SBE911. At 16db it was low by about 5.8% and at 35db it was lower by about 6.2%. During 2018-037 there was bottle sampling but the comparison with CTDs was not trusted due to narrow DO range, many flagged samples, likely incomplete flushing of Niskin bottles and a lot of scatter in the fit.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. All salinity data fell within the local climatology except for a few low values near 90m during the Port Renfrew cast. Temperatures were above the climatology maxima at Port Renfrew between 80 and 120m, in the top 40m of the Boundary Pass cast and around 40m at Haro 3 (event #83). These excursions may be due to sampling in areas not well represented in the climatology or due to real warming. They do not look like systematic problems likely to be due to sensor calibration drift.

Repeat Casts – There were no repeat casts and nearby casts are not close enough or deep enough for useful comparison.

# Post-Cruise Calibration

None was available.

##### DETAILED EDITING

CTDEDIT was used to remove large spikes, remove or clean smaller spikes that appear to be due to instrumental problems and likely to affect the bin-averaged values and records corrupted by shed wakes. All files required some editing, but mostly it was removal of records from near the top and bottom of casts and light cleaning of salinity.

##### Initial Recalibration

- Based on previous uses salinity appears to be within ±0.01psu and probably better than that, but the evidence is weak.

- The pressure appears to be ok.

- CTD Dissolved oxygen is low by at least 6% so CTD DO data were multiplied by 1.06.

File 2018-090-recal1.ccf was prepared to apply the following correction to the SBE25 EDT files:

CTD Dissolved Oxygen Corrected = 1.06* CTD Dissolved Oxygen

##### Fluorescence Processing

A median filter, size 7, was applied to the SBE25 fluorescence channel in the COR1 files.

Plots of a few casts showed that the filter was effective in removing the many spikes at depth. However, it could not deal with spikes at the top of casts 18, 21 and 35 and the bottom of casts #21 and 30. A text editor was used to enter pad values for 1 to 7 fluorescence records in the COR1 files and then the filter was reapplied.  (Output:*.FIL)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files for both CTDs (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen plots were examined. The T-S plots have a few small unstable features, but those are from sites where such features are expected.

##### Final CTD File Steps (REMOVE and HEADEDIT)

REMOVE was run on all casts to remove the following channels:

Scan_Number, Conductivity:Primary, Oxygen:Voltage:SBE, Descent_Rate and Flag.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was run to fix formats and channel names and to add the following comments:

Data Processing Notes:

----------------------

Conductivity and Fluorescence data are nominal and unedited except that some

records were removed in editing temperature and salinity.

NOTE: While the CTD fluorescence data are expressed in concentration units, they

do not always compare well to extracted chlorophyll samples, particularly for

casts far from shore.

The only data available for event #66 came from the soak period so they have not

been processed.

There was no calibration sampling during this cruise. Recalibration of dissolved

oxygen data was based on an intercomparison with an SBE911 on one cast during a

previous cruise. This is considered a rough estimate.

Salinity was not recalibrated; rough comparisons during 2 previous cruises suggest

it is within +/-0.005psu.

For details on the processing see document: 2018-090_Processing_Report.doc.

Plots were made of all casts to look for problems. The surface fluorescence for cast #39 looked bad. Examination of the file after the CTDEDIT step shows that there were 2 very high fluorescence values among many low values. The REO file was edited to pad the fluorescence value at 0.2db and HEADEDIT was rerun.

The track plot looks ok.

The Standards Check routine was run and no problems were found.

The Header Check was run and no problems were found.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. Values ranged from 75% to 200% with the highest values near-shore off the west coast of Vancouver Island. In Haro Strait there was a mix of high and low values. These results are unusual, so other variables were examined. Fluorescence values were much higher (~20 to 25ug/L) near the surface for the casts with high DO saturation than at other casts.

Cruise 2018-025 visited the same general area a few days earlier but casts were further offshore or in Effingham Inlet. There was no DO or CHL sampling at relevant sites. One cast at station LAP1 had high surface DO values, ~8.7mL/L, and surface saturation of >140%.  Fluorescence values were high, ~23ug/L, from 0 to 18m depth.

So the high DO values from 2018-090 are likely real and the result of an autumn bloom.

##### Producing final files

A cross-reference listing was produced for CTD files.

The sensor history was updated.

# CRUISE SUMMARY

CTDs

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 25 | 1123 | No | Yes |

| Calibration Information SBE25+ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2968 | 22Feb2017 | Factory |  |  |
| Conductivity | 2173 | 23Feb2017 | Factory |  |  |
| ECO Fluorometer | 2214 | 02Jun2017 | ? |  |  |
| SBE43 Oxygen | 766 | 1Mar2017 | Factory |  |  |
| Pressure | 1123 | 11Nov2015 | Factory |  |  |