## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

PROCESSING NOTES

Cruises: CFMETR Nanoose

Agency: Canadian Forces

Project: Canadian Forces Maritime Experimental Test Range

Area: Nanoose

Date: 4 January 2018 – 6 December 2018

Platform: CFAV Stikine (and others)

Processed by: Germaine Gatien

Date of Processing: 5 March 2019 –  6 March 2019

Number of original Hex files: 51

Number of casts processed: 43

INSTRUMENT SUMMARY

Six Sea Bird Model SBE 19 SEACAT CTDs were used – serial numbers #1449 (used for 28 casts), 1512 (used for 13 casts) and 1513 (1 cast). Each CTD had an altimeter attached.

SUMMARY OF QUALITY AND CONCERNS

These data form part of a long-standing time-series rather than a cruise. They cover sampling by the Canadian Forces Maritime Experimental and Test Ranges during 2018 in Nanoose Bay, BC.

Three different CTDs were used; calibration information could not be confirmed. The calibrations for #1512 had been updated in 2017. The others have calibration coefficients from 2014.

To assist in analysis, event numbers are helpful and the software in use will only allow 4 digits which suits most cruises. However a 7-character system is used for this project based on the date. A 4-character format was derived from those IDs based on the month and day of each cast. This means the same event # will appear if there is more than 1 cast on 1 day, as frequently occurred.

The soak period for the CTD varied greatly from about 10s to 2 minutes, but was usually about 1minute. It is recommended that the SBE19+ be soaked for at least 2 minutes to improve salinity quality, though in the absence of large differences between air and water temperatures it is likely that 1 minute is sufficient.

There was no salinity calibration sampling. SeaCat salinity is prone to error due to mismatch of conductivity and temperature response times, especially when the descent rate is non-uniform. These errors are likely to be much larger than calibration errors. SeaCat salinity errors are expected to be as high as 0.05units in areas of high gradients. Away from high gradients errors in salinity are expected to be on the order of 0.005.

The times given in the SeaBird headers do not include a time zone, but it is believed that local time was used. All times were converted to UTC by adding 7 or 8 hours depending on whether local time was PDT or PST.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.hex.

2. Preliminary Steps

51 hex and hdr files were delivered. There were 52 configuration files.

The file names are non-standard and contain the letter N followed by the date in YYMMDD format and 2 digits to indicate the sequential casts on a single day. The non-standard names are in the usual format for this project and will be kept.

- Conversion of Raw Data

- The raw data were converted by matching the configuration file to the input file name.

- File N18040502.hex had no con file. The date was the same as for file N18040501.hex and the same CTD was used, so it was converted using N18040501.CON. It turned out to be an exact copy of the first file, so it was not processed further.

- There was one con file with no matching hex file. A converted file provided showed only some deep data, so probably the hex file had been deleted.

- Conversion produced 50 CNV files.

- A spreadsheet “NanooseCtdStations2018.xls” was provided with positions for the casts but there were only 45 stations included. In all cases the missing casts are on a day with more than one cast and the missing ones are shallower than one that followed it shortly  afterwards. These files will not be processed further. Those files are:

- N18022001

- N18041901

- N18041902

- N18042001

- N18100401

- N18100201 is missing from the spreadsheet but found in the converted files. It contains only surface data. That will not be processed further.

- N18011101.IOS is missing from the spreadsheet – it is misnamed – it was a file from May 16th and another deeper file exists from shortly after that one, so this should not be processed further.

- However, file N18011801 is missing from the files and should be in the list, so it is assumed that the entry in the spreadsheet is meant to be for that file.

- That leaves 43 files.

- N18080102 was missing from the spreadsheet but an earlier shallow cast was present, so that position was used for the later cast.

- N18010402 was present in the spreadsheet but not in the converted files. It contained only deep data so it is assumed the raw file was deleted.

- The spreadsheet provided was saved as 2018-99-merge-hdr.csv. Some editing was required:

- The format of latitude and longitude in the spreadsheet needed to be changed to DD MM.MM N and DDD MM.MM W. Concatenate was used to do this and the number of decimal places was clipped using Ultraedit.

- A column LOC:Station was added with every row having “Nanoose” entered.

- A column of event numbers was adding to the CSV file using MMDD part of the file name as event number.

- The soak period ranged from 30s to 2 minutes, with the most common wait was for 1 minute. A 2-minute soak is generally advised for the best salinity data, but in most cases the conductivity seems to have reached equilibrium after 1 minute.

- Temperature and conductivity generally look ok. Voltage 0 corresponds to altimetry and Voltage 1 contains only noise. These channels will be removed later.

- The altimetry looks useful near the bottom but the CTD did not always get within 15m, in which case the bottom value will not get entered into the IOS Headers.

- WILDEDIT

While no spikes were noted in the data, not all casts were examined so WILDEDIT was run on all casts to remove spikes from the pressure, depth, conductivity & temperature only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 10

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

- FILTER

As usual for SBE 19 CTDs the conductivity was low-pass filtered with a time constant of 0.5 seconds to force it to have the same response as the temperature.  Tests were run on a few casts to ensure this was the best choice.

The pressure was not filtered since it is quite smooth already. In previous years tests showed that filtering made things worse in sections where pressure was constant.

- ALIGNCTD

An initial run with no alignment applied to the temperature channel produced poor results with instabilities in T-S plots. Temperature was advanced by 0.73s relative to pressure since that has worked well for data from this project in previous years. Two casts were checked and the results were excellent. Alignment can be fine-tuned later using SHIFT if further adjustment is found useful.

- DERIVE

Program DERIVE was run to calculate salinity

7.  Conversion to IOS Headers

The IOSSHELL routine for Sea Bird ASCII files was used to convert the Sea-Bird data to IOS Headers.
The program MERGE CSV FILES TO HEADERS was then used to add positions, station name, event numbers and project name to the headers.

8. Checking Headers

Track Plot was used to ensure positions look normal. There are no obvious outliers though, as usual, there is quite a scatter in locations.

Header Check was run and no problems were found.

Header Check was rerun and the only potential problems noted are some slightly negative pressures.

A cross-reference list was produced. The times appear to be in local time which is the usual case for this project. The times of casts are not consistent enough to notice if clocks might have changed, but there is no obvious trend towards later times in summer, so it is likely that PST and PDT were used.

ADD TIME CHANNEL was used to add 8 hours to casts before March 11th and from November 4 to the end of the year.

ADD TIME CHANNEL was used to add 7 hour to all other casts.

Surface check was run and values ranged from -0.4 to +3.8db. The one case with negative pressure was associated with very low salinity.

The average surface pressure for casts that started in the top 10db was 1.17db.

Profile plots were examined. Many casts will need some editing.

Cast N18101601 has bad salinity below 380m.

The need to edit will be re-examined after DELETE.

- The altimetry header information from each file was exported to a spreadsheet. 74% of the casts got within 15m of the bottom with none closer than 4.2m of bottom.

9. SHIFT

These data were aligned earlier in the process, but tests were run to see if a further shift might reduce unstable features. Three casts with features that might benefit were chosen to test. As found in the past, the results were not consistent. SHIFT was not run.

10. CLIP

CLIP was used to remove the first 100 scans for all files, but that removed too much data for many casts. The number of records was reduced to 60 records for 15 casts but even fewer records could be removed from the casts from July 11 (55 scans), August 3 (55 scans), October 3 (30 scans), October 4 (40scans) and November 28 (20 scans). Those 5 casts had very short soak periods so the data from the upper 5 to 10m will be of lower quality.

11. DELETE

DELETE was run on the clipped files using the following parameters:

Surface Record Removal: Last Press Min    Maximum Surface Pressure (relative): 10.00

Surface Swell Pressure Tolerance: 1.0	     Pressure not filtered

Swells deleted. Warning message if pressure difference of 2.00

Minimum Drop Rate 0.2m/s over 5 records between 10db and 10db above maximum pressure

All warnings pertain to pressure jumps seen in the original files. They are all near the top and bottom of casts.

12. CTDEDIT

The DEL files were copied to EDT.

Plots were made to identify casts that may need editing. 15 files looked fine.

The other 28 files were opened in CTDEDIT.

Salinity was smoothed in cases where unstable features appeared to be due to misalignments of T and C in the presence of temperature gradients. A few records were removed from the top and bottom of some casts.

The edited files were copied to EDT.

13. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure      	Averaging interval = 1.000

Minimum bin value = .000	Average value will be used.

Interpolated values are NOT used for empty bins

Profile plots were examined on-screen.

T-S plots were examined and look ok with only a few very slightly unstable features.

14. Intercomparisons

Historic ranges – Profile plots of temperature and salinity data were examined with the local seasonal climatology ranges superimposed. All data fell within those ranges with a few near-surface exceptions:

- The temperature was slightly above the maximum in the seasonal climatology in the top 35m  of the Mary 24th profile. This was near the end of the spring season climatology and the profile fit within the summer range.

- Salinity was low in the top 10m of the May 24th profile. This was near the end of the spring season climatology and the profile fit within the summer range.

- The temperature was high in the top 15m for the August 15th file.  This was near the end of the summer season; the temperature is near the top of the range for the autumn range.

These excursions are not indicative of calibration drift; the climatology is old and is not very suitable for near-shore observations.

Repeat casts – Casts were all close in space, and on a few occasions there were 2 or more casts on one day but they are not deep enough to expect close values except where local temperature gradients are very low. There were 2 casts on April 19th that got right to the bottom. On a T-S plot they look close in areas of low temperature gradient. Near the bottom they are within 0.005C° and 0.001psu along lines of constant σt. This is good correspondence. The differences in higher gradients are likely due to a combination of the instruments’ resolution limits and real change.

15. CALIBRATION

No recalibration was applied.

16. REMOVE and HEADEDIT

The following channels were removed from all casts: Scan_Number, Conductivity, Descent_Rate Altimetry, Voltage0, Voltage1 and Flag.

The HEADEDIT routine was used to fix formats and to add the following comment to the headers:

SeaCat salinity is prone to error due to a mismatch of conductivity and

temperature response times, especially when the descent rate is non-uniform.

Such errors are likely to be larger than calibration errors. SeaCat salinity

errors are expected to be as high as 0.05 units in areas of high gradients,

but on the order of 0.005 where gradients are low and descent rate steady.

There were no salinity calibration data available for this cruise.

The standards check routine was run and no problems were found.

17. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing and header check were produced. No errors were found.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	Nanoose Test Range

Dates: 	Start:	 4 January 2018	    End:	6 December 2018

Location: Nanoose Test Range 	Vessel:    Stikine (and others)

NOTE: Three SBE19 CTDs were used for this cruise.

CTDs

| CTD# | Make | Model | Serial# | Altimeter | Calibration data – Pressure, Temperature, Conductivity |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 19 | 1449 | 1094 | 8 October 2014 |
| 2 | SEABIRD | 19 | 1512 | 945 | May 2016 |
| 3 | SEABIRD | 19 | 1513 | 1093 | 25 Aug 2017 |

The calibration information used in conversion can be found in the headers of the CTD.