## Method and notes
DMSP-D analysis method
20-75mL of seawater is drained from the niskin into a magnetic filtration funnel containing a 0.7 µM GF/F filter
The first 3.5 mL from the funnel is collected in a polypropylene tube containing 50µL of H2SO4 (50%)
A new funnel and filter are used for each sample
Samples must be stored in dark at 4oC for minimum of 24 hours
Samples are hydrolized and run back at IOS when time permits
DMSP-T analysis method
3.5 mL of seawater is collected directly from the Niskin into a polypropylene tube containing 50µL of H2SO4 (50%)
Samples must be stored in dark at 4oC for minimum of 24 hours
Samples are hydrolized and run back at IOS when time permits
DMSP Calibration
A four to six level calibration table is used for calculating the concentrations of DMSP.
The standards are hydrolized in the same manner as the samples
A calibration curve is valid for 12 hours.
If analysis exceeded 12 hours a continuing calibration standard was run to ensure the calibration curve was still within acceptable limits.
Quality control
System blanks and duplicates were run for every station and on the hydrolysis blanks to ensure the system remained free of contamination and had acceptable reproducibility.
Detection Limit is 0.1 nM but is desginated as a "0" for the data set
All results represented in nM
The average of duplicates is reported unless otherwise stated
System
Contamination evident in some of the samples and as a result there are gaps in the data
Notes specific for this cruise
Quality Flags
1 = Sample for this measurement was collected but not analyzed. Sample lost.
2 = Acceptable measurement.
3 = Questionable measurement (probably good).
4 = Poor measurement (probably bad).
5 = Measurement not reported (bad).
6 = Mean of replicate measurements.
7 = Manual chromatographic peak measurement.
8 = Irregular digital chromatographic peak integration.
9 = Sample was planned for this measurement from this bottle but was not collected.

## QF file
Event_Number | Station | Sample_Number | Dimethylsulfoniopropionate_Dissolved | Flag:Dimethylsulfoniopropionate_Dissolved | Comments | Dimethylsulfoniopropionate_Total | Flag:Dimethylsulfoniopropionate_Total | Comments
7 | P2 | 6 | 1.1031 |  |  | 2.9043
7 | P2 | 13 | 0.53 | 6 |  | 25 | 6
7 | P2 | 16 | 0.32126 |  |  | 36.2771
7 | P2 | 18 | 0.36252 |  |  | 30.983
14 | P4 | 30 | 0 |  |  | 0
14 | P4 | 31 | 0 |  |  | 0.76224
14 | P4 | 37 | 0.32958 |  |  | 19.4575
14 | P4 | 39 | 0.43 | 6 |  | 19 | 6
14 | P4 | 42 | 0.32126 |  |  | 18.6719
14 | P4 | 44 | 0 |  |  | 18.678
38 | P12 | 151 | 0 |  |  | 7.0428 | 3 | DMPS-T:suspect contamination
38 | P12 | 152 | 0 |  |  | 3.2021
38 | P12 | 158 | 0 |  |  | 20.901
38 | P12 | 160 | 0.62 | 6 |  | 22.4519 | 6
38 | P12 | 163 | 0.20067 |  |  | 22.8376
38 | P12 | 164 | 0.3129 |  |  | 28.0015
55 | P26 | 281 | 0 |  |  | 0
55 | P26 | 283 | 0 |  |  | 0.93842
55 | P26 | 291 | 0.44251 |  |  | 33.5408
55 | P26 | 298 | 0.63 | 6 |  | 38 | 6
55 | P26 | 295 | 0.49667 |  |  | 29.9326
55 | P26 | 297 | 0.42677 |  |  | 36.0152

## Report
2019-001
Station | Fraction | Sample ID | Niskin | Depth (m) | MDL | FINAL Conc nM DMSP | Comments
P2 | Dissolved | 6 | 2 | 100 | 0.1 | 1.1031
P2 | Dissolved | 13 | 9 | 20 | 0.1 | 0.62267
P2 | Dissolved | 13 | 9 | 20 | 0.1 | 0.44251
P2 | Dissolved | 16 | 12 | 5 | 0.1 | 0.32126
P2 | Dissolved | 18 | 14 | 0 | 0.1 | 0.36252
P2 | Total | 6 | 2 | 100 | 0.1 | 2.9043
P2 | Total | 13 | 9 | 20 | 0.1 | 15.1513
P2 | Total | 13 | 9 | 20 | 0.1 | 34.9829
P2 | Total | 16 | 12 | 5 | 0.1 | 36.2771
P2 | Total | 18 | 14 | 0 | 0.1 | 30.983
P4 | Dissolved | 30 | 2 | 200 | 0.1 | <
P4 | Dissolved | 31 | 3 | 150 | 0.1 | <
P4 | Dissolved | 37 | 9 | 30 | 0.1 | 0.32958
P4 | Dissolved | 39 | 11 | 20 | 0.1 | 0.51189
P4 | Dissolved | 39 | 11 | 20 | 0.1 | 0.35434
P4 | Dissolved | 42 | 14 | 5 | 0.1 | 0.32126
P4 | Dissolved | 44 | 16 | 0 | 0.1 | 0.090387
P4 | Total | 30 | 2 | 200 | 0.1 | <
P4 | Total | 31 | 3 | 150 | 0.1 | 0.76224
P4 | Total | 37 | 9 | 30 | 0.1 | 19.4575
P4 | Total | 39 | 11 | 20 | 0.1 | 16.4643
P4 | Total | 39 | 11 | 20 | 0.1 | 22.0286
P4 | Total | 42 | 14 | 5 | 0.1 | 18.6719
P4 | Total | 44 | 16 | 0 | 0.1 | 18.678
P12 | Dissolved | 151 | 2 | 200 | 0.1 | <
P12 | Dissolved | 152 | 3 | 150 | 0.1 | <
P12 | Dissolved | 158 | 9 | 30 | 0.1 | <
P12 | Dissolved | 160 | 11 | 20 | 0.1 | 1.0129
P12 | Dissolved | 160 | 11 | 20 | 0.1 | 0.22719
P12 | Dissolved | 163 | 14 | 5 | 0.1 | 0.20067
P12 | Dissolved | 164 | 15 | 0 | 0.1 | 0.3129
P12 | Total | 151 | 2 | 200 | 0.1 | 7.0428 | suspect contamination
P12 | Total | 152 | 3 | 150 | 0.1 | 3.2021
P12 | Total | 158 | 9 | 30 | 0.1 | 20.901
P12 | Total | 160 | 11 | 20 | 0.1 | 22.4519
P12 | Total | 160 | 11 | 20 | 0.1 | 20.9455
P12 | Total | 163 | 14 | 5 | 0.1 | 22.8376
P12 | Total | 164 | 15 | 0 | 0.1 | 28.0015
P26 | Dissolved | 281 | 4 | 200 | 0.1 | <
P26 | Dissolved | 283 | 6 | 150 | 0.1 | <
P26 | Dissolved | 291 | 14 | 30 | 0.1 | 0.44251
P26 | Dissolved | 298 | 22 | 20 | 0.1 | 0.42677
P26 | Dissolved | 298 | 22 | 20 | 0.1 | 0.829
P26 | Dissolved | 295 | 18 | 5 | 0.1 | 0.49667
P26 | Dissolved | 297 | 20 | 0 | 0.1 | 0.42677
P26 | Total | 281 | 4 | 200 | 0.1 | 0.099853
P26 | Total | 283 | 6 | 150 | 0.1 | 0.93842
P26 | Total | 291 | 14 | 30 | 0.1 | 33.5408
P26 | Total | 298 | 22 | 20 | 0.1 | 46.0736
P26 | Total | 298 | 22 | 20 | 0.1 | 29.3137
P26 | Total | 295 | 18 | 5 | 0.1 | 29.9326
P26 | Total | 297 | 20 | 0 | 0.1 | 36.0152