File List for SeaBird Data          Cruise Number: _2019-003____

[osdcommon\cruise_data\2019-003\ARCHIVE]

[osdcommon\cruise_data\2019-003\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2019-003\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2019-003\ARCHIVE\CTD_Photos] Equipment photos

[osdcommon\cruise_data\2019-003\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2019-003\ARCHIVE\DOC\HYDRO] COMPARE files and reports

[osdcommon\cruise_data\2019-003\ARCHIVE\DOC\TSG]

[osdcommon\cruise_data\2019-003\ARCHIVE\LOGS] scanned logs

-----------------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2019-003\PROCESSING]

[osdcommon\cruise_data\2019-003\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2019-003\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2019-003\PROCESSING\DOC]

2019-003-recal1.ccf – calibration control file for SBE911

2019-003-ctd*.xmlcon – configuration file used in processing for SBE911

2019-003_File.doc - this document

2019-003_Processing_Report.doc - processing notes

2019-003-ctd-final.rpt – CTD file header check including channel summary

2019-003-ctd-xref.lis – cross reference list of CTD files –both CTDs

2019-003-altimeter-ctd.xlsx – report on header entries for altimetry

Salinometer-68572-study_20Mar2019.xlsx – study of errors in salinometer output

March 2019 Salinity Linearity and Dilution test Methods.docx – tests for salinometer study

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2019-003\PROCESSING\DOC\hydro]

2019-003chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2019-003nuts.csv – nutrients simplified from analyst’s s/s

2019-003oxy.csv – nutrients simplified from analyst’s s/s

2019-003sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2019-003-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2019-003-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2019-003-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2019-003-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2019-003-sal-comp1.csv & xlsx –initial comparison of bottle salinity & CTD salinity

2019-003-sal-comp1-corrected.csv & xlsx –comparison of bottle salinity after correction & CTD salinity

Salinometer-calibration-study – combined 3 cruises

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2019-003-bottles-final.xlsx – summary of bottle data in CHE files

2019-003-che-final.rpt – final header check of bottle files

2019-003- altimeter-che.xlsx – altimetry and water depth information

2019-003-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2019-003\PROCESSING\DOC\TSG]

2019-003-ctd-tsg-comp.xlsx – Comparison of TSG and CTD (2m) data

2019-003 TSG.xmlcon – configuration file

2019-003-tsg-recal1.ccf – calibration control file

*.txt –header comments

[osdcommon\cruise_data\2019-003\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.ed1 & log – output from editing of file 84

*.mrg – after addition of bottle data to BOT files

*.mrgrem – last step before Change Units for DO

*.mrgreo – just before final head edits – use if need to adjust comments/formats

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2019-003\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd-  final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after REMOVE (just before Header Edit for SBE25 files)

*.reo– just before final Header Edit – use if need to update comments

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2015-17\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – files after Sea-Bird conversion

[osdcommon\cruise_data\2015-17\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.add – after addition of time/date channel

*.atc – after adding positions and times to headers

*.cor1 – after recalibration

*.rem- just before header editing

*.ios – after conversion to IOS HEADERS

*.hdr – final TSG files – with header but not considered suitable for archival

----------------------------------------------------------------------------------------------------------------------------------

[osdcommon\cruise_data\2019-003\RAW]

[osdcommon\cruise_data\2019-003\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2019-003\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2019-003\RAW\CTD_Photos] equipment photos

[osdcommon\cruise_data\2019-003\RAW\DOC] documents

[osdcommon\cruise_data\2019-003\RAW\LOGS] logs

[osdcommon\cruise_data\2019-003\RAW\Moorings]

[osdcommon\cruise_data\2019-003\RAW\TSG] raw TSG data