## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 25 March 2025 | ### Removed original Silicate & Flag:Silicate channels and renamed corrected versions of those channels in 2 CHE files; corrected channel order in 1 file. G.G. |
| ### 19 March 2023 | ### Added HPLC data. J.R. |
| 20 January 2021 | Transmissivity:Green recalibrated to correct an error in the original conversion. S.H. |

## PROCESSING NOTES

Cruise: 2019-005

Agency: OSD

Location: North-East Pacific

Project: La Perouse

Party Chief: Robert M.

Platform: John P. Tully

Date: 21 May 2019 –  1 June 2019

Processed by: Germaine Gatien

Date of Processing: 30 August 2019 – 2 November 2019

Number of original HEX files: 	99 		Number of CTD files: 96 (2 upcast only, 1 aborted)

Number of rosette files:	 61			Number of bottle casts processed: 59

Number of original TSG files: 5 (2 empty)	Number of processed TSG files:  0

# INSTRUMENT SUMMARY

CTD #0506 was mounted in a rosette and attached were 2 Wetlabs CSTAR transmissometer (#1883DG & 1185DR), a SBE 43 DO sensor (#3234), a SeaPoint Fluorometer (#3640), a Biospherical QSP-400 PAR sensor (#70613) and an altimeter.

A thermosalinograph (SeaBird 45 S/N 0620) was mounted with a Wetlab/Wetstar fluorometer (WS3S-953P) and flow meter.

Seasave version 7.26.7.107 was used for acquisition.

The data logging computer was the Tully Laptop.

The deck unit was a Seabird model 11+ #425.

A Guildline model 8400B Autosal serial # 68572 was used to analyze salinity samples.

An IOS rosette with 24 10L bottles was used.

# SUMMARY OF QUALITY AND CONCERNS

The Daily Science Log Book and rosette log sheets were in excellent order with comments about problems encountered. Sampling notes were provided by the Chief Scientist which are a great help in processing data.

The deployment scheme for the CTD varied during the cruise:

The rosette was brought to the surface.  Pumps were turned ON.  The rosette was brought down to 10m and kept there for 30 seconds.  Once back at the surface, the data started to be archived, with the rosette at the surface for 30 seconds longer.  Then the cast would start.

- All the rosettes on the noon to midnight watch were sampled from surface to deepest Niskin.

- Only a few rosettes on the midnight to noon watch at the beginning of the cruise were sampled from deepest Niskin to surface.

The primary temperature and salinity channels were chosen for most casts, but for events #120 and #121 there was a problem with the primary conductivity so the secondary channels were prepared for archival.

There were 2 WetLabs CStar transmissometers in use during this cruise:

Channel Transmissometer refers to sensor #1883DG (530nm - green)

Channel Transmissometer2 refers to sensor #1185DR (650nm - red)

For comparison with other Institute of Ocean Sciences cruises, note that the transmissometer wavelength is 650nm unless otherwise stated.

The sounder was set so that the depth from the transducer level was shown rather than the actual water depth. To find the real water depth it was necessary to add 4.5m to the sounder reading. The chief scientist reported that in some cases the adjustment had already been made at sea. An adjustment to the header values was made to all casts except for 12 cases for which it did appear that the altimetry plus maximum depth sampled was in better correspondence with water depth if the adjustment was not applied.

While CTD fluorescence data are expressed in concentration units, they do not always compare well to extracted chlorophyll samples. It is recommended that users check extracted chlorophyll values where available.

The SBE DO sensor has a fairly long response time so data accuracy is not as high when it is in motion as it is during stops for bottles. This will be especially true when vertical DO gradients are large. To get an estimate of the accuracy of the SBE DO data during downcasts (after recalibration) a rough comparison was made between downcast SBE DO and upcast titrated samples. Some of the difference will be due to problems with flushing of Niskin bottles and/or analysis errors, so the following statement likely underestimates SBE DO accuracy.

Downcast (CTD files) Oxygen:Dissolved:SBE data are considered, very roughly, to be:

±0.5 mL/L from 0 to 50db

±0.3 mL/L from 50db to 250db

±0.10 mL/L from 250db to 500db

±0.02 mL/L below 500db

There were 2 Thermosalinograph files that covered the time of the cruise. Both the intake temperature and lab temperatures read significantly higher than CTD temperature. Salinity was very high as well compared to both CTD data and loop samples. That is out of line with previous uses. The same problems did not occur during the next cruise which used the same equipment. Fluorescence from the TSG was much lower than CTD fluorescence although the pattern of variability was similar. The TSG files were not prepared for the IOS Data Archive, but that decision can be revisited if information enabling recalibration is obtained from other cruises and/or factory service.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension HEX.

##### Preliminary Steps

The Log Book and rosette log sheets were obtained.

- Nutrients, extracted chlorophyll, dissolved oxygen, salinity, and NH4 data were obtained in QF spreadsheet format from the analysts.

- The cruise summary sheet was completed.

- The histories of the pressure sensor, conductivity and dissolved oxygen sensors were checked. Since their last calibration most of these sensors have been used on 6 previous casts (just 5 for the DO sensor).

- There were 2 transmissometers mounted on the CTD and it was reported after the cruise that they were mounted in reverse order to that indicated in the configuration file.

- The calibration control files were checked. There were 2 problems with the files; there was a small correction to the dissolved oxygen factor E based on a study during a previous cruise and the two transmissometers were mounted in the opposite order to that in the original con file. After those corrections the file was saved as 2019-005-ctd.xmlcon.

- The deployment procedure was as follows: The rosette was brought to the surface.  Pumps were turned ON.  The rosette was brought down to 10m and kept there for 30 seconds.  Once back at the surface, the data started to be archived, with the rosette at the surface for 30 seconds longer.  Then the cast would start.

All the rosettes on the noon to midnight watch were sampled from surface to deepest Niskin.  Only a few rosettes on the midnight to noon watch at the beginning of the cruise were sampled from deepest Niskin to surface.

The sounder was set up to get the depth from the transducer level, so the water depth is the sounder reading plus 4.5m.

##### BOTTLE FILE PREPARATION

The ROS files were created using files 2019-005-ctd.xmlcon. Depth was included.

The ROS files were converted to IOS format.

The IOS files were put through CLEAN to create BOT files.

Temperature and salinity were plotted for all BOT files to check for outliers and there were some spikes and noisy patches in both salinity channels. CTDEDIT was used to clean outliers in casts #36, 54, 82, 123, 145 and 155. The output files were copied to *.BOT.

A preliminary header check was run and no problems were found.

The BOT files were bin-averaged on bottle number.

The output was used to create file ADDSAMP.csv. First, the file was sorted on event number and Bottle Position order. Then sample numbers were added based on the rosette logs.

Bottles were removed that have not been sampled.

The file was used to add sample numbers to the BOT files – output *.SAM.

Files 2019-005-0061 and 2019-005-0063.sam were renamed as 2019-005-0061.sama and samb and joined with output name 2019-005-0061.sam.

The SAM files were bin-averaged on bottle # and called SAMAVG.

At this point some lines not required due to no sampling were removed from the SAMAVG files.

The addsamp.csv file was converted to CST files, which will form the framework for the bottle files.

Next, each of the analysis spreadsheets were examined to see what comments the analysts wanted included in the header file. These were used to create file 2019-005-bot-hdr.txt which will be updated as needed during processing.

DISSOLVED OXGYEN

Dissolved oxygen data were provided in spreadsheet QF 2019-005 OXY*.xlsx which includes flags, comments and a precision study. Draw temperatures are available. The spreadsheet page with the final data was simplified and saved as 2019-005oxy.csv. That file was converted into individual *.OXY files.

At this point note was made of all comments in the DO file that had comments starting with “ALL:”. The rosette sheets were checked to note what other samples were taken from the same bottle so the flags will be applied to all samples from the other csv files that are affected by the DO analyst’s observation.

EXTRACTED CHLOROPHYLL

Extracted chlorophyll and phaeo-pigment data were obtained in file 2019-005 CHL QF*.xlsx. The file included comments and flags and a precision study. A simplified version of the spreadsheet was prepared and saved as 2019-005chl.csv. The csv file was then converted to individual CHL files.

SALINITY

Salinity analysis was obtained in file QF2019-005SAL.xlsx which included a precision study. The analyses were carried out in a temperature-controlled lab 52 to 63 days after collection. The files were simplified and saved as 2019-005sal.csv. That file was then converted to individual SAL files.

51 Salinity:Bottle values required recalculation due to non-linearity in Autosal s/n 68572. See the notes in the above document for more details.

NUTRIENTS

The nutrient data were obtained in spreadsheet NUTS_QF2019-005*.xlsx. This includes a precision study and a comparison of nutrients collected using both polypropylene bottles and plastic tubes for 2 casts. Polypropylene bottles were used because there were not enough plastic tubes due to extra stations being added. The file was simplified, saved as 2019-005nuts.csv and converted to individual NUT files.

AMMONIUM

NH4 data were obtained in spreadsheet 2018-39 QF NH4*.xlsx. This includes a precision study. The file was simplified and saved as 2018-039NH4.csv. This file was converted to NH4 files.

The SAL, CHL, OXY, NUT and NH4 files were merged with CST files in 5 steps.

The CST files for events 67 and 163 needed reordering to make this work.

After the 5th step the files were put through CLEAN to reduce the headers to File and Comment sections only.

The files were then put through CLEAN to reduce the headers to File and Comment sections only.

These files are ordered on sample number, but the SAMAVG files are ordered on bottle number, so one or the other set needs to be reordered in order to merge them. The MRGCLN1 files were reordered on Bottle_Number and saved as *. MRGCLN1s.

The MRGCLN1s files were then merged with SAMAVG files using merge channel Bottle_Number.

The output of the MRG files were exported to a spreadsheet and compared to the rosette log sheets to look for omissions. Some problems were found including errors in the ADDSAMP file for cast #61:

- Events 173 to 188 were missing sample numbers.

- Event #64 had a line for Niskin 1 – that bottle was closed by mistake and was replaced; no sample number was assigned and no samples taken, so the line was removed from the SAM file. Bottles 17 to 23 were also removed as they were only closed for testing. The SAM file was bin-averaged again. The Merge with MRGCLN1s was repeated.

- Event #163 – like 64 except Niskin 2 was removed.

- Event #43 – DO was identified as #42 so missed in merge process. Renamed and bottle file rebuilt.

- The nutrients for event #61/63 were separated and needed to be combined and named as 61.

- Cast #64 had CHL samples which belonged in #61.

##### Compare

Salinity

Compare was run with pressure as reference channel.

There were 4 major outliers but 3 were very close to the surface and 3 had high standard deviations in the CTD salinity. The largest differences were all at 5m; the bottle salinity was higher than CTD salinity, so this is likely a case of incomplete flushing of Niskin bottles in the presence of a large salinity gradient. There is no evidence of problems in collection or analysis.

After excluding those outliers and cases where the CTD salinity standard deviation is >0.0008psu and differences >0.02psu, the primary and secondary CTD salinity channels are low by an average of 0.0032psu and 0.0012psu. The standard deviations were 0.0030 and 0.0029psu.

When only bottles from below 275db were included the fit is much flatter, likely due to incomplete flushing of bottles in the higher gradients near the surface. The primary salinity was found to be low by 0.0023psu and the secondary by 0.0001psu. The standard deviations were 0.0017 and 0.0014psu.

For full details for the COMPARE run see file 2019-005-sal-comp1.xls.

Dissolved Oxygen

COMPARE was run with pressure as the reference channel.

The data for each DO sensor were assessed separately.

Values flagged by the analyst were investigated and all cases where there was a leak reported resulted in no errors large enough to show up in the comparison.

The analyst had flagged some values because the values were out of line in profile but noted that no problem could be found. Those same values were out of line in the comparison. They include:

- Event 54 – Sample 101 – this case was thought possibly to be due to a misfire and the nutrient samples confirm that is likely the case. Ammonium and CHL aren’t as clear but likely support that judgment. The draw temperature is slightly out of line. All analysts agreed that samples should be padded and flagged 5.

- Event 87 – Sample 211   - The CTD profile does not have a reversal at that level. The 4 flag is appropriate since there was an endpoint problem.

- Event 105 – Samples 239, 240, 241. The DO values are low. The DO samples look like they would fit if they were each placed 1 bottle deeper, but there is a clear note in the log that the deepest bottle did not close making that shift impossible. Nutrients are hard to judge. A full profile shows that there are some very large DO gradients and some reversals. The outliers are likely due to incomplete flushing and reversals, so the value is likely correct.

- Event 108 – Sample 261 – There is a high DO gradient at this depth, so incomplete flushing likely accounts for the outlier.

- Event 127 – Sample 335 - There is a high DO gradient at this depth and a DO reversal so a combination of incomplete flushing and reversal likely accounts for the outlier.

- Event 138 – Sample 365 - There is a high DO gradient at this depth, so incomplete flushing likely accounts for the outlier.

Another outlier was flagged as a replicate outlier, so the values were examined to see if one looked better than the other in comparison to the CTD DO.

- Event 132 – Sample 347 – During this stop the CTD DO rose from 5.7 to 8mL/L so it is not surprising if there was some variability in the bottle – the local gradient was very high. There was likely incomplete flushing keeping the value lower than in situ values.

The only outliers not flagged by the analyst were associated with high standard deviations in the CTD DO or were near the surface in large gradients where incomplete flushing leads to the CTD looking higher than bottles.

After those outliers were excluded plus others based on residuals the fit was:

CTD DO Corrected = CTD DO * 1.0300 + 0.0226 (R2 = 0.93)

The slope of this fit is very close to results for other cruises using this equipment, but the offset is smaller. During 2019-001 the fit was:

CTD DO Corrected = CTD DO * 1.0299 + 0.0275

A test was run to see if there was a significant error in this fit due to incomplete flushing of Niskin bottles. Only bottles from below 90db were included in the fit and one outlier was excluded; the slope of the fit was almost identical though the offset was higher at 0.0258mL/L. Corrections applying the 2 fits to an uncorrected DO of 6mL/L differed by about 0.003mL/L. So the effect of flushing errors on the fit is likely small.

A hysteresis check was done by comparing differences above and below 1000db. There are few deep data, but those available are in line with the shallower values.

Plots of Titrated DO and CTD DO against CTD salinity were examined. No further outliers were found.

Fluorescence

COMPARE was run with extracted chlorophyll and CTD Fluorescence using pressure as the reference variable.

The ratio of FL/CHL versus CHL had the shape typical of these sensors starting at about 3 to 5 for very low CHL and dropping to about 1 when CHL approaches 1ug/L. The ratio drops to <1 for CHL>7ug/L.

Averaged over the whole data set the fluorescence values are ~75% of the Chlorophyll.

##### Conversion of Full Files from Raw Data

All files were converted using 2019-005-ctd.xmlcon. The Tau function and the hysteresis function were selected since there was deep sampling. Depth was included in the conversion.

A few casts were examined and all expected channels are present. The T and C pairs were reasonably close during downcasts with upcasts quite noisy, as usual. Fluorescence, PAR and Dissolved Oxygen profiles looked normal. The “Green” transmissometer was generally about 2% higher than the “Red” one; the profiles had similar shapes. The altimetry looked fine near the bottom.

##### WILDEDIT

Program WILDEDIT was run to remove spikes from the pressure, depth, conductivity & temperature only in the full cast files (*.CNV).

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 100

The parameter “Keep data within this distance of the mean” was set to 0 so all spikes would be removed.

##### ALIGN DO

A few casts were examined; both temperature channels were noisy during upcasts so the tests were not easy to interpret, but using +2.5s certainly improves the alignment and overall looks like a good choice for both sensors. That setting has worked well for many sensors in recent years.

ALIGNCTD was run on all casts using +2.5s.

##### CELLTM

The noise in the upcast data makes tests for the best parameters for this routine very difficult to interpret. In the past when upcast data were not so noisy, the default setting of (α = 0.0245, β=9.5) was generally found to be the best choice. A few casts were checked for this cruise and the default setting does improve the data. CELLTM was run using (α = 0.0245, β=9.5) for both the primary and secondary conductivity.

##### DERIVE and Channel Comparisons

Program DERIVE was run on all casts to calculate primary and secondary salinity and dissolved oxygen concentration.

DERIVE was run a second time on 3 of the deeper casts to find differences between the pairs of temperature, conductivity and salinity channels. A sampling of results from other cruises using the same equipment are included (with grey highlights) to enable tracking of drift. The differences are fairly small but there is evidence of drift.in conductivity and salinity. The salinity differences are a little higher than those found in the bottle comparison; this could be a result of slight mis-alignment which is not a factor during the bottle stops.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2018-01-0043 | 1000 | -0.0006 | -0.0002 | -0.0021 | High, Noisy |
| 2018-01-0062 | 1000 | -0.0006 | -0.0002 | -0.0021 | High, XNoisy |
| 2019-001-0020 | 1000 | -0.0009 | +0.00007 | +0.0019 | High, XNoisy |
| “ | 1900 | -0.0008 | +0.00005 | +0.0019 | “ |
| 2019-001-0037 | 1000 | -0.0009 | +0.00008 | +0.0019 | High, XNoisy |
| “ | 1900 | -0.0010 | +0.00007 | +0.0021 | “ |
| 2019-001-0049 | 1000 | -0.0005 | +0.00010 | +0.0019 | High, XNoisy |
| “ | 1900 | -0.0007 | +0.00010 | +0.0020 | " |
| 2019-016-0042 | 325 | +0.0009VN | +0.00020 | +0.0012N | High, Steady |
| 2019-016-0055 | 325 | +0.0004 | +0.00016 | +0.0012 | High, Noisy |
| 2019-016-0084 | 325 | +0.0005 | +0.00013 | +0.0010 | Moderate, Noisy |
| 2019-005-0051 | 1000 | -0.0010 | +0.00015 | +0.0028 | High, V.Noisy |
| “ | 1900 | -0.0006 | +0.00015 | +0.0025 | “ |
| 2019-005-0087 | 1000 | -0.0010 | +0.00016 | +0.0029 | High, Noisy |
| “ | 1900 | -0.0006 | +0.00015 | +0.0024 | “ |
| 2019-005-0159 | 1000 | -0.0009 | +0.00020 | +0.0034 | F.High, Noisy |
| “ | 1900 | -0.0007 | +0.00018 | +0.0030 | “ |

##### Conversion to IOS Header Format

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to add event numbers and to replace pad values in the pressure channel with interpolated values based on record number.

##### Checking Headers

The cross-reference check was run. No errors were found.

The header check was run. No problems were found.

Cruise tracks were plotted and added to the end of this report.

Sounder readings need 4.5m added to get real water depths. Log entries came from sounder though possible a few had 4.5 added.

Header data for file name and water depth were extracted from the CLN files, 4.5m were added to each entry and the resulting file was saved as 2019-005-mrh-water-depth.csv.

Program “Merge CSV file to Headers” was then applied to the CLN files to produce MRH files with the corrected water depths.

Checks will be made in the next step to find if some header entries were already adjusted at sea.

The altimeter and water depth readings from the headers of the MRH files were exported to spreadsheets. A check value was calculated by subtracting water depth from maximum depth sampled plus altimetry header. Where that number was low by more than 4m to 10m it was assumed that the water depth had actually been adjusted at sea. Cases where the difference suggests that the water depth was adjusted at sea were events 2, 15, 49, 54, 72, 85, 94, 114, 120, 121, 154 and 185. The CLN files for those casts were copied to MRH files and the extraction of altimeter and water readings was repeated.

Other casts (17, 70, 83, 86, 103, 125, 156, 163 and 188) were then identified with large check values. The altimetry looked fine for all. In a few cases the log entry had been miscopied, and in some cases there is some evidence of drift through the cast. For cast 70 the water depth was way out of line. A best guess was made based on log notes and the check value. Changes were made to MRH file headers.

File 2019-005-mrh-water-depth.csv was adjusted with the new bottle depths determined from the full files as noted above and the file was saved as 2019-005-mrh-water-depth-bottles.csv. Program “Merge CSV file to Headers”  was then applied to the MRGCLN2 files to produce MRGMRH files. A further check was made of bottle files with only near-surface bottles to see if the altimetry headers might mislead users into thinking there was near-bottom sampling. Altimetry headers were removed from casts #10 and 173.

There is contradictory information concerning the pressure accuracy.

- A surface check was run and shows an average surface pressure for the cruise was 3.2db which is reasonable for the Tully.

- During 2019-001 the average surface pressure was 2.9db which is a little low for the Tully in open waters.

- The CTD was taken out of water for a few seconds during cast #49 to get a PAR reading in air. The lowest pressure recorded is 0.9db but the data associated with that reading look like in-water readings, though the pumping may affect that since the time in air was extremely short. The transmissivity is ~0 during that period suggesting it was in a surface slick.

- During cast #10 pressures were as low as 0.3db with transmissivity looking like the sensor was in water; the pumps were off so other channels are not very informative but the secondary conductivity is very low while the primary is not, so it may have left the water briefly.

If the pressure is actually too high by 0.9db that would indicate an average surface pressure for this cruise was really 2.3db and for 2019-001 it would be 2.0db. Those seem unusually low for the Tully in open waters. For the Vector cruise in April, 2019-038, it would be 1.4db, again an unusual result. So there is some evidence that the pressure might be reading a little too high but it is not convincing and it is within 1db. No recalibration will be applied.

Since events #62 and 63 contain no upcast data they were removed from the file list and will not be processed further.

##### Shift

Fluorescence

SHIFT was run on the SeaPoint fluorescence channel in all casts using the usual advance of +24 records. Plots show that the fluorescence offset is reasonably close to the temperature offset after this step.

Dissolved Oxygen

The Dissolved Oxygen voltage channel was aligned earlier. A few casts were checked to see if the alignment looked ok, and it did. No further alignment is needed for the DO concentration channel,

Conductivity

Tests were run on 3 casts to assess what settings should be used to align conductivity with temperature as judged by the effect on salinity as seen in T-S space. The best setting for both sensors was -0.7records.

SHIFT was run twice on all SBE911 casts using -0.7 records for the primary and secondary conductivity. Salinity was recalculated for both channels.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: The only warning was for cast #106 which was aborted. That cast was removed from the file list and will not be processed further.

##### Other Comparisons

Experience with these sensors since last factory service –

The pressure, temperature and conductivity sensors have been used on 6 cruises since they were last serviced. Two of the cruises did not have useful calibration sampling. During 2018-030 the primary salinity was found to read low by 0.002 and the secondary by 0.001. During 2018-032 there were problems with the salinometer so the comparison was not trusted. During 2019-003 and 2019-001 the primary salinity was low by ~0.002 and the secondary was low by <0.001psu.

The DO sensor #3234 was used for 5 of those cruises noted above. The fits had slopes varying from 1.025 to 1.032 and offsets from 0.0096 to 0.0275.

Historic ranges – Profile plots were made with 3-standard deviation climatology ranges of T and S superimposed. All temperatures fell within the climatology except for a few high temperatures in the Strait of Georgia. All salinity values were also within the climatology except for some casts with high salinity around 60m in the middle of the LC and LG lines, station C2 and LJ2 to LJ5. These look like real variations rather than evidence of a calibration problem.

Repeat Casts – The only repeat casts had one of the pair too shallow for a useful check, but during 2019-001 repeatability was found to be excellent.

Post-Cruise Calibration – There were no post-cruise calibrations available.

##### DETAILED EDITING

There was more noise in the secondary channels and more unstable features in T-S space than with the primary channels with the exception of casts #120 and 121 when the primary T-S plots had unstable features not seen in the secondary. All DEL files were copied to *.EDT.

CTDEDIT was used to remove records that appear to be corrupted by shed wakes. Salinity was cleaned to remove spikes that appear to be due to small misalignment or instrumental noise. All files required some editing. Notes about editing applied were added to the files.

The edited files were copied to *.EDT.

After editing T-S plots were examined for all casts. There are some small unstable features that are likely real. No further editing was done.

##### Recalibration

Pressure tests during previous cruises did not indicate any problem with pressure. The evidence from this cruise is confusing and no correction will be applied.

File 2019-005-SBE911-recal.ccf was prepared to recalibrate by adding 0.0023psu to channel Salinity:T0:C0 and to apply the following correction to channel Oxygen:Dissolved:

CTD DO Corrected = CTD DO * 1.0300 + 0.0266

No correction is needed for the secondary salinity.

This correction was first applied to the SAM and MRGMRH files.

COMPARE was rerun for salinity to ensure that corrections were appropriate and they were. The primary salinity was found to be low by an average of 0.0002psu. See file 2019-005-sal-comp2.xls for details.

COMPARE was rerun for dissolved oxygen and shows that the correction was applied properly. When data are excluded based on residuals, the CTD DO was high by an average of 0.0004mL/L. This result is excellent and shows the recalibration worked well. See file 2019-005-DO-comp2.xls for details.

CALIBRATE was then run on the EDT files using the same recalibration file.

##### Final Calibration of DO

The initial recalibration of dissolved oxygen corrects for sensor calibration drift. Alignctd corrects for transit time errors. Those 2 steps may partly correct for response time errors, but to see if a further correction is needed, a comparison is made of downcast CTD data to bottle data from the same pressure. Small differences are expected due to ship drift, temporal changes, incomplete flushing of Niskin bottles and delayed response and noise in CTD data.

Downcast files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned and compared to the bottle values in the MRG files. COMPARE was run to study the differences between the downcast CTD DO data and the titrated samples from upcast bottles.

When a few large outliers were removed based on differences and some others based on residuals the CTD DO was higher than the titrated samples by an average of ~0.02mL/L (standard deviation of 0.04mL/L). This is a little higher than seen during 2019-001 but that cruise had a much smaller proportion of data from the high DO gradient regions and included cases below the OMZ where the bottle flushing and CTD response errors are of the opposite sign. The difference between bottles and CTD is likely due to a combination of uncorrected flushing errors lowering the bottle data and slow response of the CTD DO so it is reading a little too high in the high DO gradients. This is likely the best fit we can achieve.

No further recalibration was applied. See 2019-005-dox-comp3.xlsx for details.

##### Fluorescence Processing

A median filter, size 11, was applied to the fluorescence channel in the COR1 files. Plots of a few casts showed that the filter was effective. (Output:*.FIL)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure	Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

On-screen T-S plots were examined.

Profile plots were examined to see if there any problems. No problems were noted.

##### Final CTD File Steps (REMOVE and HEADEDIT)

For all casts except #120 and 121 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

For casts #120 and 121 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Conductivity:Primary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T0:C0 and Flag.

A second SBE DO channel (with umol/kg units) was added.

REORDER was run to get the two DO channels together.

HEADER EDIT was used to fix formats and channel names, to fix the project name and to add the header comments.

The Standards Check routine was run and no problems were found.

The Header Check was run; no problems were found.

Profile and T-S plots were examined. There are some small unstable features in T-S plots but they are likely real. The transmissivity2 (red) channel is extremely noisy between 100m and 450m during the downcast, but looks ok in the upcast. The other transmissivity channel is not noisy, nor is there any evidence of a problem in any other channels. No editing was applied. No other problems were found.

The sensor history was updated.

##### Dissolved Oxygen Study

As a final check of dissolved oxygen data, % saturation was calculated and plotted. Values ranged from ~80% to 140%. The only value <90% came from Station LBP3. The highest values came from stations close to shore. The casts furthest offshore mostly had values close to 104% and none were higher than 109%. We typically see values between 103 and 105% far offshore.

##### Final Bottle Files

An error was found in the salinity for 6 casts (117, 124, 136, 145, 161, 172) due to loop salinity having overwritten the rosette sample values. This was fixed.

The MRGCOR1 files were put through SORT to order on increasing pressure.

For all casts except #120 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Secondary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T1:C1 and Flag.

For cast except #120 REMOVE was run to remove the following channels:

Scan_Number, Temperature:Primary, Conductivity:Primary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter, Salinity:T0:C0 and Flag.

A second SBE DO channel with mass units was added for both the CTD DO and titrated DO and REORDER was run to get the pairs of DO channels together.

HEADER EDIT was run to ensure formats and units are correct, correct the vessel name, change the channel name Bottle_Number to Bottle:Firing_Sequence and the name Bottle:Position to Bottle_Number and to add a comment about quality flags and analysis methods and a few notes about the CTD data processing.

Data were exported from the CHE files to file 2019-005-bottles-final.xls. The entries were compared with the rosette log sheets. No problems were found.

Standards check and a header check were run. No problems were found.

The track plot looks ok.

Profile and T-S plots of each file were examined and no problems were found.

A cross-reference listing and header check were produced for the CHE files.

##### Thermosalinograph Data

A TSG45 was used for this cruise. It does not support having a fluorometer attached, so the TSG output has to be combined with that from a fluorometer. There were 5 files provided but one was from another cruise that had already been processed and 2 were empty. The 2nd file was very large so will be divided into files of 3 days length.

The intake is at about 4.5m.

The files have extensions RAW but are in csv format, so the files were opened in EXCEL and saved as CSV files. In opening use DELIMITED, deselect TAB, select COMMA and OTHER - *.

It was necessary to choose TEXT for the time on the 2nd page of the text import wizard.

The columns in the RAW files are:

Date UTC

Time UTC

Identifier – not needed in processing

Remote temperature (SBE38)

Lab (TSG) temperature (SBE45)

Conductivity

Flow in ℓ/minute

Fluorescence in V

Latitude  - decimal format

Longitude – decimal format

Checksum, - not needed in processing

The spreadsheet was adjusted as follows:

- 2 lines of headers were added – channel names and units.

- The file was then saved in CSV format – the name is not critical at this point.

- A column with pressure was added with all values set to 4.5 (to enable derivation of salinity).

- A temperature difference column was added (Lab-Intake).

- The fluorescence channel is in volts. It was moved to column M. Then a concentration value was calculated in column F using offset -0.04 and scale 13.1 as determined in the most recent recalibration of the fluorometer.

- Copy/Special Paste was used to save the values and then the voltage channel was removed.

- A file break column was filled with the cruise #-data/time info from the original file name. But some of the files were very large, so the file break was changed at the beginning of every second day to produce smaller files with names having format YYYY-###-YYYYMMDD-HHMMSS to show the opening date of the file.

- Time and Date formats are a problem – when converting from RAW choose TEXT but once open in EXCEL set Time Format  to HH:MM:SS and save the file again. (Any time the file is opened in EXCEL the time format may have to be set again before saving.) Using “custom” formats seems to work best.

The files were then converted to IOS format with header info added. There are 6 files, with the start time of each file given in the file name.

CLEAN was run to reset the number of records, min and max values, set the start and end times, and latitude and longitude limits.

ADD TIME CHANNEL was used to add Julian dates – i.e. Decimal Year. (To do this tick “Add offset from Time Zero in Days” and enter Time Zero as the last day in the previous December at 00:00:00.)  A record number was also added to enable averaging (for use in comparison to CTD files).

DERIVED QUANTITIES was run to derive salinity using the lab temperature.

REORDER was run to move the Julian date to after the Time/Date channels and to put salinity and fluorescence after the lab temperature. Also the record # was moved to the end.

a.) Plots

A track plot was produced and added to the end of this document.

Time-series plots were examined on screen.

For the first file there was no flow and no ship motion until 1827 UTC, so the first part of this file should be removed at the editing phase and the name changed to reflect the time the ship started moving.

The flow was off for part of the first and last files. No other problems were noted.

The flow rate was very steady from about 19:26 on May 22nd.

b.)  Checking Time Channel

The CTD files were thinned to reduce the files to a single point from the downcast at or within 0.5db of 4.5db. These were exported to a spreadsheet which was saved as 2019-005-ctd-tsg-loop-rosette-comp.xlsx. There were 90 CTD casts that overlapped with the TSG record but for the first cast the TSG loop flow was high and differences between intake and lab temperatures very high, so that was removed from the comparison. Two other casts had no temperature or salinity data available from the relevant depth, so those were removed leaving 87 points of comparison. The first TSG file did not overlap with any CTD casts.

Bin Average was used to average TSG files over 6 records (30s) and standard deviations were calculated. REMOVE was used to remove unwanted standard deviation channels.

Each file was opened in EXCEL and reduced to the just records required for comparisons with CTD casts.

The data needed for comparison with the CTD data were then exported to a spreadsheet (Time, positions, intake and lab temperatures, salinity, fluorescence and flow rates plus the standard deviations for all except time and positions.)

TSG Data were selected for the times of CTD casts and then added to file 2019-005-ctd-tsg-loop-rosette-comp.xlsx.

To check for problems in the TSG clock or bad matches of TSG and CTD data, the differences between latitudes and longitudes were found. There were 2 position differences ~0.001º while the median differences were both 0.00003º. The times were checked for the 2 largest differences and they were a good match. Most differences are very small, so the time and positions in the TSG files are reliable and the matches are good between the two systems. Small errors are caused by averaging and imperfect time matches.

c.) Comparisons

- Comparison of T and S from TSG and CTD data and Rosette samples

|  | lat diff | long diff | Tint-Tctd | Tlab-Tctd | Slab-Sctd | FLtsg/FLctd |
| --- | --- | --- | --- | --- | --- | --- |
| Average | -0.00003 | 0.00005 | 0.2297 | 0.7325 | 0.3785 | 0.63 |
| Median | -0.00003 | 0.00003 | 0.1921 | 0.7456 | 0.4061 | 0.46 |
| Std Dev | 0.00015 | 0.00027 | 0.2645 | 0.3337 | 0.3039 | 0.61 |
| Max | 0.00042 | 0.00107 | 1.3178 | 2.0104 | 1.2102 | 4.99 |
| Min | -0.00069 | -0.00113 | -0.3674 | -0.1530 | -0.3508 | 0.16 |

The intake temperature is higher than the CTD temperature by a median of 0.19C°, a much larger difference than we normally expect; during 2019-001 it was 0.05C° and even that was considered large. A plot of the differences against standard deviation in the TSG temperature does not suggest that noise in the data is an important factor.

The heating in the loop (Temp Lab – Temp Intake) had a median value of 0.50C° which is very close to the results of 2019-001 despite the intake waters being warmer so that we might expect less warming. Small flow rate changes might affect that. However, if the intake temperature is reading too high, then we should look at heating in the loop as being temperature in the lab minus CTD temperature. That approach suggests heating in the loop to be about 0.75C°. A plot of heating versus CTD temperature does show the usual pattern of less warming as intake temperature increases, though the temperature range is small.

The TSG salinity values were quite close to the CTD during 2019-001 (low by a median of 0.009psu and by 0.004psu from P8 to P26), but during this cruise they are high by ~0.4psu. Comparison of conductivity from a few casts show the TSG values to be higher than CTD values, but temperatures are also very different.

The ratio of TSG fluorescence to CTD fluorescence range from 0.2 to 5 with a median value of 0.46.

During 2019-001 there were serious problems with the TSG fluorescence as values fell relative to CTD values through the cruise. For this cruise no such problem is noted. The TSG is generally lower and less variable, but the pattern is similar. Note that the ranges for the 2 series are different. The TSG values are almost always lower than those from the CTD but towards the end of the cruise there are a few cases where they are higher.

- Comparisons of loop samples with rosette samples

There were just 5 cases of salinity sampling from the rosette that overlapped with loop samples. The differences ranged from the loop salinity being low by 0.0037 to high by 0.0276psu with a median showing the loop to be low by 0.0039psu.

There were 8 points of comparison for CHL and the range of the ratio Loop CHL/ROS CHL was 0.49 to 1.06 with a median value of 0.93. The lowest ratio included a loop sample flagged 36.

- Comparisons of loop samples and TSG data

There were 11 loop Salinity and 12 loop CHL samples of which 4 were taken underway.

The TSG fluorescence was lower than the loop CHL with the ratio of TSG FL/Loop CHL having a median value of ~0.4. When the ship was underway the ratio was slightly lower than when stopped. The loop CHL compares well with the rosette samples.

The TSG Salinity was higher than the loop salinity by a median value of 0.34psu; while stopped the difference was 0.32 and while moving 0.42psu. The loop salinity is higher than the rosette salinity samples by ~0.004psu, so the large difference between TSG and loop must be presumed to be primarily due to poor TSG data. Similarly the loop CHL is ~90% of the rosette CHL values so the

For details on comparisons see document 2019-005-ctd-tsg-loop-rosette-comp.xls.

d.) Calibration History

- During 2018-026 this system was used for the first time. The intake temperature sensor read higher than the CTD temperature by a median of 0.03C°. The lab temperature was higher than the intake temperature by more than expected based on previous experience with heating in the loop on the Tully. The salinity traces were quite smooth with only a few very small spikes. Salinity read lower than the CTD. The differences were not sufficiently consistent to allow recalibration. The data were archived but with a warning that there was insufficient calibration sampling to assess quality.

- The results from 2018-025 suggest that there were problems with flow in the loop.

- During 2018-034 Salinity was lower than the CTD by a median of 0.030psu. Lab temperatures were higher than CTD temperatures by a median of 0.66 C°. The intake temperatures were high by a median of 0.072 C° using all data or 0.058 C° in a “quiet section”. Fluorescence from the TSG was lower than the CTD fluorescence except in areas where CHL was low. The comparisons have a lot of scatter and recalibration was not attempted. The data were archived but with a comment about the intake temperature being further from the CTD data than expected and heating in the loop being higher than when the SBE21 was in use. Because of the limitations only 3 decimal places will be shown for temperature and salinity.

- During 2018-040 the TSG fluorescence was removed as it looked unreliable, starting with values close to the CTD but increasing until it was 60 times the CTD values. Salinity was lower than that from the CTD by a median of 0.032 and lower than loop samples by 0.034psu. The intake temperature was higher than the CTD temperature by a median of 0.0032C°.  The lab temperature was higher than the intake temperature by ~0.28 C°.

- During 2019-001 the TSG fluorescence values started unbelievably high, but the values dropped through the cruise getting closer to CTD and loop values. The TSG intake temperature was higher than the CTD by about 0.05C°. The lab temperature was higher than the intake temperature by ~0.5C°. Salinity was lower than CTD and loop by between 0.003 and 0.009psu.

e.) Conclusions

1. The TSG clock worked well.

2. There were 87 points of comparison with CTD.

3. After an initial period with no flow and then very high flow, the flow rate was very steady with values around 1.0L/min. That is close to the flows recorded during 2019-001.

4. The intake temperature is reading higher than the CTD by much more than usual, with a median difference of 0.19C°. The differences are largest near the end of the cruise. There were larger vertical temperature gradients for those casts, so a mismatch in depths can account for the increased differences. A number of casts were examined that had a differences ~0.2 and those mostly looked well mixed at the surface. So the local gradients don’t seem to support this large a difference unless the loop is drawing water from well above 4.5m.

5. TSG Salinity is reading higher than the CTD by a median of ~0.4psu except later in the cruise when the differences are lower, likely due to higher vertical salinity gradients so that drawing water from a little higher than the CTD depth would be significant. The TSG salinity is also higher than loop salinity by a median of 0.34psu. So TSG salinity is definitely reading too high. In other uses of this equipment it has always read a little too low, so this is a notable difference.

6. The lab temperature is higher than the CTD temperature by a median of 0.74C°. So heating in the loop is 0.74C° if we trust the lab temperature but not the intake temperature. If we trust both TSG temperatures heating in the loop is 0.5C° which is the amount of heating in the loop for 2019-001 when the flow rate was also ~1.

7. The history of the instrument shows the intake temperature generally reading significantly high. The only exception was for cruise 2018-040 when it was high by only 0.003C°. For that cruise the heating in the loop was also much lower.

8. We have much to learn about this new TSG. Could the intake temperature be affected by nearby ship equipment? Could there be both heating and cooling within the loop as the water passes through different environments?

9. The TSG fluorescence values are about 50% of those from the CTD fluorescence and 40% of loop extracted chlorophyll samples, but it looks much better than for the past 2 cruises and does give a picture of variability.

10. A preliminary report from 2019-006 that followed this cruise shows the TSG temperature and salinity channels were in line with expectations, so whatever was wrong during 2019-005 did not persist. However, the fluorescence was poor during 2019-006. Could very low flow cause problems in the TSG? It is noted that during 2019-006 many systems were drawing water from the loop so time in the loop was reduced.

11. The data do not look reliable and should not be archived unless further information becomes available that enables recalibration. (If that occurs there will be a need for a little editing to remove times of 0 or high flow, recalibration, derivation of sigma-T and headers will need editing.)

General Comments

PAR off: None

Casts with bottle fired out of order: 10, 36, 63, 64, 82, 105, 141.

Casts with no Niskin closed: 1, 30, 34, 38, 40, 45, 46, 49, 51, 58, 62, 66, 70, 72, 77, 78, 80, 83, 86, 94, 98, 101, 110, 114, 115, 121, 125, 128, 131, 139, 147, 151, 154, 159. (And 160 was aborted)

Split casts:61,63 – full downcast in 61, need to join upcast files.

Cruise # wrong in headers up to cast 82 – fixed if file opened for other reasons but this doesn’t matter since the file name is entered correctly in those files.

Particulars

1. All bottles closed but none needed. Stn name wrong.

49. Held above surface for a few seconds for PAR.

61. Contains downcast and up to 750m – Niskins 1-4 only, Niskin 5 did not close.

62. Only a few minutes at 750m, no Niskins.

63. Continuation of cast 61 upcast with rest of Niskins but Niskin 22 did not close.

64. Niskin 1 closed by mistake at 250m. Niskin 24 used to replace Niskin 1 at 30m. Niskins 17-23 closed to check but not needed in the file.

66. All Niskins closed to check – none needed.

70. All Niskins closed to check – none needed.

72. All Niskins closed to check – none needed.

78. All Niskins closed to check – none needed.

83. Stop during downcast @198 due to large outward lead.

105. Niskin 1 not closed, lanyard was hooked at Niskin 24.

106. Cast aborted due to hydraulic leak form LARS head. 10 Niskins closed to avoid contamination but station itself was cancelled.

110. All Niskins closed at surface – none needed.

132. Niskin 1 did not close.

154. Had to stop cast mid way due to wire angle.

163. Niskin 2 closed by mistake, not sampled, not needed.

173. Niskin 2 closed by mistake at Bot-10, not needed. Use Niskins 2 to 11.

2019-005

CRUISE SUMMARY – CTD

| CTD# | Make | Model |  | Serial# |  | Used with Rosette? |  | CTD Calibration Sheet Competed? |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ |  | 0506 |  | Yes |  | Yes |  |  |  |
| Calibration Information - 0506 |  |  |  |  |  |  |  |  |  |  |  |
| Sensor |  |  |  |  | Pre-Cruise |  |  |  | Post Cruise |  |  |
| Name |  |  | S/N |  | Date |  | Location |  | Date | Location |  |
| Temperature |  |  | 2023 |  | 06Sep2017 |  | Factory |  |  |  |  |
| Conductivity |  |  | 1763 |  | 06Sep2017 |  | Factory |  |  |  |  |
| Secondary Temp. |  |  | 5013 |  | 02Sep2017 |  | Factory |  |  |  |  |
| Secondary Cond. |  |  | 3394 |  | 6Sep2017 |  | Factory |  |  |  |  |
| Transmissometer |  |  | 1883DG |  | 21Nov2018 |  | Factory |  |  |  |  |
| Transmissometer |  |  | 11185DR |  | 16Dec2018 |  | IOS |  |  |  |  |
| SBE 43 DO sensor |  |  | 3234 |  | 16Feb2018 |  | Factory |  |  |  |  |
| PAR |  |  | 70613 |  | 21Mar2016 |  | Factory |  |  |  |  |
| SeaPoint Fluor. |  |  | 3640 |  | Jan 2019 |  |  |  |  |  |  |
| Pressure Sensor |  |  | 0506 |  | 2Sept2017 |  | Factory |  |  |  |  |
| Altimeter |  |  | 62355 |  |  |  | Factory |  |  |  |  |

# TSG Make/Model/Serial#:	SEABIRD/45/0620

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 0620 | 2Aug17 | Factory |  |  |
| Conductivity | 0620 | 2Aug17 | Factory |  |  |
| Temperature SBE38 | ? | ? | Factory |  |  |
| WETStar Fluorometer | 953 | 5May2017 | Factory |  |  |