## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.6 | Run at 2019/09/30 12:50:23 | Compare Excel Add-in Version 2.2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2019-005-0002.mrg | 2019-005-0002.sam | 241 | 4.925 | 4.9247 | 0.051001 | -0.00031996 | 30.594 | 30.5869 | 0.0020307 | -0.0071316 | 30.594 | 30.5889 | 0.00084957 | -0.0051212
2019-005-0004.mrg | 2019-005-0004.sam | 241 | 4.972 | 4.972 | 0.027976 | 4.1485e-05 | 27.2529 | 27.2719 | 0.26384 | 0.018963 | 27.2529 | 26.9583 | 0.21072 | -0.29455
2019-005-0008.mrg | 2019-005-0008.sam | 241 | 5.173 | 5.1735 | 0.03077 | 0.00046492 | 26.8912 | 26.0478 | 0.0018215 | -0.84341 | 26.8912 | 26.0491 | 0.002366 | -0.84208
2019-005-0012.mrg | 2019-005-0012.sam | 241 | 5.141 | 5.1412 | 0.036456 | 0.0002408 | 27.5912 | 27.3725 | 0.089632 | -0.21874 | 27.5912 | 27.3081 | 0.088949 | -0.28308
2019-005-0017.mrg | 2019-005-0017.sam | 241 | 5.36 | 5.36 | 0.058965 | -1.6689e-05 | 31.0705 | 31.0689 | 0.00032745 | -0.001606 | 31.0705 | 31.0712 | 0.00064254 | 0.00065231
2019-005-0043.mrg | 2019-005-0043.sam | 104 | 5.393 | 5.3579 | 0.12177 | -0.035087 | 31.5134 | 31.5089 | 0.00026464 | -0.0044651 | 31.5134 | 31.511 | 0.00027893 | -0.0023918
2019-005-0061.mrg | 2019-005-0061.sam | 80 | 1500.55 | 1500.58 | 0.11145 | 0.032959 | 34.5118 | 34.5092 | 0.00062917 | -0.0025711 | 34.5118 | 34.5113 | 0.00027187 | -0.00045013
2019-005-0061.mrg | 2019-005-0061.sam | 88 | 1250.69 | 1250.64 | 0.097851 | -0.046265 | 34.4473 | 34.4455 | 0.00027799 | -0.0017891 | 34.4473 | 34.4473 | 0.00026309 | 2.2888e-05
2019-005-0061.mrg | 2019-005-0061.sam | 131 | 1000.91 | 1000.88 | 0.097276 | -0.029968 | 34.3667 | 34.3667 | 0.00027095 | -3.8147e-05 | 34.3667 | 34.3684 | 0.00029971 | 0.0016708
2019-005-0061.mrg | 2019-005-0061.sam | 197 | 5.268 | 5.2891 | 0.10844 | 0.021137 | 32.1847 | 32.1816 | 0.00024241 | -0.0031204 | 32.1847 | 32.1835 | 0.0001948 | -0.0011978
2019-005-0067.mrg | 2019-005-0067.sam | 77 | 1499.66 | 1499.67 | 0.11467 | 0.0036621 | 34.5054 | 34.5036 | 0.00025107 | -0.0017548 | 34.5054 | 34.5056 | 0.00024835 | 0.00017166
2019-005-0067.mrg | 2019-005-0067.sam | 67 | 1249.83 | 1249.85 | 0.086088 | 0.014526 | 34.4425 | 34.4416 | 0.0003313 | -0.00091934 | 34.4425 | 34.4434 | 0.00023802 | 0.00088119
2019-005-0067.mrg | 2019-005-0067.sam | 119 | 1000.47 | 1000.52 | 0.12194 | 0.049805 | 34.3715 | 34.3713 | 0.00045395 | -0.00017548 | 34.3715 | 34.3727 | 0.00036119 | 0.0012474
2019-005-0067.mrg | 2019-005-0067.sam | 54 | 749.582 | 749.586 | 0.11897 | 0.0036621 | 34.2591 | 34.2578 | 0.00030419 | -0.0012665 | 34.2591 | 34.2598 | 0.00023743 | 0.00074387
2019-005-0067.mrg | 2019-005-0067.sam | 187 | 500.019 | 499.934 | 0.099987 | -0.08493 | 34.0713 | 34.0703 | 0.00025715 | -0.00098419 | 34.0713 | 34.0722 | 0.00027962 | 0.00094223
2019-005-0067.mrg | 2019-005-0067.sam | 145 | 400.267 | 400.302 | 0.12069 | 0.034759 | 33.9877 | 33.9843 | 0.00028756 | -0.0033722 | 33.9877 | 33.9862 | 0.00027657 | -0.0015183
2019-005-0067.mrg | 2019-005-0067.sam | 146 | 250.088 | 250.044 | 0.11984 | -0.044037 | 33.9506 | 33.9268 | 0.0015995 | -0.023754 | 33.9506 | 33.9294 | 0.00090175 | -0.021225
2019-005-0067.mrg | 2019-005-0067.sam | 156 | 200.295 | 200.298 | 0.088528 | 0.0027313 | 33.8987 | 33.8941 | 0.00074241 | -0.004631 | 33.8987 | 33.8957 | 0.0015446 | -0.002964
2019-005-0067.mrg | 2019-005-0067.sam | 130 | 175.417 | 175.489 | 0.078276 | 0.072449 | 33.8961 | 33.8868 | 0.00067207 | -0.0092926 | 33.8961 | 33.8884 | 0.0003093 | -0.00774
2019-005-0067.mrg | 2019-005-0067.sam | 40 | 149.71 | 149.713 | 0.1097 | 0.0030212 | 33.78 | 33.7754 | 0.00076652 | -0.0045853 | 33.78 | 33.7765 | 0.00038841 | -0.0034676
2019-005-0067.mrg | 2019-005-0067.sam | 80 | 124.848 | 124.844 | 0.11805 | -0.003952 | 33.6542 | 33.6522 | 0.00076472 | -0.0019684 | 33.6542 | 33.6544 | 0.00061259 | 0.00017166
2019-005-0067.mrg | 2019-005-0067.sam | 82 | 100.08 | 100.128 | 0.12777 | 0.048363 | 33.4111 | 33.4016 | 0.0012707 | -0.009449 | 33.4111 | 33.4046 | 0.0019956 | -0.0065117
2019-005-0067.mrg | 2019-005-0067.sam | 209 | 74.932 | 74.889 | 0.079087 | -0.042999 | 32.9919 | 32.9745 | 0.00056668 | -0.017418 | 32.9919 | 32.9767 | 0.00053134 | -0.015225
2019-005-0067.mrg | 2019-005-0067.sam | 103 | 50.358 | 50.3444 | 0.10249 | -0.013554 | 32.4846 | 32.4779 | 0.0041413 | -0.0066795 | 32.4846 | 32.4843 | 0.0096963 | -0.00027847
2019-005-0067.mrg | 2019-005-0067.sam | 181 | 30.195 | 30.2268 | 0.12062 | 0.031801 | 32.4379 | 32.4411 | 0.0010642 | 0.0032043 | 32.4379 | 32.4424 | 0.001146 | 0.0044746
2019-005-0067.mrg | 2019-005-0067.sam | 123 | 20.019 | 19.9338 | 0.11794 | -0.085236 | 32.3931 | 32.3915 | 0.0010383 | -0.0015831 | 32.3931 | 32.3934 | 0.0012661 | 0.00027084
2019-005-0067.mrg | 2019-005-0067.sam | 126 | 10.228 | 10.1999 | 0.093947 | -0.028071 | 32.2757 | 32.2752 | 0.0096745 | -0.00045013 | 32.2757 | 32.2749 | 0.0088243 | -0.00082016
2019-005-0067.mrg | 2019-005-0067.sam | 76 | 4.757 | 4.7505 | 0.12068 | -0.0064607 | 32.2394 | 32.2362 | 0.00048994 | -0.0032234 | 32.2394 | 32.2375 | 0.00057866 | -0.0019302
2019-005-0082.mrg | 2019-005-0082.sam | 698 | 4.939 | 4.9002 | 0.10381 | -0.038834 | 32.5791 | 32.5702 | 0.0025287 | -0.0089226 | 32.5791 | 32.5724 | 0.0023898 | -0.0066567
2019-005-0085.mrg | 2019-005-0085.sam | 38 | 1250.15 | 1250.16 | 0.098161 | 0.01123 | 34.4504 | 34.4487 | 0.0002491 | -0.0016556 | 34.4504 | 34.4514 | 0.00027967 | 0.0010452
2019-005-0085.mrg | 2019-005-0085.sam | 40 | 1000.14 | 1000.13 | 0.10992 | -0.0065308 | 34.3748 | 34.3737 | 0.00025537 | -0.001133 | 34.3748 | 34.376 | 0.00024524 | 0.0012207
2019-005-0085.mrg | 2019-005-0085.sam | 117 | 5.455 | 5.4871 | 0.11804 | 0.032128 | 32.4398 | 32.4361 | 0.00038186 | -0.0036583 | 32.4398 | 32.4384 | 0.00037754 | -0.001358
2019-005-0087.mrg | 2019-005-0087.sam | 95 | 2000.54 | 2000.53 | 0.13021 | -0.014038 | 34.5956 | 34.5946 | 0.00026356 | -0.00099564 | 34.5956 | 34.597 | 0.00025733 | 0.0013542
2019-005-0087.mrg | 2019-005-0087.sam | 113 | 1499.39 | 1499.36 | 0.10194 | -0.024902 | 34.5108 | 34.507 | 0.00030631 | -0.0037498 | 34.5108 | 34.5091 | 0.00027299 | -0.0017395
2019-005-0087.mrg | 2019-005-0087.sam | 62 | 1250.02 | 1250.04 | 0.10862 | 0.011841 | 34.4699 | 34.4674 | 0.00023291 | -0.0024948 | 34.4699 | 34.4693 | 0.00023583 | -0.00057602
2019-005-0087.mrg | 2019-005-0087.sam | 187 | 1000.36 | 1000.43 | 0.10906 | 0.067871 | 34.3798 | 34.3786 | 0.00032381 | -0.0012093 | 34.3798 | 34.3805 | 0.00030614 | 0.00065231
2019-005-0087.mrg | 2019-005-0087.sam | 180 | 750.457 | 750.446 | 0.094363 | -0.010681 | 34.2562 | 34.2514 | 0.00026009 | -0.0047875 | 34.2562 | 34.2531 | 0.00025001 | -0.0030556
2019-005-0087.mrg | 2019-005-0087.sam | 116 | 500.085 | 500.075 | 0.11692 | -0.009613 | 34.1081 | 34.1061 | 0.00029242 | -0.001976 | 34.1081 | 34.1078 | 0.00022835 | -0.00033569
2019-005-0087.mrg | 2019-005-0087.sam | 184 | 400.981 | 401.053 | 0.11794 | 0.071716 | 34.0311 | 34.0297 | 0.00055996 | -0.0013847 | 34.0311 | 34.0316 | 0.00057452 | 0.00050354
2019-005-0087.mrg | 2019-005-0087.sam | 115 | 300.422 | 300.429 | 0.11964 | 0.0072632 | 33.9544 | 33.9505 | 0.00028554 | -0.0038795 | 33.9544 | 33.9524 | 0.00046512 | -0.0020447
2019-005-0087.mrg | 2019-005-0087.sam | 204 | 250.138 | 250.152 | 0.13345 | 0.014313 | 33.9398 | 33.9367 | 0.0009138 | -0.0031128 | 33.9398 | 33.9384 | 0.00050394 | -0.0014153
2019-005-0087.mrg | 2019-005-0087.sam | 142 | 200.16 | 200.199 | 0.095028 | 0.039352 | 33.9221 | 33.9181 | 0.00028377 | -0.0039978 | 33.9221 | 33.9198 | 0.00021159 | -0.0023155
2019-005-0087.mrg | 2019-005-0087.sam | 75 | 175.338 | 175.334 | 0.12736 | -0.0043488 | 33.8682 | 33.8696 | 0.0028642 | 0.0014191 | 33.8682 | 33.8745 | 0.0026548 | 0.006279
2019-005-0087.mrg | 2019-005-0087.sam | 88 | 150.676 | 150.733 | 0.11985 | 0.057159 | 33.7217 | 33.7216 | 0.00030447 | -8.0109e-05 | 33.7217 | 33.7235 | 0.00024133 | 0.0017586
2019-005-0087.mrg | 2019-005-0087.sam | 173 | 125.125 | 125.1 | 0.11213 | -0.025063 | 33.3845 | 33.3857 | 0.0015919 | 0.0011749 | 33.3845 | 33.3879 | 0.00084809 | 0.0033646
2019-005-0087.mrg | 2019-005-0087.sam | 125 | 100.643 | 100.686 | 0.1076 | 0.042808 | 32.9083 | 32.9238 | 0.0085423 | 0.015488 | 32.9083 | 32.9212 | 0.0042559 | 0.012897
2019-005-0087.mrg | 2019-005-0087.sam | 154 | 75.06 | 75.0546 | 0.078325 | -0.0053711 | 32.5442 | 32.5498 | 0.0019267 | 0.0055771 | 32.5442 | 32.5519 | 0.0023015 | 0.00774
2019-005-0087.mrg | 2019-005-0087.sam | 154 | 49.803 | 49.7651 | 0.089396 | -0.037853 | 32.3988 | 32.3961 | 0.0003293 | -0.0026894 | 32.3988 | 32.3979 | 0.00029011 | -0.00088501
2019-005-0087.mrg | 2019-005-0087.sam | 104 | 30.166 | 30.1513 | 0.11069 | -0.014664 | 32.3532 | 32.3469 | 0.0026052 | -0.0063362 | 32.3532 | 32.3517 | 0.0093572 | -0.0014496
2019-005-0087.mrg | 2019-005-0087.sam | 179 | 19.677 | 19.6376 | 0.11394 | -0.039379 | 32.3146 | 32.3108 | 0.0010742 | -0.0038261 | 32.3146 | 32.3052 | 0.047363 | -0.0094452
2019-005-0087.mrg | 2019-005-0087.sam | 220 | 9.869 | 9.8943 | 0.095764 | 0.025322 | 32.3193 | 32.3157 | 0.0004971 | -0.0036469 | 32.3193 | 32.3173 | 0.00089729 | -0.0020447
2019-005-0087.mrg | 2019-005-0087.sam | 204 | 5.355 | 5.3276 | 0.088623 | -0.027426 | 32.3206 | 32.3168 | 0.00028228 | -0.0038147 | 32.3206 | 32.3185 | 0.00051861 | -0.002079
2019-005-0096.mrg | 2019-005-0096.sam | 182 | 5.521 | 5.5116 | 0.10682 | -0.0094233 | 32.4352 | 32.4096 | 0.00092181 | -0.025566 | 32.4352 | 32.4116 | 0.00093862 | -0.02364
2019-005-0111.mrg | 2019-005-0111.sam | 96 | 750.852 | 750.895 | 0.12133 | 0.043213 | 34.2944 | 34.2926 | 0.00027756 | -0.001812 | 34.2944 | 34.2952 | 0.0002366 | 0.00083923
2019-005-0111.mrg | 2019-005-0111.sam | 241 | 5.448 | 5.4483 | 0.075786 | 0.00033617 | 32.3845 | 32.3725 | 0.0025053 | -0.011974 | 32.3845 | 32.3742 | 0.0046222 | -0.010323
2019-005-0117.mrg | 2019-005-0117.sam | 216 | 5.412 | 5.384 | 0.11114 | -0.028042 | 32.3809 | 32.3752 | 0.00026264 | -0.0057182 | 32.3809 | 32.3768 | 0.00019455 | -0.0040627
2019-005-0120.mrg | 2019-005-0120.sam | 110 | 1500.67 | 1500.71 | 0.10517 | 0.04773 | 34.518 | 34.5118 | 0.00085564 | -0.0061951 | 34.518 | 34.5178 | 0.00038533 | -0.00017166
2019-005-0120.mrg | 2019-005-0120.sam | 239 | 1250.9 | 1250.9 | 0.080133 | 0.0014648 | 34.4687 | 34.468 | 0.0007735 | -0.00069046 | 34.4687 | 34.4694 | 0.00030917 | 0.00072479
2019-005-0120.mrg | 2019-005-0120.sam | 164 | 999.816 | 999.767 | 0.10222 | -0.049255 | 34.3994 | 34.397 | 0.00048427 | -0.0023804 | 34.3994 | 34.3999 | 0.00022602 | 0.0004921
2019-005-0120.mrg | 2019-005-0120.sam | 147 | 750.362 | 750.337 | 0.10597 | -0.025269 | 34.2821 | 34.2753 | 0.00033112 | -0.0068092 | 34.2821 | 34.2788 | 0.00022743 | -0.0033264
2019-005-0120.mrg | 2019-005-0120.sam | 200 | 500.913 | 500.904 | 0.11345 | -0.0090942 | 34.1122 | 34.1059 | 0.00054601 | -0.0062714 | 34.1122 | 34.1106 | 0.00021505 | -0.0016327
2019-005-0120.mrg | 2019-005-0120.sam | 70 | 401.436 | 401.468 | 0.12744 | 0.032379 | 34.0165 | 34.0156 | 0.0015956 | -0.00093079 | 34.0165 | 34.0174 | 0.00071603 | 0.00089264
2019-005-0120.mrg | 2019-005-0120.sam | 135 | 300.228 | 300.288 | 0.11219 | 0.060089 | 33.9681 | 33.9646 | 0.001019 | -0.003521 | 33.9681 | 33.9708 | 0.00054371 | 0.0027199
2019-005-0120.mrg | 2019-005-0120.sam | 69 | 250.068 | 250.13 | 0.12138 | 0.0616 | 33.962 | 33.932 | 0.006299 | -0.029987 | 33.962 | 33.9609 | 0.0006501 | -0.0010605
2019-005-0120.mrg | 2019-005-0120.sam | 137 | 200.176 | 200.215 | 0.087291 | 0.038513 | 33.9348 | 33.9105 | 0.0032204 | -0.024345 | 33.9348 | 33.9328 | 0.0004485 | -0.0020065
2019-005-0120.mrg | 2019-005-0120.sam | 65 | 174.77 | 174.761 | 0.11056 | -0.0087433 | 33.8948 | 33.8867 | 0.0006137 | -0.0080986 | 33.8948 | 33.8941 | 0.00021143 | -0.00067139
2019-005-0120.mrg | 2019-005-0120.sam | 240 | 150.003 | 150.004 | 0.089293 | 0.00053406 | 33.8154 | 33.8088 | 0.0011091 | -0.0066338 | 33.8154 | 33.8159 | 0.00034619 | 0.00046158
2019-005-0120.mrg | 2019-005-0120.sam | 196 | 125.923 | 125.884 | 0.10252 | -0.038902 | 33.6991 | 33.686 | 0.00097441 | -0.013142 | 33.6991 | 33.6952 | 0.00022946 | -0.0039101
2019-005-0120.mrg | 2019-005-0120.sam | 153 | 99.94 | 99.9705 | 0.098167 | 0.030449 | 33.4 | 33.3966 | 0.0018294 | -0.0034141 | 33.4 | 33.3977 | 0.00041445 | -0.0023384
2019-005-0120.mrg | 2019-005-0120.sam | 126 | 74.608 | 74.6018 | 0.12159 | -0.0062485 | 32.7661 | 32.7211 | 0.0028942 | -0.04496 | 32.7661 | 32.7036 | 0.001851 | -0.062473
2019-005-0120.mrg | 2019-005-0120.sam | 111 | 49.877 | 49.8901 | 0.1194 | 0.013126 | 32.4473 | 32.4219 | 0.0020774 | -0.025372 | 32.4473 | 32.4351 | 0.00021594 | -0.012249
2019-005-0120.mrg | 2019-005-0120.sam | 241 | 30.452 | 30.4521 | 0.06596 | 6.6757e-05 | 32.2455 | 32.1333 | 0.013074 | -0.11221 | 32.2455 | 32.204 | 0.0071871 | -0.041496
2019-005-0120.mrg | 2019-005-0120.sam | 221 | 20.589 | 20.5925 | 0.094589 | 0.0034885 | 32.1319 | 32.1025 | 0.0065692 | -0.029407 | 32.1319 | 32.1261 | 0.00064223 | -0.0058441
2019-005-0120.mrg | 2019-005-0120.sam | 241 | 9.724 | 9.7239 | 0.086158 | -0.00011158 | 32.1735 | 32.1365 | 0.014052 | -0.037018 | 32.1735 | 32.1777 | 0.0010243 | 0.0041962
2019-005-0120.mrg | 2019-005-0120.sam | 231 | 5.187 | 5.1953 | 0.094606 | 0.008286 | 32.1833 | 32.1765 | 0.00043388 | -0.0068283 | 32.1833 | 32.1792 | 0.00026682 | -0.0040779
2019-005-0124.mrg | 2019-005-0124.sam | 188 | 5.034 | 5.0529 | 0.11815 | 0.018936 | 32.3166 | 32.3133 | 0.00037827 | -0.0033455 | 32.3166 | 32.3153 | 0.00030219 | -0.0013351
2019-005-0127.mrg | 2019-005-0127.sam | 241 | 5.053 | 5.0534 | 0.056346 | 0.00040674 | 32.3263 | 31.7295 | 0.00034782 | -0.59677 | 32.3263 | 31.7316 | 0.00027193 | -0.59475
2019-005-0134.mrg | 2019-005-0134.sam | 239 | 5.113 | 5.1114 | 0.10709 | -0.0015478 | 31.4611 | 31.4724 | 0.0043466 | 0.011345 | 31.4611 | 31.4753 | 0.0033306 | 0.014181
2019-005-0136.mrg | 2019-005-0136.sam | 241 | 5.384 | 5.3839 | 0.064489 | -6.628e-05 | 31.4379 | 31.4365 | 0.0021697 | -0.0013599 | 31.4379 | 31.4387 | 0.001358 | 0.00082779
2019-005-0145.mrg | 2019-005-0145.sam | 225 | 4.976 | 4.9584 | 0.090284 | -0.017618 | 31.7371 | 31.7523 | 0.0026646 | 0.015221 | 31.7371 | 31.7533 | 0.0044146 | 0.016224
2019-005-0149.mrg | 2019-005-0149.sam | 239 | 4.999 | 4.9976 | 0.088225 | -0.0013723 | 31.9134 | 31.9042 | 0.0010165 | -0.0091686 | 31.9134 | 31.9061 | 0.0029263 | -0.0073223
2019-005-0153.mrg | 2019-005-0153.sam | 103 | 500.524 | 500.513 | 0.12539 | -0.011414 | 34.0857 | 34.0839 | 0.00084024 | -0.0018196 | 34.0857 | 34.0873 | 0.0010177 | 0.0015831
2019-005-0153.mrg | 2019-005-0153.sam | 252 | 5.568 | 5.6041 | 0.091991 | 0.036111 | 31.9968 | 31.9925 | 0.00023952 | -0.0042763 | 31.9968 | 31.9946 | 0.00021883 | -0.002161
2019-005-0156.mrg | 2019-005-0156.sam | 46 | 1250 | 1249.95 | 0.11596 | -0.049561 | 34.4751 | 34.4721 | 0.00026965 | -0.0030289 | 34.4751 | 34.4748 | 0.00028971 | -0.00025177
2019-005-0156.mrg | 2019-005-0156.sam | 124 | 1001.1 | 1001.1 | 0.10659 | -0.0012817 | 34.3929 | 34.3924 | 0.00026372 | -0.00051498 | 34.3929 | 34.3947 | 0.00024755 | 0.0018463
2019-005-0156.mrg | 2019-005-0156.sam | 85 | 750.269 | 750.269 | 0.11402 | -0.00036621 | 34.2829 | 34.2787 | 0.00027841 | -0.0041733 | 34.2829 | 34.2811 | 0.00023302 | -0.0017586
2019-005-0156.mrg | 2019-005-0156.sam | 67 | 500.69 | 500.704 | 0.10707 | 0.014191 | 34.1059 | 34.1027 | 0.00027135 | -0.00317 | 34.1059 | 34.105 | 0.00021995 | -0.00086975
2019-005-0156.mrg | 2019-005-0156.sam | 199 | 5.538 | 5.5346 | 0.12759 | -0.0034423 | 32.241 | 32.2374 | 0.00026979 | -0.0035934 | 32.241 | 32.2397 | 0.00019378 | -0.0013084
2019-005-0161.mrg | 2019-005-0161.sam | 190 | 4.985 | 4.9535 | 0.10315 | -0.031447 | 32.2071 | 32.2088 | 0.00026336 | 0.0017357 | 32.2071 | 32.2098 | 0.00022031 | 0.0026665
2019-005-0164.mrg | 2019-005-0164.sam | 119 | 1000.41 | 1000.43 | 0.10591 | 0.017883 | 34.4185 | 34.4161 | 0.00034042 | -0.0023727 | 34.4185 | 34.4189 | 0.00032988 | 0.0004158
2019-005-0164.mrg | 2019-005-0164.sam | 163 | 750.257 | 750.319 | 0.093939 | 0.061951 | 34.2856 | 34.2852 | 0.00027505 | -0.00043106 | 34.2856 | 34.2868 | 0.00046638 | 0.0011711
2019-005-0164.mrg | 2019-005-0164.sam | 226 | 500.043 | 500.048 | 0.10555 | 0.0054932 | 34.1026 | 34.1016 | 0.00058273 | -0.0010071 | 34.1026 | 34.104 | 0.00039209 | 0.0014153
2019-005-0164.mrg | 2019-005-0164.sam | 190 | 5.143 | 5.0803 | 0.085754 | -0.062705 | 32.2983 | 32.2942 | 0.0010941 | -0.0041084 | 32.2983 | 32.2959 | 0.00060086 | -0.0023804
2019-005-0168.mrg | 2019-005-0168.sam | 232 | 5.66 | 5.6544 | 0.10474 | -0.0055819 | 32.0609 | 32.0544 | 0.00030526 | -0.006546 | 32.0609 | 32.0566 | 0.00037211 | -0.0043259
2019-005-0172.mrg | 2019-005-0172.sam | 332 | 5.726 | 5.6868 | 0.10288 | -0.039193 | 31.7711 | 31.7425 | 0.00065153 | -0.028631 | 31.7711 | 31.7447 | 0.00047489 | -0.026402
2019-005-0187.mrg | 2019-005-0187.sam | 240 | 5.118 | 5.1188 | 0.090067 | 0.00080013 | 31.615 | 31.638 | 0.019563 | 0.023041 | 31.615 | 31.6208 | 0.027967 | 0.0058498
Create Fit Sheet
Plot
Plot
Plot

## File List
Number of Files= |  | 28
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2019-005-0002.mrg | 2019-005-0002.sam | 12 | 12 | 2019-005-0002.mrg & 2019-005-0002.sam
2 | 2019-005-0004.mrg | 2019-005-0004.sam | 14 | 14 | 2019-005-0004.mrg & 2019-005-0004.sam
3 | 2019-005-0008.mrg | 2019-005-0008.sam | 16 | 16 | 2019-005-0008.mrg & 2019-005-0008.sam
4 | 2019-005-0012.mrg | 2019-005-0012.sam | 18 | 18 | 2019-005-0012.mrg & 2019-005-0012.sam
5 | 2019-005-0017.mrg | 2019-005-0017.sam | 20 | 20 | 2019-005-0017.mrg & 2019-005-0017.sam
6 | 2019-005-0043.mrg | 2019-005-0043.sam | 22 | 22 | 2019-005-0043.mrg & 2019-005-0043.sam
7 | 2019-005-0061.mrg | 2019-005-0061.sam | 24 | 27 | 2019-005-0061.mrg & 2019-005-0061.sam
8 | 2019-005-0067.mrg | 2019-005-0067.sam | 29 | 46 | 2019-005-0067.mrg & 2019-005-0067.sam
9 | 2019-005-0082.mrg | 2019-005-0082.sam | 48 | 48 | 2019-005-0082.mrg & 2019-005-0082.sam
10 | 2019-005-0085.mrg | 2019-005-0085.sam | 50 | 52 | 2019-005-0085.mrg & 2019-005-0085.sam
11 | 2019-005-0087.mrg | 2019-005-0087.sam | 54 | 73 | 2019-005-0087.mrg & 2019-005-0087.sam
12 | 2019-005-0096.mrg | 2019-005-0096.sam | 75 | 75 | 2019-005-0096.mrg & 2019-005-0096.sam
13 | 2019-005-0111.mrg | 2019-005-0111.sam | 77 | 78 | 2019-005-0111.mrg & 2019-005-0111.sam
14 | 2019-005-0117.mrg | 2019-005-0117.sam | 80 | 80 | 2019-005-0117.mrg & 2019-005-0117.sam
15 | 2019-005-0120.mrg | 2019-005-0120.sam | 82 | 100 | 2019-005-0120.mrg & 2019-005-0120.sam
16 | 2019-005-0124.mrg | 2019-005-0124.sam | 102 | 102 | 2019-005-0124.mrg & 2019-005-0124.sam
17 | 2019-005-0127.mrg | 2019-005-0127.sam | 104 | 104 | 2019-005-0127.mrg & 2019-005-0127.sam
18 | 2019-005-0134.mrg | 2019-005-0134.sam | 106 | 106 | 2019-005-0134.mrg & 2019-005-0134.sam
19 | 2019-005-0136.mrg | 2019-005-0136.sam | 108 | 108 | 2019-005-0136.mrg & 2019-005-0136.sam
20 | 2019-005-0145.mrg | 2019-005-0145.sam | 110 | 110 | 2019-005-0145.mrg & 2019-005-0145.sam
21 | 2019-005-0149.mrg | 2019-005-0149.sam | 112 | 112 | 2019-005-0149.mrg & 2019-005-0149.sam
22 | 2019-005-0153.mrg | 2019-005-0153.sam | 114 | 115 | 2019-005-0153.mrg & 2019-005-0153.sam
23 | 2019-005-0156.mrg | 2019-005-0156.sam | 117 | 121 | 2019-005-0156.mrg & 2019-005-0156.sam
24 | 2019-005-0161.mrg | 2019-005-0161.sam | 123 | 123 | 2019-005-0161.mrg & 2019-005-0161.sam
25 | 2019-005-0164.mrg | 2019-005-0164.sam | 125 | 128 | 2019-005-0164.mrg & 2019-005-0164.sam
26 | 2019-005-0168.mrg | 2019-005-0168.sam | 130 | 130 | 2019-005-0168.mrg & 2019-005-0168.sam
27 | 2019-005-0172.mrg | 2019-005-0172.sam | 132 | 132 | 2019-005-0172.mrg & 2019-005-0172.sam
28 | 2019-005-0187.mrg | 2019-005-0187.sam | 134 | 134 | 2019-005-0187.mrg & 2019-005-0187.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 28
2 | (Sal1 - Sal_Bot) | Pressure | 28
3 | (Sal0 - Sal_Bot) | Pressure | 28
4 | (Sal1 - Sal_Bot) | Pressure | 28

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.14102 |  | X | CALC Y
m= | 2.0563e-06 | 7.0379e-07 |  | Std Dev of Resid |  | 0.0027414 |  | 4.7505 | -0.0043673
b= | -0.0043771 | 0.00054505 |  | Resid Sum of Squares |  | 0.0003908 |  | 2000.53 | -0.00026336
# of Values Extracted = |  |  | 96
# of Values Used in Fit = |  |  | 54
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4.9247 | 30.5869 | 0.0020307 | -0.0071316 | -0.004367 | 0.0027646 |  | 5.36 | -0.001606
2 | NO | 4.972 | 27.2719 | 0.26384 | 0.018963 | -0.0043669 | -0.02333 |  | 5.3579 | -0.0044651
3 | NO | 5.1735 | 26.0478 | 0.0018215 | -0.84341 | -0.0043664 | 0.83905 |  | 1500.58 | -0.0025711
4 | NO | 5.1412 | 27.3725 | 0.089632 | -0.21874 | -0.0043665 | 0.21437 |  | 1250.64 | -0.0017891
5 | YES | 5.36 | 31.0689 | 0.00032745 | -0.001606 | -0.0043661 | -0.0027601 |  | 1000.88 | -3.8147e-05
6 | YES | 5.3579 | 31.5089 | 0.00026464 | -0.0044651 | -0.0043661 | 9.9032e-05 |  | 5.2891 | -0.0031204
7 | YES | 1500.58 | 34.5092 | 0.00062917 | -0.0025711 | -0.0012914 | 0.0012797 |  | 1499.67 | -0.0017548
7 | YES | 1250.64 | 34.4455 | 0.00027799 | -0.0017891 | -0.0018054 | -1.6284e-05 |  | 1249.85 | -0.00091934
7 | YES | 1000.88 | 34.3667 | 0.00027095 | -3.8147e-05 | -0.002319 | -0.0022808 |  | 1000.52 | -0.00017548
7 | YES | 5.2891 | 32.1816 | 0.00024241 | -0.0031204 | -0.0043662 | -0.0012458 |  | 749.586 | -0.0012665
8 | YES | 1499.67 | 34.5036 | 0.00025107 | -0.0017548 | -0.0012933 | 0.00046147 |  | 499.934 | -0.00098419
8 | YES | 1249.85 | 34.4416 | 0.0003313 | -0.00091934 | -0.001807 | -0.00088766 |  | 400.302 | -0.0033722
8 | YES | 1000.52 | 34.3713 | 0.00045395 | -0.00017548 | -0.0023197 | -0.0021442 |  | 200.298 | -0.004631
8 | YES | 749.586 | 34.2578 | 0.00030419 | -0.0012665 | -0.0028357 | -0.0015692 |  | 175.489 | -0.0092926
8 | YES | 499.934 | 34.0703 | 0.00025715 | -0.00098419 | -0.0033491 | -0.0023649 |  | 149.713 | -0.0045853
8 | YES | 400.302 | 33.9843 | 0.00028756 | -0.0033722 | -0.0035539 | -0.00018175 |  | 124.844 | -0.0019684
8 | NO | 250.044 | 33.9268 | 0.0015995 | -0.023754 | -0.0038629 | 0.019891 |  | 74.889 | -0.017418
8 | YES | 200.298 | 33.8941 | 0.00074241 | -0.004631 | -0.0039652 | 0.00066583 |  | 4.7505 | -0.0032234
8 | YES | 175.489 | 33.8868 | 0.00067207 | -0.0092926 | -0.0040162 | 0.0052764 |  | 1250.16 | -0.0016556
8 | YES | 149.713 | 33.7754 | 0.00076652 | -0.0045853 | -0.0040692 | 0.00051604 |  | 1000.13 | -0.001133
8 | YES | 124.844 | 33.6522 | 0.00076472 | -0.0019684 | -0.0041204 | -0.002152 |  | 5.4871 | -0.0036583
8 | NO | 100.128 | 33.4016 | 0.0012707 | -0.009449 | -0.0041712 | 0.0052778 |  | 2000.53 | -0.00099564
8 | YES | 74.889 | 32.9745 | 0.00056668 | -0.017418 | -0.0042231 | 0.013195 |  | 1499.36 | -0.0037498
8 | NO | 50.3444 | 32.4779 | 0.0041413 | -0.0066795 | -0.0042736 | 0.002406 |  | 1250.04 | -0.0024948
8 | NO | 30.2268 | 32.4411 | 0.0010642 | 0.0032043 | -0.0043149 | -0.0075193 |  | 1000.43 | -0.0012093
8 | NO | 19.9338 | 32.3915 | 0.0010383 | -0.0015831 | -0.0043361 | -0.002753 |  | 750.446 | -0.0047875
8 | NO | 10.1999 | 32.2752 | 0.0096745 | -0.00045013 | -0.0043561 | -0.003906 |  | 500.075 | -0.001976
8 | YES | 4.7505 | 32.2362 | 0.00048994 | -0.0032234 | -0.0043673 | -0.0011439 |  | 401.053 | -0.0013847
9 | NO | 4.9002 | 32.5702 | 0.0025287 | -0.0089226 | -0.004367 | 0.0045556 |  | 300.429 | -0.0038795
10 | YES | 1250.16 | 34.4487 | 0.0002491 | -0.0016556 | -0.0018064 | -0.00015078 |  | 200.199 | -0.0039978
10 | YES | 1000.13 | 34.3737 | 0.00025537 | -0.001133 | -0.0023205 | -0.0011875 |  | 150.733 | -8.0109e-05
10 | YES | 5.4871 | 32.4361 | 0.00038186 | -0.0036583 | -0.0043658 | -0.00070751 |  | 49.7651 | -0.0026894
11 | YES | 2000.53 | 34.5946 | 0.00026356 | -0.00099564 | -0.00026336 | 0.00073227 |  | 9.8943 | -0.0036469
11 | YES | 1499.36 | 34.507 | 0.00030631 | -0.0037498 | -0.0012939 | 0.0024559 |  | 5.3276 | -0.0038147
11 | YES | 1250.04 | 34.4674 | 0.00023291 | -0.0024948 | -0.0018066 | 0.0006882 |  | 750.895 | -0.001812
11 | YES | 1000.43 | 34.3786 | 0.00032381 | -0.0012093 | -0.0023199 | -0.0011106 |  | 5.384 | -0.0057182
11 | YES | 750.446 | 34.2514 | 0.00026009 | -0.0047875 | -0.0028339 | 0.0019535 |  | 1250.9 | -0.00069046
11 | YES | 500.075 | 34.1061 | 0.00029242 | -0.001976 | -0.0033488 | -0.0013728 |  | 999.767 | -0.0023804
11 | YES | 401.053 | 34.0297 | 0.00055996 | -0.0013847 | -0.0035524 | -0.0021677 |  | 750.337 | -0.0068092
11 | YES | 300.429 | 33.9505 | 0.00028554 | -0.0038795 | -0.0037593 | 0.00012024 |  | 500.904 | -0.0062714
11 | NO | 250.152 | 33.9367 | 0.0009138 | -0.0031128 | -0.0038627 | -0.0007499 |  | 174.761 | -0.0080986
11 | YES | 200.199 | 33.9181 | 0.00028377 | -0.0039978 | -0.0039654 | 3.2387e-05 |  | 5.1953 | -0.0068283
11 | NO | 175.334 | 33.8696 | 0.0028642 | 0.0014191 | -0.0040165 | -0.0054356 |  | 5.0529 | -0.0033455
11 | YES | 150.733 | 33.7216 | 0.00030447 | -8.0109e-05 | -0.0040671 | -0.003987 |  | 5.6041 | -0.0042763
11 | NO | 125.1 | 33.3857 | 0.0015919 | 0.0011749 | -0.0041198 | -0.0052948 |  | 1249.95 | -0.0030289
11 | NO | 100.686 | 32.9238 | 0.0085423 | 0.015488 | -0.00417 | -0.019658 |  | 1001.1 | -0.00051498
11 | NO | 75.0546 | 32.5498 | 0.0019267 | 0.0055771 | -0.0042227 | -0.0097998 |  | 750.269 | -0.0041733
11 | YES | 49.7651 | 32.3961 | 0.0003293 | -0.0026894 | -0.0042748 | -0.0015854 |  | 500.704 | -0.00317
11 | NO | 30.1513 | 32.3469 | 0.0026052 | -0.0063362 | -0.0043151 | 0.0020211 |  | 5.5346 | -0.0035934
11 | NO | 19.6376 | 32.3108 | 0.0010742 | -0.0038261 | -0.0043367 | -0.00051056 |  | 4.9535 | 0.0017357
11 | YES | 9.8943 | 32.3157 | 0.0004971 | -0.0036469 | -0.0043567 | -0.00070989 |  | 1000.43 | -0.0023727
11 | YES | 5.3276 | 32.3168 | 0.00028228 | -0.0038147 | -0.0043661 | -0.00055143 |  | 750.319 | -0.00043106
12 | NO | 5.5116 | 32.4096 | 0.00092181 | -0.025566 | -0.0043658 | 0.0212 |  | 500.048 | -0.0010071
13 | YES | 750.895 | 34.2926 | 0.00027756 | -0.001812 | -0.002833 | -0.001021 |  | 5.6544 | -0.006546 | -0.003216 | 0.0029299
13 | NO | 5.4483 | 32.3725 | 0.0025053 | -0.011974 | -0.0043659 | 0.0076084
14 | YES | 5.384 | 32.3752 | 0.00026264 | -0.0057182 | -0.004366 | 0.0013522
15 | NO | 1500.71 | 34.5118 | 0.00085564 | -0.0061951 | -0.0012912 | 0.0049039
15 | YES | 1250.9 | 34.468 | 0.0007735 | -0.00069046 | -0.0018048 | -0.0011144
15 | YES | 999.767 | 34.397 | 0.00048427 | -0.0023804 | -0.0023212 | 5.9122e-05
15 | YES | 750.337 | 34.2753 | 0.00033112 | -0.0068092 | -0.0028342 | 0.0039751
15 | YES | 500.904 | 34.1059 | 0.00054601 | -0.0062714 | -0.0033471 | 0.0029243
15 | NO | 401.468 | 34.0156 | 0.0015956 | -0.00093079 | -0.0035515 | -0.0026208
15 | NO | 300.288 | 33.9646 | 0.001019 | -0.003521 | -0.0037596 | -0.00023863
15 | NO | 250.13 | 33.932 | 0.006299 | -0.029987 | -0.0038627 | 0.026125
15 | NO | 200.215 | 33.9105 | 0.0032204 | -0.024345 | -0.0039654 | 0.02038
15 | YES | 174.761 | 33.8867 | 0.0006137 | -0.0080986 | -0.0040177 | 0.0040809
15 | NO | 150.004 | 33.8088 | 0.0011091 | -0.0066338 | -0.0040686 | 0.0025651
15 | NO | 125.884 | 33.686 | 0.00097441 | -0.013142 | -0.0041182 | 0.0090234
15 | NO | 99.9705 | 33.3966 | 0.0018294 | -0.0034141 | -0.0041715 | -0.00075736
15 | NO | 74.6018 | 32.7211 | 0.0028942 | -0.04496 | -0.0042237 | 0.040736
15 | NO | 49.8901 | 32.4219 | 0.0020774 | -0.025372 | -0.0042745 | 0.021097
15 | NO | 30.4521 | 32.1333 | 0.013074 | -0.11221 | -0.0043145 | 0.1079
15 | NO | 20.5925 | 32.1025 | 0.0065692 | -0.029407 | -0.0043347 | 0.025073
15 | NO | 9.7239 | 32.1365 | 0.014052 | -0.037018 | -0.0043571 | 0.032661
15 | YES | 5.1953 | 32.1765 | 0.00043388 | -0.0068283 | -0.0043664 | 0.0024619
16 | YES | 5.0529 | 32.3133 | 0.00037827 | -0.0033455 | -0.0043667 | -0.0010212
17 | NO | 5.0534 | 31.7295 | 0.00034782 | -0.59677 | -0.0043667 | 0.5924
18 | NO | 5.1114 | 31.4724 | 0.0043466 | 0.011345 | -0.0043666 | -0.015711
19 | NO | 5.3839 | 31.4365 | 0.0021697 | -0.0013599 | -0.004366 | -0.0030061
20 | NO | 4.9584 | 31.7523 | 0.0026646 | 0.015221 | -0.0043669 | -0.019587
21 | NO | 4.9976 | 31.9042 | 0.0010165 | -0.0091686 | -0.0043668 | 0.0048018
22 | NO | 500.513 | 34.0839 | 0.00084024 | -0.0018196 | -0.0033479 | -0.0015283
22 | YES | 5.6041 | 31.9925 | 0.00023952 | -0.0042763 | -0.0043656 | -8.9281e-05
23 | YES | 1249.95 | 34.4721 | 0.00026965 | -0.0030289 | -0.0018068 | 0.0012221
23 | YES | 1001.1 | 34.3924 | 0.00026372 | -0.00051498 | -0.0023185 | -0.0018035
23 | YES | 750.269 | 34.2787 | 0.00027841 | -0.0041733 | -0.0028343 | 0.001339
23 | YES | 500.704 | 34.1027 | 0.00027135 | -0.00317 | -0.0033475 | -0.00017747
23 | YES | 5.5346 | 32.2374 | 0.00026979 | -0.0035934 | -0.0043657 | -0.00077226
24 | YES | 4.9535 | 32.2088 | 0.00026336 | 0.0017357 | -0.0043669 | -0.0061026
25 | YES | 1000.43 | 34.4161 | 0.00034042 | -0.0023727 | -0.0023199 | 5.2855e-05
25 | YES | 750.319 | 34.2852 | 0.00027505 | -0.00043106 | -0.0028342 | -0.0024031
25 | YES | 500.048 | 34.1016 | 0.00058273 | -0.0010071 | -0.0033488 | -0.0023417 |  |  |  | -0.003216
25 | NO | 5.0803 | 32.2942 | 0.0010941 | -0.0041084 | -0.0043666 | -0.00025821
26 | YES | 5.6544 | 32.0544 | 0.00030526 | -0.006546 | -0.0043655 | 0.0021806
27 | NO | 5.6868 | 31.7425 | 0.00065153 | -0.028631 | -0.0043654 | 0.024266
28 | NO | 5.1188 | 31.638 | 0.019563 | 0.023041 | -0.0043666 | -0.027407
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
YES
NO
NO
YES
YES
NO
YES
NO
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.1626 |  | X | CALC Y
m= | 2.3377e-06 | 6.7374e-07 |  | Std Dev of Resid |  | 0.0028098 |  | 4.7505 | -0.0024484
b= | -0.0024595 | 0.00049872 |  | Resid Sum of Squares |  | 0.00048947 |  | 2000.53 | 0.0022171
# of Values Extracted = |  |  | 96
# of Values Used in Fit = |  |  | 64
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4.9247 | 30.5889 | 0.00084957 | -0.0051212 | -0.002448 | 0.0026732 |  | 5.36 | 0.00065231
2 | NO | 4.972 | 26.9583 | 0.21072 | -0.29455 | -0.0024479 | 0.2921 |  | 5.3579 | -0.0023918
3 | NO | 5.1735 | 26.0491 | 0.002366 | -0.84208 | -0.0024474 | 0.83964 |  | 1500.58 | -0.00045013
4 | NO | 5.1412 | 27.3081 | 0.088949 | -0.28308 | -0.0024475 | 0.28064 |  | 1250.64 | 2.2888e-05
5 | YES | 5.36 | 31.0712 | 0.00064254 | 0.00065231 | -0.002447 | -0.0030993 |  | 1000.88 | 0.0016708
6 | YES | 5.3579 | 31.511 | 0.00027893 | -0.0023918 | -0.002447 | -5.5154e-05 |  | 5.2891 | -0.0011978
7 | YES | 1500.58 | 34.5113 | 0.00027187 | -0.00045013 | 0.0010483 | 0.0014985 |  | 1499.67 | 0.00017166
7 | YES | 1250.64 | 34.4473 | 0.00026309 | 2.2888e-05 | 0.00046407 | 0.00044119 |  | 1249.85 | 0.00088119
7 | YES | 1000.88 | 34.3684 | 0.00029971 | 0.0016708 | -0.00011978 | -0.0017906 |  | 1000.52 | 0.0012474
7 | YES | 5.2891 | 32.1835 | 0.0001948 | -0.0011978 | -0.0024471 | -0.0012493 |  | 749.586 | 0.00074387
8 | YES | 1499.67 | 34.5056 | 0.00024835 | 0.00017166 | 0.0010462 | 0.00087456 |  | 499.934 | 0.00094223
8 | YES | 1249.85 | 34.4434 | 0.00023802 | 0.00088119 | 0.00046223 | -0.00041897 |  | 400.302 | -0.0015183
8 | YES | 1000.52 | 34.3727 | 0.00036119 | 0.0012474 | -0.00012062 | -0.001368 |  | 175.489 | -0.00774
8 | YES | 749.586 | 34.2598 | 0.00023743 | 0.00074387 | -0.00070722 | -0.0014511 |  | 149.713 | -0.0034676
8 | YES | 499.934 | 34.0722 | 0.00027962 | 0.00094223 | -0.0012908 | -0.0022331 |  | 124.844 | 0.00017166
8 | YES | 400.302 | 33.9862 | 0.00027657 | -0.0015183 | -0.0015237 | -5.4781e-06 |  | 74.889 | -0.015225
8 | NO | 250.044 | 33.9294 | 0.00090175 | -0.021225 | -0.001875 | 0.01935 |  | 4.7505 | -0.0019302
8 | NO | 200.298 | 33.8957 | 0.0015446 | -0.002964 | -0.0019913 | 0.00097275 |  | 1250.16 | 0.0010452
8 | YES | 175.489 | 33.8884 | 0.0003093 | -0.00774 | -0.0020493 | 0.0056908 |  | 1000.13 | 0.0012207
8 | YES | 149.713 | 33.7765 | 0.00038841 | -0.0034676 | -0.0021095 | 0.001358 |  | 5.4871 | -0.001358
8 | YES | 124.844 | 33.6544 | 0.00061259 | 0.00017166 | -0.0021677 | -0.0023393 |  | 2000.53 | 0.0013542
8 | NO | 100.128 | 33.4046 | 0.0019956 | -0.0065117 | -0.0022254 | 0.0042863 |  | 1499.36 | -0.0017395
8 | YES | 74.889 | 32.9767 | 0.00053134 | -0.015225 | -0.0022844 | 0.01294 |  | 1250.04 | -0.00057602
8 | NO | 50.3444 | 32.4843 | 0.0096963 | -0.00027847 | -0.0023418 | -0.0020633 |  | 1000.43 | 0.00065231
8 | NO | 30.2268 | 32.4424 | 0.001146 | 0.0044746 | -0.0023888 | -0.0068635 |  | 750.446 | -0.0030556
8 | NO | 19.9338 | 32.3934 | 0.0012661 | 0.00027084 | -0.0024129 | -0.0026837 |  | 500.075 | -0.00033569
8 | NO | 10.1999 | 32.2749 | 0.0088243 | -0.00082016 | -0.0024357 | -0.0016155 |  | 401.053 | 0.00050354
8 | YES | 4.7505 | 32.2375 | 0.00057866 | -0.0019302 | -0.0024484 | -0.00051815 |  | 300.429 | -0.0020447
9 | NO | 4.9002 | 32.5724 | 0.0023898 | -0.0066567 | -0.002448 | 0.0042086 |  | 250.152 | -0.0014153
10 | YES | 1250.16 | 34.4514 | 0.00027967 | 0.0010452 | 0.00046295 | -0.00058228 |  | 200.199 | -0.0023155
10 | YES | 1000.13 | 34.376 | 0.00024524 | 0.0012207 | -0.00012153 | -0.0013422 |  | 150.733 | 0.0017586
10 | YES | 5.4871 | 32.4384 | 0.00037754 | -0.001358 | -0.0024467 | -0.0010886 |  | 49.7651 | -0.00088501
11 | YES | 2000.53 | 34.597 | 0.00025733 | 0.0013542 | 0.0022171 | 0.00086284 |  | 5.3276 | -0.002079
11 | YES | 1499.36 | 34.5091 | 0.00027299 | -0.0017395 | 0.0010455 | 0.002785 |  | 750.895 | 0.00083923
11 | YES | 1250.04 | 34.4693 | 0.00023583 | -0.00057602 | 0.00046267 | 0.0010387 |  | 5.384 | -0.0040627
11 | YES | 1000.43 | 34.3805 | 0.00030614 | 0.00065231 | -0.00012083 | -0.00077314 |  | 1500.71 | -0.00017166
11 | YES | 750.446 | 34.2531 | 0.00025001 | -0.0030556 | -0.00070521 | 0.0023504 |  | 1250.9 | 0.00072479
11 | YES | 500.075 | 34.1078 | 0.00022835 | -0.00033569 | -0.0012905 | -0.0009548 |  | 999.767 | 0.0004921
11 | YES | 401.053 | 34.0316 | 0.00057452 | 0.00050354 | -0.001522 | -0.0020255 |  | 750.337 | -0.0033264
11 | YES | 300.429 | 33.9524 | 0.00046512 | -0.0020447 | -0.0017572 | 0.00028748 |  | 500.904 | -0.0016327
11 | YES | 250.152 | 33.9384 | 0.00050394 | -0.0014153 | -0.0018747 | -0.00045948 |  | 401.468 | 0.00089264
11 | YES | 200.199 | 33.9198 | 0.00021159 | -0.0023155 | -0.0019915 | 0.00032402 |  | 300.288 | 0.0027199
11 | NO | 175.334 | 33.8745 | 0.0026548 | 0.006279 | -0.0020496 | -0.0083286 |  | 250.13 | -0.0010605
11 | YES | 150.733 | 33.7235 | 0.00024133 | 0.0017586 | -0.0021071 | -0.0038657 |  | 200.215 | -0.0020065
11 | NO | 125.1 | 33.3879 | 0.00084809 | 0.0033646 | -0.0021671 | -0.0055316 |  | 174.761 | -0.00067139
11 | NO | 100.686 | 32.9212 | 0.0042559 | 0.012897 | -0.0022241 | -0.015122 |  | 150.004 | 0.00046158
11 | NO | 75.0546 | 32.5519 | 0.0023015 | 0.00774 | -0.002284 | -0.010024 |  | 125.884 | -0.0039101
11 | YES | 49.7651 | 32.3979 | 0.00029011 | -0.00088501 | -0.0023432 | -0.0014582 |  | 99.9705 | -0.0023384
11 | NO | 30.1513 | 32.3517 | 0.0093572 | -0.0014496 | -0.002389 | -0.00093944 |  | 49.8901 | -0.012249
11 | NO | 19.6376 | 32.3052 | 0.047363 | -0.0094452 | -0.0024136 | 0.0070316 |  | 20.5925 | -0.0058441
11 | NO | 9.8943 | 32.3173 | 0.00089729 | -0.0020447 | -0.0024364 | -0.00039169 |  | 5.1953 | -0.0040779
11 | YES | 5.3276 | 32.3185 | 0.00051861 | -0.002079 | -0.002447 | -0.00036803 |  | 5.0529 | -0.0013351
12 | NO | 5.5116 | 32.4116 | 0.00093862 | -0.02364 | -0.0024466 | 0.021193 |  | 5.6041 | -0.002161
13 | YES | 750.895 | 34.2952 | 0.0002366 | 0.00083923 | -0.00070416 | -0.0015434 |  | 1249.95 | -0.00025177
13 | NO | 5.4483 | 32.3742 | 0.0046222 | -0.010323 | -0.0024468 | 0.0078758 |  | 1001.1 | 0.0018463
14 | YES | 5.384 | 32.3768 | 0.00019455 | -0.0040627 | -0.0024469 | 0.0016157 |  | 750.269 | -0.0017586
15 | YES | 1500.71 | 34.5178 | 0.00038533 | -0.00017166 | 0.0010487 | 0.0012203 |  | 500.704 | -0.00086975
15 | YES | 1250.9 | 34.4694 | 0.00030917 | 0.00072479 | 0.00046468 | -0.00026011 |  | 5.5346 | -0.0013084
15 | YES | 999.767 | 34.3999 | 0.00022602 | 0.0004921 | -0.00012238 | -0.00061448 |  | 4.9535 | 0.0026665
15 | YES | 750.337 | 34.2788 | 0.00022743 | -0.0033264 | -0.00070546 | 0.002621 |  | 1000.43 | 0.0004158
15 | YES | 500.904 | 34.1106 | 0.00021505 | -0.0016327 | -0.0012886 | 0.00034414 |  | 750.319 | 0.0011711
15 | YES | 401.468 | 34.0174 | 0.00071603 | 0.00089264 | -0.001521 | -0.0024136 |  | 500.048 | 0.0014153
15 | YES | 300.288 | 33.9708 | 0.00054371 | 0.0027199 | -0.0017575 | -0.0044774 |  | 5.0803 | -0.0023804
15 | YES | 250.13 | 33.9609 | 0.0006501 | -0.0010605 | -0.0018748 | -0.00081429 |  | 5.6544 | -0.0043259 | -0.001231 | 0.003046
15 | YES | 200.215 | 33.9328 | 0.0004485 | -0.0020065 | -0.0019915 | 1.5066e-05
15 | YES | 174.761 | 33.8941 | 0.00021143 | -0.00067139 | -0.002051 | -0.0013796
15 | YES | 150.004 | 33.8159 | 0.00034619 | 0.00046158 | -0.0021088 | -0.0025704
15 | YES | 125.884 | 33.6952 | 0.00022946 | -0.0039101 | -0.0021652 | 0.0017448
15 | YES | 99.9705 | 33.3977 | 0.00041445 | -0.0023384 | -0.0022258 | 0.00011261
15 | NO | 74.6018 | 32.7036 | 0.001851 | -0.062473 | -0.0022851 | 0.060188
15 | YES | 49.8901 | 32.4351 | 0.00021594 | -0.012249 | -0.0023429 | 0.0099061
15 | NO | 30.4521 | 32.204 | 0.0071871 | -0.041496 | -0.0023883 | 0.039108
15 | YES | 20.5925 | 32.1261 | 0.00064223 | -0.0058441 | -0.0024114 | 0.0034328
15 | NO | 9.7239 | 32.1777 | 0.0010243 | 0.0041962 | -0.0024368 | -0.0066329
15 | YES | 5.1953 | 32.1792 | 0.00026682 | -0.0040779 | -0.0024474 | 0.0016306
16 | YES | 5.0529 | 32.3153 | 0.00030219 | -0.0013351 | -0.0024477 | -0.0011125
17 | NO | 5.0534 | 31.7316 | 0.00027193 | -0.59475 | -0.0024477 | 0.5923
18 | NO | 5.1114 | 31.4753 | 0.0033306 | 0.014181 | -0.0024475 | -0.016629
19 | NO | 5.3839 | 31.4387 | 0.001358 | 0.00082779 | -0.0024469 | -0.0032747
20 | NO | 4.9584 | 31.7533 | 0.0044146 | 0.016224 | -0.0024479 | -0.018672
21 | NO | 4.9976 | 31.9061 | 0.0029263 | -0.0073223 | -0.0024478 | 0.0048745
22 | NO | 500.513 | 34.0873 | 0.0010177 | 0.0015831 | -0.0012895 | -0.0028726
22 | YES | 5.6041 | 31.9946 | 0.00021883 | -0.002161 | -0.0024464 | -0.00028537
23 | YES | 1249.95 | 34.4748 | 0.00028971 | -0.00025177 | 0.00046246 | 0.00071423
23 | YES | 1001.1 | 34.3947 | 0.00024755 | 0.0018463 | -0.00011927 | -0.0019656 |  |  |  | -0.001231
23 | YES | 750.269 | 34.2811 | 0.00023302 | -0.0017586 | -0.00070562 | 0.001053
23 | YES | 500.704 | 34.105 | 0.00021995 | -0.00086975 | -0.001289 | -0.00041927
23 | YES | 5.5346 | 32.2397 | 0.00019378 | -0.0013084 | -0.0024466 | -0.0011381
24 | YES | 4.9535 | 32.2098 | 0.00022031 | 0.0026665 | -0.0024479 | -0.0051144
25 | YES | 1000.43 | 34.4189 | 0.00032988 | 0.0004158 | -0.00012083 | -0.00053663
25 | YES | 750.319 | 34.2868 | 0.00046638 | 0.0011711 | -0.00070551 | -0.0018766
25 | YES | 500.048 | 34.104 | 0.00039209 | 0.0014153 | -0.0012906 | -0.0027058
25 | YES | 5.0803 | 32.2959 | 0.00060086 | -0.0023804 | -0.0024476 | -6.7253e-05
26 | YES | 5.6544 | 32.0566 | 0.00037211 | -0.0043259 | -0.0024463 | 0.0018796
27 | NO | 5.6868 | 31.7447 | 0.00047489 | -0.026402 | -0.0024462 | 0.023955
28 | NO | 5.1188 | 31.6208 | 0.027967 | 0.0058498 | -0.0024475 | -0.0082974
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
YES
NO
NO
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_3
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.012814 |  | X | CALC Y
m= | 4.6934e-07 | 7.1712e-07 |  | Std Dev of Resid |  | 0.0017587 |  | 300.288 | -0.0026075
b= | -0.0027484 | 0.00071641 |  | Resid Sum of Squares |  | 0.00010207 |  | 2000.53 | -0.0018095
# of Values Extracted = |  |  | 96
# of Values Used in Fit = |  |  | 35
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4.9247 | 30.5869 | 0.0020307 | -0.0071316 | -0.0027461 | 0.0043854 |  | 1500.58 | -0.0025711
2 | NO | 4.972 | 27.2719 | 0.26384 | 0.018963 | -0.0027461 | -0.021709 |  | 1250.64 | -0.0017891
3 | NO | 5.1735 | 26.0478 | 0.0018215 | -0.84341 | -0.002746 | 0.84067 |  | 1000.88 | -3.8147e-05
4 | NO | 5.1412 | 27.3725 | 0.089632 | -0.21874 | -0.002746 | 0.21599 |  | 1499.67 | -0.0017548
5 | NO | 5.36 | 31.0689 | 0.00032745 | -0.001606 | -0.0027459 | -0.0011399 |  | 1249.85 | -0.00091934
6 | NO | 5.3579 | 31.5089 | 0.00026464 | -0.0044651 | -0.0027459 | 0.0017192 |  | 1000.52 | -0.00017548
7 | YES | 1500.58 | 34.5092 | 0.00062917 | -0.0025711 | -0.0020442 | 0.00052694 |  | 749.586 | -0.0012665
7 | YES | 1250.64 | 34.4455 | 0.00027799 | -0.0017891 | -0.0021615 | -0.00037238 |  | 499.934 | -0.00098419
7 | YES | 1000.88 | 34.3667 | 0.00027095 | -3.8147e-05 | -0.0022787 | -0.0022405 |  | 400.302 | -0.0033722
7 | NO | 5.2891 | 32.1816 | 0.00024241 | -0.0031204 | -0.002746 | 0.00037446 |  | 1250.16 | -0.0016556
8 | YES | 1499.67 | 34.5036 | 0.00025107 | -0.0017548 | -0.0020446 | -0.00028984 |  | 1000.13 | -0.001133
8 | YES | 1249.85 | 34.4416 | 0.0003313 | -0.00091934 | -0.0021618 | -0.0012425 |  | 2000.53 | -0.00099564
8 | YES | 1000.52 | 34.3713 | 0.00045395 | -0.00017548 | -0.0022789 | -0.0021034 |  | 1499.36 | -0.0037498
8 | YES | 749.586 | 34.2578 | 0.00030419 | -0.0012665 | -0.0023966 | -0.0011302 |  | 1250.04 | -0.0024948
8 | YES | 499.934 | 34.0703 | 0.00025715 | -0.00098419 | -0.0025138 | -0.0015296 |  | 1000.43 | -0.0012093
8 | YES | 400.302 | 33.9843 | 0.00028756 | -0.0033722 | -0.0025606 | 0.00081162 |  | 750.446 | -0.0047875
8 | NO | 250.044 | 33.9268 | 0.0015995 | -0.023754 | -0.0026311 | 0.021123 |  | 500.075 | -0.001976
8 | NO | 200.298 | 33.8941 | 0.00074241 | -0.004631 | -0.0026544 | 0.0019766 |  | 401.053 | -0.0013847
8 | NO | 175.489 | 33.8868 | 0.00067207 | -0.0092926 | -0.0026661 | 0.0066265 |  | 300.429 | -0.0038795
8 | NO | 149.713 | 33.7754 | 0.00076652 | -0.0045853 | -0.0026782 | 0.0019071 |  | 750.895 | -0.001812
8 | NO | 124.844 | 33.6522 | 0.00076472 | -0.0019684 | -0.0026899 | -0.00072147 |  | 1500.71 | -0.0061951
8 | NO | 100.128 | 33.4016 | 0.0012707 | -0.009449 | -0.0027015 | 0.0067476 |  | 1250.9 | -0.00069046
8 | NO | 74.889 | 32.9745 | 0.00056668 | -0.017418 | -0.0027133 | 0.014705 |  | 999.767 | -0.0023804
8 | NO | 50.3444 | 32.4779 | 0.0041413 | -0.0066795 | -0.0027248 | 0.0039547 |  | 750.337 | -0.0068092
8 | NO | 30.2268 | 32.4411 | 0.0010642 | 0.0032043 | -0.0027343 | -0.0059386 |  | 500.904 | -0.0062714
8 | NO | 19.9338 | 32.3915 | 0.0010383 | -0.0015831 | -0.0027391 | -0.001156 |  | 401.468 | -0.00093079
8 | NO | 10.1999 | 32.2752 | 0.0096745 | -0.00045013 | -0.0027437 | -0.0022935 |  | 300.288 | -0.003521
8 | NO | 4.7505 | 32.2362 | 0.00048994 | -0.0032234 | -0.0027462 | 0.0004772 |  | 500.513 | -0.0018196
9 | NO | 4.9002 | 32.5702 | 0.0025287 | -0.0089226 | -0.0027461 | 0.0061764 |  | 1249.95 | -0.0030289
10 | YES | 1250.16 | 34.4487 | 0.0002491 | -0.0016556 | -0.0021617 | -0.00050612 |  | 1001.1 | -0.00051498
10 | YES | 1000.13 | 34.3737 | 0.00025537 | -0.001133 | -0.002279 | -0.0011461 |  | 750.269 | -0.0041733
10 | NO | 5.4871 | 32.4361 | 0.00038186 | -0.0036583 | -0.0027459 | 0.00091242 |  | 500.704 | -0.00317
11 | YES | 2000.53 | 34.5946 | 0.00026356 | -0.00099564 | -0.0018095 | -0.00081389 |  | 1000.43 | -0.0023727
11 | YES | 1499.36 | 34.507 | 0.00030631 | -0.0037498 | -0.0020447 | 0.0017051 |  | 750.319 | -0.00043106
11 | YES | 1250.04 | 34.4674 | 0.00023291 | -0.0024948 | -0.0021618 | 0.00033305 |  | 500.048 | -0.0010071 | -0.0023218 | 0.0017439
11 | YES | 1000.43 | 34.3786 | 0.00032381 | -0.0012093 | -0.0022789 | -0.0010696
11 | YES | 750.446 | 34.2514 | 0.00026009 | -0.0047875 | -0.0023962 | 0.0023912
11 | YES | 500.075 | 34.1061 | 0.00029242 | -0.001976 | -0.0025137 | -0.00053773
11 | YES | 401.053 | 34.0297 | 0.00055996 | -0.0013847 | -0.0025602 | -0.0011755
11 | YES | 300.429 | 33.9505 | 0.00028554 | -0.0038795 | -0.0026074 | 0.0012721
11 | NO | 250.152 | 33.9367 | 0.0009138 | -0.0031128 | -0.002631 | 0.00048175
11 | NO | 200.199 | 33.9181 | 0.00028377 | -0.0039978 | -0.0026545 | 0.0013433
11 | NO | 175.334 | 33.8696 | 0.0028642 | 0.0014191 | -0.0026662 | -0.0040852
11 | NO | 150.733 | 33.7216 | 0.00030447 | -8.0109e-05 | -0.0026777 | -0.0025976
11 | NO | 125.1 | 33.3857 | 0.0015919 | 0.0011749 | -0.0026897 | -0.0038647
11 | NO | 100.686 | 32.9238 | 0.0085423 | 0.015488 | -0.0027012 | -0.018189
11 | NO | 75.0546 | 32.5498 | 0.0019267 | 0.0055771 | -0.0027132 | -0.0082903
11 | NO | 49.7651 | 32.3961 | 0.0003293 | -0.0026894 | -0.0027251 | -3.5731e-05
11 | NO | 30.1513 | 32.3469 | 0.0026052 | -0.0063362 | -0.0027343 | 0.0036019
11 | NO | 19.6376 | 32.3108 | 0.0010742 | -0.0038261 | -0.0027392 | 0.0010869
11 | NO | 9.8943 | 32.3157 | 0.0004971 | -0.0036469 | -0.0027438 | 0.00090305
11 | NO | 5.3276 | 32.3168 | 0.00028228 | -0.0038147 | -0.0027459 | 0.0010688
12 | NO | 5.5116 | 32.4096 | 0.00092181 | -0.025566 | -0.0027459 | 0.02282
13 | YES | 750.895 | 34.2926 | 0.00027756 | -0.001812 | -0.002396 | -0.00058404
13 | NO | 5.4483 | 32.3725 | 0.0025053 | -0.011974 | -0.0027459 | 0.0092284
14 | NO | 5.384 | 32.3752 | 0.00026264 | -0.0057182 | -0.0027459 | 0.0029723
15 | YES | 1500.71 | 34.5118 | 0.00085564 | -0.0061951 | -0.0020441 | 0.004151
15 | YES | 1250.9 | 34.468 | 0.0007735 | -0.00069046 | -0.0021614 | -0.0014709
15 | YES | 999.767 | 34.397 | 0.00048427 | -0.0023804 | -0.0022792 | 0.00010115
15 | YES | 750.337 | 34.2753 | 0.00033112 | -0.0068092 | -0.0023963 | 0.0044129
15 | YES | 500.904 | 34.1059 | 0.00054601 | -0.0062714 | -0.0025134 | 0.003758
15 | YES | 401.468 | 34.0156 | 0.0015956 | -0.00093079 | -0.00256 | -0.0016292
15 | YES | 300.288 | 33.9646 | 0.001019 | -0.003521 | -0.0026075 | 0.00091346
15 | NO | 250.13 | 33.932 | 0.006299 | -0.029987 | -0.0026311 | 0.027356
15 | NO | 200.215 | 33.9105 | 0.0032204 | -0.024345 | -0.0026545 | 0.021691
15 | NO | 174.761 | 33.8867 | 0.0006137 | -0.0080986 | -0.0026664 | 0.0054322
15 | NO | 150.004 | 33.8088 | 0.0011091 | -0.0066338 | -0.002678 | 0.0039557
15 | NO | 125.884 | 33.686 | 0.00097441 | -0.013142 | -0.0026894 | 0.010452
15 | NO | 99.9705 | 33.3966 | 0.0018294 | -0.0034141 | -0.0027015 | 0.00071262
15 | NO | 74.6018 | 32.7211 | 0.0028942 | -0.04496 | -0.0027134 | 0.042247
15 | NO | 49.8901 | 32.4219 | 0.0020774 | -0.025372 | -0.002725 | 0.022647
15 | NO | 30.4521 | 32.1333 | 0.013074 | -0.11221 | -0.0027342 | 0.10948
15 | NO | 20.5925 | 32.1025 | 0.0065692 | -0.029407 | -0.0027388 | 0.026669
15 | NO | 9.7239 | 32.1365 | 0.014052 | -0.037018 | -0.0027439 | 0.034274
15 | NO | 5.1953 | 32.1765 | 0.00043388 | -0.0068283 | -0.002746 | 0.0040823
16 | NO | 5.0529 | 32.3133 | 0.00037827 | -0.0033455 | -0.0027461 | 0.00059941
17 | NO | 5.0534 | 31.7295 | 0.00034782 | -0.59677 | -0.0027461 | 0.59402
18 | NO | 5.1114 | 31.4724 | 0.0043466 | 0.011345 | -0.002746 | -0.014091
19 | NO | 5.3839 | 31.4365 | 0.0021697 | -0.0013599 | -0.0027459 | -0.001386
20 | NO | 4.9584 | 31.7523 | 0.0026646 | 0.015221 | -0.0027461 | -0.017967
21 | NO | 4.9976 | 31.9042 | 0.0010165 | -0.0091686 | -0.0027461 | 0.0064225
22 | YES | 500.513 | 34.0839 | 0.00084024 | -0.0018196 | -0.0025135 | -0.00069393
22 | NO | 5.6041 | 31.9925 | 0.00023952 | -0.0042763 | -0.0027458 | 0.0015305
23 | YES | 1249.95 | 34.4721 | 0.00026965 | -0.0030289 | -0.0021618 | 0.00086707
23 | YES | 1001.1 | 34.3924 | 0.00026372 | -0.00051498 | -0.0022786 | -0.0017636
23 | YES | 750.269 | 34.2787 | 0.00027841 | -0.0041733 | -0.0023963 | 0.001777
23 | YES | 500.704 | 34.1027 | 0.00027135 | -0.00317 | -0.0025134 | 0.00065656
23 | NO | 5.5346 | 32.2374 | 0.00026979 | -0.0035934 | -0.0027458 | 0.00084759
24 | NO | 4.9535 | 32.2088 | 0.00026336 | 0.0017357 | -0.0027461 | -0.0044818
25 | YES | 1000.43 | 34.4161 | 0.00034042 | -0.0023727 | -0.0022789 | 9.3833e-05
25 | YES | 750.319 | 34.2852 | 0.00027505 | -0.00043106 | -0.0023963 | -0.0019652
25 | YES | 500.048 | 34.1016 | 0.00058273 | -0.0010071 | -0.0025138 | -0.0015067
25 | NO | 5.0803 | 32.2942 | 0.0010941 | -0.0041084 | -0.0027461 | 0.0013624
26 | NO | 5.6544 | 32.0544 | 0.00030526 | -0.006546 | -0.0027458 | 0.0038002
27 | NO | 5.6868 | 31.7425 | 0.00065153 | -0.028631 | -0.0027458 | 0.025885
28 | NO | 5.1188 | 31.638 | 0.019563 | 0.023041 | -0.002746 | -0.025787
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_4
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0060173 |  | X | CALC Y
m= | 2.5952e-07 | 5.8065e-07 |  | Std Dev of Resid |  | 0.001424 |  | 300.288 | -2.0089e-05
b= | -9.8021e-05 | 0.00058007 |  | Resid Sum of Squares |  | 6.6917e-05 |  | 2000.53 | 0.00042117
# of Values Extracted = |  |  | 96
# of Values Used in Fit = |  |  | 35
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4.9247 | 30.5889 | 0.00084957 | -0.0051212 | -9.6743e-05 | 0.0050245 |  | 1500.58 | -0.00045013
2 | NO | 4.972 | 26.9583 | 0.21072 | -0.29455 | -9.6731e-05 | 0.29446 |  | 1250.64 | 2.2888e-05
3 | NO | 5.1735 | 26.0491 | 0.002366 | -0.84208 | -9.6678e-05 | 0.84199 |  | 1000.88 | 0.0016708
4 | NO | 5.1412 | 27.3081 | 0.088949 | -0.28308 | -9.6687e-05 | 0.28299 |  | 1499.67 | 0.00017166
5 | NO | 5.36 | 31.0712 | 0.00064254 | 0.00065231 | -9.663e-05 | -0.00074894 |  | 1249.85 | 0.00088119
6 | NO | 5.3579 | 31.511 | 0.00027893 | -0.0023918 | -9.6631e-05 | 0.0022952 |  | 1000.52 | 0.0012474
7 | YES | 1500.58 | 34.5113 | 0.00027187 | -0.00045013 | 0.00029142 | 0.00074155 |  | 749.586 | 0.00074387
7 | YES | 1250.64 | 34.4473 | 0.00026309 | 2.2888e-05 | 0.00022655 | 0.00020366 |  | 499.934 | 0.00094223
7 | YES | 1000.88 | 34.3684 | 0.00029971 | 0.0016708 | 0.00016173 | -0.0015091 |  | 400.302 | -0.0015183
7 | NO | 5.2891 | 32.1835 | 0.0001948 | -0.0011978 | -9.6648e-05 | 0.0011012 |  | 1250.16 | 0.0010452
8 | YES | 1499.67 | 34.5056 | 0.00024835 | 0.00017166 | 0.00029118 | 0.00011952 |  | 1000.13 | 0.0012207
8 | YES | 1249.85 | 34.4434 | 0.00023802 | 0.00088119 | 0.00022635 | -0.00065485 |  | 2000.53 | 0.0013542
8 | YES | 1000.52 | 34.3727 | 0.00036119 | 0.0012474 | 0.00016164 | -0.0010858 |  | 1499.36 | -0.0017395
8 | YES | 749.586 | 34.2598 | 0.00023743 | 0.00074387 | 9.6515e-05 | -0.00064735 |  | 1250.04 | -0.00057602
8 | YES | 499.934 | 34.0722 | 0.00027962 | 0.00094223 | 3.1724e-05 | -0.00091051 |  | 1000.43 | 0.00065231
8 | YES | 400.302 | 33.9862 | 0.00027657 | -0.0015183 | 5.8673e-06 | 0.0015241 |  | 750.446 | -0.0030556
8 | NO | 250.044 | 33.9294 | 0.00090175 | -0.021225 | -3.3128e-05 | 0.021192 |  | 500.075 | -0.00033569
8 | NO | 200.298 | 33.8957 | 0.0015446 | -0.002964 | -4.6039e-05 | 0.002918 |  | 401.053 | 0.00050354
8 | NO | 175.489 | 33.8884 | 0.0003093 | -0.00774 | -5.2477e-05 | 0.0076875 |  | 300.429 | -0.0020447
8 | NO | 149.713 | 33.7765 | 0.00038841 | -0.0034676 | -5.9167e-05 | 0.0034084 |  | 750.895 | 0.00083923
8 | NO | 124.844 | 33.6544 | 0.00061259 | 0.00017166 | -6.5621e-05 | -0.00023728 |  | 1500.71 | -0.00017166
8 | NO | 100.128 | 33.4046 | 0.0019956 | -0.0065117 | -7.2035e-05 | 0.0064397 |  | 1250.9 | 0.00072479
8 | NO | 74.889 | 32.9767 | 0.00053134 | -0.015225 | -7.8586e-05 | 0.015146 |  | 999.767 | 0.0004921
8 | NO | 50.3444 | 32.4843 | 0.0096963 | -0.00027847 | -8.4955e-05 | 0.00019352 |  | 750.337 | -0.0033264
8 | NO | 30.2268 | 32.4424 | 0.001146 | 0.0044746 | -9.0176e-05 | -0.0045648 |  | 500.904 | -0.0016327
8 | NO | 19.9338 | 32.3934 | 0.0012661 | 0.00027084 | -9.2848e-05 | -0.00036369 |  | 401.468 | 0.00089264
8 | NO | 10.1999 | 32.2749 | 0.0088243 | -0.00082016 | -9.5374e-05 | 0.00072479 |  | 300.288 | 0.0027199
8 | NO | 4.7505 | 32.2375 | 0.00057866 | -0.0019302 | -9.6788e-05 | 0.0018335 |  | 500.513 | 0.0015831
9 | NO | 4.9002 | 32.5724 | 0.0023898 | -0.0066567 | -9.6749e-05 | 0.0065599 |  | 1249.95 | -0.00025177
10 | YES | 1250.16 | 34.4514 | 0.00027967 | 0.0010452 | 0.00022643 | -0.0008188 |  | 1001.1 | 0.0018463
10 | YES | 1000.13 | 34.376 | 0.00024524 | 0.0012207 | 0.00016154 | -0.0010592 |  | 750.269 | -0.0017586
10 | NO | 5.4871 | 32.4384 | 0.00037754 | -0.001358 | -9.6597e-05 | 0.0012614 |  | 500.704 | -0.00086975
11 | YES | 2000.53 | 34.597 | 0.00025733 | 0.0013542 | 0.00042117 | -0.00093305 |  | 1000.43 | 0.0004158
11 | YES | 1499.36 | 34.5091 | 0.00027299 | -0.0017395 | 0.0002911 | 0.0020306 |  | 750.319 | 0.0011711
11 | YES | 1250.04 | 34.4693 | 0.00023583 | -0.00057602 | 0.0002264 | 0.00080241 |  | 500.048 | 0.0014153 | 0.00013787 | 0.0014071
11 | YES | 1000.43 | 34.3805 | 0.00030614 | 0.00065231 | 0.00016162 | -0.0004907
11 | YES | 750.446 | 34.2531 | 0.00025001 | -0.0030556 | 9.6738e-05 | 0.0031523
11 | YES | 500.075 | 34.1078 | 0.00022835 | -0.00033569 | 3.1761e-05 | 0.00036745
11 | YES | 401.053 | 34.0316 | 0.00057452 | 0.00050354 | 6.0622e-06 | -0.00049748
11 | YES | 300.429 | 33.9524 | 0.00046512 | -0.0020447 | -2.0052e-05 | 0.0020246
11 | NO | 250.152 | 33.9384 | 0.00050394 | -0.0014153 | -3.31e-05 | 0.0013821
11 | NO | 200.199 | 33.9198 | 0.00021159 | -0.0023155 | -4.6064e-05 | 0.0022695
11 | NO | 175.334 | 33.8745 | 0.0026548 | 0.006279 | -5.2518e-05 | -0.0063315
11 | NO | 150.733 | 33.7235 | 0.00024133 | 0.0017586 | -5.8902e-05 | -0.0018175
11 | NO | 125.1 | 33.3879 | 0.00084809 | 0.0033646 | -6.5555e-05 | -0.0034301
11 | NO | 100.686 | 32.9212 | 0.0042559 | 0.012897 | -7.1891e-05 | -0.012969
11 | NO | 75.0546 | 32.5519 | 0.0023015 | 0.00774 | -7.8543e-05 | -0.0078186
11 | NO | 49.7651 | 32.3979 | 0.00029011 | -0.00088501 | -8.5106e-05 | 0.0007999
11 | NO | 30.1513 | 32.3517 | 0.0093572 | -0.0014496 | -9.0196e-05 | 0.0013594
11 | NO | 19.6376 | 32.3052 | 0.047363 | -0.0094452 | -9.2925e-05 | 0.0093523
11 | NO | 9.8943 | 32.3173 | 0.00089729 | -0.0020447 | -9.5453e-05 | 0.0019492
11 | NO | 5.3276 | 32.3185 | 0.00051861 | -0.002079 | -9.6638e-05 | 0.0019824
12 | NO | 5.5116 | 32.4116 | 0.00093862 | -0.02364 | -9.6591e-05 | 0.023543
13 | YES | 750.895 | 34.2952 | 0.0002366 | 0.00083923 | 9.6855e-05 | -0.00074238
13 | NO | 5.4483 | 32.3742 | 0.0046222 | -0.010323 | -9.6607e-05 | 0.010226
14 | NO | 5.384 | 32.3768 | 0.00019455 | -0.0040627 | -9.6624e-05 | 0.003966
15 | YES | 1500.71 | 34.5178 | 0.00038533 | -0.00017166 | 0.00029145 | 0.00046311
15 | YES | 1250.9 | 34.4694 | 0.00030917 | 0.00072479 | 0.00022662 | -0.00049817
15 | YES | 999.767 | 34.3999 | 0.00022602 | 0.0004921 | 0.00016144 | -0.00033065
15 | YES | 750.337 | 34.2788 | 0.00022743 | -0.0033264 | 9.671e-05 | 0.0034231
15 | YES | 500.904 | 34.1106 | 0.00021505 | -0.0016327 | 3.1976e-05 | 0.0016647
15 | YES | 401.468 | 34.0174 | 0.00071603 | 0.00089264 | 6.1699e-06 | -0.00088647
15 | YES | 300.288 | 33.9708 | 0.00054371 | 0.0027199 | -2.0089e-05 | -0.00274
15 | NO | 250.13 | 33.9609 | 0.0006501 | -0.0010605 | -3.3106e-05 | 0.0010274
15 | NO | 200.215 | 33.9328 | 0.0004485 | -0.0020065 | -4.606e-05 | 0.0019605
15 | NO | 174.761 | 33.8941 | 0.00021143 | -0.00067139 | -5.2666e-05 | 0.00061872
15 | NO | 150.004 | 33.8159 | 0.00034619 | 0.00046158 | -5.9091e-05 | -0.00052067
15 | NO | 125.884 | 33.6952 | 0.00022946 | -0.0039101 | -6.5351e-05 | 0.0038447
15 | NO | 99.9705 | 33.3977 | 0.00041445 | -0.0023384 | -7.2076e-05 | 0.0022663
15 | NO | 74.6018 | 32.7036 | 0.001851 | -0.062473 | -7.866e-05 | 0.062395
15 | NO | 49.8901 | 32.4351 | 0.00021594 | -0.012249 | -8.5073e-05 | 0.012164
15 | NO | 30.4521 | 32.204 | 0.0071871 | -0.041496 | -9.0118e-05 | 0.041406
15 | NO | 20.5925 | 32.1261 | 0.00064223 | -0.0058441 | -9.2677e-05 | 0.0057514
15 | NO | 9.7239 | 32.1777 | 0.0010243 | 0.0041962 | -9.5497e-05 | -0.0042917
15 | NO | 5.1953 | 32.1792 | 0.00026682 | -0.0040779 | -9.6673e-05 | 0.0039812
16 | NO | 5.0529 | 32.3153 | 0.00030219 | -0.0013351 | -9.671e-05 | 0.0012384
17 | NO | 5.0534 | 31.7316 | 0.00027193 | -0.59475 | -9.671e-05 | 0.59465
18 | NO | 5.1114 | 31.4753 | 0.0033306 | 0.014181 | -9.6695e-05 | -0.014278
19 | NO | 5.3839 | 31.4387 | 0.001358 | 0.00082779 | -9.6624e-05 | -0.00092441
20 | NO | 4.9584 | 31.7533 | 0.0044146 | 0.016224 | -9.6734e-05 | -0.016321
21 | NO | 4.9976 | 31.9061 | 0.0029263 | -0.0073223 | -9.6724e-05 | 0.0072256
22 | YES | 500.513 | 34.0873 | 0.0010177 | 0.0015831 | 3.1875e-05 | -0.0015512
22 | NO | 5.6041 | 31.9946 | 0.00021883 | -0.002161 | -9.6567e-05 | 0.0020645
23 | YES | 1249.95 | 34.4748 | 0.00028971 | -0.00025177 | 0.00022637 | 0.00047814
23 | YES | 1001.1 | 34.3947 | 0.00024755 | 0.0018463 | 0.00016179 | -0.0016845
23 | YES | 750.269 | 34.2811 | 0.00023302 | -0.0017586 | 9.6692e-05 | 0.0018553
23 | YES | 500.704 | 34.105 | 0.00021995 | -0.00086975 | 3.1924e-05 | 0.00090168
23 | NO | 5.5346 | 32.2397 | 0.00019378 | -0.0013084 | -9.6585e-05 | 0.0012119
24 | NO | 4.9535 | 32.2098 | 0.00022031 | 0.0026665 | -9.6736e-05 | -0.0027632
25 | YES | 1000.43 | 34.4189 | 0.00032988 | 0.0004158 | 0.00016162 | -0.00025419
25 | YES | 750.319 | 34.2868 | 0.00046638 | 0.0011711 | 9.6705e-05 | -0.0010744
25 | YES | 500.048 | 34.104 | 0.00039209 | 0.0014153 | 3.1754e-05 | -0.0013835
25 | NO | 5.0803 | 32.2959 | 0.00060086 | -0.0023804 | -9.6703e-05 | 0.0022837
26 | NO | 5.6544 | 32.0566 | 0.00037211 | -0.0043259 | -9.6554e-05 | 0.0042293
27 | NO | 5.6868 | 31.7447 | 0.00047489 | -0.026402 | -9.6545e-05 | 0.026305
28 | NO | 5.1188 | 31.6208 | 0.027967 | 0.0058498 | -9.6693e-05 | -0.0059465
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE