File List for SeaBird Data          Cruise Number: _2019-006____

[osdcommon\cruise_data\2019-006\ARCHIVE]

[osdcommon\cruise_data\2019-006\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2019-006\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2019-006\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2019-006\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2019-006\ARCHIVE\DOC\TSG] TSG documents

[osdcommon\cruise_data\2019-006\ARCHIVE\LOGS] any scanned or S/S logs

[osdcommon\cruise_data\2019-006\ARCHIVE\Underway] TSG, Loop file

[osdcommon\cruise_data\2019-006\PROCESSING]

[osdcommon\cruise_data\2019-006\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2019-006\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2019-006\PROCESSING\DOC]

2019-006-recal1.ccf – calibration control files

2019-006-ctd.xmlcon –2 configuration files used in processing

2019-006_File.doc - this document

2019-006_Processing_Report.doc - processing notes

2019-006-ctd-final.rpt – CTD file header check including channel summary

2019-006-ctd-xref.lis – cross reference list of CTD files

2019-006-altimeter-ctd.xlsx – report on header entries for altimetry

*hdr.txt – header file with comments for CTD files

[osdcommon\cruise_data\2019-006\PROCESSING\DOC\hydro]

2019-006chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2019-006dms.csv – DMS data simplified from analyst’s s/

2019-006dmsp.csv – DMSP data simplified from analyst’s s/

2019-006nuts.csv – nutrients simplified from analyst’s s/s

2019-006oxy.csv – nutrients simplified from analyst’s s/s

2019-006sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2019-006-fl-chl-comp1.csv & .xlsx – comparison of extracted CHL and CTD Fluorometer

2019-006-dox-comp1.csv & .xlsx – initial comparison of titrated DO & CTD DO

2019-006-dox-comp2.csv & .xlsx –comparison of titrated DO & CTD DO after initial recal

2019-006-dox-comp3.csv & .xlsx – comparison of titrated DO & downcast CTD DO

2019-006-sal-comp1.csv & xlsx –initial comparison of rosette bottle and CTD salinity

2019-006-sal-comp2.csv & xlsx –comparison of rosette bottle and CTD after initial recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2019-006-bottles-final.xslx – summary of bottle data in CHE files

2019-006-che-final.rpt – final header check of bottle files

2019-006-altimeter-che.xlsx – altimetry and water depth information

2019-006-che-xref.lis – cross-reference listing of bottle files

*hdr.txt – header file with comments for CHE files

[osdcommon\cruise_data\2019-006\PROCESSING\DOC\tsg]

2019-006-ctd-tsg-loop-rosette-comp.xlsx – comparison of TSG, loop, rosette and CTD data

2019-006-MBARI-IOS-TSG-comparison.xlsx – comparison of 2 TSGs

MBARI-TSG_with_postions.csv & xlsx – files with positions added to MBARI TSG data

2019-006-*-tsg-final.rpt – header reports for 2 TSG systems

2019-006-tsg-recal*.ccf – recalibration files

2019-006-tsg-xref.lis – cross-reference list

Positions-from-RMC.csv – ship data used to add position to MBARI TSG file

*hdr*.txt – header files with comments for TSG files

[osdcommon\cruise_data\2019-006\PROCESSING\HYDRO]

*.bot - ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.dms and *.dmsp – DMS and DMSP converted from simplified version of spreadsheet

*.ed1 and *.log – output of CTDEDIT for 1 file that was edited

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.mrgrem – after removal of unneeded channels

*.mrgreo – just before final step running Head Edit

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – dissolved oxygen files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added.

[osdcommon\cruise_data\2019-006\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.rem – after removing some channels

*.reo – files just before header edit

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2019-006\PROCESSING\Loop] 5m rosette plus loop data

2019-006-0001.ios – 6 line header file converted to IOS Header format

2019-006-0001.cln – after adding start/stop times and positions

2019-006-endtimes.csv – end times of CTD files

2019-006-surface.loop – final file in IOS Header format with comments

2019-006-surface-6linehdr.csv – as above but with 6-line headers and loop data added

2019-006-loop-data.xlsx – loop samples

2019-006-loop-hdr-comments.txt – header comments for the final loop file

[osdcommon\cruise_data\2019-006\PROCESSING\TSG] before conversion to IOS SHELL

*.csv – spreadsheet versions of raw files for 2 TSGs

[osdcommon\cruise_data\2019-006\PROCESSING\TSG\IOS] after conversion to IOS SHELL

For IOS TSG

*.atc – after adding Julian time

*.cln – after adding positions and times to headers and time/date channels

*.cor1 – corrections to salinity and intake temperature

*.dqt – after run to derive sigma-T

*.ed1 & log– output of editing

*.ios – after conversion to IOS HEADERS

*.rem – after removing fluorescence, pressure, T difference and record #

*.tob – final TSG files

FOR MBARI TSG

*.add – after adding channel Temperature:Primary

*.atc – after adding Julian time

*.cln – after adding start/end positions and times to headers

*.cor1 – corrections to primary temperature to approximate intake temperature

*.ios – after conversion to IOS HEADERS

*.reo – 2nd last step to get time channels in usual order

*.tob – final TSG files